MINISTRY OF ENERGY

REPUBLIC OF KENYA

ENVIRONMENTAL IMPACT ASSESSMENT REPORT FOR THE PROPOSED BOMBI SOLAR MINI-GRID

PROJECT:		KENYA OFF-GRID SOLAR ACCESS PROJECT

SUB-PROJECT:	COMPONENT 1. MINI-GRIDS FOR COMMUNITY FACILITIES, ENTERPRISES, AND HOUSEHOLDS

LOCATION :		BOMBI VILLAGE AT KISIKI SUB-LOCATION, CHAKAMA LOCATION, ADU WARD IN KILIFI COUNTY.

2023

# ACKNOWLEDGEMENT

The ESIA/Audit Experts are grateful to the project proponent for commissioning this Environment Social Impact Assessment. We would like to acknowledge with great appreciation Abakaile community members and leaders who were involved in the public participation and consultation process, for their cooperation throughout the exercise. I further acknowledge the support, either direct or indirect, from the various parties who assisted the ESIA/EA experts’ team towards the successful completion of this ESIA report. They include environmental experts from the Centric and Norken consortium. Finally, the consultant wishes to acknowledge and appreciate the efforts and inputs by MOEP, the Implementing Agencies (KPLC and REREC), and the World Bank Group teams in reviewing this report

# CERTIFICATION

This ESIA project report for the proposed Bombi Off-Grid Solar Project was prepared in accordance with the Environmental Management and Coordination Act (EMCA), 1999 and the Environmental (Impact Assessment and Audit) regulations, 2003 and their subsequent EMCA (amendments), 2015 and EIA/EA regulations (amendments), 2019, the World Bank operational procedures (OP) and Environmental Safeguards Standards (ESS) for submission to the National Environment Management Authority (NEMA). We hereby certify that to the best of our knowledge and belief, the information and particulars provided in this report are correct and true. Further, it reflects the views provided by various stakeholders and village elders at Bombi, Kilifi County.

| P. O. Box 9882 - 00100 Nairobi, Kenya Tel. +254 020 2248762 Registration No. of Firm of Experts: 0181 | P.O. Box 102081-00101 Nairobi, Kenya Tel. +254 718 068 517 Registration No. of Firm of Experts: 7112 |
| --- | --- |

Name and Address of Firm of Experts:

Name and Address of Firm of Experts:

Signed: ____________________________ 	          Date: _____________________

Isaiah B. Kegora

Lead EIA/EA Expert (NEMA Reg. No 1893)

For: Norken International Ltd & Centric Africa Ltd

Mr. Rodney I. Sultani

Project Coordinator, KOSAP

Name and Address of the Proponent:

Ministry of Energy,

P.O. Box 30582-00100,

Kawi Complex, Nairobi, Kenya

Signed: _____________________________		Date: _____________________

Name: ______________________________

Designation:__________________________

For: MoE

-----------------------------------------------------------------------------------------------

Disclaimer:

This ESIA report is strictly confidential to MoEP (the Proponent) and any use of the materials thereof should strictly be in accordance with the agreement between the Proponent and the consultants; Norken International Limited and Centric Africa Limited (the Environmental Impact Assessor). It is, however, subject to conditions in the Environmental (Impact Assessment and Audit) Regulations, 2003 under the Kenya Gazette Supplement No. 56 of 13th June 2003.

# Table of Contents

ACKNOWLEDGEMENT	2

CERTIFICATION	3

Table of Contents	1

LIST OF FIGURES	8

List of PHOTOS:	9

List of tables:	10

LIST OF ABBREVIATIONS:	11

EXECUTIVE SUMMARY	15

1	PROJECT BRIEF AND INTRODUCTION	21

1.1	Background of the Project	21

1.2	KOSAP Project Development Objective	21

1.3	Description of Component 1: Mini-grids for Community Facilities, Enterprises, and Households	21

1.4	Justification of the Proposed Project	22

1.5	Scope and Objectives of the Study	22

1.5.1	Scope	23

1.5.2	Specific objectives:	23

1.6	Terms of Reference (ToR) for the ESIA Process	23

1.7	ESIA Approach and Methodology	24

1.7.1	Desk study/literature review	24

1.7.2	Sampling	25

1.7.3	Field visit and consultation:	25

1.7.4	Notice and mobilization of the consultation meeting	25

1.7.5	Methods of consultations	25

1.8	ESIA Study Team	26

1.9	Uncertainty in Compiling Information	27

2	BASELINE INFORMATION OF THE STUDY AREA	28

2.1	Kilifi County Overview	28

2.2	Position and Size	28

2.3	PHYSICAL ENVIRONMENT	30

2.3.1	Climatic Condition	30

2.3.2	Housing Types	30

2.3.3	Transport infrastructure	31

2.3.4	Energy Access:	31

2.3.5	Land Ownership Categories/ Classification	31

2.3.6	Land Use	32

2.3.7	Wildlife	32

2.3.8	Vegetation	32

2.3.9	Topography	33

2.3.10	Soils	33

2.3.11	Water Resources	34

2.4	Socio-economic baseline	35

2.4.1	Demographic Profile	35

2.4.2	Educational Infrastructure	37

2.4.3	Occupation and Livelihood Profile	37

2.4.4	Land Use	37

2.4.5	Social and Physical Infrastructure	37

2.4.6	Livelihood and Economic activities	37

2.4.7	Vulnerable and Marginalized Groups	38

2.4.8	Vulnerable individuals and households	38

2.4.9	Gender based vulnerability	38

2.4.10	Gender Based Violence	38

2.4.11	Grievance Redress Mechanism	38

2.4.12	Culture and heritage	39

2.4.13	Religion in the project area	39

2.4.14	HIV/AIDs prevalence	39

2.4.15	Covid-19 prevalence	39

3	PROJECT DESCRIPTION	40

3.1	Nature of the Project	40

3.1.1	PV hybrid mini-grid sizing	40

3.1.2	Architecture and basic design specifications	41

3.1.3	Multi-mode Inverter	42

3.1.4	Battery	42

3.1.5	Diesel Genset	43

3.1.6	Distribution Line and Energy Meters	44

3.1.7	Power House	44

3.2	Identification and Evaluation of Bombi Mini-grid power project site	44

3.2.1	Site identified by NRECA	44

3.2.2	Compensation Details	44

3.3	Construction Materials, Equipment and services	45

3.3.1	Input Materials and Equipment & machinery	46

3.3.2	Use of services and resources during construction	46

3.4	Products, By-Products and Waste during construction, operation and decommissioning phases	47

3.4.1	Construction Phase:	47

3.4.2	Operation Phase	48

3.4.3	Decommissioning Phase	48

3.5	Safety of the facility	49

3.5.1	Natural disasters	49

3.5.2	Malicious damage or theft	49

3.5.3	Hazard Risk Assessment	50

3.6	PROJECT ALTERNATIVES	50

3.6.1	Consideration of Project Alternatives	50

3.6.2	Land identification criteria	51

3.6.3	Alternate Location for Project Site	51

3.6.4	No Project Alternative	51

3.6.5	Alternative Sources of Energy	52

3.6.6	Analysis of Alternative Construction Materials and Technology	53

3.6.7	Solid waste management alternatives	53

4	DESCRIPTION OF THE ADMINISTRATIVE POLICY AND REGULATORY FRAMEWORK	54

4.1	Introduction	54

4.2	Environmental Problems in Kenya	54

4.3	Administrative / Institutional Framework	54

4.4	The Legal, Regulatory and Policy Framework	56

4.5	Relevant Permits and Licenses Required by the project	81

4.6	International Conventions and Treaties Ratified by Kenya	82

4.7	World Bank Categorization of Projects and Operational policies applicable to Bombi Mini-grid	82

4.8	Comparison between the World Bank and Kenyan Laws for this Project	85

5	STAKEHOLDER ENGAGEMENT AND CONSULTATION	87

5.1	The need for Public participation	87

5.2	Objectives of Public participation	87

5.3	Stakeholder engagement schedule for land identification process	87

5.4	Disclosure of project frameworks	87

5.5	Post – ESIA consultations:	88

5.6	Stakeholder identification and consultation	88

5.7	Key Feedback Received During the ESIA Consultation Process	89

6	IMPACT ASSESSMENT AND MITIGATION MEASURES	92

6.1	Introduction	92

6.2	Impact Assessment Methodology	92

6.3	Defining Impact	92

6.4	ASSESSMENT OF SIGNIFICANCE	92

6.5	Magnitude of Impact	94

6.6	Sensitivity of Resources and Receptors	94

6.7	Likelihood	95

6.8	Definition of mitigation measures	95

6.9	Assessing residual impacts	95

6.10	Key Social Impacts – PRE-Construction Phase	96

6.10.1	Land Acquisition	96

6.10.2	Impact on Way leaves	96

6.10.3	Impact Related to Stakeholder identification and consultations	97

6.11	Positive Impacts- construction Phase	98

6.11.1	Impact on local Economy and Employment	98

6.12	Key Environmental Impacts – Construction phase	99

6.12.1	Change in Land Use	99

6.12.2	Impact on Topography	100

6.12.3	Impact on Soil Environment	100

6.12.4	Impact on Air Quality	101

6.12.5	Impact on Ambient Noise	102

6.12.6	Visual Intrusions and Changes in Landscape Impact	103

6.12.7	Impacts on Waste Generation and Soil Contamination	104

6.12.8	Impacts on Water Environment	104

6.12.9	Impacts from Hazardous Materials	105

6.12.10	Fire Hazards	105

6.12.11	Impacts of construction material sourcing (e.g., quarrying)	106

6.12.12	Energy Consumption	106

6.13	Key Social Impacts – Construction Phase	106

6.13.1	Impact on Occupational Health and Safety	106

6.13.2	Community Health and Safety	107

6.13.3	Labour Influx and related Impacts	108

6.13.4	Child labour	109

6.13.5	Impacts on Cultural Heritage	109

6.13.6	Gender Based Violence, SEA & SH	110

6.13.7	Exclusion of VMGs, Vulnerable Individuals and Households	111

6.13.8	Risk of Communicable Diseases	112

6.13.9	Increased Water Demand	113

6.13.10	Forced Labor	113

6.14	POSITIVE IMPACTS- OPERATION PHASE	113

6.14.1	Impact on Economy and Employment	113

6.14.2	Quality, Reliable Power Supply	114

6.14.3	Reduction of Pollution Associated with Thermal Power Generation, Kerosene and Wood Fuel Usage:	114

6.14.4	Improvement of Local and National Economy	115

6.14.5	Education	115

6.14.6	Health Benefits of the Project	115

6.14.7	Improved Standard of Living	116

6.14.8	Security	116

6.14.9	Communications	116

6.15	Key Environmental impacts – Operation phase	116

6.15.1	Impact on Soil Environment	116

6.15.2	Waste Generation and management	117

6.15.3	Impact on Water Environment	118

6.15.4	Landscape and Visual Impacts	118

6.15.5	Increased oil Consumption	119

6.15.6	Increased Storm Water Flow	119

6.15.7	Fire Outbreaks	120

6.15.8	Water demand	120

6.15.9	Sanitary waste	120

6.15.10	Flooding	121

6.15.11	Noise and Vibration	121

6.15.12	Electric and magnetic fields (EMFs)	121

6.15.13	Dust emissions	121

6.15.14	Vehicle exhaust emissions	121

6.16	Key Ecological Impact- Operation Phase	122

6.16.1	Collision and Electrical hazards from Distribution Infrastructure	122

6.17	Key Social Impacts – Operations Phase	122

6.17.1	Impact on Occupational Safety and Health	122

6.17.2	Impact on Community Safety and Health	123

6.17.3	Gender Based Violence, SEA & SH	124

6.17.4	Exclusion of VMGs, Vulnerable Individuals and Households	124

6.17.5	Risk of Communicable Diseases	125

6.17.6	Shocks and electrocutions to the project affected persons (PAPs)	126

6.17.7	Risks related to poor or inadequate stakeholder engagement (Conflict)	126

6.18	Decommissioning Phase	127

6.18.1	Preparation for decommissioning	127

6.18.2	Employment Opportunities	127

6.18.3	Site Rehabilitation	127

6.19	Key environmental impacts – Decommissioning Phase	128

6.19.1	Impact on Soil Environment	128

6.19.2	Impact on Air Quality	128

6.19.3	Impact on Ambient Noise	129

6.19.4	Impacts on Waste Generation and Soil Contamination	129

6.20	KEY SOCIAL Impacts – Decommissioning Phase	130

6.20.1	Impact on Occupational Health and Safety	130

6.20.2	Gender Based Violence, SEA & SH	131

6.20.3	Exclusion of VMGs, Vulnerable Individuals and Households	131

6.20.4	Risk of Communicable Diseases	132

6.21	Cumulative Impacts	133

6.21.1	Cumulative Impact Assessment	133

7	ENVIRONMENTAL AND SOCIAL MANAGEMENT AND MONITORING PLAN (ESMMP)	134

7.1	Institutional Framework and Compliance/Implementation of the ESIA/ESMP	172

7.2	Approach to Environmental and Social Impacts Management	173

7.2.1	Duties of Kenya Power	173

7.2.2	Roles of supervision Consultant	173

7.2.3	Duties of the Contractor	173

7.3	ESHS Management Plans during construction phase	175

7.3.1	Construction Management Plan	175

7.3.2	Rehabilitation and Site Closure Plan	176

7.3.3	Local Recruitment Plan	176

7.3.4	Workplace Health and Safety Plan	177

7.3.5	Community Health and Safety Plan	177

7.3.6	Emergency Preparedness Plan	177

7.3.7	SEA/SH Prevention and Response Action Plan	177

7.3.8	Stakeholder Engagement Plan	180

7.3.9	Labor Influx Management Plan	180

7.3.10	Grievance Redress Mechanism	181

8	IMPACT SUMMARY AND CONCLUSION	185

8.1	Introduction	185

8.2	Summary of impacts identified and assessed	185

8.2.1	Pre-construction Phase Impacts	185

8.2.2	Construction Phase Impacts	185

8.2.3	Operational Phase Impacts	185

8.2.4	Decommissioning Phase Impacts	185

8.3	Conclusion AND RECOMMENDATIONS	186

9	APPENDICES	9-188

PART I: The meeting leading to land identification and GRC Constitution	9-189

Appendix 1: Minutes of proposed Bombi Mini-grid public consultative meeting	9-189

Appendix 2: Focus Group Discussion with Men (Above 35 years of age) - Bombi, Kilifi County	9-204

Appendix 3: Focus Group Discussion with the women- Bombi, Kilifi County	9-207

Appendix 4: Focus Group Discussion with the Youth - Bombi, Kilifi County	9-210

Appendix 5: Abbreviated Resettlement Action Plan  (A-RAP)	9-211

PART II: Minutes and List of attendance for the meetings during the ESIA	9-217

Appendix 6: Minutes for the ESIA consultation	9-217

Appendix 7: List of attendance for the ESIA consultation	9-222

Appendix 8: List of attendance for Men FGD	9-236

Appendix 9: List of attendance for Female FGD	9-239

Appendix 10: List of attendance for Youth FGD	9-243

Appendix 11: NEMA Expert License	9-245

# LIST OF FIGURES

Figure 2-1: Current grievance redress mechanism	39

Figure 3-1: Sketch of the proposed project design	42

Figure 3-2: The proposed sites PDP	45

Figure 7-1: KOSAP Grievance Redress Mechanism	183

# List of PHOTOS:

Photo 1: Map of Kenya showing location of Kilifi County.	28

Photo 2: Map showing the sub counties in Kilifi County.	29

Photo 3: Photographic representation of Bombi area.	30

Photo 4: Residential houses approximately 50m away from the proposed project site	31

Photo 5: Project area flora presentation	33

Photo 6: A representation of Bombi land use	36

# List of tables:

Table 1-1: ESIA Study teams	26

Table 2-1: Soil Analysis Results	34

Table 2-2: Water analysis results	34

Table 2-3: Summary of demographic profile	36

Table 3-1:Project Components	40

Table 4-1: Applicable legal, regulatory and policy framework	56

Table 4-2: Relevant permits and licenses	83

Table 4-3: World Bank Ops applicable to Bombi Mini-grid power Project	84

Table 4-4: Comparison between the World Bank and Kenyan laws	87

Table 5-1: Identified Stakeholders	91

Table 5-2; Summary of issues raised	92

Table 5-3: Pictorial representation of the consultation process	93

Table 6-1: Catergories of Significance	95

Table 6-2: Overall significance criteria for environmental impacts	96

Table 6-3: Explanation of Terms used for likelihood of occurence	97

Table 7-1: Environmental and Social Management and Monitoring Plan	137

Table 7-2: Institutional framework governing the implementation of the ESMP	174

Table 7-3: SEA/SH Prevention and Response Action Plan.	180

Table 7-4: Grievance Redress Committee	186

# LIST OF ABBREVIATIONS:

| ADA | Alcohol and drug abuse |
| --- | --- |
| BOWEC | Building Operation and Work of Engineering Construction |
| BS | British Standard |
| BTS | Base Transceiver Station |
| CBO | Community Based Organization |
| CCTV | Closed Circuit Television |
| CRA | Commission on Revenue Allocation |
| CREO | County Renewable Energy Officer |
| dB | Decibels |
| DOSHS | Directorate of Occupational Safety and Health Services |
| EA | Environmental Audit |
| ECD | Early Childhood Development |
| EHS | Environment Health and Safety |
| EIA | Environmental Impact Assessment |
| EMCA | Environmental Management and Coordination Act |
| EMP | Environment Management Plan |
| EPRA | Energy and Petroleum Regulatory Authority |
| ESHS | Environmental, Social, Health and Safety |
| ESIA | Environmental & Social Impact Assessment |
| ESMF | Environmental and Social Management Framework |
| ESMMP | Environmental and Social Management and Monitoring Plan |
| FGDs | Focus Group Discussions |
| GHGs | Green House Gases |
| GoK | Government of Kenya |
| GPS | Global Positioning System |
| GRC | Grievance Redress Committee |
| GRM | Grievance Redress Mechanism |
| GRS | Grievance Redress Service |
| HEP | Hydro Electric Power |
| IEC | International Electrotechnical Commission |
| KenGen | Kenya Energy Generating Company |
| KETRACO | Kenya Electricity Transmission Company |
| KII | Key Informant Interview |
| KNBS | Kenya National Bureau of Statistics |
| KOSAP | Kenya Off grid Solar Access Project |
| KPLC | Kenya Power & Lighting Company |
| kV | Kilo Volt |
| kVa | KiloVolt amperes |
| KW | Kilo Watt |
| kWh | Kilowatt hours |
| kWp | Kilowatts Peak |
| KWS | Kenya Wildlife Service |
| LMP | Labor Management Plan |
| LN | Legal Notice |
| LV | Low Voltage |
| MCA | Member of County Assembly |
| MOA | Ministry of Agriculture |
| MoE | Ministry of Energy |
| MP | Monitoring Plan |
| MSDS | Material Safety Data Sheet |
| MVA | Mega Volt Amps |
| NEAP | National Environmental Action Plan |
| NEMA | National Environment Management Authority |
| NGO | Non-Governmental Organization |
| NLC | National Land Commission |
| NLP | National Land Policy |
| NOx | Oxides of Nitrogen |
| NRECA | National Rural Electric Cooperative Association |
| NTSA | National Transport and Safety Authority |
| OP/BP | Operation Procedure/ Bank Policy |
| OSHA | Occupational Safety and Health Act |
| PAPs | Project Affected Persons |
| PIU | Project Implementation Unit |
| PM | Particulate Matter |
| PPE | Personal Protective Equipment |
| PPP | Public Private Partnership |
| PRSP | Poverty Reduction Strategy Paper |
| PSP | Private Service Provider |
| PV | Photo Voltaic |
| RAP | Resettlement Action Plan |
| REREC | Rural Electrification and Renewable Energy Corporation |
| RPF | Resettlement Policy Framework |
| SEA | Sexual Exploitation and Abuse |
| SEM | Sustainable Environmental Management |
| SEP | Stakeholder Engagement Plan |
| SH | Sexual Harassment |
| SHE | Safety Health and Environment |
| SIA | Strategic Impact Assessment |
| SID | Society for International Development |
| SOx | Oxides of Sulphur |
| SPCC | Spill Prevention Control and Countermeasures |
| STD | Sexually Transmitted Diseases |
| ToR | Terms of Reference |
| TWA | Time Weighted Average |
| UN | United Nations |
| UNCLOS | United Nations Convention on the Law of the Sea |
| UNFCCC | United Nations Framework Convention on Climate Change |
| VAT | Value Added Tax |
| VMG | Vulnerable and Marginalized Groups |
| VMGF | Vulnerable and Marginalized Groups Framework |
| VMGP | Vulnerable and Marginalized Groups Plan |
| WIBA | Work Injury Benefits Authority |

# EXECUTIVE SUMMARY

E-1- Introduction and Project Brief

The Ministry of Energy (MOE) hereinafter refer to as proponent is implementing the Kenya Off-Grid Solar Access Project (KOSAP) in 14 underserved counties in Kenya. The aim of the project is to provide clean and modern energy services through off-grid solar solutions. The Proponent is coordinating the implementation of the project through the implementing agencies; Kenya Power (KP) and the Rural Electrification and Renewable Emergency Corporation (REREC). The project is funded by the World Bank Group with $150 million and a $5 million grant from the Carbon Initiative for Development. The goal of the project is to bring electricity to around 250,000 households, 476 community facilities, and 380 boreholes in the target counties, benefiting low-income groups. It also includes the sale and installation of 150,000 efficient cook stoves. The project focuses on marginalized areas based on the County Development Index (CDI) and aims to address infrastructure deficits, lack of access to roads, electricity, water, and social services in these underserved counties. To ensure sustainability, the project relies on public funding, local community participation, and the institutional capacity of KP, REREC, and the MOE.

The KOSAP consists of four main components. The first component, focuses on the implementation of mini-grids to provide electricity to community facilities, enterprises, and households in areas where mini-grids are the most cost-effective option. The second component, aims to electrify households through standalone solar systems in areas without load clusters where standalone systems are the best technical and financial solution. The third component, supports the electrification of public institutions and community facilities using standalone solar systems. It also includes the installation of solar PV-powered water pumps for consumptive purposes. Lastly, the fourth component, provides funding for implementation support, technical assistance, and capacity building activities to ensure the sustainability and impact assessment of the interventions carried out under the other components of KOSAP.

In Kilifi County, one of the target counties, the Proponent is proposing to develop 2 No. mini grid facilities one being Bombi Mini Grid as discussed in this report.  In order to adhere to both national and donor requirements, the Proponent engaged the services to the consortium of Norken International Limited and Centric Africa Limited to undertake the ESIA. The ESIA has been conducted following the requirements outlined in the Environmental Management and Coordination Act (EMCA) 1999 and its amendments, as well as international environmental and social policies such as the World Bank's OP 4.01 on environmental assessment.

E-2- Project Categorization and Justification

In the World Bank context, there have been several projects supported by the organization that aim to provide electricity to communities located far from the national grid. These projects utilize off-grid approaches, meaning they are independent of a national or regional grid. The experience gained from these projects provides valuable guidance for designing sustainable off-grid electrification initiatives, particularly those targeting dispersed and economically disadvantaged communities. The Bombi proposed site aligns with this category of projects that the World Bank has been involved in.

In the Kenyan context, the Environmental Management and Coordination Act (EMCA) of 1999, as amended in April 2019 through Legal Notice No. 31, classifies solar power farms and plants as medium risk projects. This categorization provides a framework for assessing and managing the potential environmental and social impacts associated with such projects. By categorizing the Bombi site as a solar power facility, it falls within the medium risk project category as per the Kenyan legislative framework.

E-3 Approach and Methodology

The Environmental and Social Impact Assessment (ESIA) for the proposed project followed a structured process, beginning with kick-off meetings and online discussions involving the Proponent, Implementing agencies, and the World Bank Environmental and Social Safeguard Team. These consultations were instrumental in establishing the project's scope, deliverables, timeline, and methodology. Subsequently, screening and scoping exercises were conducted to evaluate potential social and environmental risks. A thorough desk-based review was also undertaken to assess existing project documentation, legal requirements, and relevant plans.

The study employed a comprehensive approach to gather primary and secondary data for the project. Both qualitative and quantitative methods were utilized, with secondary data obtained through literature reviews. Primary data collection involved various techniques, including physical observations, photography, interviews, and stakeholder consultations. This comprehensive approach enabled a comprehensive examination of the project's environmental and social aspects, ensuring a holistic understanding of its potential impacts.

The study further involved the identification and assessment of potential impacts throughout the project's life cycle. Key areas of evaluation included land use, water resources, biodiversity, air quality, noise levels, community health and safety, and socio-economic conditions. To mitigate adverse effects, the study developed environmental and social management and monitoring plan, aiming to address both positive and negative impacts that may arise from the project. These measures aimed to ensure the project's sustainability and enhance its overall environmental and social performance.

E-4 Legislative Regulatory Framework

The evaluation, planning, and implementation of the proposed project is guided by the World Bank's Environmental and Social Framework, the national legislative framework, and the project's safeguard instruments. These measures aim to ensure environmental sustainability, protect the rights and needs of indigenous peoples and marginalized groups, and minimize adverse impacts through effective management and mitigation measures.

The Government of Kenya established the Environmental Management and Coordination Act (EMCA) in 1999, providing a legal framework for environmental management. EMCA takes precedence over other sectoral laws related to the environment. In 2013, the government formulated a national Environmental Policy with the goal of promoting sustainable management and use of the environment.

Collaboration and consultation among government agencies and stakeholders are essential for coordinating environmental management effectively. Key institutions in Kenya responsible for environmental issues include the National Environment Management Authority (NEMA), County Environment Committees, National Environmental Complaints Committee, National Environment Action Plan Committee, Standards and Enforcement Review Committee, National Environment Tribunal, and National Environment Council (NEC).

The project also adheres to the World Bank Safeguard Policies, which aim to improve decision-making processes, promote sustainable project options, and involve affected people in consultations. The applicable operational policies for this project include Environment Assessment, Natural Habitats, Indigenous Peoples, and Involuntary Resettlement. The Environmental and Social Impact Assessment (ESIA) considers these policies and addresses potential environmental and social concerns.

Additionally, the ESIA references other Safeguard Instruments prepared under the Kenya Off-Grid Solar Access Project (KOSAP), including the Environmental and Social Management Framework (ESMF), Resettlement Policy Framework (RPF), and Vulnerable and Marginalized Groups Framework (VMGF). These instruments provide procedures and guidelines for assessing and managing environmental and social aspects specific to the proposed subprojects under KOSAP.

E-5 Environmental Setting

The county has a bimodal rainfall pattern with average annual precipitation ranging from 300mm in the hinterland to 1,300mm in the coastal belt. Bombi project site falls in the hinterland area of Kilifi County. The land in the Bombi is majorly communally owned and is used for settlements, commercial businesses, livestock grazing and irrigation purposes along the banks of River Galana. Underground water is also harnessed from the land at the borehole and hand-dug well. The area is majorly semi-arid with a sparse population within the area.

The project site falls in the Nyika Plateau topographical zone which rises from 100m to 340m above sea level. The plateau is characterized by low population density, thin vegetation cover, shallow depressions and gently undulating terrain. The topography of the project site is an open area with gentle slope of 1.4% southwards. The land at the project site is bare land with a big risk of soil erosion.

Public and private institutions provided at Adu Ward include schools, health facilities and vocational training centre. The institutions include PCEA Bombi Primary School, Galana Primary School, Hawewanje Primary School, Mwanza Primary School, Shakahola Vocational Training Centre, and PCEA Bombi Dispensary. There are 2 mosques and 1 church in Bombi village. The village has Uzima Community Based Organisation (CBO) which was established in 2008. Bombi village has a shopping centre that is close to the project site. According to information from a KII with a trader shows that there are 6 eateries, 5 shops, a guesthouse and chemist in Bombi Village.

Gender disparities persist, with women having limited decision-making power and economic empowerment. Infrastructure development, including roads, electricity, and water supply, is insufficient to meet the needs of the community.

E-6 Project Description

The Bombi Mini Grid project aims to provide electricity to approximately 315 residential and 7 non-residential consumers in Bombi Village at Kisiki Sub-location, Chakama Location, Adu Ward in Kilifi County. The project will utilize 78kWp solar photovoltaic panels, a 253kWh Battery Energy Storage System, and a 50kVa Diesel Generator with a 2000L capacity tank to generate electricity. A Low Voltage Power Distribution Network will be established to distribute the power to customers. The estimated cost of the project is around USD  $509,581, although this amount may change as more detailed plans are developed.

The project consists of two main components: Hybrid Mini-Grids and a 10km power line reticulation lines. The Hybrid Mini-Grids will combine solar panels and diesel power generation. These energy sources will be integrated through a centralized photovoltaic plant connected to a 3-phase AC busbar line. The configuration is designed to prioritize direct supply from the solar generator during daylight hours, reducing reliance on battery storage. The battery storage will primarily be used when solar generation is low, or demand is high. The construction of power line reticulation lines will ensure the efficient distribution of electricity to residential, commercial, and other consumers, ensuring a reliable and efficient power supply.

To develop the Bombi Mini Grid approximately 2.3714 hectares of land was acquired from the community in line with the national laws and World Bank provisions. In accordance with the World Bank's Operation Policy (OP) 4.12 on Involuntary Resettlement, an abbreviated Resettlement Action Plan (A-RAP) was prepared, outlining the principles and procedures for land acquisition and compensation. This plan is Appended to this ESIA.

E-7 Project Alternatives

Solar energy is identified as a non-polluting and site-specific option, and the proposed site for Bombi MG is chosen as the most suitable location for the mini grid based on factors such as sunlight availability and the community's lack of grid connectivity. The use of wind power, thermal power, fossil fuels, and power import from neighboring countries are considered as alternative methods of power generation but are found to have limitations or environmental concerns. Solar energy is favored due to its low production costs, versatility, clean nature, and economic savings. The "No Project" alternative is deemed unfavorable as it would maintain the current lack of electricity access and hinder socio-economic development. The project will be constructed using modern materials and technology, with a focus on public health, safety, security, and environmental requirements. The technology will involve a Battery Energy Storage System.

E-8 Stakeholder Engagement

It is important to highlight that two forms of stakeholder engagement were carried out for the project. The first form as noted earlier, focused on the acquisition of land for the project and involved the Proponent and the implementing agency (KPLC). The second form of engagement was conducted specifically for the Environmental and Social Impact Assessment (ESIA) study.

For the ESIA study, various methods were employed to engage stakeholders, taking into consideration their different categories. Face-to-face discussions were held with government officials and key stakeholders, while separate focused group discussions were conducted with men, women, and youth. Additionally, a public baraza or meeting was organized to allow community members to participate.

During the ESIA stakeholder engagement public meeting, which took place on September 28, 2021, a total of 86 stakeholders attended. The meeting provided an opportunity to discuss project details, including the preliminary design, positive and negative impacts, and mitigation measures. Stakeholders were encouraged to share their views and provide feedback on the project.

Some of the concerns raised by stakeholders included employment, connection cost, compensation in kind project, distance coverage and training. The study team addressed these concerns by assuring stakeholders that priority will be given to the locals for employment opportunities, the connection fee will be one thousand shillings, the compensation in kind project will run concurrently with the KOSAP project, the distance of coverage will be 1.5km radius and public sensitization on electrical safety will be done prior to connection.

E-9 – Impacts and Mitigation Measures

The Environmental and Social Impact Assessment (ESIA) for the proposed Solar Mini-grid project has identified both positive and negative impacts across its different phases: pre-construction, construction, operation, and decommissioning. In the construction phase, positive impacts include local employment opportunities, boosting local businesses, and sourcing materials locally. During the operation phase, positive impacts encompass reliable power supply, economic improvement, education, health benefits, improved living standards, and enhanced security and communication. Similarly, the decommissioning phase offers positive impacts such as local employment and sourcing.

On the negative side, the pre-construction phase involves minor impacts like land acquisition, while the construction phase encompasses various minor to moderate impacts such as vegetation clearance, soil erosion, dust emissions, and occupational health and safety concerns. Challenges related to stakeholder engagement, labor influx, child labor, and exclusion of vulnerable individuals are also anticipated. In the operation phase, negative impacts include waste generation, increased oil consumption, fire outbreaks, occupational health and safety concerns, and inadequate stakeholder engagement. Issues of exclusion, inadequate grievance management, and public health concerns may arise as well.

During the decommissioning phase, negative impacts primarily relate to solid waste generation, noise and vibration, and challenges in stakeholder engagement, labor influx, child labor, gender-based violence, and exclusion of vulnerable individuals and households.

Tables 0-2 to 0-5 below present summaries of anticipated impacts and their corresponding levels of significance, both pre- and post-mitigation.

Table 0-1: Summary of Pre-construction Impacts

| Impact | Significance Of Impact (Pre-Mitigation) | Residual Impacts (Post-Mitigation) |
| --- | --- | --- |
| Land acquisition | Minor | Negligible |
| Way leaves | Minor | Negligible |
| Stakeholder identification and consultations | Major | Minor |

Table 0-2: Summary of Construction and Decommissioning Phases Impacts

| Impact | Pre-construction | Construction phase | Decommissioning phase |
| --- | --- | --- | --- |
| Impacts on Local Economy and Employment | Not Applicable | Positive | Positive |
| Change in land use | Not Applicable | Moderate | Positive |
| Site rehabilitation | Not Applicable | Not Applicable | Positive |
| Topography | Not Applicable | Minor | Not Applicable |
| Soil environment | Not Applicable | Minor | Minor |
| Air Quality | Not Applicable | Moderate | Moderate |
| Ambient noise | Not Applicable | Minor | Minor |
| Visual intrusion and change in landscape | Not Applicable | Minor | Positive |
| Waste generation and soil contamination | Not Applicable | Minor | Minor |
| Impact on water environment | Not Applicable | Minor | Not Applicable |
| Impacts from hazardous materials | Not Applicable | Minor | Not Applicable |
| Fire hazards | Not Applicable | Moderate | Minor |
| Impacts of construction material sourcing | Not Applicable | Moderate | Not Applicable |
| Energy consumption | Not Applicable | Negligible | Not Applicable |
| Occupational safety and health | Not Applicable | Moderate | Moderate |
| Community safety and health | Not Applicable | Moderate | Moderate |
| Labor influx | Not Applicable | Minor | Minor |
| Child labor | Not Applicable | Minor | Negligible |
| Cultural heritage | Not Applicable | Minor | Not Applicable |
| Gender based violence, SEA and SH | Not Applicable | Minor | Minor |
| Exclusion of VMGs, Vulnerable individuals and households | Not Applicable | Major | Major |
| Risk of communicable diseases | Not Applicable | Minor | Minor |
| Increased water demand |  | Negligible | Negligible |
| Forced labor |  | Minor | Negligible |

Table 0-3: Summary of Operation Phase Impacts

| Impact | Significance Of Impact (Pre-Mitigation) | Residual Impacts (Post-Mitigation) |
| --- | --- | --- |
| Impact On Economy and Employment | Positive | Positive |
| Quality, reliable power supply | Positive | Positive |
| Reduction of pollution associated with thermal power generation, kerosine and wood fuel usage | Positive | Positive |
| Education | Positive | Positive |
| Health benefits | Positive | Positive |
| Improved standard of living | Positive | Positive |
| Security | Positive | Positive |
| Communication | Positive | Positive |
| Soil environment | Minor | Negligible |
| Waste generation and management | Minor | Negligible |
| Water environment | Negligible | Negligible |
| Landscape and visual impacts | Minor | Negligible |
| Increased oil consumption | Minor | Negligible |
| Increased storm water flow | Minor | Negligible |
| Fire outbreaks | Moderate | Minor |
| Water demand | Negligible | Negligible |
| Sanitary waste | Negligible | Negligible |
| Flooding | Negligible | Negligible |
| Noise and Vibration | Negligible | Negligible |
| Electric and magnetic fields (EMFs) | Negligible | Negligible |
| Dust Emission | Negligible | Negligible |
| Vehicle Exhaust emission | Minor | Negligible |
| Collision and electrical hazards from distribution infrastructure | Minor | Negligible |
| Occupational safety and health | Moderate | Minor |
| Community safety and health | Moderate | Minor |
| Gender based violence, SEA and SH | Minor | Negligible |
| Exclusion of VMGs, Vulnerable individuals and households | Major | Minor |
| Risk of communicable diseases | Minor | Negligible |
| Shocks and electrocution to the PAPs | Moderate | Minor |
| Risks related to poor and inadequate stakeholder engagement (conflict) | Minor | Negligible |

E-10 Environmental and Social Management and Monitoring Plan

A comprehensive set of mitigation measures in the form of an Environmental and Social Management and Monitoring Plan (ESMMP) have been prepared for the project. The ESMMP serves as a comprehensive framework for the integrated management of all environmental and social impacts throughout the project's lifecycle. It has been prepared to ensure that the social and environmental impacts and risks identified during the Environmental and Social Impact Assessment (ESIA) process are appropriately managed during the construction, operations, and decommissioning phases of the project. It specifies the mitigation and management measures that the project proponent and contractor are committed to implementing and outlines how organizational capacity and resources will be mobilized to achieve these measures. The ESMMP also ensures compliance with the relevant laws, regulations within Kenya, as well as the environmental and social sustainability requirements of the World Bank's Operational Policies (OPs).

These measures emphasize a proactive approach, prioritizing prevention rather than reaction. They encompass various aspects such as proper waste handling and disposal to prevent pollution, engaging stakeholders to address grievances, providing personal protective equipment (PPE) for workers, ensuring adequate supervision, and emphasizing good workmanship from the contractor. Specific plans are also outlined to address specific issues that may arise. The ESMMP also highlights environmental performance indicators that should be regularly monitored. Monitoring serves as a means to detect and draw attention to any changes or problems in environmental quality. It involves continuous or periodic reviews of the ESMMP implementation progress, allowing for adjustments and improvements as necessary.

While accommodating the recommended mitigation measures to the extent practical and economically viable, the project proponent and contractor should ensure that the measures do not compromise the economic viability of the project or have long-lasting adverse impacts on the environment.

For the mitigation measures to be successful, it is imperative that the Kenya Power and Lighting Company (KPLC) allocates sufficient resources for the implementation of the ESMMP. Adequate resources will enable the proper execution of the proposed measures and ensure their effectiveness in minimizing the identified negative impacts.

Following the project's commissioning, it is mandatory to conduct statutory Environmental and Safety Audits in accordance with national legal requirements. These audits serve to evaluate the environmental performance of the site operations and assess their compliance with the recommended mitigation measures.

E- 11 Conclusion

Based on the assessment findings, the consultant concludes that there are no substantial reasons to hinder the proposed project from progressing to the next stage of planning and development. However, this progression is conditional upon the implementation of the recommended mitigations and the monitoring of potential environmental and socio-economic impacts as outlined in the ESMMP.

It is in the opinion of the Environmental expert that the anticipated negative impacts can readily and effectively be mitigated and on the whole the proposed project does not pose any significant threat to the Environment and may be licensed to proceed

# PROJECT BRIEF AND INTRODUCTION

## Background of the Project

The Government of Kenya with the support from the World Bank is implementing Kenya Off Grid Solar Access Project (KOSAP). The project targets 14 out of the 47 counties in Kenya that have been defined as marginalized by the commission on revenue allocation (CRA). The 14 underserved counties collectively represent 72% of the country’s total land area and 20% of the total population. The population is highly dispersed at a density of 4 times lower than the national average. These counties are underserved and characterized by infrastructural deficits, including lack of access to roads, electricity, water and social services most of which are currently been addressed through the devolved government system as embraced in the Kenya Constitution. The 14 counties where KOSAP will be implemented include; Garissa, Isiolo, Kilifi, Kwale, Lamu, Mandera, Marsabit, Narok, Samburu, Taita-Taveta, Tana River, Turkana, Wajir and West Pokot. The total number of un-electrified households is roughly 1.2 million in these counties. The KOSAP is intended to support the Government’s initiatives of ensuring increased access to electricity in the country and to supply communities in Off-grid areas embracing green energy solutions mainly Solar Power.

A multi-task team comprising of Environmentalists, Socio-economists, Land economists, Surveyors, Electrical Engineers and Legal Experts from Kenya Power and Lighting Company limited (KPLC), Rural Electrification and Renewable Energy Commission (REREC), Ministry of Energy (MoE), an ESIA consultant and County government agencies participated in the ESIA process for Bombi mini-grid power project.

The main purpose of the ESIA was to understand the potential environmental and social impacts of the proposed development in relation to the proposed sites, and to develop an Environmental Management Plan that would guide on environmental sustainability of the project throughout its phases.

The guiding principle on management of environmental and social impacts is avoidance, and where it is not feasible; practical mitigation measures to ameliorate or treat the impacts is developed. Projects involving electrical power generation such as Bombi Mini-grid are placed under Category B of the World Bank EHS guidelines and Category 2 of Medium risk projects as per Environmental Management and Coordination Act (EMCA) 1999 legal notice 31 & 32 of 2019 which amended the Second schedule and the Environmental Impact Assessment and Audit regulations respectively and such projects must be subjected to Environmental Impact Assessment before they are implemented.

## KOSAP Project Development Objective

The Project Development Objective is to increase access to modern energy services in underserved counties of Kenya.

The project has the following four components:

- Component 1: Mini-grids for Community Facilities, Enterprises, and Households

- Component 2: Standalone Solar Systems and Cooking Solutions for Households

- Component 3: Standalone Solar Systems and Solar Water Pumps for Community Facilities

- Component 4: Implementation Support and Capacity Building

## Description of Component 1: Mini-grids for Community Facilities, Enterprises, and Households

This component will support the electrification of areas where electricity supply through mini-grids represents the least cost option from a country perspective, as underpinned by the geospatial plan. Depending on the number of users to be supplied, and the service level defined for each type of user (households, businesses, community facilities, etc.), the generation system of each specific mini-grid will combine Solar Photo Voltaic (PV), battery storage and thermal units running on diesel. Mini-grids will be developed under a Public-Private-Partnership (PPP) whereby private investment and public funds co-finance construction of generation facilities, and public funding is used to construct the distribution network. A single contractor will be responsible for construction (and partial financing) of the generation system and for construction of the distribution network of the mini-grid. Ultimately, after the recovery of the private investments, all assets (both generation and distribution) will be under Government of Kenya (GoK) ownership.  All electricity consumers supplied through mini-grids will be KPLC customers, and shall pay the same tariff for each category charged to users connected to the national grid, ensuring effective implementation of a national uniform tariff policy.

The component will be implemented in approximately 120 locations throughout the 14 target counties, typically in mini-grids supplying 100-700 prospective users, with approximate total demand of 20-300kW. These potential sites, capturing approximately 27,000 consumers in total, have preliminarily been identified as part of the geospatial plan. For Kilifi County, KOSAP will be implemented by KPLC in 2 localities namely: Chakama and Bombi..

This report narrows to Bombi mini-grid power station which will have a rating of Solar PV with a total capacity of 78 kWp to harness solar energy. Solar power is a clean and renewable energy source that will provide a significant portion of the electricity needed for the project. A 253 kWh Battery Energy Storage System is incorporated to store excess solar energy during the day, ensuring a consistent power supply even during cloudy or nighttime conditions. A 50 kVA diesel generator is included to serve as a backup power source for periods of low solar generation or in case of battery depletion. It provides reliability and backup in the event of extended periods of cloudy weather or high demand. A 2,000-liter fuel tank is provided to store diesel fuel for the generator, ensuring continuous operation during extended periods of low solar or high demand. Additionally, PV Inverter: A 78 kW solar PV inverter is used to convert the direct current (DC) electricity generated by the solar panels into alternating current (AC) electricity suitable for consumer use. The estimated cost of the project is around USD 509,581, although this amount may change as more detailed plans are developed.

## Justification of the Proposed Project

Bombi is an area in Chakama Location, Adu ward, Magarini Sub-county in Kilifi county and is far from the national electricity grid. Constructing a transmission line to Bombi area is currently not feasible (economically) and therefore the need to connect a solar mini-grid. The area is prone to termites’ attack, hence concrete poles will be used because of their durability and resistance to termites. The solar mini-grid power project will have standby diesel generators and will ensue Bombi residents’ access to modern and clean electricity. The project will also help in minimizing power losses associated with long distances of transmission and distribution lines, will offer system stability and the grid and operation offices been placed next to the customers will offer quick response and restoration of power supply in case of outages. The economy will benefit both directly and indirectly as stable and quality power supply is a prime mover of the economy. Other benefits include Value Added Taxes (VAT) imposed on construction materials and various fees charged by different government institutions. More importantly, the design of the project is well thought out and has taken into consideration all the necessary interventions needed to mitigate negative impacts on the environment and safeguard safety of the public and construction workers.

## Scope and Objectives of the Study

The National Environment Management Authority (NEMA) Policy requires that an Environmental and Social Impact Assessment (ESIA) or a Strategic Impact Assessment (SIA) is carried out on all projects, programs or activities at the planning stages of any proposed undertaking that is out of character with the host environment to ensure that potential environmental and social impacts are taken into consideration during the design, construction, operation and decommissioning of the facility. All energy projects being under medium risk projects as per the Second Schedule of EMCA; require an Integrated Environmental Impact Assessments to be undertaken before project is implemented.

### Scope

The main objective of this assessment was to identify all potential environmental and social impacts, both positive and negative that would be posed by the project, and formulate recommendations to ensure that the proposed project takes into consideration appropriate measures to mitigate any adverse impacts to the environment and people’s health through all phases of its implementation as well as measures to enhance or sustain the positive impacts.

The assessment was undertaken in full compliance with Cap 387 laws of Kenya - The Environmental Management and Coordination (Amendment) Act 2015, EMCA 1999 Legal notice 31 & 32 of 2019 and also in compliance to World Bank Environmental and Social Safeguards Operational Procedures and Bank Policies. In addition, appropriate sector legal provisions relevant to such projects have also been referred to; for the necessary considerations during the pre-construction, construction, commissioning, operation and decommissioning of the proposed minigrid.

### Specific objectives:

- Present an outline of the project background,

- Establish the environmental baseline conditions of the project area and review all available information and data related to the project,

- Identify key areas for environmental, social, health and safety concerns as well as the anticipated impacts and their appropriate mitigation measures throughout the project life cycle.

- Establish a comprehensive Environmental and Social Management and Monitoring Plan (ESMMP) and Monitoring Plan (MP) covering the construction works, operation and decommissioning phases of the project.

- Preparation of a comprehensive Project Report in accordance with the local environmental legislation and submission to NEMA for further instructions and/or approval.

## Terms of Reference (ToR) for the ESIA Process

The EIA Experts were assigned the task of carrying out Environmental and Social Impact Assessment for the proposed Bombi mini-grid power project. The scope covered various activities related to; construction, operation and decommissioning works of the proposed development which included all civil, mechanical, structural and electrical works necessary to construct, commission and when necessary, to decommission the project. The output of this work is an Environmental and Social Impact Assessment (ESIA) project report which will aid NEMA in deciding whether to approve or disapprove installation and operation of the mini-grid.

The EIA experts conducted the study guided by the following terms of reference:

- Establish the suitability of the proposed site to construct the mini-grid power project.

- A concise description of the national environmental legislative and regulatory framework, baseline information, and any other relevant information related to the project.

- A description of the technology, procedures and processes to be used, in the implementation of the project.

- A description of materials to be used in the construction and implementation of the project, the products, by-products and waste to be generated by the project.

- A description of the potentially affected environment.

- A description of environmental effects of the project including the social and cultural effects and the direct, indirect, cumulative, irreversible, short-term and long-term effects anticipated.

- Analysis of alternatives including project site, design and technologies.

- Development of an Environmental and Social Management and Monitoring Plan (ESMMP) proposing the measures for eliminating, minimizing or mitigating adverse impacts on the environment, including the timing and those responsible to implement the measures.

- An identification of gaps in knowledge and uncertainties which were encountered in compiling the information.

## ESIA Approach and Methodology

The approach chosen in undertaking this study was careful to take into account Cap 387 laws of Kenya - The Environmental Management and Coordination (Amendment) Act 2015, EMCA 1999 Legal notice 31 & 32 of 2019 and also in compliance to World Bank Environmental and Social Safeguards Operational Procedures and Bank Policies. A review of KOSAP safeguard documents among them KOSAP Environmental and Social Management Framework (ESMF), KOSAP Resettlement Policy Framework (RPF) and Vulnerable and Marginalized Groups Framework (VMGF) was done to inform the ESIA preparation approach and methodology.

It involved largely an understanding of the project background, the preliminary designs and the implementation plan. The approach and methodology applied during the study enabled collection of both primary and secondary data. Qualitative and quantitative methods of data collection were employed. Secondary data was obtained through literature reviews while primary data was obtained through physical observations, photography, interviews and’ consultations with various stakeholders.

The initial stage of this assessment was project screening. Screening of the project sought to ascertain whether or not this project falls within a category that requires ESIA prior to commencement. Other considerations made during this stage included a preliminary assessment of the environmental sensitivity of the areas within the proposed site through assessment of the site. This screening indicated that the proposed mini grid power project is placed under Category B of the World Bank EHS guidelines and Category 2 of Medium risk projects as per Environmental Management and Coordination Act (EMCA) 1999 legal notice 31 & 32 of 2019 and thus requires an ESIA study to be done.

Project scoping was the next stage which was done to delineate project issues that required detailed analysis. This step involved collection of primary and secondary data through field visits and literature review respectively.

Key activities undertaken during the assessment included the following:

- Physical inspections of the proposed project area

- Literature review of relevant documents

- Stakeholder consultations with the County government, National government and project affected persons.

- Report writing and submission

### Desk study/literature review

A critical literature review of secondary data was done to establish the following:

- Relevant legislations and institutional frameworks governing the proposed project

- Licenses and permits requirements and conditions;

- Baseline information of the project area

- Potential environmental and social impacts associated with such projects.

Documents relevant to the proposed development were reviewed. Some of the documents reviewed included Kilifi County Integrated Development Plan 2018-2022, various Kenyan legal legislations, World Bank safeguard policies, project frameworks (ESMF, VMGF, and RPF), topographical maps, google earth/maps, Kenyan government publications among others.

### Sampling

#### Soil Sampling and Analysis

Soil sampling and testing was done for purpose of soil quality control and identifying sources and effects of contamination of soil. Sampling was done manually within the boundaries of the proposed project site taking into consideration these guidelines:

- Remove superfluous soil covering/s (i.e., dense vegetation, gravel, concrete etc.), if present and place to one side.

- Use a clean implement (i.e., spade/shovel) and manually excavate a hole to a targeted depth of approximately 50 centimetres below ground level.

- Obtain a representative soil sample (500g) and transfer it in a well labelled air tight zip lock bag

- Record the GPS coordinates of the excavation.

- Backfill the excavation with the remaining recovered arisings and reinstate the surface as close as practicable to initial conditions.

The soil sample was then transferred to Polucon Services (K) limited for chemical analysis that comprised of Benzene, toluene, ethylbenzene and xylene (BTEX) and Polycyclic Aromatic Hydrocarbons (PAH).

### Field visit and consultation:

Environmental and Social Screening checklist was used for recording information. Walkover survey for recording information was also carried out at the proposed site.  Consultations with PAPs and local informants were undertaken on 26th September 2020 and 28th September 2021. During the consultation, relevant project information was disclosed to stakeholders, and information on socioeconomic setting including physical, social and biological features were recorded. Discussions were also held with senior government officials of Kilifi County, National government officials based in Kilifi County, project affected persons and interested parties.

### Notice and mobilization of the consultation meeting

The team of experts gave a two weeks’ notice to the county government of Kilifi through the County Renewable Energy Officer who informed the area chief Chakama location to do mobilization for the consultative meeting in Bombi. The chief then informed the people about the meeting through announcement in mosque, church, PCEA Bombi Primary school and by word of mouth given by the local leaders to the community members. The meeting audience was selected according to the expected affected persons and proximity to the project site. There were no challenges and the meeting were well attended by elders, women and youth, county government representatives as well as representatives from the national government.

The VMGs were well represented and the contractor shall be advised in the bid documents to give them due consideration as well as to the disadvantaged in the community among them; people living with disability, the very elderly, orphaned, widowed and single headed families who could be impoverished.

### Methods of consultations

In order to reach the various groups in the community, different methods were applied to disseminate the project information as well as get feed-back from the said groups, as follows:

#### Public forum/meeting

Two public fora meetings were held with the residents of Bombi village to capture the different views of the area. One open meeting with all the community members was held on 26th September, 2020 at PCEA Bombi Primary School that had a turnout of 144 respondents. Another public forum meeting with all the community members was held on 28th September, 2021 with a turnout of 86 respondents. The team (KOSAP) explained to the community members about the project and other related information as discussed in the minutes. The meeting was then opened up for a plenary session, after which community members were split into Focus Group Discussions (FGDs).

#### Focus Group Discussions

In order to reach all groups of people, separate focus group discussions were held with the men, women and the youth in separate forums. The social system amongst the communities is dominantly patriarchal, in which power, leadership, moral authority and control of property are vested with the male gender. Clan-based culture and religion drives this strict male hierarchy and authority. Women, girls and youth roles in society are thus limited as is their decision-making powers. At the apex of the community is the clan and beneath it the elders, below them lies the male family heads, then their wives and male children. Female children lie at the bottom of society. Due to this cultural set-up of power in the community, when elders, women and youth are placed together in same meeting some group members may shy away from expressing their views. It is for this reason that, during the course of the consultations separate meetings were conducted for different stakeholders (women, youth and elders) in an attempt to allow them to freely express their concerns and expectations in relation to the mini grid and the project.

#### Key Informant Interviews

Key informants were identified from the neighbourhood and were interviewed to get more baseline information at the county and locational levels. The key informants included the representatives in the energy, trading, education and health sectors. Different Key Informant Interview (KII) were used for different sectors. The KII were used to get primary data for the baseline.

## ESIA Study Team

The ESIA study was conducted by 2 teams of expert that comprised of the following professionals;

Table 1-1: ESIA Study teams

Team 1 Date; 26/9/2020

| S/No | Names | Position |
| --- | --- | --- |
| 1 | Simon Mwangangi | Environmental and Social Specialist-KPLC |
| 2 | Samuel Abaya | Environmental and Social Specialist-KPLC |

Team 2 Date; 28/9/2021

| S/No | Names | Position |
| --- | --- | --- |
| 1 | Mark Oyier | Ministry of Energy -MoE |
| 2 | Pius Nyaga | Environmental and Social Specialist-KPLC |
| 3 | Habel Mwatata | County Renewable Energy Officer-Kilifi County |
| 4 | Henry Karanja | Norken International Limited/ Centric Africa Limited- EIA/EA Expert |
| 5 | Daniel Chumo | Norken International Limited/ Centric Africa Limited- EIA/EA Expert |
| 6 | Lavina Omondi | Norken International Limited/ Centric Africa Limited- EIA/EA Expert |
| 7 | Sharon Watiri | Norken International Limited/ Centric Africa Limited- EIA/EA Expert |

## Uncertainty in Compiling Information

Uncertainty arises from a variety of aspects in any development, and for this particular study report has emanated from the following:

- The changes that may occur in baseline conditions, due to external factors over the lifetime of the project;

- Uncertainty related to Proponent’s policy initiatives that might influence the assessment of future baseline and post-development conditions;

- Uncertainty in design information which should be dealt with by the definition of design parameters for the development by the Contractor and Proponent; and

- Uncertainty in relation to project planning and implementation as the detailed program and means of construction may be influenced by the choice of Contractor and the detailed design of the development.

# PROJECT DESCRIPTION

Bombi mini-grid will be co-generation using Solar Photovoltaic and diesel generators. The capacity for the project will be Solar PV 78 DC-kW, peak demand of 33kW, Diesel generator 50KvA and battery capacity of 253kWh and targets to serve 315 residential households and 7 non- residential users through a proposed  Low Voltage (LV) network of approximately 10 kilometres in length to cover a radius of approximately 1.5km. The electrical conductors will be stringed on concrete poles.

Table 3-1:Project Components

| Commercial and public facility consumers |  |
| --- | --- |
| School-1 | Security-0 |
| Religious-2 | Commercial-2 |
| Industrial-0 | Medical-1 |
| Mixed-1 | Other public facilities-0 |
| Consumers |  |
| Total residential-315 | Total non-residential-7 |

| Approx. Area (Ha) | Monthly Energy Demand (kWh) | Daily Energy Demand (kWh) | Peak demand (kW) | PV Capacity (kWp) | Battery Capacity (kWh) | PV Inverter (kW) | Battery Inverter Charger (kW) | Generator Capacity (kVA) | Fuel Tank for diesel generator (Litres) | LV Network (km) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2.3714 | 8,905 | 297 | 30 | 78 | 253 | 65 | 51 | 50 | 2,000 | 10 |

## Nature of the Project

The proposed project will be having two components in one that is a Hybrid Mini-Grids (PV and Diesel) and construction of power line reticulation lines. The following sections are explanations for each of the components that will be implemented.

### PV hybrid mini-grid sizing

The power system has been sized based on the energy parameters. These are:

- The proposed Residential & Non-Residential Users available

- The PV Capacity in kilo Watt peak.

- The storage battery Capacity

- The Inverter capacity in (kW)

The system will be modular, so that it can be upgraded easily to meet future demand needs. The proposed power plant will be configured as AC coupled due to the significant portion of daytime loads that can be fed directly from the solar PV generator without intermediate battery storage. This will include:

- PV modules with PV inverters,

- Diesel Genset,

- Deep-cycle lead-acid electrochemical batteries with liquid electrolyte (largely used in off-grid applications thanks to its well proven technology at baseline costs compared with other types of batteries).

The consultant will be required to apply for a NEMA ESIA variation of the license, during the design changes over the project lifespan.

### Architecture and basic design specifications

This hybrid power generation site is projected to generate at a capacity rating of Solar PV 78 DC-kW, Diesel generator 50KvA and battery capacity of 253kWh and targets to serve 315 residential households and 7 non- residential users through a proposed Low Voltage (LV) network of approximately 10 kilometres in length. The electrical conductors will be stringed on concrete poles.

The proposed mini-grid installations will be built to comply with the International Electro-technical Commission (IEC) standards. It will have an installation of approximately 240 solar panels of 250 watts and a battery house for 96 batteries of 800Ah each. The solar panels will have a connection to the batteries through underground cables. The cables will have a short circuit withstanding capability. Vegetation undergrowth will be controlled by regular slashing and cleaning up of the area.

This generator will be 50 KVA with an external reserve tank with a capacity of 2000 liters at a minimum. To optimize this hybrid system the HOMER software will be used. The goal of the hybridization of diesel systems is to reduce fuel consumption by switching off diesel generator set(s) for several hours a day, in order to reach a PV energy, share in the final mix of at least 60% or more. The power will be distributed to the customers by overhead lines. The project site is expected to serve clients within a radius of 1.5km from the site (generation source).

The PV plant and the battery capacity have been sized accordingly to the daily demand and the solar resources. The figure 7 below illustrates a sketch of the proposed design as it will be set up at the proposed project site.

In addition to this design architecture, the project site shall have an office that shall also have a control room adjacent as well as a guard house. The guard house shall be constructed using concrete and masonry works whereas the control room and office can also be a containerized facility. The facilities to be offered during construction phase include ablution facilities and changing rooms. The site will provide fire protection and firefighting equipment, fire extinguisher, signage, danger plates and name plates to prevent fire on site. The type of fencing to be used is a chain link fence. The project site will be manned by two security guards during the day and two security guards at night.

Figure 3-1: Sketch of the proposed project design

Source: Project Design Report

### Multi-mode Inverter

The multi-mode inverter (or inverter set) for this application is a 200 kW (nominal) bidirectional sinusoidal inverter. It can operate in autonomous mode as well as grid-tied mode. The efficiency curve shall be always above 80% in all cases, adjusting it at the load demand curve (base load, partial load or maximum load).

A priority function of the Multi-Mode Inverter is to adjust the instantaneous power consumed from the source according to the battery voltage. The operation of the solar priority function shall be done with an automatic adjustment algorithm of the input limit current. The input limit current is decreased, if there is enough energy available at the DC side, from the initial value.

### Battery

The battery considered is lead-acid, deep discharge type with a permissible repeated deep discharge without damage. Automotive or starting type batteries are not acceptable. It shall be of the open “vented” OPzS type with recombination caps and transparent enclosure for easy inspection of electrolyte level.

OPzS stands for:

O = Ortsfest (stationary)

Pz = PanZerplatte (tubular plate)

S = Flüssig (flooded).

Other batteries can be considered:

- OPzV type, “gel” lead-acid batteries are “maintenance less” but the unit weight is higher and the lifetime is sensitive to high temperatures.

- Li-ion batteries, have longer lifetime, are lighter and smaller. But they have a higher investment cost and are not adapted to high air temperature so that an additional active cooling system is needed.

The batteries must be manufactured according DIN 40736-1: “Stationary batteries with tubular positive plates. Capacities, measurements and weights”.

#### Battery rating

The proposed battery voltage will be 253kWH and it should be noted that the voltage class, either ELV or LV, will determine the electrical isolation and accessibility requirements of the battery room. The battery shall have at least the rated capacity of 2.16V at the C10 discharge rate according to DIN 43539-9.

#### Battery Performance

The battery shall have a self-discharge when new of less than 5% per month (at 25oC and fully charged) of its rated capacity and shall have a Coulombic efficiency of at least 85% and energy conversion efficiency of at least 85% when new and charged to more than 50% of capacity. The battery cycle life for discharge/charge regular cycles down to 80% DOD shall be more than 1500 cycles (According to IEC 896-1).

#### Lifetime

The design lifetime of the batteries shall be of at least 8 years without losing more than 10% of the rated C10 capacity. The damaged acids batteries will be stored separately and will be transported to Nairobi for proper disposal.

#### Battery cabling and protections

The battery connection point shall be as close as possible to the Multi-mode Inverter. Cables used to connect the battery shall have a temperature rating higher than 20 °C above ambient temperature. It is recommended that they be flexible (multithreaded) to allow for easy installation and maintenance. Fuses in cables that connect components to the battery shall be rated for D.C. use, be installed separately as close as possible to the battery terminals and rated to interrupt high fault currents from the battery. Neutralization kits will be provided to manage battery acid spills on the acid tray.

### Diesel Genset

The Diesel Generator Set shall have a capacity of 50 kVA with an output of 400 V / 230 V @ 50 Hz and 1500 r.p.m. The noise rating of the generator set will 75dBA @ 1 meter at 75% under free field conditions. The rated consumption will follow a 0.25 L/h/kW curve at stand-by power. It should include a highly corrosion resistant enclosure, control panel and monitoring, fuel tank and circuit breaker protections. The Diesel Genset shall be suitable for indoor or outdoor installation and shall perform accordingly with Multi-mode Inverter and the mentioned architecture model. The Diesel Genset shall be working in a fully automatic manner with the above stated components. The diesel gensets will have base mounted fuel tanks that will be factory tested for leaks. The fuel tanks will have a capacity of 2000 liters at a minimum. The Kenya Power & Lighting Company PLC will have pre-factory tests and inspections before shipment.

The Kenya Power & Lighting Company PLC will engage contractors to do the construction, after which a contractual agreement will be entered with a Private Service Provider (PSP) to run the generation facility.

### Distribution Line and Energy Meters

The electricity distribution from the generation plant to the end consumers will be done by means of a distribution line formed by 10km low voltage (LV) line at 415V for three phase and 240V for single phase. All lines shall be over-head mounted on concrete poles or eco poles. The Kenya Power & Lighting Company PLC in conjunction with the County Government of Kilifi shall acquire the wayleaves for the distribution lines in the project area. The contractor will fix meters and give guidelines to the consumers on how to purchase power tokens from their phones using the Mpesa app. The KPLC will retail electricity to consumers using the same rates applicable to the National grid and as guided by the Energy & Petroleum Regulations Authority (EPRA).

### Power House

The battery, multi-mode inverter and all monitoring equipment will be installed indoors with adequate air ventilation accordingly to the manufacturer’s recommendations. Thus, a power house or a containerized solution, considering the equipment manufacturer’s recommendations shall be installed. All electrical boards and LV protections will also be installed indoors. The batteries will be installed in the power house in a separate room, specifically for their use and meeting the electrical safety requirements according to its voltage class.

### Project Cost

The estimated cost of the project is around USD 509,581

## Identification and Evaluation of Bombi Mini-grid power project site

### Site identified by NRECA

A community engagement exercise was undertaken on 26th September, 2020 and majority of those who attended the meeting agreed to the project and proposed a 2.3714 Ha. parcel of land for the mini-grid power station. The land for installation is a community land currently under adjudication. Land for installation of the generation assets including wayleave acquisition for the distribution power lines will be acquired during pre-construction phase, and all pre-requisite consultations with necessary stakeholders and all land acquisition processes will be completed before construction works begin.  The site is approximately 600 meters from the town center and is gently sloping to the south west and it is accessible via a graded all-weather road from Bombi center to Marafa. The proposed site is touching an all-weather road and a Safaricom Base Transceiver Station (BTS) mast is approximately 200 meters from the site along the same road towards Marafa. The site is currently vacant.

### Compensation Details

Compensation for the land for the proposed project will be in kind which is acceptable under the Land Value Amendment Act 2019 and World Bank Standards, the proponent will undertake some projects for the community. In Bombi, the community requested the following projects in the order of priority:

- Water project since the available water is very salty; desalinators to desalinate the borehole water or water reticulation from River Galana to the village.

- Maternity wing in PCEA Bombi dispensary since the pregnant ladies have to travel long distances to access maternity services.

- Nursery school and lower classes at Habura since the children travel long distances to get to PCEA Bombi Primary School and have to be escorted due to human-wildlife conflict from the elephants.

The community was informed that the value of the community project will commensurate or be higher than the value of the land acquired for the mini grid. The project team will disclose the in-kind compensation strategy to the Bombi community in subsequent consultation forums to disclose the process of compulsory land acquisition and compensation in kind.

Figure 3-2: The proposed sites PDP

## Construction Materials, Equipment and services

All materials that will be used in construction of this project shall be of high quality in line with the Kenya Bureau of Standards. Sufficient materials and equipment shall be purchased and stored on site to avoid wastage. Most of the materials are locally available and the contractor should source from within the project area.

### Input Materials and Equipment & machinery

Works and construction activities are expected to use quality construction materials and procedures to ensure quality work, occupational and public safety and environmental protection. The following inputs and equipment will be required for construction:

- Electrical generators and equipment

- Excavators

- Raw construction materials (Sand, cement, natural building stone blocks, hard core, gravel, concrete among others).

- Timber (e.g., doors and frames, fixed furniture, etc.),

- Paints, solvents, white wash, etc.,

- Labor force (of both skilled and unskilled workers).

- Generator sets

- Concrete poles and associated fixtures

- Bus bars, Switch gears, Circuit breakers

- Lightning arrestors and Steel structure members

- Lorries

- Plumbing equipment

- Concrete mixers

- Welding machines, wheelbarrows

- Water

- Solar panels

- Conductors

- Meters

- Fuels (Diesel)

- Sand

- Hardcore

- Building stones

- Glass

- Labor force

### Use of services and resources during construction

#### Water

Water is key in the construction of this project. Water will be required for potable use and in the construction works. The contractor should avoid competition with the local community for water and is advised to source water using water boozers from nearby River Galana or boreholes.  In sourcing for water; the contractor shall ensure no water contamination or pollution and promote sustainable use of the resource.

#### Land

Land is the major component required for the proposed project. The National Land Commission (NLC) on behalf of ministry of Energy shall acquire land for the mini-grid development and wayleaves. The contractor shall be responsible for acquiring land for the contractor’s yard and workers camp in the pre-construction phase.

#### Labor

The size and the composition of the workforce will be at the discretion of the contractor(s). The contractors will adhere to the Employment Act of 2007 in the recruitment and management of the employees. It is recommended that the contractor seeks unskilled labour from the surrounding areas.

#### Sewerage

A negligible sewerage flow is anticipated for the duration of the construction period. On site, use will be made of toilets that will be serviced periodically. For operations, a similarly negligible amount of sewerage will be generated. The area is not served by any sewer system and the Kenya Power & Lighting Company PLC shall make use of septic tanks to dispose sanitary waste during operation period.

#### Roads

Existing roads will be utilized as far as possible during the construction and operational periods. No new road will be constructed because there is an existing road touching the mini-grid site.  The flow of traffic to the site during the construction period will increase slightly and management of traffic including installation of signages. The contractor shall adhere to the Traffic Act.

#### Electricity

Electricity will be essential for the proposed project both during construction and operation. The contractor will use portable diesel power generators during construction for fabrication and welding where necessary. After the project is commissioned Kenya Power will provide electricity for its operations and to the targeted PAPs.

The Kenya Power & Lighting Company PLC shall ensure that all material sourcing does not trigger any environmental or social impacts. All hazardous materials should be handled according to the NEMA regulations on hazardous waste. All new unidentified impacts should be mitigated and managed in a responsible manner throughout the project cycle by the contractor and the project operator.

## Products, By-Products and Waste during construction, operation and decommissioning phases

### Construction Phase:

The final product after construction phase is a modern Mini Grid power project and its associated LV distribution lines.

#### By-products

During the construction phase of the project no by-products is envisaged.

#### Waste

During construction the proposed project is anticipated to generate different waste which shall include:

Domestic Waste from the Construction Area

The workers will not be supplied with any forms of foodstuffs. They are expected to buy or carry their own food. Plastic bags and containers which the workers will use to carry their food are expected to increase within the site. Other forms of waste include sanitary waste and therefore the provision of sanitary facilities will need to be considered both for the site construction workers and any other person coming to site.

Site Construction Waste

The project will generate waste from the site construction activities which includes:

- Excavated soils and vegetation;

- Construction equipment and maintenance wastes;

- Dust and fumes;

- Scrap metals;

- Packaging materials, etc.

- Metal cuttings generated from the construction activities

- Any excess construction materials brought to the project site by the contractor which can be reused later

#### Dust

The construction activities that will occur particularly during the site excavation process will generate dust and other particulates particularly during dry weather conditions that will be released into the atmosphere.

#### Smoke Emissions

The site machinery, equipment and trucks brought in by the contractor are expected to generate smoke emissions when in operation during the construction activities. The concentration of emissions will depend on the maintenance levels of the equipment, machinery and trucks used by the contractor.

### Operation Phase

#### Products

The primary product of the proposed project during the operational phase will be electricity generated from the Mini grid power projected and distributed to target PAPs.

#### By-products

The by-product anticipated to be generated during operational phase is used oil.

#### Waste

The wastes that will be generated will include;

Domestic Waste

Some of the domestic waste to be generated at the facility include waste paper and empty cans. Other waste will include sanitary facilities effluent which will directed to a septic tank.

Process waste

Some of the waste anticipated from the process will include used/ waste oil from diesel generator which will require to be managed well by ensuring containment of any spillage and incineration of oily rags. Solid waste will include faulty or obsolete batteries and solar panels, conductor and scrap metals during replacement which takes several years before being replaced.

Some waste especially scrap conductors, metal offcuts have monetary value and will be disposed according to the Public Procurement and Asset Disposal Act 2015.

### Decommissioning Phase

#### Products and By-products

During the decommissioning phase it is expected that there will be no product. However, the by-products during decommissioning phase will include:

- Metal generated from the decommissioning of Solar Mini Grid and associated infrastructure; and

- Foundation materials which should be disposed according to the law.

#### Waste

During the decommissioning phase of the proposed project, several waste products are expected to be generated. These shall include:

- Remains of concrete from demolition of Mini Grid foundation

- Dusts and fumes;

- Scrap metals;

- Solar Panels

- Batteries

- Generator

#### Dust

The activities that will occur particularly during the demolition process will generate a considerable amount of dust and other particulates that will be released into the atmosphere. Contractor should sprinkle water to suppress dust.

#### Smoke Emissions

The demolition machinery, equipment and trucks used are expected to generate smoke emissions. The concentration of emissions will depend on the maintenance levels of the equipment, machinery and trucks used by the contractor. Such equipment should be up to service.

## Safety of the facility

As is with other projects, the proposed project is prone to both natural and man-made disasters. However, it is difficult to prevent the occurrence of natural disasters, but the consequences could be reduced by engineering measures. Man-made disasters on the other are preventable. The following safety concerns will be addressed in the proposed project.

### Natural disasters

In order to reduce the impacts of any potential natural disaster, the proposed project will be designed according to acceptable standards and code and shall be able to reasonably withstand any impacts which may arise as a result of the worst credible seismic event.

### Malicious damage or theft

The proposed project could be prone to malicious damage such as terrorist attack or theft. To prevent the occurrence of such events, the following measures will be taken:

- Regular monitoring and inspection of the project and its associated infrastructure.

- 24-hour guard of the premises/office block

- Continuous liaison with state agencies on security

### Hazard Risk Assessment

The contractor should prepare an emergency response procedure that will be verified by the supervising consultant and approved by the Kenya Power & Lighting Company PLC. As a minimum requirement, the emergency management plan will cover the following aspects:

- Safety regulations

- Scope of the safety emergency plan

- Notification of local authorities

- Details of the proposed project

- Aim of the safety emergency plan

- Objectives of the study emergency plan

- Emergency arrangements, procedures and plans

- Roles and responsibilities in the event of an emergency

- Evacuation of people

- The role of local communities

- Regular testing of the safety emergency plan

The risk assessment will include as a minimum:

  - A general process of the project being investigated

  - A description of the potential major incidents associated with that type of installation and the consequences of such incidents

  - An estimation of the probability of a major incident

  - A copy of the site emergency plan

  - An estimation of the damages in the case of an explosion or fire, fire risk assessment, mock fire drills and tests of response time, trained fire marshals, firefighting appliances and safety committee’s formation, tasks and meeting frequencies.

  - An estimation of the effects of toxic gas releases.

  - The potential effect of an incident on the project or part thereof or an adjacent project or part thereof.

  - The potential effect of a major incident on any other installations, members of the public and residential areas.

  - Meteorological tendencies including risk of floods, earth tremors, storms and hurricanes

  - The suitability of existing emergency procedures for the risks identified.

  - Any requirements laid down in the OSHA 2007 and EMCA 1999 and its 2015 Amendments.

  - Recommendations regarding any organizational measures

### Workforce Requirement

The solar mini-grid will be installed, operated and maintained by the contractor for the first seven years and then handed over to KPLC fro operations and mantainance.

# PROJECT ALTERNATIVES

### Consideration of Project Alternatives

In this chapter, various alternatives available to the project are discussed. The alternatives are as follows; “no-go/do nothing” alternative, alternative construction materials and technology, Site alternatives, and alternative sources of energy identified during the ESIA process.

The identification and examination of alternatives is fundamental to environmental assessment. It provides decision-makers with information that enables them to properly consider optimal solutions to development proposals. Alternatives illustrate and contrast the environmental implications and consequences of different options available to achieve the same end.

### Land identification criteria

Minigrid Sites under KOSAP were selected based on a number of factors.

1. Geophysical Factors-Proximity to Hills-Shade effect, Soil erosion, Drainage of the area, Flooding etc.

2. Land identified is free from any dispute on ownership or any other encumbrances

3. Proximity to public utilities-Schools, Dispensaries, Places of worship and community settlements

4. No squatters, encroachers or other claims to the land

5. The Size of the Minigrid to be constructed and the optimal coverage of a Minigrid in terms of the number of people to be reached.

6. The Land identified should be on spaces set aside for public use within the community centres.

The land was identified by the beneficiary communities and confirmed by technical staff to be suitable for the sub-project and free from any environmental or health risks. The impacts on the Community will be marginal and will not result in displacement of households or cause loss of household’s incomes and livelihood.

The site identified was considered against the criteria highlighted above and was found suitable for Minigrid construction.

### Alternate Location for Project Site

In determining the most appropriate site for the establishment of the minigrid, several options were explored. This site selection process considered the following criteria:

  - The availability of primary resources required for the operation of the minigrid, such as Sun

  - Availability of land to locate the site and associated infrastructure;

  - The availability and accessibility of infrastructure for the provision of services, manpower and social structure for the construction and operation of the power plant;

  - General environmental acceptability in terms of social impacts, water utilization, general ecology, etc.

Bombi village was identified as the most suitable area for the establishment of the proposed minigrid based on the following factors:

Primary Resource: Bombi village receives sunlight up to 8 hours a day, the availability of sun makes it suitable for a solar mini grid. The community is further marginalised with no electricity grid connectivity compared to other regions in the country.

Grid Connection: A grid connection with enough capacity and material was recommended due to the anticipated increasing demand in solar energy. This eliminates the need to overhaul the grid connection when the population increases in Chakama location.

### No Project Alternative

The No Project option or do nothing in respect to the proposed project implies that the status quo is maintained. This option is the most suitable alternative from an extreme environmental perspective as it ensures non-interference with the existing conditions. This option will however, involve several losses both to Bombi community and will deter the governments vision of increased connectivity to the citizens.  The No Project Option is the least preferred from the socio-economic and partly environmental perspective due to the following factors:

- The socio-economic status of target communities the local economy would remain unchanged.

- Generation of employment opportunities through expansion of business activities that would have been spurred by availability of electric power will not occur

- Opening up the area for investors will not occur.

- Health benefits that come with electricity will not be realized

- The targeted consumers will forgo the desired electricity supply in the area

- The country won’t meet its energy requirement

- The objectives of the government’s efforts towards achieving Vision 2030 will not be realized.

From the analysis above, it becomes apparent that the no project alternative means no project to the local people and the Government of Kenya and the benefits outlined above and other indirect benefits that would accrue from construction of the proposed project.

The ‘do-nothing’ option is therefore not a good option economically and should therefore be discouraged and rejected. It is therefore imperative for KPLC to establish a new solar mini-grid in the area and supply the community with modern clean energy.

### Alternative Sources of Energy

#### Thermal Power Generation

Thermal power through installation of Diesel Gen Sets is an option which can be considered to provide power to the community.  Thermal power generation involves use of fossil fuels, coal, gas or bio-diesel. For commercial purposes fossil fuels are commonly used and burning of these fuels releases greenhouse gases leading to global warming. There is also increased risk to respiratory disorders. It is therefore imperative that green energy solutions take the lead. The area is well endowed with solar energy and therefore Solar PV would be the main source of electricity with a backup of diesel generators. The options of wind energy in the area should also be explored for future energy generation.

#### Hydro Electric Power – HEP

This would mean exploring the possibility of extending the existing national grid to Bombi which is economically feasible considering the distance. There are no natural waterfalls and therefore HEP was not applicable for Bombi community.

#### Other sources of Energy:

Wood fuel is the greatest source of Energy contributing to 80% of energy requirements in Africa. Over reliance on wood has led to deforestation, desertification, global warming and climatic change among other socio – economic demerits. The Government of Kenya should look into the possibility of using nuclear energy to generate electricity. This is a long-term consideration and also has several deleterious effects to the environment and human health. Nuclear Waste disposal will also create a huge environmental challenge.

Based on this discussion the proposed Mini-grid power project which is a co-generation with solar taking the lead presents the most appropriate option of connecting the residents of Bombi to electricity factoring time, cost and environmental considerations.

### Analysis of Alternative Construction Materials and Technology

The proposed solar Mini-grid will be constructed using modern, locally and internationally accepted materials to achieve public health, safety, security and environmental aesthetic requirements. Equipment that guarantees efficient use of locally available materials will be encouraged to ensure reliability in supply with minimum power loss and good design to allow efficient distribution of power in the area.

The support structures in the Solar Mini-grid can be wooden or steel. Because of its durability and strength, steel is the best choice and all support structures will be steel. Perimeter fence can be a reinforced wire mesh fixed to concrete, steel or Eco posts (from recycled plastic wastes). Alternatively, a stone perimeter wall can be constructed.

This shall be in conformity to proponent’s design and specifications and according to best industry practice to guarantee efficiency and returns on investment.

The PV panels should be analysed to afford maximum efficiency in power generation, occupy less space and for cost effectiveness.

The batteries lifespan should also be analysed to guarantee longest functional period to reduce on replacement costs and disposal of obsolete batteries charges.

The construction of housing structures for equipment, offices and stores should consider durable construction materials and technology that will promote natural air circulation to ensure cool temperatures within the housing units of the mini-grid structures.

Overhead power lines can be supported by wooden, steel or concrete poles/structures. The design for KOSAP is to use concrete poles which have a lifespan of over 50 years compared to wooden that can last up to 15 years because of their proneness to rotting and termite attack. Steel structures are more expensive and in areas close to the ocean; they are prone to corrosion and rusting.

Concrete poles are ideal choice for supporting the powerlines.

### Solid waste management alternatives

A lot of solid wastes will be generated from the proposed project. An integrated solid waste management system shall be enforced. First, the contractor will give priority to reduction at source of the materials. This option will demand a solid waste management awareness program in the management and the staff. Recycling and reuse options of the waste will be the second alternative in priority. This will call for a source separation program to be put in place. The third priority in the hierarchy of options is combustion of the waste that is not recyclable. Finally, the contractor shall establish partnership with NEMA approved waste handlers for regular waste removal and disposal in an environmentally-friendly manner. In this regard, a NEMA registered solid waste handler shall be engaged. This is the most practical and feasible option for solid waste management.

# BASELINE INFORMATION OF THE STUDY AREA

## Kilifi County Overview

Kilifi County is one among the six counties in the Coast region of Kenya and covers an area measuring 12,370.8Km2. The County is composed of seven administrative sub-counties namely; Kilifi South, Kilifi North, Ganze, Malindi, Magarini, Kaloleni and Rabai and thirty-five (35) devolved political units (Wards). According to the Kenya census 2019, the county has an estimated population of 1,453,787. The county’s main urban centres are Malindi, Kilifi, Mtwapa, Kaloleni, Mazeras, Mariakani, Watamu, Magarini, Marereni, Majengo and Bamba (See Figure 3 below). The county’s urban population stands at 328,652 in 2018, constituting 36.8 percent of the total population. Bombi mini-grid power project targets to connect 315 households and 7 non-residential users.

## Position and Size

The project is located in Bombi village, Kisiki sub-location, Chakama location, Adu Ward in Kilifi County. Geographically, the site is located at latitude 3°4'42.168"S and longitude 39°28'43.212"E. The proposed solar mini grid will be constructed on a 2.3714 hectares piece of land near Bombi Shopping Centre and PCEA Bombi Primary School.

Kilifi County lies between latitude 2020” and 400” south, and between longitude 39005” and 40014” East. It borders Kwale County to the South West, Taita Taveta County to the West and Tana River County to the North, Mombasa County to the South and Indian Ocean to the East as shown in Figure 1 below.

Photo 1: Map of Kenya showing location of Kilifi County.

Photo 2: Map showing the sub counties in Kilifi County.

## PHYSICAL ENVIRONMENT

### Climatic Condition

The county has a bimodal rainfall pattern with average annual precipitation ranging from 300mm in the hinterland to 1,300mm in the coastal belt. Bombi project site falls in the hinterland area of Kilifi County. The average annual rainfall in the hinterland ranges from 300mm to 900mm. The short rains are experienced in October, November and December while the short rains are experienced in March, April and May. The highest mean average evaporation is 2200mm and is experienced between January to March. The average annual temperature ranges between 30°C to 34°C. Bombi experiences wind speeds of approximately 12km/h.

### Housing Types

Different construction materials are used in building houses in different localities. National Housing Survey (2013) indicates that iron sheets usage for roofing, in Kilifi County, is at 43.7% and that of grass/makuti is at 53%. Wall construction using stones/blocks/bricks is at 30% and it is mostly in urban areas while mud/ wattle wall construction is at 48%, mostly in rural areas. Most houses, 67%, have earthen floors while 30 % have cemented floors. Housing types are primarily determined by various factors including availability and cost of construction materials, weather and cultural/religious believes in the regions. In the rural areas, houses are simple and small in sizes, generally 1 to 3 rooms per unit. On the other hand, Swahili houses, bungalows, maisonettes and flats are common in the developed towns like Malindi, Kilifi and Mtwapa areas. However, presence of shanties is also very common in the urban areas.  The area around the proposed site is residential and two homesteads were noted with one having simple houses with mud walls and corrugated iron sheets roofs, and the other residence houses of mud walls with makuti thatched roofs, as shown in figures 4 and 5.

Photo 3: Photographic representation of Bombi area.

Photo 4: Residential houses approximately 50m away from the proposed project site

### Transport infrastructure

The proposed site is touching Bombi – Baricho earth road. The main form of transport is motorcycles within the village. Bombi village is accessed through cars from Malindi town.

### Energy Access:

In Bombi, majority of the households use solar solutions (D-light) and Sun-King for lighting and mobile phone charging purposes, the households with no solar solutions pay 20 KSHS to charge their phones. During the Focus Group Discussions with women, it was reported that women face challenges accessing power since the solar lamps are expensive and most of them cannot afford. The men also reported that during rainy season there is low output from the available solar solutions.

According to the Kilifi County Integrated Development Plan (2018-2022), access to electricity and solar energy technologies is estimated at 21% and 6% respectively. According to Kenya National Bureau of Statistics (KNBS) and Society for International Development (SID), 2013, the potential for investment in renewable energy sources is high given that the county receives over 6 hours of sunlight. The exploitation of renewable energy option is important especially with environmental degradation that has been witnessed in the semi-arid parts of Magarini Sub-county where deforestation resulting from charcoal burning has reached alarming levels.

### Land Ownership Categories/ Classification

Bombi area is in the final stages of land adjudication and by the time of the ESIA exercise, the residents did not possess title deeds to their land parcels. The land on which the proposed Bombi minigrid will be constructed covers a total of 2.3714hectares in size and is community land that is currently under adjudication.

An A-RAP applies where affected persons are not physically displaced, and less than 10% of their productive assets are lost, or fewer than 200 people are displaced. In the case of KOSAP sub-projects, there is no physical displacement of affected persons, and the foreseen impacts on livelihoods such as grazing occasioned by mini-grid construction, wayleaves acquisition, and implementation of community projects are considered minor. An A-RAP will be implemented for this sub-project site on a community land.

According to the Kilifi County Baseline Survey (2013) 65% of farm land was owned by household head or spouse, about 20% communally owned and 4% rented out by individual owners. 34% of households had title deeds to their land, 55% owned land without formal documents, 22% had communal rights to use of land and about 8% had use of land but never been allocated (squatter). This indicates that about 66% of all households did not have formal titles to the land and therefore could not use land as collateral to borrow loans or as incentive to undertake investments. Percentage of households with title deeds has, however, greatly improved since then, courtesy of the Government of Kenya’s title issuance and settlement schemes acceleration program and County Government support of administration of new adjudication schemes. Between 2013 and 2017, 105,470 Ha of land in 35 adjudication sections were surveyed and demarcated, benefiting over 40, 000 households (Department of land, Housing, Energy, Physical planning, 2017).

### Land Use

The land in the Bombi is majorly communally owned. The land is used for settlements, commercial businesses, livestock grazing and irrigation purposes along the banks of River Galana. Underground water is also harnessed from the land at the borehole and hand-dug well. The area is majorly semi-arid with a sparse population within the area. The project site is approximately 450meters from Bombi Shopping Centre and 840m from PCEA Bombi Primary School. The current land use of the project site is grazing land.

### Wildlife

There was no animal or bird species identified or known to be endemic within the proposed project site. The area is dry with soil exposed to agents of weather therefore it is prone to erosion and the general area proximal to the site has no significant tree, birds or animal species.

### Vegetation

The proposed site had no grass with exposed sandy loam soil. The general area has scattered trees of Acacia tortilis, Ndindi (local name) and mdede (local name) trees. Different types of herbs were observed but distinguishing them was a challenge because of drought and they had no leaves. Scanty Solanum indicum was observable on the site. Information gathered from the locals indicated that there were no sacred trees, or medicinal plants within the site.

The vegetation cover in the project area has been destructed by human activities which include grazing and charcoal burning which is their source of livelihood. During implementation of the project there is no much vegetation clearance that will take place.

Photo 5: Project area flora presentation

### Topography

The county has four major topographical zones namely; coastal plain, foot plateau, coastal range and Nyika plateau. The project site falls in the Nyika Plateau topographical zone which rises from 100m to 340m above sea level. The plateau is characterized by low population density, thin vegetation cover, shallow depressions and gently undulating terrain. The topography of the project site is an open area with gentle slope of 1.4% southwards. The land at the project site is bare land with a big risk of soil erosion.

### Soils

The major soil types in Magarini subcounty is sandy loam to black cotton soil. The soils in the project location were predominantly sandy loam with black cotton. Sandy loam soils are dominated by sand particles, but contain enough clay and sediment to provide some structure and fertility. The soils have a high concentration of sand quickly drain excess water and cannot hold significant amounts of water or nutrients for plants.

During the study, a soil sample was collected from the site at coordinates; latitude 03°4'33.42"S and longitude 39°29'12.48"E and submitted to a NEMA designated laboratory for analysis of Petroleum Hydrocarbons. The results as shown in the table below indicated the soil at the site have not been impacted by petroleum hydrocarbons. The results of the soil analysis are intended to provide the baseline information and to confirm that the site has not been contaminated.

Table 2-1: Soil Analysis Results

| Test | Method | Results | Units | Limit |
| --- | --- | --- | --- | --- |
| BTEX |  |  |  |  |
| Benzene | PQA/LIM/002 | <0.01 | mg/kg | <0.01 |
| Toluene | PQA/LIM/002 | <0.01 | mg/kg | <0.01 |
| Ethyl benzene | PQA/LIM/002 | <0.01 | mg/kg | <0.01 |
| Xylene | PQA/LIM/002 | <0.01 | mg/kg | <0.01 |
| PAH |  |  |  |  |
| Naphthalene | PQA/LIM/004 | <0.01 | mg/kg | <0.01 |
| Acenaphthylene | PQA/LIM/004 | <0.01 | mg/kg | <0.01 |
| Acenaphthene | PQA/LIM/004 | <0.01 | mg/kg | <0.01 |
| Fluorene | PQA/LIM/004 | <0.01 | mg/kg | <0.01 |
| Phenanthrene | PQA/LIM/004 | <0.01 | mg/kg | <0.01 |
| Anthracene | PQA/LIM/004 | <0.01 | mg/kg | <0.01 |
| Fluoranthene | PQA/LIM/004 | <0.01 | mg/kg | <0.01 |
| Pyrene | PQA/LIM/004 | <0.01 | mg/kg | <0.01 |
| Benzo(b)anthracene | PQA/LIM/004 | <0.01 | mg/kg | <0.01 |
| Chrysene | PQA/LIM/004 | <0.01 | mg/kg | <0.01 |
| Benzo(b)fluoranthene | PQA/LIM/004 | <0.01 | mg/kg | <0.01 |
| Benzo(k)fluoranthene | PQA/LIM/004 | <0.01 | mg/kg | <0.01 |
| Benzo(a)pyrene | PQA/LIM/004 | <0.01 | mg/kg | <0.01 |

### Water Resources

Bombi village is traversed by River Galana which is approximately 700m from Bombi Shopping Centre. The water drawn from the river is considered clean by the locals and is used for drinking and other domestic uses. The water is also used for irrigation at the banks of the river.

The village also has a borehole and hand dug well, however the water from the borehole is not used due to its salinity. There is also a dry stream adjacent to the project site.

A water sample was collected from the borehole at coordinates; latitude 03°4'46.66"S and longitude 39°28'43.91"E and analysed in a NEMA accredited laboratory. The results obtained that as presented in the table below showed that the quality of water meets the Kenyan Standard for potable water:

Table 2-2: Water analysis results

| Test | Results | Units | KS EAS 12:2018: NA |
| --- | --- | --- | --- |
| Physical-Chemical Tests |  |  |  |
| Turbidity | 2.19 | NTU | 25Max |
| *pH value | 7.70 | @25.00C | 5.5-9.5 |
| *Conductivity | 12060 | µS/cm | 2500Max |
| Dissolved oxygen as DO | 6.85 | mg/L |  |
| Temperature | 28.3 | 0 C |  |
| Inorganic Contaminants |  |  |  |
| Nitrate as N03 | 55.29 | mg/L | 45 Max |
| Phosphates as PO4 | <0.01 | mg/L | 2.2 Max |
| *Manganese as Mn | <0.01 | mg/L | 0.1 Max |
| Mercury as Hg | <0.003 | mg/L | 0.001 Max |
| *Calcium as Ca | 8.82 | mg/L | 150 Max |
| *Lead as Pb | <0.01 | mg/L | 0.01 Max |
| *Copper as Cu | <0.01 | mg/L | 1.0 Max |
| Arsenic as | <0.01 | mg/L | 0.01 Max |
| *Cadmium as Cd | <0.003 | mg/L | - Max |

From the above results, the water sample had a high conductivity and high nitrate levels.

## Socio-economic baseline

### Demographic Profile

According to information from the area assistant chief, Bombi village has an estimated population of 3500 people and 741 households with an estimate of 6 persons per household. The average gender ration for the population within the project area is estimated to be 70% female and 30% male. The table below presents a summary of demographic profile of Bombi.

Table 2-3: Summary of demographic profile

| Attribute | Magnitude/Number |
| --- | --- |
| Approx. population | 3500 |
| Households | 741 |
| Gender. | Male – 30% Female – 70% |
| Ave. No. per household | 6 per household 2 parents 4 children |
| Communities in the project area | Natives (Giriama, Orma, Waatha)- 95% Settlers – 5% |
| Vulnerable individuals and households | - Poor female headed household (approximately 32 households) - Orphan led household (approximately 10 households) - Persons Living with Disabilities (Approximately 10) - The elderly (80 years and above) (approximately 5) - The Waatha and the Orma |
| Dominant ethnic group | Giriama |
| Primary religion | Christianity |
| Other groups | Orma, Waatha |
| Employment (formal/Informal) | Formal – 5% Informal – 15% Unemployed- 80% |

Photo 6: A representation of Bombi land use

Source: Google earth 2022.

### Educational Infrastructure

As per the observation and information sought from Bombi Village, Kisiki sub-location has 4 primary schools namely PCEA Bombi Primary School, Galana Primary School, Hawewanje Primary School, Mwanza Primary and 2 Early Childhood Development (ECD) schools namely Habura and Chambu. Kisiki sub-location has Shakahola Vocational Training Centre which has been existence for 5 years and offers hairdressing, mechanical and building and construction. PCEA Bombi Primary School in Bombi Village has a total of 287 pupils, 151 boys and 136 girls. The school is currently connected to a solar panel but the batteries were not active at the time of the site visit. The school will benefit from connection of electricity and learning will improve and the students can learn at night.

### Occupation and Livelihood Profile

Main livelihood activity undertaken by people of Bombi Village is majorly farming along River Galana. Depending on the season, the residents of Bombi practice pastoralism. The main formal jobs at the area are teaching and other civil servants which accounts to approximately 5% of the population. 15% of the population is in informal employment with 80% being unemployed. The locals will benefit from employment opportunities during the construction of the mini grid.

### Land Use

Land area at Bombi is considered arable with River Galana being a source of water for irrigation. The main activities undertaken on available land area at Bombi and the greater extents of Magarini subcounty is farming, charcoal burning and cattle grazing. The main crops grown are maize, kales, green grams, cow peas and tomatoes. The main animals kept in Bombi village are cows, goats, sheep and donkeys.

### Social and Physical Infrastructure

Public and private institutions provided at Adu Ward include schools, health facilities and vocational training centre. The institutions include PCEA Bombi Primary School, Galana Primary School, Hawewanje Primary School, Mwanza Primary School, Shakahola Vocational Training Centre, and PCEA Bombi Dispensary. There are 2 mosques and 1 church in Bombi village. The village has Uzima Community Based Organisation (CBO) which was established in 2008. The objectives of the CBO are supporting needy children through scholarships, support flood victims, irrigation projects along River Galana and help in bee keeping and other development activities. The village has no village support groups.

Water is sourced from River Galana which around 1km from Bombi Shopping Centre. Borehole water is also available but is very salty. There is also a hand dug well in the area. Roads connectivity within the area is also poor and not regularly maintained. Bombi area is connected to Malindi town through a dirt road.

### Livelihood and Economic activities

Bombi village has a shopping centre that is close to the project site. According to information from a KII with a trader shows that there are 6 eateries, 5 shops, a guesthouse and chemist in Bombi Village. The women have a trade group association that offers table banking facilities. The trading association has been active for a few years. The traders get most of their goods from Malindi town. The traders get business permits from the county government annually. The businesses in Bombi village are affected by seasonal cycles, during drought season there are low buyers and during rainy season the road transportation is difficult. The businesses will benefit from the project through electrification of their shops and buying of goods by the contractor from the businesses during construction phase.

### Vulnerable and Marginalized Groups

Bombi village has three communities namely; Giriama, Orma and Waatha who are the sole PAPs of the project. The VMGs identified during the ESIA exercise are the Orma and the Waatha. The two tribes identified themselves as minorities living among the Giriama community and they confessed of intermarriages and peaceful coexistence. The representatives of the two groups are included in the Grievance Redress Committee to take care of the needs and wishes of the vulnerable and marginalized groups during the project life time. The ESIA study has not identified any adverse impacts on the Orma and Waatha communities to necessitate for more actions from the project.

### Vulnerable individuals and households

According to the World Bank Document-Vulnerability: A View from Different disciplines by Jeffry Alwang and Paul B. Siegel, a vulnerable group is a population that has some specific characteristics that make it at higher risk of falling into poverty than the others.

The categories of vulnerable individuals and households identified at the project area include:

- Poor female headed households (approximately 32 households)

- Orphan led households (approximately 10 households)

- Persons Living with Disabilities (Approximately 10)

- The elderly (80 years and above) (approximately 5)

The vulnerable households can hardly access the basic needs and most of them really on well-wishers within the community. The project should consider such households for electricity connection. Most of them cannot afford the one thousand shillings’ connection fee. The project will not create new vulnerabilities or exacerbate existing vulnerabilities.

### Gender based vulnerability

The society in the project area is characterized by a patriarchal family structure. Women continue to be rooted in traditional norms of social behaviour which include early marriages and child marriage, minimal participation in household or economic decision making, lesser economic freedom and limited opportunity to socialize with other females in the village. During the Focus Group Discussion with women, it was reported that men have more control over household resources such as land, assets and equipment. The men are also the representatives of the clan. Female literacy was reported to be low among women over the age of 18 and higher among the younger girls.

### Gender Based Violence

Intimate partner violence is the most common form of Gender Based Violence (GBV) in Bombi which was reported by the nurse at PCEA Bombi Dispensary and majorly affects married people. Based on the female Focus Group Discussion at Bombi, intimate partner violence is common this was mostly attributed to alcoholism and laziness.

### Grievance Redress Mechanism

There are conflicts experienced in the village. Most conflicts are solved by the clan elder. The community is organised in 5 stages in terms of conflict resolution which are represented below.

Figure 2-1: Current grievance redress mechanism

### Culture and heritage

No cultural site of significance was reported or observed within the project area. During the male Focus Group Discussion, they noted that there is a certain tree species that is used for special gatherings however it is not found within the project area. There are also shrines in Shakahola. The Giriama community in the project area are a patriarchal society; men typically speak for women and make decisions in the family. The community encourages early marriages for young girls.

### Religion in the project area

The community members are predominantly Christians. Muslims are also found in the area. Religion has led to their culture slowly fading away. There are 2 mosques and 1 church in Bombi. The church in the village is PCEA Bombi Church. The church and mosque are not connected to any source of power.

### HIV/AIDs prevalence

According National AIDs Control 2018, HIV prevalence in Kilifi is (3.8%) lower than the national prevalence of 5.9% (Kenya HIV Estimates 2015). The prevalence rate for sexually transmitted diseases and HIV/AIDS infections in Bombi was confirmed by the nurse at PCEA Bombi Dispensary to be at 40%.

### Covid-19 prevalence

According to the Ministry of Health, Kilifi County is among the counties with a high number of covid-19 infections and cases. As at November 2021, Kilifi ranked at number 9 out of the 47 counties with a total of 6,175 reported cases of Covid-19. The nurse at PCEA Bombi Dispensary noted that there were no significant cases of Covid-19 in the village.

# DESCRIPTION OF THE ADMINISTRATIVE POLICY AND REGULATORY FRAMEWORK

## Introduction

There is a growing concern in Kenya and at global level that many forms of development activities cause damage to the environment. Development activities have the potential to damage the natural resources upon which the economies are based. Environmental Impact Assessment is a useful tool for protection of the environment from the negative effects of developmental activities. It is now accepted that development projects must be economically viable, socially acceptable and environmentally sound.

A detailed review of relevant institutional and legal as well as policy framework that bears significance or implication to the KOSAP project is presented in this chapter of the ESIA project report. The World Bank Safeguard Operational Policies applicable to the project as well as the international laws and conventions that bear relevance to the implementation of this project have also been highlighted in this chapter.

## Environmental Problems in Kenya

There are many environmental problems and challenges in Kenya today. Among the cardinal environmental problems include: loss of biodiversity and habitat, land degradation, land use conflicts, human animal conflicts, water management and environmental pollution. This has been aggravated by lack of awareness and inadequate information amongst the public on the consequences of their interaction with the environment. MoE, KPLC and REREC are aware of the important role the environment plays and as such strives to carry its activities in an environmentally friendly way.

## Administrative / Institutional Framework

At present, there are over twenty (20) institutions and departments which deal with environmental issues in Kenya. Some of the key institutions include:

- National Environment Management Authority (NEMA). The objective and purpose for which NEMA is established is to exercise general supervision and co- ordinate over all matters relating to the environment and to be the principal instrument of the government in the implementation of all policies relating to the environment. However, NEMA’s mandate is designated to the following committees.

- The County Environment Committees. According to EMCA (Amendment) Act 2015, The Governor shall, by notice in the Gazette, constitute a County Environment Committee of the County of the Authority in respect of every County respectively. The County Environment Committees is responsible for the proper management of   the Environment within the County in respect of which they are appointed. They are also to perform such additional functions as are prescribed by the Act or as may, from time to time be assigned by the Minister by notice in the gazette. The decisions of these committees are legal and it is an offence not to implement them.

- National Environmental Complaints Committee. The Committee performs the following functions:

To investigate

- any allegations or complaints against any person or against the Authority in relation to the condition of the environment in Kenya, on its own motion, any suspected case of environmental degradation, and to make a report of its findings together with its recommendation thereon to the Council;

- To prepare and submit to the Council, periodic reports of its activities which report shall form   part of the annual report on the state of the environment under section 9 (3); and

- To perform such other functions and exercise such powers as may be assigned to it by the Council

- National Environment Action Plan Committee. This Committee is responsible for the development of a 5-year Environment Action Plan among other things. The National Environment Action Plan shall:

- Contain an analysis of the Natural Resources of Kenya with an indication as to any pattern of change in their distribution and transmission quantity over time.

- Contain an analytical profile of the various uses and value of the natural resources incorporating considerations of intergenerational and intra-generational equity.

- Recommend appropriate legal and fiscal incentives that may be used to encourage the business community to incorporate environmental requirements into their planning and operational processes.

- Recommend methods for building national awareness through environmental education on the importance of sustainable use of the environment and natural resources for national development.

- Set out operational guidelines for the planning and management of the environment and natural resources.

- Identify actual or likely problems as may affect the natural resources and the broader environment context in which they exist.

- Identify and appraise trends in the development of urban and rural settlements, their impact on the environment, and strategies for the amelioration of their negative impacts.

- Propose guidelines for the integration of standards of environmental protection into development planning and management.

- Identify and recommend policy and legislative approaches for preventing, controlling or mitigating specific as well as general diverse impacts on the environment.

- Prioritize areas of environmental research and outline methods of using such research findings.

- Without prejudice to the foregoing, be reviewed and modified from time to time to incorporate emerging knowledge and realities and;

Be binding on all persons and all government departments, agencies, States Corporation or other organ of government upon adoption by the national assembly.

- National Environment Tribunal: This tribunal guides the handling the cases related to environmental offences in the Republic of Kenya.

## The Legal, Regulatory and Policy Framework

Table 4-1: Applicable legal, regulatory and policy framework

| No | Legislation/ Guidelines | Description of the Legislation/Guideline | Relevance of the legislation/regulations in terms of license, permits, and other requirements |
| --- | --- | --- | --- |
| NATIONAL POLICY FRAMEWORK |  |  |  |
|  | Vision 2030 | Kenya Vision 2030 is the current national blueprint for development from its inception in 2008 until the milestone year of 2030. This plan is the national long-term development policy that aims to transform Kenya into a newly industrialized, middle-income country by 2030. The Vision is comprised of three key pillars (economic, social, and political), two of which are projected to be positively affected by project implementation. | Under Vision 2030, Energy is identified as one of the key sectors that form the foundation for socio-political and economic growth. Promoting equal opportunities across the entire Kenyan territory and enhancing access to competitively priced, reliable, quality, safe and sustainable energy is essential to the achievement of this vision. |
| 2 | The Poverty Reduction Strategy Paper (PRSP) of 2001 | The PRSP has the twin objectives of poverty reduction and enhancing economic growth. The paper articulates Kenya ‘s commitment and approach to fighting poverty; with the basic rationale that the war against poverty cannot be won without the participation of the poor themselves. | The proposed project aims at provision and access of renewable electricity geared towards improved economic performance and thus will contribute to poverty alleviation in the project area. |
| 3 | National Environmental Action Plan (NEAP) of 1994 | The NEAP for Kenya was prepared in mid 1990s. It was a deliberate policy whose main effort is to integrate environmental considerations into the country ‘s economic and social development. The integration process was to be achieved through multi-sectoral approach to develop a comprehensive framework to ensure that environmental management and the conservation of natural resources forms an integral part of societal decision-making. | The NEMA does not approve a development project unless the impacts of the proposed project are evaluated and mitigation measures proposed for incorporation in the project ‘s development plan, which is in line with the requirements of the NEAP. The project will be reviewed by NEMA for approval before implementation. |
| 4 | Environmental and Development Policy (Session Paper No.6 1999) | As a follow-up to the foregoing, the goal of this policy is to harmonize environmental and developmental goals so as to ensure sustainability. The paper provides comprehensive guidelines and strategies for government action regarding environment and development. The Government will: 1. Ensure Strategic Environment Assessment (SEA), Environmental Impact Assessment, Social Impact Assessment and Public participation in the planning and approval of infrastructural projects. 2. Develop and implement environmentally-friendly national infrastructural development strategy and action plan. 3. Ensure that periodic Environmental Audits are carried out for all infrastructural projects | The proponent: - is undertaking an Environmental Impact Assessment, Social Impact Assessment and Public participation as part of the planning and approval of infrastructural projects. - Will ensure that periodic Environmental Audits are carried out for the project |
| 5 | The Gender and Development Policy (Sessional paper no.2 2019) | The overall goal of this policy is to achieve gender equality by creating a just society where women, men, boys and girls have equal access to opportunities in the political, economic, cultural and social spheres of life. The anticipated outcome of this policy as enshrined in the Constitution that aligns to the project include: a) Equality and economic empowerment will be of both genders, b) Women and men will have equality of opportunity to participate in decision making and to contribute to the political, social, economic and cultural development agenda; c) Sexual and Gender based Violence will abate and men, women, boys and girls will live with dignity | In the absence of appropriate measures, the project can exacerbate gender inequalities and sexual and gender-based violence. In adherence to this policy, measures will be put in place to: - ensure gender inclusivity in decision making, employment opportunity and access to the energy generated from the Mini-Grid - mitigate social risks including sexual and gender-based violence, and any form of discriminations |
| 6 | The HIV/ AIDS Policy 2009 | In summary, the policy aims at: i. Establishing and promoting programmes to ensure non-discrimination and non- stigmatization of the infected; ii. Contributing to national efforts to minimize the spread and mitigate against the impact of HIV and AIDS; iii. Ensuring adequate allocation of resources to HIV and AIDS interventions; | The proposed project is to be implemented in a rural setting at Bombi area. The area is not economically empowered hence few HIV/AIDS prevention resources are available. This policy shall provide a framework to both the project proponent and contractor to address issues related to HIV/AIDS during the entire project phase. |
| NATIONAL LAWS |  |  |  |
| 1 | The Constitution of Kenya | Article 42 of the Bill of Rights of the Kenyan Constitution provides that ‘every Kenyan has the right to a clean and healthy environment, which includes the right to have the environment protected for the benefit of present and future generations through legislative and other measures’ | - The provision of the constitution also encourages public participation and dispute resolution - The ESIA Studies has identified project impacts for implementation of appropriate mitigation measures. - The ESIA has undertaken public participation, stakeholder engagement. This will be continuous during all project phases |
| 2 | ENVIRONMENTAL MANAGEMENT AND COORDINATION ACT, 1999 (AND THE AMENDMENTS OF 2015) | The EMCA is a framework environmental law in Kenya. This Act (assented to on January 14, 2000) provides a structured approach to environmental management in Kenya. With the EMCA coming into effect, the environmental provisions within the sectoral laws were not superseded; instead, the environmental provisions within those laws were reinforced to better manage Kenya’s ailing environment. | The proposed project will be undertaken in accordance with relevant sections of the EMCA, specifically Clauses 58 – 63. These sections of the Act are operationalized by subsidiary legislation promulgated under the Act and specifically Legal Notice (L.N.) 101: Environment (Impact Assessment and Audit) Regulations, 2003. |
| 3 | L.N. 101: EIA/EA REGULATIONS, 2003 AND 2016 AMENDMENTS | These regulations provide the framework for undertaking EIAs and EAs in Kenya by NEMA licensed Lead Experts and Firms of Experts. An EIA or EA Study in Kenya is to be undertaken by a firm duly licensed by the National Environmental Management Authority (NEMA). The EIA/EA Regulations also provide information to project proponents on the requirements of either an EIA or EA as required by the EMCA. | The proposed project is subject to relevant provisions of these regulations and subsequently, the ESIA has been undertaken in accordance with the requirements. |
| 4 | L.N. 120: WATER QUALITY REGULATIONS, 2006 | These regulations provide for the sustainable management of water used for various purposes in Kenya. For effluent discharges into the environment and aquatic environment, a Proponent needs to apply directly to the NEMA. For discharges into public sewers, a Proponent needs to apply for the license to the relevant county. The regulation contains discharge limits for various environmental parameters into public sewers and the environment. | These regulations will apply to the proposed project during the construction and operational phases. |
| 5 | L.N. 121: WASTE MANAGEMENT REGULATIONS, 2006 | These regulations are comprehensive and cover the management of various kinds of waste in Kenya. Generally, it is a requirement under the regulations that a waste generator segregates waste (hazardous and non-hazardous) by type and then disposes the them in an environmentally acceptable manner. Under the regulation, it is a requirement that waste is transported using a vehicle that has an approved “Waste Transportation License” issued by NEMA. Wastes generated in Kenya must be disposed of in a licensed disposal facility. Such a facility will require annual environmental audits to be undertaken by NEMA registered Lead Experts. The regulation requires that prior to generating any hazardous waste, a proponent shall undertake an EIA Study and seek approval from the NEMA. Labelling of hazardous wastes is mandatory under the regulation and the specific labelling requirements are provided in Rule 18. The treatment options for hazardous waste disposal provided in Rule 19 include incineration or any other option approved by the NEMA. | During the construction and operation phases, the proposed project will generate various streams of wastes. For the most part, it is expected that the wastes will be non-hazardous in nature and can be disposed of in accordance with these regulations. |
| 6 | L.N. 61: NOISE AND EXCESSIVE VIBRATION CONTROL REGULATIONS, 2009 | The general prohibition of these regulations states that no person shall make or cause to be made any loud, unreasonable, unnecessary, or unusual noise which annoys, disturbs, injures, or endangers the comfort, repose, health, or safety of others and the environment. The regulations further provide factors that will be considered in determining whether or not noise and vibration is loud, unreasonable, unnecessary, or unusual. | Rules 13 and 14 of the regulations define the permissible noise levels for construction sites. These noise limits will be applicable to the proposed project. |
| 7 | LICENSES AND PERMITS REQUIRED UNDER THE EMCA | The subsidiary legislations under the EMCA are partially monitored through the use of permits and licenses. Subsequently all licenses and permits required during the construction phase shall be the responsibility of the individual contractors and their agents. During the operational phase, all permits and licenses required to operate the project will be the responsibility of the proponent. | The subsidiary legislations under the EMCA requires some or all the following types of permits to be available for inspection during the construction and operational phases of the project: - Effluent Discharge License under Legal Notice 120: The Environment Management and Coordination (Water Quality) Regulations 2006; - Waste Transport License under Legal Notice 121: The Environment Management and Coordination (Waste Management) Regulations 2006 for disposal of all types of wastes; and - Noise Permit under Legal Notice 61: The Environment Management and Coordination (Noise and Excessive Vibration Control) Regulations, 2009. |
| 8 | OCCUPATIONAL HEALTH AND SAFETY ACT, 2007 | The Occupational Safety and Health Act (OSHA) was enacted to provide for the health, safety and welfare of persons employed in workplaces, and for matters incidental thereto and connected therewith. Part II of the Act provides the General Duties to which the occupier must comply with respect to health and safety in the workplace. Such duties include undertaking safety and health (S&H) risk assessments, S&H audits, notification of accidents, injuries and dangerous occurrences. A number of sections under this part shall be applicable to the proposed project. Part IV deals with the enforcement provisions that Directorate of Occupational Safety and Health Services (DOSHS) has under the Act. It discusses the instances when Improvement and Prohibition Notices can be issued as well as the powers of Occupational S&H officers. This part of the Act will be mandatory for the occupier to comply with for the proposed project. Part V of the Act requires all workplaces to be registered with the DOSHS. This part will be applicable for the proposed project as the Occupier will have to apply for registration of their project with the DOSHS on completion of the construction phase and before the operational phase of the project. Part VI of the Act lists the requirements for occupational health provisions which include cleanliness, ventilation, overcrowding, etc. This section of the Act will apply to the Occupier during the operational phase of the project. Part VIII of the Act contains provisions for general safety of a workplace, especially fire safety. This part of the Act will apply to the proposed project during the design, construction, and operational phases. Part X of the Act deals with the General Welfare conditions that must be present during the construction and operational phase of the project. Such conditions include first aid facilities, supply of drinking water, accommodation for clothing, ergonomics, etc. This part of the Act will apply to the proposed project during the construction and operational phases. Part XI of the Act contains Special Provisions on the management of health, safety, and welfare. These include work permit systems, PPE requirements and medical surveillance. Some sections of this part of the Act will be applicable to the proposed project during the construction and operational phase. Part XIII of the Act stipulates various fines and penalties associated with non-compliance with the Act. It includes those fines and penalties that are not included in other sections of the Act and will be important for the Occupier to read and understand the penalties for non-compliance with S&H provisions. Part XIV of the Act is the last section of the Act and contains miscellaneous provisions which are not covered elsewhere in the Act. Some sections under this part of the Act will apply to the proposed project and it is in the interest of the occupier to read, understand, and ensure compliance. | The proposed project will be undertaken in compliance with the OSHA-2007 during the construction, design, and operational phases. During the construction phase, the contractors will be required to fully comply with the requirements of Legal Notice 40 titled: Building Operations and Works of Engineering Construction Rules, 1984 (BOWEC). Each contractor will develop and implement a formal construction health and safety plan for the entire construction phase duration in alignment with the OSHA and international health and safety best practices. |
|  | L.N. 31: The Safety and Health Committee Rules, 2004 | These rules came into effect on April 28, 2004, and require that an Occupier formalize a S&H Committee if there is a minimum of 20 persons employed in the workplace. The size of the S&H Committee will depend on the number of workers employed at the place of work. For the Proponent and Contractor, the OSHA and the S&H Committee Rules 2004 are important as they require compliance with the following measures: - Posting of an Abstract of the Factories and Other Places of Work Act in key sections of each area of the factory or other workplace; - Provision of first aid boxes in accordance with Legal Notice No. 160 of 1977; - Ensuring that there are an appropriate number of certified first aiders trained by an approved institution and that the certification of these first aiders is current; - Provision of a General Register for recording, amongst other things, all incidents, accidents, and occupational injuries; - Appointment of a S&H Committee made up of an equal number of members from management and workers based on the total number of employees in the workplace; - Training of the S&H Committee in accordance with these rules; and - Appointment of a S&H management representative for the Proponent. | The contractor will be required to constitute Health and Safety Committee to oversee safety and health at the construction site. The number of the committee members will be dictated by the number of staffs hired by the contractor. The S&H Committee must meet at least quarterly, take minutes, circulate key action items on bulletin boards, and may be required to send a copy of the minutes to the DOSHS provincial office. Appropriate recordkeeping including maintenance of all current certificates related to inspection of critical equipment such as air compressors, lifts, pulleys, etc. Such inspections need to be undertaken by an approved person registered by the Director of the DOSHS. |
|  | L.N. 24: Medical Examination Rules, 2005 | These rules provide for Occupiers to mandatorily undertake pre-employment, periodic, and termination medical evaluations of workers whose occupations are stipulated in the Eighth Schedule to the OSHA and the First Schedule to this Rules. Workers that fall under the above two schedules are required to undergo medical evaluations by a registered medical health practitioner duly registered by the DOSHS. | Some construction activities such as metal cutting and grinding, repair or maintenance of construction equipment could expose the construction workers during construction phase and operations and maintenance workers during operation phase to physical and chemical hazards the contractor should that the workers exposed to such hazards undergo requisite medical examinations as required by these rules |
|  | L.N. 25: Noise Prevention and Control Rules, 2005 | The rules set the permissible level for occupational noise in any workplace (which includes construction sites) as follows: • 90 dB(A) over an 8-hour time weighted average (TWA) period over 24-hours; and • 140 dB(A) peak sound level at any given time. Additionally, the rules set permissible limits for community noise levels emanating from a workplace as follows: • 50 dB(A) during the day; and • 45 dB(A) at night. The Proponent is to ensure that - any equipment brought to the site for use shall be designed or have built-in noise reduction devices that do not exceed 90 dB(A). - those employees that may be exposed to continuous noise levels of 85 dB(A) are medically examined as indicated in Regulation 16. If found unfit, the occupational hearing loss to the worker will be compensated as an occupational disease. | It is expected that during the construction phase of the project, there may be plant equipment that exceeds the threshold levels of noise stipulated under the Rules. It will therefore be incumbent on the contractor and his or her sub-contractors to ensure that their equipment is serviced properly and/or use equipment that complies with the threshold noise values given above. Alternatively, each contractor will be required to develop and implement a written hearing conservation programme during the construction phase. |
|  | L.N. 59: Fire Risk Reduction Rules, 2007 | A number of sections of the rules apply to the proposed project as enumerated below. • Regulation 5 requires Proponents to ensure that fire resistant materials are used for construction of new buildings. A number of minimum specifications of materials are provided in this rule. • Regulation 6 requires that all flammable materials be stored in appropriately designed receptacles. Some of the flammable materials anticipated at the project site including; fossil fuel using running construction equipment and vehicles (during construction phase) and stand by generator (operation phase) • Regulation 7 requires that all flammable storage tanks or flammable liquid containers be labelled with the words “Highly Flammable” in English or Swahili. It is therefore practical for the Proponent to use a system similar to the Hazardous Material Identification System of labelling their product containers. The regulation requires a Proponent to consult the product’s MSDS for appropriate labelling requirements. • Regulation 8(3) requires a Proponent to have a Spill Prevention, Control, and Countermeasures (SPCC) plan. This may be important if there will be chemicals stored in the refuelling area at the construction site. • Regulation 16 requires Proponents to ensure that electrical equipment is installed in accordance with the respective hazardous area classification system. It is also a requirement that all electrical equipment is inspected every six months by a competent person and the Proponent is required to keep records of such inspections. • Regulation 22 provides a description of the functions of a fire-fighting team. • Regulation 23 requires Proponents to mandatorily undertake fire drills at least once a year. • Regulation 33 requires Proponents to have adequate fire water storage capacity. As a minimum this regulation requires Proponents to have at least 10 cubic meters of dedicated fire water storage capacity. • Regulation 34 requires Proponents to develop and implement a comprehensive written Fire Safety Policy. This policy should contain a Fire Safety Policy Statement signed by the CEO, a Fire Safety Policy Manual and a brief summary of the Fire Safety Policy of the company. • Regulation 35 requires a Proponent to notify the nearest Occupational S&H area office of a fire incident within 24 hours of its occurrence and a written report sent to the Director of DOSHS within 7 days. | The proponent is expected to comply with the requirements of L.N. 59: Fire Risk Reduction Rules, 2007 by - Carrying out, and record, a fire risk assessment identifying any possible dangers and risks. - Reducing, or where possible remove, the risk of fire and take precautions to deal with the remaining risks. - Putting in place protection measures if there are flammable or explosive materials used or stored on the premises. - Developing an emergency plan should a fire occur which includes evacuation procedures etc. |
|  | THE ENERGY ACT, 2019 | The Energy Act deals with all matters relating to all forms of energy including the generation, transmission, distribution, supply, and use of electrical energy, as well as the legal basis for establishing the systems associated with these purposes. The Energy Act also established Energy and Petroleum Regulatory Authority (EPRA) in place of the Energy Regulatory Commission (ERC), whose mandate is to regulate all functions and players in the energy sector. One of the duties of the EPRA is to ensure compliance with environmental, health, and safety standards in the energy sector, as empowered by Section 99 of the Energy Act, 2019. In this respect, the following environmental issues will be considered before approval is granted: The need to protect and manage the environment and conserve natural resources; and The ability to operate in a manner designated to protect the health and safety of the project employees, the locals, and other potentially affected communities. An ESIA approved by NEMA must support licensing and authorisation to generate and transmit electrical power. Part VI Section 121 (1a) stipulates that the EPRA shall, before issuing a license, take into account the impact of the undertaking on the social, cultural or recreational life of the community. Part VI Section 121(1b) stipulates that the EPRA shall, before issuing a license, take into account the need to protect the environment and to conserve natural resources in accordance with the Environmental Management and Coordination Act. Part VI Section 136 (1a) stipulates that it shall be the duty of a transmission licensee to operate, maintain (including repair and replace if necessary) and protect its transmission grid to ensure the adequate, economic, reliable and safe transmission of electricity; and | The proponent is in line with the Energy act regulations in the following ways; - The proponent has identified an available site - alignment of the Mini-Grid Project to County development plans; - the Mini-Grid proponent has the technical and financial capability to conduct the project - The proponent has conducted the necessary engagement with the community. |
|  | THE ENERGY (SOLAR PHOTOVOLTAIC SYSTEMS) REGULATIONS, 2012 | These regulations shall apply to a solar PV system manufacturer, importer, vendor, technician, contractor, system owner, a solar PV system installation and consumer devices. The Regulations prohibits any person from designing or installing any solar PV system unless he/she is licensed by EPRA. | The Regulations regulates, the design and installation of PV systems. The Proponent will ensure that persons engaged in the designing and installation of the Mini-Grid are licensed by EPRA |
|  | THE PUBLIC HEALTH ACT (CAP. 242) | The Act prohibits the project proponents from engaging in activities that cause environmental nuisance or those that cause danger, discomfort or annoyance to inhabitants or is hazardous to human and environmental health and safety. | - The proponent will be in line with the regulations of this act and will ensure suppression of infectious diseases and maintain proper sanitation during all the phases of the project. |
|  | COMMUNITY LAND ACT, 2016 | This Act is critical for the proposed project is within community land. Section 6(1) of the Act provides that ‘county governments shall hold in trust all unregistered community land on behalf of the communities for which it is held’. Furthermore, Section 6(2) maintains that ‘the respective county government shall hold in trust for a community any monies payable as compensation for compulsory acquisition of any unregistered community land’. Therefore, the proposed project can access land or water resources in community land that may be unregistered and pay compensation to the County Government which the law authorizes to hold such monies in trust for the communities. Section 30(1) states that ‘Every member of the community has a right to equal benefit from community land’. Section 26(1) provides that ‘a community may set aside part of the registered community land for public purposes’ and Sub-section (2) holds that ‘where land is set aside for public purposes under Sub-section (1), the (Land) Commission shall gazette such parcel of land as public land’. This provision offers a window for the proposed project to acquire land for project works legally for communities as necessary and to convert the same into public land. This is useful for the project as once done powerful groups will not have opportunity to exclude them on account of their socio - economic statuses. In any event, Section 35 holds that, ‘subject to any other law, natural resources found in community land shall be used and managed- (a) Sustainably and productively; (b) For the benefit of the whole community including future generations; (c) With transparency and accountability; and (d) On the basis of equitable sharing of accruing benefits. The concept of community land has been defined broadly enough to include VMGs. Women, children, old people and future generations have been thought of as PAPs and thus their rights secured in this Act | The proposed project site falls on a community land. The establishment of the mini-grid will convert communal land to generation and distribution of electric energy for long term. Further, based on community need assessment the proponent will undertake in kind development project to support the community needs. The proponent should adhere to the provision of this legislation. |
|  | HIV AIDS PREVENTION AND CONTROL (CAP 246A) | This Act is to promote public awareness about the causes, modes of transmission, consequences, means of prevention and control of HIV and AIDS. It also seeks to positively address and seek to address conditions that aggravate the spread of HIV infection. | Like other projects, the proposed project is expected to attract new people to the project area seeking employment. This can lead to increased transmission of HIV/AIDS and other sexually transmitted diseases (STDs) as they engage in sexual relationships amongst themselves and/or local community members. In line with the requirements of this Act, the Contractors will create awareness and sensitize the workers and other persons on the risks of infections to foster prevention and control. |
|  | The Employment Act No 11 of 2007 | This Act is important since it provides for employer – employee relationship that is important for the activities that would promote management of the environment within the energy sector. | With the contractor and the project proponent being primary employers during the construction and operational phases of the Project, respectively, they are bound by this law to abide to its stipulations on employee management and relations |
|  | THE PHYSICAL AND LAND USE PLANNING ACT, 2019 | This Act of Parliament makes provision for the planning, use, regulation and development of land and for connected purposes. The objects of this Act related to the project include; (a) the principles, procedures and standards for the preparation and implementation of physical and land use development plans at the national, county, urban, rural and cities level; (b) the procedures and standards for development control and the regulation of physical planning and land use; (d) a framework for the co-ordination of physical and land use planning by county governments; (c) a framework for equitable and sustainable use, planning and management of land; | The proposed site is not in contravention of any zoning regulations. The project site falls on a community land; necessary county approvals will be sought by the proponent e.g., project design approval and change of use. The approvals shall be issued by the Physical planner in the department of Lands, Housing and Urban Development –Kilifi County. |
|  | COUNTY GOVERNMENT ACT, 2012 | This Act makes provisions for county governments’ powers, functions and responsibilities to deliver services and for connected purposes. Part VIII of the act on Citizen Participation (87) (b) emphasizes on the right of citizens to participatein any development projects prior to their implementation. section 135 (1) states that the Cabinet Secretary may make regulations for the better carrying out of the purposes and provisions of this Act and such Regulations may be made in respect of all county governments and further units of decentralization generally or for any class of county governments and further units of decentralization comply to the set regulations and by laws. | This is the primary law governing the development of counties and thereby will be key during implementation of KOSAP. All organs established under this law should be consulted and approvals sought from Kilifi County Government by the contractor. |
|  | NATIONAL LAND POLICY, 2009 | The National Land Policy (NLP) has a vision to guide the country towards a sustainable and equitable use of land. The land policy calls for immediate actions to addressing environmental problems that affect land such as degradation, soil erosion and pollution. For instance, the policy stipulates the principle of conservation and management of land based natural resources, the principle of protection and management of fragile and critical ecosystems including wetlands and arid lands. The policy further calls for extensive overhauls to current policies and institutions in an attempt to address chronic land tenure insecurity and inequity. The National Land Policy designates all land in Kenya as public, private (freehold or leasehold tenure), or community/trust land, which is held, managed and used by a specific community. This land policy has thus been formulated to address the critical issues of land administration, access to land, land use planning, restitution of historical injustices, environmental degradation, conflicts, unplanned proliferation of informal urban settlements, outdated legal framework, institutional framework and information management. | The project shall comply to the provision of this Act to ensure prevention of pollution and sustainable use of natural resources throughout all the project phases for Bombi mini-grid. |
|  | LAND ACT, 2012 | This Act gives effect to Article 68 of the Constitution, to revise, consolidate and rationalize land laws; to provide for the sustainable administration and management of land and land-based resources, and for connected purposes. Section 110(1) of the Act provides that land may be acquired compulsorily under this if the Commission certifies, in writing, that the land is required for public purposes or in the public interest as related to and necessary for fulfilment of the stated public purpose. In such an acquisition, this Act, in section 111(1) provides that just compensation shall be paid promptly in full to all persons whose interests in the land have been determined. The procedure for land acquisition is laid out in Part VIII of the Act. | Land in Bombi is community land whose tenure falls under customary land rights. KPLC will observe all the relevant provisions of the Act including conversion from community land to public land as will be deemed appropriate |
|  | LAND AND ENVIRONMENT COURT ACT,2011 | This is an Act of Parliament to give effect to Article 162(2) (b) of the Constitution; to establish a superior court to hear and determine disputes relating to the environment and the use and occupation of, and title to, land, and to make provision for its jurisdiction functions and powers, and for connected purposes. The principal objective of this Act is to enable the Court to facilitate the just, expeditious, proportionate and accessible resolution of disputes governed by this Act. Section 13 (2) (b) of the Act outlines that in exercise of its jurisdiction under Article 162 (2) (b) of the Constitution, the Court shall have power to hear and determine disputes relating to environment and land, including disputes: - Relating to environmental planning and protection, trade, climate issues, land use planning, title, tenure, boundaries, rates, rents, valuations, mining, minerals and other natural resources; - Relating to compulsory acquisition of land; - Relating to land administration and management; - Relating to public, private and community land and contracts, chooses in action or other instruments granting any enforceable interests in land; and - Any other dispute relating to environment and land. | The project will have a grievance redress mechanism with a committee. The work of the committee will be to receive and respond to all the grievances raised. As explained in chapter five of this report, an aggrieved part will turn to the legal system after exhausting the GRM levels of resolution set. In the event any disputes on land and environment are not resolved through the project GRM, this court will provide a forum for timely resolution of such grievances. |
|  | LAND VALUE(AMENDMENT) ACT 2019 | This an Act of Parliament to amend the Land Act, the Land Registration Act and the Prevention, Protection and Assistance to Internally Displaced Persons and Affected Communities Act; to provide for the assessment of land value index in respect of compulsory acquisition of land; and for connected purposes. This act advocates for Just, prompt, and full compensation in relation to compulsorily acquired land or creation of way-leaves, easements and public rights through criteria set out under this Act. This act provides establishment of the Land Acquisition Tribunal to arbitrate on land related issues. The Act has amended various sections of the Land Act, the Land Registration Act as well as the Prevention, Protection and Assistance to Internally Displaced Persons and Affected Communities Act. It aims at standardizing the value of land in Kenya for the primary purpose of enhancing efficiency and expediting the compulsory land acquisition process for public projects. It introduces Section 107A into the Land Act, which provides the criteria for the valuation of freehold and community land that is the subject of compulsory acquisition. Community Land, like freehold land, shall be valued based on the criteria outlined in Section 107A and the Land Value Index which will be jointly developed by the national government and county government. Section 5 introduces a list of the forms in which compensation can be made. The act states that compensation can be paid in any of the following forms: - a. Allocation of alternative parcel of land of equivalent value and comparable geographical location and land use to the land compulsorily acquired b. Monetary payment either in lump sum or in instalments spread over a period of not more than one year c. Issuance of government bond d. Grant or transfer of development rights as may be prescribed. e. Equity shares in a government owned entity or f. Any other lawful compensation | Land in Bombi is community land. The KOSAP project will compulsorily acquire land. The NLC will acquire land on behalf of the MoE and in-kind compensation strategy will be applied for the land acquired. |
|  | WATER ACT, 2016 | Part 2 section one of the Act notes that every water resource is vested in and held by the national government in trust for the people of Kenya. Section 143 (1) notes that; A person shall not, without authority conferred under this Act- (a) Willfully obstruct, interfere with, divert or obstruct water from any watercourse or any water resource, or negligently allow any such obstruction, interference, diversion or abstraction; or (b) Throw, convey, cause or permit to be thrown or conveyed, any rubbish, dirt, refuse, effluent, trade waste or other offensive matter or thing into or near to any water resource in such manner as to cause, or be likely to cause, pollution of the water resource. (2) A person who contravenes this section commits 144. (l) Without prejudice to any other remedy or course of action, if a person contravenes any provision under this Act, then, the Authority, the Regulatory Board, the county government executive concerned or the licensee concerned may, by order served on the person concerned, require that person within a reasonable time specified in the order to remedy the contravention and in particular- (a) to clean up any pollution or make good any other harm identified in the order which was caused to any water resource by reason of the contravention; | All construction, operation and decommissioning phases will take caution to refrain from polluting any water resource and will endeavour to prevent pollution in line with the ESMMP. |
|  | BUILDING CODE OF THE REPUBLIC OF KENYA (2009 EDITION) | The Regulations have been revised in order to encourage the use of innovative designs, new materials and new construction methods; to optimize on resources and to enhance adherence to planning and building standards. Any building designed and constructed with the principles and norms of good building practice should comply with these new Regulations. These Regulations are a guide on good planning and building practice. They set out, in the simplest and shortest way possible, requirements to ensure that planning will be so undertaken and buildings are designed and built in such a way that persons may live and work in a healthy, safe and convenient environment. The overall aim of these Regulations is to promote and enhance planning and its enforcement at all levels; to encourage optimal use of resources; enhance safety, health and convenience; and to improve acceptability and compliance of these Regulations. In order to ensure that these Regulations will remain valid and up-to-date, they will be reviewed and any necessary revision will be published at least 5 yearly intervals. Any person intending to erect any building shall submit to the Authority the following (a) a location plan; (b) a site plan; (c) drainage installation drawing; (d) a fire installation drawing; (e) particulars of any existing building which is to be demolished and details of the method of demolition to be used; Such plans as required by the authority in respect of: (i) general structural arrangements, subject to any requirement contained in these Regulations with regard to design of the structural system; (ii) general arrangement of artificial ventilation; (iii) a fire protection plan; (iv)any certificate contemplated in these Regulations; and any other particulars. | The project shall comply to the provisions of this act and ensure all constructions are up to approved designs and standards in order to promote a safe, healthy and convenient working environment for the Bombi mini-grid project. |
|  | PENAL CODE ACT (CAP. 63) | Section 191 of the penal code states that if any person or institution that voluntarily corrupts or fouls water for public springs or reservoirs, rendering it less fit for its ordinary use is guilty of an offence. Section 192 of the same Act says a person who makes or vitiates the atmosphere in any place to make it noxious to health of persons /institution, dwelling or business premises in the neighbourhood or those passing along public way, commit an offence. | The project will adhere to the provisions of this act and ensure that the designs, fittings and general performance of all installed equipment does not foul water or air. The guidelines as set out in the environmental management and monitoring plan laid out in this report shall be adhered to, as well as the recommendation provided for mitigation/minimization/avoidance of adverse impacts arising from the project activities. |
|  | WILDLIFE CONSERVATION AND MANAGEMENT ACT, 2013 | This Act provides for the protection, conservation, sustainable use and management of wildlife in Kenya and for connected purposes. The law has as one of its guiding principles the devolution of conservation and management of wildlife to landowners and managers in areas where wildlife occurs, through in particular the recognition of wildlife conservation as a form of land-use, better access to benefits from wildlife conservation, and adherence to the principles of sustainable utilization. | Bombi mini-grid power project will not be located in a wildlife conservation area or in an area with endemic or endangered wildlife species. |
|  | THE FOREST CONSERVATION AND MANAGEMENT ACT, 2016 | The Act led to the establishment of Kenya Forest Service which is charged with management of forests in consultation with the forest owners. The body enforces the conditions and regulations pertaining to logging, charcoal making and other forest utilization activities. To ensure community participation in forest management, the service collaborates with other organizations and communities in the management and conservation of forests and for the utilization of the biodiversity. Section 43 subsection 1 provides that if mining, quarrying or any other activity carried out in the forest, shall, where activity concerned is likely to result in forest cover depletion, the person responsible shall undertake compulsory re-vegetation immediately upon the completion of the activity. | Bombi mini-grid power project will not be located in gazetted forest area or in an area with endangered tree species. The Kenya Power & Lighting Company PLC shall plant some suitable trees around the mini-grid station to increase forest cover, minimize visual impacts and promote carbon sinks in the area. |
|  | WORK INJURIES AND BENEFIT ACT, 2007 | This Act provides for compensation to employees for work related injuries and disease contracted in the course of their employment and for connected purposes. Key sections of the Act include the obligations of employers; right to compensation; reporting of accidents; compensation; occupational diseases; medical aid etc. | In case of any accidents or incidents during the project cycle, this Act will guide the course of action to be taken. |
|  | TRAFFIC ACT CAP 403 OF 2009 | This Act consolidates the law relating to traffic on all public roads. Key sections include registration and licensing of vehicles; driving licenses; driving and other offences relating to the use of vehicles on roads; regulation of traffic; accidents; offences by drivers other than motor vehicles and other road users. Many types of equipment and fuel shall be transported through the roads to the proposed site. Their registration and licensing will be required to follow the stipulated road regulations. The Act also prohibits encroachment on and damage to roads including land reserved for roads. | The project shall observe the provisions of this Act in order to avoid traffic offenses and ensure safety in all public roads. |
|  | CIVIL AVIATION ACT NO. 21 OF 2013 | The provisions of this Act or any regulations made there under shall, except where expressly or by implication excluded, apply to— - All aircraft whilst in or over any part of Kenya; - All Kenya aircraft and the crew and other persons on board wherever they may be; and - All aerodromes and service providers within aerodromes. The provisions of this Act shall not, except where expressly included or if the Cabinet Secretary so directs by order published in the Gazette, apply to state aircraft or to any class or classes of state aircraft. All aircraft shall be subject to the requirements of this Act in respect of rules of the air. | The proposed mini-grid is not going to penetrate the atmosphere beyond 15 meters and is not proximal to any airstrip, thus this act will not be triggered. |
|  | SEXUAL OFFENCES ACT 2006 | This is a comprehensive law that criminalizes a wide range of behaviours including rape, sexual assault, defilement, compelled or induced indecent acts with child imbeciles or adults, gang rape, child pornography, child trafficking, child sex tourism, child prostitution, exploitation of prostitution, incest by male and female persons, sexual harassment, deliberate transmission of HIV or other life threatening sexually transmitted disease, stupefying with sexual intent, forced sexual acts for cultural or religious reasons among others. The Act also has orders for medical treatment for victims including free HIV prophylaxis, emergency pregnancy pill and counselling. The Act provides stiff penalties in which most of the crimes attract minimum of ten years imprisonment which can be enhanced to life imprisonment. Implementation of a project creates changes in a community in which it is implemented and is has potential to cause shifts in power dynamics between community members and within households. For instance, partner jealousy is a key driver of GBV which can be triggered by labor influx on a project when workers are believed to be interacting with community women. Hence, abusive behavior can occur not only between project-related staff and those living in and around the project site, but also within the homes of those affected by the project. | The risk of GBV has been identified and mitigation measures have been proposed in the ESMMP. The contractor shall comply to the provisions of this act throughout the project life cycle. |
|  | THE CHILDREN ACT, 2012 | Part 2 of the Act denotes the rights of the children and their welfare shall be protected from child labour and armed conflict i.e. Every child shall be protected from economic exploitation and any work that is likely to be hazardous or to interfere with the child’s education, or to be harmful to the child’s health or physical, mental, spiritual, moral or social development. The Act also notes that a shall be protected from sexual exploitation and use in prostitution, inducement or coercion to engage in any sexual activity, and exposure to obscene materials. This Act protects the welfare of children within the Country. The Act identifies Children as a person below the age of 18 years old and protects them from exploitation. Of particular importance to this project, is section 10, which protects the child from: • Sexual exploitation • Physical and psychological abuse • Economic exploitation. • Any work that interferes with his/ her education, or is harmful to the child’s health or physical, mental, spiritual, moral or social development. | Sensitization to the community on the need to ensure the protection of children has been done and will continue throughout the project cycle. In addition, the contractor will sensitize workers against abuse and exploitation of children. |
|  | PERSON WITH DISABILITY ACT, CHAPTER 133 | This Act provides for the protection of the rights of people with disabilities ensuring they are not marginalized and that they enjoy all the necessities of life without discrimination. The Act guarantees that (1) No person shall deny a person with a disability access to opportunities for suitable employment. (2) A qualified employee with a disability shall be subject to the same terms and conditions of employment and the same compensation, privileges, benefits, fringe benefits, incentives or allowances as qualified able-bodied employees. (3) An employee with a disability shall be entitled to exemption from tax on all income accruing from his employment. | The Act will be adhered to in order to ensure that persons with disability are included in all decision making that affects their lives. This will be monitored to make sure they are not excluded from project benefits and exposed to negative impact from the project that could adversely affect them. |

## Relevant Permits and Licenses Required by the project

The table below shows the relevant permits and licenses that the project proponent will require for the proposed project.

Table 4-2: Relevant permits and licenses

| Phase | Sector | Legislation | Authority | Permit/license | Comments |
| --- | --- | --- | --- | --- | --- |
| Construction Phase | Environment | EMCA | NEMA | EIA License | The EIA license will give the decision criteria for NEMA |
|  |  | EMCA (Waste Management) Regulations,2006 | NEMA | Ensure that the contracted waste handlers (Transport and disposal) are licensed by NEMA | During waste disposal |
|  | Land | Physical Planning Act, 1996 | Physical Planning Act, 1996 | Change of Land Use | Change of land use approval is given at the County level |
|  | Occupational Health and Safety | Occupational Health and Safety, 2007 | Directorate of Occupational Health and Safety (DOSHS) | Registration of workplace | Prior to construction and during operation |
|  | Food handling | Public Health Act | County Government | Food Handler Certificate | Before handling of food in the camp site |
| Operational Phase | Environment | EMCA | NEMA | Initial Environmental Audit Acknowledgement Letter and Self-Audit Acknowledgement thereafter | Annual, throughout the operations phase |
|  |  | EMCA (Waste Management) Regulations,2006 | NEMA | Ensure that the contracted waste handlers (transport and disposal) are licensed by NEMA | When disposing waste |

## International Conventions and Treaties Ratified by Kenya

Kenya has ratified a number of international conventions pertinent to land administration, environmental protection and human rights. Some of these conventions are:

- Convention on Wetlands of International Importance, especially as Waterfowl Habitat (Ramsar Convention) 2001;

- United Nations (UN) Convention on Biological Diversity 1994 UN Framework Convention on Climate Change, 1992;

- Kyoto Protocol to the United Nations Framework Convention on Climate Change (UNFCC)

- Convention on the Control of Trans-boundary Movements of Hazardous Wastes and their Disposal (Basel Convention) 1989;

- Montreal Protocol on Substances that Deplete the Ozone Layer Vienna Convention on the Ozone Layer 1985;

- UN Convention on the Law of the Sea (UNCLOS), Montego Bay, 1982;

- Convention for Co-operation in the Protection and Development of the Marine and Coastal Environment of the West and Central African Region (Abidjan Convention) 1981;

- Convention Concerning the Protection of the World Cultural and National Heritage (World Heritage Convention), Paris, 1975;

- Convention on the Conservation of Migratory Species of Wildlife Animals, 1979

- Convention on the Prevention of Marine Pollution by Dumping of Wastes and Other Matter, 1972 (amended 1992);

- African Convention on Conservation of Nature and Natural Resources, 1968 Convention 	on International Trade in Endangered Species of Wild Fauna and Flora

The contractor will adhere to the provisions of all the conventions and treaties that Kenya has ratified.

## World Bank Categorization of Projects and Operational policies applicable to Bombi Mini-grid

World Bank projects are categorized as A, B, C depending on the severity of social and environmental impacts. KOSAP in general is categorized as Category B; partial assessment, assigned to projects likely to have minimal or no adverse environmental impacts on human populations or environmentally important areas - including wetlands, forests, grasslands, and other natural habitats. Impacts are less adverse than those of Category A projects. These impacts are site-specific; few if any of them are irreversible; are preventable and in most cases mitigation measures can be designed more readily than for Category A projects.

World Bank Operational policies applicable to Bombi Mini-grid power project

Table 4-3: World Bank Ops applicable to Bombi Mini-grid power Project

| Operational Safeguard | Objective | Applicability to Bombi Mini-grid power project |
| --- | --- | --- |
| Environmental Assessment (OP/BP 4.01) | To ensure that Bank-financed projects are environmentally sound and sustainable, and that decision making is improved through appropriate analysis of actions and their likely impacts through environmental and Social Impacts assessments and development of Environmental Management Plans (EMPs) to address any anticipated negative impacts. | These potential risks and impacts include physical, biological, socio-economic, health, safety, cultural property, Trans-boundary impacts and global impacts including Greenhouse Gas (GHG) emissions and vulnerability to climate change effects. This OP/BP 4.01 is applicable in KOSAP, since the ESMF prepared provided guidelines on preparing for environmental and social screening and subsequent ESIA project report for the project. The Environmental and Social Management and Monitoring Plan (ESMMP) in this report details the nature and significance of impacts and their appropriate mitigation measures and the details of the monitoring of the mitigation measures. |
| OP/BP 4.04 Natural Habitats | This policy recognizes that the conservation of natural habitats that fosters project funding and execution activities as set out below: (i) the protection, maintenance and restoration of natural habitats and the roles they play; (ii) the sustainable harnessing of natural habitats and forests to reduce poverty and protect the environmental values and services of these resources, at local, regional and global level; (iii) The application of a precautionary principle in natural resources management. | This policy is applicable in any project (including any sub-project under a sector investment or financial intermediary) with the potential to cause significant conversion (loss) or degradation of natural habitats, whether directly (through construction) or indirectly (through human activities induced by the project). The extent to which this policy will be triggered by the project is discussed in the ESMP. Some shrubs, trees and herbs in the project site will be cleared and further; the proposed project shall extract sands, building stones, wood, water among others from natural resources for its construction. All this is expected to be in compliance to NEMA requirements. Bombi site is not located in an environmentally sensitive ecosystem, not in a wetland, not in a conservation area and the portion of land taken is insignificant considering it is already set aside for public utilities and for this case intended for the mini-grid station. This ESIA project report advises on all the precautionary and mitigation measures that will be applied to ensure sustainable use of natural resources and habitats. |
| OP/BP 4.10: Indigenous Peoples | The objective of this policy is to: Ensure that the development process fosters full respect for the dignity, human rights, and cultural uniqueness of indigenous peoples; Ensure that adverse effects during the development process are avoided, or if not feasible, ensure that these are minimized, mitigated or compensated; and Ensure that indigenous peoples receive culturally appropriate and gender and inter- generationally inclusive social and economic benefits. | The policy is triggered when the project is undertaken in areas where Indigenous Peoples are present (with characteristics described in OP 4.10 para 4) in the project area. This policy is applicable to Bombi mini-grid power project since the area is inhabited by minority groups of Waatha and Orma tribes who are who are included among communities that meet the OP 4.10 criteria and are referred to as Vulnerable and Marginalized Groups (VMGs) by the Kenyan constitution and in all Bank financed projects in Kenya. A representative from each of the VMGs shall be included in the land acquisition, the project implementation committee and the Grievance Redress Committees. The contractor and proponent through all the phases of the project shall ensure that the Orma and Waatha are consulted in a culturally appropriate and in a gender and inter-generationally sensitive manner, and they will have equal access to sub-project benefits and opportunities in a culturally appropriate manner and in line with the provision of the VMGF. |
| OP/BP 4.12 Involuntary Resettlement | The objective of this policy is to - avoid or minimize involuntary resettlement where feasible, exploring all viable alternative project designs; - assist displaced persons in improving their former living standards, income earning capacity, and production levels, or at least in restoring them; - encourage community participation in planning and implementing resettlement; and - provide assistance to affected people regardless of the legality of land tenure. | This policy covers not only physical relocation, but any loss of land or other assets resulting in: - Relocation or loss of shelter; - loss of assets or access to assets; - Loss of income sources or means of livelihood, whether or not the affected people must move to another location. This policy also applies to the involuntary restriction of access to legally designated parks and protected areas resulting in adverse impacts on the livelihoods of the displaced persons. This policy is applicable in this project since the mini-grid site will be fenced off and access restricted throughout the project cycle. The impact will be minor and permanent. The project will acquire land for mini-grid development, way leaves and contractor facilities (yard and workers’ camp) |

## Comparison between the World Bank and Kenyan Laws for this Project

Table 4-4: Comparison between the World Bank and Kenyan laws

| World Bank safeguard Policies | Kenyan laws | Comparison | Recommendation |
| --- | --- | --- | --- |
| O.P 4.01 requires screening to determine level of environmental and social assessment to be done An ESIA is prepared before project implementation | EMCA requires screening of project to determine level of environmental and social assessment to be done An ESIA is required once determination is done | Similar both require screening | Screening has been done and the project is established as medium risk which requires and ESIA |
| ESIA is needed once determination had been established and should be prepared identifying all environmental and social impacts and mitigation measures proposed to address the impacts | ESIA is needed once determination had been established and should be prepared identifying all environmental and social impacts and mitigation measures proposed to address the impacts | Similar-both require ESIA depending on the project impacts | ESIA is prepared in line with EMCA /EIA regulations and makes reference to WB safeguard policies |
| O.P 4.12 Land Acquisition and Involuntary resettlement should be avoided wherever possible or minimized and exploring all alternatives | The Government and any other organization, shall prevent internal displacement linked to development projects to the extent possible by exploring other alternatives. | Similar- displacement in projects should be avoided to the extent possible by exploring alternatives. | WB policy is more elaborate that the Kenyan Law. |
| O.P 4.10 on indigenous people seeks to promote the inclusion of these group in development project and especially through consultation to ensure they also share in the project benefits and ensure negative impacts do not disproportionately fall on them The policy requires these groups to be consulted separately to enhance their participation | The Constitution of Kenya 2010 article 56 provides for the right of marginalized communities and the importance of their input in decision making that regards them. National Gender and Equality Act and the Children’s Act and Persons with disability Act seeks to promote the inclusion of these persons in all issues as they are often overlooked and left out. Emphasis is also on consulting with them | Similar-both seek to promote inclusion of these group so that they do can share the projects benefits and ensure that negative impacts of the project do not fall on them disproportionately WB needs a social assessment to be conducted | WB policy more elaborate and the two are being used to compliment |
| Project affected persons should be meaningfully consulted and be given opportunities to participate in planning and implementing of projects and especially where there is resettlement | EMCA requires that the project owner seeks the views of the people who are affected and explain the project information to them and especially the impacts of project and also obtain their opinions or comments | Both are similar | Consultation has been done and will be progressed in line with the two WB policy and Kenya legislation |

# STAKEHOLDER ENGAGEMENT AND CONSULTATION

## The need for Public participation

Timely stakeholder analysis and public consultation is key as it provides opportunities for stakeholders to make significant contribution to the project design and implementation which results in enhanced project acceptance among other benefits. Stakeholders in this project are individuals or groups who will be affected or are likely to be affected by the project (project affected parties) and those that have interest in the project (interested parties).

Public participation is an essential and legislative requirement for environmental authorization. The ESIA team undertook the stakeholder consultation for the proposed project in accordance with the requirements as stipulated in the EMCA, 1999 and its 2015 Amendments. The main purpose of public participation is to provide project information to stakeholders and allow them the opportunity to provide input and comment on the project, including issues and alternatives that are to be investigated, thereby facilitating informed decision-making. In complying with the public participation process for the study; consultations were carried out to ensure that issues, concerns and potential impacts were identified and addressed fully.

Public participation was a key component of the ESIA of the proposed Bombi power mini-grid. Project information was shared with the community/ project affected persons and PAPs while positive and negative views of the community were sought. The exercise was conducted through a public meeting/baraza, key informant interviews and focus group discussions. The consultations shall be free, prior and informed throughout the project cycle.

## Objectives of Public participation

- To assess the level of stakeholder interest and support for the project

- To enable stakeholder’s views to be considered in project design and implementation

- To establish and maintain constructive relationships and means for effective and inclusive engagement with project affected parties on issues that could affect them

- To ensure appropriate project information on environmental and social risks and impacts was disclosed to stakeholders in a timely and accessible matter

## Stakeholder engagement schedule for land identification process

The EIA team identified four categories of stakeholders namely; government officials, opinion leaders at local level and elders and the general community. Stakeholder engagement began early in the planning phases of the project. A letter was written from the Ministry of Energy to the Governor Kilifi County and the County Commissioner informing them about the need to undertake public participation for the proposed project.  During Stakeholder consultations; project information in terms of (design, positive impacts, negative impacts, mitigation measures among others were discussed with various stakeholders. The stakeholders gave their views on the project.

## Disclosure of project frameworks

Disclosure of project information was done through sharing of summaries of safeguard instruments such as the ESMF, RPF, VMGF, and SA to stakeholders.

The county government officials especially in the ministry of energy are aware of the information in the documents as it was shared by the implementing agencies to representatives of all the counties that are PAPs of KOSAP. The county working groups including County Renewable Energy Officer (CREO) are also aware of the project details.

The main objective of this level of engagement was; to provide more information and details of the project to the community members who are also the direct PAPs of the project, engage on the aspect of land acquisition, sensitize on the need for grievance redress mechanism (GRM) and support the formation of a grievance redress committee (GRC).  The sub-project GRM will be culturally appropriate and accessible, and developed in consultation with the affected communities.

In addition, the sub-projects shall also disclose the ESIA findings as well, especially to Project Affected Persons (PAPs), in culturally appropriate languages and accessible locations.

Information disclosed to PAPs shall be easily accessible in a timeframe that enables meaningful consultations, in a culturally appropriate format, using relevant local languages, and culturally acceptable and accessible techniques such as FGDs and public meetings etc. Further, the process of information disclosure shall consider any disability, mobility, and literacy challenges.

## Post – ESIA consultations:

The ESIA report shall be reviewed by NEMA and the County Environment Officer will convene meetings with relevant stakeholders at county level including site visits and discussions with the immediate neighbours to gather more information and consensus on the project. Further engagement with the immediate community will be progressed during the operation phase of the project when Environmental Audits will be carried out. Public participation is a requirement during Environmental Audits.

The proponent and the contractor shall also progress stakeholder consultations during construction, operation and decommissioning phases of the project. The rational for these Post ESIA consultations shall be to capture any concerns raised by the community and other stakeholders and how such issues are resolved.

The consultations shall in addition include capacity building, monitoring and reporting on stakeholder engagement, and grievance management activities which the proponent and the contractor shall be expected to implement. The proponent and contractor shall develop and implement this post ESIA SEP plan factoring all the requisite principles and objectives of stakeholder engagement, stakeholder identification and mapping, approach for stakeholder engagement, monitoring and reporting on stakeholder engagement activities, among others.

## Stakeholder identification and consultation

Stakeholders are classified in the following two categories;

- Primary Stakeholders- Stakeholders who have a direct impact on or are directly impacted by the project.

- Secondary Stakeholders- Stakeholders who have an indirect impact or are indirectly impacted by the project.

In line with the nature of the project and its setting in Bombi, the stakeholders have been identified and listed in the table given below;

Table 5-1: Identified Stakeholders

| Stakeholders |  | Consultation Tool |
| --- | --- | --- |
| Primary stakeholders | Project Affected Persons i.e., Residents of Bombi | Public Meeting - 2 public meetings were held in Kisiki Sub-location on 26/09/2020 and 28/09/2021. - The first meeting was held with attendance of 144 people while the second meeting had 86 people in attendance. Focus Group Discussions (FGD) - For the first round of consultations the FGDs were conducted with the men, women, youth while the second round of consultation it was with the men, women, youth and VMGs. Key Informant Interviews (KII) - During the second round of consultations various KIIs were conducted through a one-on-one interview. The KIIs include PCEA Bombi Primary School, PCEA Bombi Dispensary, Uzima CBO, a representative of traders and a representative of GRC. - The assistant chief was also interviewed on the Community Profile of Bombi. |
| Secondary stakeholders | Interested Parties:  County Government of Kilifi | Meeting During the first consultation a meeting was held with the County Governor and county officials During the second round of consultation key informant interviews were conducted with social services and Kilifi County energy |

## Key Feedback Received During the ESIA Consultation Process

The general stakeholder consultation was done in a public meeting (Baraza) organized at the PCEA Bombi Dispensary compound on 28th September 2021 and 49 males and 37 women were in attendance. The meeting was organized by the area assistant chief. The meeting was chaired by the area assistant chief assisted by the CBO representative. The key feedback during the stakeholder consultation process have been summarized below:

Table 5-2; Summary of issues raised

| Issue | Questions / Comments | Response |
| --- | --- | --- |
| Employment | The community inquired if there will be specific qualifications needed before consideration for employment. | The project will use unskilled labour during the initial stages of the project but as the project progresses more technical expertise will be required. The locals will be given first priority in employment opportunities. The contractor will only source more skilled labour that is not available in the community. The contractor will use the chief’s office during employment for fairness during employment opportunities. ESMMP provides that the contractor will give first priority of employment opportunities to the locals to increase skill transfer. |
| Connection cost | What is the power installation cost and who will be responsible for the charges including wiring? | The locals were urged to save for the installation cost in time before the project begins. The connection fee is KES 1000 which will be per household and it is the duty of every beneficiary to do wiring in their houses by a competent electrician. |
| Compensation in kind project | Will the compensatory project run concurrently with the KOSAP project? | The compensatory project will run concurrently with the KOSAP project. The value of the in-kind project will be proportional to the value of the land acquired by the NLC valuation criteria. The report addresses the issue on compensation of kind. |
| Distance coverage | What is the radius of the distance coverage of electricity within the village? | The distance coverage of the electricity will be 1.5 km radius from the mini-grid. The project description states that the distance coverage will be 1.5km. |
| Land | Who gets the land in case the project is not implemented | The project will be implemented therefore the land will be utilized. |
| Training | There is need for training on electrical safety it is a new concept to the community. | Public sensitization on electrical safety will be done prior to connection and continue throughout all the phases of the project. The report addresses the issue by ensuring stakeholder engagement is a continuous process throughout all the phases of the project. |

Table 5-3: Pictorial representation of the consultation process

| Public participation “Baraza” Session |  |
| --- | --- |
| Focused Group Discussion with the Men |  |
| Focused Group Discussion with Women |  |
| Focused Group discussion with the Youths |  |

# IMPACT ASSESSMENT AND MITIGATION MEASURES

## Introduction

This section provides an assessment of potential environmental and social impacts from the proposed Projects as well as the proposed mitigation measures to avoid, reduce, remediate or compensate for potential negative impacts and to enhance positive impacts. A description of the assessment methodology used to assess the significance of potential impacts, taking into account impact magnitude and sensitivity of receptors and resources affected, is provided below. To facilitate the reading of the ESIA, the same heading structure in terms of environmental indicators, receptors or resources affected by the project activities were considered as the ones used in the baseline. All the mitigation measures identified in this chapter have been collated into the Environmental and Social Management Plan (‘ESMMP’) matrix, including Occupational Health and Safety.

## Impact Assessment Methodology

An impact is essentially any change to a resource or receptor brought about by the presence of the Project component or by the execution of a Project related activity. In general, the assessment of impacts will proceed through an iterative process considering four key elements:

- Prediction of potential impacts and their magnitude (i.e., the consequences of the development on the natural and social environment);

- Evaluation of the importance (or significance) of potential impacts taking the sensitivity of the environmental resources or human receptors into account;

- Development of mitigation measures to avoid, reduce or manage the potential impacts or enhancement measures to increase positive impacts; and

- Assessment of residual significant impacts after the application of mitigation and enhancement measures.

Where significant residual impacts remain, further options for mitigation may be considered and impacts re-assessed until they are as low as reasonably practicable for the Project and would be deemed to be within acceptable levels.

## Defining Impact

Impacts will be defined in a number of ways, including:

- Nature of impact: positive or negative;

- Type of impact: direct, indirect, or cumulative;

- Duration of impact: temporary, short-term, national, international

- Scale of impact: onsite, local, regional, national, international.

## ASSESSMENT OF SIGNIFICANCE

Criteria for assessing the significance of impacts will stem from the following key elements:

- Status of compliance with relevant Kenyan legislation, policies and plans and any relevant Kenyan or industry policies, standards or guidelines, as well as international best practice standards and guidelines;

- The magnitude (including nature, scale and duration) of the change to the natural or socioeconomic environment (e.g. an increase in coastal erosion, or an increase in employment opportunities), expressed, wherever practicable, in quantitative terms. The magnitude of all impacts is viewed from the perspective of those affected by considering the likely perceived importance as understood through stakeholder engagement;

- The nature and sensitivity of the impact receptor (physical, biological, or human). Where the receptor is physical, the assessment considers the quality, sensitivity to change and importance of the receptor. For a human receptor, the sensitivity of the household, community or wider societal group is considered along with their ability to adapt to and manage the effects of the impact; and

- The likelihood (probability) that the identified impact will occur. This is estimated based upon experience or evidence that such an outcome has previously occurred.

It is generally accepted that significance is a function of the magnitude of the impact and the likelihood of the impact occurring.

For this assessment, significance has been defined in the table below based on five levels

Table 6-1: Categories of Significance

| Category | Significance |
| --- | --- |
| Positive impacts | Positive impacts provide resources or receptors, most often people, with positive benefits. It is noted that concepts of equity need to be considered in assessing the overall positive nature of some impacts such as economic benefits, or opportunities for employment |
| Negligible impacts (or Insignificant impacts) | Negligible impacts (or Insignificant impacts) are where a resource or receptor (including people) will not be affected in any way by a particular activity or the predicted effect is deemed to be ‘negligible’ or ‘imperceptible’ or is indistinguishable from natural background variations. |
| Minor | An impact of minor significance (‘Minor impact’) is one where an effect will be experienced, but the impact magnitude is sufficiently small (with or without mitigation) and well within accepted standards, and/or the receptor is of low sensitivity/value. |
| Moderate | An impact of moderate significance (‘Moderate impact’) is one within accepted limits and standards. Moderate impacts may cover a broad range, from a threshold below which the impact is minor, up to a level that might be just short of breaching a legal limit. Clearly to design an activity so that its effects only just avoid breaking a law and/or cause a major impact is not best practice. The emphasis for moderate impacts is therefore on demonstrating that the impact has been reduced to a level that is ALARP (as-low-as-reasonably-possible). This does not necessarily mean that ‘Moderate’ impacts have to be reduced to ‘Minor’ impacts, but that moderate impacts are being managed effectively and efficiently. |
| major | An impact of major significance (‘Major impact’) is one where an accepted limit or standard may be exceeded, or large magnitude impacts occur to highly valued/sensitive resource/receptors. An aim of EIA is to get to a position where the Project does not have any major residual impacts, certainly not ones that would endure into the long-term or extend over a large area. However, for some aspects there may be major residual impacts after all practicable mitigation options have been exhausted (i.e., ALARP has been applied). It is then the function of regulators and stakeholders to weigh such negative factors against the positive ones in coming to a decision on the Project. |

For environmental impacts the significance criteria used in this ESIA is shown in the table below;

Table 6-2: Overall significance criteria for environmental impacts

| Receptor sensitivity (or resource value) Low | Impact Magnitude |  |  |
| --- | --- | --- | --- |
|  | Low | Medium | High |
|  | Minor | Minor | Medium |
| Medium | Minor | Medium | Major |
| High | Medium | Major | Major |

For the social impact assessment, the perceptions of stakeholders, expressed as opinions around certain issues, can be as important as actual impacts. Consequently, the concept of perception is explicitly brought into the evaluation of significance after an impact is evaluated. When an impact is of significant stakeholder concern, this may be causing to raise the significance rating. This prompts the formulation of more rigorous and appropriate mitigation measures which focus on the source of the impact and also address stakeholder perceptions. The risk of not addressing stakeholder perceptions is that reputational damage could arise, resulting in the loss of a social licence to operate.

## Magnitude of Impact

The impact assessment describes what will happen by predicting the magnitude of impacts and quantifying these to the extent practical. The term ‘magnitude’ covers all the dimensions of the predicted impact to the natural and social environment including:

- the nature of the change (what resource or receptor is affected and how);

- the spatial extent of the area impacted, or proportion of the population or community affected;

- its temporal extent (i.e., duration, frequency, reversibility); and

- where relevant (accidental or unplanned events), the probability of the impact occurring.

For social impacts, the magnitude considers the perspective of those affected by taking into account the likely perceived importance of the impact, the ability of people to manage and adapt to change and the extent to which a human receptor gains or loses access to, or control over, socio-economic resources resulting in a positive or negative effect on their well-being (a concept combining an individual's health, prosperity, their quality of life, and their satisfaction).

## Sensitivity of Resources and Receptors

Sensitivities are defined as aspects of the natural or social environment which support and sustain people and nature. Once affected, their disruption could lead to a disturbance of the stability or the integrity of that environment. For ecological impacts, sensitivity can be assigned as low, medium or high based on the conservation importance of habitats and species. For habitats, these are based on naturalness, extent, rarity, fragility, diversity and importance as a community resource.

For socio-economic impacts, the degree of sensitivity of a receptor is defined as ‘a stakeholder’s (or groups of stakeholders’) resilience or capacity to cope with sudden changes or economic shocks. The sensitivity of a resource is based on its quality and value/importance, for example, by its local, regional, national or international designation, its importance to the local or wider community, or its economic value.

## Likelihood

Terms used to define likelihood of occurrence of an impact are explained in the table below;

Table 6-3: Explanation of Terms used for likelihood of occurrence

| An impact with a |
| --- |
| High probability | Refers to a very likely impact | Refers to very frequent impacts |
| Medium probability | Refers to a likely impact | Refers to occasional impacts |
| Low probability | Refers to rare impacts | Refers to rare impacts |
| Explanation of Terms Used for Likelihood of Occurrence | As far as one-time events (e.g., air emissions) or slowly developing effects are concerned (e.g., impacts on local life style) | As far as possibly recurring impacts are concerned, such as accident or unplanned events (e.g., traffic accident, fire) |

## Definition of mitigation measures

Mitigation measures are developed to avoid, reduce, remedy or compensate for significant potential negative impacts, and to create or enhance potential positive impacts, such as environmental and social benefits. In this context, the term “mitigation measures” includes operational controls as well as management actions. These measures are often established through industry standards and may include:

- Changes to the design of the project during the design process (e.g., changing the development approach);

- Engineering controls and other physical measures applied (e.g., waste water treatment facilities);

- Operational plans and procedures (e.g., waste management plans); and

- The provision of like-for-like replacement, restoration or compensation.

For potential impacts that are assessed to be of major significance, a change in design is sometimes required to avoid or reduce the significance. For potential impacts assessed to be of moderate significance, specific mitigation measures such as engineering controls are often sufficient to reduce these impacts to ALARP (‘as-low-as-reasonably-possible’) levels. This approach takes into account the technical and financial feasibility of mitigation measures. Potential impacts assessed to be of minor significance are usually sufficiently managed through good industry practice, operational plans and procedures.

In developing mitigation measures, the first focus is on measures that will prevent or minimise potential impacts through the design and management of the Project rather than on reinstatement and compensation measures.

## Assessing residual impacts

Impact prediction takes into account any mitigation, control and operational management measures that are part of the project design and project plan. A residual impact is the impact that is predicted to remain once mitigation measures have been designed into the intended activity. The residual impacts are described in terms of their significance in accordance with the categories identified in the tables above.  Social, economic and biophysical impacts are inherently and inextricably interconnected. Change in any of these domains will lead to changes in the other domains.

## Key Social Impacts – PRE-Construction Phase

### Land Acquisition

The proposed project will entail the acquisition of a land parcel for setting up the mini-grid. The land acquired may also be used to develop contractor facilities, worker’s camps and other ancillary facilities e.g., storage and sanitary facilities. Loss of land used by the communities for livestock grazing and farming may trigger land disputes. New settlements may arise due to migration of people to the centres near the mini-grid disrupting the existing community settlement patterns.

During the consultation, it was also reported that the community is not entirely dependent on the land for income. The land has minimal vegetation cover and after implementing the embedded controls, the impact magnitude is assessed to be minor.

#### Source of Impact and Overview of Baseline Conditions

- Additional employment opportunities may also be created for the local youth by the contractor.

#### Embedded/In-built Controls

Enabling the community to benefit from the project by supporting local projects e.g., improving education access by building more classrooms in Bombi Primary school and lower primary classes in Habura ECD.

##### Significance of Impact

The impact significance is assessed minor considering the community willfully allocated the land for project use.

#### Additional Mitigation Measures

The following additional measures may be recommended to minimise this impact:

- Providing skills-based training interventions, especially for self-employment to the young and unemployed. This will enhance their employability and create potential for income generation through self-employment;

- Procuring resources from the local sources so as to induce more employment in the supply chain.

- Community compensation in kind. The community identifying projects admissible in Water, Health and Education sectors within a radius of 10 km which will be improved on based on the land value.

### Impact on Way leaves

The design of the distribution line will utilize the existing road reserves. However, any damage to the structures, crops, trees community facilities and other assets will be compensated in line with the RPF provisions. Supply of electricity will involve passing of low voltage (LV) lines to connect the customers to power. It is estimated that a total of 10.16 km of LV circuit will be constructed.

#### Embedded/In-built Controls

The LV lines will be constructed mainly along the road reserve and along the boundaries to supply power.

##### Significance of Impact

The impact significance is assessed minor considering no acquisition of land is anticipated.

#### Mitigation measures

- Consultations with the community during construction of the low voltage lines

### Impact Related to Stakeholder identification and consultations

This impacts are associated with these risks:

- Inexhaustive stakeholder identification, stakeholder mapping and stakeholder information needs basis.

Mitigation measures

- Prior to construction works, identify and map all primary and secondary stakeholders (the various segments of the subproject area community – men, women, PWDs, elders, religious leaders, etc., community level CSOs, sub-county level CSOs with interest in the subproject, county level CSOs with interest in the subproject etc.).

- Assess the interest of each stakeholder category in the subproject

- Assess each stakeholder category’s subproject information needs at the various subproject phases

- Risks related to disclosure of appropriate information in line with the subproject phase

Mitigation Measures

- In consultation with the identified stakeholders, prepare a stakeholder engagement plan (SEP) that is based on their locations (maps) and their information needs at the various subproject phases

- Undertake timely and prior disclosure of relevant project information to the various stakeholder categories in line with their information needs and the project phase

- Carry out robust consultations with all  identified community level (primary) stakeholders in a gender, intergenerational and culturally sensitive manner, using appropriate participatory consultative techniques

- Consult with other relevant (secondary) stakeholders (as appropriate) based on their information needs, project phase and the SEP

- Document the information disclosure and stakeholder consultation processes (including venues, dates, minutes of discussions detailing consultation agenda, issues/concerns raised for each agenda item, and responses by the implementing agency)

- Risks related to inadequate consultations with all segments of the community and exclusion of VMGs and vulnerable individuals and households in subproject activities and implementation structures

Mitigation measures

- Ensure adequate consultations prior to construction, and throughout the project cycle with all segments of the community and other relevant stakeholders. This should be based on the SEP, using appropriate consultation techniques

- Ensure all concerns or grievances raised are responded to in a timely manner.

- Risks related to establishment of subproject governance structures, e.g., selecting individuals into management or GRM committees who have not been elected by all segments of the community, or imposing people who are not trustworthy into community level leadership positions

Mitigation measures

- Consult with all segments of the community and agree on the criteria to be used to elect leaders into the subproject governance structures

- Facilitate each segment of the community to elect their representatives to the various governance structures based on the agreed criteria

- Train members of the various governance structures on their roles and responsibilities

- Risks related to exclusion of some stakeholder categories (VMGs, minority clans, disadvantaged individuals, women, youth, PWDs) from the consultation processes and the established subproject implementation structures

Mitigation measures

- Facilitate the various stakeholder groups to establish  representative and proportionate subproject implementation structures (implementation committee, GRM Committee etc.) composed of people of integrity who have the interest of their stakeholder category at heart, while ensuring that there is no conflict of interest, e.g., one person should not represent the stakeholder category in more than one structure)

- Train the members of the implementation structures in their respective roles and responsibilities

- Sensitise the various stakeholder categories on the existence, roles and responsibilities of the various implementation structures

#### Embedded/In-built Controls

Stakeholder engagements regarding the project to get their views and consent done prior to construction works. The consultations include public barazas, focus group discussions and key informant interviews.

##### Significance of Impact

The impact significance would be major, however, if the mitigation measures are used the residue impact is minor.

## Positive Impacts- construction Phase

### Impact on local Economy and Employment

The construction, operation and maintenance of the mini-grids will provide employment opportunities for skilled and unskilled labour. Receptors in the Social area of Interest that may be able to make the most of the direct and indirect employment opportunities in the project are those who have some level of experience in formal employment, as well as those who have gained a basic education. This will be a source of income for the labourers. Where possible, construction materials will be sourced locally in order to promote local businesses.

Thus, anticipated benefits of the Project include Direct employment opportunities mainly during construction of the mini-grids; indirect employment generated by the procurement of goods and services for the Project; induced employment related to jobs ensuing from the expenditure of incomes associated with direct and indirect. The local community is likely to benefit from the economic opportunities to be created from the following:

- Civil works during construction phase including, construction of solar PV module mounting area, inverter room, internal roads, laydown areas, labour camp, distribution line,

- Self- employment options for individuals possessing vocational or technical training skills like electricians, welders, fitters etc;

- Contracting opportunities for local’s residents including men, women and youths. During the public meeting the community insisted that all the unskilled labour force must be given to the locals.

- Creation of indirect employment for local community through establishing small shops like tea stalls, supply of intermediate raw materials, repair outlets, hardware stores etc. However, these are likely to be temporary.

The area is characterised by major unemployment. This has affected the community members including the youths, men and woman as reported during Focused group discussion sessions. Thus, the contractor should develop and implement an employment management plan to promote local content. This will ultimately resolve conflict which can be arise if the community feels left out in employment opportunities.

#### Impact Significance

The impact significance will be moderate due to the high impact magnitude and the low receptor sensitivity. Due to expected limited job opportunities, a few locals will get jobs at the site that will impact their lives substantially.

#### Enhancement Measures

- A significant segment of labour requirement during the construction phase will be sourced locally. While, the significance of the impact on economy and employment opportunities during the construction phase is understood to be positive, the following measures should be put in place to ensure that the local community receives maximum benefit from the presence of the project;

- Preference should be provided to local labour, sub-contractors or suppliers to pass on maximum economic benefit locally;

- Preference should be provided to the vulnerable population in the Study Area;

The project proponent will establish a mechanism to audit sub-contractors and suppliers with respect to compliance of utilizing local labour and resources.

## Key Environmental Impacts – Construction phase

### Change in Land Use

The study area consists of communal land with patches of open scrubland. The internal distributions lines will be laid by Kenya Power. The land procured for the project site was uncultivated, and undeveloped. During consultation, it was established that the land belongs to the Bombi community. The community has since allocated the land for project use. The establishment of the mini-grid will convert communal land to generation and distribution of electric energy for long term.

For the purpose of assessment of impacts on land use of the area, land acquisition for the Mini-grid, Wayleaves, contractor facilities and worker’s camps has been considered.

The land use receptor sensitivity criteria will be low. This is due to the fact that there will be visual change upon installation of the mini-grid. There is no major dependency for grazing or agriculture on the land offered for the project. The magnitude criteria of this impact will be medium because there will be noticeable of change over the restricted site area. The change may be medium to long term and is reversible.

#### Embedded/In-built Control

- The construction activities will be restricted to within the allocated land and the immediate surroundings only.

- After construction work, any land taken for a temporary basis for storage of material will be restored to their original form.

- The existing earth roads at Bombi will be used for access to the project site.

#### Significance of Impact

The overall impact significance on land use will be Moderate. This is the case due to the fact that the receptor sensitivity is medium and the impact magnitude is medium.

#### Additional Mitigation Measures

- On completion of construction activities, land used for temporary facilities such as contractors facility and worker’s camp should be restored to the extent possible;

- The land use in and around permanent project facilities should not be disturbed.

- Construction activities should be restricted to the designated area.

### Impact on Topography

The topography of the project site is an open area with gentle slope of about 1.7% and mild undulations. There are no water bodies that pass though directly the proposed project site. Typically, solar power projects do not undertake levelling of topography and since the proposed project, along with the access road, is mostly on a flat terrain the receptor sensitivity has been assessed to be low.

Due to undulating topography, study area may exhibit presence of micro drainage channels. Therefore, the impact magnitude has therefore been assessed as minor.

#### Embedded/In built Control

The contractor will be instructed to avoid any unnecessary changes in the topography.

#### Significance of Impact

The overall impact significance will be Minor. This because the impact magnitude is low and there will be no major changes to the topography and the receptor sensitivity is low.

#### Additional Mitigation Measures

- Appropriate number of cross drainage channels should be provided during construction to maintain flow in existing natural channels.

- Disruption/alteration of micro-watershed drainage pattern should be minimized to the extent possible.

### Impact on Soil Environment

#### Project Phases and Associated Activities

For impact assessment, the following phases of the project cycles were considered for potential impacts on the soil environment. The phase wise project activities that may impact the environment are described below:

Construction Phase

- Vegetation clearance and top soil removal;

- Storage of oil and lubricants onsite;

- Storage of construction materials; and

- Disposal of different type of waste generated from the temporary project site.

Operation and Maintenance Phase

- Storage of oil and lubricants onsite;

- Disposal of municipal solid waste and waste water from site office; and

- Storage of waste materials onsite.

Decommissioning Phase

- Removal of PV modules;

- Removal of associated infrastructure including battery and generators.

#### Significance of Impacts

The significance of the impact to the soil will be minor due to the nature of the works and the fact that construction and operational activities will be confined in the small project area.

#### Additional Mitigations

- Vehicles will utilize the existing roads to access the site;

- No unauthorized dumping of used oil and other hazardous waste should be undertaken at site;

- All waste should be stored in a shed that is protected from the elements (wind, rain, storms, etc.) and away from natural drainage channels;

- Solid waste should be Segregated in color coded waste receptacles.

- In case of accidental/unintended spillage on small area, the contaminated soil should be immediately collected and stored as hazardous waste;

- Compacting of loose soil in excavated areas.

- Enclose the construction site and protect the soil to prevent the waste soils and other debris from being washed away by surface runoff and wind.

- All dug up soil that is not needed on-site to be removed promptly and disposed of to appropriate areas.

- Re-use the dug-up soil in backfilling and landscaping.

- Any soil potentially contaminated by chemicals, oils, fuels to be collected and disposed of by a NEMA authorized waste.

### Impact on Air Quality

The assessment with respect to air quality of the study area has been done for the following project activities:

- Fugitive emissions from site clearing, excavation work, material handling etc.;

- Fugitive emission from traffic movement;

- Exhaust emission from operation of machineries like pile drivers, vehicles; and

- Point source emission from diesel generator.

#### Embedded/in-built control

Vehicle engines need to be properly maintained to ensure minimization in vehicular emissions.

#### Significance of Impact

There are few Receptors (settlements) within 500 m of the project site and the impact magnitude will be moderate and sensitivity medium hence the impact significance will be moderate.

Sensitive receptors of air and emissions were identified by observation during field visit to project site. They were noted to be mainly residential and commercial in nature. The distances from a source that dust impacts can occur is highly site specific and will depend on the extent and nature of incorporated mitigation measures, prevailing wind conditions, rainfall and the presence of natural screening. Due to the variability of the weather, it is impossible to predict what the weather conditions will be when specific construction activities are being undertaken. Therefore, the assessment of construction dust impacts is typically qualitative.

#### Additional Mitigation Measures

- Spraying water on soil before excavation and periodic access road wetting to reduce nuisance dust levels.

- Visual inspection of dust pollution from roads and the construction site and appropriate intervention if dust levels are high.

- Speed restriction of construction vehicles to a speed of 10-15km/h or less on the site and on the access roads to the site.

- Maintenance and servicing of machines and engines off-site.

- Grievance procedure for dust complaints.

- The use of appropriate Personal Protective Equipment (PPE) such as dust masks, in particular, for construction workers.

- All construction materials will be transported in designated trucks which will be covered.

### Impact on Ambient Noise

As most of the noise generating activities will be performed within the site area, construction activities will likely have a small to insignificant incremental impact on the existing noise levels. The sources of noise in the construction phase include construction activities, operation of generator sets and movement of vehicles. There will also be increased noise levels because of increased anthropogenic movement in the area.

The main receptor will be the homesteads near the site and the shopping centre. The receptor sensitivity is therefore considered as medium. Impact magnitude is considered to be minor to medium considering the construction period of the project that will last for not more than 12 months.

#### Assessment Criteria for Impact on Ambient Noise

The assessment with respect to ambient noise quality of the study area has been done for the following project activities:

- Construction activities including site preparation, piling work, construction of ancillary facilities;

- Transportation of construction materials, machinery and personnel; and

- Operation of generator sets.

The ambient noise levels have been assessed with respect to Noise Pollution (Regulation and Control) Rules, 2000 and WHO Guidelines.

#### Embedded/in-built control

Normal working hours of the contractor to be defined (preferable 0800hrs to 1700hrs). If work needs to be undertaken outside these hours, it should be limited to activities which do not generate noise.

#### Significance of Impact

The impact significance has therefore been assessed moderate. This due to the fact that the impact magnitude is low and the receptor sensitivity is medium. The site is on close proximity to a few residential houses nearby.

#### Additional Mitigation Measures

- Only well-maintained equipment should be operated on-site;

- If it is noticed that any particular equipment is generating too much noise then lubricating moving parts, tightening loose parts and replacing worn out components should be carried out to bring down the noise and placing such machinery far away from the households as possible;

- Machinery and construction equipment that may be in intermittent use should be shut down or throttled down during non-work periods; and

- Minimal use of vehicle horns and heavy engine breaking in the area needs to be encouraged.

- Construction machineries should be maintained regularly to reduce noise resulting from friction;

- Normal working hours of the contractor to be defined (preferable 8 am to 5pm). If work needs to be undertaken outside these hours, it should be limited to activities which do not generate noise;

- Sensitize construction truck drivers to switch off vehicle engines while offloading materials.

### Visual Intrusions and Changes in Landscape Impact

The project site is located on plain terrain with slight undulation. There will be no significant change to visual quality of the area resulting from development or change in land use that will alter the landscape. Changes in the visual landscape will range from construction phase to commissioning of the mini-grid and associated structures and further during operations. This Project is the first major solar power Project in the vicinity of project area and the new development will have impact on the surrounding area.

The project area is primarily a rural area and with agriculture as a primary activity. Although the solar panels and inverter would be manufactured off site and the construction phase would be relatively short-term in duration (less than one year), it would still require large number of equipment or infrastructure when being erected such as dumpers and transportation vehicles on site. Additionally, the presence of bare soil along the access roads would increase the potential visual impact. The significance of the visual impacts will reduce at increasing distance from the development.

The construction of the mini-grid sites may involve the site clearance of vegetation (minimal vegetation at the site) and other natural attributes. The erection of the solar PV panels and the resulting glare from the sun will make it a standout feature from the natural surroundings and this would the lower the visual appeal of the area.

Even though the Mini grid facilities will be small, their geometric and sometimes highly reflective surfaces may have visual impacts. However, being visible is not necessarily the same as being intrusive. Aesthetic issues are by their nature highly subjective.

#### Embedded/In-built Control

Proper siting decisions can help to avoid aesthetic impacts to the landscape. The project site is located in open area with minimal settlement around besides the schools and residential homes.

#### Significance of Impact

Construction activities will mainly be inside the site footprint and will have moderate impact on the present visual environment. The sensitive receptors include the shopping Centre and the residents near the site. The impact magnitude will however be low hence the visual change during construction phase will be assessed as minor.

#### Additional Mitigation Measures

The following mitigation measures will have to be implemented to minimise potential visual impacts during the construction phase:

- The extent of the labour camp and storage area should be limited in area to only that which is essential;

- Minimize presence of ancillary structures on the site and minimize roads disturbance;

- Upon completion of construction work, areas utilized for labour camp, storage area to be restored to original form.

### Impacts on Waste Generation and Soil Contamination

General construction waste generated onsite will comprise of concrete, steel cuttings/filings, packaging paper or plastic etc. solid wastes consisting of food waste, plastic, glass and waste paper will also be generated by the construction workforce. A small proportion of the waste generated during construction phase will be hazardous and will include waste fuel, grease and waste oil containing rags. If improperly managed, solid waste could create impacts on soil quality. Therefore, the receptor sensitivity has been assessed as medium.

The impact magnitude has been assessed as low since the proponent has managed other solar power projects as well and has effective management systems for waste and hazardous substances being generated or utilized during the project life cycle as part of their Environmental and Social Management Framework.

##### Embedded/in-built control

Hazardous material and waste should be properly labelled, stored onsite at a location provided with impervious surface and in a secondary containment system.

##### Significance of Impact

The impact significance for waste generation and soil contamination has been assessed as minor. Given the low sensitivity of the surrounding areas and the medium magnitude of the potential consequences of soil contamination, the potential impact significance is rated as minor.

##### Additional Mitigation Measures

- Contractor should ensure that no unauthorized dumping of used oil and other hazardous waste is undertaken at the site;

- Designated areas should be provided for Solid Waste and daily collection and period disposal should be ensured;

- Construction and Demolition Waste should be stored separately and be periodically collected by an authorized treatment and storage facility;

- All waste should be stored in a shed that is protected from the elements (wind, rain, storms, etc.) and away from natural drainage channels;

- A log book should be maintained for quantity and type of hazardous waste generated; and

- In case of accidental/unintended spillage, the contaminated soil should be immediately collected and stored as hazardous waste.

### Impacts on Water Environment

During construction, excavation activities will involve soil exposure which results in soil erosion due to wind and surface runoff due to rains. Seepage from spilled fuels and oils and leaking machinery can also negatively impact groundwater water which could lead to potential contamination.

##### Significance of Impact

Generally, due to the localized area of impact, the overall significance of the related impacts on water quality is considered to be minor, provided the necessary mitigation/ management measures are implemented.

##### Mitigation Measures

Measures shall be put in place to minimize erosion and sediment mobility, especially during construction. These measures include:

- Clear the necessary areas only.

- Appropriate remedial measures shall be implemented by the contractor in the event of erosion.

- Infrastructure shall be designed to ensure that contaminated run-off does not reach watercourses.

- In the event of an oil spill the procedures contained in the emergency response plan of the contractor will come into effect.

- No vehicle maintenance and service shall be done at project site but in approved garages or service stations to avoid any possible oil and fuel spills that could contaminate soils and possibly ground water quality.

- Ensure that potential sources of petro-chemical pollution are handled in such a way to reduce chances of spills and leaks.

- Construction activities to avoid any unchanneled flow of water at the site

- Storage areas that contain hazardous substances should be bundled with an approved impermeable liner and provision for a pit to be made in case of oil spill.

- The excavation and use of rubbish pits during construction should be strictly prohibited.

- A waste disposal area should be designated within the active construction area and this should be equipped with suitable containers i.e., skips or bins of sufficient capacity and designed to contain and prevent refuse from being blown by wind,

- Areas contaminated by spilled concrete and/or fuels and oils leaking from vehicles and machinery should be cleaned immediately.

- The contractor to source for alternative source of water for construction purposes to avoid potential conflict with the community.

### Impacts from Hazardous Materials

Some hazardous materials will be used during construction phase of the project. They include insulating oil, paints, solvents and oils. Spilled chemicals can contaminate soil as well as pollute water resources. Additionally, hazardous and flammable substances if improperly stored and handled on site become potential health hazard for construction workers and the public.

##### Significance of Impact

The amount of hazardous waste generated will be minimal. The significance of the impact will be minor due to a low magnitude and medium sensitivity.

##### Mitigation Measures

- Maintenance of construction vehicles will not be done on site

- All hazardous products and waste should be labelled and handled properly to avoid contact with the ground

- Material handling to be done by trained and qualified staff

- The contractor site should have designated area (concrete bunded) for storing hazards materials

### Fire Hazards

During construction of the project, fire hazards are likely to occur especially when precaution measures are not taken to account. Smoking is one of causes of fires and this can happen if cigarette butts are left carelessly. Additionally, keeping of fuels onsite during construction can be a potential cause of fire.

##### Significance of Impact

This impact is evaluated to be of moderate significance. All the construction activities will be confined at the project site hence high sensitivity and low magnitude.

##### Mitigation Measures

The following measures should be put in place to prevent fire hazards:

- Create awareness to the construction workers on potential fire hazards

- Provision of firefighting equipment (extinguishers) on site during construction.

- No smoking shall be done on construction site

- ‘No smoking’ signs shall be posted at the construction site

- A fire evacuation plan must be posted in various points of the construction site including procedures to take when a fire is reported.

### Impacts of construction material sourcing (e.g., quarrying)

The construction of the project will utilize materials such as; stone, ballast, sand and hardcore. It is anticipated that they will be obtained from quarry and mining operations. Conscious or unwitting purchase of these materials from unlicensed operations indirectly supports, encourages and promotes environmental degradation at the illegal quarry sites and causes medium to long term negative impacts at source, including landslides.

##### Significance of Impact

The significance of this impact will be moderate due to high sensitivity and low magnitude.

##### Mitigation Measures

- The contractor should source all building materials such as stone, sand, ballast and hard core from NEMA approved sites.

- Ensure accurate budgeting and estimation of actual construction materials to avoid wastage.

- Reuse of construction materials where possible.

### Energy Consumption

The construction works will consume fossil fuels (mainly diesel) to run transport vehicles and construction machinery. Fossil energy is non-renewable and its excessive use may have serious environmental implications on its availability, price and sustainability.

##### Significance of Impact

This impact will be negligible owing to the size of the project that will require very few trucks during the construction phase.

##### Mitigation Measures

- Proper planning of transportation of materials will ensure that fossil fuels (diesel, petrol) are not consumed in excessive amounts. Complementary to these measures, the contractor shall monitor energy use during construction and set targets for reduction of energy use.

- Regular maintenance of vehicles to ensure efficient consumption of fuels.

## Key Social Impacts – Construction Phase

### Impact on Occupational Health and Safety

The construction activities include site preparation, infrastructure utilities installation, building structures. As a result, will be potential impacts on workers’ health and safety due to exposure to risks through construction activities that lead to accidents causing injuries and death. The most probable risks cause of accidental death and injury are:

- Safety risks such as: tripping; falling due to working at heights; potential fire due to hot work, smoking, failure in electrical installations; electric shocks.

- Health risks: Injuries such as: lifting, lowering, pushing, pulling and carrying; temporary or hearing loss which usually comes from noise generated from machinery used for excavation or piling work and from compressors and concrete mixers etc.; heat stress and working during high temperatures

- Occupational hazards due to dust and noise pollution from operating of heavy machinery and vehicular movement in the project sites.

- Safety risk due to working at heights during installation of power lines

- Risks of road accidents during the transportation of material and equipment to the project sites owing to the poor road network leading to Bombi village.

#### Embedded/in-built control

- All construction activities will be carried out during daytime hours and vigilance should be maintained for any potential accidents;

- Personal Protective Equipment (PPEs) including safety shoes, helmet, goggles, ear muffs and face masks;

- Cranes and other lifting equipment are operated by trained and authorised persons;

- Training of the workers on climbing techniques, and rescue of fall-arrested workers;

- Excavated areas should be temporarily fenced to avoid access to outsiders and animals.

#### Significance of Impacts

The impact on occupational health and safety during the construction phase is evaluated to be of moderate significance. All the construction activities will be confined at the project site hence high sensitivity and low magnitude.

#### Additional mitigation measures

- All workers (regular and contracted) should be provided with training on Health and Safety management system of the contractor during construction stage and EHS policies and procedures during the operation stage;

- Obtain and check safety method statements from contractors;

- Monitor health and safety performance and have an operating audit system; and

- Permitting system should be implemented to ensure that cranes and lifting equipment is operated by trained and authorized persons only;

- Appropriate safety harnesses and lowering/raising tools should be used for working at heights;

- All equipment should be turned off and checked when not in use; and

- A safety or emergency management plan should be in place to account for natural disasters, accidents and any emergency situations.

### Community Health and Safety

The receptors for impacts on community health and safety include project site workers, settlements in the close proximity of the project which will be exposed to health impacts from the project activities. The construction phase activities such as installation of solar panels, construction of distribution lines and minigrid and movement of material and personnel may result in impacts on the health and safety of the community.

Construction activities will involve the use of machinery and installation of distribution power

lines. Furthermore, the movement of material and personnel via the access roads may result in damage to human life or livestock due to accidents. The major community health and safety risks include structural failure of project infrastructure e.g., power line, fire safety and management of emergency situations.

#### Embedded/in-built control

Consultations with the proponent team and policy review indicated that the following embedded/in built control measures will be put in place during the construction phase;

- The excavated areas will be properly fenced for safety and sign boards in local languages will be put up;

- No hazardous waste or any waste be stored within the site for long periods of time and be in contact with the soil in order to prevent against ground water contamination

- The truck drivers carrying construction machinery and materials will be instructed to drive within speed limits with careful consideration for village traffic;

- Movement of heavy equipment and construction materials will be regulated during peak hours (0900hrs to 0500hrs).

#### Significance of Impact

Impact significate is rated as moderate considering the high impact magnitude and low receptor sensitivity.

#### Additional Mitigation Measures

The following risk mitigation measures are suggested to minimize the risks/ hazards of construction activities onsite;

- Developing an onsite ESMS and EHS Policy by the developer;

- Ensuring that the sub-contractor agreements that the developer enters into require all contractors to possess an EHS plan with provisions for monitoring of the EHS performance of contractors and their workers;

- As part of the stakeholder engagement and information disclosure process, providing an understanding to the community concerning the activities proposed to be undertaken and the precautions being adopted for safety; and

- Implementing the existing grievance redress mechanism.

### Labour Influx and related Impacts

The nature of the project will require technical skills that are not all available in this community. This will require movement of construction workers into the community. With an increase in population of the area, the social set up may be affected resulting to different negative social impacts such as competition for resources (such as housing), illicit behaviour, crime (including prostitution, theft and substance abuse) and spread of communicable diseases such as HIV/AIDS and STDs. However, except for the technically skilled personnel, most of the labour is expected to be sourced locally.

#### Significance of Impact

The significance of labour influx is considered to be minor because the receptor sensitivity will be medium and the impact magnitude is low. However, except for the technically skilled personnel, most of the labour is expected to be sourced locally.

#### Mitigation measures

- Reduction of labour influx by tapping into the local workforce to the extent possible

- In contract documents for the Contractor, MOE/KP should make explicit reference to the need to abide by Kenyan law, international best practice and the ratified ILO conventions and MOE’s policies in relation to health and safety, labour and welfare standards.

- In selection of a Contractor, MOE/KP should refer to past performance in similar assignments as an indicator of future performance with respect to worker management, worker rights, health and safety as outlined in Kenyan law and international standards.

•	Regular checks by MOE/KP should be undertaken to ensure the relevant labour laws and occupational health and safety plans are adhered to at all times.

•	All project workers should, as part of their induction, receive training on health and safety.

•	The contractor should put in place mechanism to ensure no employee or job applicant is not discriminated against on the basis of his or her gender, marital status, nationality, ethnicity, age, religion or sexual orientation.

•	All workers will have contracts which clearly state the terms and conditions of their employment and their legal rights. Contracts will be verbally explained to all workers where this is necessary to ensure that workers understand the provisions. Contracts must be in place prior to workers reporting to duty for the first time. The contract document will be enhanced by the Code of Conduct that will be provided by the Proponent.

•	The Contractor will put in place a worker grievance redress mechanism accessible to all workers, whether permanent or casual, directly or indirectly employed. The Proponent worker grievance mechanism shall be open to the Contractor workforce in the event that their grievance is not adequately resolved by their direct employer. The Proponent will then have the authority to act to resolve this grievance.

•	All project workers should have access to training on communicable diseases and STDs and community interactions in general. This training will be developed in collaboration with local health institutions.

•	Carry out surveillance to ensure that no children are employed in the project, and to the extent possible by third parties related to the project and primary suppliers where such risk may exist

### Child labour

Implementation of the Bombi project could lead to increased opportunities for the host communities to sell goods and services to the incoming workers. This can lead to child labour to produce and deliver these goods and services, which in turn can lead to increased cases of school truancy and dropout.

#### Significance of Impact

The impact is rated minor. This is based on low sensitivity of the receptor and medium magnitude of the impact.

#### Mitigation measures

- The contractor should develop a code of conduct to ensure children are protected from any negative impact from the construction works.

- The contractor should strictly hire people who are above 18yrs and ensure they provide their Identity Cards.

- The contractor shall ensure every worker under their jurisdiction signs a document committing themselves to the protection of the area children.

### Impacts on Cultural Heritage

Cultural and paleontological artifacts and cultural landscapes may be disturbed by the construction of the mini grid facilities. These could include community burial sites, sacred shrines. It is expected that a number of workers will be on-site during project construction of the project including skilled, semi-skilled, and unskilled personnel. During the consultation and field survey, no cultural artefact was established at the proposed project site.

#### Significance of Impact

Based on the analysis provided above, impacts on cultural heritage during the construction phase will be Minor considering low sensitivity of the receptor and low magnitude of the impact.

#### Additional Mitigation measures (Execution of a Chance Find Procedure)

In order to minimize the potential for impact to sub-surface cultural archaeological material, the proponent should establish a Chance Find Programme which includes the following provisions:

- A chance find can be reported by any member of the Project. Accordingly, if a chance find is encountered, the first course of action is to stop work in the vicinity of the find. Then the following steps will be undertaken:

  - Inform site supervisor/foreman.

  - Install temporary site protection measures (warning tape and keep off signs).

  - Inform all personnel of the Chance Find if access to any part of the work area is restricted.

  - Establish a localized no-go area needed to protect the Chance Find.

  - The National Museum of Kenya will be contacted to perform a preliminary evaluation to determine whether the Chance Find is cultural heritage and if so, whether it is an isolate or part of a larger site or feature.

  - Artefacts will be left in place when possible; if materials are collected, they will be placed in bags and labelled by an archaeologist and handed over to the National Museum of Kenya; no Project personnel are permitted to take or keep artefacts as personal possessions.

  - Document find through photography, notes, GPS coordinates, and maps (collect spatial data) as appropriate.

  - If the Chance Find proves to be an isolated find or not cultural heritage, the specialists brought in from the National Museum of Kenya will authorize the removal of site protection measures and activity in the vicinity of the site can resume.

  - If the archaeological specialists from National Museum of Kenya confirm the Chance Find is a cultural heritage site, they will inform the project team and initiate discussions with the latter about treatment.

  - Prepare and retain archaeological monitoring records including all initial reports whether they are later confirmed or not.

  - Develop and implement treatment plans for confirmed finds using the services of qualified cultural heritage experts.

  - If a Chance Find is a verified cultural heritage site, prepare a final Chance Finds report once treatment has been completed.

  - While investigation is on-going, co-ordinate with on-site personnel keeping them informed as to status and schedule of investigations, and informing them when the construction may resume.

  - If mitigation is required, then expedient rescue excavations will be undertaken by the National Museum of Kenya specialist, except in the case that the chance find is of international importance (i.e., Critical Cultural Heritage). If an archaeological site of international importance is encountered special care will be taken and archaeologists with the appropriate expertise in addressing the find will be appointed.

### Gender Based Violence, SEA & SH

Gender Based Violence (GBV), Sexual Exploitation and Abuse (SEA) may be committed against the communities by the construction workers. Incidences of Sexual Harassment (SH) may occur among the staff during construction phases of the project. This may be experienced while the women are searching for jobs and those giving the jobs may ask for sexual favours.

#### Significance of Impact

GBV cases cannot be ruled out during project implementation. Thus, the significance of this impact is considered to be Minor considering low sensitivity of the receptor and low magnitude of the impact.

#### Mitigation measures

- Prepare an Awareness Raising Strategy, which describes how workers and local communities will be sensitized to GBV risks, and the worker’s responsibilities;

- Identify GBV Services Providers to which GBV survivors will be referred, and the services which will be available;

- Elaborate GBV Allegation Procedures i.e. How the project will provide information to employees and the community on how to report cases of GBV breaches to the GRM.

- An Accountability and Response Framework, to be finalized with input from the contractor, should include at minimum:

    - GBV Allegation Procedures to report GBV issues to service providers, and internally for case accountability procedures which should clearly lay out confidentiality requirements for dealing with cases; and,

    - A Response Framework which has:

      - Mechanisms to hold accountable alleged perpetrators associated to the project;

      - The GRM process for capturing disclosure of GBV;

      - A referral pathway to refer survivors to appropriate support services.

### Exclusion of VMGs, Vulnerable Individuals and Households

A significant risk associated with this project is the potential for the exclusion of Vulnerable and Marginalized Groups (VMGs), vulnerable individuals and households including the elderly, PLWDs, widows, widowers, orphan-led households, minority clans/sub-clans from participating and or benefiting from the mini-grids project. VMGs participation and inclusion could be disadvantaged based on social identity, which may be across dimensions of gender, age, location, occupation, race, ethnicity, disability, sexual orientation and religion. There is potential risk of lack of intentional actions by the mini-grids contractor(s) and implementing agencies for the inclusion of VMGs in the project activities and benefits. This potentially leads to the exclusion of VMGS from the benefits and opportunities derived from the proposed mini-grid facilities.

The activities of component 1 envisages upon completion of the MG, that the relevant Implementing Agencies will connect customers from community facilities, enterprises and households to the electricity grid on a commercial basis under a market driven approach. There is a high likelihood that the targeted PAPs of the new electricity connections to the mini-grids network will be dominated by the local elites. This may lead to the exclusion of those without the financial resources to connect to the mini-grid electricity distribution network. This could result in a situation where a majority persons or households with adequate financial resources in the project area will be able to take advantage of the provision to connect to the electricity grid. This will negate a key objective of the project of overcoming energy poverty.

During the ESIA study the community identified the people and households considered vulnerable in the community as:

- Women headed households (5%)

- Orphans (1%)

- Persons Living with Disabilities - Albinos

- The elderly (80 years and above)

- The Orma and Waatha communities

#### Significance of Impact

Considering the high sensitivity of the VMGs identified in the project and high magnitude, the impact significance is considered to be major. However, it is important to put into account the project site inhabitants are predominantly the Giriama community.

#### Mitigation measures

- Participation will be through meetings with the different groups of the vulnerable people identified primarily to ensure that;

    - The VMGs are aware of the project and its impacts

    - The VMGs are Aware of any restrictions and negative impacts

    - Provide support to VMG participation arrangements in the project

- Confer with the VMGs at the outset on how they wish to be engaged

- Understand and respect local entry protocols as they relate to permission to enter a community and access traditional lands

- Commit to open and transparent communication and engagement from the beginning and have a considered approach in place

- Ensure that all representatives of the contractor and Proponent staff carrying out the specific sub project investment including third party subcontractors and agents are well briefed on local customs, history and legal status, and understand the need for cultural sensitivity

- Regularly monitor performance in engagement

- Enlist the services of reputable advisers with good local knowledge

- Implement the existing grievance redress mechanism

### Risk of Communicable Diseases

The mini-grids will lead to increased migration of labour into the mini-grid sites. Local communities can be exposed to increased risk of communicable diseases such as HIV/AIDS, STIs and COVID-19 through risky behaviours involving job seekers and people employed on the project.

#### Significance of Impact

Based on the fact that the receptor sensitivity will be medium and the impact magnitude low, the impact significance will be Moderate pre-mitigation.

#### Mitigation measures

- The Contractor should develop and implement pre-employment screening measures for workers, which should include communicable diseases. Individuals found to be suffering from these diseases will need to be sensitized on prevention of transmission to others and management of the disease prior to mobilisation to site.

- The Contractor should develop and implement a Communicable Diseases Policy and an information document for all workers directly related to the Project. The document should address factual health issues as well as behaviour change issues around the transmission and infection of diseases.

- The Contractor will make condoms available to employees and communities neighbouring the site office during construction.

- All project personnel should be inducted on a Code of Conduct that gives guidelines on worker-worker interactions, worker-community interactions and development of personal relationships with members of the local communities.

- If workers are found to be in contravention of the Code of Conduct, which they will be required to sign at the commencement of their contract, they will face disciplinary action including dismissal from duty.

- Sensitize all community segments and project workers on Covid 19 and precautionary measures that need to be observed;

- Restrict site access to only Authorised persons; and

- Continuously adhere to the MoH, WHO and World Bank guidelines on Covid-19 management.

### Increased Water Demand

During the construction of the project there will be increased demand for water by the construction workers and the construction works. Water will be mostly used in the construction works and for wetting surfaces or cleaning completed structures. It will also be used by the construction workers domestic purposes.

#### Significance of Impact

Although the sensitivity of the receptor (surface water) in the project area is high owing to unavailability of feasible alternative source of water for the local community, the overall significance of impacts is assessed to be negligible due to negligible magnitude of the impact.

#### Mitigation Measures

- Prudent use of available water

- Consultations with the project local committee on use of water in the community to avoid conflicts with the community

- Contractor to make own arrangements to provide water for construction works different from the community dam to avoid any conflicts with community.

### Forced Labor

During construction of the mini-grid the risk of forced labour is likely to occur and precaution is need to safe guard the community from being subjected to forced labour.

#### Significance of Impact

The impact significance is rated minor, based on low sensitivity of the receptor and medium magnitude of the impact.

#### Mitigation Measures

- Contractor must adhere to the employment Act which outlaws any form of forced labour

- Community to report any form of forced labour at the site

Contractor to ensure that all workers have a national ID card or documentation to show they are adults (above 18 years).

## POSITIVE IMPACTS- OPERATION PHASE

### Impact on Economy and Employment

Community consultations and observations made during the site visit suggest that the existing scenario of the agriculture in the study area is not capable enough to meet requirements of the people who are solely dependent upon it; especially due to limited water availability and growing population. During the operations phase, the requirement for unskilled and semi-skilled labour is expected to reduce to 5 and 15 respectively. The locally procured services will include maintenance work of the facility, 24-hour security, bush and undergrowth cleaning and housekeeping activities. In addition to this, the community will improve their livelihood and businesses by using the electricity from the project.

#### Significance of Impact

The overall impact significance of the impact on economy and employment during the operations phase is Major, the receptor sensitivity will be medium and the impact magnitude will be high.

#### Additional Enhancement Measures

While, the significance of the impact on economy and employment opportunities during the operations phase is understood to be positive, the following measures should be put in place to ensure that the local community receives maximum benefit from the presence of the project:

- Priority should be provided to local labour or suppliers to pass on maximum economic benefit locally;

- Opportunities should be provided to the vulnerable population in the Study Area

### Quality, Reliable Power Supply

There is no electricity in Bombi. This is a maiden project with an aim of supplying power through solar because the area is far away from the national power grid. Once operational, household and public institutions in the area will greatly benefit from the stable power supply.

#### Significance of Impact

The impact significance is high as it will provide power where it wasn’t for a long period

#### Enhancement Measures

- KPLC should ensure that they have a functional customer support team and a field response team;

- KPLC should ensure that they communicate power outages early to consumers

### Reduction of Pollution Associated with Thermal Power Generation, Kerosene and Wood Fuel Usage:

Residents in the area use different sources of energy. Electricity supply will imply that as many as are willing can apply for connection and get connected. This will result in reduced individuals and organizations using diesel generators, less reliance on kerosene, wood fuel and charcoal. This would mean less carbon dioxide is released to the environment and destruction of forests will be reduced hence decreasing greenhouse gases.

#### Significance of Impact

The impact significance is high as it will provide cleaner energy over a long period of time for many households

#### Enhancement Measures

- KPLC should ensure that the power provided cost is competitive to discourage the locals from using unclean source of power.

- KPLC should ensure that they communicate power outages early to consumers

### Improvement of Local and National Economy

The mini-grid project will ensure supply of a stable power that will reduce damage to the electronics and this will result in promotion of businesses both in the formal and informal sectors. Availability of power will enable businessmen to scale up their businesses while making it is possible to set up businesses such as salons, barber shops, photocopying machines, cyber cafes, welding, refrigeration of drinks among others. This will result in income improvements at the individual level and for the national economy. More customers will be connected and retail of reliable electricity by the power utility firm will attract increased tax revenues to the government.

#### Significance of Impact

The impact significance is low as it will buy few materials over a long period of time.

#### Enhancement Measures

- KPLC should ensure that their contractors/suppliers remit taxes and have a tax compliance certificate

- Prioritise local purchases over imports.

- Remit taxes on behalf of employees

### Education

Access to electricity at the household level and schools will create opportunities for children be able to study even for longer hours. Additionally, children in households can also access education programs being aired through different radio and T.V. channels. Schools will be able to take advantage of information technology and communication that are becoming a way of life in education sector and learning in general.’

#### Significance of Impact

The impact significance is high as it will provide power to schools over a long period for additional study time in the night and morning

#### Enhancement Measures

- KPLC should consider having the transmission lines are closer to schools for them to benefit from the power supply;

- KPLC should consider partnering with the county government in providing street lighting to improve security for children and teachers leaving for school early or leaving late for home

### Health Benefits of the Project

Solar energy for lighting is better than kerosene lamps that are in use currently. This is because kerosene lamps emit particles that cause air pollution. The health risks posed by this indoor air pollution mainly include acute lower respiratory infections. Additionally, insufficient illumination (low light) conditions can cause some degree of eye strain and reading in these conditions over long periods of time may have the potential to increase the development of near-sightedness in children and adults. The project will result in many families replacing kerosene lamps for lighting with electricity there-by reducing chances of the afore mentioned disease incidences.

#### Enhancement Measures

- Educate the consumers on the benefits of lighting with electricity as opposed to the other sources of lighting

### Improved Standard of Living

Availability of power will result in lifestyle changes through improved night lighting, pumping of water instead of manual pumping and refrigeration to maintain food safety and quality.

#### Enhancement Measures

- Educate the consumers on the uses of electricity to improve their lifestyles

### Security

The area will benefit from improved security since houses, businesses and public institutions will be well lit using electricity. This is as a result of more security flood lights bulbs which helps keep off opportunistic crimes including gender-based violence.

#### Enhancement Measures

- KPLC should consider partnering with the county government in providing street lighting to improve security of the area.

### Communications

Access to electricity will lead to improved communication. This will be enabled by the fact that charging of mobile phones will be easier and cheaper. Access to mass media like radio and T.V will provide opportunity for the households to access a wide range of information which is useful for decision making.

#### Enhancement Measures

- Ensure that the power supply is reliable.

## Key Environmental impacts – Operation phase

### Impact on Soil Environment

#### Soil compaction and Erosion

In the operation phase, soil compaction and erosion may occur due to vehicle movement, which only happens during the occasional maintenance activities. Soil compaction for the operation phase has therefore been considered to be infrequent and low. Since the chances of soil compaction and erosion during the O&M phase are less, the impact magnitude is assessed to be small.

##### Embedded/in-built control

Vehicles will utilise the existing access road to undertake maintenance activities at the solar plant.

##### Significance of Impact

The overall impact significance on soil erosion and compaction has been assessed as negligible. Both the receptor sensitivity and the impact magnitude will be low.

##### Additional Mitigation Measures

No further mitigation measures are suggested as embedded/in-built control will be sufficient to reduce the impact on soil environment.

### Waste Generation and management

During operation phase, the waste generated from project includes domestic solid waste and hazardous waste like waste oil and lubricants and oil containing jutes and rags will be generated during maintenance activities.

The quantity of hazardous and non-hazardous waste generated will be much lesser quantity than during the construction phase. Thus, the receptor sensitivity Impact magnitude has been assessed too small.

#### Embedded/in-built control

The waste generated will be disposed of through approved NEMA waste handlers.

The hazardous wastes will be stored onsite at separate designated covered area provided with impervious flooring and disposed through NEMA approved hazardous waste handler.

During operation phase, the quantity of municipal waste and hazardous waste generated is less and probability of the hazardous waste generation is only during plant maintenance and therefore occasional. The waste generated would be routed through proper collection and containment.

##### Mitigation measures

- The Contractor shall develop a Solid Waste Management Plan in accordance with the guidelines.

- All Project staff will be trained on this plan and attendance will be recorded.

- Preparation and implementation of a Waste Management Plan (WMP) will be done.

- Fuel shall be stored on site in temporary above ground storage tanks.

- Adhere to Kenyan laws and regulations applicable to waste management and the MSDS.

- Proper waste segregation and colour coding of the waste receptacles.

- Provision of temporary ablution facilities and ensure treatment and/or removal of sewage wastes off site.

- Hazardous wastes such as damaged solar panels and batteries that contain heavy metals shall be collected and stored prior to disposal offshore at a licensed facility as per the requirements of the solid waste management plan. This will be done by a Licenced NEMA Waste Handler.

- Any Solar Panel or batteries removed from the array for disposal will first be collected and stored in the covered 10ft container before being disposed off.

- Hazardous waste shall be shipped offshore to a facility licensed by NEMA to handle hazardous waste.

- Maintain all waste tracking documents (Transportation, treatment and disposal)

- Solid Waste Management Code of Practice will be integrated into SOP

#### Significance of Impact

The overall impact significance on land due to waste disposal during O&M phase has been assessed as minor due to medium sensitivity and low magnitude.

#### Additional Mitigation Measures

- Municipal domestic waste generated at site to be segregated onsite;

- Ensure hazardous waste containers are properly labelled and stored onsite provided with impervious surface, shed and secondary containment system;

- Ensure routinely disposal of hazardous waste through NEMA approved waste Handlers and records are properly documented; and

- Maintain all the waste tracking documents (Transport, treatment and disposal)

- The overall impact significance on land due to waste disposal during O&M phase has been assessed as minor.

- Disposal of hazardous wastes shall be done strictly as per the conditions of authorisation granted by NEMA.

- Ensure hazardous waste is properly labelled, stored onsite at a location provided with impervious surface, shed and secondary containment system.

### Impact on Water Environment

Water is required during operation phase to meet domestic requirements of O&M staff and for cleaning solar panels. For that purpose, the water requirement will most likely be sourced from existing local water vendors in the nearby area. During operation phase, there will be no wastewater generation from the power generation process. The residents of Bombi depend heavily on the nearby Galana river for their irrigation and domestic purposes. Therefore, the receptor (water resource) sensitive is assessed as high.  Since the project is likely to generate very little or negligible amount of wastewater during the O&M phase, the impact on water resources will be negligible as there will be no perceptible or readily measurable change from baseline conditions.

#### Embedded/in-built control

Planning of toilets and waste collection areas should be away from natural drainage channels.

#### Significance of Impact

Although the sensitivity of the receptor (surface water) in the project area is high owing to unavailability of feasible alternative source of water for the local community, the overall significance of impacts is assessed to be negligible due to negligible magnitude of the impact.

#### Additional Mitigation Measures

- Ensure proper cover and stacking of loose construction material to prevent surface runoff and contamination of receiving water point;

- The workforce will be given training towards proactive use of designated areas/bins for waste disposal and encouraged to use toilets. Open defecation and random disposal of sewage shall be strictly restricted;

- Construction workers to be sensitised about water conservation and encouraged use of water optimally;

- Regular inspection for identification of water leakages and preventing wastage of water from water supply tankers.

- Recycling/reusing water to the extent possible.

- The contractor should provide portable/mobile toilets for use on site

### Landscape and Visual Impacts

The solar panels will be spread over a horizontal form with a maximum height of 2m above the ground level.  The current use of land surrounding site is grazing, mixed commercial and residential. The permanent change of current landscape to area spread with solar panels will have potential visual impact for nearest habitations and passers.

#### Significance of Impacts

It is important to note that whether the visual impact is seen as positive or negative is highly subjective, and people’s attitude towards and perception of the visual impacts associated with the any project including solar power project. The project and its surrounding area are new for such developmental project and will have visual impacts during initial period of Project and the same will disappear over a period of time. Based on the above, significance of visual impact on landscape during operation phase of the project has been assessed as minor due to low receptor sensitivity and impact magnitude being medium.

#### Suggested mitigation measures

The following mitigation measures are proposed to reduce the visual impacts on the surroundings during operational phase:

- Signage related to the mini-grid must be discrete and confined to entrance gates.

- The footprint of the operations and maintenance facilities, as well as parking and vehicular circulation, should be clearly defined, and not be allowed to spill over into other areas of the site;

- Construction of fencing or compound wall around the project boundary;

- Landscaping area around the site with the participation of the local community.

### Increased oil Consumption

The proposed Mini-grid shall consume fuel/oil in the process of backing up the solar energy required. The fuel is produced mainly through non-renewable resources, implying this will have adverse impacts on these non-renewable resources base and their sustainability.

#### Significance of Impact

The impact will be of minor significance.

#### Mitigation Measures

To ensure efficient energy consumption during the operation phase of the project, the contractor to install an energy-efficient lighting system at the project site facilities. This will contribute immensely to energy saving during the operational phase of the project. In addition, the plant operators will be sensitized to ensure energy efficiently in their daily operations.

### Increased Storm Water Flow

The panels, building roofs and pavements of the proposed Mini-grid will lead to increased volume and velocity of storm water or run-off flowing across the area covered by the solar panels during operation phase. This will lead to increased amounts of storm water entering the drainage systems.

#### Significance of Impact

The impact will be of minor significance.

#### Mitigation Measures

- Construct the drainage system in a way to follow natural drain of the water

- Concrete only the required area and leave the rest of the land with vegetation like grass

- Construct rain harvesting system on the control buildings/office and harness into storage tanks for use

### Fire Outbreaks

Carelessness and negligence both at the solar mini-grid and by the PAPs of electricity may cause fires.

#### Significance of Impact

With the mitigation measures in place the impact is evaluated to be of moderate significance due to high sensitivity and low magnitude.

#### Mitigation Measures

- The power plant must contain firefighting equipment (Portable fire extinguishers) of recommended standards and in key strategic points

- Detection/alarm systems that can detect fire should be considered and installed

- A fire risk assessment and evacuation plan should be prepared and posted at strategic points and should include procedures to take when a fire is reported.

- Workers especially operators of the plant must be trained on firefighting and management

- ‘No smoking’ signs shall be posted within the Mini-grid area

- A fire Assembly point should be identified and marked

### Water demand

During this period the demand for water will be lesser than that used in construction. However, some amounts of water will be needed in wiping of the panels and use at the solar plant facility. Therefore, caution need to be exercised to ensure prudent use of water.

#### Significance of Impact

The impact is assessed to be negligible due to very low magnitude of the impact.

#### Mitigation Measures

- There is need to source for a sustainable water source for use

- Install water-conserving automatic taps

- Encourage water harvesting from rooftops and storage for cleaning purposes (washing the panels off dust)

- Any water leaks through damaged pipes and faulty taps should be fixed promptly.

### Sanitary waste

Although there are few people who will be running the Mini-grid during operation phase provision for disposal of sanitary waste must be put in place through septic tanks.

#### Significance of Impact

The impact is assessed to be negligible due to very low magnitude of the impact.

#### Mitigation Measures

The area is not served by a sewer system and sanitary waste will be drained through use of septic tanks.

### Flooding

Flooding may occur and cause damage to the plant and other associated infrastructure but the risk of occurrence is low since the area is not known for regular flooding.

#### Significance of Impact

The impact is assessed to be negligible due to very low magnitude of the impact.

#### Mitigation measures

- Ensure drainage channels are free of any obstruction at all times i.e., not blocked

- Construct more channels and or expand existing ones

- Raise foundations of the solar panels and ensure a proper and firm concrete base

- Create flooding diversions and or spill ways to divert water from getting into the solar power facility

### Noise and Vibration

Negligible noise and vibration will be produced during operation phase of the project and would be from the backup generator.

#### Mitigation Measures

The generator room should be made sound proof to ensure no noise of a nuisance level will be produced. The contractor should also monitor noise levels by taking tests and putting in appropriate measures.

### Electric and magnetic fields (EMFs)

Electric magnetic fields are only anticipated during operation period, but these are negligible. The exposure to would be little EMFs is highly negligible because the EMFs produced by the electrical installation are low. Consequently, the study does not anticipate impacts of EMFs.

### Dust emissions

During operation phase not much dust will be generated from the facility but wind and dust storms are potential impacts. This impact will be negligible because there will be no activities on site that will have the potential to generate dust.

#### Mitigation Measures

- Trees can be planted around the plant/facility provided they do not cast shadows to the solar panels to act as wind breakers and hence decrease dust pollution

- Ensure planting of grass around and within the facility compound

### Vehicle exhaust emissions

Exhaust emissions are likely to be generated by the vehicles coming to the facility though on a low risk.

#### Significance of Impact

Due to the low magnitude of the impact and the low sensitivity, the significance will be minor.

#### Mitigation Measures

- Drivers of the vehicles must be sensitized so that they do not leave vehicles idling so that exhaust emissions are lowered.

- Company vehicles should be well maintained

## Key Ecological Impact- Operation Phase

### Collision and Electrical hazards from Distribution Infrastructure

A number of birds’ species were identified during the impact assessment. These include Speckled Pigeon, Purple-crested Turaco, Common Swift, Black-headed Heron, Speckled Mousebird, European Roller, Cardinal Woodpecker, Black-crowned Tchagra, Red-backed Shrike, Hunter's Sunbird among others. The distribution lines and poles can potentially constitute an electrocution and collision hazard to birds. Some birds also utilize the distribution towers for nesting.

#### Embedded/ in-built Control

There are no embedded controls to prevent birds from roosting/nesting on distribution poles and colliding with distribution wires.

#### Significance of Impacts

The receptor sensitivity is low and the impact magnitude will be medium hence the minor impact significance.

#### Additional Mitigation Measures

The following mitigation measures will further reduce the impact significance on avifaunal species:

- Design of distribution towers should be such so as to minimize the risks of electrocution of birds;

- The distribution poles should be raised with suspended insulators in order to reduce the electrocution of bird species; and

- Marking overhead cables using bird-flight deterrents and avoiding use in areas of high bird concentrations of species vulnerable to collision.

## Key Social Impacts – Operations Phase

### Impact on Occupational Safety and Health

During the operation phase, maintenance and repair will be done on the site. Therefore, there will be potential impacts on workers’ health and safety due to exposure to risks through such activities that lead to accidents causing injuries and death. The most probable risks cause of accidental death and injury are:

- Safety risks such as: tripping; falling due to working at heights; potential fire due to hot work, smoking, failure in electrical installations; electric shocks.

- Health risks: Injuries such as: lifting, lowering, pushing, pulling and carrying; heat stress and working during high temperatures

- Safety risk due to working at heights during installation of power lines

- Exposure of workers to electro-magnetic field (EMF) during operation and maintenance of the mini-grids.

#### Embedded/in-built control

- All maintenance activities will be carried out during daytime hours and vigilance should be maintained for any potential accidents;

- Personal Protective Equipment (PPEs) including safety shoes, helmet, goggles, ear muffs and face masks;

- Lifting equipment should be operated by trained and authorized persons;

- Training of the workers on climbing techniques, and rescue of fall-arrested workers;

#### Significance of Impacts

Because the maintenance activities will be conducted less frequently, the impact magnitude on occupational Safety and Health will be low. Considering that the accidents may result in injuries and death, the sensitivity is considered to be High. Therefore, the significance is Moderate.

#### Additional mitigation measures

- All workers (regular and contracted) should be provided with training on Health and Safety management system of the contractor during construction stage and EHS policies and procedures during the operation stage;

- Obtain and check safety method statements from contractors;

- Monitor health and safety performance and have an operating audit system; and

- Permitting system should be implemented to ensure that the lifting equipment is operated by trained and authorized persons only;

- Appropriate safety harnesses and lowering/raising tools should be used for working at heights;

- All equipment should be turned off and checked when not in use; and

- A safety or emergency management plan should be in place to account for natural disasters, accidents and any emergency situations.

### Impact on Community Safety and Health

The receptors for impacts on community health and safety include settlements in the close proximity of the project which will be exposed to health impacts from the project activities. The operation phase activities that involve maintenance of the mini-grid components may result in impacts on the health and safety of the community.

The major community health and safety risks include electrocution, structural failure of project infrastructure e.g., power line, fire safety and management of emergency situations.

#### Embedded/in-built control

Consultations with the proponent team and policy review indicated that the following embedded/in built control measures will be put in place during the construction phase;

- The mini-grid site will be properly fenced for safety and sign boards in local languages will be put up;

#### Significance of Impact

Impact significate is rated as moderate considering the high impact magnitude and low receptor sensitivity.

#### Additional Mitigation Measures

The following risk mitigation measures are suggested to minimize the risks/ hazards of operation activities;

- Implementing the existing grievance redress mechanism

- The local community recommended that a technical operator should be stationed within or near the site in order to handle emergencies in the event that they occur

### Gender Based Violence, SEA & SH

Gender Based Violence (GBV), Sexual Exploitation and Abuse (SEA) may be committed against the communities by the staff during the operation and maintenance of the mini-grids. Incidences of Sexual Harassment (SH) may occur among the staff during operation and maintenance phase of the project. This may be experienced while the women are searching for jobs and those giving the jobs may ask for sexual favours.

#### Significance of Impact

GBV cases cannot be ruled out during project operational and maintenance phase. Thus, the significance of this impact is considered to be Minor considering low sensitivity of the receptor and low magnitude of the impact.

#### Mitigation measures

- Prepare an Awareness Raising Strategy, which describes how the staff and local communities will be sensitized to GBV risks, and the staff’s responsibilities;

- Identify GBV Services Providers to which GBV survivors will be referred, and the services which will be available;

- Elaborate GBV Allegation Procedures i.e. How the project will provide information to employees and the community on how to report cases of GBV breaches to the GRM.

- An Accountability and Response Framework, to be finalized with input from the contractor, should include at minimum:

    - GBV Allegation Procedures to report GBV issues to service providers, and internally for case accountability procedures which should clearly lay out confidentiality requirements for dealing with cases; and,

    - A Response Framework which has:

      - Mechanisms to hold accountable alleged perpetrators associated to the project;

      - The GRM process for capturing disclosure of GBV;

      - A referral pathway to refer survivors to appropriate support services.

### Exclusion of VMGs, Vulnerable Individuals and Households

A significant risk associated with this project is the potential for the exclusion of Vulnerable and Marginalized Groups (VMGs), vulnerable individuals and households including the elderly, PLWDs, widows, widowers, orphan-led households, minority clans/sub-clans from participating and or benefiting from the mini-grids project. VMGs participation and inclusion could be disadvantaged based on social identity, which may be across dimensions of gender, age, location, occupation, race, ethnicity, disability, sexual orientation and religion. There is potential risk of lack of intentional actions by the mini-grids contractor(s) and implementing agencies for the inclusion of VMGs in the project activities and benefits. This potentially leads to the exclusion of VMGS from the benefits and opportunities derived from the proposed mini-grid facilities.

There is a high likelihood that the targeted PAPs of the new electricity connections to the mini-grids network will be dominated by the local elites. This may lead to the exclusion of those without the financial resources to connect to the mini-grid electricity distribution network. This could result in a situation where a majority persons or households with adequate financial resources in the project area will be able to take advantage of the provision to connect to the electricity grid. This will negate a key objective of the project of overcoming energy poverty.

#### Significance of Impact

Considering the high sensitivity of the VMGs identified in the project and high magnitude, the impact significance is considered to be major. However, it is important to put into account the project site inhabitants are predominantly the Giriama community.

#### Mitigation measures

- Participation will be through meetings with the different groups of the vulnerable people identified primarily to ensure that;

    - The VMGs are aware of the project and its impacts

    - The VMGs are Aware of any restrictions and negative impacts

    - Provide support to VMG participation arrangements in the project

- Commit to open and transparent communication and engagement from the beginning and have a considered approach in place

- Ensure that all representatives of the contractor and Proponent staff carrying out the specific sub project investment including third party subcontractors and agents are well briefed on local customs, history and legal status, and understand the need for cultural sensitivity

- Regularly monitor performance in engagement

- Enlist the services of reputable advisers with good local knowledge

- Implement the existing grievance redress mechanism

### Risk of Communicable Diseases

The operation and maintenance phase of the mini-grids will lead to increased migration of labour into the mini-grid sites. Local communities can be exposed to increased risk of communicable diseases such as HIV/AIDS, STIs and COVID-19 through risky behaviours involving job seekers and people employed on the project.

#### Significance of Impact

Based on the fact that the receptor sensitivity will be medium and the impact magnitude low, the impact significance will be Moderate pre-mitigation.

#### Mitigation measures

- The Contractor should develop and implement pre-employment screening measures for workers, which should include communicable diseases. Individuals found to be suffering from these diseases will need to be sensitized on prevention of transmission to others and management of the disease prior to mobilisation to site.

- The Contractor should develop and implement a Communicable Diseases Policy and an information document for all workers directly related to the Project. The document should address factual health issues as well as behaviour change issues around the transmission and infection of diseases.

- The Contractor will make condoms available to employees

- All project personnel should be inducted on a Code of Conduct that gives guidelines on worker-worker interactions, worker-community interactions and development of personal relationships with members of the local communities.

- If workers are found to be in contravention of the Code of Conduct, which they will be required to sign at the commencement of their contract, they will face disciplinary action including dismissal from duty.

- Sensitize all community segments and project workers on Covid 19 and precautionary measures that need to be observed;

- Restrict site access to only Authorised persons; and

- Continuously adhere to the MoH, WHO and World Bank guidelines on Covid-19 management.

### Shocks and electrocutions to the project affected persons (PAPs)

Majority of the PAPs who will be customers and users of the power have not used electricity before. Failure to take appropriate precaution while interacting with electricity can result in electric shocks, fires and even electrocution/death.

#### Significance of Impact

The Impact is rated as moderate considering the high impact magnitude and low receptor sensitivity.

#### Mitigation Measures

The following precaution/preventive measures need to be observed in order to prevent risk of electric shocks, fires and electrocutions.

- Inspect the wiring of the houses before connecting power

- Safety awareness campaigns to the community before connection of power on safety precautions such as

  - Require community to engage a certified technician to do wiring in the premises

  - Use of quality materials while wiring

  - Refraining from individual illegal extensions of power lines to other houses

  - Observing safety measures while using electricity such as not touching sockets and switches with wet hands or wiping with wet cloths

  - Keeping off all electricity infrastructure e.g., not tying livestock on electric poles, no cutting earth wires that run along some electric poles, not interfering with sockets or switches

  - Reporting any electric wire/conductors if found fallen on the ground

  - Report any incident regarding electricity at the local office –staff in charge of operating the Mini-grid

### Risks related to poor or inadequate stakeholder engagement (Conflict)

During operation of the project there are grievances that may arise from community and other stakeholders related to poor or inadequate engagement of stakeholders and other need for information or challenges in using power by the community. Therefore, the contractor will design and implement a grievance redress mechanism to deal with grievances. The grievance redress mechanism committee should also include representatives from the community.

#### Significance of Impact

With the implementation of  the mitigation measures the  impact significance is minor to negligible.

#### Mitigation Measures

- Employ from the community to the extent possible

- Engage the community members and other stakeholders in a timely manner

- Work closely with the GRM committee members in solving the conflicts

- Solve all conflicts/grievances at the earliest time possible

- Ensure all grievances are logged and closed

- Monitoring the pattern of grievances to come up will long term measures

## Decommissioning Phase

### Preparation for decommissioning

The solar power plant may be decommissioned due to various reasons and there are impacts that will need to be mitigated. Once the KPLC makes the decision for decommissioning the following will be required;

- Prepare a Decommissioning Plan and submit to NEMA and the County Governments of Kilifi to obtain approval for implementation.

- Implement the decommissioning plan including backfilling, revegetation, disposal of waste material, recycling of recyclable material among others

Some of the positive impacts associated with the proposed project during its decommissioning phase include;

### Employment Opportunities

Once the project has served its purpose it will then be decommissioned. This will involve demolition and removal of the facility. During demolition, unskilled, semi-skilled and skilled employment opportunities will be available to the public.

#### Significance of Impact

Impact magnitude is considered to be small considering the decommissioning period to last for a short duration. The overall impact significance is envisaged to be Minor due to low sensitivity and medium magnitude.

#### Enhancement Measures

- Notify the GRC, Local leadership, the County Government reps of the specific jobs and the skills required for the work

- Prioritize the employment of unskilled labour from the local communities.

- Prioritize the procurement of goods and services from within Kilifi County.

- Develop and implement a fair and transparent employment and procurement policy.

- Advertise all jobs and tenders. (The jobs can be advised through local administrative offices, GRC meetings)

- Ensure gender mainstreaming during employment

- The contractor shall inform the workers and local community about the duration of work; and

- Reduction of worker will be done phase wise and corresponding to completion of each activity.

### Site Rehabilitation

After demolition of the proposed project, rehabilitation of the project site will be carried out to restore it to its original status or to a better state than it was. This will include replacement of topsoil and re-vegetation which will lead to restoration of the visual, vegetative and aesthetic state of the site.

## Key environmental impacts – Decommissioning Phase

### Impact on Soil Environment

The project activities that may impact the environment during the decommissioning phase are described include: removal of PV modules, and removal of associated infrastructure including battery and generators.

#### Significance of Impacts

The significance of the impact to the soil will be minor due to the nature of the works and the fact that the decommissioning activities will be confined in the small project area.

#### Additional Mitigations

- Vehicles will utilize the existing roads to access the site;

- No unauthorized dumping of used oil and other hazardous waste should be undertaken at site;

- All waste should be stored in a shed that is protected from the elements (wind, rain, storms, etc.) and away from natural drainage channels;

- Solid waste should be Segregated in color coded waste receptacles.

- In case of accidental/unintended spillage on small area, the contaminated soil should be immediately collected and stored as hazardous waste;

- Compacting of loose soil in excavated areas.

- Enclose the demolition site and protect the soil to prevent the waste soils and other debris from being washed away by surface runoff and wind.

- Any soil potentially contaminated by chemicals, oils, fuels to be collected and disposed of by a NEMA authorized waste handler.

### Impact on Air Quality

The assessment with respect to air quality of the study area has been done for the following project activities:

- Fugitive emissions from site demolitions and demolition waste handling etc.;

- Fugitive emission from traffic movement;

- Exhaust emission from operation of machineries like pile drivers, vehicles; and

- Point source emission from diesel generator.

#### Embedded/in-built control

Vehicle engines need to be properly maintained to ensure minimization in vehicular emissions.

#### Significance of Impact

There are few Receptors (settlements) within 500 m of the project site and the impact magnitude will be medium and sensitivity medium hence the impact significance will be moderate.

#### Additional Mitigation Measures

- Periodic access road wetting to reduce nuisance dust levels.

- Visual inspection of dust pollution from roads and the demolition site and appropriate intervention if dust levels are high.

- Speed restriction of the vehicles to a speed of 10-15km/h or less on the site and on the access roads to the site.

- Maintenance and servicing of machines and engines off-site.

- Grievance procedure for dust complaints.

- The use of appropriate Personal Protective Equipment (PPE) such as dust masks, in particular, for the site workers.

- All demolition wastes will be transported in designated trucks which will be covered.

### Impact on Ambient Noise

The sources of noise in the decommissioning phase include demolition activities, operation of generator sets and movement of vehicles. There will also be increased noise levels because of increased anthropogenic movement in the area.

#### Assessment Criteria for Impact on Ambient Noise

The assessment with respect to ambient noise quality of the study area has been done for the following project activities:

- Demolition activities;

- Transportation of demolition wastes materials, machinery and personnel;

- Operation of generator sets; and

#### Embedded/in-built control

Normal working hours of the contractor to be defined (preferable 0800hrs to 1700hrs). If work needs to be undertaken outside these hours, it should be limited to activities which do not generate noise.

#### Significance of Impact

The impact significance has therefore been assessed minor. This due to the fact that the impact magnitude is low and the receptor sensitivity is medium.

#### Additional Mitigation Measures

- Only well-maintained equipment should be operated on-site;

- If it is noticed that any particular equipment is generating too much noise then lubricating moving parts, tightening loose parts and replacing worn out components should be carried out to bring down the noise and placing such machinery far away from the households as possible;

- Machinery and equipment that may be in intermittent use should be shut down or throttled down during non-work periods; and

- Minimal use of vehicle horns and heavy engine breaking in the area needs to be encouraged.

- The machineries should be maintained regularly to reduce noise resulting from friction;

- Normal working hours of the contractor to be defined (preferable 8 am to 5pm). If work needs to be undertaken outside these hours, it should be limited to activities which do not generate noise;

- Sensitize the truck drivers to switch off vehicle engines while loading materials.

### Impacts on Waste Generation and Soil Contamination

General demolition waste generated onsite will comprise of concrete, steel cuttings/filings, packaging paper or plastic etc. solid wastes consisting of food waste, plastic, glass and waste paper will also be generated by the workforce. A small proportion of the waste generated during construction phase will be hazardous and will include waste fuel, grease and waste oil containing rags. Therefore, the receptor sensitivity has been assessed as medium.

##### Embedded/in-built control

Hazardous material and waste should be properly labelled, stored onsite at a location provided with impervious surface and in a secondary containment system.

##### Significance of Impact

The impact significance for waste generation and soil contamination has been assessed as minor. Given the low sensitivity of the surrounding areas and the medium magnitude of the potential consequences of soil contamination, the potential impact significance is rated as minor.

##### Additional Mitigation Measures

- Contractor should ensure that no unauthorized dumping of used oil and other hazardous waste is undertaken at the site;

- Demolition Waste should be stored separately and be periodically collected by an authorized treatment and storage facility;

- All waste should be stored in a shed that is protected from the elements (wind, rain, storms, etc.) and away from natural drainage channels;

- A log book should be maintained for quantity and type of hazardous waste generated; and

- In case of accidental/unintended spillage, the contaminated soil should be immediately collected and stored as hazardous waste.

## KEY SOCIAL Impacts – Decommissioning Phase

### Impact on Occupational Health and Safety

There will be potential impacts on workers’ health and safety due to exposure to risks through demolition activities that lead to accidents causing injuries and death. The most probable risks cause of accidental death and injury are:

  - Safety risks such as: tripping; falling due to working at heights; potential fire due to hot work, smoking, failure in electrical installations; electric shocks.

  - Health risks: Injuries such as: lifting, lowering, pushing, pulling and carrying; temporary or hearing loss which usually comes from noise generated from machinery used for demolition; heat stress and working during high temperatures

  - Occupational hazards due to dust and noise pollution from operating of heavy machinery and vehicular movement in the project sites.

  - Risks of road accidents during the transportation of material and equipment to and from the project sites.

#### Embedded/in-built control

- All demolition activities will be carried out during daytime hours and vigilance should be maintained for any potential accidents;

- Personal Protective Equipment (PPEs) including safety shoes, helmet, goggles, ear muffs and face masks;

#### Significance of Impacts

The impact on occupational health and safety during the decommissioning phase is evaluated to be of moderate significance. All the construction activities will be confined at the project site hence high sensitivity and low magnitude.

#### Additional mitigation measures

- All workers (regular and contracted) should be provided with training on Health and Safety management system of the contractor during decommissioning stage and EHS policies and procedures during the operation stage;

- Obtain and check safety method statements from contractors;

- Monitor health and safety performance and have an operating audit system; and

- Permitting system should be implemented to ensure that lifting equipment are operated by trained and authorized persons only;

- Appropriate safety harnesses and lowering/raising tools should be used for working at heights;

- All equipment should be turned off and checked when not in use; and

- A safety or emergency management plan should be in place to account for natural disasters, accidents and any emergency situations.

### Gender Based Violence, SEA & SH

Gender Based Violence (GBV), Sexual Exploitation and Abuse (SEA) may be committed against the communities by the workers. Incidences of Sexual Harassment (SH) may occur among the staff during decommissioning phases of the project. This may be experienced while the women are searching for jobs and those giving the jobs may ask for sexual favours.

#### Significance of Impact

The significance of this impact is considered to be Minor considering low sensitivity of the receptor and low magnitude of the impact.

#### Mitigation Measures

- Prepare an Awareness Raising Strategy, which describes how workers and local communities will be sensitized to GBV risks, and the worker’s responsibilities;

- Identify GBV Services Providers to which GBV survivors will be referred, and the services which will be available;

- Elaborate GBV Allegation Procedures i.e. How the project will provide information to employees and the community on how to report cases of GBV breaches to the GRM.

- An Accountability and Response Framework, to be finalized with input from the contractor, should include at minimum:

    - GBV Allegation Procedures to report GBV issues to service providers, and internally for case accountability procedures which should clearly lay out confidentiality requirements for dealing with cases; and,

    - A Response Framework which has:

      - Mechanisms to hold accountable alleged perpetrators associated to the project;

      - The GRM process for capturing disclosure of GBV;

      - A referral pathway to refer survivors to appropriate support services.

### Exclusion of VMGs, Vulnerable Individuals and Households

A significant risk associated with this project is the potential for the exclusion of Vulnerable and Marginalized Groups (VMGs), vulnerable individuals and households including the elderly, PLWDs, widows, widowers, orphan-led households, minority clans/sub-clans from participating and or benefiting from the mini-grids project. VMGs participation and inclusion could be disadvantaged based on social identity, which may be across dimensions of gender, age, location, occupation, race, ethnicity, disability, sexual orientation and religion. There is potential risk of lack of intentional actions by the mini-grids contractor(s) and implementing agencies for the inclusion of VMGs in the project activities and benefits. This potentially leads to the exclusion of VMGS from the benefits and opportunities during the decommissioning phase.

#### Significance of Impact

Considering the high sensitivity of the VMGs identified in the project and high magnitude, the impact significance is considered to be major. However, it is important to put into account the project site inhabitants are predominantly the Giriama community.

#### Mitigation Measures

- Participation will be through meetings with the different groups of the vulnerable people identified primarily to ensure that;

    - The VMGs are Aware of any restrictions and negative impacts

    - Provide support to VMG participation arrangements in the project

- Commit to open and transparent communication and engagement from the beginning and have a considered approach in place

- Ensure that all representatives of the contractor and Proponent staff carrying out the specific sub project investment including third party subcontractors and agents are well briefed on local customs, history and legal status, and understand the need for cultural sensitivity

- Monitor performance in engagement

- Enlist the services of reputable advisers with good local knowledge

- Implement the existing grievance redress mechanism

### Risk of Communicable Diseases

The decommissioning of the mini-grid may lead to increased migration of labour into the mini-grid site. Local communities can be exposed to increased risk of communicable diseases such as HIV/AIDS, STIs and COVID-19 through risky behaviours involving job seekers and people employed on the decommissioning of the project.

#### Significance of Impact

Based on the fact that the receptor sensitivity will be medium and the impact magnitude low, the impact significance will be Moderate pre-mitigation.

#### Mitigation Measures

- The Contractor should develop and implement pre-employment screening measures for workers, which should include communicable diseases. Individuals found to be suffering from these diseases will need to be sensitized on prevention of transmission to others and management of the disease prior to mobilisation to site.

- The Contractor should develop and implement a Communicable Diseases Policy and an information document for all workers directly related to the Project. The document should address factual health issues as well as behaviour change issues around the transmission and infection of diseases.

- The Contractor will make condoms available to employees and communities neighbouring the site during decommissioning.

- All project personnel should be inducted on a Code of Conduct that gives guidelines on worker-worker interactions, worker-community interactions and development of personal relationships with members of the local communities.

- If workers are found to be in contravention of the Code of Conduct, which they will be required to sign at the commencement of their contract, they will face disciplinary action including dismissal from duty.

- Sensitize all community segments and project workers on Covid 19 and precautionary measures that need to be observed;

- Restrict site access to only Authorised persons; and

- Continuously adhere to the MoH, WHO and World Bank guidelines on Covid-19 management.

## Cumulative Impacts

### Cumulative Impact Assessment

It was observed during the site survey that there are no other similar solar projects within the projects site. Therefore, it is assumed that there will be no cumulative impacts from the above-mentioned projects on the local soil, water, land, air and ambient noise environment.

# ENVIRONMENTAL AND SOCIAL MANAGEMENT AND MONITORING PLAN (ESMMP)

Environmental and Social Management and Monitoring Plan (ESMMP) for development projects provides a logical framework within which identified negative environmental and socio–economic impacts can be mitigated and monitored. In addition, the ESMMP assigns responsibilities of actions to various actors and provides a timeframe within which mitigation measures and monitoring can be done. ESMMP is a vital output of an Environmental and Social Impact Assessment as it provides a checklist for project monitoring and evaluation.

The ESMMP specifies the mitigation and management measures which the proponent will undertake and shows how the project will mobilize organizational capacity and resources to implement these measures. The ESMMP outlined below addresses the identified potential positive and negative impacts and enhancement and mitigation measures of the proposed mini-grid during pre-construction, construction, operational and decommissioning phases, based on the chapter of Environmental and Social Impacts and mitigation measures of the potential negative impacts.

A detailed Environmental and Social Management and Monitoring Plan for preconstruction, construction, operation and decommissioning phase is well illustrated in the table below.

Table 7-1: Environmental and Social Management and Monitoring Plan

| Potential Impacts | Recommended Mitigation Measures | Project phase | Responsibility | Monitoring Indicator | Frequency | Estimated Cost (KES) |
| --- | --- | --- | --- | --- | --- | --- |
| Local employment | -Prioritize hire of locals for all unskilled labour. -Implement a local recruitment plan that is fair and transparent (including recruitment processes that ensure inclusivity of both men and women, vulnerable individuals, minority clans, ethnic groups and VMGs. -Adhere to labour laws, and labour management practices (timely renumeration, equitable compensation for both genders for equal work etc.) -Create awareness to workers and the community on worker and project grievance redress mechanisms. | Construction Operations Decommissioning | Contractor Proponent | -Fair and transparent local recruitment plan in place. -Recruitment processes (job adverts, interviews, selection etc.). -Number of locals employed based on gender, vulnerability, ethnic group, clan etc. -Type of employment (skilled, semi-skilled and unskilled). -Grievances raised, those aggrieved, status of resolution. | Quarterly | Contractor’s cost |
| Local Sourcing | -Source materials from local businesses/communities, and where necessary give opportunities to businesses owned or operated by vulnerable individuals. | Construction Decommissioning |  | -Number and types of businesses sourced from, businesses owned and operated by vulnerable individuals, types and quantities of materials etc. | Quarterly | No additional cost |
| Land acquisition and compensation for land and assets on land | In line with the RPF provisions; -Prepare and implement an Abbreviated Resettlement Action Plan (A-RAP) to guide land acquisition for the mini-grid, wayleaves for power distribution. Further, the proponent will fast-track A-RAP preparation to ensure that land acquisition and contractor mobilization to the site is undertaken after the A-RAP is finalized, cleared, and disclosed. -The contractor will implement and adhere to agreements for temporal use of land and restoration of land after use. -Compensate affected communities in-kind (priority project) for the loss of land. -The construction activities will be restricted to within the allocated land and the immediate surroundings only. -After construction work, any land taken for a temporary basis for storage of material will be restored to their original form. -Consultations with the community on the low voltage lines. -The design of the distribution line will utilize the existing road reserves. However, any damage to structures, crops, trees, community facilities and other assets will be compensated in line with the RPF provisions. | Pre- Construction | Contractor- (contractors’ facilities, workers camps) Proponent- (project land for generation assets) | -Land Acquisition and consultation report (consultation (minutes and lists of participants). -Type and amount of compensation paid to affected persons. - Priority community project implemented and handed over to affected communities. -Signed agreements with communities on the use and restoration of their land. | Quarterly | Value of compensation in kind project will be equivalent to the value of land acquired as per NLC |
| Labor Influx and related impacts (SEA/SH, HIV/AIDs and other STIs) | -Tap into the local workforce to the extent possible to reduce labor influx. -Recruit local workforce to the extent possible especially for unskilled and semi-skilled jobs. -Consult with and involve local community in project planning and other phases of the project. -Raise awareness among local community and workers on the need to have a good /cordial working relation -Sensitize workers regarding engagement with local community. -Make provision to provide resources needed by the workers if the need for such resources may result to competition e.g., water. -Establish and operationalize an effective Grievance Redress Mechanism accessible to community members. -The contractor and the project/community grievance redress committee to work closely address complains raised on time. -Include gender considerations in employment opportunities. -Provide appropriate compensation for work done. -Respect for community values/culture. -Prompt payment of workers as per the contractual agreements/terms. | Construction Decommissioning | Proponent, Contractor | -Records of employees/updated employee register. -Number of local community employees and external employees/ updated employee register. | Quarterly | 50,000.00 |
| Child labor | -Employ workers who are 18 years and above, and with a valid national ID at the time of hire. -Implement and monitor the employment register regularly. Compliance with the national labor laws and labour management practices. -Put visible signage on site “No Jobs for children” -Do not allow children at the project site. | Construction Decommissioning | Contractor, Proponent | -Updated employment register indicating locals employed, their ages, national identification numbers etc. -Grievances raised, aggrieved persons and status on resolution etc. | Quarterly | 20,000.00 |
| GBV- SEA and SH | -Prepare an SEA/SH Prevention and Response Action Plan, to manage the SEA/SH risks. -The Action Plan to be proportionate to potential SEA/SH risks, and to include measures such as awareness creation for communities and workers; identification of referral services for survivors and a GRM that ensures confidential reporting of GBV cases. -Implement a code of conduct signed by all those with physical presence on site. | Construction Operations Decommissioning | Contractor Proponent | -Minutes of awareness creation sessions for the community and workers on GBV-SEA/SH. -Code of conduct signed by all those with physical presence on site. -GRM that ensures confidentiality of GBV cases in place. Documented referral services for survivors. -Grievances raised, aggrieved persons and status on resolution etc. | Quarterly | 50,000.00 |
| Forced Labor | -Adhere to the Employment Act which outlaws any form of forced labor. -Report any form of forced labor at the site. -Ensure that all workers have a national ID card or documentation to show they are adults (above 18 years). | Construction Decommissioning | Contractor Proponent | -Number of reported cases of forced labor. | Quarterly | 20,000.00 |
| Risks related to Inadequate stakeholder engagement | -Prepare a stakeholder engagement/consultation plan (SEP) that is proportionate to the subproject and the identified stakeholders. -Timely and prior disclosure of project all project information, including project instruments, the full rights and entitlements of project affected persons, sub-project positive and negative impacts and opportunities, proposed subproject budget. -In line with the SEP, undertake adequate consultations prior to construction and throughout the project cycle with all segments of the community and other relevant stakeholders. -Prepare and implement a grievance redress mechanism to deal with grievances. -The grievance redress committee to include representatives from the community. -Sensitize stakeholders on SEP and GRM. | Construction Operations Decommissioning | Contractor | -Availability of and implementation of the Stakeholder Engagement Plan. -# of stakeholder consultations held -Record of stakeholder consultations held (minutes of meetings and list of participants). -Information disclosed, to whom it was disclosed (Men, women, PWD, youth, vulnerable individuals and households etc., methods and languages used in the disclosure (culturally appropriate and accessible), grievances raised and status on resolution etc. -Concerns raised and actons raised. | Quarterly | 30,000.00 |
| Exclusion of VMGs and vulnerable individuals and households | In line with the provisions of the ESMF, VMGF and Social Assessment ensure the following. - Early identification and inclusion of VMGs and disadvantaged groups. - Meaningful consultation to effectively participate in the project. - Timely and prior disclosure of relevant project information to VMGs and disadvantaged groups. - Adequate and ongoing consultations with VMGs and disadvantaged groups in line with the SEP. - All concerns or grievances raised are fully resolved in a timely manner. - Access to culturally appropriate project benefits and opportunities. | Pre-construction Construction Operations Decommissioning | Contractor Proponent | Minutes of consultative meetings with all community segments including VMGs and vulnerable individuals and households, grievances raised and status on resolution etc. | Quarterly | No additional cost |
| Inaccessibility of project benefits to VMGs and other vulnerable individuals due to affordability challenges | -Consult VMGs and Vulnerable individuals and households on charges for sub project services, and put in place specific interventions to ensure the vulnerable equally access project benefits. | Operations | Proponent; O&M contractor | -Interventions to enable those vulnerable access project benefits. -Number of complaints raised by VMGs/vulnerable individuals regarding access to project services. -GRM that is culturally appropriate and accessible. Grievances raised and status on resolution etc. | Quarterly | No additional cost |
| Inadequate grievances management | -Constitute a Local Grievances Committee is in consultation with all community segments, and incorporates the existing local dispute resolution mechanism. -Implement a workers grievances mechanism. -Awareness on the culturally appropriate and accessible GRM to all community segments including VMGs, vulnerable individuals and households and CSOs -All reported grievances are logged, dated, processed, resolved and closed out in a timely manner. -Proportionate representation of VMGs and vulnerable individuals in the local grievances committee. -GRM provides for confidential reporting of particularly sensitive social aspects such as GBV, as well as anonymity. | Construction Operations Decommissioning | Contractor Proponent | -Local Grievances Committee in place, composition of committee, awareness of community and workers on project and worker GRMs, updated GRM logs, types of grievances -Availability of grievance redress process -Number of grievances reported -Number of grievances resolved in a timely manner -Number of grievances escalated to national courts and the World Bank Grievances Redress Service and Inspection Panel. | Quarterly | No additional cost |
| Environmental Impacts |  |  |  |  |  |  |
| Vegetation clearance | - Clear only the necessary areas - Ensure proper demarcation and delineation of the project area to be affected by construction works. - Specify locations for vehicles and equipment, and areas of the site which should be kept free of traffic, equipment, and storage. - Designate access routes and parking areas - Re-vegetation including planting of trees around the plant/facility | Construction | Contractor | -Number of trees cleared -Planted trees | Once off | 50,000.00 |
| Soil erosion | - Avoid groundbreaking during the seasons of high rainfall to avoid erosion. - Monitoring of areas of exposed soil during rainy seasons to ensure that any incidents of erosion are quickly controlled. - Construction related impacts like erosion and cut slope destabilizing should be addressed through landscaping and grassing, carting away and proper disposal of construction materials - Use silt traps where necessary - Cover soil stock piles - Landscaping with grass on areas without electrical installation (lower areas) - Monitoring of areas of exposed soil during rainy seasons to ensure that any incidents of erosion are quickly controlled. | Construction | Contractor | Assess size of rills or Gulleys forming from accelerated run off from compacted areas | Quarterly | Part of contractor’s fee |
| Contamination of soil from fossil fuels | - Ensure waste water generated is discharged or drained into approved drainage facilities - Construction vehicles must be maintained in good state and proper servicing to ensure no oils are likely to leak - Care must be exercised not to spill any fossil fuels - Any contaminated soil shall be scooped and disposed-off appropriately. - No servicing vehicles on site | Construction | Contractor | Records of any leakages from construction equipment/ vehicles. | Quarterly | 50,000.00 |
| Dust emissions | - The construction area should be fenced off to reduce dust to the public - Suppress dust during dry periods by use of water sprays; - Stockpiles of excavated soil should be enclosed/covered/watered during dry or windy conditions to reduce dust emissions. - Burning of woody debris & construction waste to be prohibited - Use of personnel protective equipment (PPE) -masks should be provided to all personnel in areas prone to dust emissions - Restrict speed on loose surface roads during dry or dusty conditions - Keep stockpiles and exposed soils compacted and re-vegetate as soon as possible. - Construction trucks moving materials to site, delivering sand and cement to the site should be covered to prevent material dust emissions into the surrounding areas - Plant short trees to break speed of wind | Construction | Contractor | -Visual Observation of dust -Provision of PPEs especially masks | Daily | 100,000.00 |
| Vehicle exhaust and emissions from Generator | - Drivers of construction vehicles must be sensitized so that they do not leave vehicles idling so that exhaust emissions are lowered. - Maintain all machinery and equipment in good working order to ensure minimum emissions of carbon monoxide, NOX, SOX and suspended particulate matter - Maintain equipment in good running condition – no vehicles to be used that generate excessive black smoke - Use of diesel which is Sulphur- free to run the power producing generators to be encouraged - The stack chimney of the generators will be increased from its normal height of 3 meters to 6 meters | Construction | Contractor | -Engine maintenance records - inspection of stacks | Quarterly | 100,000.00 |
| Solid waste generation | - Ensure spoil from excavations is arranged according to the various soil layers. This soil can then be returned during landscaping and then rehabilitation, in the correct order which they were removed that is top soil last; - Segregate waste - Provide litter collection facilities such as bins - Contractor to put in place and comply with a site waste management plan - The contractor should comply with the requirement of OSHA ACT 2007 and Building rules on storage of construction materials - Use of durable, long-lasting materials that will not need to be replaced as often, thereby reducing the amount of waste generated over time - Recovery of materials remains and return to stores - Re-use of materials where possible - Proper budgeting to avoid waste generation - Proper disposal of waste in line with solid waste regulation - Construction wastes to be managed in accordance with construction standards in Kenya | Construction | Contractor | Presence of well-maintained receptacles and centralized collection points | Quarterly | 100,000.00 |
| Impacts on Water Resources and Water Quality | - Clear the necessary areas only. - Appropriate remedial measures shall be implemented by the contractor in the event of erosion. - Infrastructure shall be designed to ensure that contaminated run-off does not reach water source i.e., earth dam. - Contractor to develop an oil-spill containment plan as part of the emergency response plan. In the event of an oil spill the procedures contained in the emergency response plan of the contractor will come into effect. - No vehicle maintenance and service shall be done at project site - Ensure that potential sources of petro-chemical pollution are handled in such a way to reduce chances of spills and leaks. | Construction | Contractor | -Oil spill containment plan. -Provision of fuel/oil drip and spill trays | Quarterly | 150,000 |
| Noise & vibration | - Construction activities to avoid any unchanneled flow of water at the site - Storage areas that contain hazardous substances should be bunded with an approved impermeable liner and provision for a pit to be made in case of oil spill. - The excavation and use of rubbish pits during construction should be strictly prohibited. - A waste disposal area should be designated within the active construction area and this should be equipped with suitable containers i.e., skips or bins of sufficient capacity and designed to contain and prevent refuse from being blown by wind, - Areas contaminated by spilled concrete and/or fuels and oils leaking from vehicles and machinery should be cleaned immediately | Construction | Contractor | Noise levels-Records of noise measurements done by contractor within the project area and at distances of 30m from the Solar mini-grid | Quarterly | 150,000.00 |
| Impacts from Hazardous materials - | - Maintenance of construction vehicles will not be done on site - All hazardous products and waste should be labeled and handled properly to avoid contact with the ground - Dispose hazardous waste through a NEMA approved waste handler | Construction | Contractor | Presence of well-maintained receptacles and centralized collection points | Quarterly | 100,000.00 |
| Accidental Oil Spills or Leaks | - In the event of accidental leaks, contaminated top soil should be scooped and disposed of appropriately. - Refueling and maintenance of vehicles will not take place at the construction site. - Create awareness for the employees on site on procedures of dealing with spills and leaks - Vehicles and equipment must be serviced regularly and kept in good state to avoid leaks. - In case of spillage the contractor should isolate the source of oil spill and contain the spillage using sandbags, sawdust, absorbent materials and/or other materials approved by materials. - All chemicals should be stored within the bunded areas and clearly labeled detailing the nature and quantity of chemicals within individual containers. | Construction | Contractor | Records of all accidental spills and number of liters | Quarterly | 150,000.00 |
| Fire Hazards | - Create awareness to the construction workers on potential fire hazards - Provision of firefighting equipment on site during construction. - No smoking shall be done on construction site - ‘No smoking’ signs shall be posted at the construction site - A fire risk assessment and evacuation plan should be prepared and must be posted in various points of the construction site including procedures to take when a fire is reported. - Designate an assembly point | Construction | Contractor | -Records of any Fire incidences -Fire equipment and evacuation plan | Quarterly | 100,000.00 |
| Impacts of construction material sourcing (e.g., quarrying) | - Source all building materials such as stone, sand, ballast and hard core from NEMA approved sites. - Ensure accurate budgeting and estimation of actual construction materials to avoid wastage. - Reuse of construction materials where possible. | Construction | Contractor | Sources of raw materials (from local community) | Quarterly | Part of contractor’s cost |
| Increased water demand | - Prudent use of available water - Consultations with the project local committee on use of water in the community to avoid conflicts with the community - Source and utilize a sustainable and reliable water supply for both construction and operation phase. | Construction | Contractor | Water usage records | Quarterly | Part of contractor’s cost |
| Energy Consumption | - Ensure responsible electricity use at the construction site through sensitization of staff to conserve electricity by switching off electrical equipment or appliances when they are not being used. - Proper planning of transportation of materials will ensure that fossil fuels (diesel, petrol) are not consumed in excessive amounts. - Complementary to these measures, they monitor energy use during construction and set targets for reduction of energy use. | Construction | Contractor | Energy consumption records | Quarterly | No additional cost |
| Occupational Health and safety Impacts | - Use skilled personnel for activities which demand skills/technical tasks - Awareness creation/Tool box talks on safety to workers while at construction site - Workers coming to the site should be knowledgeable on safety precautions to take - Appropriate PPE (helmet, safety harness, boots, masks, climbing irons) - Proper general house keeping - Close supervision of workers - Risk assessment by contractor of the construction activities and implement mitigation measures appropriately - Adherence to occupational Safety and Health Act 2007 - Availability of equipped first aid box on site - Provide safe drinking water for workers - Engagement of trained first aider on site - Ensure the WIBA cover is taken for the staff - Establish safety committees | Construction | Contractor | Records of any near misses, incident, and accidents. Records of corrective actions implemented if there was an accident. | Quarterly | 1,000,000.00 |
| Community safety –access | - Proper barricading - Hazard communication. - Controlled access to the site by designated personnel - Maintain records of any person who comes to site | Construction | Contractor | Presence of a controlled access and records of every person accessing the site | Daily | 20,000.00 |
| Public Health Impacts | - Sensitize workers and the community on prevention and mitigation of HIV/AIDS and other sexually transmitted diseases, through staff training, awareness campaigns and community Barazas. - Awareness creation and consultations with local communities prior and during construction on the dangers of these diseases - Informing workers on local cultural values and health matters. - Provision of condoms to workers - Allowing migrant workers time to be with their families - The contractor is impressed upon not to set a construction camp on site. - The contractor will provide public education/information about HIV/AIDS transmission and prevention measures. - Ensure equal treatment of workers - Provide all appropriate COVID-19 preventive measures including campaign to maintain individual measures at the workplace. | Construction | Contractor | Number of awareness creation sessions conducted. -Availability of and distribution of condoms | Quarterly | 20,000.00 |
| Sanitary waste | - Construct/ install pit latrines for both genders clearly labelled | Construction | Contractor | Presence of separate and clean washrooms for both the gents and ladies | Quarterly | 300,000.00 |
| Solid Waste Generation | - Provide waste handling facilities such as labeled waste bins - Emphasis on prudent waste generation and give priority to reduction at source - Solid waste management awareness to operators - Operator to contract a NEMA licensed waste handler to collect and dispose solid waste | Operation | O&M Contractor | Presence of well-maintained receptacles and centralized collection points | Quarterly | 50,000.00 |
| Liquid Waste/Oils Generation | - Proper storage of the oil is required to ensure no leakages - Frequent inspection and maintenance of the generator to minimize leakages. - No vehicles should be serviced or maintained at the Mini-grid area. - The waste oil or used oil must be disposed-off appropriately. - Proper training for the handling and use of fuels for the operators of the Mini-grid. - In the event of accidental leaks, contaminated top soil should be scooped and disposed of appropriately. | Operation | O&M Contractor | -Engine maintenance records -Oil spill containment plan | Quarterly | 200,000.00 |
| Increased oil Consumption | - Efficient energy consumption - Install an energy-efficient lighting system | Operation | O&M Contractor | Energy consumption records | Quarterly | No additional cost |
| Increased storm water flow | - Construct the drainage system in a way to follow natural drain of the water - Concrete only the required area and leave the rest of the land with vegetation like grass - Construct rain water harvesting system on the control buildings/office and harness into storage tanks for use | Operation | O&M Contractor | Provision of a drainage system and a rain water harvesting system | Quarterly inspections | 200,000.00 |
| Fire Outbreaks | - The power plant must contain firefighting equipment (Portable fire extinguishers) of recommended standards and in key strategic points - Detection/alarm systems that can detect fire should be and installed - A fire evacuation plan should be prepared and posted at strategic points and should include procedures to take when a fire is reported. - Workers especially operators of the plant must be trained on fire management - ‘No smoking’ signs shall be posted within the Mini-grid area - A fire Assembly point should be identified and marked | Operation | O&M Contractor | -Provision of serviced fire equipment, evacuation plan and safety signages -Records of fire safety training | Quarterly | 50,000.00 |
| Visual Impacts | - Fence round the solar Mini-grid to keep off/screen the solar panels. | Operation | O&M Contractor | Presence of a perimeter fence | Quarterly inspections | No additional cost |
| Water demand | - Ensure prudent use of water. - Install water-conserving automatic taps. - Any water leaks through damaged pipes and faulty taps should be fixed promptly. | Operation | O&M Contractor | Water usage records | Quarterly | 20,000.00 |
| Sanitary waste | - Provide sanitary waste facilities for both genders clearly marked - Disposal of waste through septic tanks | Operation | O&M Contractor | Presence of separate and clean washrooms for both the gents and ladies | Quarterly | No additional cost |
| Flooding | - Ensure drainage channels are free of any obstruction at all times i.e., not blocked - Construct more channels and or expand existing ones - Raise foundations of the solar panels and ensure a proper and from concrete base - Create flooding diversions and or spill ways to divert water from getting into the solar power facility | Operation | O&M Contractor | -Provision of drainage system -Raised foundations for the structures | Quarterly | 100,000.00 |
| Occupation health and Safety | - Ensure only qualified staff are employed to work in the facility - All workers operating the Mini-grid must be equipped with appropriate and adequate person protective equipment (PPE) such as; safety footwear, helmet among others. - Operators must be skilled on firefighting management - Annual environmental audits should be done - WIBA cover for staff is mandatory | Operation | O&M Contractor | -Provision of PPEs and WIBA cover -Environmental audit reports | Quarterly | 100,000.00 |
| Hazardous waste-damaged panels | - Segregation from other waste streams - Proper disposal through a NEMA approved/licensed handler | Operation | O&M Contractor | Presence of well-maintained receptacles and centralized collection | Quarterly | 200,000.00 |
| Noise and Vibration | - Generator room should be sound proof to ensure no noise of a nuisance level will be produced. - Monitor noise levels | Operation | O&M Contractor | Noise levels-Records of noise measurements done by contractor within the project area and at distances of 30m from the Solar mini-grid | Quarterly | Part of contractor’s cost |
| Shocks and electrocutions | - Inspect the wiring of the houses before connecting power - Safety awareness campaigns to the community before connection of power on safety precautions such as: - Require community to engage a certified technician to do wiring in the premises - Use of quality materials while wiring - Refraining from individual illegal extensions of power lines to other houses - Observing safety measures while using electricity such as not touching sockets and switches with wet hands or wiping with wet cloths - Keeping off all electricity infrastructure e.g., not tying livestock on electric poles, no cutting earth wires that run along some electric poles, not interfering with sockets or switches - Reporting any electric wire/conductors if found fallen on the ground - Report any incident regarding electricity at the local office –staff in charge of operating the Mini-grid | Operation | Contractor, Consumer | -Records of awareness sessions conducted -Incidences report | Quarterly | No additional cost |
| Community Safety- Access to site by general public | - Fencing off the facility to keep of community members, children and livestock from entering into the facility - Controlled access to the site only with prior approval - Maintain records of any person who comes to site | Operation | O &MContractor | Presence of a controlled access and records of every person accessing the site | Daily | Part of contractor’s cost |
| Risks related to poor or inadequate stakeholder engagement (Conflict) | - Employ from the community to the extent possible - Engage the community members and other stakeholders in a timely manner - Work closely with the GRM committee members in solving the conflicts - Solve all conflicts/grievances at the earliest time possible - Ensure all grievances are logged and closed - Monitoring the pattern of grievances to come up will long term measures | Operation | Contractor, Proponent | Grievance records | Quarterly | 20,000.00 |
| Gender Based Violence –SEA and SH | To manage GBV risks, the contractor will prepare a SEA/SH Prevention and Response Action Plan that will include a GRM that ensures confidentiality. The plan will include the necessary measures for prevention and response and must ensure survivor-based approach | Operation | O&M Contractor | -SEA/SH Prevention and Response Action Plan -Grievance records | Quarterly | 20,000.00 |
| Public Health Impacts –HIV/AIDs | - Sensitize workers and the community on prevention and mitigation of HIV/AIDS and other sexually transmitted diseases, through staff awareness and awareness campaigns for the community - Provision of condoms to workers - Allowing migrant workers time to be with their families | Operation | O&M Contractor | Number of awareness creation sessions conducted. -Availability of and distribution of condoms |  | 20,000.00 |
| Public health Impacts -Covid 19 disease | - Social distance must be observed - Provision of hand wash facilities before access - Temperature check and monitoring of the temperature of workers and any other person coming to site - Enforce wearing of masks - Make provision for testing and treating especially of workers - Provision of contact numbers for the nearest health facility for testing and treatment - Adhering to any other measures from the ministry of health which may be issued from time to time | Operation | O&M Contractor | Availability of hand washing facilities Utilization of hand washing facilities Number of Covid-19 cases reported | Quarterly | 30,000.00 |
| Dust Emission | - Trees can be planted around the plant/facility provided they do not cast shadows to the solar panels to act as wind breakers and hence decrease dust pollution - Ensure planting of grass around and within the facility compound | Operation | O&M Contractor | Visual inspection | Quarterly | 50,000.00 |
| Vehicle Exhaust Emissions | - Drivers of the vehicles must be sensitized so that they do not leave vehicles idling so that exhaust emissions are lowered. - Company vehicles should be well maintained | Operation | O&M Contractor | Engine maintenance records | Quarterly | No additional cost |
| Noise and Vibration | - Install portable barriers to shield compressors and other small stationary equipment where necessary. - Use quiet equipment (i.e., equipment designed with noise control elements). - Co-ordinate with relevant agencies in case the noise produced will require a license. - Limit pickup trucks and other small equipment to a minimum idling time and observe a common-sense approach to vehicle use and encourage workers to shut off vehicle engines whenever possible. - Demolish mainly during the day when most of the neighbors are out working. | Decommissioning | Contractor | Noise levels-Records of noise measurements done by contractor within the project area and at distances of 30m from the Solar mini-grid | Once off | 20,000.00 |
| Solid Waste Generation | - Demolition contractor to adhere to the various manufacturer’s guidelines and requirements regarding demolition and disposal - Segregation of waste in order to separate hazardous waste from nonhazardous waste and other streams of waste - Provision of facilities for proper handling and storage of demolition materials to reduce the amount of waste caused by damage or exposure to the elements - Adequate collection and storage of waste on site - Safe transportation to the disposal sites / designated area - Hazardous waste must be disposed by NEMA approved waste handler | Decommissioning | Contractor | Presence of well-maintained receptacles and centralized collection points | Daily | 700,000.00 |
| Dust Emissions | - Cover all trucks hauling soil, sand and other loose materials or require all trucks to maintain at least two feet of freeboard | Decommissioning | Contractor | Visual inspection | Daily | 20,000.00 |
| Public Health- HIV/AIDS | The project will sensitize workers and the surrounding communities on prevention and mitigation of HIV/AIDS and other sexually transmitted diseases, through staff training and awareness campaigns/ to the community. | Decommissioning | Contractor | Records of awareness creation sessions conducted. -Availability of and distribution of condoms | Once off | 20,000.00 |
|  | Total |  |  |  |  | 4,380,000.00 |

NOTE:

- The contractor shall prepare and operationalize the following management plans and approved by the proponent and the World Bank before the contractor mobilizes to the site; Labor Influx Management Plan, Local Recruitment Plan, GBV- SEA/SH Prevention and Response Action Plan, Stakeholder Engagement Plan (SEP), and Grievances Redress Mechanism (GRM).

All the Sub-contractors shall comply to the above requirement (note 1)

- The contractor should report to the supervising Consultant on compliance to the ESMP on a weekly basis or within 12 hours in case of an accident.

- The Supervising Consultant should report to the Kenya Power & Lighting Company PLC on compliance to the ESMP on a monthly basis or within 24 hours in case of an accident.

- All accidents should be reported to the Directorate of Occupational Health and Safety as stipulated in OSHA 2007.

- The Contractor, Kenya Power & Lighting Company PLC and all Sub-contractors shall comply to the requirements of the ESMP and report to DOSH within the stipulated time in case of an accident/fatality, and to NEMA in case of any fuel/oil spill during all the phases of the project.

- The contractor should have a full time Environmental, Social & Safety specialist for the entire period the project will be implemented.

## Institutional Framework and Compliance/Implementation of the ESIA/ESMP

Table 7-2: Institutional framework governing the implementation of the ESMP

| No | Institution | Role/Function |
| --- | --- | --- |
|  | The National Environment Management Authority (NEMA) | NEMA - Approves the ESIA Report; - Issues EIA License for project implementation; and - Carries out independent Audit to determine compliance with ESMP. |
|  | Directorate of Occupational Safety and Health Services (DOSHS) | DOSHS: - Provides OSH permits for workplaces of the project including campsites and quarries; and - Conducts inspections to ensure conformance to OSHA. |
|  | Water Resources Authority (WRA) | WRA - Provides necessary water abstraction permits for boreholes and surface water sources (rivers, streams etc.); and - Monitors water use in the region and provide guidance water use. |
|  | National Land Commission (NLC) | NLC - Verifies the identified land for the purposes of ascertaining land ownership; and - Transfer of land ownership details to the proponent. |
|  | National Gender and Equality Commission | The Commission: - Ensures that there is gender equality and equity throughout the implementation of the project; and - Representatives will monitor and evaluate gender quality and equity with regards to job provision and harassment cases on site to ensure compliance with the law |
|  | County Government of Kilifi | County Governments will: - Provide approval for the project & project site; - Approval of community land consent & verification; and - Provide support. |
|  | Supervision Consultant | Supervising Consultant - Will engage the following dedicated full-time safeguards staff to support risk management: - Supervising Engineer (RE) - Social Safeguards Specialist - Environmental Safeguards Specialist - Review and approval of the ESMPs and other plans; - Day to day supervision of Contractor implementation of the ESMPs and other plans; - Regular reporting on the ESMP implementation; and - Has full time Environmental, Health and Safety and Social Specialists |
|  | Contractor | Contractor - Will engage the following dedicated full-time safeguards staff; - Environmental Safeguards Specialist - Social Safeguards Specialist - Registered Occupational Health and Safety (OHS) Expert - Will Prepare the CESMPs and other plans before commencing construction; - Will Operationalize and implement the CESMPs; - Has full time Environmental, Health and Safety and Social Specialists; - Carries out day to day management of ES, H& S risks; and - Reports on incidents and accidents to the Resident Engineer and regulators. |

## Approach to Environmental and Social Impacts Management

For effective implementation of the ESMP, the contractor, consultant, Kenya Power and the Ministry of Energy have different roles and responsibilities. The contractor will construct and undertake operation and maintenance for the grids for a period of 7-10 years. The Consultant will supervise the contractor and report to KPLC. KPLC will be in charge and run the mini-grids after handover from the contractor and the MoE will be the overall coordinator overseeing the implementation and operation of the mini-grids.

Roles and Responsibilities of KPLC, supervising Consultant and Contractor during project implementation

### Duties of Kenya Power

It will be the duty of KPLC to ensure that all legal requirements as pertaining to the development are met as specified by the law, including World Bank Safeguards and specifically OP4.01 (Environmental Assessment) and OP 4.12.

- KPLC shall hand over the site to the contractor for implementation of the project after the social and environmental mitigation measures that are the responsibility of the proponent has been completed.

- KPLC shall also supervise the works to ensure satisfactory implementation

- KPLC will supervise construction works through a supervision consultant

- Monitoring of the technical aspects will also be done by the KPLC appointed engineer while monitoring of the ESMP will be done by the SHE department on a quarterly basis and reports submitted to the World Bank.

### Roles of supervision Consultant

- The consultant must have an ESHS officer who will be reporting on the ESMP implementation on monthly basis to KPLC.

- The consultant ESHS officer be required to generate various reports including production of minutes of monthly site visits and supervision reports detailing environmental, health, social and safety compliance on monthly basis and report to KPLC.

### Duties of the Contractor

- Implementation of the contractor related aspects of the ESMP and reporting to the Consultant on a weekly basis.

- Maintaining the required level of stakeholder engagement and communication, including providing project schedule information to the public, accepting and resolving public grievances, advertising and hiring local workers.

- Maintain a working grievance redress mechanism.

- The contractor will also prepare and implement site specific Construction, Operation and Decommissioning ESHS management plans. In addition, he will prepare and operationalize the following management plans; Labour Influx Management Plan, Local Recruitment Plan, SEAH Prevention and Response Action Plan, Stakeholder Engagement Plan (SEP), and the Grievances Redress Mechanism (GRM).

- Ensure that the project has children protection champions.

- Prepare and maintain an approved Time and Progress chart, showing clearly the period allowed for each section of the work

- The contractor is to comply with all regulations and by-laws of the local Authority including serving of notices and paying of the fees.

- The contractor shall define the area of the site, which will be occupied by the installations, parking, storage and workers camp if any.

- The contractor shall refer to ESIA recommendation and ESMMP while preparing the monthly ESHS monthly reports.

- The contractor shall provide water required for use in connection with the works and shall provide temporary storage tanks, if required

- The contractor shall make his own arrangements for sanitary conveniences for his workmen.

- Any arrangements so made shall be in conformity with the public health requirements for such facilities and the contractor shall be solely liable for any infringement of the requirements.

- The contractor shall be responsible for all the actions of any subcontractors in the first instance.

- The contractor shall take all possible precautions to prevent nuisance, inconvenience or injury to the neighbouring properties and to the public generally, and shall use proper precaution to ensure the safety of wheeled traffic and pedestrian.

- All work operations which may generate noise, dust, vibrations, or any other discomfort to the workers and/or guest of the client and the neighbours must be undertaken with care, with all necessary safety precautions taken.

- The contractor shall take all effort to muffle the noises from his tools, equipment and workmen to not more than 70dBA.

- The contractor shall upon completion of working, remove and clear away all plant, rubbish and unused materials and shall leave the whole site in a clean and tidy state to the satisfaction of the Proponent. He shall also remove from the site all rubbish and dirt as it is produced to maintain the tidiness of the premises and its immediate environs.

- No shrubs, trees, bushes or underground thicket shall be removed except with the express approval of the Proponent.

- No blasting shall be permitted without the prior approval of the Proponent and the local authorities.

- Excavation pits will only be allowed to be opened up on receipt of permission from the regulator

- The standard of workmanship shall not be inferior to the Kenya Bureau of Standards where existing. No materials for use in the permanent incorporation into the works shall be used for any temporary works or purpose other than that for which it is provided. Similarly, no material for temporary support may be used for permanent incorporation into the works.

- Disposing of the waste generated during construction activities according to the agreement with the local government.

- The contractor on his part will have to appoint ESHS officer to coordinate ESMMP implementation during construction period.

- Reporting on the ESMMP will be done on regular basis and will be captured in the construction site log, periodical E&S reviews with the Engineer

- The contractor EHS officer will report on ESMMP implementation during construction period. The aspect to be reported by the contractor will include safety issues i.e. hours worked, recordable incidents and corresponding Root Cause Analysis (lost time incidents, medical treatment cases), first aid cases, high potential near misses, and remedial and preventive activities required (for example, revised job safety analysis, new or different equipment, skills training etc.); Environmental incidents and near misses; noncompliance incidents with permits and national law; Training on E&S issues (dates, number of trainees, and topics); Details of any security risks; Worker & External stakeholder grievances and E&S inspections and audits by contractor, engineer, or others, including authorities.

Environmental and Social concerns need to be part of the planning and development process and not an afterthought, it is therefore advisable to avoid land use conflicts with the surrounding area. To avoid unnecessary conflicts that retard development in the project area, this ESIA was carried out and endeavours to incorporate environmental and social concerns related to the project. Finally, a comprehensive Environmental and Social Management and Monitoring Plan (ESMMP) is mandatory for a project of this magnitude and nature because large quantities of solid wastes are likely to be generated with temporary interference to the general public and services during project execution.

## ESHS Management Plans during construction phase

The contractor will prepare targeted management plans to deal with specific environmental and social aspects guided by the ESMMP and any other emerging issues on the ground. The following management plans will be prepared and implemented during construction phase of the proposed project:

- Construction management plan

- Rehabilitation and site closure plan

- Local recruitment plan

- Workplace health and safety plan

- Community safety plan

- Emergency management and response plan

- SEA/SH Prevention and Response plan

- Stakeholder Engagement plan

- Labor influx management plan

- Grievance Redress mechanism

### Construction Management Plan

The construction management plan for the proposed project shall include the following:

- Management of Fuels and other Hazardous Materials

- The Contractor shall comply with all applicable laws, regulations, permit and approval conditions and requirements relevant to the storage, use, and proper disposal of hazardous materials.

- Management of the Construction Site

- The contractor shall prevent littering and the random discard of any solid waste on or around the construction site

- The contractor shall manage other solid and liquid waste

- Fire Prevention and Management

- The Contractor shall take all necessary precautions to prevent fires caused either deliberately or accidentally during construction process.

- The Contractor shall prepare a fire prevention and fire emergency plan as a part of the plans to be submitted to KPLC.

- Management of Air Quality

- The Contractor shall institute appropriate measures to minimize or avoid air quality impacts. This can be achieved through formulation of air quality management plan.

- Neighbouring Land Owner and Occupier Relations

- The Contractor shall respect the property and rights of neighbouring landowners and occupiers at all times and shall treat all persons with deliberate courtesy.

- The contractor shall respect any special agreements between the KPLC and the neighbours e.g., the wayleaves agreements signed between Kenya power and landowners will need to be respected by the contractors.

- Complaints Register

The contractor shall establish and maintain a register for periodic review by the KPLC that logs all the complaints raised by the neighbours or the general public about construction activities. The register shall be regularly updated, and records maintained including the name of the complainant, his/her domicile and contact details, the nature of the complaint and any action taken to rectify the problem.

- Construction Control

The construction control for the proposed project shall cover the following:

Control of Access

The contractor shall ensure that the construction site is accessed by authorized persons only and up-to-date records kept

Control of material supply and burrow areas

- The contractor shall, as far as possible, source all material needed to construct the proposed project from the licensed quarries

- In instances where materials are to be obtained from a new burrow area; the contractor shall comply with relevant legislations.

- The contractor shall prepare a method statement including plans, detailing the expected quantity of excavation, temporary and permanent drainage control, the final contouring of the burrow pit and the proposed method of rehabilitation.

### Rehabilitation and Site Closure Plan

- After completion of construction activities, the contractor shall clear the site of construction materials and dispose wastes in appropriate disposal sites.

- The contractor shall remove all temporary works on the construction site and grow grass on areas that are not covered by the installations to control erosion.

### Local Recruitment Plan

The contractor will prepare a local recruitment plan to guide on recruitment of locals. The plan shall pay attention or adhere to Employment Act.

In designing the local recruitment plan contractor shall:

- Comply with the provisions of Employment Act, 2007

- Wherever possible, give priority to qualified local people when hiring employees.

The mitigation measure is:

- Prepare a local recruitment strategy that is fair and transparent to ensure all community segments - men, women, vulnerable individuals, minority clans,  and VMGs who meet OP 4.10 criteria) - can access subproject benefits during construction and that prioritizes hire of locals for skilled, semi-skilled  and unskilled labour.

### Workplace Health and Safety Plan

The workplace health and safety plan to be implemented by the contractor and KPLC shall include the following key measures:

- The contractor shall comply with all relevant legislative requirements governing worker health and safety at the work place (e.g., OSHA 2007 and its subsidiary legislations).

- The contractor shall prepare and implement measures to minimize diseases likely to be contracted by the construction workers as a result of the proposed project such as HIV &AIDs and other communicable diseases

- The contractor shall have obligations of managing the safety of its employees by;

  - Provision of appropriate PPEs to employee

  - Training employees on competence

  - Employing competence and qualified staff

  - Provision of First Aid Kits onsite

  - Should have a trained first aider

  - Document and create awareness on safe work procedures and work instruction

- The contractor will manage accidents by having an emergence response plan which will include contacts for emergency service providers e.g., ambulances, fire brigade and nearest hospitals

- Health and safety performance will be continuously monitored, and procedures reviewed with the aim of eliminating risk as far as reasonably practicable.

### Community Health and Safety Plan

The community health and safety plan to be implemented by the contractor shall include:

- Adherence to OSHA 2007 Act and its subsidiary legislations to ensure that health and safety of immediate neighbours and the public is not threatened.

- The contractor to ensure that construction work is undertaken in manner not likely pose risks to community health and safety.

- The contractor shall undertake an independent risk assessment prior to construction. The findings of this assessment will inform the development of a community safety plan and create awareness to the community on the same.

### Emergency Preparedness Plan

The Contractor shall develop an emergency plan that will enable rapid and effective response to all types of environmental emergencies in accordance with recognized national and international standards.

The emergency plan shall include establishment of a network of communication between the Contractor and emergency services including police, ambulance services, and fire brigades among others.

### SEA/SH Prevention and Response Action Plan

The contractor will prepare a SEA/SH Prevention and Response Action Plan that will include a GRM that ensures confidentiality. The plan should have an Accountability and Response Framework. The plan will include the necessary measures for prevention and response of GBV impacts.

The mitigation measures shall include:

- Ensure that local employment opportunities are equitably accessible to all segments of the community,

- Ensure equal pay for equal work

- Prepare and implement GBV (SEA/SH management) plan that includes sensitisation of community members and subproject workers on the potential of the subproject giving rise to, exacerbating and/or mitigating SEA and SH, and the appropriate mitigation measures

- Map all GBV service providers and document referral services for survivors, and, sensitize community members and subproject workers on the referral pathways.

- Prepare and implementing a functional and accessible contractor GBV GRM for use by workers and community members (as appropriate).

- The GBV GRM should allow for anonymous incident reporting and should be GBV survivor-centric

- Sensitize community members and workers on contractor GRMs

- Prepare and sensitise Code of Conduct (CoC) for SEA and SH, and their responsibilities for the same, to demystify the stigma associated with SEA and SH.

Table 7-3: SEA/SH Prevention and Response Action Plan.

| MEASURE | SPECIFICATIONS | RESPONSIBILITY |
| --- | --- | --- |
| Training in Sexual Harassment and Sexual Exploitation Abuse Identification and Illustrations | - Must be in understandable language to the locals (Kiswahili, English, Local dialects) - Commitment and responsibility by the contractor to ensuring workplace has zero tolerance - Definition of sexual harassment and sexual exploitation and abuse in all its forms with clear illustrations. This must be done in consultation with stakeholders and community so as to identify local contexts of most forms of these acts. - Illustration of grievance procedure - Awareness creation of the policy to all stakeholders (KPLC, Contractor, Workers, Community etc.) - Conspicuously posting an abstract of the Policy in the workplace (workers’ camp, yards etc.) | Contractor Proponent |
| Setting up clear grievance procedure that protects the aggrieved party and ensures confidentiality | - Identification of trained officers, time duration and their responsibilities in handling the case at each stage (reporting stage- psychologist/Human resource, investigating stage- law enforcement/criminologist, disciplinary stage- human resource, manager and law enforcement) - All parties should be interviewed as soon as possible and information documented accurately and completely. - It must ensure protection of complainant and aggrieved from retaliation. - It must offer other channels of communication in the event that the first line supervisor or officer is alleged perpetrator | Contractor |
| Setting up punitive measures | - Punitive measures should be determined consultatively with stakeholders such as law enforcement, human resource, gender officers etc. Such measures vary and include verbal warning, suspension, placement of a record of the offence on personal file and dismissal. - Inclusion of a clause on Gender Based Violence- SEA/SH in the employee contract. - The punitive measures must be communicated to the workers during induction and regularly in the course of the work. | Contractor Community |
| Regular training and awareness creation | - These trainings should be done with trained personnel either in house or through partnerships with local stakeholders such as law enforcers, gender office. - Trainings should aim to clarify behaviour included in SEA/SH and develops skills for coping with it. | Contractor Local Dispensary NGOs/CBOs |
| Review and audit of SEA/SH Prevention and Response Action Plan | - A review of the policy, awareness and training, rehabilitation and support programmes and grievance reporting procedure to see if adequate. The things to look at include but not limited to: - Cases solved - Consultations/ trainings/ inductions conducted on SEA/SH - Cases of retaliatory actions - Community consultations/ awareness creation done and topics discussed - Support offered to community institutions (Chief and Village elders etc.) in regards to SEA/SH - Inclusion of SEA/SH during induction and as a criterion for recruitment where previous known perpetrators should not be hired - Awareness of the staff and locals in regards to SEA/SH reporting procedure | Contractor Proponent |
| Survivor rehabilitation and care | - Provision of material assistance. These include; emergency material support (cooking oil, blankets, mattresses etc.) Dignity kits distribution (sanitary towels, slippers, culturally appropriate clothing etc.) and reintegration packages - Provision of health care to GBV-SEA/SH survivors, this should include all medical assessments and investigations, treatment and other response medical services provided counselling and psychosocial and recreational activities for GBV-SEA/SH survivors. - Provision of legal aid services to survivors to facilitate their access to justice and legal aid services. | Contractor |

### Stakeholder Engagement Plan

A Stakeholder Engagement Plan is a formal approach to communicate with project stakeholders to achieve their support for the project. The plan prepared shall specifies the frequency and type of communications, media, contact persons, and locations of communication events. The SEP is a useful tool for managing communications between the contractor and other stakeholder. The plan should meet the following objective of a SEP.

- To help improve project design and implementation

- To inform third parties about changes that affect them

- To take their views into account in the implementation of projects

- To identify adverse impacts and mechanisms to enhance project benefits

- To identify risks from and to a project

- To increase project ownership and sustainability

- To comply with Bank policies that require consultations

The plan shall put this measure in to consideration:

- In consultation with the identified stakeholders, prepare a stakeholder engagement plan (SEP) that is based on their locations (maps) and their information needs at the various subproject phases

### Labor Influx Management Plan

The purpose of this plan is to provide a clear set of actions and responsibilities for the control of impacts linked to in-migration within the Project’s area of influence. This plan will be regularly reviewed and updated to reflect revised Project design, socio-economic changes and learning experienced during its implementation.

The objectives of this plan are as follows:

- Monitor the scale of project induced in-migration into the project area and specific in-migration ‘hotspots’;

- Support local government and communities to manage both internal and external immigration into the project area; and

- Mitigate and manage any negative impacts and enhance and promote any positive impact related to labour influx.

The plan shall consider these measures:

- Prepare and Implement a Labour Management Plan (LMP) with policies and measures for ensuring that:

- Subproject  managers and workers are sensitised on:

  - County/National Labour laws

  - County/National Child Labour laws

  - National/International Forced Labour laws

- Enforce:

  - The Code of conduct

  - County/National Labour laws

  - County/National Child Labour laws

National/International Forced Labour laws

### Grievance Redress Mechanism

Grievance mechanisms should receive and facilitate resolution of the affected institutional or communities’ concerns and grievances. Community concerns should be addressed promptly using an understandable and transparent process that is culturally appropriate and readily acceptable to all segments of affected communities, at no cost and without retribution. Mechanisms should be appropriate to the scale of impacts and risks presented by a project. Grievances can be an indication of growing stakeholder concerns (real and perceived) and can escalate if not identified and resolved. The management of grievances is therefore a vital component of stakeholder management and an important aspect of risk management for a project. Projects may have a range of potential adverse impacts to people and the environment in general, identifying grievances and ensuring timely resolution is therefore very necessary. As such the project has developed a grievance management process to serve as a guide during project implementation.

#### Grievance Mechanism

One of the key roles of the Grievance Redress Committees, will be to address disputes led by the administrative chiefs. All PAPs will be informed how to register grievances or complaints, including specific concerns about land and environment. The PAPs will be informed about the dispute resolution process, specifically about how the disputes will be resolved in an impartial and timely manner.

The Land Acquisition Tribunal established under the Land Act 2012 (Part VIIIA 133A) has the jurisdiction to hear and determine appeals from the decision of the NLC on the process of compulsory land acquisition of land. However, if a party is dissatisfied by the decision of the tribunal, they may appeal to the Environment and Land Court. The court will deal with land related disputes. However, the Land Act 2012 and Environment and Land Court Act 2011 advocates for Alternative Dispute Resolution (ADR) methods in tackling land related disputes. ADR approaches will be given preference and based on customary rules, arbitration, or third-party mediation. ADR will be promoted or defended as a resolution to disputes related to land. The affected persons and other stakeholders also have a right to access the World Bank Redress Service (GRS) and the World Bank Inspection Panel at no cost.

#### National Grievances Redress Committee (NGRC)

NGRC has been established at the National level to ensure participatory and transparent implementation of the project. The NGRC will help the project carry out its mandate efficiently- particularly ensuring effective and amicable settling of disputes among the communities/PAP’s.

Members to NGRC include representation from the following agencies and entities

- Representative from the Ministry, chair of the Committee

- Representative from NLC to handle matters that involve land take

- Representative of the Implementing Agencies (IA)-KP and REREC

- Representative from the Ministry’s Legal office to guide on Alternative Dispute Resolution methods

- Representative from the County Grievance Redress Committee-depending on the matter at hand; Land or Environment

- Representative from Gender and Social Development Office who will be responsible for ensuring gender issues are well addressed.

- Representative from NEMA to handle environmental issues

- County Surveyor/Physical planner from the county Lands office

- Project Affected Person’s-to represent the matter before the committee

Functions of the National Grievances Redress Committee

- Ensuring effective flow of information between PAPs, the implementing agency and the County Grievance Redress committee on matters brought before the committee

- Co-ordinate County Grievance Redress Committees (CGRC)

- Co-ordinate activities between the various organizations involved; facilitate grievance and conflict resolution at the highest level

- Resolving disputes that may arise within the project. If it is unable to resolve any such problems, the PAP’s can seek legal redress.

#### County Grievance Redress Committees (CGRC)

CGRC has been established at the county level to ensure participatory and transparent implementation of the project. The CGRC will help the project carry out its mandate efficiently- particularly ensuring effective communication with the communities.

Members to CGRC will include representation from the following agencies and entities

- Representative of NLC, to grant legitimacy to the acquisition process and ensure that legal procedures as outlined in Land Act 2012

- Representative of the implementing agency

- Representative of NEMA to handle environmental issues

- The County Administration representative, which will provide the much-needed community mobilization, and support to the sub-project.

- County Land Survey Officer will survey all affected land and produce maps.

- The County Gender and Social Development Officer who will be responsible for ensuring gender programs are adhered to.

- The County Lands Registrar will verify all affected land and validate the same.

- Two PAP representatives from Location Grievance Resettlement Committee – act as voice for the PAPs

- NGOs and CBOs locally active in relevant fields

The CGRC will have the following specific responsibilities:

- Ensuring effective flow of information between PAPs and the implementing agency

- Coordinate Locational Grievance Redress Committees (LGRC)

- Coordinate activities between the various organizations involved; facilitate grievance and conflict resolution; and provide support and assistance to vulnerable groups.

- Conducting extensive public awareness and consultations with the affected people so that they can air their concerns, interests, and grievances.

- Resolving disputes that may arise within the project. If it is unable to resolve any such problems, channel it to the National Grievance Redress committee before utilizing the appropriate formal grievance procedures.

#### Locational Grievance Redress Committee (LGRC)

Since counties are large, further decentralized Grievance Redress Committee will be formed at the location of the sub-project. Subsequently, Locational Grievance Redress Committees (LGRC’s), based at each location of a sub-projects, will be established. The LGRC’s will be constituted by implementing agencies and representatives of CGRCs through consultation with the PAPs and will act as the voice of the PAPs.

The LGRCs will work under guidance and coordination of CGRC and the implementing agencies. Their membership will comprise of the following:

- The locational Chief, who is the Government administrative representative at the locational unit and who deals with community disputes will represent the Government in LGRC

- Assistant Chiefs, who supports the locational Chief and Government in managing local community disputes in village units will form membership of the team.

- Female PAP, elected by women PAPs, will represent women and children related issues regarding the project

- Youth representative, elected by youths, will represent youth related concerns in the LGRCs

- Male representatives elected by the members of the PAPs

- Vulnerable persons representative will deal and represent vulnerable persons issues in the LGRCs.

- CBO representatives

Membership of LGRCs will be elected by each category of PAPs except the locational Chief and assistant chiefs who will be automatic members of the team by virtue of their positions. Each of LGRCs will elect their own chairperson and a secretary among themselves.

The roles of LRCCs will include among others the following:

- Conducting extensive public awareness and consultations with the affected people.

- Help ensure that local concerns raised by PAPs as regards to the project are promptly addressed by relevant authorities.

- Resolve manageable disputes that may arise relating to the project. If it is unable to resolve/help refer such grievances to the CGRCs instituted.

- Ensure that the concerns of vulnerable persons such as the disabled, widowed women, orphaned children affected by the sub project are addressed.

- Assist the community in recording grievances, including helping those who cannot write or read.

- Help the vulnerable groups access project benefits

- Ensure that all the PAPs in their locality are informed about the project

Figure 7-1: KOSAP Grievance Redress Mechanism

It should be noted that if complainants are not satisfied with the grievance process, even after arbitration they have the right to present their complaint through the court system.

It is expected that most disputes will be resolved at the lowest level-Locational Grievance Redress Committee and since most disputes arise during the Construction and operation period the contractor’s Environmental and Social Safeguard team specifically the Community Liaison Officer will work closely with the community to be able to resolve disputes.

Responsibilities of the Community Liaison Officer include:

- Monitor day to day Implementation of the Project

- Address grievances as they arise on the project

- A member of the Locational and County Grievances Redress Management Committee to respond on issues that may have been brought to the attention of the committee before escalating to the National Grievance Redress Committee

      - Escalate grievances internally to get a lasting solution

Existence of a Local Grievance Redress Mechanism in Bombi

Membership of LGRCs will be elected by each category of PAPs except the locational Chief and assistant chiefs who will be automatic members of the team by virtue of their positions. Each of LGRCs will elect their own chairperson and a secretary among themselves. Bombi LGRC comprises of the following members;

Table 7-4: Grievance Redress Committee

| No | Name | DESIGNATION. | 1D No. | Mobile No. |
| --- | --- | --- | --- | --- |
| 1 | Mac Donald Mwaringa Ngoa | Chief |  |  |
| 2 | Thomas Kazungu | Youth | 28530194 | 0701555108 |
| 3 | Chembe Mwaringa Mai | Elder (Giriama Community) | 9113830 | 0790167266 |
| 4 | Galogalo Badiva Galogalo | Waatha Minority group | 3895812 | 0714135369 |
| 5 | Mohamed Dado Abatika | Orma Minority group | 4652324 | 0746941616 |
| 6 | Christine Barisa | Women - (Waatha) Bombi | 29230584 |  |
| 7 | Sahara Galugalo | Women – Orma- Bombi Adole | 35290532 |  |
| 8 | Loise Kazungu | Women - Giriama -Abura | 24509205 |  |
| 9 | Esther Changawe | Women - Giriama -Garse Mke | 25601511 |  |

# IMPACT SUMMARY AND CONCLUSION

## Introduction

This chapter gives a summary of impacts conclusion and recommendations.

## Summary of impacts identified and assessed

### Pre-construction Phase Impacts

A number of impacts have been identified as a result of the pre-construction of the proposed Bombi project. The impacts in this phase will be associated to land acquisition and stakeholder engagements.

The significance of the land acquisition is minor prior to the application of appropriate mitigation measures, while that of stakeholder engagement is of major significance. With the application of appropriate mitigation measures, the significance of all the identified negative impacts associated with this phase will be reduced to minor or negligible.

### Construction Phase Impacts

A number of impacts have been identified as a result of the construction of the proposed Bombi project. Of these, impacts on local economy and employment have been determined to be positive.

The significance of the identified negative impacts associated with the construction phase is moderate prior to the application of appropriate mitigation measures. The significance of two of the identified negative impacts associated with the construction phase, specifically: impacts related to labour and working conditions and visual impacts are minor prior to the application of appropriate mitigation measures. With the application of appropriate mitigation measures, the significance of all the identified negative impacts associated with the construction phase will be reduced to minor or negligible.

### Operational Phase Impacts

A number of impacts have also been identified to be associated with the operational phase of the proposed Bombi solar project. Of these, impacts on Economy and Employment will be positive impacts. Prior to the application of appropriate mitigation measures, none of the identified negative impacts will be of major significance during the operational phase. Four of the negative impacts are of minor significance before the application of appropriate mitigation measures. These include: impacts on water quality; health, safety and security and visual impacts.

With the application of appropriate mitigation measures, the significance of all the identified negative impacts associated with the operational phase will be reduced to minor or negligible.

### Decommissioning Phase Impacts

A number of impacts have been identified as a result of the decommissioning of the proposed Bombi project.

The significance of the identified negative impacts associated with the decommissioning  phase is moderate to minor prior to the application of appropriate mitigation measures. With the application of appropriate mitigation measures, the significance of all the identified negative impacts associated with the decommissioning phase will be reduced to minor or negligible.

## Conclusion AND RECOMMENDATIONS

With all the identified impacts, mitigation will reduce the significance of such impacts to a minor or negligible level. The mitigation measures provided and the management of residual impacts are described in the ESMMP has been described as a vehicle for the continued integrated management of all such impacts.

An Environmental and Social Management and Monitoring Plan (ESMMP) has been prepared to ensure that social and environmental impacts and risks identified during the ESIA process are effectively managed during the construction and operations of the Project. The ESMMP specifies the mitigation and management measures to which the Project Proponent and the Contractor will be committed and shows how the Project will mobilize organizational capacity and resources to implement these measures. The ESMMP also shows how mitigation and management measures will be scheduled and will ensure that the Project complies with the applicable laws and regulations within Kenya, as well as the requirements of WB OPs on environmental and social sustainability.

The Project Proponent and Contractor should accommodate the mitigation measures recommended during the ESIA process to the extent that is practically possible, without compromising the economic viability of the Project or having a lasting impact on the environment.

In summary, based on the findings of this assessment, the consultant finds no reason why the proposed Project, should not be moved to the next stage of Project planning and development, contingent on the mitigations and monitoring for potential environmental and socio-economic impacts as outlined in the ESMMP.

# APPENDICES

| No | Appendix | Item |
| --- | --- | --- |
|  | Appendix 1 | Minutes of proposed Bombi Mini-grid public consultative meeting |
|  | Appendix 2 | Focus Group Discussion with Men (Above 35 years of age) - Bombi, Kilifi County |
|  | Appendix 3 | Focus Group Discussion with the women- Bombi, Kilifi County |
|  | Appendix 4 | Focus Group Discussion with the Youth - Bombi, Kilifi County |
|  | Appendix 5 | Abbreviated Resettlement Action Plan |
|  | Appendix 6 | Minutes for the ESIA consultation |
|  | Appendix 7 | List of attendance for the ESIA consultation |
|  | Appendix 8 | List of attendance for Men FGD |
|  | Appendix 9 | List of attendance for Female FGD |
|  | Appendix 10 | List of attendance for Youth FGD |
|  | Appendix 11 | NEMA Expert License |

# PART I: The meeting leading to land identification and GRC Constitution

### Appendix 1: Minutes of proposed Bombi Mini-grid public consultative meeting

MINUTES OF BOMBI MINI-GRID POWER PROJECT CONSULTATIVE MEETING HELD ON 26/09/2020 AT BOMBI CENTRE

Min: 1 Agenda:

- Preliminaries

- Project design

- Land acquisition consultations

- Positive and Negative impacts of the proposed project /mitigation measures

- Way forward

- A.O.B

MIN 2 Meeting Preliminaries

The meeting started at 11.11am with a word of prayer from an elder, the area chief welcoming the visitors to Bombi village. He then requested Ward administrator Mr. Dominic to do the introduction part to the visitors. He welcomed the team from MoE, KPLC, REREC and Kilifi county government in a special way, he further welcomed the community members present for attending the developmental meeting in the community. He further emphasized the importance of having electricity in their community since it will improve their standards. The ward Admin thanked the visitors for finding time to come and share with the community details about the project, its economic benefits, electricity connection procedures and land requirements. He said the community was open to any project that was meant to uplift their livelihoods and their way of life stressing that the area was under developed. For many years the community had been yearning for electricity and pointed out that it was by the grace of God that this was about to be realised. The Ward Admin   then invited the County Renewable Energy Officer (Mr. Abel) to address the community and then introduce the visiting team from the county government of Kilifi to address the Baraza.

The area Member of County Assembly (MCA) Stanley welcomed members to the meeting and urged the community to grab the opportunity and get connected. He stressed on the need for land acquisition, survey to be done by both county and PIU surveyor, need for the community engagement and partnership for the project implementation, he also talked urged the Kenya Power & Lighting Company PLC to start preparing and implement the project without delays because the community yearned to be connected to electricity supply.

Min 3. Introduction of the Project Implementation Unit Team (PIU)

Simon Mwangangi thanked all community members present and invited Eng. Isaac Kiva (Secretary for Renewable Energy, MoE) to address the baraza and introduce team members from MoE, KPLC and REREC.

Eng. Kiva briefed the community on KOSAP, the benefits of the project, and why the government was undertaking the project. In his address, he reiterated that the project would be implemented with funding from the World Bank and that in order to make connection affordable, the connection cost would be one (1) thousand Kenya shillings per household. He further explained the need for the community to cooperate and facilitate land acquisition for construction of the Solar mini-grid project. He also mentioned the partnership between the county government and national government to develop each sector of the economy and the vision to increase electrification as one of the government priorities. He thanked members present for their overwhelming turn up and then invited Eng. Zadock to give a brief of the project details.

MIN. 4 Project Design

Eng. Zadock from KPLC explained to the meeting that the government of Kenya through vision 2030 was planning to have every household connected with power, and since Bombi village was many kilometres from the National Electricity grid,  the government had come up with this project called Kenya Off Grid Solar Access Project (KOSAP) that is meant to connect electricity to Kenyans in the marginalized  areas.

He went further to explain to the members present that the proposed mini-grid solar project would consist of Solar panels and a standby diesel generator and targets to serve 315 residential households and 7 non- residential users through a proposed   Low Voltage (LV) network of approximately 10.16 kilometres in length. He told them that connection of power will involve passing of electrical lines along the road reserves in order to reach their houses, business premises and public facilities and the route for passing the lines is called way leave. He noted that once the designs are done, the community will be notified of the exact routes during future consultations and that they will be required to give way leave consents.

The County Business Manager – Kilifi (Dr. Mahanga) addressed the occasion and mentioned that he was the KPLC manager in-charge of Kilifi county and he had started this journey from project conception, to implementation and seen customers get connected to supply and thereafter progressing the journey through the Operation phase of the project. He explained that each household would be connected to power and the connection cost had been reduced from the current rate of KES 15,000.00 to 1,000.00. He also explained that power is not all about switching but usage. The wiring should be done by a qualified person. He also mentioned that maintenance of the power lines and the mini-grid power station would be done by KPLC and all payments should be done to KPLC office in Kilifi or through m-pesa number that would be provided and customers should ensure all payments are directed to KPLC and official receipts or reference generated.

MIN 5 Land acquisition process

The Surveyor, Mr Joseph Korir told the Baraza that the land required for the construction of the Mini grid was a minimum of 2 acres. He said that the main purpose of the Baraza was to seek community consent for land acquisition for the project. He revealed that there are three land ownership categories in Kenya which are Community land, Private land and Public land. The Surveyor informed the meeting of the various forms of acquiring interest in land which include; allocation, land adjudication process, compulsory acquisition, settlement programs, transfers, donation and long-term leases. He noted that the government of Kenya had secured a loan from its development partners i.e., World Bank to implement the KOSAP project. He went on to explain that the national government together with the implementing agencies and the county government have to follow the law in acquiring land for the proposed mini-grid. He explained to the community that they have rights and entitlements regarding to their land and that the community has the freedom/right to decide on land acquisition to the proposed project.

He went on and explained the criteria to be followed for the land acquisition process which includes;

- The impacts on the land acquired should be minor and should not require physical relocation of individuals, households, institutions or business entities

- The land to be acquired must be identified by the community and technical officers can help ensure that the land is appropriate for the project purpose and that the project will produce no health or environmental safety hazards

- The land in question should be free of squatters, encroachers or other claims and encumbrances

- Witnessed statements should be obtained from the people the land is been acquired. Further, the representatives of the community have to sign land acquisition forms (KOSAP) project to show commitment to land acquisition by the community

- If any loss of income or physical displacement is envisaged, verification of voluntary acceptance of community devised mitigatory measures must be obtained from those expected to be adversely affected. In this project we ask you to avoid acquiring land that will adversely affect community members

- KOSAP project proposes to have the land acquired to be registered under one of the implementing agencies of the project i.e., KPLC or REREC but be assured that public access to services is guaranteed. The proposed project solar Mini-grid to be set on the acquired land is set to provide direct services (electricity) to the community members

- It will be vital to have a grievance redress mechanism to guide resolution of grievances related to the project.

Survey of the land

The surveyor (Korir) explained to the community that he would pick the exact GPS points of the agreed portion proposed for the solar Mini-grid which will be later be physically demarcated, and the exact measurements meant known to the community members following the laid down procedures by law.

Community rights and entitlements

The surveyor explained to the community the various options that they were entitled to in terms of land acquisition for the proposed mini-grid.

The first option was that the community could donate the land freely without any expectations from the Kenya Power & Lighting Company PLC.

The second option was acquiring land compulsorily and the community gets compensation either in monetary terms or in kind. If compensation is done in terms of cash, the compensation monies would be held on their behalf in an escrow account by the County, and the monies plus accrued interest released to them upon registration. The other option of compensation explained to the community was that the community can also be compensated in kind. The community can request for compensation in kind by requiring the Kenya Power & Lighting Company PLC to do a community project such as a well, or classrooms to be built or any other item that will benefit the community. Another option would be compensation of land for land. The community may request the Government to buy a similar piece of land for the community to compensate for land acquired for the mini grid. He informed the meeting that they are at liberty to deliberate on the options given.

With the remarks made he once again thanked the community for supporting the project. He further noted that the proposed project will benefit the community and requested for more community support and ownership of the project.

MIN 6: Positive impacts of the proposed project

The Team Environmental and Social Expert Simon Mwangangi once again thanked members for their corporation and reminded them to listen carefully to the input of all the team members. He reminded members to ensure that they write their names and sign the attendance list that was in circulation.

He further explained that, every project has both positive impacts and negative impacts. He explained the positive impacts of the project as follows:

Up Scaling Electricity Access to the off-grid areas

With the construction and operation of the mini-grid, the community will have access to modern energy solutions, get access to electricity tapped from green energy sources (Solar) and be able to enjoy the benefits of electricity. This will also be a business boost to Kenya Power as the number of customers will increase.

Improved source of lighting

Currently majority of Bombi residents use kerosene lamps and small solar systems that support one bulb for lighting their homes. The setting up of the mini-grid power station will provide opportunities to access modern, clean and reliable energy to the residents.

Benefits in the education sector

Access to electricity at the household level and schools will create opportunities for children to study for longer hours. Additionally, children in households can also access education programs being aired through different radio and T.V. channels. Bombi primary school will take advantage of the electricity and enhance information technology and communication in its teaching especially with the government laptop project for schools.

Increase of Business opportunities

With the implementation of K-OSAP in the off-grid areas, and availability of power businessmen can scale up their businesses while making it is possible to set up businesses such as salons, barber shops, photocopying machines, cyber cafes, welding, refrigeration of drinks, chicken incubators, sharp cutters for improved livestock industry among others.

Employment and wealth creation

During construction and operation of the project, employment opportunities will be available to the locals.  The employment opportunities will be in line with skills available in this area and basically unskilled job will be available to the people. Some of the work will involve high technical skills which might not be available in this community and such jobs will be done by non-local people. Most of the unskilled jobs will be available during the construction period and they will be temporary jobs.

Local Material Supplies and other requirements

Another positive impact of the project involves supplying local materials that may be available locally. In addition, people working in the site will source for services like food, drinking water, accommodation, fuel among others from the local shops.

Dissemination of information on HIV/AIDS prevention and mitigation

Community members will access HIV/AIDS awareness messages through use of radios and TV. Additionally, awareness on HIV/AIDS will be implemented by contractor through community awareness campaigns and staff inductions.

Health benefits of the project

Solar energy for lighting is better than kerosene lamps that are currently in use. This is because kerosene lamps emit particles that cause air pollution. The health risks posed by this indoor air pollution mainly include acute lower respiratory infections. Additionally, insufficient illumination (low light) conditions can cause some degree of eye strain and reading in these conditions over long periods of time may have the potential to increase the development of near sightedness in children and adults. The KOSAP project will result in many families replacing kerosene lamps for lighting with electricity there-by reducing chances of disease incidences.

Improved standard of living

Electricity will promote lifestyle changes through use of small household appliances to make life easier. Examples include iron boxes, fridges, television sets, electric kettle, radios, air conditioning systems, fruit blenders among others.

Improved Security

Improved lighting through security flood lights and a 24-hour economy will deter crimes and also reduction of gender-based violence. The availability of ready power to charge mobile phones enhancing communication and promotion of use of CCTVs will help further in improving security.

Access to information and improved Communications

Access to electricity will lead to improved communication and information exchange. This will be enabled through sustainable charging of mobile phones, increased access to mass media like radio and T.V which will provide an opportunity for the households to access a wide range of information which is useful for decision making.

Gender Considerations

Access to electricity will benefit women in different ways. The benefits of the project will occur because women tend to spend more time at home, are responsible for household chores that can be carried out more productively with electricity, and because certain tasks are culturally defined as women ‘s work. Majority of the PAPs will use the electricity mainly for lighting and powering low energy gadget such as TV, radio, phone charging, refrigeration and to some extent ironing and cooking. Electricity will replace use of candles and kerosene lamps, thereby reducing indoor air pollution, fire, burn risk and providing higher quality light. Women and girls will benefit more by avoiding the risk of air pollution from kerosene lamps because they spend more time in the kitchen. Lighting and television and radio use will improve access to information especially on health and nutrition, the ability to study after household chores can also benefit the women and girls if they take advantage of them. The project will also enhance security in the rural areas as most homes will be lit up, a benefit that is more appreciated by women. Using electricity for ironing, boiling water and cooking will save women and girls the man-hours lost in fetching firewood. Electricity will also be used in pumping water from community boreholes and shallow wells where mostly women draw water manually hence saving them energy and reducing the risk of falling or capsizing in wells.

MIN 8: Negative impacts of the proposed project and possible mitigation measures

Simon explained to the members the negative impacts and their associated mitigation measures as follows:

Table 0-1;  Negative impacts and possible mitigation measures associated with the proposed power mini-grid project

| Environmental/Social Impact | Mitigation measures |
| --- | --- |
| Site acquisition and change of use from rural pasture land to a mini-grid power project | - The Ministry of Energy shall acquire land for the development of the mini-grid project, wayleaves and contractor facilities in the pre-construction phase. - The project implementers would apply for Change of use and seek all necessary approvals from the County government, National Construction Authority, NEMA and all other interested stakeholders. |
| Vegetation clearance and disturbance at and around the construction site | The project implementers would: - Ensure proper demarcation and delineation of the project area to be cleared - Specify locations and parking for vehicles and equipment. - Design and implement an appropriate landscaping program to rehabilitate the area after construction - Route the power lines along road reserves - Clear only necessary vegetation, where possible trim tree branches - Alternate use of road reserve giving preference to the side with least vegetation in settling on the fine route of the feeders - Leave cleared vegetation for use by the tree owners |
| Pressure on local water resources | - The project implementers would make arrangements for water supply that are independent from the public utility in order to avoid exerting additional pressure on such services - The yield loss due to dust build-up on the PV modules would be monitored to ensure that no surplus cleaning cycles are undertaken |
| Solid waste generation | The project implementers would: - Use an integrated solid waste management system through the hierarchy of 1. Reduction at source 2. Re-use 3. Re-cycle - Procure only necessary material through accurate estimations and timely procurement - Use durable, long-lasting materials that will not need to be replaced as often therefore reducing amount of waste generated over time - Provide proper facilities for holding and storing materials to reduce exposure and damage by elements of weather - Use building materials with no or minimal packaging to reduce packaging waste - Contract NEMA registered waste handlers to dispose obsolete waste - Ensure that metallic waste would be sold to local dealers for recycling |
| Demand for Raw materials, extraction site impacts and transportation of materials to site | The project implementers would: - Source building materials from local suppliers - Source raw materials from NEMA licensed sites - Ensure accurate budgeting and estimation of construction materials to ensure that only necessary materials are ordered - Ensure that damage or loss of materials at the site is kept minimal through proper storage - Use recycled, refurbished or salvaged materials to reduce amount of wastes taken to dumpsites where possible. |
| Oil spills, soil/water contamination | The project implementers would: - Exercise care not to spill or pour any fossil fuels during refilling of equipment - Ensure no maintenance or repair of vehicles or equipment on site - Maintain vehicles and equipment in a good state of repair and service to avoid any leaks - Ensure that any storm water from the minigrid site would pass through an oil water separator - Factor that all stored hazardous materials would have a safety material data sheet - In case of any spillage the contractor would seal the source and scoop any contaminated soil and dispose it as per NEMA regulations then rehabilitate the site. - Storage areas for fuel and hazardous materials would be roofed and have a concrete floor with a bundwall for secondary containment and collection of spills - Ensure that all storage areas and major construction sites shall have spill kits, sand, dust, and other appropriate absorbent materials - Hazardous waste, including broken PV panels, would be disposed of in accordance with best industry practice and in compliance with the applicable regulations in Kenya at the time of disposal |
| Increased storm run-off and Soil erosion | The implementers would: - Apply soil erosion prevention measures by levelling site to reduce runoff speed and increase water in filtration. - Plan site excavation works to ensure only necessary sites are excavated and excavated soil is used for backfilling or taken to NEMA approved dumpsites |
| Noise and excessive vibrations | The project implementer would ensure that: - The Contractor adheres to NEMA Noise and Excessive Vibration Regulations of 2009. - No raving of vehicle engines or unnecessary hooting - All vehicles and machinery are switched off when not in use - Contractor maintains vehicles and machinery in a good state of repair/service - Generators and other heavy equipment are enclosed and have noise reductions systems installed - Contractor progresses construction during the day - Workers to use of appropriate PPE during operation - Provision of protective devices like earmuffs/earplugs to workers, who are exposed to high levels of noise during hole digging in rocky area - Construction will be restricted to daytime between 0700 and 1700hrs. |
| Risk of fire | The project implementer would ensure that: - No burning of litter/cleared vegetation on site - Avoid open fires on site - Maintain equipment in a good state of repair to avoid sparks which could be a potential source of fire - Provide appropriate firefighting equipment and have trained fire marshals |
| Increased traffic flow | The project implementer would ensure that: - Vehicle is fit for purpose, inspected and confirmed to be in safe working order. - System for annual inspection and control of all vehicles is in place. Tag or similar identification of last annual inspection dated to be fitted on individual vehicle. - Number of passengers does not exceed manufacturer’s specification for the vehicle. - Loads are secure and do not exceed manufacturer’s design specification or legal limits of the vehicle - Safety belts are installed and worn by all occupants |
| Air Pollution and Dust emissions | The project implementer would ensure that: - Water is sprinkled to minimize dust generation - Speed limits are observed - Use of appropriate PPEs-dust masks is enforced - Operators and drivers switch off vehicle engines when not on motion - Drivers avoid unnecessary idling of vehicles and machines - Use of alternatively fuelled equipment where feasible is done - Maintain vehicles and equipment in a good state of service - Fuel and lubricants to be of standardized quality and sourced from approved suppliers |
| Visual impact | The project implementer would ensure that: - Trees are planted to surround the mini grid power site. - Natural/earth colours for the buildings is used |
| Employment and business opportunities | The project implementer would ensure that: - Contractor gives priority to local residents for labour they qualify for - Contractor considers one third gender rule requirement of the National government in employment. |
| Community health and safety risks | The project implementer would: - Conduct public health campaigns addressing issues of behaviour change, water and sanitation, HIV/AIDS - Disseminate traffic management plans and other public safety information through campaigns in schools and communities - Ensure traffic on community roads should be restricted to low speeds to avoid exposing other road users to accidents and unnecessary air pollution triggered by dust from moving vehicles |
| Security risks | The project implementer would: - Support local security systems to strengthen community policing and crime-handling measures - Ensure that the conduct of security personnel complies with good international practice |
| Occupational health and safety risks | The project implementer would enforce the contractor to: - Include best practice in health and safety provisions and ensure strict compliance with national legislation and World Bank EHS guidelines - Ensure that work schedules are organized in shifts that protect workers from long-term exposure to extreme temperatures - Provide workers with safe drinking water and dedicated sanitary facilities at all work sites and camp facilities - Adopt sound human resource policies compliant with international standards - Prevent Gender Based Violence (Sexual Exploitation and Abuse and Work place Sexual Harassment) and child labour in the workplace - Establish a grievance redress mechanism for workers - Equip the mini-grid project with a fire-fighting system - Ensure that strict adherence and compliance with Occupational health and safety standards both national and World banks EHS guidelines |
| Gender Based Violence (GBV), Sexual Exploitation and Abuse (SEA) and workplace sexual harassment | - Project implementer and Contractor to create awareness to community and let members know their rights and that they are free to report any issues of GBV and SEA to persons and offices of their choice based on survivor centred approach. - In the awareness sessions, community members to be educated on the sensitivity of GBV, SEA/SH and therefore the uttermost need to ensure confidential reporting and responding to any cases reported. - Contractor to have code of conduct for the workers and be made aware that he will be responsible for his workers misconduct. - Projector implementer and contractor to operationalize GBV management action plan, including mitigation, response and a GRM |
| Child labour | - Kenyan labour laws should be adhered to - No one will be employed on site without the national Identification card or valid passport - Children below the age of 18 years will not be allowed to work in the proposed project site |
| Cultural property and chance find | - In case of chance find; contractor to inform local GRC, KPLC, REREC, MOEP and national museums of Kenya - Contractor to respect community culture and there should be no interference with cultural property including sacred sites, graves etc. |
| Labour issues | - Labour management shall comply with the national labour and employment law - Compliance with legal requirements includes payment of no less than the relevant minimum wage, adherence to working hour/week restrictions, and ensuring proper treatment in regard to availability of water and food. - The contractor shall hire local labourers and ensure that local workforce content is as high as possible - The contractor shall maintain accurate records in relation to each worker’s employment covering issues such as payment of wages and social security, and working hours. |

MIN. 7 Grievance Resolution Mechanism (GRM)

Simon informed the Baraza on the need for constitution of a locational Grievance Resolution Committee (GRC) for purposes of resolving any grievances that may arise in the lifetime of the project as guided by project frameworks. The local GRC will be the first stop shop for resolution of project related disputes and grievances for project affected persons and interested parties. The GRM should be culturally appropriate, inclusive, accessible and developed in consultation with Bombi community. Grievances which cannot be resolved by the local GRC shall be escalated to the sub-county GRC and the National GRC respectively. Any unresolved matter can then be referred for arbitration or to a court of law. World Bank’s GRS is also available to stakeholders to lodge their grievances. The GRC should constitute representation from all genders, youth and vulnerable persons. It should be structured in such a way that it provides multiple channels for lodging grievances, ensure anonymity and confidentiality. The following details shall be recorded for each grievance reported; and a close-out form issued to indicate the grievance registered has been closed.

- Date of complaint

- Name of complainant

- ID of complainant

- Telephone contact of complainant

- Nature of complaint

- Name of the Person handling the complaint

- Contacts of person addressing the complaint

- Action taken

- Date of conclusion of complaint

Simon reminded members that they would break into separate Focus Group Discussion for Men, Women and Youth and each group would  elect representative(s) to the GRC. The following members were elected to be part of the GRC.

Table 0-2: Representatives of the Grievance Redress Committee

| No | Name | DESIGNATION. | 1D No. | Mobile No. |
| --- | --- | --- | --- | --- |
| 1 | Mac Donald Mwaringa Ngoa | Chief |  |  |
| 2 | Thomas Kazungu | Youth | 28530194 | 0701555108 |
| 3 |  | Pwd |  | - |
| 4 | Chembe Mwaringa Mai | Elder (Giriama Community) | 9113830 | 0790167266 |
| 5 | Galogalo Badiva Galogalo | Waatha Minority group | 3895812 | 0714135369 |
| 6 | Mohamed Dado Abatika | Orma Minority group | 4652324 | 0746941616 |
| 7 | Christine Barisa | Women - (Waatha) Bombi | Giriama | 29230584 |
| 8 | Sahara Galugalo | Women – Orma- Bombi Adole |  | 35290532 |
| 9 | Loise Kazungu | Women - Giriama -Abura |  | 24509205 |
| 10 | Esther Changawe | Women - Giriama -Garse Mke |  | 25601511 |

MIN. 8: Plenary Session

Members present were given an opportunity to comment and seek clarifications and the deliberations are as minutes below.

Table 0-3: Plenary Session

| QUESTION/COMMENTS | ANSWER/REMARKS |
| --- | --- |
| Safari Mwaringa (Elder) Appreciated the team for the visit and benefits of power and asserted that the community needs power. The people are from different areas, What’s the distance of distribution line? | Zadock The radius for distribution is 3km from the generation point and in case an area is not covered it will be covered under another project. Abel There are standalone projects that will supplement in case one is not covered within the radius of distribution. |
| Abasttono Godhana (Elder) How will be employment done (skilled and unskilled) | Irene The first priority will be given to the community and for skills they qualify for. |
| Stepherson Badiua (Youth) The allocated land is 6 acres and ways of acquisition have also been explained. For example, sale of land, kind and compensation and land transfer. What if the project does not take off, how will the community benefit from it yet land has already been set aside? | Eng. Kiva The project will not fail since the budget has already been allocated. |
| Hosen Galana irrigation scheme is ongoing and payment of workers are paid after 3months or not paid, will this project be like that and if that’s the case let it be cancelled. | Eng. Kiva The payment will be done and in time. If there may arise any issues, the community was urged to make use of GRM for the project. |
| Robert The community is divided by a river, will the other side of the community be connected, and will compensation be done to those affected? | Zadock Compensation will not be done and we don’t envisage any permanent structure to be affected and minimal risks will be anticipated. Minimum requirement for the transmission across the river will be looked into by the design engineer and the project will benefit as many customers as feasible. |

Pictures showing community participation

Way Forward

Members present welcomed the project and requested that it be implemented the soonest possible so that their problems of staying without electrical power gets sorted once and for all.

MINUTE 9: A.O.B

The GRC members elected were requested by the Environmental & Social Screening team to sign land acquisition form on behalf of the community.

MINUTE 10: Closure of meeting

There being no other business, the Chairperson thanked all the attendants for turning up and their contributions.  Members agreed to keep in touch and clarify on any necessary information as regards the intended projects. The meeting ended with a closing prayer at 13:20 p.m.

### Appendix 2: Focus Group Discussion with Men (Above 35 years of age) - Bombi, Kilifi County

A focus group discussion was held with men above 35 years of age. This categorization was based on the assumption that these men would be heads of families and with a deeper understanding of the community set up, roles, entitlements and a foundation of Knowledge helpful to the project team in understanding the community better. The main objective of this discussion was to assess whether men had understood the proposed project and its requirements and to provide an opportunity for them to air their issues/give their opinions on the project.

Simon Mwangangi from KPLC explained the importance of holding a separate discussion with them so that they would have an opportunity to freely express themselves and inform the Project team how they would wish to be involved in the project. Simon reminded the men that as the heads of families, they played a crucial role in ensuring the project was a success or a failure. He explained the essence of the environmental and social screening of the proposed site was to check for its suitability in terms of environmental, technical, social and health requirements.  The second objective was to undertake community engagement to sensitize the community on the project. The third objective was to explain the land requirements for the project and the need for a project grievance redress mechanism. Simon went further and summarized the project by explaining its positive and negative impacts and their mitigation measures and the requirements for acquiring land. He also explained the need for the men to elect a representative to the project committee who would represent their views/issues to the committee for redress and further action to ensure that the interests and needs of men were factored through-out all the phases of the project.

The men were further explained of their role and responsibility in terms of land acquisition for the project and the need to keep off the project land when construction and operation of the project began.

The men were allowed to ask questions, give suggestions and or seek clarifications.

Table 0-4:  Question, Suggestions, feedback and response for Focus Group Discussion with Men - Bombi

| Name of Person making the contribution (e.g. comment or question) | Question, Comment, Suggestion | Feedback/Responses by project team |
| --- | --- | --- |
| Kazungu Nyale Baraka | Electricity is a new thing to us and we are grateful. We need to be educated and sensitized further on safe use of electricity | Simon reminded members present on the safety precautions and safe use of electricity he had discussed in the general meeting. He further assured the community that through the County Business Manager, more forums and sensitization workshops would be organized to educate the public before they got connected to electricity. |
| Galgallo Godana | Before the minigrid project is implemented we need an agreement on how we will benefit from the project | Simon emphasized that the solar mini-grid would be for the benefit of the community through affordable access to clean energy. He reminded the community that the benefits are multi-faceted ranging from employed, supplies of materials, clean energy for lighting, iron, cooling & refrigeration among others but these would all be based on an individual’s interests and efforts and the only agreement that would be expected is a contractual agreement form between the customer and the power distributor/retailer. |
| Safari | We are concerned whether the contractor will consider us for jobs and we need a committee to oversee recruitments | Simon reminded the members present of the need to elect their representatives who will represent them and follow-up on any grievances. The representatives will be part of the Land acquisition signatories, part of the Grievance Redress Committee and also serve in the Project Implementation Committee articulating men’s’ issues. |
| Mohamed Ado | Will our houses be safe considering we have iron roofed houses, others Makuti thatched and others grass. | Simon informed members present that they should engage qualified technicians to do wiring for their premises and be issued with wiring certificates. If all electrical safety procedures and considerations are followed, it will be safe to connect all houses. Further sensitization on safe use of electricity would be progressed in future organized from the County Business Managers office in liaison with KPLC SHE Department. |
| John Bandifa | Initially we knew the project will connect customers up to 15 Kilometres, now you talk of 3 KMs, what will happen to the rest. | Simon Clarified that the 3 Kilometre radius would be from the Solar minigrid and so by Diameter it could cover up to 9 Kilometres. He went further to clarify that depending on power demand and settlement patterns, it would later require some technical studies to determine if additional distribution lines would serve those beyond the 3 Kilometre radius or there would be need to take Stand-alone solar systems to customers far away from the mini-grid. In phases customers would get connected towards achieving the governments’ agenda of universal access to electricity by the year 2030. |
| Moses Wangila | The government will get funding from World Bank, is it in phases? | It is true the government is getting support from the World Bank and the funding is one off to do a mini grid and reticulation of electricity and secondly where customers will not be connected from the solar mini grid, another phase of standalone power panels to individual households, institutions or public amenities will follow. |

Men Representative for the Locational GRM Committee

| Name | Tribe | ID No | Cell No. |
| --- | --- | --- | --- |
| Galogalalo Badiva Galogalo | Watha | 3895812 | 0714135369 |
| Mohamed Dado Abatika | Orma | 4652324 | 0746941616 |
| Chembe Mwaringa Mae | Giriama | 9113830 | 0790167266 |

### Appendix 3: Focus Group Discussion with the women- Bombi, Kilifi County

A focus group discussion was held with women. The main objective of this discussion was to assess whether the women had understood the project and its requirements and to provide an opportunity for them to air their issues/give their opinions on the project.

Dorothy (MOEP) explained to the women that it was important to hold a separate discussion with them so that they have an opportunity to freely express themselves. She explained the agenda of the visit by the officers from the National and County government was to undertake an environmental and social screening of the proposed site to check for its suitability in terms of environmental, technical, social and health requirements.  The second objective was to undertake community engagement to sensitize the community on the project. The third objective was to explain the land requirements for the project and the need for a project grievance redress mechanism. Dorothy then gave a summary of the project in terms of its positive and negative impacts and their mitigation measures and the requirements for acquiring land. She also explained the need for the women to select a representative to the project committee who would represent their views/issues to the committee for redress.

The discussion went further to bring out issues on how the women can take advantage of the project benefits rather than taking a back seat. She then explained to them that women would benefit more from the electricity because they are the ones who are more exposed to unclean energy as they spend more time in the kitchen. They would also benefit from access to information through use of radios and TVs that are powered by electricity enabling them to make informed choices on different issues. They were also set to benefit if they could set up small businesses such as salons, cold drink kiosks, selling frozen blocks to fishermen for fish storage; either individually or in Merry-go round groups in order to uplift their socio-economic status. Children will have time to study and enhanced security due to the fact that the area will be well lit among other benefits.

The women were allowed time to ask questions, give suggestions and or seek clarifications.

Table 0-5: Question, Suggestions, feedback and response for Focus Group Discussion with women - Bombi

| Name of Person making the contribution (e.g. comment or question) | Question, Comment, Suggestion | Feedback/Responses by project team | Response by agency on how feedback will be used or acted upon |
| --- | --- | --- | --- |
| Mapenzi Kenga Kache Kahindi | -How do we handle issues of supervisors demanding for sexual favours in return for job offers? -How will you handle issues of Rape in the event that a case has been brought to your attention/GRM committee | -Report to the committee which will escalate the matter to the project management for investigation and further necessary actions against the perpetrator -Report to the police for investigations to be conducted and legal actions against the perpetrator to be taken -Referrals of the survivor to centres known to support their recovery journey and offer Socio-physio support while working closely with the County Government’s Social and Gender Department | Contractors to be advised against SEA among members of the communities. This will be part of the code of conduct that contractors sign and abide to -It should be noted that issues of GBV/SEA/SH should take a survivor centred approach. The Individuals/Guardian will make the decision on where to report a GBV case. All GBV-SEA/SH Mitigation and response measures including GRM should take into consideration, the sensitivity of GBV and the need to ensure confidential reporting and responding to GBV cases reported. |

Women Representative for the Locational GRM Committee

| Name | Village | Tribe | ID No | Cell No. |
| --- | --- | --- | --- | --- |
| Christine Barisa | Bombi | Giriama (Waata) | 29230584 | 0726860469 |
| Sahara Galugalo | Bombi Adole | Orma | 35290532 | 0798 766 400 |
| Loise Kazungu | Abura | Giriama | 24509205 | 0717611543 |
| Esther Changawe | Garse Mke | Giriama | 25601511 | 0742257750 |

### Appendix 4: Focus Group Discussion with the Youth - Bombi, Kilifi County

The youth were particularly excited about oncoming mini grid as they anticipated employment opportunities that would accrue during project implementation phase as well as opportunities to establish income generating business ventures upon completion (economic empowerment). They also wanted to know whether the project had a component for training of local youth on electrical installation. The following are few comments that were given by the youth.

Japhet - 	appreciation for the good work the government had done for selecting Bombi village as one of the PAPs of the mini-grid power project. He requested that the youths to be considered in those employment that does not need education, for example hole digging and watchman. Payment requirement like KRA/NSSF/NHIF in case needed, let the youths be informed in prior to allow them acquire them

Thomas – 	security of the youths to be considered in the employment, politics not to be part of the implementation, tender of the available material to be given to the youths by the contractor.

Erick- 	Let the wage bill be consider and use of current rate apply since live as also changed. Survey of payment to be done before it occur

The youths then deliberated on the appointment of one of them to be part of the GRM committee and Thomas Kazungu was selected by the youths.

| Focus group discussion for the Youths. |  |
| --- | --- |

### Appendix 5: Abbreviated Resettlement Action Plan  (A-RAP)

      - Bombi Sub-project Site

The Bombi sub-project site is on unregistered community land that has been surveyed and held in trust by the County Government of Kilifi on behalf of the community, in line with the Community Land Act 2016. The land on which the proposed Bombi minigrid will be constructed covers a total of 2.3714 hectares. Consultations leading to the identification and selection of the sub-project site are captured in the Environmental and Social Screening report for Bombi. Refer to Chapter 4 of the ESIA for the comprehensive socio-economic profile.

      - Actual Census Survey of PAPs and Valuation of Affected Assets

The number of project-affected persons (PAPs) is 315. The land acquisition-related impacts are loss of land and pasture. Mitigation measures include in-kind compensation and designing power distribution lines to avoid impacting trees, crops, structures, and community facilities. No physical displacement is anticipated, however, there is minimal loss of pastures occasioned by the acquisition of land utilized by the community for grazing. The land identified for the sub-project will be acquired compulsorily by the National Land Commission (NLC). The proposed site will be valued and compensated in line with the provisions of the Resettlement Policy Framework (RPF) prepared under KOSAP. Refer to section 2.2 of the ESIA for the sketch map of the site.

      - Compensation Measures Agreed with the PAPs and other Resettlement Assistance to be Provided

The proponent requested the community to identify three priority projects, whereby one out of the three would be provided as in-kind compensation for loss of land and pasture. In Bombi, the community requested the following projects in the order of priority: Water project since the available water is very salty; desalinators to desalinate the borehole water or water reticulation from River Galana to the village; Maternity wing in PCEA Bombi dispensary and construction of a nursery school and lower classes at Habura.

The value of the priority community project will be proportional to or higher than the value of land under acquisition. In addition, loss or damage to crops, trees, structures, and community facilities will be compensated in line with the provisions of the RPF, and as summarized in the entitlement matrix below.

3.1 Entitlement Matrix

| Types of Impact | Person(s) Affected/Eligible for Compensation | Compensation/Entitlement/Benefits | Responsible organization |
| --- | --- | --- | --- |
| - Loss of Land |  |  |  |
| Loss of unregistered community land. | Community. | Compensation in-kind as prioritized by the community. | KPLC |
| Loss of land in unregistered group ranches. | Group ranch members. | Compensation in-kind as prioritized by the community. |  |
| Loss of land in registered group ranches. | Group ranch members. | Compensation in-kind as prioritized by the community. |  |
| Loss of land owned by the National Police, county governments and the Ministry of Interior | Government agencies. | No compensation for public land allocated to another government body. |  |
| Loss of land owned by the Kenya Forest Service (KFS) and Kenya Wildlife Service (KWS). | Government agencies. | No compensation for public land allocated to another government body. However, payment of conservation fees to KWS and KFS as stipulated under their respective regulations is foreseen. |  |
| - Loss of Use on Land |  |  |  |
| Loss of use on public land (e.g., grazing, farming etc.). | Communities utilizing public land. | Communities do not own public land; however, they utilize public land with consent from the relevant agencies. The project will implement the infrastructure project prioritized by the community as compensation for the loss of public land use. | KPLC |
| Loss of use on unregistered community land, unregistered group ranches and registered group ranches ( e.g., grazing, farming etc.). | Communities utilizing unregistered community land, unregistered group ranches, and registered group ranches. | Compensation in-kind as prioritized by the community. |  |
| - Loss of /Damage to Assets on Land |  |  |  |
| Trees | Community members on unregistered community land; community members utilizing public land; members of registered and unregistered group ranches and government entities. | During detailed design for power distribution lines and construction of the mini grid and community project, any crops, structures, trees, and community facilities shall be avoided to the extent possible. However, loss or damage to the above will be compensated/restored at full replacement cost, in line with the provisions of the RPF. | KPLC |
| Crops |  |  |  |
| Structures |  |  |  |
| Community facilities e.g., water sources (earth pans, boreholes etc.). | Community members on unregistered community land, community members utilizing public land, and members of registered and unregistered group ranches. |  |  |

- Consultations with PAPs About Acceptable Compensation Options and Alternatives that have been Considered

Detailed consultations with PAPs on land acquisition and compensation, including the modalities of acquiring land and compensation options, were undertaken during the Environmental and Social Screening, Environmental and Social Impact Assessment, and the NLC land valuation process. The following sections provide a summary of the consultations.

4.1 Engagement of Project -Affected Persons (PAPs)

Local administration and County Renewable Energy Officers (CREOs) supported the proponent and implementing agency (IA) to mobilize community members and other stakeholders for public consultations and engagement activities. National and county government entities, community segments (men, women, youth, elders, persons with disability, vulnerable and marginalized groups, etc.), NGOs, and local leaders were engaged through key informant interviews, community meetings, and focus-group discussions. The proponent and IA implemented appropriate measures to ensure PAPs effectively participated in the consultations. Refer to Chapter 5 of the ESIA on public consultation and engagement.

Once the compensation award and Bill of Quantities (BoQs) are known, the Implementing Agency (IA) will engage the community and agree on the community project to be executed as in-kind compensation. During these consultations, the IA and the community will define the roles and responsibilities of the community in monitoring the implementation of in-kind compensation and maintenance once the IA hands it over to the community. Thus, the IA and the community will effect an agreement to be signed by the local leadership; representatives of the Grievance Redress Committees at the locational, county, and national levels; A-RAP Implementation Committee, and Implementing Agencies.

4.2 Identification of Community Representatives

The Bombi Locational Grievance Redress Committee (LGRC) constituting a chairperson, secretary, and three members, was formed through community consensus. The committee comprises representation from men, women, youth, persons with disabilities, and ethnic minorities. The LGRC is responsible for engaging PAPs and resolving complaints. Refer to chapter 6 of the ESIA on the Grievance Redress Committees.

Further, the community will constitute the A-RAP Implementation Committee responsible for coordinating community engagements on the A-RAP and monitoring the implementation and closure of the A-RAP. The representation of the committee will consider gender, vulnerability, and intergenerational sensitivities.

4.3 Summary of Consultations on Land Acquisition and Compensation Options

| Date | Objective | Implementing Entities | Land Acquisition and Compensation Aspects Discussed | Key issues raised. | Response given |
| --- | --- | --- | --- | --- | --- |
| 28th September 2020 | Environmental and Social Screening. Voluntary land donation (VLD). Constitution of the Locational Grievance Redress Committee (GRC). | Ministry of Energy (MoE) Kenya Power (KPLC) Rural Electrification and Renewable Energy | Site identification and land allocation for the sub-project. Criteria for VLD. Community entitlements (forms of compensation and implications for each). | None | None |
| 28th September 2021 | Environmental and Social Impact Assessment. | Consultants MoE KPLC REREC | Land acquisition through compulsory acquisition (not voluntary land donation). Selection of three priority community projects, whereby one is to be implemented as in-kind compensation for land. | the community requested the following projects in the order of priority: Water project since the available water is very salty; desalinators to desalinate the borehole water or water reticulation from River Galana to the village; Maternity wing in PCEA Bombi dispensary and construction of a nursery school and lower classes at Habura. | The proponent has set aside KES 1 million to implement the priority in-kind compensation project. The value of the project will be proportional to or greater than the value of land. NLC will determine the value of land. |
| May 2023 | Compulsory Land Acquisition. | NLC | Site inspection and inquiries. Land valuation. Award of compensation. |  |  |

- Institutional Responsibility for Implementation of the ARAP

| Entity | Role |
| --- | --- |
| Ministry of Energy | - Coordinate A-RAP implementation and provide budget for in-kind compensation. |
| National Land Commission | - Implement the statutory process for compulsorily land acquisition, including site gazettement and inspections, inquiries, valuation, and award of compensation. |
| Kenya Power | - Monitor all land acquisition and compensation aspects (including A-RAP closure), complemented by a third-party monitor. - Provide budgets for stakeholder engagement, grievance management, and monitoring, including the facilitation of the Land Acquisition and Compensation Implementation Committee, and the Grievance Redress Committee. |
| Mini-grid Contractor | - Implement in-kind compensation concurrently with the solar mini-grid project. |
| Supervising Consultant | - Monitor and report on implementation of in-kind compensation, and overall project compliance with social safeguards. |
| Grievance Redress Committees | - Formed at the locational, county, and national levels, and responsible for resolving complaints, including A-RAP related grievances. |
| A-RAP Implementation Committee | - Coordinate A-RAP engagements at the community level, monitoring A-RAP implementation and closure. |
| Affected Community | - Responsible for the operation and maintenance (O&M) of in-kind compensation project. An agreement stipulating the O&M roles and responsibilities of the community will be effected. |

- Procedures for Grievance Redress

The Project procedures for grievance redress were established through a public consultation process and informed by the existing conflict resolution structures in the community. The Grievance Redress Mechanism (GRM) comprises tiers at the project, county, and national levels. Refer to Chapter 6 of the ESIA for a detailed GRM.

- Implementation Timetable and Budget for the ARAP Implementation

7.1 Timelines

The proponent will commission the community project by May 25th, 2025, before operationalizing the mini-grid. The mini-grid contractor will implement the mini-grid and the community project simultaneously. The Supervision Consultant and IAs will implement a commitment register to ensure the mini-grid contractor can achieve the agreed-upon milestones. The register will be complete with clear and practical timebound indicators, which can be monitored by all parties – the PAPs, IAs, the Ministry, third-party monitor, and the Bank.

7.2 Budget

The proponent has set aside KES 1 million for the community project (budget captured in the ESMP). The compensation award from NLC and the Bill of Quantities will inform the final cost of the community project. The costs for in-kind compensation, stakeholder engagement, grievance management (including the facilitation of the GRCs and the A-RAP Implementation Committee), and monitoring are covered under the project.

## PART II: Minutes and List of attendance for the meetings during the ESIA

### Appendix 6: Minutes for the ESIA consultation

| MINUTES OF EIA CONSULTATION FOR THE PROPOSED KENYA OFF-GRID SOLAR MINI-GRID PROJECT HELD AT BOMBI, KILIFI COUNTY |  |
| --- | --- |
| Date: 28TH SEPTEMBER 2021 Venue: BOMBI DISPENSARY | Time: 1015hrs |

PRESENT List of the members present is appended herein

AGENDA - Introduction - Opening Remarks - Remarks by the consultant - Concerns/Issues from participants - Responses to the issues raised - Acceptance/rejection of the proposed project - Adjournment

| Item No | Description |  | Action by |
| --- | --- | --- | --- |
| Min 1/21 | Introduction |  |  |
| 1.1 1.2 1.3 | The meeting was opened with a word of prayer from Suleiman Jefferson Guyo, a CBO representative welcomed the consultants to the area and explained the low attendance was due to the presence of elephants along the road hence human-wildlife conflict Stephen Maramba the area assistant chief Kisiki Sub location thanked the locals for attending the meeting and stated that he was hopeful that the project will begin soon. | Suleiman Jefferson Guyo Assistant chief |  |
| Min 2/21 | Opening Remarks |  |  |
| 2.1 2.2 | Habel thanked the residents for attending the meeting. He explained that the project started in 2017 and was in 14 underserved counties. He explained that there was going to be a compensatory project for the community land that had been given for the project. The project would come from either of 3 sectors which are health, education and water and the compensatory money will be proportional to the value of the land taken and informed by the NLC valuation criterion. Jefferson explained the compensatory project further and stated the existing borehole water was very salty and around 25 filters had been bought but the borehole still needed a machine to pump water. | Habel Mwarabu-CREO Jefferson Guyo |  |
| Min 3/21 | Remarks by the consultant |  |  |
| 3.1 3.2 3.3 3.4 | Lavina introduced herself and fellow consultants from Norken International and Centric Africa and representatives from Ministry of Energy and Petroleum and Kenya Power. She explained the ESIA process and public participation which was a requirement by the constitution of Kenya. She explained the baseline data was to be collected by Daniel Chumo to be incorporated in the report. Henry explained the benefits of the project to the locals which include reliable electricity, enhanced local ownership of infrastructure, employment opportunities, enhanced utilization of green energy among others. He explained some of the anticipated environmental and social impacts which include environmental exposure to hazardous and toxic materials, occupational health and safety risks, impact on air quality, impact on local biodiversity, child labour, labour influx among others and their mitigation measures. Mark explained that the compensatory project should be decided before the end of the meeting and it should only be one project. The project should be from three admissible; health, water and education. Pius explained that there will be direct jobs and indirect jobs such as cooking for the workers. He also explained that there would be no compensation of cut trees or if the power poles pass in your land. He also explained that the wiring will be on one’s own bill and the connection fee will be 1000 Kenya Shillings and the electricity bill will be paid using tokens. | Lavina Omondi Henry Karanja Mark Oyier-MOEP Pius Nyaga- Kenya Power |  |
| Min 4/21 | Concerns / Issues from participants |  |  |
| 4.1 4.2 4.3 4.4 4.5 4.6 4.7 4.8 4.9 | Loise welcomed the project to the area. She suggested that the compensatory project be to build classes 1,2,3 at Habura Nursery School since the women have to leave their duties to take the children to school due to the risk of elephants. Festus asked what will be the job qualifications to work in the project. In the village no one knows about electricity. Is it possible to train the locals on electricity so they can benefit from the project? She further inquired what will be the agreement on payment. Buracho welcomed the project. He asked how the contractor and the world bank will benefit from the project. He also asked how the people to work on the project will be employed to avoid tribalism. He finally asked if the ‘no smoking house’ which is a cultural house if the electricity will also be connected in the houses. Thomas asked if the locals can pay the installation fee in instalments since the fee is high. He also enquired if the project will employ locals Stephen asked if the project is not implemented will the land allocated will go back to the initial owner, the government or the contractor. He also asked what will the distance coverage of the power to be produced, will it get to other villages. He finally asked if the compensatory money will be released in phases or a one-time fee, if the money will be in phases, it might delay the project. Joseph asked how will the people benefit from the project and if they have to pay for the connection or it is free Samuel asked if the compensatory project will come after the KOSAP project or they will run concurrently Karembo suggested a maternity ward for the compensatory project Jefferson requested that the trading centre be installed with street lights. | Loise Kazungu- Women Representative Festus Mwaringa Buracho Thomas Kazungu Stephen Mramba- Assistant Chief Joseph Mwaringa Samuel Kambi-MCA REP Karembo Zia Jefferson Guyo |  |
| Min 5/21 | Responses to concerns/issues raised |  |  |
| 5.1 5.2 5.3 | The compensatory project will be implemented concurrently with the KOSAP project. The compensatory project will be implemented by the same contractor. The project should either be an existing health facility, existing education facility or an existing water project. The project will be implemented and the operation and maintenance will be done by Kenya Power The project initially will have unskilled jobs however as the project continues to the operation stage only skilled people will be required. If skilled people lack within the community they will be sourced from outside. The grievance redress committee will also handle any grievances in case the contractor does not employ the locals. For the street lights installation, the MCA should visit the county energy offices and request. The distance coverage for the power will be within a 1.5km radius from the mini grid. The world bank cannot bring a project that will affect the residents, they want all the residents to benefit. On the issues of jobs, the contractor should give the chief the contract to choose the workers so as to avoid tribalism. The ‘no smoking house’ can now be installed with power as long as the cables are insulated. The connection fee is 1000 Kenya Shillings but the wiring is to be done on the PAPs’ bill. The payment rates and agreement will depend on the Bombi wage rates. The residents should also take care of the minigrid and use the right wires for connection. | Mark Oyier-MOEP Habel Mwarabu- CREO Pius Nyaga- Kenya Power |  |
| Min 6/21 | Acceptance/Rejection of the project |  |  |
| 6.1 | All the members present accepted and welcomed the project. | All |  |
| Min 7/21 | Adjournment |  |  |
| 7.1 | The meeting was adjourned at 1306hrs and the members proceeded to focus group discussions. |  |  |
| Minutes Prepared by: NGUGI SHARON WATIRI. Associate ESIA expert. ….. Date…28/09/2021…………….. |  |  |  |

### Appendix 7: List of attendance for the ESIA consultation

### Appendix 8: List of attendance for Men FGD

### Appendix 9: List of attendance for Female FGD

### Appendix 10: List of attendance for Youth FGD

### Appendix 11: NEMA Expert License

A cost basis that will yield compensation sufficient to replace assets, plus necessary transaction costs associated with asset replacement).