Ministry of Energy

Figure 2. Location of the proposed site Ministry of Energy

Figure 2. Location of the proposed site Figure 2. Location of the proposed site Ministry of Energy

Environmental & Social Impact Assessment,

Comprehensive Project Report (CPR)

KENYA OFF-GRID SOLAR ACCESS PROJECT (KOSAP) FOR UNDERSERVED COUNTIES

THE PROPOSED GARSE GOFTU OFF-GRID SOLAR PROJECT

IN

WAJIR WEST SUBCOUNTY, WAJIR COUNTY

GPS Coordinates 1.8137,39.1642

| P. O. Box 9882 - 00100 Nairobi, Kenya Tel. 254 020 2248762 Registration No. of Firm of Experts: 0181 | P.O. Box 102081-00101 Nairobi, Kenya Tel. +254718068517 Registration No. of Firm of Experts: 7112 |
| --- | --- |

2023

# CERTIFICATION

This Comprehensive Project Report (CPR) has been prepared by firm of experts, Centric Africa and Norken International. The report has been written with diligence in accordance with the World Bank Operational Procedures OP, Environmental Safeguards Standards (ESS), the EMCA 1999 (Amended, 2015) and the Environmental and Social Impact Assessment and Audit Regulations, 2003 to bring out the true nature of the intended development. The report was prepared based on the information provided by various stakeholders and village elders at in Wajir County as well as from primary and secondary sources. It is therefore, issued without any prejudice.

We the undersigned, certify that the particulars in this CPR are correct to the best of our knowledge.

ESIA/EA FIRM OF EXPERTS:

Isaiah Kegora

NEMA Expert (Reg. No. 1893).

For Norken (I) Ltd & Centric Africa Ltd

Signature:  ________________________      Date: ______________________

PROPONENT:

Mr. Rodney I. Sultani

Project Coordinator, KOSAP

Ministry of Energy and Petroleum,

P.O. Box 30582-00100,

Kawi House, Nairobi, Kenya

Signed: ____________________________ 	Date: _____________________

-------------------------------------------------------------------------------------------------------

Disclaimer:

This ESIA report is strictly confidential to KPLC (the Proponent) and any use of the materials thereof should strictly be in accordance with the agreement between the Proponent and the consultants; Norken International Limited and Centric Africa Limited (the Environmental Impact Assessor). It is, however, subject to conditions in the Environmental (Impact Assessment and Audit) Regulations, 2003 under the Kenya Gazette Supplement No. 56 of 13th June 2003.

# LIST OF ACRONYMS

| CBO | Community Based Organization |
| --- | --- |
| CDI | County Development Index |
| CGRC | County Grievance Redress Committees |
| CoC | Code of Conduct. |
| Covid 19, | Coronus Virus Diseases 2019 |
| CPR | Comprehensive Project Report |
| CPS | Country Partnerships Strategy |
| CRA | Commission on Revenue Allocation |
| DOSHS | Directorate of Occupational Safety and Health Services |
| ECD | Early Childhood Development |
| EHS | Environmental and Health Standards |
| EMCA | Environment Management Coordination Act |
| EPRA | Energy and Petroleum Regulatory Authority |
| EPT: | Energy and Petroleum Tribunal |
| ESI | Electricity Supply Industry |
| ESIA | Environmental and Social Impact Assessment |
| ESM | Environmental and Social Management |
| ESMP | Environmental and Social Management Plan |
| FGD | Focus Group Discussions |
| GBV | Gender Based Violence |
| GDC | Geothermal Development Company |
| HIV/STD | Human Immune Deficiency syndromes/Sexually transmitted diseases |
| IA | Impact Assessment |
| KETRACO: | The Kenya Electricity Transmission Company |
| KII | Key Informant Interview |
| KOSAP | Kenya Off-Grid Solar Access Project |
| KPLC | Kenya Power and Lighting Company |
| LEP | Labor & Employment Plan |
| LGRC | Locational Grievance Redress Committees |
| MoE | Ministry of Energy |
| NEMA | National Environmental management Authority |
| NGOs | Non-Government organizations |
| NGRC | National Grievances Redress Committee |
| NLC | National Lands commission |
| OP | Operation procedures |
| OP/BP | Operational Procedures/bank policy |
| PLWDs | People living with disabilities |
| REREC | Rural Electrification and Renewable Energy Corporation |
| SA | Social Assessment |
| SEA/SH | Sexually Exploitation Activity/Sexual Harassment |
| TSC | Teachers Service Commission |
| VMGs | Vulnerable and Marginalized Groups |
| WB | World Bank’s |

# TABLE OF CONTENTS

CERTIFICATION	ii

LIST OF ACRONYMS	iv

TABLE OF CONTENTS	v

LIST OF TABLES	xii

LIST OF PLATES	xiii

EXECUTIVE SUMMARY	xiv

Table 0.1: Summary of Pre-construction Impacts	xix

Table 0.2: Summary of Construction Phase Impacts	xix

Table 0.3: Summary of Operation Phase Impacts	xx

Table 0.4: Summary of Decommissioning Impacts	xxi

INTRODUCTION AND PROJECT BRIEF	1

1.1	Project Background	1

1.2	KOSAP Objective:	1

1.3	Mini-grids for Community Facilities, Enterprises, and Households	1

1.4	Project Justification	2

1.5	Institutional and Implementation Arrangements	2

1.6	Environmental and Social Impact Assessment (ESIA) Report	2

1.6.1	Justification for the ESIA	2

1.6.2	Objectives of the Study	3

1.6.3	Scope of the ESIA study	3

1.6.4	Terms of Reference (ToR) for the ESIA Process	3

1.7	ESIA Approach and Methodology	4

1.7.1	Key activities undertaken during the study included the following:	4

1.7.2	Desk study/literature review	5

1.7.3	Environmental, Socio-economic and Cultural Setting/Status	5

1.7.4	Public Consultations	5

1.7.5	Sampling	8

1.8	ESIA Procedure	9

1.9	Target Group for the ESIA Report	10

1.10	Study Team	10

1.1	Study Team	10

Table 1.1. List of teams of experts.	10

1.11	Assumptions	10

1.12	Uncertainties in Compiling Information	11

2	DESCRIPTION OF PROPOSED DEVELOPMENT PROJECT	34

2.2 Introduction	34

2.1	Architecture and Basic Design Specifications	34

2.2	Project Location	34

2.3	Project site setting	36

2.3.1	Key Components of the Project	37

2.3.2	The PV Generator	37

2.3.3	Powerhouse	38

2.3.4	Multi-mode Inverter	38

2.3.5	Battery	38

2.3.6	Diesel Genset	39

2.3.7	Distribution Line and Energy Meters	40

2.4	Site Ownership	40

2.5	Access to the Site	40

2.6	Fencing and Security	40

2.7	Fire Safety	40

2.8	Vegetation Undergrowth	41

2.9	Project Activities	41

2.9.1	Project cost	41

2.10	Construction Procedures	41

2.10.1	Construction Activities Outline	41

2.10.2	Operation Phase Activities	43

2.10.3	Project’s Decommissioning Activities	43

2.11	Construction Materials, Equipment and services	44

2.11.1	Input Materials and Equipment & Machinery	44

2.11.2	Use of Services and Resources	44

2.12	Products, By-Products and Waste	45

2.12.1	Construction Phase	45

2.12.2	Operation Phase	46

2.12.3	Decommissioning Phase	47

2.12.4	Safety of the Facility	48

3	ANALYSIS OF PROJECT ALTERNATIVES	50

3.1 Consideration of Project Alternatives	50

3.2	Factors considered while selecting the site for the proposed project	50

3.3	Relocation Option	50

3.4	Zero or No Project Alternative	51

3.5	Alternative Sources of Energy	51

3.5.1	Thermal Power Generation	51

3.5.2	Hydro Electric Power – HEP	52

3.5.3	Other Sources of Energy:	52

3.6	Analysis of Alternative Construction Materials and Technology	52

3.7	Solid Waste Management Alternatives	52

3.8	Alternative Solar Mini-grid Site	53

4 ANALYSIS BASELINE INFORMATION	56

4.1	Study Area	56

3.2	Environment Baseline	56

3.2.1	Geology and Soil	56

3.2.2	Topography	56

3.2.3	Hydrogeology and Drainage	56

3.2.4	Ground Water Development	56

3.3	Ecological Conditions	56

3.4	Climatic Conditions	57

3.5	Socio-economic Environment	57

3.5.1	Demographic Profile	57

3.5.2	Educational Infrastructure	58

3.5.3	Occupation and Livelihood Profile	58

3.5.4	Land Use	58

3.5.5	Health facilities	59

3.5.6	Social and Physical Infrastructure	59

4	RELEVANT LEGISLATIVE AND REGULATORY FRAMEWORK	30

5.1	Introduction	30

5.2	Environmental Policy Framework	30

5.3	Institutional, Regulatory and Legal Framework	30

5.4	Relevant Statutes	32

Table 5.1: National Laws and Policies	33

5.5	World Bank Environment and Social Safeguards Policies	49

Table 5.2: WB Environmental and social safeguards Policies	49

5.6	Environmental and Social Management Framework (ESMF) for KOSAP	51

5.7	Resettlement Policy Framework (RPF) for KOSAP	51

5.8	Vulnerable and marginalized Groups Framework (VMGF) for KOSAP	52

5.9	Comparison between the World Bank and Kenyan Laws to this Project	52

Table 5.3: Comparison between the WB safeguard policies and the Kenya Legislation	52

5.10	Licenses and Permits Required	54

5	STAKEHOLDER ENGAGEMENT	57

5.1	Stakeholder Consultation and Disclosure Requirement for the Project	57

5.2	Stakeholder Characterization and Identification	57

5.3	The Consultative Public Participation (CPP) and Community Engagement for Qarse Goftu Solar Mini Grid	58

5.3.1	Area Chief’s Remarks	59

5.3.2	Consultant’s Remarks	59

5.3.3	Focused Group Discussions	59

5.3.4	Female Stakeholders’ Consultation and Participation	60

5.3.5	Male Stakeholders’ Consultation and Participation	62

5.3.6	Health Stakeholders’ Consultation and Participation	65

6	IDENTIFICATION AND ASSESSMENT OF POTENTIAL IMPACTS AND PROPOSED MITIGATION MEASURES	68

6.1	Introduction	68

6.2	Impact Assessment Methodology	68

6.3	Defining Impact	68

6.4	Assessment of Significance	68

Table 6.1: Categories of Significance	69

Table 6.2: Categories of Significance	70

6.5	Magnitude of Impact	70

6.6	Sensitivity of Resources and Receptors	71

6.7	Likelihood	71

Table 6.3: Explanation of Terms Used for Likelihood of Occurrence	71

6.8	Definition of mitigation measures	71

6.9	Assessing residual impacts	72

6.10	Positive impacts of the Project	72

6.10.1	Improvement of local economy	72

6.10.2	Creation of job opportunities	72

6.10.3	Reduction of carbon footprint	72

6.10.4	Vision 2030	73

6.10.5	Income generation	73

6.10.6	Ready market for supply of goods and services	73

6.10.7	Access to renewable energy source	73

6.11	Key Environmental Impacts – Construction phase	73

6.11.1	Visual Intrusions and Changes in Landscape Impact	73

6.11.2	Change in Land Use	74

6.11.3	Impact on Topography	75

6.11.4	Impact on Soil Environment	75

6.11.5	Impacts on Waste Generation	76

6.11.6	Impact on Air Quality	77

6.11.7	Impact on Ambient Noise	77

6.12	Key Social Impacts – Construction Phase	78

6.12.1	Reduction of Land-holding income	78

6.12.2	Impact on Occupational Health and Safety	79

6.12.3	Community Health and Safety	80

6.12.4	Labour Influx	81

6.12.5	Child labour	82

6.12.6	Impacts on Cultural Heritage	82

6.12.7	Gender Based Violence, SEA & SH	84

6.12.8	Exclusion of VMGs, Vulnerable Individuals and Households	84

6.12.9	Risk of Communicable Diseases; HIV/AIDS	85

6.12.10	COVID-19 amongst workers and the community	86

6.13	Key Environmental Impacts – Operation phase	86

6.13.1	Impact on Soil Environment	86

6.13.2	Waste Generation and Soil Contamination	87

6.13.3	Impact on Water Environment	88

6.13.4	Impact on Noise and Air Quality	89

6.13.5	Landscape and Visual Impacts	89

6.14	Key Ecological Impact- Operation Phase	90

6.14.1	Collision and Electrical hazards from Transmission Infrastructure	90

6.15	Key environmental impacts – Decommissioning Phase	90

6.16	Key Social Impacts – Decommissioning Phase	90

6.16.1	Impact on Economy and Employment	90

6.17	Cumulative Impacts	91

6.17.1	Cumulative Impact Assessment	91

7	ENVIRONMENTAL AND SOCIAL MANAGEMENT AND MONITORING PLAN(ESMMP)	92

7.1 Introduction	92

7.2	Monitoring	92

7.3	Plan Monitoring	93

7.4	Environmental and Social Monitoring by Contractors	93

7.5	Management Plan during Construction Phase	128

7.5.1	Construction Management Plan	128

7.5.2	Rehabilitation and Site Closure Plan	129

7.5.3	Local Recruitment Plan	129

7.5.4	Workplace Health and Safety Plan	130

7.5.5	Community Health and Safety Plan	130

7.5.6	Emergency Preparedness Plan	130

7.5.7	SEA/SH Prevention and Response Action Plan	131

7.5.8	Stakeholder Engagement Plan	131

7.5.9	Labor Influx Management Plan	132

7.5.10	Grievance Redress Mechanism	132

7.5.11 Labor Influx Management Plan	138

7.6	Rehabilitation and Decommissioning Management Plan	139

7.6.1	Planning for Closure	139

7.6.2	Decommissioning	139

7.6.3	Post Closure	139

7.7	Institutional Implementation Arrangements for the Proposed Project	140

7.7.1	Proponent -Ministry of Energy (MoE)	140

7.7.2	KOSAP Project Implementation Unit	140

7.7.3	The Implementing Agency (KP)	140

7.7.4	County Government of Wajir	140

7.7.5	National Environmental Management Authority	141

7.7.6	Roles and Responsibilities of the Supervising Consultant	141

7.7.7	Roles and Responsibilities of the Contractor	141

8	CONCLUSION AND RECOMMENDATION	143

7.1  Conclusions	143

8.2	Recommendations	144

REFERENCES	146

Appendix 1 Public Participation Minutes-ESIA	147

Appendix 2 Attendance List - ESIA	153

Appendix 3 Public Participation Minutes -	161

Appendix 4 Attendance list - Land aquistision meeting	168

Appendix 5 Abbreviated Resettlement Action Plan (A-RAP)	179

Appendix 6 Environmental and Social Screening Checklists	185

Appendix 7 Lead Expert’s License	188

# LIST OF TABLES

Table 10: Demographic profile of Qarse Goftu location	57

Table 5.1: National Laws and Policies	33

Table 11: Identified Stakeholders	58

Table 12:  Consultative Meeting Representation	60

Table 7-1 ESMMP-ENVIRONMENTAL IMPACTS	95

Table 7-2 – ESMMP SOCIAL IMPACTS	110

# LIST OF PLATES

Plate 1: Rock Type in the Project Area	56

Plate 2: Vegetation species	57

Plate 3: Part of Qarse Goftu Primary School	57

Plate 4: Dispensary Storage	58

Plate 5: Site of Public Baraza	59

Plate 6: FDG Men	63

Plate 7: Public participation “Baraza” Session	67

# EXECUTIVE SUMMARY

E1- Introduction and Project Brief

The Ministry of Energy (MOE) hereinafter refer to as proponent is implementing the Kenya Off-Grid Solar Access Project (KOSAP) in 14 underserved counties in Kenya. The aim of the project is to provide clean and modern energy services through off-grid solar solutions. The Proponent is coordinating the implementation of the project through the implementing agencies; Kenya Power (KP) and the Rural Electrification and Renewable Emergency Corporation (REREC). The project is funded by the World Bank Group with $150 million and a $5 million grant from the Carbon Initiative for Development. The goal of the project is to bring electricity to around 250,000 households, 476 community facilities, and 380 boreholes in the target counties, benefiting low-income groups. It also includes the sale and installation of 150,000 efficient cook stoves. The project focuses on marginalized areas based on the County Development Index (CDI) and aims to address infrastructure deficits, lack of access to roads, electricity, water, and social services in these underserved counties. To ensure sustainability, the project relies on public funding, local community participation, and the institutional capacity of KP, REREC, and the MOE.

The KOSAP consists of four main components. The first component focuses on the implementation of Mini Off-Grids to provide electricity to community facilities, enterprises, and households in areas where Mini Off-Grids are the most cost-effective option. The second component aims to electrify households through standalone solar systems in areas without load clusters where standalone systems are the best technical and financial solution. The third component supports the electrification of public institutions and community facilities using standalone solar systems. It also includes the installation of solar PV-powered water pumps for consumptive purposes. Lastly, the fourth component, provides funding for implementation support, technical assistance, and capacity building activities to ensure the sustainability and impact assessment of the interventions carried out under the other components of KOSAP.

In Wajir County, one of the target counties, the Proponent is proposing to develop 32 No. Solar Mini Off-Grid facilities including Qarse Goftu Solar Mini Off-Grid discussed in this report.  In order to adhere to both national and donor requirements, the proponent engaged the services to the consortium of Norken International Limited and Centric Africa Limited to undertake the ESIA. The ESIA has been conducted following the requirements outlined in the Environmental Management and Coordination Act (EMCA) 1999-amended in 2015), as well as international environmental and social policies such as the World Bank's OP 4.01 on environmental assessment.

E- 2 Project Categorisation and Justification

In the World Bank context, there have been several projects supported by the organization that aim to provide electricity to communities located far from the national grid. These projects utilize off-grid approaches, meaning they are independent of a national or regional grid. The experience gained from these projects provides valuable guidance for designing sustainable off-grid electrification initiatives, particularly those targeting dispersed and economically disadvantaged communities. The Qarse Goftu proposed site aligns with this category of projects that the World Bank has been involved in.

In the Kenyan context, the Environmental Management and Coordination Act (EMCA) of 1999, as amended in April 2019 through Legal Notice No. 31, classifies solar power farms and plants as medium risk projects. This categorization provides a framework for assessing and managing the potential environmental and social impacts associated with such projects. By categorizing the Qarse Goftu site as a solar power facility, it falls within the medium risk project category as per the Kenyan legislative framework.

E- 3 Approach and Methodology

The Environmental and Social Impact Assessment (ESIA) for the proposed project followed a structured process, beginning with kick-off meetings and online discussions involving the Proponent, Implementing agencies, and the World Bank Environmental and Social Safeguard Team. These consultations were instrumental in establishing the project's scope, deliverables, timeline, and methodology. Subsequently, screening and scoping exercises were conducted to evaluate potential social and environmental risks. A thorough desk-based review was also undertaken to assess existing project documentation, legal requirements, and relevant plans.

The study employed a comprehensive approach to gather primary and secondary data for the project. Both qualitative and quantitative methods were utilized, with secondary data obtained through literature reviews. Primary data collection involved various techniques, including physical observations, photography, interviews, and stakeholder consultations. This comprehensive approach enabled a comprehensive examination of the project's environmental and social aspects, ensuring a holistic understanding of its potential impacts.

The study further involved the identification and assessment of potential impacts throughout the project's life cycle. Key areas of evaluation included land use, water resources, biodiversity, air quality, noise levels, community health and safety, and socio-economic conditions. To mitigate adverse effects, the study developed environmental and social management and monitoring plan, aiming to address both positive and negative impacts that may arise from the project. These measures aimed to ensure the project's sustainability and enhance its overall environmental and social performance.

E-4 Proposed Project

The Solar Mini Off-Grid project aims to provide electricity in Qarse Goftu village, Arbajahan ward, Qarse Goftu Location, Wajir West Sub County in Wajir County.

The project will utilize solar photovoltaic panels, a Battery Energy Storage System, and a Diesel Generator to generate electricity. A Low Voltage Power Distribution Network will be established to distribute the power to customers. The estimated cost of the project is around USD. 550,430, although this amount may change as more detailed plans are developed.

The project utilizes solar panels with a total capacity of 106 kWp to harness solar energy. Solar power is a clean and renewable energy source that will provide a significant portion of the electricity needed for the project. A 342 kWh Battery Energy Storage System is incorporated to store excess solar energy during the day, ensuring a consistent power supply even during cloudy or nighttime conditions. A 50 kVA diesel generator is included to serve as a backup power source for periods of low solar generation or in case of battery depletion. It provides reliability and backup in the event of extended periods of cloudy weather or high demand. A 2,000-liter fuel tank is provided to store diesel fuel for the generator, ensuring continuous operation during extended periods of low solar or high demand. Additionally, PV Inverter: A 88 kW solar PV inverter is used to convert the direct current (DC) electricity generated by the solar panels into alternating current (AC) electricity suitable for consumer use.

The proposed minigrid site has a circuit distribution length of 8km

The project consists of two main components: Hybrid Mini Off-Grids and power line reticulation lines. The Hybrid Mini Off-Grids will combine solar panels and diesel power generation. These energy sources will be integrated through a centralized photovoltaic plant connected to a 3-phase AC busbar line. The configuration is designed to prioritize direct supply from the solar generator during daylight hours, reducing reliance on battery storage. The battery storage will primarily be used when solar generation is low, or demand is high. The construction of power line reticulation lines will ensure the efficient distribution of electricity to residential, commercial, and other consumers, ensuring a reliable and efficient power supply.

To develop the Mini Grid, approximately 1.023 Hectares of land will be acquired by NLC. This land is part of the community's designated public purposes area. The proponent engaged with the community during the land acquisition process, and there were no objections to transferring 1.023 Hectares of land to Kenya Power and Lighting Company (KPLC) for the management of the Solar Mini Off-Grid.

In accordance with the World Bank's Operation Procedure 4.12 on Involuntary Resettlement, an abbreviated Resettlement Action Plan (A-RAP) was prepared, outlining the principles and procedures for land acquisition and compensation. This plan is annexed 6 to the project report.

E-5 Analysis of Alternatives

Solar energy is identified as a non-polluting and site-specific option, and the proposed site for Qarse Goftu Solar Mini Off-Grid is chosen as the most suitable location for the mini Off-grid based on factors such as sunlight availability and the community's lack of grid connectivity. The use of wind power, thermal power, fossil fuels, and power import from neighbouring countries are considered as alternative methods of power generation but are found to have limitations or environmental concerns. Solar energy is favoured due to its low production costs, versatility, clean nature, and economic savings. The "No Project" alternative is deemed unfavourable as it would maintain the current lack of electricity access and hinder socio-economic development. The project will be constructed using modern materials and technology, with a focus on public health, safety, security, and environmental requirements. The technology will involve a Battery Energy Storage System.

E-6 Baseline Information

The project area in Qarse Goftu sublocation, Eldas sub-county, Wajir County, exhibits a semi-arid climate with irregular rainfall patterns and scarce natural resources. Water scarcity poses a significant challenge, affecting both the local population and livestock. The vegetation predominantly comprises drought-tolerant shrubs, thorny bushes, and arid-adapted grasses. Overgrazing and deforestation have resulted in land degradation and soil erosion, further exacerbating the environmental issues. Agricultural practices face hurdles due to limited fertile soils and inadequate irrigation infrastructure. The region is also prone to natural hazards like flash floods and sandstorms.

The topography of the project area is diverse, featuring vast plains. It is part of a semi-arid landscape. The flat plains offer space for livestock grazing. Overall, the project site is relatively flat.

The area is characterized by high levels of poverty, unemployment, and limited access to essential services such as education and healthcare. Livestock herding and small-scale enterprises are the primary economic activities, but opportunities for economic growth are constrained. Gender disparities persist, with women having limited decision-making power and economic empowerment. Infrastructure development, including roads, electricity, and water supply, is insufficient to meet the needs of the community.

E-7 Legislative regulatory Framework

The evaluation, planning, and implementation of the proposed project is guided by the World Bank's Environmental and Social Framework, the national legislative framework, and the project's safeguard instruments. These measures aim to ensure environmental sustainability, protect the rights and needs of indigenous peoples and marginalized groups, and minimize adverse impacts through effective management and mitigation measures.

The Government of Kenya established the Environmental Management and Coordination Act (EMCA) in 1999, providing a legal framework for environmental management. EMCA takes precedence over other sectoral laws related to the environment. In 2013, the government formulated a national Environmental Policy with the goal of promoting sustainable management and use of the environment.

Collaboration and consultation among government agencies and stakeholders are essential for coordinating environmental management effectively. Key institutions in Kenya responsible for environmental issues include the National Environment Management Authority (NEMA), County Environment Committees, National Environmental Complaints Committee, National Environment Action Plan Committee, Standards and Enforcement Review Committee, National Environment Tribunal, and National Environment Council (NEC).

The project also adheres to the World Bank Safeguard Policies, which aim to improve decision-making processes, promote sustainable project options, and involve affected people in consultations. The applicable operational policies for this project include Environment Assessment, Natural Habitats, Indigenous Peoples, and Involuntary Resettlement. The Environmental and Social Impact Assessment (ESIA) considers these policies and addresses potential environmental and social concerns.

Additionally, the ESIA references other Safeguard Instruments prepared under the Kenya Off-Grid Solar Access Project (KOSAP), including the Environmental and Social Management Framework (ESMF), Resettlement Policy Framework (RPF), and Vulnerable and Marginalized Groups Framework (VMGF). These instruments provide procedures and guidelines for assessing and managing environmental and social aspects specific to the proposed subprojects under KOSAP.

E-8 Stakeholder Engagement

It is important to highlight that two forms of stakeholder engagement were carried out for the project. The first form as noted earlier, focused on the acquisition of land for the project and involved the Proponent and the implementing agency (KP). The second form of engagement was conducted specifically for the Environmental and Social Impact Assessment (ESIA) study.

For the ESIA study, various methods were employed to engage stakeholders, taking into consideration their different categories. Face-to-face discussions were held with government officials and key stakeholders, while separate focused group discussions were conducted with men, women, and youth. Additionally, a public baraza or meeting was organized to allow community members to participate.

During the ESIA stakeholder engagement public meeting, which took place on 21/10/2021, a total of 46 stakeholders attended. The meeting provided an opportunity to discuss project details, including the preliminary design, positive and negative impacts, and mitigation measures. Stakeholders were encouraged to share their views and provide feedback on the project.

Some of the concerns raised by stakeholders included the type of fence to be constructed around the project site, the treatment of the community regarding the land acquired for the mini Off-grid construction, and the connection of community boreholes to electricity. The study team addressed these concerns by assuring stakeholders that a chain-link fence supported by concrete poles would be constructed. They also stated that additional projects would be undertaken for the community as compensation, based on their priorities. Furthermore, public facilities such as schools, health centres, and boreholes would be connected to the electricity supply.

E-10 – Impacts and Mitigation Measures

The Environmental and Social Impact Assessment (ESIA) for the proposed Solar Mini Off-grid project has identified both positive and negative impacts across its different phases: pre-construction, construction, operation, and decommissioning. In the construction phase, positive impacts include local employment opportunities, boosting local businesses, and sourcing materials locally. During the operation phase, positive impacts encompass reliable power supply, economic improvement, education, health benefits, improved living standards, and enhanced security and communication. Similarly, the decommissioning phase offers positive impacts such as local employment and sourcing.

On the negative side, the pre-construction phase involves minor impacts like land acquisition, while the construction phase encompasses various minor to moderate impacts such as vegetation clearance, soil erosion, dust emissions, and occupational health and safety concerns. Challenges related to stakeholder engagement, labor influx, child labor, and exclusion of vulnerable individuals are also anticipated. In the operation phase, negative impacts include waste generation, increased oil consumption, fire outbreaks, occupational health and safety concerns, and inadequate stakeholder engagement. Issues of exclusion, inadequate grievance management, and public health concerns may arise as well.

During the decommissioning phase, negative impacts primarily relate to solid waste generation, noise and vibration, and challenges in stakeholder engagement, labor influx, child labor, gender-based violence, and exclusion of vulnerable individuals and households.

Tables 0-2 to 0-5 below present summaries of anticipated impacts and their corresponding levels of significance, both pre- and post-mitigation.

Table 0.1: Summary of Pre-construction Impacts

| Impact | Significance Of Impact (Pre-Mitigation) | Residual Impacts (Post-Mitigation) |
| --- | --- | --- |
| Land acquisition | Minor | Negligible |
| Way leaves | Minor | Negligible |
| Stakeholder identification and consultations | Major | Minor |

Table 0.2: Summary of Construction Phase Impacts

| Impact | Significance of Impact (pre-mitigation) | Residual Impacts (Post-Mitigation) |
| --- | --- | --- |
| Impacts on Local Economy and Employment | Positive | Positive |
| Change in land use | Moderate | Negligible |
| Topography | Minor | Negligible |
| Soil environment | Minor | Negligible |
| Air Quality | Moderate | Negligible |
| Ambient noise | Minor | Negligible |
| Visual intrusion and change in landscape | Minor | Negligible |
| Waste generation and soil contamination | Minor | Negligible |
| Impact on water environment | Minor | Negligible |
| Impacts from hazardous materials | Minor | Negligible |
| Fire hazards | Moderate | Minor |
| Impacts of construction material sourcing | Moderate | Minor |
| Energy consumption | Negligible | Negligible |
| Occupational safety and health | Moderate | Minor |
| Community safety and health | Moderate | Minor |
| Labour influx | Minor | Negligible |
| Child labor | Minor | Negligible |
| Cultural heritage | Minor | Negligible |
| Gender based violence, SEA and SH | Minor | Negligible |
| Exclusion of VMGs, Vulnerable individuals and households | Major | Minor |
| Risk of communicable diseases | Minor | Negligible |
| Increased water demand | Negligible | Negligible |
| Forced labor | Minor | Negligible |

Table 0.3: Summary of Operation Phase Impacts

| Impact | Significance Of Impact (Pre-Mitigation) | Residual Impacts (Post-Mitigation) |
| --- | --- | --- |
| Impact On Economy and Employment | Positive | Positive |
| Quality, reliable power supply | Positive | Positive |
| Reduction of pollution associated with thermal power generation, kerosine and wood fuel usage | Positive | Positive |
| Education | Positive | Positive |
| Health benefits | Positive | Positive |
| Improved standard of living | Positive | Positive |
| Security | Positive | Positive |
| Communication | Positive | Positive |
| Soil environment | Minor | Negligible |
| Waste generation and management | Minor | Negligible |
| Water environment | Negligible | Negligible |
| Landscape and visual impacts | Minor | Negligible |
| Increased oil consumption | Minor | Negligible |
| Increased storm water flow | Minor | Negligible |
| Fire outbreaks | Moderate | Minor |
| Water demand | Negligible | Negligible |
| Sanitary waste | Negligible | Negligible |
| Flooding | Negligible | Negligible |
| Noise and Vibration | Negligible | Negligible |
| Electric and magnetic fields (EMFs) | Negligible | Negligible |
| Dust Emission | Negligible | Negligible |
| Vehicle Exhaust emission | Minor | Negligible |
| Collision and electrical hazards from distribution infrastructure | Minor | Negligible |
| Occupational safety and health | Moderate | Minor |
| Community safety and health | Moderate | Minor |
| Gender based violence, SEA and SH | Minor | Negligible |
| Exclusion of VMGs, Vulnerable individuals and households | Major | Minor |
| Risk of communicable diseases | Minor | Negligible |
| Shocks and electrocution to the Project-Affected Persons (PAPs) | Moderate | Minor |
| Risks related to poor and inadequate stakeholder engagement (conflict) | Minor | Negligible |

Table 0.4: Summary of Decommissioning Impacts

| Impact | Significance Of Impact (Pre-Mitigation) | Residual Impacts (Post-Mitigation) |
| --- | --- | --- |
| Employment opportunities | Positive | Positive |
| Site rehabilitation | Positive | Positive |
| Soil environment | Minor | Negligible |
| Air quality | Moderate | Negligible |
| Ambient Noise | Minor | Negligible |
| Waste generation and soil contamination | Minor | Negligible |
| Occupational safety and health | Moderate | Minor |
| Gender based violence, SEA and SH | Minor | Negligible |
| Exclusion of VMGs, Vulnerable individuals and households | Major | Minor |
| Risk of communicable diseases | Minor | Negligible |

E-11 Environmental and Social Management and Monitoring Plan

A comprehensive set of mitigation measures in the form of an Environmental and Social Management and Monitoring Plan (ESMMP) have been prepared for the project. The ESMMP serves as a comprehensive framework for the integrated management of all environmental and social impacts throughout the project's lifecycle. It has been prepared to ensure that the social and environmental impacts and risks identified during the Environmental and Social Impact Assessment (ESIA) process are appropriately managed during the construction, operations, and decommissioning phases of the project. It specifies the mitigation and management measures that the project proponent and contractor are committed to implementing and outlines how organizational capacity and resources will be mobilized to achieve these measures. The ESMMP also ensures compliance with the relevant laws, regulations within Kenya, as well as the environmental and social sustainability requirements of the World Bank's Operational Policies (OPs).

These measures emphasize a proactive approach, prioritizing prevention rather than reaction. They encompass various aspects such as proper waste handling and disposal to prevent pollution, engaging stakeholders to address grievances, providing personal protective equipment (PPE) for workers, ensuring adequate supervision, and emphasizing good workmanship from the contractor. Specific plans are also outlined to address specific issues that may arise. The ESMMP also highlights environmental performance indicators that should be regularly monitored. Monitoring serves to detect and draw attention to any changes or problems in environmental quality. It involves continuous or periodic reviews of the ESMMP implementation progress, allowing for adjustments and improvements as necessary.

While accommodating the recommended mitigation measures to the extent practical and economically viable, the project proponent and contractor should ensure that the measures do not compromise the economic viability of the project or have long-lasting adverse impacts on the environment.

For the mitigation measures to be successful, it is imperative that the Kenya Power and Lighting Company (KPLC) allocates sufficient resources for the implementation of the ESMMP. Adequate resources will enable the proper execution of the proposed measures and ensure their effectiveness in minimizing the identified negative impacts.

Following the project's commissioning, it is mandatory to conduct statutory Environmental and Safety Audits in accordance with national legal requirements. These audits serve to evaluate the environmental performance of the site operations and assess their compliance with the recommended mitigation measures.

E- 12 Conclusion

Based on the assessment findings, the consultant concludes that there are no substantial reasons to hinder the proposed project from progressing to the next stage of planning and development. However, this progression is conditional upon the implementation of the recommended mitigations and the monitoring of potential environmental and socio-economic impacts as outlined in the ESMMP.

It is in the opinion of the Environmental expert that the anticipated negative impacts can readily and effectively be mitigated and overall, the proposed project does not pose any significant threat to the Environment and may be licensed to proceed

# INTRODUCTION AND PROJECT BRIEF

## Project Background

The Government of Kenya has pledged to stimulate economic growth and accelerate job creation to improve the economic wellbeing of Kenyans.  Among the many interventions to achieve this is expansion of the new sources of energy to enable more Kenyans to connect to the grid at affordable cost and hence initiate economic activities at the micro-economic level. Driven by the imperative to provide equal opportunities across the entire Kenyan territory as key to achieving Kenya’s Vision 2030, and the national target of achieving universal access to electricity by 2020, the GoK seeks to close the access gap by providing electricity services to remote, low density, and traditionally underserved areas of the country. Consequently, the Government of Kenya partnered with World Bank and conceptualized a project by the name Kenya Off-grid Solar Access Project (KOSAP). The project’s objective is to achieve increased electricity access to Kenyans in off-grid areas (areas not covered by the national electricity grid network).

The project targets 14 out of the 47 counties in Kenya that have been defined as marginalized by the Commission on Revenue Allocation (CRA). The 14 underserved counties collectively represent 72% of the country’s total land area and 20% of the total population. The population is highly dispersed at a density of 4 times lower than the national average. These counties are also characterized by infrastructural deficits, including lack of access to roads, electricity, water and social services. The 14 counties include Garissa, Isiolo, Kilifi, Wajir, Lamu, Wajir, Marsabit, Narok, Samburu, Taita-Taveta, Tana River, Turkana, Wajir and West Pokot. The total number of un-electrified households is roughly 1.2 million in these counties.

## KOSAP Objective:

The objective of KOSAP is to increase access to modern energy services in underserved counties of Kenya, and is be achieved through the implementation of the components below;

- Component 1: Mini-grids for Community Facilities, Enterprises, and Households

- Component 2: Standalone Solar Systems and Cooking Solutions for Households

- Component 3: Standalone Solar Systems and Solar Water Pumps for Community Facilities

- Component 4: Implementation Support and Capacity Building

## Mini-grids for Community Facilities, Enterprises, and Households

This component supports the electrification of areas where electricity supply through mini-grids represents the least cost option from a country perspective, as underpinned by the geospatial plan. Depending on the number of users to be supplied, and the service level defined for each type of user (households, businesses, community facilities, etc.), the generation system of each specific mini-grid will combine solar PV, battery storage and thermal units running on diesel Mini-grids. The component will be implemented in approximately 151 locations throughout the 14 target counties, typically in Mini-grids supplying 100-700 prospective users, with approximate total demand of 20-300kW. These potential sites, capturing approximately 27,000 consumers in total, have preliminarily been identified as part of the geospatial plan. In Wajir County, 8 locations were proposed for the solar Mini-grids installation. Qarse Goftu village in Wajir County that will benefit from this component.

## Project Justification

The Kenya Off Grid Solar Access Project (KOSAP) intends to support the Government initiative of ensuring increased electricity access to Kenyans, particularly among the low- income groups in off- grid areas. This proposed project is in line with the commitment of the Government of Kenya to reach 100% electricity access by 2023 through grid extension, stand-alone individual plant and autonomous solar mini- grids.   Kenya Power as the implementing agency aims to develop the solar/diesel mini- grids to electrify areas that are not economically feasible through national grid extension. The Qarse Goftu site was proposed as part of this project due to its isolated nature and the high cost of grid extension to the area.

## Institutional and Implementation Arrangements

The Ministry of Energy and Petroleum (MoEP) will provide overall coordination of the project and oversight during planning and implementation of the project. This will include overall coordination and oversight for safeguards due diligence, and implementation.

KPLC will be responsible for the implementation of the Solar Mini-grid during construction and implementation. In addition, KPLC will have overall responsibility for safeguards due diligence and implementation. The County Government of Wajir is also working in liaison with the Ministry of Energy in implementation of the project.

## Environmental and Social Impact Assessment (ESIA) Report

### Justification for the ESIA

This Environmental and Social Impact Assessment on the proposed solar Mini-grid in Qarse Goftu was commissioned in order to examine its impacts on the environment and community prior to its construction. The study sought to identify positive and negative impacts of the Mini-grid and propose measures to mitigate the negative impacts while maximizing on the positive impacts.

The ESIA was conducted in accordance with Section 58 of Environmental Legislation, EMCA 1999, and its 2015 Amendment and the Environmental Impact Assessment and Auditing Regulations (ESIA/EA) of 2003. Further, international environmental and social policies have been adhered to in this report especially the World Bank OP4.01 (Environmental assessment). In addition, appropriate sectoral legal provisions relevant to this project have also been referred to for the necessary considerations during the construction, commissioning, operation and decommissioning of the project.

This Environmental Impact Assessment has identified both positive and negative impacts of the proposed project to the environment and community. The report proposes mitigation measures in the Environmental and Social Management and Monitoring Plan (ESMMP) developed to mitigate the negative impacts and enhance positive impacts thus ensuring sustainability of the project.

### Objectives of the Study

The main objective of this ESIA was to examine both positive and negative effects of the proposed solar Mini-grid on the people, their property and the environment and proposed measures to mitigate the negative impacts and enhance positive impacts during the construction, operation and decommissioning phases of the project.

Specific objectives of the study included;

- Present an outline of the project background,

- Establish the environmental baseline conditions of the project area and review all available information and data related to the project,

- Identify key areas for environmental, social, health and safety concerns as well as the anticipated impacts associated with the proposed project implementation and commissioning,

- Undertake public consultations with the potentially affected peoples and other interested parties

- Establish a comprehensive environmental management plan covering the construction, operation and decommissioning phases of the project,

- Preparation of a comprehensive Project Report in accordance with the local environmental legislation and submission to NEMA for further instructions and/or approval.

### Scope of the ESIA study

The ESIA scope largely covered the following areas:

- Baseline Conditions:

- Environmental setting (climate, topography, geology, hydrology, ecology, water resources, sensitive areas, baseline information etc.)

- Socio-economic activities in the surrounding areas (land use, human settlements, economic activities, institutional aspects, water demand and use, health and safety, public amenities, etc.),

- Infrastructural issues (roads, water supplies, drainage systems, power supplies, etc.).

- Legal and policy framework:

Focusing on the relevant national environmental laws, regulations and by-laws and other laws and policies focusing on allied activities relative to the project in question.

- Interactive approach was adopted for the immediate neighborhood in discussing relevant issues including among others: land use aspects, project acceptability, social, cultural and economic aspects,

- Identification of Environmental impacts namely physical impacts, biological impacts and Legal Compliance.

### Terms of Reference (ToR) for the ESIA Process

The Experts were assigned the task of carrying out Environmental and Social Impact Assessment of the proposed solar Mini-grid. The scope covered various activities related to; project planning activities, construction works of the proposed development which included all works of civil, mechanical, electrical or other nature necessary to construct, commission and decommissioning of the project. The output of this work is a comprehensive Environmental Impact Assessment project which will aid NEMA in deciding on the project. The report is also in compliance to Environmental and Social Safeguard Policies of the proponent’s development partners.

The ESIA experts conducted the study guided by the following terms of reference:

- Establish the suitability of the proposed site/location to set up a solar Mini-grid.

- A concise description of the national environmental legislative and regulatory framework, baseline information, and any other relevant information related to the project.

- A description of the technology, procedures and processes to be used, in the implementation of the project.

- A description of materials to be used in the construction and implementation of the project, the products, by-products and waste to be generated by the project.

- A description of the potentially affected environment/social economic and cultural setting of the project area.

- Identification and consultation with stakeholders including the proposed project PAPs.

- A description of positive and negative impacts of the project on the environmental, health, safety and social cultural aspects of the community

- Analysis of alternatives including project site, design and technologies

- Identification of the most appropriate mitigation measures/interventions against negative impacts during construction, operation and decommissioning.

- Development of an Environmental, Health, Safety and Social Management Plan proposing the measures for eliminating, minimizing or mitigating adverse impacts on the environment, including the cost, timeframe and responsibility to implement the measures.

## ESIA Approach and Methodology

The approach chosen in undertaking this study was careful to consider EMCA, 1999, and its 2015 Amendment requirements, as well as the Environmental Impact Assessment and Audit Regulations, 2003. It involved largely an understanding of the project background, the preliminary designs and the implementation plan. The approach and methodology applied during the study enabled collection of both primary and secondary data. Qualitative and quantitative methods of data collection were employed. Secondary data was obtained through literature reviews while primary data was obtained through physical observations, photography, check lists, interviews and stakeholders’ consultation.

### Key activities undertaken during the study included the following:

- Physical inspections of the proposed project area

- Literature review of relevant documents

- Stakeholder consultations with different stakeholders and project affected persons.

- Gathering environmental and socio-economic data of the area by use of check list

- Continuous discussions with the stakeholders and accessing other sources of information on the proposed project details, the site planning and implementation plan,

- Photography, and interviews with people in the immediate neighborhood.

- Evaluation of the activities around the site and the environmental setting of the wider area.

- Report writing and submission.

The initial stage of this assessment was project screening. Screening of the project sought to ascertain whether or not this project falls within a category that requires ESIA prior to commencement. Other considerations made during this stage included a preliminary assessment of the environmental sensitivity of the proposed project area/site. This screening indicated that the proposed solar Mini-grid is among the listed projects under Schedule 2 of EMCA, 1999 thus requires an ESIA study.

Project scoping was the next stage which was done to delineate project issues that required detailed analysis. This step involved collection of primary and secondary data through field visits and literature review respectively.

### Desk study/literature review

A critical literature review of secondary data was done to establish the following:

- Relevant legislations and institutional framework governing the proposed project

- Licenses and permits requirements and conditions;

- Baseline information of the project area

- Types of waste likely to be generated.

Documents relevant to the proposed development were reviewed. Some of the documents reviewed included Wajir County Integrated Development Plan 2018-2022, various Kenyan legal legislations, World Bank safeguard policies, project frameworks (ESMF, VGMF, and RPF), topographical maps, google earth/maps, Kenyan government publications among others.

### Environmental, Socio-economic and Cultural Setting/Status

To gain a better understanding of the environmental, socio-economic and cultural setting of the project site and it’s surrounding the ESIA team needed to gather primary data. This entailed collection of the data using various tools and methods. Interviews, discussions, photography and observations and check lists are some of the methods employed in gathering the data needed from different stakeholders.

### Public Consultations

Section 17 of the Environmental (Impact Assessment and Audit) Regulations of 2003, requires that all ESIA Studies undertake Public Consultation (PC) as part of the study. The aim of the PC is to ensure that all stakeholders interested in a proposed project such as PAPs, government officers and the general public in the vicinity of the proposed project be identified and their opinion considered during project planning, design, construction, operation and decommissioning phases. Consequently, public consultations were carried out in the project area in a bid to inform the public and other interested parties on the proposed project and obtain their views on the same. The consultations also presented an opportunity for the community to raise issues and concerns pertaining to the project.

Public consultations were conducted thorough public barazas organized at appropriate location near the proposed site for the Mini-grid. Key stakeholder’s views on the project were solicited through interviews and discussions with County officials, technical teams at Ministry of Energy and KPLC and also (KOSAP project implementation unit) officers.

#### Stakeholder Identification and Mapping

Stakeholder engagement and participation was carried out at different levels and with different stakeholders. Stakeholder’s identification and mapping was done based on the following criteria that is PAPs and interested persons or parties. The stakeholders include;

- PAPs of the proposed project who largely are the community members living within 3km radius of the proposed project

- Interested parties include

  - County government of Wajir various department including the office of the governor, land and environment, survey and public administration such as ward and village administrators. In addition is the county commissioner and officers under his administration such as chiefs.

  - Members of parliament and members of county assembly

#### Approach and Methodology used in Carrying Out the Public Participation

Owing to the different categories of the stakeholders, the ESIA team opted to employ various methods in engaging them. The methods included; face to face discussions for the government officers, focused group discussions with the men, women and youth and a public baraza/meeting for the community members.

#### Mobilization for the Community Meeting

Prior to the community engagement meetings, a two weeks’ notice was done/issued to inform the community members of the meeting. This was done by the county renewable energy officer (CREO). The officer called the Chief of the area where the meeting was to take place and requested him to inform the people of the meeting in regard to KOSAP community engagement forums. The chief then informed the people about the meeting through announcement by word of mouth given by the local leaders’ key among them was village administrator and village elders in Qarse Goftu village.

#### Meeting with Wajir County Key Stakeholders

A meeting was held with the governor for Wajir County and his officers on 2nd of November 2020. The main agenda was to explain the project to them and solicit their views on the project. Further, the county officers were also briefed that on the need for carrying out consultations with the target communities.

#### Public Forum/Meeting

The project team undertook community engagement forums with the target PAPs and the communities where the solar Mini-grids will be set. The main objective was to explain the project details including need for land identification and solicit broad community support and acceptability of the project. One open meeting with all the community members was held. The KOSAP team explained to the community members about the project and other related information as discussed in the minutes. The meeting was then opened up for a plenary session.

Community engagement proceedings and resolutions are presented in form of minutes taken/written during the meetings. The meetings were well attended by all people including men, women, youth and persons with special needs.

#### Focus Group Discussions

After the meetings the community members were told of the need to have focus group discussions to discuss the project further and allow the different groups more opportunities to ask questions or give suggestions regarding the project. Therefore, three separate meetings for men, women and youth were held. In these meetings the message on the project was echoed again especially on benefits and impacts (both positive and Negative) of the project to the community, rights of the community and the need to have a grievance redress mechanism and committee with representation from all groups in the community.

#### Key Informant Interviews

Key Informants were identified both at the county and locational levels and they were interviewed to obtain baseline information in regard to the proposed project. The key informant interviewed was from the education sector.

#### Stakeholder Engagement Schedule

The ESIA team identified four categories of stakeholders namely; government officials, opinion leaders at local level, elders and the general community. Stakeholder engagement began early in the planning phases of the project. A letter was written from the Ministry of Energy to the Governor Wajir County, the County commissioner informing them about the need to undertake public participation for the proposed project. Stakeholder consultations were undertaken twice on the 2nd November 2020 and 30th September 2021. During these meetings, project information in terms of preliminary design, positive impacts, negative impacts, mitigation measures among others were discussed with various stakeholders. The stakeholders gave their views in to the project

Interactive approach was adopted for the immediate neighborhood in discussing relevant information key among them being;

- Land use aspects,

- Neighborhood issues,

- Project acceptability,

- Social, cultural and economic aspects,

- Environmental Impacts

- Physical impacts,

- Biological impacts,

- Legal Compliance.

### Sampling

#### Ambient Noise

Ambient noise survey was conducted using a Sound Level Meter (SoundTrack LxT® Sn 0004841) on the sensitive receptors neighboring the proposed project site to illustrate the existing baseline noise levels. The noise data was collected for a minimum of 15 minutes per receptor. The receptors were chosen such that there was no obstruction between them and the proposed site. The microphone was placed on a stand 1.5m from the ground and about 4m away from any reflecting surface. The receptors in Qarse Goftu were the dispensary and two residential homes.

The noise levels were then compared against the existing national standards.

#### Soil Sampling and Analysis

Soil sampling and testing was done for purpose of soil quality control and identifying sources and effects of contamination of soil. Sampling was done manually within the boundaries of the proposed project site taking into consideration these guidelines:

- Remove superfluous soil covering/s (i.e., dense vegetation, gravel, concrete etc.), if present and place to one side.

- Use a clean implement (i.e., spade/shovel) and manually excavate a hole to a targeted depth of approximately 50 centimetres below ground level.

- Obtain a representative soil sample (500g) and transfer it in a well labelled air tight zip lock bag

- Record the GPS coordinates of the excavation.

- Backfill the excavation with the remaining recovered arisings and reinstate the surface as close as practicable to initial conditions.

- The soil sample was then transferred to Polucon Services (K) limited for chemical analysis that comprised of Benzene, toluene, ethylbenzene and xylene (BTEX) and Polycyclic Aromatic Hydrocarbons (PAH).

Below is an outline of the basic ESIA steps that were followed during the assessment:

Step 1: Project Concepts

The project details regarding; scope, design, implementation, tests, commissioning were first analysed.

Step 2: Terms of Reference (ToR)

The terms of Reference were developed guided by EMCA 1999 and The Environmental Impact Assessment/ Audit regulations 2003. Any new developments out of character with their surrounding must have an ESIA undertaken; for review, Approval and Licensing by NEMA.

Step 3: Project Screening

Details about baseline conditions and potential environmental and social impacts were collected through desktop study, stakeholder consultations, site visits, photography, and inductive methods.

Step 4: Identification of Potential Environmental and Social Impacts

The Potential Environmental impacts were identified, Classified and magnitude determined.

Step 5: Impact Assessment and Consultations

The Environmental and Social Impacts were analysed, assessed and discussed in details involving consultations with the KPLC and other stakeholders.

Step 6: Formulation of Mitigation measures

Mitigation measures to ameliorate or minimize the potential Environmental and Socio – economic impacts were formulated for the entire project life.

Step 7: Development of an Environmental & Social Management and Monitoring Plan:

An E&SMMP for the project life was developed indicating parameters to be monitored, persons responsible, timing and costs involved.

Specific issues covered in the project report include but are not limited to:

- Name of the proponent, address and contact person

- Title of the project

- Objectives and scope of the project

- Nature of the project;

- Location of the proposed project, including the physical area that may be affected by the project’s activities;

- Types of activities that will be undertaken during the project construction, operation and decommissioning phases;

- Design of the project;

- Materials to be used, products and by-products, including waste to be generated by the project and the method(s) of their disposal;

- Potential environmental impacts of the project;

- Economic and social impacts to the local community and the nation in general;

- Views of the public/potentially affected people about the project; and

- An Environmental and Social Management Plan (E&SMP) for the entire project cycle to include mitigation measures to be taken during and after implementation of the project and an action plan for the prevention and management of foreseeable accidents during the project cycle.

- An Environmental and Social Management and Monitoring Plan (ESMMP)

## ESIA Procedure

Identification of Potential Impacts

TOR

Scoping

Project Screening

Impact Assessment and Analysis

Formulation of Mitigation Measures

Development of ESMMP

ESIA Study Report

Figure 1-1 : Summary of ESIA procedure

## Target Group for the ESIA Report

The ESIA Report has been prepared for use by different stakeholders to be involved in the construction and operation of the proposed Mini-Grids project. This report contains useful information on policies and procedures to be adhered to, implementation modalities, analysis of potential environmental and social impacts and suggested mitigation measures at various stages of project activities. The information will be useful in planning, implementation, management and maintenance of the project.

In this regard, the report is useful to the following stakeholders:

- Engineers to be involved in preparation of designs and plans for the proposed solar Mini-grid.

- Contractors to be engaged in the construction works for the project

- MOE and other relevant government ministries and implementing agencies such as; KPLC, REREC etc.

- County Government of Wajir

- Funding agencies

- Project affected persons and other stakeholders

## Study Team

## Study Team

This ESIA process was conducted by a team of experts that comprised the following professionals.

Table 1.1. List of teams of experts.

| S/No | Names | Position |
| --- | --- | --- |
| 1 | Lydia Komen | Norken International Limited/Centric Africa Limited- EIA/EA Expert |
| 2 | Daniel Chumo | Norken International Limited/Centric Africa Limited- EIA/EA Expert |
| 3 | Dr. Patrick Watete | Norken International Limited/Centric Africa Limited- EIA/EA Expert |
| 4 | Elijah lwevo | Norken International Limited/Centric Africa Limited- EIA/EA Expert |
| 5 | Fahma Adan | Wajir- County Renewable Energy Officer (CREO) |
| 6 | Wilfred Koech | Environmental and Social Specialist-KPLC |
| 7 | Peter Maneno | MoE |

## Assumptions

The Experts made the following assumptions in preparing this ESIA

- All the technical data and information provided by the proponent, implementing and the specialists are accurate and up-to-date

- The design features will be put in place to minimize risks from external factors which could threaten the integrity of the facility which include: risks from landslides and other natural calamities; measures to minimize threats or damage from third parties e.g., terrorist attack

- The public involvement process has been sufficiently effective in identifying the critical issues that needed to be addressed

- The KPLC and the Contractor will implement the measures in the proposed ESMMP

- The KPLC will undertake monitoring to track the implementation of the ESMMP to ensure that management measures are effective to avoid, minimize and mitigate impacts and that corrective action will be undertaken to address shortcomings and/or non-performances.

## Uncertainties in Compiling Information

Uncertainty arises from a variety of aspects in any development, and for this particular study report has emanated from the following:

- The changes that may occur in baseline conditions, due to external factors over the lifetime of the project;

- Uncertainty related to Proponent’s policy initiatives that might influence the assessment of future baseline and post-development conditions;

- Uncertainty in design information which should be dealt with by the definition of design parameters for the development by the Contractor and Proponent;

- Uncertainty in relation to project planning and implementation as the detailed program and means of construction may be influenced by the choice of Contractor and the detailed design of the development; and

- Uncertainty in the understanding of who the VMGs are, and their population.

# DESCRIPTION OF PROPOSED DEVELOPMENT PROJECT

## 2.2 Introduction

This chapter provides an overview of the proposed Qarse Goftu solar Mini-grid as currently designed. The description borrows largely from preliminary project designs, discussions with the project engineers, field observations, feasibility study, interviews and available project documentation availed by KPLC.

## Architecture and Basic Design Specifications

This hybrid power generation site is projected to generate 50 (kWp) and is meant to serve between 200-300 households (customers). The proposed mini-grid installations will be built to comply with the International Electro technical Commission (IEC) standards. It will have an installation of solar panels of with a capacity of 106 (kWp) and battery house with 342 kWh. The solar panels will have a connection to the batteries through underground cables. The standby generator will also be connected to the system as a backup.

This generator will be a capacity of 50 kVA capacity with a 2000 litre fuel tank. To optimize this hybrid system the HOMER software will be used. The goal of the hybridization of diesel systems is to reduce fuel consumption by switching off diesel generator set(s) for several hours a day, in order to reach a PV energy, share in the final mix of at least 60% or more. The power will be distributed to the customers by overhead lines. The project site is expected to serve clients within a radius of 3km from the site (generation source).

The PV plant and the battery capacity have been sized accordingly to the daily demand and the solar resources. In addition to this Design architecture, the project site shall have a site office that shall also have a Control Room adjacent as well as a guard house. The guard house shall be constructed using concrete and masonry works whereas the control room and office can also be a containerized facility.

The Solar PV hybrid system is based on a centralized photovoltaic plant connected to a 3-phase 415V AC busbar line, where the multi-mode battery inverter and the diesel generator are also connected.

The plant is configured such that a significant portion of daytime loads is fed directly from the solar generator (grid-tie inverter) without intermediate battery storage usage. The solar PV power plant is also equipped with a Diesel Generator, which is normally used as reserve power. The diesel generator switches on automatically whenever the battery state of charge reaches a certain defined DOD (Depth of Discharge). The diesel generator comprises of 50 kVA unit in three-phase operation and it’s equipped with automatic startup function controlled by 66 kW battery inverter charger. The figure 2 below illustrates the preliminary data for the mini-grid in Qarse Goftu.

## Project Location

The project site is located about 130km West of Wajir town in Qarse Goftu village, Arbajahan ward, Qarse Goftu Location, Wajir West Sub County in Wajir County.

The proposed power plant will be constructed on approximately 1.023Ha piece of unregistered community land set aside for public use within Qarse Goftu. The site soil is primarily sandy within the area.

## Project site setting

Figure 5: Map showing the KOSAP Counties Lot 3

The proposed Garse Goftu mini grid is in Wajir County. It falls under Lot 3 of clusters 2 which has a total of 55 mini-grids. Geographically, Garse Goftu site falls on coordinates 1.8137,39.1642

Figure 3: Illustration sketch of the proposed design of the proposed project

### Key Components of the Project

Power Generation Sources:

Solar Photovoltaic Panels: The project utilizes solar panels with a total capacity of 106 kWp to harness solar energy. Solar power is a clean and renewable energy source that will provide a significant portion of the electricity needed for the project.

Battery Energy Storage System: A 342 kWh Battery Energy Storage System is incorporated to store excess solar energy during the day, ensuring a consistent power supply even during cloudy or nighttime conditions.

Diesel Generator: A 50 kVA diesel generator is included to serve as a backup power source for periods of low solar generation or in case of battery depletion. It provides reliability and backup in the event of extended periods of cloudy weather or high demand.

Fuel Tank for Diesel Generator: A 2,000-liter fuel tank is provided to store diesel fuel for the generator, ensuring continuous operation during extended periods of low solar or high demand.

Inverters and Chargers:

PV Inverter: A 88 kW solar PV inverter is used to convert the direct current (DC) electricity generated by the solar panels into alternating current (AC) electricity suitable for consumer use.

Battery Inverter Charger: A 66 kW battery inverter charger is employed to manage the energy flow to and from the battery storage system. It ensures efficient charging and discharging of the battery, maximizing the system's overall performance.

Low Voltage Power Distribution Network:

A 8-kilometer Low Voltage (LV) power distribution network is established to distribute the generated electricity to the residential and non-residential consumers. The LV network is designed to efficiently transmit power while minimizing losses, ensuring a stable supply to the customers.

Project Metrics:

Monthly Energy Demand: The project is expected to meet a total monthly energy demand of 10,405 kWh.

Daily Energy Demand: The average daily energy demand is approximately 347 kWh, ensuring a consistent supply for the consumers.

Peak Demand: The peak demand of the system is 39 kW, which is the maximum power requirement during any given moment.

PV Capacity: The solar photovoltaic panels have a total capacity of 106 kWp.

### The PV Generator

The PV generator consists of Silicon Crystalline Photovoltaic modules of capacity at STC of 250 Wp or more. The PV modules should comply with the norms IEC 61215 and IEC 61730. The outside junction box with the positive and negative terminals shall incorporate bypass diodes that have the function of preventing any possibility of the electrical circuit inside the module being broken due to the partial shading of a cell and shall be at least IP 65 and UV resistant.

The module support structure shall be ground-mounted on arid soil with a base made of concrete. The support shall have a tilt angle between 10° - 15° from the horizontal. No soil tests have been performed, at this stage of the proposed project design, but from the site inspection during the pre-feasibility study, ramming or screw foundations could be used. The support frame shall be of either lightweight aluminum or galvanized steel and it shall be easy for installation, maintenance and disassembly at the end-of-life cycle. These materials will be possibly sourced locally or from abroad and shipped to Mombasa port and transported via road to the site town.

Cables used within the PV generator shall have a voltage rating of at least 1,2 VOC; have a temperature rating higher than 40°C above ambient temperature; they will be UV-resistant; water resistant and it is recommended that they be flexible (multithreaded) to allow for thermal/wind movement of modules. The PV inverter shall be of type current source grid-tied to convert DC to an AC Sinusoidal current. String inverters shall be installed indoors or outdoors with a cover and suitable for desert conditions with high ambient temperatures and dust.

### Powerhouse

The Battery, Multi-mode inverter and all monitoring equipment will be installed indoors with adequate air ventilation accordingly to the manufacturer’s recommendations. Thus, a powerhouse or a containerized solution, considering the equipment manufacturer’s recommendations shall be installed. All electrical boards and LV protections will also be installed indoors. The batteries will be installed in the powerhouse in a separate room, specifically for their use and meeting the electrical safety requirements according to its voltage class.

### Multi-mode Inverter

The multi-mode inverter (or inverter set) for this application is a 88 kW (nominal) bidirectional sinusoidal inverter. It can operate in autonomous mode as well as grid-tied mode. The efficiency curve shall be always above 80% in all cases, adjusting it at the load demand curve (base load, partial load or maximum load).

A priority function of the Multi-Mode Inverter is to adjust the instantaneous power consumed from the source according to the battery voltage. The operation of the solar priority function shall be done with an automatic adjustment algorithm of the input limit current. The input limit current is decreased, if there is enough energy available at the DC side, from the initial value.

### Battery

The battery considered is lead-acid, deep discharge type with a permissible repeated deep discharge without damage. Automotive or starting type batteries are not acceptable. It shall be of the open “vented” OPzS type with recombination caps and transparent enclosure for easy inspection of electrolyte level.

OPzS stands for:

O = Ortsfest (stationary)

Pz = PanZerplatte (tubular plate)

S = Flüssig (flooded).

Other batteries can be considered:

- OPzV type, “gel” lead-acid batteries are “maintenance less” but the unit weight is higher and the lifetime is sensitive to high temperatures.

- Li-ion batteries, have longer lifetime, are lighter and smaller. But they have a higher investment cost and are not adapted to high air temperature so that an additional active cooling system is needed.

The batteries must be manufactured according DIN 40736-1: “Stationary batteries with tubular positive plates. Capacities, measurements and weights”. The battery array will have 12 batteries.

##### Battery Rating

The battery nominal voltage does not need to be established at this stage and different technology providers may offer different solutions on this issue. Nevertheless, it must be noted that the voltage class, either ELV or LV, will determine the electrical isolation and accessibility requirements of the battery room. The battery shall have at least the rated capacity of 2.16V at the C10 discharge rate according to DIN 43539-9.

##### Battery Performance

The battery shall have a self-discharge when new of less than 5% per month (at 25oC and fully charged) of its rated capacity and shall have a Coulombic efficiency of at least 85% and energy conversion efficiency of at least 85% when new and charged to more than 50% of capacity. The battery cycle life for discharge/charge regular cycles down to 80% DOD shall be more than 1500 cycles (According to IEC 896-1).

##### Lifetime

The design lifetime of the batteries shall be of at least 8 years without losing more than 10% of the rated C10 capacity. When the batteries get damaged, they will be stored separately at the site and then transported to Nairobi for proper disposal.

##### Battery Cabling and Protections

The battery connection point shall be as close as possible to the Multi-mode Inverter. Cables used to connect the battery shall have a temperature rating higher than 20 °C above ambient temperature. It is recommended that they be flexible (multithreaded) to allow for easy installation and maintenance. Fuses in cables that connect components to the battery shall be rated for D.C. use, be installed separately as close as possible to the battery terminals and rated to interrupt high fault currents from the battery. A neutralization kit will be provided at the site to manage any battery acid spills that may occur.

### Diesel Genset

The Diesel Generator Set shall have a capacity of 50 kVA with an output of 400 V /230 V @ 50 Hz and 1500 r.p.m. The rated consumption will follow a 0.25 L/h/kW curve at stand-by power. It should include a highly corrosion resistant enclosure, control panel and monitoring, fuel tank and circuit breaker protections. The Diesel Genset shall be suitable for indoor or outdoor installation and shall perform accordingly with Multi-mode Inverter and the mentioned architecture model. The Diesel Genset shall be working in a fully automatic manner with the above stated components. The diesel gensets will have base mounted fuel tanks that will be factory tested for leaks. There will also be an external reserve fuel tank with a capacity of not less than 500 liters. The proponent, through the operating entity will have regular inspection by the manufacturer. The noise rating for the generator set will be 75dBA @ 1 meter at 75% load under free field conditions. The generator sets will have a high-quality noise absorbent and fire-retardant grade acoustic insulation material complying to IS 8183.

### Distribution Line and Energy Meters

The electricity distribution from the generation plant to the end consumers will be done by means of a distribution line formed by low voltage (LV) line at 415V for three phase and 240V for single phase. All lines shall be over-head mounted on concrete poles or eco poles. The project implementing agency and KPLC will seek way leaves for the LV lines which will run along road reserves and boundaries within the supply area.

## Site Ownership

The proposed works will be carried out on 1.023 hectares proposed site which the community identified for setting up the project. Stakeholder engagement with the community on this matter has been conducted. The proposed site land falls in South Samburu ranch owned by the Qarse Goftu community. The sub-project site will be acquired by NLC compulsorily and affected communities compensated in-kind through their community project of choice.

## Access to the Site

It is proposed that the Qarse Goftu Solar Mini-grid will have one access road, which will be designed according to KPLC’s standards, taking into account the Ministry of Road’s requirements. However, a proper access to the site and drainage will be constructed to safely access the Mini -grid site and to avoid flooding.

## Fencing and Security

The proposed site is within Qarse Goftu shopping Centre. The site is in an area that is basically open and in close proximity to residentials and public facilities. This calls for proper security measures to be put in place to protect both human and domestic animals from accessing the Solar Mini-grid site. Therefore, the Mini-grid will have a chain link fence to keep off the electrical installation away from access by unauthorized persons or animals. A gate will be constructed at the entrance to the site which will be locked at all times. The Mini-grid will be lit at night, and a photocell will be used to automatically switch on the lights at a set time each evening. The Mini-grid will also be guarded at all times by two security guards during the day and two guards at night.

## Fire Safety

There is potential of fire on the site and this will be avoided by the provision of fire protection and firefighting equipment including fire extinguishers, signage, danger plates and name plates. The fire equipment will be placed where they are visible and easy to reach.

## Vegetation Undergrowth

Concrete will be used on surfaces where it is required leaving the rest of the areas covered with vegetation. Vegetation undergrowth will be managed by regular slashing and cleaning up of the site compound.

## Project Activities

The final design and construction of the Solar Mini-grid will be undertaken by a contractor selected through a competitive bidding process. Construction will be supervised by KPLC to ensure works are undertaken in accordance to specifications. This is to ensure quality work is achieved.

It is anticipated that the proposed site will undergo alteration during construction to install the Solar Mini-grid and associated structures. Some of the activities envisaged in this project include: site clearance and leveling, civil works and construction of utilities and structures for the facilities, installation and connection of the power plant as described in the section below.

Safety protocol, requirements and precautions and established National and International Environmental protection regulations/ standards as well as all management plans proposed under this ESIA report for this project, shall guide the contractor and project operator during the project cycle. Modest construction procedures will be followed to reduce noise and vibration levels and the production of dust and any form of pollution that may affect the neighboring community within the project area.

### Project cost

Qarse Goftu solar project cost is estimated at USD. 550,430

## Construction Procedures

All construction activities including ground preparation, earth moving, materials delivery, building, walling, roofing and the installation of amenities (power, water, communication equipment, etc.), fittings (doors, windows, safety provisions, etc.) will be carried out by competent personnel obtained through respectable contractors to ensure consistent high standard of finish and providing superb value for money.

### Construction Activities Outline

Construction activities will involve the following:

- The contractor shall perform site investigations in good time to ensure appropriate designs and construction is done on a sound engineering basis.

- Site preparation (groundbreaking, clearance of vegetation, preparation of a site office and stores, fencing to avoid intrusion),

- Disposal of any soil that could is not required, excavations/earth moving, filling and foundation laying,

- Procurement of construction materials and delivery of the same to the site,

- Storage and utilization of materials,

- Civil, mechanical, and electrical works,

- Building works, trampling and removal of construction wastes,

- Construction of fuel storage tank

- Installing of containerized generators

- Piping of fuel lines

- Cabling

- Installation of the Mini-grid

- Completion of the plant

- Post construction clean–up, restoration and landscaping of site

- Load testing

- Remedying of defects after functional tests

- Solid waste collection and commissioning of the plant.

During construction, the contractor shall observe safety and shall erect warning signs to warn on any potential hazards, ensure proper and efficient use of Personal Protective equipment (PPE) for all on site and observe safe work procedures.

#### Soil Excavation

Soil will be excavated to pave way for the construction of the Solar Mini-grid. Soil excavation process shall be done with utmost care to ensure that the excavated soil is not improperly heaped or not carried away by any surface flows to any nearby surface waters causing siltation. The excavated soil will be used to backfill, and any remainder shall be disposed appropriately in accordance with the environmental management plan.  Company safety and environmental policy and other established local environmental protection regulations/standards shall guide the contractor. This will include appropriate safety wear at all times and the contractor will appoint a safety officer on site during all construction activities.

#### Construction Supervision and Safety

Throughout the construction phase, supervision shall be carried out by the KPLC to ensure:

- Workers use personal protective equipment (such as hand gloves, helmets, safety shoes ear muffs, overalls and dust coats) at all times as is appropriate

- Motorized equipment are checked to ensure that they are in good working condition, safe to use and produce minimal noise levels and reduced smoke emission.

- Provision of first aid kit and firefighting equipment (portable cylinders) and placement at strategic positions for access

- Proper disposal of waste material and toilet facilities are provided for construction workers

- Emergency response procedures are in place and all workers are aware of them like in case of fire.

- Any work involving deep excavations, elevated heights and lifting heavy loads, poses a number of risks to personnel. The contractor shall develop a worksite plan before commencement of each of the construction. This will ensure that personnel are equipped with the correct protective clothing and equipment and are ready to work safely while also safeguarding the environment.

- Workers shall be provided ablutions facilities and changing rooms.

#### Mini-grid Components

The following components are planned to be constructed and operated on site. The same will need to undergo regular maintenance during the operation phase.

- Technician Room

- Battery Room

- Generator Room

- PV Array/Panels

- Distribution network

- Guard house

### Operation Phase Activities

The Solar Mini-grid will be operated and maintained by the contractor for the first Seven years and then handed over to KPLC and operators. During operation phase of the project, no unauthorized person shall access the Solar Mini-grid site. This is in line with company policy to ensure safety of staff and the public. Routine maintenance is to be done under supervision by authorized staff.

Throughout the project life, the KPLC shall adhere to all requirements of National Environmental Management Authority (NEMA) and any other applicable legislation regarding environmental and socio – economic impacts.

### Project’s Decommissioning Activities

Kenya Power shall submit a decommissioning plan to NEMA in good time prior to decommissioning. The decommissioning plan should include a restoration plan.

At the decommissioning/demolition phase, the following activities will take place;

- Removal of Solar Mini-grid panels and Diesel Generator and their associated switching equipment’s

- Removal of electrical fittings, bus bars and steel poles/structures

- Demolish and carefully handle components that contain oil and fuels like the Diesel generators

- Ensure proper handling of the demolished materials and have an authorized and guided transportation and disposal away from human settlement, water bodies and wildlife conservation area in line with NEMA requirements for safe disposal

- Demolish and remove all the concrete works

The host environment should be rehabilitated and restored to its former state through:

- Approved and appropriate landscaping methodology.

- Planting of vegetation.

- Removal of any soils that may have been impacted by oils or fuels for offsite (away from the project area) remediation.

## Construction Materials, Equipment and services

All materials that will be used in construction of this project shall be of high quality in line with the Kenya Bureau of Standards. Sufficient materials and equipment shall be purchased and stored on site to avoid wastage. Most of the materials are locally available and the contractor should source from within the project area.

### Input Materials and Equipment & Machinery

Works and construction activities are expected to use quality construction materials and procedures to ensure quality work, occupational and public safety and environmental protection. The following inputs and equipment will be required for construction:

- Lorries

- Plumbing equipment

- Concrete mixers

- Welding machines, wheelbarrows

- Electrical equipment

- Excavators

- Raw construction materials (Sand, cement, natural building stone blocks, hard core, gravel, concrete among others).

- Timber (e.g., doors and frames, fixed furniture, etc.),

- Paints, solvents, whitewash, etc.,

- Labor force (of both skilled and unskilled workers).

- Generator Sets,

- Bus bars, Switch gears, Circuit breakers

- Lightning arrestors and Steel structure members

- Water

- Solar panels

- Conductors

- Poles

- Meters

- Fuels (Diesel)

- Sand

- Hardcore

- Building stones

- Glass

### Use of Services and Resources

#### Water

Water is key in the construction of this project. Water will be required for potable use and in the construction of the foundations for the control room, guard house and any other works. The contractor will source water from elsewhere rather than the community dam because water may not be enough for the community for use during construction and operation.

#### Labor

The size and the composition of the workforce will be at the discretion of the contractor(s). The contractors will adhere to the Employment Act of 2007 in the recruitment and management of the employees. It is recommended that the contractor seeks unskilled labor from the surrounding areas.

#### Sewerage

A negligible sewerage flow is anticipated for the duration of the construction period. On site, use will be made of toilets that will be serviced periodically. For operations, a similarly negligible amount of sewerage will be generated. The area is not served by a sewer system and the KPLC will make use of septic tanks to dispose waste during operation period.

#### Roads

Existing roads will be utilized as far as possible during the construction and operational periods. No new road will be constructed because there is an existing road to the Solar Mini-grid. The flow of traffic to the site during the construction period will increase and management of traffic will be paramount.

During operations there will be virtually very low traffic considering because once operational the Solar Mini-grid will require minimal maintenance.

#### Electricity

Electricity will be essential for the proposed project both during construction and operation. The contractor will have to have a portable generator during construction for fabrication and welding where necessary but Kenya Power will provide electricity for operations from its constructed Solar Mini-grid electrical network in the area since the area will be well served with power after competition of the Solar Mini-grid.

The project KPLC should ensure that all material sourcing does not trigger any environmental or social impacts. All hazardous materials should be handled according to the NEMA regulations on hazardous waste. All new unidentified impacts should be mitigated and managed in a responsible manner throughout the project cycle by the contractor and the project operator.

## Products, By-Products and Waste

The sections below provide an overview of the products, by-products and wastes to be generated by the project. Most of these will be generated during the construction phase of the project while some will be generated during the operation and decommissioning phases.

### Construction Phase

The final product after construction phase is a modern Solar Mini-grid and its associated structures.

#### By-products

During the construction phase of the project no by-products is envisaged.

#### Waste

During construction the proposed project is anticipated to generate different waste which shall include:

#### Domestic Waste from the Construction Area

The workers will not be supplied with any forms of foodstuffs. They are expected to buy or carry their own food. Plastic bags and containers which the workers will use to carry their food are expected to increase within the site. Other forms of waste include sanitary waste and therefore the provision of sanitary facilities will need to be considered both for the site construction workers and any other person coming to site.

#### Site Construction Waste

The project will generate waste from the site construction activities which includes:

- Excavated soils and vegetation;

- Construction equipment and maintenance wastes;

- Dust and fumes;

- Scrap metals;

- Packaging materials, etc.

- Metal cuttings generated from the construction activities

- Any excess construction materials brought to the project site by the contractor which can be reused later

#### Dust

The construction activities that will occur particularly during the site excavation process will generate dust and other particulates particularly during dry weather conditions that will be released into the atmosphere.

#### Smoke Emissions

The site machinery, equipment and trucks brought in by the contractor are expected to generate smoke emissions when in operation during the construction activities. The concentration of emissions will depend on the maintenance levels of the equipment, machinery and trucks used by the contractor.

### Operation Phase

#### Products

The primary product of the proposed project during the operational phase will be electricity generated from Solar Mini-grid and distributed

#### By-products

The by-product anticipated to be generated during operational phase is used oil.

#### Waste

The wastes that will be generated will include;

#### Domestic Waste

Some of the domestic waste to be generated at the facility include waste paper and empty cans. Other waste will include sanitary facilities effluent which will directed to septic tank.

#### Process Waste

Some of the waste anticipated from the process will include used/ waste oil from stand by generator which will require to be managed well by ensuring containment of any spillage and incineration oily rags used during maintenance of generators. Solid waste will include faulty or obsolete batteries and solar panels, conductor and scrap metals during replacement which takes several years before being replaced.

### Decommissioning Phase

#### Products and By-products

During the decommissioning phase it is expected that there will be no product. However, the by-products during decommissioning phase will include:

- Metal generated from the decommissioning of Solar Mini-grid and associated infrastructure; and

- Foundation materials which can be donated to individuals for reuse

#### Waste

During the decommissioning phase of the proposed project, several waste products are expected to be generated. These shall include:

- Remains of concrete from demolition of Mini-grid foundation

- Dusts and fumes;

- Scrap metals;

- Solar Panels

- Batteries

- Generator

#### Dust

The activities that will occur particularly during the demolition process will generate a considerable amount of dust and other particulates that will be released into the atmosphere.

#### Smoke Emissions

The demolition machinery, equipment and trucks used are expected to generate smoke emissions. The concentration of emissions will depend on the maintenance levels of the equipment, machinery and trucks used by the contractor.

### Safety of the Facility

As is with other projects, the proposed project is prone to both natural and man-made disasters. However, it is difficult to prevent the occurrence of natural disasters, but the consequences could be reduced by engineering measures. Man-made disasters on the other are preventable. The following safety concerns will be addressed in the proposed project.

#### Natural Disasters

In order to reduce the impacts of any potential natural disaster, the proposed project will be designed according to acceptable standards and code and shall be able to reasonably withstand any impacts which may arise as a result of the worst credible seismic event.

#### Malicious Damage or Theft

The proposed project could be prone to malicious damage such as terrorist attack or theft. To prevent the occurrence of such events, the following measures will be taken:

- Regular monitoring and inspection of the project and its associated infrastructure.

- 24-hour guard of the premises/office block

#### Hazard Risk Assessment

An emergency response procedure will be prepared by the KPLC and be communicated to the contractor. As a minimum requirement, the emergency management plan will cover the following aspects:

- Safety regulations

- Scope of the safety emergency plan

- Notification of local authorities

- Details of the proposed project

- Aim of the safety emergency plan

- Objectives of the study emergency plan

- Emergency arrangements, procedures and plans

- Roles and responsibilities in the event of an emergency

- Evacuation of people

- The role of local communities

- Regular testing of the safety emergency plan

- The risk assessment will include as a minimum:

    - A general process of the project being investigated

    - A description of the potential major incidents associated with that type of installation and the consequences of such incidents

    - An estimation of the probability of a major incident

    - A copy of the site emergency plan

    - An estimation of the damages in the case of an explosion or fire

    - An estimation of the effects of toxic gas releases.

    - The potential effect of an incident on the project or part thereof or an adjacent project or part thereof.

    - The potential effect of a major incident on any other installations, members of the public and residential areas.

    - Meteorological tendencies

    - The suitability of existing emergency procedures for the risks identified.

    - Any requirements laid down in the OSHA 2007 and EMCA 1999.

    - Recommendations regarding any organizational measures

# ANALYSIS OF PROJECT ALTERNATIVES

## 3.1 Consideration of Project Alternatives

In this chapter, various alternatives available to the project are discussed. The alternatives are as follows; “no-go/do nothing” alternative, alternative construction materials and technology, the alternative Mini-grid site and alternative sources of energy identified during the ESIA process.

The identification and examination of alternatives is fundamental to environmental assessment. It provides decision-makers with information that enables them to properly consider optimal solutions to development proposals. Alternatives illustrate and contrast the environmental implications and consequences of different options available to achieve the same end. In this way, both the KPLC and the authorities who must consider granting the authorization, are put in a position where all involved are able to make informed choices or decisions.

This section analyses the project alternatives in terms of site, technology and waste management options.

## Factors considered while selecting the site for the proposed project

Mini Off-grid Sites under KOSAP were selected based on a number of factors.

- Geophysical Factors-Proximity to Hills-Shade effect, Soil erosion, Drainage of the area, Flooding etc.

- Land identified is free from any dispute on ownership or any other encumbrances

- Proximity to public utilities-Schools, Dispensaries, Places of worship and community settlements

- No squatters, encroachers or other claims to the land

- The Size of the Mini Off-grid to be constructed and the optimal coverage of a Mini Off-grid in terms of the number of people to be reached.

- The Land identified should be on spaces set aside for public use within the community centres.

- The land was identified by the beneficiary communities and confirmed by technical staff to be suitable for the sub-project and free from any environmental or health risks. The impacts on the Community will be marginal and will not result in displacement of households or cause loss of household’s incomes and livelihood.

The site identified was considered against the criteria highlighted above and was found suitable for Mini Off-grid construction

## Relocation Option

Relocation option to different sites is an option available before the project implementation. At present the project KPLC does not have alternative sites in the general direction of the proposed sites. This means that the project proponent has to look for the alternative lands. Looking for the lands to accommodate the scale and size of the proposed project and completing official transaction may take a long time although there is no guarantee that the land would be available.

This project is to improve electrification and accessibility to an already established market center. Several alternatives were considered to improve other areas, but this one was selected because it meets the electrification needs of the area

In consideration of the above concerns and assessment of the current proposed sites, relocation of the projects is not a viable option.

## Zero or No Project Alternative

The No Project option in respect to the proposed project implies that the status quo is maintained. This option is the most suitable alternative from an extreme environmental perspective as it ensures non-interference with the existing conditions. This option will however, involve several losses both to Qarse Goftu village and the community as a whole. The target PAPs will stay without electricity and the government objectives of bring electricity in order to open up the area and provide better public services will not be realized. The No Project Option is the least preferred from the socio-economic and partly environmental perspective due to the following factors:

- The socio-economic status of target communities the local economy would remain unchanged.

- Generation of employment opportunities through expansion of business activities that would have been spurred by availability of electric power will not occur

- Opening up the area for investors will not occur.

- Health benefits that come with electricity will not be realized

- The targeted consumers will forgo the desired electricity supply in the area

- The country won’t meet its energy requirement

- The objectives of the government’s efforts towards achieving Vision 2030 will not be realized.

From the analysis above, it becomes apparent that the no project alternative means no project to the local people and the Government of Kenya and the benefits outlined above and other indirect benefits that would accrue from construction of the proposed project.

It is thereby concluded that the ‘do-nothing’ option is not a good option economically and should therefore be discouraged and rejected. It is therefore imperative for KPLC to establish a new solar mini-grid in the area and supply the community with clean energy.

## Alternative Sources of Energy

### Thermal Power Generation

Thermal power through installation of Diesel Gen Sets is an option which can be considered to provide power to Qarse Goftu. This would need more than 250-300litres of Industrial Diesel Oil (IDO) is burnt daily to generate targeted 50kWp of electricity at Qarse Goftu. Thermal generation can also be fueled using alternative fuels such as natural gas, bio diesel, industrial kerosene, heavy vehicle fuel, coal and unleaded petrol. Thermal power generation has serious negative environmental impacts including generation hence the need for the KPLC to install the proposed solar power plant.

### Hydro Electric Power – HEP

This would mean exploring the possibility of extending the existing national grid to Qarse Goftu since there are no hydro facilities within the region to facilitate HEP generation. The proposed project is quite far from the national grid hence this is a costly venture and may take time before the residents need power for their livelihood.

### Other Sources of Energy:

Wood fuel is the greatest source of Energy contributing to 80% of energy requirements in Africa. Over reliance on wood has led to deforestation, desertification, global warming and climatic change among other socio – economic demerits. The Government of Kenya should look into the possibility of using nuclear energy to generate electricity. This is a long-term consideration and also has several deleterious effects to the environment and human health. Nuclear Waste disposal will also create a huge environmental challenge.

Based on this discussion the proposed solar Mini-grid presents the most appropriate option of electrifying/ bringing power to Qarse Goftu in terms of technology, cost and environmental considerations.

## Analysis of Alternative Construction Materials and Technology

The proposed solar Mini-grid will be constructed using modern, locally and internationally accepted materials to achieve public health, safety, security and environmental aesthetic requirements. Equipment that guarantees efficient use of locally available materials will be encouraged to ensure reliability in supply with minimum power loss and good design to allow efficient distribution of power in the area.

The support structures in the Solar Mini-grid can be wooden or steel. Because of its durability and strength, steel is the best choice and all support structures will be steel. Perimeter fence can be a reinforced wire mesh fixed to support structures that can be wooden, concrete or steel. Alternatively, a stone perimeter wall can be constructed and this is the option of choice since it is more durable, offer better protection and requires less maintenance.

The design of the solar mini-grid will be easy to install and dismantle with minimum labor requirements and maintenance costs will be minimal. The process material that are input for the proposed project such as generator diesel fuel and oil and water for cooling the generator and for cleaning purposes are critical elements. There is no alternative for generator oil and water for standby generator cooling and for mini-grid facilities cleaning water. So, the task was to assess alternative water and Diesel generator oils and fuel sources for the project.

## Solid Waste Management Alternatives

A lot of solid wastes will be generated from the proposed project. An integrated solid waste management system is recommendable. First, the KPLC will give priority to reduction at source of the materials. This option will demand a solid waste management awareness program in the management and the staff. Recycling and reuse options of the waste will be the second alternative in priority. This will call for a source separation program to be put in place. The third priority in the hierarchy of options is combustion of the waste that is not recyclable. Finally, the KPLC will need to establish partnership with NEMA approved waste handlers for regular waste removal and disposal in an environmentally-friendly manner. In this regard, a NEMA registered solid waste handler would have to be engaged. This is the most practical and feasible option for solid waste management.

## Alternative Solar Mini-grid Site

The identification of potential Mini-grid site for the proposed Qarse Goftu Solar Mini-grid involved site visits to the study area, preliminary site assessments and consultations among the concerned departments of the KPLC, MOE and REREC. Two sites have been proposed by the community:

Site A-consultations among the community members found that the site belonged to any individual and according to the best practice of avoiding physical displacement the land was found to be unviable.

Site B- is portion of land which is next identified for the Mini-grid. The site identified is part of a larger piece of land which had been identified by the community for setting up community service projects . Between site A and B, site A was rejected because it would result in physical displacement and site B was found to be suitable for the project.

The appropriateness of potential Mini-grid sites identified by the KPLC during the initial site visits was assessed in terms of various suitability criteria and technical restrictions stipulated by KPLC, as outlined below:

- Load growth - the location of Mini-grid first and foremost is informed by the existing and also load growth of an area. Technical studies show that the area will experience load growth over time and there is need to supply electricity.

- Size – proposed potential sites need to be sufficient for the average size of Solar Mini-grid and associated auxiliary facilities. Therefore, the size acquired must meet the required size. The proposed site is 1.023 hectares.

- Topography – consideration is given to the topography of potential sites whereby flat or gently sloping topography is preferred. An ideal gradient for the natural ground is 1:100. A gentle slope facilitates surface drainage and movement of vehicles and people on-site during construction. A steep slope requires costly leveling (cut and fill) for the construction of the solar Mini-grid. In addition, a steep slope inhibits movement, makes vehicle access problematic and increases the potential for environmental impacts during construction as well as operation e.g., steeper slopes have higher surface water flow rates and therefore higher erosive potential. The proposed site is flat and cost-effective during construction.

- Hydrology – consideration is given to the proximity of potential sites to adjacent water courses and wetlands where there may be potential impacts in terms of erosion and siltation of water courses, as well as implications associated with storm-water control at the Solar Mini-grid site. The site is not close to water resources or wetland and so no impact to water sources through siltation. Further, construction of drainage is not complicated.

- Geology and soils – consideration is given to the soil type present within the potential site whereby stable soil and founding conditions are preferable. Less stable soils, i.e., shallow, dispersive soils and soils with poor drainage present an erosion hazard if not managed correctly, and also require the instalment of additional, costly foundation infrastructure. The soils at the site are well drained.

- Flora and fauna – potential sites need to be assessed in terms of their ecological value at both a macro and micro scale i.e., within the site and the environment surrounding the site. Both a faunal and floral investigation may be required, with particular emphasis on ensuring the protection of endemic and red data species and their habitat, should they be present. An identified site that has a high ecological value may be excluded from the list of potential sites. The site is not of a high ecological value.

- Visibility – highly visible sites i.e., on a ridge / elevated terrain are considered less favorable in that they have a high visual impact on the surrounding landscape. Sites that are hidden or out of site e.g., behind a hill, may be considered more suitable; the site is on flat part near chief’s office and may not create sharp visual impact because it is not on an elevated point.

- Access – it is preferable that potential sites are located in close proximity to existing public roads so as to avoid the need for construction of new access roads of considerable length. Access is also important particularly as it relates to the transportation of the solar panels, batteries and generator to the site, which are heavy weights and requires the use of a low-bend vehicle. As such, long access routes with sharp bends are to be avoided and the site should not be located in an area that has excessively steep inclines or declines that could hinder access, particularly during periods of heavy rainfall; the site is well accessible as it along the road.

- Distance to site – it is important that the site be located strategically within the receiving area’s electrical load Centre; this is true of the proposed site. The site is approximately 500metres from the Qarse Goftu shopping Centre and school.

- Adjacent land use – adjacent land use has implications for access and required clearances for the power lines extending from the solar plant site, i.e., it is important that the land surrounding the Mini-grid is relatively clear of obstructions which might otherwise inhibit / obstruct the path of the power lines out of the Mini-grid. Current and future development planning of adjacent land use should therefore also be considered. The site and the developments around do not pose a hindrance for incoming and outgoing feeders.

- Public acceptability – public acceptance criteria relate to such issues as the possible adverse impact on public health, quality of life, and local land and property values. During the public consultations there was overwhelming support for the project with mitigation measures being put in place for the negative impacts.

Based on the above-mentioned suitability criteria and technical requirements, the proponent decides to put up the Solar Mini-grid within Qarse Goftu.  Relocation option to a different site is an option available to the proponent. The project proponent can look for alternative land to accommodate the scale and size of the project. However, this will be a costly venture, may take a long time although there is no guarantee that the land would be available in the targeted area. It is recommendable that the proponent be allowed to install the project in the proposed site.

# 4 ANALYSIS BASELINE INFORMATION

## 4.1	Study Area

Based on the secondary information of the region, the following baseline information on environment, ecology and social has been discussed under the sections below.

## Environment Baseline

### Geology and Soil

Plate 1: Rock Type in the Project Area

The site is generally covered with young sedimentary rocks. The soils in the project location were predominantly sandy soil with patches of depressed land of loam soil.

### Topography

The ground is relatively flat with natural seasonal water ways.

### Hydrogeology and Drainage

The project has underground water table.  The main drainage is natural water ways.

### Ground Water Development

The ground water resources were majorly identified during the site assessment by means of observation and selected data hydrological model of the area. The site has a borehole indicating presence of underground water. However, the water is slightly salty.

## Ecological Conditions

The project area encompasses low trees, grass, and shrubs. The project site is located in an ecological Zone V-VI, categorized as semi-arid. Zone V receives annual rainfall between 300-600mm, supporting low trees, grass, and shrubs. Zone VI receives 200-400mm of rainfall annually. The county, including the project area, experiences erratic and brief rainfall, averaging 240mm per year, unsuitable for vegetation and rain-fed agriculture. The region has two rainy seasons: short rains (October-December) and long rains (March-May). Predominant crops during these periods are maize and beans. Qarse Goftu features drought-resistant flora such as Acacia Spps, Vachellia reficiens, Commiphora Spps, Balanites aegyptiaca, Azadirachta indica (Mwarobaini), Salvadora persica, and gum trees. Fauna includes Somali ostriches, antelopes, dik-dik, and various bird species like Kite, Heron, Sacred Bird, and Marabou Stork

Plate 2: Vegetation species

## Climatic Conditions

The area receives an average of 240 mm precipitation annually. The average temperature is 29°C. There are two rainy seasons’ i.e., short, and long rains. The short rains are expected between October to December and the long rains

## Socio-economic Environment

### Demographic Profile

Qarse Goftu location has a population of approximately 10,000 people with estimate number of households as 600 households within the area with an average household size of 7 individuals. The gender ration is currently estimated to be about 45% male and 55% female.

The village is dominated by Degodia ethnic group which make 100% of the general population and is primarily of Islam religion.

Below is a summary of demographic profile of Qarse Goftu location.

Table 10: Demographic profile of Qarse Goftu location

| Attribute | Magnitude/Number |
| --- | --- |
| Approx. population | 4,200 |
| Households | 600 |
| Gender. | Male – 45% Female – 55% |
| Ave. No. per household | 7 per household |
| Indigenous | Indigenous- 100% Settlers – 0% |
| Vulnerable classes | Elderly (50), PLWDs (20) |
| Dominant ethnic group | Degodia |
| Primary religion | Islam |
| Other groups | - |
| Employment (formal/Informal) | Formal – Approximately 2% Informal – 10% |

The village has approximately 70 vulnerable households that mainly compose of the elderly and the PLWDs. The average growth rate of the population is on the upward trajectory with generally high birth rates.

### Educational Infrastructure

Plate 3: Part of Qarse Goftu Primary School

There is 1 public primary school namely Qarse Goftu Primary (within the Qarse Goftu center) and there 1 Secondary school namely Qarse Goftu Secondary School which is about 4km from the center.

The schools are generally understaffed and lack adequate classrooms, toilet facilities and water. Teachers are mainly TSC employed although ECD and PTA teachers have also been employed to bridge the deficit.

### Occupation and Livelihood Profile

The community main sources of income are livestock rearing and small-scale crop production. The community practice open irrigation which is restricted to only rainy seasons.

Livestock reared include camels, cattle, shoats, donkey, and chickens both for subsistence and for income generation. The major crops grown are maize, sorghum, beans, tomatoes, and onions 80% of which is consumed within the household while 20% is for sale.

The main formal jobs at the area are teaching and other civil servants which accounts to approximately 2% of the population. About 5% of the population is involved in informal employment while the rest have no employment.

### Land Use

There are two types of land in Wajir County: Private and Communal land. Private land is mainly found is town and used for residential, business and crop/fodder production.

The land type within the project area is communal. The main activities undertaken on available land area are Livestock rearing as major livelihood and crop farming at low scale.

The project site is within a land which is communally owned, there are no environmentally sensitive areas to be affected.

An A-RAP applies where affected persons are not physically displaced, and less than 10% of their productive assets are lost, or fewer than 200 people are displaced. In the case of KOSAP sub-projects, there is no physical displacement of affected persons, and the foreseen impacts on livelihoods such as grazing occasioned by mini-grid construction, wayleaves acquisition, and implementation of community projects are considered minor. A-RAPs will be implemented for sub-project sites on registered and unregistered community land/group ranches.

### Health facilities

Plate 4: Dispensary Storage

There is one public health facility namely Qarse Goftu dispensary in the area which operates between 8 am and 5 pm and serves a population of approximately 5200 people within a 5km radius.

It offers general health care services like Out-Patient care, Immunization, Maternity services, and Mother Child Healthcare (MCH). The health care services available are accessible for free.

The facility is generally understaffed as it only has 1 nurse and currently lacks toilets, incinerator, maternity equipment, and water supply. It was also observed that the state of medical supply storage was unsatisfactory.

### Social and Physical Infrastructure

| Water | The main sources of water in the village the community borehole, 1 km from the center of the village which was installed by the Red Cross in 2001. Women walk for an average distance of 2 km to fetch water for domestic use. |
| --- | --- |
| Roads | The road connectivity within the area is poor and are mainly earth or gravel roads These roads become impassable during heavy rains due to the water surface run off. The roads are also encroached by trees and overgrown bushes that grow along the roadsides. |
| Mobile Network | Safaricom mobile network is available in the village. |

# RELEVANT LEGISLATIVE AND REGULATORY FRAMEWORK

## Introduction

The current legal provisions for natural resource management in Kenya are contained in over seventy sector-specific statutes. For a long time, the country lacked an umbrella legislative guide for harmonious and holistic environmental management. As such, resources were managed sectoral in accordance with the statutes that were in place.

As these statutes were contradictory at times, in 1999, the Government of Kenya enacted the Environmental Management and Co-ordination Act (EMCA) which is an umbrella legal framework under which the environment is being managed. Some amendments were made on the Act in 2015. EMCA establishes the institutional framework under which environmental management is to be coordinated. EMCA prevails over all other Sectoral laws relating to the environment in cases of conflict or contradictions. It also grants the public a locus standi in matters of the environment.

## Environmental Policy Framework

The Kenya government formulated a national Environmental policy in 2013 whose goal is better quality of life for present and future generations through sustainable management and use of the environment and natural resources.

According to the said policy Kenya has a wide variety of ecosystems namely mountains, forests, arid and semi-arid areas (ASALs), freshwater, wetlands, coastal and marine all offering many opportunities for sustainable human, social and economic development. These ecosystems are natural capitals which provide important services such as regulatory services, provision services, cultural services and supporting services implying that he survival and socio-economic wellbeing of Kenyans is ultimately intertwined with the environment.

The policy comes in handy as it provides a framework to guide the country’s efforts in addressing the ever-growing environmental issues and challenges such as: Environmental governance, Loss of biodiversity, valuation of environmental and natural resources, rehabilitation and restoration of environmentally degraded areas, urbanization, waste management and pollution, climate change, energy, security and disaster management, public participation, environmental education and awareness, data and information, poverty, chemicals management

One of the principles of the policy which this project must adhere to is that the right to development should be exercised taking into consideration sustainability, resource efficiency and economic, social and environmental needs.

## Institutional, Regulatory and Legal Framework

The multi-faceted nature of the environment and the need to integrate environmental considerations in all development planning and activities calls for cooperation and consultation among responsible government agencies and stakeholders at all levels. At present there are several institutions and departments which deal with environmental issues in Kenya. Some of the key institutions include:

- National Environment Management Authority (NEMA)

The objective and purpose for which NEMA was established is to exercise general supervision and co-ordinate over all matters relating to the environment and to be the principal instrument of the government in the implementation of all policies relating to the environment. However, NEMA’s mandate is designated to the following committees:

- County Environment Committees

According to EMCA (Amendment), 2015, every governor shall, by notice in the Gazette, constitute a County Environment Committee (CEC) of the County. The County Environment Committees are responsible for the proper management of the environment, development of county strategic environmental action plan, every five years including implementation of the plans among others.

- National Environmental Complaints Committee

The Committee performs the following functions:

Investigate any allegations or complaints against any person or against the authority in relation to the condition of the environment in Kenya and on its own motion, any suspected case of environmental degradation and to make a report of its findings together with its recommendations thereon to the Council.

Prepare and submit to the Council periodic reports of its activities which shall form part of the annual report on the state of the environment under section 9 (3) and

To perform such other functions and excise such powers as may be assigned to it by the Council.

- National Environment Action Plan Committee

This Committee is responsible for the development of a 5-year Environment Action Plan among other things. The National Environment Action Plan shall:

- Contain an analysis of the Natural Resources of Kenya with an indication as to any pattern of change in their distribution and quantity over time.

- Contain an analytical profile of the various uses and value of the natural resources incorporating considerations of intergenerational and intra-generational equity.

- Recommend appropriate legal and fiscal incentives that may be used to encourage the business community to incorporate environmental requirements into their planning and operational processes.

- Recommend methods for building national awareness through environmental education on the importance of sustainable use of the environment and natural resources for national development.

- Set out operational guidelines for the planning and management of the environment and natural resources.

- Identify actual or likely problems as may affect the natural resources and the broader environment context in which they exist.

- Identify and appraise trends in the development of urban and rural settlements, their impact on the environment, and strategies for the amelioration of their negative impacts.

- Propose guidelines for the integration of standards of environmental protection into development planning and management.

- Identify and recommend policy and legislative approaches for preventing, controlling or mitigating specific as well as general diverse impacts on the environment.

- Prioritize areas of environmental research and outline methods of using such research findings.

- prejudice to the foregoing, be reviewed and modified from time to time to incorporate emerging knowledge and realities and.

- Be binding on all persons and all government departments, agencies, States Corporation or other organ of government upon adoption by the national assembly.

- Standards and Enforcement Review Committee

This is a technical Committee responsible for environmental standards formulation methods of analysis, inspection, monitoring and technical advice on necessary mitigation measures.

- National Environment Tribunal

This tribunal guides the handling of causes related to environmental offences in the Republic of Kenya.

- National Environment Council (NEC)

EMCA 1999 No. 8 part III section 4 outlines the establishment of the National Environment Council (NEC). NEC is responsible for policy formulation and directions for purposes of EMCA; set national goals and objectives and determines policies and priorities for the protection of the environment and promote co-operation among public departments, local authorities, private sector, non-governmental organizations and such other organizations engaged in environmental protection programmes.

The project proponent will adhere to any directive issued by the above institutions that are relevant to the project.

## Relevant Statutes

The National laws and policies are as illustrated in Table 5-1 below.

Table 5.1: National Laws and Policies

| S.No. | Legislation/Guidelines | Description of the Legislation/Guidelines | Relevance of the Legislation/Guidelines |
| --- | --- | --- | --- |
|  | NATIONAL POLICY |  |  |
|  | Vision 2030 | - Kenya Vision 2030 is the current national blueprint for development from its inception in 2008 until the milestone year of 2030. This plan is the national long-term development policy that aims to transform Kenya into a newly industrialized, middle-income country by 2030. The Vision is comprised of three key pillars (economic, social, and political), two of which are projected to be positively affected by project implementation. | - Under Vision 2030, Energy is identified as one of the key sectors that form the foundation for socio-political and economic growth. Promoting equal opportunities across the entire Kenyan territory and enhancing access to competitively priced, reliable, quality, safe and sustainable energy is essential to the achievement of this vision. |
|  | The Poverty Reduction Strategy Paper (PRSP) of 2001 | - The PRSP has the twin objectives of poverty reduction and enhancing economic growth. The paper articulates Kenya ‘s commitment and approach to fighting poverty; with the basic rationale that the war against poverty cannot be won without the participation of the poor themselves. | - The proposed project aims at provision and access of renewable electricity geared towards improved economic performance and thus will contribute to poverty alleviation in the project area. |
|  | National Environmental Action Plan (NEAP) of 1994 | - The NEAP for Kenya was prepared in mid 1990s. It was a deliberate policy whose main effort is to integrate environmental considerations into the country ‘s economic and social development. The integration process was to be achieved through multi-sectoral approach to develop a comprehensive framework to ensure that environmental management and the conservation of natural resources forms an integral part of societal decision-making. | - The NEMA does not approve a development project unless the impacts of the proposed project are evaluated and mitigation measures proposed for incorporation in the project ‘s development plan, which is in line with the requirements of the NEAP. The project will be reviewed by NEMA for approval before implementation. |
|  | Environmental and Development Policy (Session Paper No.6 1999) | - As a follow-up to the foregoing, the goal of this policy is to harmonize environmental and developmental goals to ensure sustainability. The paper provides comprehensive guidelines and strategies for government action regarding environment and development. | The proponent: - Is undertaking an Environmental Impact Assessment, Social Impact Assessment and Public participation as part of the planning and approval of infrastructural projects. - Will ensure that periodic Environmental Audits are carried out for the project |
|  | The National Energy and Petroleum Policy 2015 | - The overall objective of the energy and petroleum policy is to ensure affordable, competitive, sustainable, and reliable supply of energy to meet national and county development needs at least cost, while protecting and conserving the environment. This policy stipulates the transformation of the Rural Electrification Authority (REA) to Rural Electrification and Renewable Energy Corporation (REREC) to be the lead agency for development of renewable energy resources. | The policy is relevant to the project in the sense that the project will provide sustainable and reliable energy supply and measures will be put in place to protect and conserve the environment during its development. REREC will oversee the development of the mini Off-grid and maintenance. |
|  | The Gender and Development Policy (Sessional paper no.2 2019) | - The overall goal of this policy is to achieve gender equality by creating a just society where women, men, boys, and girls have equal access to opportunities in the political, economic, cultural, and social spheres of life. | In the absence of appropriate measures, the project can exacerbate gender inequalities and sexual and gender-based violence. In adherence to this policy, measures will be put in place to: - ensure gender inclusivity in decision making, employment opportunity and access to the energy generated from the Mini Off-grid - mitigate social risks including sexual and gender-based violence, and any form of discriminations |
|  | The HIV/ AIDS Policy 2009 | In summary, the policy aims at: - Establishing and promoting programmes to ensure non-discrimination and non- stigmatization of the infected. - Contributing to national efforts to minimize the spread and mitigate against the impact of HIV and AIDS. - Ensuring adequate allocation of resources to HIV and AIDS interventions; | The proposed project is to be implemented in the rural setting at QARSE GOFTU area. The area is not economically empowered hence few HIV/AIDS prevention resources are available. This policy shall provide a framework to both the project proponent and contractor to address issues related to HIV/AIDS during the entire project phase. |
| NATIONAL LAWS |  |  |  |
|  | The Constitution of Kenya, 2010 | - The Constitution of Kenya promulgated in 2010 is the supreme law of the republic and binds all persons and all State organs at all levels of government. The Constitution provides the broad framework regulating all existence and development aspects of interest to the people of Kenya, and along which all national and sectoral legislative documents are drawn. | The proposed project complies with the Constitution by proposing a structure in its ESIA on how to deal with Social, Health, safety and environmental issues for sustainable development. |
|  | Environmental Management and Coordination Act, 1999 (And the Amendments of 2015) | - The EMCA is a framework environmental law in Kenya. This Act (assented to on January 14, 2000) provides a structured approach to environmental management in Kenya. With the EMCA coming into effect, the environmental provisions within the sectoral laws were not superseded; instead, the environmental provisions within those laws were reinforced to better manage Kenya’s ailing environment. | The proposed project will be undertaken in accordance with relevant sections of the EMCA, specifically Clauses 58 – 63. These sections of the Act are operationalized by subsidiary legislation promulgated under the Act and specifically Legal Notice (L.N.) 101: Environment (Impact Assessment and Audit) Regulations, 2003. |
|  | L.N. 101: EIA/EA Regulations, 2003 And 2016 Amendments | - These regulations provide the framework for undertaking EIAs and EAs in Kenya by NEMA licensed Lead Experts and Firms of Experts. An EIA or EA Study in Kenya is to be undertaken by a firm duly licensed by the NEMA. The EIA/EA Regulations also provide information to project proponents on the requirements of either an EIA or EA as required by the EMCA. | The proposed project is subject to relevant provisions of these regulations and subsequently, the ESIA has been undertaken in accordance with the requirements. |
|  | L.N. 120: Water Quality Regulations, 2006 | - This regulation provides for the sustainable management of water used for various purposes in Kenya. The regulation contains discharge limits for various environmental parameters into public sewers and the environment. | The contractor will be required to properly manage the effluent from construction activities in accordance with the above regulations prior to discharge into the environment. |
|  | L.N. 121: Waste Management Regulations, 2006 | - Generally, it is a requirement under the regulations that a waste generator segregates waste (hazardous and non-hazardous) by type and then disposes them in an environmentally acceptable manner. | Waste to be disposed in accordance with these regulations. |
|  | L.N. 61: Noise and Excessive Vibration Control Regulations, 2009 | - The general prohibition of these regulations states that no person shall make or cause to be made any loud, unreasonable, unnecessary, or unusual noise which annoys, disturbs, injures, or endangers the comfort, repose, health, or safety of others and the environment. | Rules 13 and 14 of the regulations define the permissible noise levels for construction sites. These noise limits will be applicable to the proposed project. |
|  | Environmental Management and Coordination, (Conservation of Biological Diversity) (BD) Regulations 2006 | - These regulations are described in Legal Notice No. 160 of the Kenya Gazette Supplement No. 84, December 2006. These regulations apply to conservation of biodiversity which includes conservation of threatened species, inventory and monitoring of BD and protection of environmentally significant areas, access to genetic resources, benefit sharing and offences and penalties. - Additionally, this regulation provides for the local enforcement of the International Convention on Biological Diversity (CBD). | The proposed project will impact biodiversity through clearance of vegetation on the proposed site. This will be done in strict adherence to ESMMP, and revegetation of degraded site will be done as spelt out in the ESMMP |
|  | Environmental Management and Coordination, (Fossil Fuel Emission Control) Regulations 2006 | - These regulations are described in Legal Notice No. 131 of the Kenya Gazette Supplement No. 74, October 2006. These regulations include internal combustion engine emission standards, emission inspections, the power of emission inspectors, fuel catalysts, licensing to treat fuel, cost of clearing pollution and partnership to control fossil fuel emissions. The proposed project will generate fuel emissions linked to the back-up generator. This will only happen when the sun rays are poor. | This legislation gives caution to proponent on proper handling and management of fuels. The KPLC will adhere to the ESMMP while handling and managing the fuels |
|  | Licenses and Permits Required Under The EMCA | - The subsidiary legislations under the EMCA are partially monitored using permits and licenses. Subsequently all licenses and permits required during the construction phase shall be the responsibility of the individual contractors and their agents. During the operational phase, all permits, and licenses required to operate the project will be the responsibility of the proponent. | The following permits and licenses to be available for inspection during the construction and operational phases of the project: - EIA License under Environmental Management and Coordination Act, 1999. - Workplace Registration under Occupational Safety and Health Act, 2007. - Construction Permit by the County Government; and - Noise Permit under Legal Notice 61: The Environment Management and Coordination (Noise and Excessive Vibration Control) Regulations, 2009. |
|  | Occupational Health and Safety Act, 2007 | - The Occupational Safety and Health Act (OSHA) was enacted to provide for the health, safety and welfare of persons employed in workplaces, and for matters incidental thereto and connected therewith. | The contractors will be required to fully comply with Legal Notice 40 titled: Building Operations and Works of Engineering Construction Rules, 1984 (BOWEC). Each contractor will develop and implement a formal construction health and safety plan. |
|  | L.N. 31: The Safety and Health Committee Rules, 2004 | - These rules came into effect on April 28, 2004, and require that an Occupier formalize a S&H Committee if there is a minimum of 20 persons employed in the workplace. The size of the S&H Committee will depend on the number of workers employed at the place of work | The contractor will be required to constitute Health and Safety Committee to oversee safety and health at the construction site |
|  | L.N. 24: Medical Examination Rules, 2005 | - These rules provide for Occupiers to mandatorily undertake pre-employment, periodic, and termination medical evaluations of workers whose occupations are stipulated in the Eighth Schedule to the OSHA and the First Schedule to this Rules. Workers that fall under the above two schedules are required to undergo medical evaluations by a registered medical health practitioner duly registered by the DOSHS. | The contractor should that the workers exposed to hazards and or accidents undergo requisite medical examinations as required by these rules |
|  | L.N. 25: Noise Prevention and Control Rules, 2005 | The rules set the permissible level for occupational noise in any workplace (which includes construction sites) The Proponent is to ensure that - any equipment brought to the site for use shall be designed or have built-in noise reduction devices that do not exceed 90 dB(A). - those employees that may be exposed to continuous noise levels of 85 dB(A) are medically examined as indicated in Regulation 16. If found unfit, the occupational hearing loss to the worker will be compensated as an occupational disease. | The contractor to ensure that equipment is serviced properly and/or use equipment that complies with the threshold noise values provided in the act. Alternatively, each contractor will be required to develop and implement a written hearing conservation programme during the construction phase. |
|  | L.N. 59: Fire Risk Reduction Rules, 2007 | Several sections of the rules apply to the proposed project as enumerated below. - Regulation 16 requires Proponents to ensure that electrical equipment is installed in accordance with the respective hazardous area classification system. It is also a requirement that all electrical equipment is inspected every six months by a competent person and the Proponent is required to keep records of such inspections. - Regulation 22 provides a description of the functions of a fire-fighting team. - Regulation 23 requires Proponents to mandatorily undertake fire drills at least once a year. - Regulation 34 requires Proponents to develop and implement a comprehensive written Fire Safety Policy - Regulation 35 requires a Proponent to notify the nearest Occupational S&H area office of a fire incident within 24 hours of its occurrence and a written report sent to the Director of DOSHS within 7 days. | The proponent is expected to comply with the requirements of L.N. 59: Fire Risk Reduction Rules, 2007 by - Carrying out, and record, a fire risk assessment identifying any possible dangers and risks. - Reducing, or where possible remove, the risk of fire and take precautions to deal with the remaining risks. - Developing an emergency plan should a fire occur which includes evacuation procedures etc. |
|  | The Energy Act, 2019 | - The Energy Act of 2019 deals with all matters relating to all forms of energy including the generation, transmission, distribution, supply and use of electrical energy as well as the legal basis for establishing the systems associated with these purposes. The Act also established the Energy and Petroleum Regulatory Authority (EPRA). | The proponent is in line with the Energy act regulations in the following ways. - The proponent has identified an available site - Alignment of the Mini Off-grid Project to County development plans. - The Mini Off-grid proponent has the technical and financial capability to conduct the project - The proponent has conducted the necessary engagement with the community. |
|  | Water Act, 2016 | - Part 2 section one of the Act notes that every water resource is vested in and held by the national government in trust for the people of Kenya. - Section 143 (1) notes that; A person shall not, without authority conferred under this Act- - (a) Wilfully obstruct, interfere with, divert or obstruct water from any watercourse or any water resource, or negligently allow any such obstruction, interference, diversion or abstraction; or - (b) Throw, convey, cause or permit to be thrown or conveyed, any rubbish, dirt, refuse, effluent, trade waste or other offensive matter or thing into or near to any water resource in such manner as to cause, or be likely to cause, pollution of the water resource. | All construction, operation and decommissioning phases will take caution to refrain from polluting any water resource and will endeavour to prevent pollution in line with the ESMMP. |
|  | The Energy (Solar Photovoltaic Systems) Regulations, 2012 | - These regulations shall apply to a solar PV system manufacturer, importer, vendor, technician, contractor, system owner, a solar PV system installation and consumer devices. The Regulations prohibits any person from designing or installing any solar PV system unless he/she is licensed by EPRA. | - The Regulations regulates the design and installation of PV systems. The persons engaged in the designing and installation of the Mini Off-grid shall be licensed by EPRA |
|  | The Public Health Act (Cap. 242) | - The Act prohibits the proponents from engaging in activities that cause environmental nuisance or those that cause danger, discomfort or annoyance to inhabitants or is hazardous to human and environmental health and safety. | - The proponent will be in line with the regulations of this act and will ensure suppression of infectious diseases and maintain proper sanitation during all the phases of the project. |
|  | The Standards Act Cap 496 | - The Act is meant to promote the standardization of the specification of commodities, and code of practice; to establish a Kenya Bureau of Standards, to define its functions and provide for its management and control. The KPLC will ensure that commodities and codes of practice utilized in the proposed project adhere to the provisions of this Act. | All materials and spares used to construct the project will comply with the standardized specifications and certification. |
|  | Penal Code Act (Cap.63) | - Section 191 of the penal code states that if any person or institution that voluntarily corrupts or foils water for public springs or reservoirs, rendering it less fit for its ordinary use is guilty of an offence. Section 192 of the same Act says a person who makes or vitiates the atmosphere in any place to make it noxious to health of persons /institution, dwelling or business premises in the neighbourhood or those passing along public way, commits an offence. | The KPLC shall observe the guidelines as set out in the environmental management and monitoring plan laid out in this report as well as the recommendation provided for mitigation/minimization/avoidance of adverse impacts arising from the project activities. |
|  | The Land Act, 2012 | - An Act of Parliament to give effect to Article 68 of the Constitution, to revise, consolidate and rationalize land laws; to provide for the sustainable administration and management of land and land- based resources, and for connected purposes - Forms of Tenure. 5. (1) There shall be the following forms of land tenure- (a) freehold; (b) leasehold; (c) such forms of partial interest as may be defined under this Act and other law, including but not limited to easements; and (d) customary land rights, where consistent with the Constitution. - Methods of acquisition of title to land. 7. Title to land may be acquired through— (a) allocation; (b) land adjudication process; (c) compulsory acquisition; (d) prescription; (e) settlement programs; (f) transmissions; (g) transfers; (h) long term leases exceeding twenty-one years created out of private land; or (i) any other manner prescribed in an Act of Parliament. - Conversion of land. 9. (1) Any land may be converted from one category to another in accordance with the provisions of this Act or any other written law. - (d) Community land may be converted to either private or public land in accordance with the law relating to community land enacted pursuant to Article 63(5) of the Constitution. | Land in QARSE GOFTU is community land whose tenure falls under customary land rights. KPLC will observe all the relevant provisions of the Act including conversion from community land to public land as will be deemed appropriate |
|  | Community Land Act, 2016 | - This Act is critical for the proposed project is within community land. Section 6(1) of the Act provides that ‘county governments shall hold in trust all unregistered community land on behalf of the communities for which it is held’. Furthermore, Section 6(2) maintains that ‘the respective county government shall hold in trust for a community any monies payable as compensation for compulsory acquisition of any unregistered community land’. - Section 30(1) states that ‘Every member of the community has a right to equal benefit from community land’. Section 26(1) provides that ‘a community may set aside part of the registered community land for public purposes and Sub-section (2) holds that ‘where land is set aside for public purposes under Sub-section (1), the (Land) Commission shall gazette such parcel of land as public land’. These provisions offer a window for the proposed project to acquire land for project works legally for communities as necessary and to convert the same into public land. This is useful for the project as once done powerful groups will not have opportunity to exclude them on account of their socio - economic statuses. In any event, Section 35 holds that, ‘subject to any other law, natural resources found in community land shall be used and managed- - (a) Sustainably and productively. - (b) For the benefit of the whole community including future generations. - (c) With transparency and accountability; and - (d) On the basis of equitable sharing of accruing benefits. - The concept of community land has been defined broadly enough to include VMGs. Women, children, old people, and future generations have been thought of as Project-Affected Persons (PAPs) and thus their rights secured in this Act | - The proposed project site is owned by the QARSE GOFTU community. The community has since offered the land in kind for project use. Further, based on community need assessment the proponent will undertake in kind development project to support the educational needs. |
|  | Land Registration Act, 2012 | - Section 27 (2) provides that a transfer without valuable consideration shall have the same effect as a transfer for valuable consideration when registered. | Once the KOSAP PIU finalizes stakeholder engagements in all the identified counties, the transfer process shall be commenced to ensure that the land rights are secured. This gives the project the required land security to allow project implementation, which follows this legal requirement. |
|  | Land value amendment Act 2019 | - It aims at standardizing the value of land in Kenya for the primary purpose of enhancing efficiency and expediting the compulsory land acquisition process for public projects. - It introduces Section 107A into the Land Act, which provides the criteria for the valuation of freehold and community land that is the subject of compulsory acquisition. Community Land, like freehold land, shall be valued based on the criteria outlined in Section 107A and the Land Value Index which will be jointly developed by the national government and county government. Section 5 introduces a list of the forms in which compensation can be made. | Land in QARSE GOFTU is community land. The 1.023 Hectares allocated by the community for the proposed mini Off-grid will be acquired for the project. The MOE will pay compensation in kind through implementation of projects in either water, education and health sectors. |
|  | The Environment and Land Court Act 2011 | - This is an Act of Parliament intended to give effect of article 162(2) b of the constitution; to establish a superior Court to hear and determine disputes relating to the environment and the use and occupation of, and title to, land and to make provision for its Jurisdiction functions and powers, and for connected purposes. The principal objective of this Act is to enable the Court to facilitate the just and expeditious, proportionate and accessible resolution of disputes governed by this Act. | - The project will have a grievance redress mechanism with a committee. The work of the committee will be to receive and respond to all the grievances raised. As explained in chapter five of this report, an aggrieved party will turn to the legal system after exhausting the GRM levels of resolution set. In the event any disputes on land and environment are not resolved through the project GRM, this court will provide a forum for timely resolution of such grievances. |
|  | The Physical and Land Use Planning Act, 2019 | - This Act of Parliament makes provision for the planning, use, regulation, and development of land and for connected purposes. | - The proposed site is not in contravention of any Zoning regulations. The project site is within unregistered community land; necessary county approvals will be sought by the proponent e.g., Project design approval and change of use. The approvals shall be issued by the Physical planner in the department of Lands, Housing and Urban Development – Wajir County. |
|  | The Employment Act No 11 of 2007 | - This Act is important since it provides for employer – employee relationship that is important for the activities that would promote management of the environment within the energy sector. | - With the Contractor and the Project Proponent being primary employers during the construction and operational phases of the Project, respectively, they are bound by this law to abide to its stipulations on employee management and relations |
|  | The Work Injury Benefit Act, 2007 | - This is an Act of Parliament to provide for compensation to employees for work related injuries and diseases contracted in the course of their employment | - The Proponent and Contractor will maintain an insurance policy cover for its employees, record of accident, carryout proper accident investigations; organize for pre-employment and regular medical examinations for staff. |
|  | Air Quality Regulations (2014) | - Regulation 3 stipulates that the objective of these Regulations is to provide for the prevention, control, and abatement of air pollution to ensure clean and healthy ambient air. | - The Proponent and contractor will implement mitigation during construction to ensure neighbouring properties are not impacted by nuisance dust |
| 31 | The Traffic Act Chapter 295 Laws of Kenya | - This Act consolidates the law relating to traffic on all public roads. Key sections include registration and licensing of vehicles; driving licenses; driving and other offences relating to the use of vehicles on roads; regulation of traffic; accidents; offences by drivers other than motor vehicles and other road users. - Many types of equipment and materials shall be transported through the roads to the proposed site. Their registration and licensing will be required to follow the stipulated road regulations. - The Act also prohibits encroachment on and damage to roads including land reserved for roads. | - The project will observe the provisions of the Act including management of traffic of construction vehicles as guided by the ESMMP |
| 32 | National Museums and Heritage Act, 2006 | - The Act seeks to consolidate the law relating to national museums and heritage; to provide for the establishment, control, management and development of national museums and the identification, protection, conservation and transmission of the cultural and natural heritage of Kenya; to repeal the Antiquities and Monuments Act and the National Museums Act. | - During implementation of the project, the Act will be followed in the event of case of chance find of cultural heritage on the proposed site |
| 33 | The Prevention, Protection and Assistance to Internally Displaced Persons and Affected Communities Act, 2012 | - This an Act of Parliament that provides for the prevention, protection and provision of assistance to internally displaced persons and affected communities and give effect to the Great Lakes Protocol on the Protection and Assistance to Internally Displaced Persons, and the United Nations Guiding Principles on Internal Displacement and for connected purposes. | - According to this Act, displacement in projects should be avoided to the extent possible and implementation of KOSAP sub-projects will adhere to this requirement. |
| 34 | County Government Act, 2012 | - This Act makes provisions for county governments’ powers, functions and responsibilities to deliver services and for connected purposes. Part VIII of the act on Citizen Participation (87) (b) emphasizes on the right of citizens to participate to any development projects prior to their implementation. - This Act gives guideline on planning in the County and especially the partnership in development between the National Government and other investors | - In complying with this requirement, the ESIA team held consultations on the project with the County Government of Wajir namely the Governor, County Executive Committee members for Environment, Energy and Public service and Administration. Additionally, the County government through the CEC Public service administration and the Chiefs office mobilized the communities for the consultation forums |
| 35 | The Sexual Offenses Act 2006 | - This is a comprehensive law that criminalizes a wide range of behaviours including rape, sexual assault, defilement, compelled or induced indecent acts with child imbeciles or adults, gang rape, child pornography, child trafficking, child sex tourism, child prostitution, exploitation of prostitution, incest by male and female persons, sexual harassment, deliberate transmission of HIV or other life threatening sexually transmitted disease, stupefying with sexual intent, forced sexual acts for cultural or religious reasons among others. The Act also has orders for medical treatment for victims including free HIV prophylaxis, emergency pregnancy pill and counselling. The Act provides stiff penalties in which most of the crimes attract minimum of ten years imprisonment which can be enhanced to life imprisonment. | - Implementation of a project creates changes in a community in which it is implemented and is has potential can cause shifts in power dynamics between community members and within households. For instance, male jealousy is a key driver of Gender Based Violence (GBV) which can be triggered by labor influx on a project when workers are believed to be interacting with community women. Hence, abusive behaviour can occur not only between project-related staff and those living in and around the project site, but also within the homes of those affected by the project. |
| 36 | The Children Act, 2012 | - Part 2 of the Act denotes the rights of the children, and their welfare shall be protected from child labor and armed conflict i.e. Every child shall be protected from economic exploitation and any work that is likely to be hazardous or to interfere with the child’s education, or to be harmful to the child’s health or physical, mental, spiritual, moral or social development. - The Act also notes that a shall be protected from sexual exploitation and use in prostitution, inducement or coercion to engage in any sexual activity, and exposure to obscene materials. | - Sensitization to the community on the need to ensure the protection of children has been done and will continue throughout the project cycle. In addition, the contractor will sensitize workers against abuse and exploitation of children. |
| 37 | Persons with Disability Act, Chapter 133 | - This Act provides for the protection of the rights of people with disabilities ensuring they are not marginalized and that they enjoy all the necessities of life without discrimination. The Act guarantees that (1) No person shall deny a person with a disability access to opportunities for suitable employment. (2) A qualified employee with a disability shall be subject to the same terms and conditions of employment and the same compensation, privileges, benefits, fringe benefits, incentives or allowances as qualified able-bodied employees. (3) An employee with a disability shall be entitled to exemption from tax on all income accruing from his employment. | - The Act will be adhered to in order to ensure that persons with disability are included in all decision making that affects their lives. This will be monitored to make sure they are not excluded from project benefits and exposed to negative impact from the project that could adversely affect them. |

## World Bank Environment and Social Safeguards Policies

The objective of the World Bank’s environmental and social safeguard policies is to prevent and mitigate undue harm to people and their environment in the development process. These policies provide guidelines for the bank and borrower staffs in the identification, preparation, and implementation of programs and projects. Safeguard policies have often provided a platform for the participation of stakeholders in project design and have been an important instrument for building ownership among local population.

The Safeguard Policies aims at improving decision making, to ensure that project options under consideration are sound and sustainable, and that potentially affected people have been properly consulted.

Table 5.2: WB Environmental and social safeguards Policies

| S.No. | Safeguard Policy | Objective | Applicability |
| --- | --- | --- | --- |
|  | Environment Assessment (Operational Policy, OP/BP 4.01) | The objective of this policy is to ensure that Bank-financed projects are environmentally sound and sustainable, and that decision-making is improved through appropriate analysis of actions and of their likely environmental impacts. This policy is the umbrella policy for the Bank’s environmental ‘safeguard policies. | The policy is applicable to this project because there are environmental and social concerns associated with the construction and operation of the proposed project. In response, the KPLC has commissioned and Environmental impact assessment in order to identify and address the potential impacts to a level that is acceptable. |
|  | Natural Habitats (Operational Policy, OP/BP 4.04) | This policy recognizes that the conservation of natural habitats is essential to safeguard their unique biodiversity and to maintain environmental services and products for human society and for long-term sustainable development. The Bank therefore supports the protection, management, and restoration of natural habitats in its project financing, as well as policy dialogue and economic and sector work. The Bank supports, and expects borrowers to apply, a precautionary approach to natural resource management to ensure opportunities for environmentally sustainable development. Natural habitats are land and water areas where most of the original native plant and animal species are still present. Natural habitats comprise many types of terrestrial, freshwater, coastal, and marine ecosystems. They include areas lightly modified by human activities but retaining their ecological functions and most native species. | The proposed project will not significantly affect natural habitats due to its area of coverage. Additionally, caution will be taken to ensure minimum disruptions to habitats as guided by the ESMMP. |
|  | Indigenous Peoples (Operational Policy 4.10) | The objective of this policy is to (i) ensure that the development process fosters full respect for the dignity, human rights, and cultural uniqueness of indigenous peoples; (ii) ensure that adverse effects during the development process are avoided, or if not feasible, ensure that these are minimized, mitigated or compensated; and (iii) ensure that indigenous peoples receive culturally appropriate, gender and inter-generationally inclusive social and economic benefits. | The policy is applicable because the inhabitants of QARSE GOFTU who the Degodia are classified as a marginalized group in Kenya. The Degodia are the main inhabitants of QARSE GOFTU and the sole Project-Affected Persons (PAPs) of the proposed solar mini Off-grid project. Further the proponent will continue to engage the Project-Affected Persons (PAPs) in a culturally appropriate way and allow for decision making in a free, prior and informed consent manner throughout the phases of the project. |
|  | Involuntary Resettlement (Operational Policy, OP/BP 4.12) | The objective of this policy is to (i) avoid or minimize involuntary resettlement where feasible, exploring all viable alternative project designs; (ii) assist displaced persons in improving their former living standards, income earning capacity, and production levels, or at least in restoring them; (iii) encourage community participation in planning and implementing resettlement; and (iv) provide assistance to affected people regardless of the legality of land tenure. | The policy is applicable for the entire project because there is land acquisition for the Mini Off-grid, Wayleaves, contractor facilities and worker’s camps. |

## Environmental and Social Management Framework (ESMF) for KOSAP

An Environmental & Social Management Framework (ESMF) for KOSAP was prepared by the Environment & Social Unit, Safety, Health & Environment (SHE) Department of Kenya Power in liaison with REA (now REREC) and MoEP now (MOE). The purpose of the Environmental and Social Management Framework (ESMF) was to provide a procedure for environmental and social assessment of the proposed REA, KPLC and MoEP subprojects.

The framework was prepared because the geographic coverage for KOSAP was generally known but the exact locations for the sub projects had not been identified. The ESMF provides guidelines for MoEP, KPLC & REREC in determining the appropriate level of environmental and social assessment required for the sub-projects and in preparing the necessary environmental and social mitigation measures for these sub-projects.

This ESIA report for Qarse Goftu Project Site is guided by this KOSAP ESMF.

## Resettlement Policy Framework (RPF) for KOSAP

A resettlement policy framework report was prepared following the Kenyan laws and World Bank policy (O.P 4.12) on involuntary resettlement. The RPF states that K-OSAP component 1 (Mini Off-Grids for Community Facilities, Enterprises, and Households) which involves installation of Mini Off-Grids will require land acquisition.

The Framework seeks to avoid, manage, and/or mitigate potential risks arising out of damage to assets, disruption to work, temporary negative impacts on livelihoods and/or in the unlikely case of displacement. The RPF proposes guidelines to develop a Resettlement Action Plan and propose an implementation framework for RAP to mitigate such effects. The RPF states that involuntary resettlement and land acquisition will be avoided where feasible or minimized or compensated where it cannot be eliminated. Where involuntary resettlement and land acquisition are unavoidable, resettlement and compensation activities will be conceived and executed as sustainable development programs, providing resources to give PAPs the opportunity to share project benefits.

The Ministry of Energy has partnered with the community who are the owners of the land and the County government of Wajir in identifying land for the proposed project. The sub-project site will be acquired compulsorily by NLC, and in-kind compensation in form of priority community projects provided to affected communities. The A-RAP stipulate procedures and actions for acquiring land and compensating affected communities. The A-RAP shows the land acquisition consultations undertaken with affected communities.

## Vulnerable and marginalized Groups Framework (VMGF) for KOSAP

As noted above the KOSAP project trigged O.P 4.10 policy on Indigenous People and therefore a Vulnerable and Marginalized Groups Framework (VMGF) was prepared for use by the Ministry of Energy (MOE) and the implementing agencies KPLC and REREC and other stakeholders. The framework was prepared then because was known that IPs are present in all the 14 target project counties. However, at that stage of project preparation, the exact sub-project sites were not yet identified and the exact impacts of the project on VMGs were not yet completely known. The VMGF describes the policy requirements and planning procedures that during the preparation and implementation of components especially those identified as occurring in areas where VMGs are present.

The purpose of the VMGF is to guide management of issues related to Vulnerable and Marginalised Groups (VMGs) during the development and operation of proposed sub projects and to ensure effective mitigation of potentially adverse impacts while enhancing sharing of benefits.

Regarding the Solar Mini Off-grid in Qarse Goftu, the main inhabitants of Qarse Goftu- the Degodia community- are classified as VMGs in Kenya. The Degodia community is also present in QARSE GOFTU, and they will all be Project-Affected Persons (PAPs) of the proposed solar mini Off-grid. The ESIA did not identify any adverse impact on the Degodia community therefore, a Vulnerable and Marginalized Group Plan (VMGP) will not be required however, elements of the VMGP such as inclusion of Degodia in the stakeholder engagement process as well as representation on the locational grievance redress committee will be incorporated in the ESMMP, to ensure that the Degodia access culturally appropriate project benefits and opportunities, in a gender sensitive and intergenerationally inclusive manner.

## Comparison between the World Bank and Kenyan Laws to this Project

A comparison between the WB policies and the Kenyan law is presented in this section. The objective is to find out any gaps and propose a recommendation.

Table 5.3: Comparison between the WB safeguard policies and the Kenya Legislation

| World Bank safeguard Policies | Kenyan laws | Comparison | Recommendation |
| --- | --- | --- | --- |
| O.P 4.01 requires screening to determine level of environmental and social assessment to be done An ESIA is prepared before project implementation | EMCA requires screening of project to determine level of environmental and social assessment to be done An ESIA is required once determination is done | Similar both require screening | Screening has been done and the project is established as medium risk which requires and ESIA |
| ESIA is needed once determination had been established and should be prepared identifying all environmental and social impacts and mitigation measures proposed to address the impacts | ESIA is needed once determination had been established and should be prepared identifying all environmental and social impacts and mitigation measures proposed to address the impacts | Similar-both require ESIA depending on the project impacts | ESIA is prepared in line with EMCA /EIA regulations and refers to WB safeguard policies |
| O.P 4.12 Land Acquisition and Involuntary resettlement should be avoided wherever possible or minimized and exploring all alternatives | The Government and any other organization shall prevent internal displacement linked to development projects to the extent possible by exploring other alternatives. | Similar- displacement in projects should be avoided to the extent possible by exploring alternatives. | WB policy is more elaborate than the Kenyan Law. |
| O.P 4.10 on indigenous people seeks to promote the inclusion of these group in development project and especially through consultation to ensure they also share in the project benefits and ensure negative impacts do not disproportionately fall on them The policy requires these groups to be consulted separately to enhance their participation | The COK 20.10 article 56 provides for the right of marginalized communities and the importance of their input in decision making that regards them. National Gender and Equality Act and the Children’s Act and Persons with disability Act seeks to promote the inclusion of these persons in all issues as they are often overlooked and left out. Emphasis is also on consulting with them | Similar-both seek to promote inclusion of these group so that they do can share the projects benefits and ensure that negative impacts of the project do not fall on them disproportionately WB needs a social assessment to be conducted | WB policy more elaborate and the two are being used to compliment |
| Project affected persons should be meaningfully consulted and be given opportunities to participate in planning and implementing of projects and especially where there is resettlement | EMCA requires that the project owner seeks the views of the people who are affected and explain the project information to them and especially the impacts f project and obtain their opinions or comments | Both are similar | Consultation has been done and will be progressed in line with the two WB policy and Kenya legislation |

  - Licenses and Permits Required

The subsidiary legislation under the EMCA is partially monitored through the use of permits and licenses. Subsequently all licenses and permits required during the construction phase shall be the responsibility of the individual contractors and their agents. During the operational phase, all permits and licenses required to operate the project will be the responsibility of the proponent.

Before the contractor mobilizes to the site, there are certain permits that he will need to put in place. Some permits may be obtained during construction since they will be determined as need arises. Table 5-4 overleaf lists the environment-related permits required for this project.

Table 5-4 : Project Permit and License Requirements

| No. | Relevant activity | Statute | Permit and License Requirement | Competent Authority | Responsible Agency for Obtaining Clearance | Date of Acquisition | Duration |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Pre-Construction Stage |  |  |  |  |  |  |  |
| 1 | Construction and operation of the solar mini grid | Environmental Management and Coordination Act (EMCA) Cap 387, Rev 2018 | Need to submit ESIA report to obtain EIA license | NEMA | Proponent | Upon approval of ESIA report | Max 90 Days from date of submission of ESIA Report |
| 2 | Construction activities | Occupational Safety and Health Act (OSHA), 2007 | Need to apply registration of premises | DOSHS | Contractor | Before commencement of construction | 1 – 4 weeks |
| 3 | Setting up of construction camp sites | Environmental Management and Coordination Act (EMCA) Cap 387, Rev 2018 | Need to submit Project report for the Camp Sites to obtain EIA License | NEMA | Contractor | Before commencement of construction | 1– 1.5 months |
| 4 | Storage, transport and disposal of ordinary domestic and office waste | Environmental Management and Coordination Act (EMCA) Cap 387, Rev 2018 | Need to obtain waste license through submission of Waste Management Plan | NEMA | Contractor | Before commencement of construction | 1 – 1.5 months |
| 5 | Storage, transport and disposal of hazardous waste | Environmental Management and Coordination Act (EMCA) Cap 387, Rev 2018 | Need to obtain hazardous waste license through submission of Waste Management Plan | NEMA | Contractor | Before commencement of construction | 1 – 1.5 months |
| Construction stage |  |  |  |  |  |  |  |
| 1 | Food handling in the campsite | Public Health Act | Obtain Food Handler Certificate | County Government | Contractor | Before handling of food in the campsite | 6 months |
| 2 | Workplace registration | Occupational Safety and Health Act, 2007 | Apply for Registration of a Workplace | DOSHS | Contractor | Before utilizing the campsite | Annual |

# STAKEHOLDER ENGAGEMENT

## Stakeholder Consultation and Disclosure Requirement for the Project

This section profiles the key stakeholders for the Qarse Goftu solar project and assesses their potential concerns and levels of influence. The process of stakeholder engagement involved.

- Stakeholder identification and analysis

- Planning how the engagement with stakeholders will take place.

- Disclosure of information.

- Consultation with stakeholders

- Addressing and responding to grievances; and

Reporting to stakeholders

The World Bank Environmental Social Safeguards 10 emphasizes on engagement in meaningful consultations with all stakeholders with timely, relevant, understandable, and accessible information, and consult with them in a culturally appropriate manner, which is free of manipulation, interference, coercion, discrimination, and intimidation.

A documented record of stakeholder engagement, including a description of the stakeholders consulted, a summary of the feedback received, and a brief explanation of how the feedback was considered is in place.

## Stakeholder Characterization and Identification

A stakeholder is “a person, group, or organization that has a direct or indirect stake in a project/organization because it can affect or be affected by the Project/organization's actions, objectives, and policies” Stakeholders thus vary in terms of degree of interest, influence and control they have over the project.

Stakeholders are classified in the following two categories.

- Primary Stakeholders- Stakeholders who have a direct impact on or are directly impacted by the project.

- Secondary Stakeholders- Stakeholders who have an indirect impact or are indirectly impacted by the project.

In line with the nature of the project and its setting in Qarse Goftu, the stakeholders have been identified and listed in the table given below.

Table 11: Identified Stakeholders

| Stakeholder Groups | Primary Stakeholders | Secondary Stakeholders |
| --- | --- | --- |
| Community | Local Laborer’s Land sellers | VMG’s Pastoralists Local Community |
| Institutions | Faith Based Organizations Education institutions Community Based organizations |  |
| Government Bodies | NEMA County Government District and local administration |  |

## The Consultative Public Participation (CPP) and Community Engagement for Qarse Goftu Solar Mini Grid

A Consultative Public Participation (CPPs) session is conducted to provide project information and facts to the local community and other stakeholder especially local government administrator thus giving them a platform to enable them to express their appreciation, concerns and fears as well as contribute ideas and opinions towards the project sustainability.

A detailed CPP and community engagement for Qarse Goftu Solar Mini Grid was held at Qarse Goftu town on 21st October 2021 chaired by the Area Chief.

Plate 5: Site of Public Baraza

During the consultative forum, there were remarks from various key personnel including the following.

### Area Chief’s Remarks

The Area Chief, Mr. Ahmed Bishar Hussein, welcomed the KOSAP team and the members of the community to the Baraza. He requested Mr. Maalim Mohamed open the public meeting Baraza with a word of prayer. He then welcomed the KOSAP team to introduce themselves and elaborate on the reason for the Baraza.

### Consultant’s Remarks

Ms. Lydia Komen and the rest of the KOSAP team introduced themselves. She then went and ahead and enlightened the members that the Ministry of Energy, through KOSAP program is in the process of installation of Solar Mini Grid to provide electricity to the residents of Qarse Goftu and other identified. She clarified that the main aim of the meeting was therefore to conduct a public participation exercise for Qarse Goftu Solar Mini Grid project.

Mr. Maneno with assistance from the Area Chief then requested the members to divide themselves into groups for Focused Group Discussions and further requested the participants to give information for documentation.

### Focused Group Discussions

The in-depth interviews were used as a tool for stakeholder identification and mobilization as well as collection of baseline data to enable identification of the likely project impacts. In addition, it provided an opportunity to the participants to raise their fears and concerns as well as make recommendation as pertains to the project.

During the discussions, information was gathered different roles, livelihood, health issues, challenges, perception of quality of life, education options for children, health care and project perception.

The consultative meeting had a wide representation as follows:

Table 12:  Consultative Meeting Representation

| Category | Male | Female | Total |
| --- | --- | --- | --- |
| Youth | 18 | 0 | 18 |
| Adult | 15 | 10 | 25 |
| TOTAL | 33 | 10 | 43 |

The target groups of the FGD were Males, Females, Youth, Health sector, Education sector, Traders as well as the Grievance Redress Committee.

### Female Stakeholders’ Consultation and Participation

The females’ participants were 10 and between 15-75 years of age. 3 of the female participants indicated that they were heads of their households since they were widows. The following were the response from the female participants during the FDG.

- The project perception

The women indicated that they heard about the project in June 2018. They had the view that the project will greatly help the community through availability of lighting. They also said that the main negative impacts expected are accidents from electric shocks to people and animals. They however generally feel that the project will help solve lighting problems in the community.

- Role of women

- The role of women in the community involves business e.g., sale of milk and vegetables

- They are of the opinion that women and men have equal opportunities in the community although women have more control land and home equipment as compared to men

- Women feel safe in the community and there is no crime or conflict experienced internally although external attacks come mainly from Borana community.

- The main challenges encountered by women lack maternity services and lack of adequate nurses in the Qarse Goftu Dispensary.

- Women receive information about local issues and development or news through radios, telephones and from the local chief.

- Women feel that roles are changing since they are can now fetch firewood to earn income and are also able to build houses.

- Women in Qarse Goftu community are involved in decision making and settling of disputes

- Their top 3 priorities include availing of more nurse to the dispensary, fencing of the schools and availability of water.

- Institutions/community Development

- There are no government/NGOs currently working with the community.

- Economy /income generation

- Women earn their income from selling of milk, vegetable, and clothes.

- In some households, there are some women who contribute more than men

- Women feel that the need to be involved in agriculture to have greater economic opportunities.

- The women have no access to any major bank/credit/saving accounts but have access to mobile banking services (Mpesa).

- Land use

- Mainland-based activity practiced by women include agriculture where crops like Sukuma wiki, tomatoes, onions, watermelons, and pawpaw are produced both for household consumption (80%) and for sale (20%)

- The main livestock kept for both subsistence and income generation include goats, cattle, sheep, and camels.

- Community members are nomadic- moving with livestock far as Buna in search of water and pasture

- The women indicated that they collect natural resources like firewood for both domestic use and commercial purposes

- The women also sell agricultural produce and labor

- The women indicated that there was no conflict or any form of GBV experienced in the community so far

- They however said that to eliminate GBV, discrimination against women should be avoided.

- Education, literacy, and training

- The women indicated that girls have access to quality education provided by Qarse Goftu Primary and Qarse Goftu Secondary Schools

- Most girls can read and write too

- Health care

- The women access health care from Qarse Goftu dispensary although most of their medical needs like maternity services are not adequately met

- The top 3 health problems facing women include general infections, ulcers, and Typhoid

- There are no known Environmental issues that affect health within the community

- The women have no access to family planning

- VMGs like the elderly and PLWDs access medical care by being taken to the medical centers

- Women prefer seeking conventional medical care at the hospital over traditional methods.

- Access to Water

- Women access water free of charge from community boreholes; they walk an average of 2km to access these boreholes.

- The water levels within the borehole reduce during the dry season and the quality also changes.

- Sanitation and hygiene

- The main type of toilets in the village unventilated/ventilated pit latrines

- Hygiene and waste management

- Women do not access sanitary facilities and or products e.g., sanitary towels

- Household waste is usually dumped or burned

- Access to Power

- Sources of energy

- For lighting use of solar

- For warming they use firewood

- Cooking -firewood

- Charging mobile-they sue solar

- Cooling – a few uses solar

- The main challenge regarding access to power is during absence of sun where solar charging is affected.

- Transport and communication

- The main form of transport are Matatus, motorbikes

- The village is served by an earth road that is impassable during dry and wet seasons

- Cultural heritage

- the area has no historical sites although religious sites are present

### Male Stakeholders’ Consultation and Participation

The male participants were 15 middle-aged and elderly Somali men of Degodia ethnic group. The following were the response from the male participants during the FDG.

- The project perception

- The men said they prior knowledge about the project before and indicated that they had received KOSAP team before.

- The men understood the project fully and said the project will have a positive impact on the community as it will help students study at night, help charge mobile phones, boost businesses, and preserve drinks and food using refrigerators.

- They said that negative impacts are also likely from the project implementation e.g., electric shocks from exposed wires and recommended that proper installation by experts be done to mitigate against this

- Role of Men

- Men’s roles are Qarse Goftu include construction of houses, running of businesses like butcheries and kiosks/shops, collection of firewood and use of donkey carts for transportation.

- They indicated that men generally have better opportunities than women and have more control of water resources, land, matters involving conflict resolution and businesses

- The men indicate that there are constant conflicts with the Borana community from the neighboring Isiolo County.

- They also experience Human wildlife conflicts from animals like lions, hyenas and are also affected by sandstorms during cold dry season.

Plate 6: FDG Men

The main special challenge to men is high illiteracy rate that hampers their capacity for development in the village.

- Men generally receive information about local issues and development or news through radios and mobile phones.

- The Men have a special cultural group whose main purpose is to perform Balagley traditional dances (Degodia dance).

- The top development priorities as stated by the men include Provision of engine to pump water from the boreholes to school and dispensary, provision of VIP toilets and water to the hospital.

- Economy /income generation

- The main sources of income for men in in Qarse Goftu include herding of livestock, shop keeping and transport services.

- Men have greater economic opportunities than women and therefore contribute more to the households; they indicated that access to power may provide them with even greater opportunities.

- The sole banking/credit/saving services accessible to them is Mpesa mobile services

- Land use

- The land-based activity carried out by the men are livestock production, crop farming and herbal medicine business

- Agriculture is also carried, and crops planted include maize, sorghum, beans, tomatoes, and onions 80% of which is consumed within the household while 20% is for sale.

- Animals kept include camels, cattle, shoats, donkey, and chickens both for subsistence and for income generation

- Community members are nomadic- moving with livestock in search of water and pasture especially during the dry seasons.

- The special natural resources collected by men from the rangelands include herbs, firewood, construction materials.

- Most agricultural produce are sold to the neighboring villages/centers and Wajir town.

- Land conflicts experienced are mainly from the Borana community from the neighboring Isiolo County.

- Education, literacy, and training

- The Men indicated that access to quality education was accessible in the village due to the presence of both Primary and Secondary schools.

- There is no adult education as most men are illiterate and mainly engage in income generating activities.

- The boys can read and write although most of the older men cannot

- Health care

- The men access health care from Qarse Goftu Dispensary which offers only limited services, and which are not adequate

- The top 3 dominant health issues among men include gonorrhea, TB ad eyesight issues

- The men said that when VMGs are ailing, they are mostly prayed for before being taken to the medical facility.

- Access to Water

- The main sources of water in the village the community borehole, 1 km from the center of the village which was installed by the Red Cross in 2001.

- The men indicated that it was the role of women and children to collect water for household use.

- Sanitation and hygiene

- The main type of toilets in the village are pit latrines

- Men indicated that open defecation is practiced as an alternative where there was no access to latrines

- Hygiene and waste management

- Handwashing and general cleaning are done by use of jerricans

- Access to Power

- Sources of energy in the village

- For lighting use of solar and torches

- For warming they use firewood

- Cooking -firewood

- Charging mobile-solar

- Cooling – fridges (limited)

- The men indicated that most people were not connected to electricity as the few are only connected to individual solar panels.

- Transport and communication

- The main forms of transport in the area are motorcycles, tuk-tuks, matatus, commercial buses, camels, and donkeys.

- The village is served by an earth road that is impassable during dry and wet seasons

- The area is severed with Safaricom service provider as the dominant means of communication

- The mobile services are good and accessible though Safaricom network provider.

- Religious heritage

- There are no historical/sacred sites within the area

- The main festivals undertaken by men include Balagley dance during weddings

#### Youth Stakeholders’ Consultation and Participation

The youth participants during the FDG were 18 males. The following were the response from the youth participants during the FDG.

- The project perception

- The youth had prior knowledge of the project

- They were of the view that the project will help provide lighting, power fridges, pump water from borehole and support welding businesses.

- Negative impacts as identified by youth include removal of vegetation, dust generation, waste accumulation, labor conflict and electric shocks.

- According to the youth, negative impacts from the project can be minimized through use of local labor, proper handling of power and dumping site management.

- Role of Youth

- The youth are involved in community decision making

- Institutions/community Development /Youth Programmes

- Few projects are existent through youth initiatives e.g., children’s fun activities

- The key development priority among the youth is job creation

- Economy/Income Generation /Employment

- About 10% of the youth participants indicated that they are self-employed while about 10% have full-time salary jobs

- Main jobs that they youth have are in small businesses and transport industry.

- Education, literacy, and training

- Approximately 80% of the youth participants during the FDG have completed secondary education while a further 50% have completed Vocational/College level education.

- The main skills that enable the youth to work mainly include driving skills, plumbing skills, electrical skills, and teaching skills.

- Recreation

- During their spare time, the youth play football, read or chew miraa.

- Education Stakeholders’ Consultation and Participation

- The Education Stakeholder who participated in the FDG was Mr. Mohamed Yusuf, a teacher for Qarse Goftu Primary School which is a government sponsored institution founded in 2002. He indicated that he has worked at the school for 8 years. The following are his responses during the FDG.

- The project perception

- The participant that indicated that he had about the project about 2 years ago.

- He said the project will help provide access to reliable solar energy to the community.

- Infrastructure/Resources at Qarse Goftu Primary School

- The participant said that Qarse Goftu Primary School currently has 6 teachers; 3 are employed by the TSC and 3 by the County Government.

- The teacher indicated the challenges at the school included understaffing, dust pollution, lack of toilets and other facilities like offices, desks, and fence.

- The school receives assistance from government, through Constituency Development Fund and NGO like World Bank and UNICEF through supply of textbooks, construction of teacher’s quarters

- The average walking distance of student to school is 1km, the farthest student lives 1km from the school.

- Feeding programme is also available in Qarse Goftu Primary School although unreliable.

- The top priority of the participant is improved power supply to the school.

- The School Curriculum

- The teacher pointed out that there is no major constraint to access of education

- He further stated that the main challenge to access to education fees and household responsibilities

- According to the participant, there is a 100% transition from the primary school to secondary schools

- The School Attendance

- The teacher indicated that the school had a population of 326 pupils: 185 boys and 181 girls.

### Health Stakeholders’ Consultation and Participation

- The Health Stakeholder during the FDG in Qarse Goftu was Mr. Issa Mohamed of Qarse Goftu dispensary. The facility is under Ministry of Health. The following are his responses during the FDG.

- The project perception

- The participant said he heard about the project early in the year.

- He said the project will create positive impacts like provision electricity to power fridges to keep medical supplies in the dispensary and personal household fridges.

- Facility Profile

- The Qarse Goftu dispensary operates between 8 am and 5 pm and serves a population of approximately 5200 people within a 5km radius.

- It offers general health care services like Out-Patient care, Immunization, Maternity services, and Mother Child Healthcare (MCH).

- The health care services available are accessible for free

- Infrastructure/Resources

- The facility is generally understaffed as it only has 1 nurse.

- The facility currently lacks toilets, incinerator, maternity equipment, and water supply

- Prevalence Rates/Health Issues

- The main health issues pre-dominant among the children in Qarse Goftu are malnutrition, common cold and skin diseases.

- The main health issues pre-dominant among the women are malnutrition and UTIs.

- The main health issues pre-dominant among the men are UTIs and URTIs.

- The main health issues pre-dominant among the VMGs are malnutrition and arthritis.

- There are no known cases of STIs including HIV/AIDS or domestic sexual violence among the community.

- The life expectancy for both men and women are 60yrs; most common reasons for death are natural causes.

- Maternal and infant mortality as well as mental health issues were not common in the village.

- There are no cases of GBV or health issues arising from the quality of the environment which have been handled by the dispensary.

- The most vulnerable groups within the community are the elderly, the orphans and PLWDs.

- Traders/Livelihood/Market Association’s Consultation and Participation

- Mr. Ahmed Noor participated in the FDG as a trade stakeholder in Qarse Goftu. The following are his responses during the FDG.

- The project perception

- The participant has prior knowledge of the project

- He said the project will create positive impacts to the business sector through enabling operation of the business premises

- He also pointed out the likely negative impacts like accidents from electric shocks and explosions.

- He however said that the negative impacts can be mitigated through proper use of electricity and use of skilled electrician during installation.

- Trading in Qarse Goftu

- There are no trading Association in the village

- Main items of trade include soft drinks, chocolate, and shop items

- Most products sold in the Centre are purchased from Wajir town and are sold within the Qarse Goftu center

- Most businesses operate from 6am to 10pm and are powered by personal solar panels.

- The participant said he is self-employed and pay no fee to secure permits.

- The main challenge affecting the business poor delivery during rainy seasons as well as high transportation fees.

| Plate 7: Public participation “Baraza” Session |  |
| --- | --- |

# IDENTIFICATION AND ASSESSMENT OF POTENTIAL IMPACTS AND PROPOSED MITIGATION MEASURES

## Introduction

This section provides an assessment of potential environmental and social impacts from the proposed project as well as the proposed mitigation measures to avoid, reduce, remediate, or compensate for potential negative impacts and to enhance positive impacts. A description of the assessment methodology used to assess the significance of potential impacts, considering impact magnitude and sensitivity of receptors and resources affected, is provided below. To facilitate the reading of the ESIA, the same heading structure in terms of environmental indicators, receptors or resources affected by the project activities were considered as the ones used in the baseline and listed in section 5. All the mitigation measures identified in this chapter have been collated into the Environmental and Social Management and Monitoring Plan (‘ESMMP’) matrix including Occupational Health and Safety.

## Impact Assessment Methodology

An impact is essentially any change to a resource or receptor brought about by the presence of the proposed project component or by the execution of a project related activity. In general, the assessment of impacts will proceed through an iterative process considering four key elements:

- Prediction of potential impacts and their magnitude (i.e., the consequences of the development on the natural and social environment).

- Evaluation of the importance (or significance) of potential impacts taking the sensitivity of the environmental resources or human receptors into account.

- Development of mitigation measures to avoid, reduce or manage the potential impacts or enhancement measures to increase positive impacts; and

- Assessment of residual significant impacts after the application of mitigation and enhancement measures.

Where significant residual impacts remain, further options for mitigation may be considered and impacts re-assessed until they are as low as reasonably practicable for the project and would be deemed to be within acceptable levels.

## Defining Impact

Impacts will be defined in several ways, including:

- Nature of impact: positive or negative.

- Type of impact: direct, indirect, or cumulative.

- Duration of impact: temporary, short-term or long term

- Scale of impact: onsite, local, regional, national, international.

## Assessment of Significance

Criteria for assessing the significance of impacts will stem from the following key elements:

- Status of compliance with relevant Kenyan legislation, policies and plans and any relevant Kenyan or industry policies, standards, or guidelines, as well as international best practice standards and guidelines.

- The magnitude (including nature, scale, and duration) of the change to the natural or socioeconomic environment (e.g., an increase in coastal erosion, or an increase in employment opportunities), expressed, wherever practicable, in quantitative terms. The magnitude of all impacts is viewed from the perspective of those affected by considering the likely perceived importance as understood through stakeholder engagement.

- The nature and sensitivity of the impact receptor (physical, biological, or human). Where the receptor is physical, the assessment considers the quality, sensitivity to change and importance of the receptor. For a human receptor, the sensitivity of the household, community or wider societal group is considered along with their ability to adapt to and manage the effects of the impact; and

- The likelihood (probability) that the identified impact will occur. This is estimated based upon experience or evidence that such an outcome has previously occurred.

It is generally accepted that significance is a function of the magnitude of the impact and the likelihood of the impact occurring. For this assessment, significance has been defined based on five levels described in table below.

Table 6.1: Categories of Significance

| Category | Significance |
| --- | --- |
| Positive impacts | Positive impacts provide resources or receptors, most often people, with positive benefits. It is noted that concepts of equity need to be considered in assessing the overall positive nature of some impacts such as economic benefits, or opportunities for employment |
| Negligible impacts (or Insignificant impacts) | Negligible impacts (or Insignificant impacts) are where a resource or receptor (including people) will not be affected in any way by a particular activity, or the predicted effect is deemed to be ‘negligible’ or ‘imperceptible’ or is indistinguishable from natural background variations. |
| Minor | An impact of minor significance (‘Minor impact’) is one where an effect will be experienced, but the impact magnitude is sufficiently small (with or without mitigation) and well within accepted standards, and/or the receptor is of low sensitivity/value. |
| Moderate | An impact of moderate significance (‘Moderate impact’) is one within accepted limits and standards. Moderate impacts may cover a broad range, from a threshold below which the impact is minor, up to a level that might be just short of breaching a legal limit. Clearly to design an activity so that its effects only just avoid breaking a law and/or cause a major impact is not best practice. The emphasis for moderate impacts is therefore on demonstrating that the impact has been reduced to a level that is ALARP (as-low-as-reasonably-possible). This does not necessarily mean that ‘Moderate’ impacts must be reduced to ‘Minor’ impacts, but that moderate impacts are being managed effectively and efficiently. |
| Major | An impact of major significance (‘Major impact’) is one where an accepted limit or standard may be exceeded, or large magnitude impacts occur to highly valued/sensitive resource/receptors. An aim of EIA is to get to a position where the Project does not have any major residual impacts, certainly not ones that would endure into the long-term or extend over a large area. However, for some aspects there may be major residual impacts after all practicable mitigation options have been exhausted (i.e., ALARP has been applied). It is then the function of regulators and stakeholders to weigh such negative factors against the positive ones in coming to a decision on the Project. |

For environmental impacts the significance criteria used in this ESIA is shown in the table below.

Overall Significance Criteria for Environmental Impacts.

Table 6.2: Categories of Significance

|  |  | Sensitivity/vulnerability/importance of resource/receptor |  |  |
| --- | --- | --- | --- | --- |
|  |  | Low | Medium | High |
| Magnitude of impact | Negligible | Negligible | Negligible | Negligible |
|  | Small | Negligible | Minor | Moderate |
|  | Medium | Minor | Moderate | Major |
|  | Large | Moderate | Major | Major |

For the social impact assessment, the perceptions of stakeholders, expressed as opinions around certain issues, can be as important as actual impacts. Consequently, the concept of perception is explicitly brought into the evaluation of significance after an impact is evaluated. When an impact is of significant stakeholder concern, this may be causing to raise the significance rating. This prompts the formulation of more rigorous and appropriate mitigation measures which focus on the source of the impact and address stakeholder perceptions. The risk of not addressing stakeholder perceptions is that reputational damage could arise, resulting in the loss of a ‘social licence’ to operate.

## Magnitude of Impact

The impact assessment describes what will happen by predicting the magnitude of impacts and quantifying these to the extent practical. The term ‘magnitude’ covers all the dimensions of the predicted impact to the natural and social environment including:

- the nature of the change (what resource or receptor is affected and how).

- the spatial extent of the area impacted, or proportion of the population or community affected.

- its temporal extent (i.e., duration, frequency, reversibility); and

- where relevant (accidental or unplanned events), the probability of the impact occurring.

For social impacts, the magnitude considers the perspective of those affected by considering the likely perceived importance of the impact, the ability of people to manage and adapt to change and the extent to which a human receptor gains or loses access to, or control over, socio-economic resources resulting in a positive or negative effect on their well-being (a concept combining an individual's health, prosperity, their quality of life, and their satisfaction).

Table 19 below (under Likelihood) provides an account of the key features (definitions) of each of the impact significance classifications (from Not Significant to High); specifically linking them to the need for mitigation measures.

## Sensitivity of Resources and Receptors

Sensitivities are defined as aspects of the natural or social environment which support and sustain people and nature. Once affected, their disruption could lead to a disturbance of the stability or the integrity of that environment. For ecological impacts, sensitivity can be assigned as low, medium or high based on the conservation importance of habitats and species. For habitats, these are based on naturalness, extent, rarity, fragility, diversity and importance as a community resource.

For socio-economic impacts, the degree of sensitivity of a receptor is defined as ‘a stakeholder’s (or groups of stakeholders’) resilience or capacity to cope with sudden changes or economic shocks. The sensitivity of a resource is based on its quality and value/importance, for example, by its local, regional, national or international designation, its importance to the local or wider community, or its economic value.

## Likelihood

Terms used to define likelihood of occurrence of an impact are explained in the table below.

Table 6.3: Explanation of Terms Used for Likelihood of Occurrence

| An impact with a |  |  |
| --- | --- | --- |
| High probability | Refers to a very likely impact | Refers to very frequent impacts |
| Medium probability | Refers to a likely impact | Refers to occasional impacts |
| Low probability | Refers to rare impacts | Refers to rare impacts |
|  | As far as one-time events (e.g., air emissions) or slowly developing effects are concerned (e.g., impacts on local lifestyle) | As far as possibly recurring impacts are concerned, such as accident or unplanned events (e.g., traffic accident, fire) |

## Definition of mitigation measures

Mitigation measures are developed to avoid, reduce, remedy, or compensate for significant potential negative impacts, and to create or enhance potential positive impacts, such as environmental and social benefits. In this context, the term “mitigation measures” includes operational controls as well as management actions. These measures are often established through industry standards and may include:

- Changes to the design of the project during the design process (e.g., changing the development approach).

- Engineering controls and other physical measures applied (e.g., wastewater treatment facilities).

- Operational plans and procedures (e.g., waste management plans); and

- The provision of like-for-like replacement, restoration or compensation.

For potential impacts that are assessed to be of major significance, a change in design is sometimes required to avoid or reduce the significance. For potential impacts assessed to be of moderate significance, specific mitigation measures such as engineering controls are often sufficient to reduce these impacts to ALARP (‘as-low-as-reasonably-practicable’) levels. This approach considers the technical and financial feasibility of mitigation measures. Potential impacts assessed to be of minor significance are usually sufficiently managed through good industry practice, operational plans, and procedures.

In developing mitigation measures, the first focus is on measures that will prevent or minimise potential impacts through the design and management of the Project rather than on reinstatement and compensation measures.

## Assessing residual impacts

Impact prediction considers any mitigation, control and operational management measures that are part of the project design and project plan. A residual impact is the impact that is predicted to remain once mitigation measures have been designed into the intended activity. Social, economic, and biophysical impacts are inherently and inextricably interconnected. Change in any of these domains will lead to changes in the other domains.

## Positive impacts of the Project

In the case of a positive impact, no magnitude designation (aside from ‘positive’) was assigned. It was considered sufficient for the purpose of the IA to indicate that the Project was expected to result in a positive impact, without characterising the exact degree of positive change likely to occur. In the case of impacts resulting from unplanned events, the same resource/ receptor-specific approach to concluding a magnitude designation was followed, but the ‘likelihood’ factor was considered, together with the other impact characteristics, when assigning a magnitude designation.

### Improvement of local economy

There will be increased trade activities and potential diffusion and transfer of communication and knowledge from specialist construction staff to the local participants thereby improving the local economy and skills.

Enhancement Measures

- KPLC should ensure that their contractors/suppliers remit taxes and have a tax compliance certificate

- Prioritise local purchases over imports.

- Remit taxes on behalf of employees

### Creation of job opportunities

The operation phase is anticipated to create direct and indirect opportunities in the plant management and maintenance.

Enhancement Measures

- Contractor should ensure that they prioritise the local community in allocating job opportunities.

- Contractor should ensure that job opportunities are not discriminatory

- Equal opportunities should be given to both men and women

### Reduction of carbon footprint

There will be a reduction of overall emissions of greenhouse gases (GHGs) because of cost effective, pollution free and renewable mode of solar power.

The enhancement measures for the positive impacts of the project that should be carried out are as follows.

- Engage a competent and certified technician to set up the solar power system

- Adhere to the design specifications and source solar panels from credible suppliers/manufacturers,

- Ensure routine maintenance of the solar panels installed,

- Provide security to reduce on vandalism.

### Vision 2030

During operation phase, the most significant positive impact of the project will be the realization of its objective by injecting additional electric energy into the national grid. This will enhance the country’s energy supply and security through a relatively more environmentally friendly energy generation process and thereby enable the energy sector make strides towards the policy directions envisaged in the Vision 2030.

### Income generation

During construction, the project shall create skilled and unskilled employment opportunities to the local population.

### Ready market for supply of goods and services

The project shall depend on suppliers for goods and services during the construction phase through sale of local construction materials and food by women.

### Access to renewable energy source

The injecting additional electric energy into the national grid shall help meet the increasing energy demand and reduce work downtime caused by power outage by offering alternative more environmentally friendly energy source.

## Key Environmental Impacts – Construction phase

### Visual Intrusions and Changes in Landscape Impact

The project site is located on a generally flat terrain. There will be no significant change to visual quality of the area resulting from development or change in land use that will alter the landscape. Changes in the visual landscape will range from construction phase to commissioning of the minored and associated structures and further during operations. The solar power Project is the first major solar power Project in the vicinity of project area and the new development will have impact on the surrounding area.

The project area is primarily a rural area and with pastoralism as a primary activity. Although the solar panels, inverter, and associated components would be manufactured off site and the construction phase would be relatively short-term in duration (less than one year), it would still require large number of equipment or infrastructure when being erected such as cranes, dumpers, transportation vehicles on site. Additionally, the presence of bare soil along the access roads would increase the potential visual impact. The significance of the visual impacts will reduce at increasing distance from the development.

The construction of the mini Off-grid sites may involve the site clearance of vegetation and other natural attributes. The erection of the solar PV panels and the resulting glare from the sun will make it a standout feature from the natural surroundings and this would the lower the visual appeal of the area.

Even though the Solar Mini Off-Grid facilities will be small, their geometric and sometimes highly reflective surfaces may have visual impacts. However, being visible is not necessarily the same as being intrusive. Aesthetic issues are by their nature highly subjective.

Embedded/In-built Control

Proper siting decisions can help to avoid aesthetic impacts to the landscape.

Significance of Impact

The overall impact significance change in visual landscape during construction phase is assessed as minor.

Additional Mitigation Measures

The following mitigation measures will have to be implemented to minimise potential visual impacts during the construction phase:

- The extent of the labour camp and storage area should be limited in area to only that which is essential.

- Minimize presence of ancillary structures on the site and minimize roads disturbance; and

- After completion of construction work, areas utilized for labour camp, storage area to be restored to original form.

Residual Impact Significance

After implementation of mitigation measures, the significance of residual impacts will reduce to MINOR.

### Change in Land Use

The study area consists of unregistered communal land with patches of open scrubland. The internal transmission lines will be laid by Kenya Power. Considering the land use of QARSE GOFTU, the transmission line will be located on community land. The land procured for the project site was uncultivated, and undeveloped.  There is no major dependency for grazing on the land procured for the project. Thus, receptor sensitivity is assessed as LOW.

During consultation, it was established that the land belonged to the marginal pastoralists. The community has since offered to the land in kind for project use. Changes in land use are also envisaged for material store yard and temporary site office. However, those changes in land use will take place only during construction period. Thus, magnitude of the impact has been assessed to be MEDIUM.

Embedded/In-built Control

The actual area of land use impact would be limited to the footprint of 1.023 Hectares. of communal land and immediate vicinity of the Solar Mini Off-Grid site. There will be additional land utilized for transmission line towers. After construction work, any land taken for a temporary basis for storage of material will be restored to their original form. Existing roads will be developed for access to the project site.

Significance of Impact

The overall impact significance will therefore be MODERATE.

Additional Mitigation Measures

- Construction activities should be restricted to designated area.

- On completion of construction activities, land used for temporary facilities such as stockyard if any should be restored to the extent possible; and

- The land use in and around permanent project facilities should not be disturbed.

Residual Impact Significance

Direct changes in land use during construction and operation are negative in nature but temporary. Indirect changes in land use are positive in nature and permanent. The direct impacts shall be limited to project site and associated facilities. The resource receptor sensitivity is moderate.

The residual impact significance will remain moderate as changes in land use will be for long term for majority of the project component (installation of mini grid).

### Impact on Topography

The topography of the project site is an open area with gentle slope. The elevation difference of about 10m is observed within the project site. The general slope of the surrounding areas is gentle. There are no water bodies that pass though the proposed project site. Typically, solar power projects do not undertake levelling of topography and since the proposed project, along with the access road, is mostly on a flat terrain the receptor sensitivity has been assessed to be LOW.

Due to undulating topography, study area may exhibit presence of micro drainage channels. Therefore, the impact magnitude has therefore been assessed as MINOR.

Embedded/In built Control

The contractor will be instructed to avoid any unnecessary changes in the topography.

Significance of Impact

Significance of impact is assessed to be MINOR.

Additional Mitigation Measures

No further mitigation measures are suggested as embedded/in-built control will be sufficient to reduce the impact on topography.

Residual Impact Significance

The residual impact significance will be reduced to NEGLIGIBLE after implementing above mentioned mitigation measures.

### Impact on Soil Environment

Soil Compaction and Erosion

Soil compaction and erosion has been considered for the construction and decommissioning phases only. The receptor sensitivity has been assessed as MEDIUM because of the preponderance of pastoralism as a source of livelihood in the area. The site clearance, excavation for foundation will largely affect the top layers of the soil. Loss of topsoil quality would have an impact on the productivity of the land, but the effects can be reversed over time. Further, site clearance will be restricted only in the project site. Pastoralist land close to the project site will not be disturbed.

The usage of existing roads by vehicles and minimal access road improvement will reduce the impact from soil compaction in the area. The impact magnitude therefore has been assessed to be small.

Embedded/in-built control

Vehicles will utilize existing roads to access the site.

Significance of Impact

The overall impact significance on soil erosion and compaction has been assessed as minor.

Additional Mitigation Measures

Site clearance, piling and excavation will not be carried out during the windy period/season to minimize erosion and run-off.

Residual Impact Significance

The significance of residual impacts has been reduced to NEGLIGIBLE considering the recommended mitigation measures.

### Impacts on Waste Generation

General construction waste generated onsite will comprise of concrete, steel cuttings/filings, packaging paper or plastic etc. solid wastes consisting of food waste, plastic, glass and wastepaper will also be generated by the construction workforce at canteen facility. A small proportion of the waste generated during construction phase will be hazardous and will include waste fuel, grease and waste oil containing rags. If improperly managed, solid waste could create impacts on soil quality. Therefore, the receptor sensitivity has been assessed as medium.

The impact magnitude has been assessed as SMALL since the proponent has managed other solar power projects as well and has effective management systems for waste and hazardous substances being generated or utilized during the project life cycle as part of their Environmental and Social Management Framework.

Embedded/in-built control

Hazardous material and waste should be properly labelled, stored onsite at a location provided with impervious surface and in a secondary containment system.

Significance of Impact

The impact significance for waste generation and soil contamination has been assessed as MINOR.

Additional Mitigation Measures

- Contractor should ensure that no unauthorized dumping of used oil and other hazardous waste is undertaken at the site.

- Designated areas should be provided for solid waste and daily collection and period disposal should be ensured.

- Construction and demolition Waste should be stored separately and be periodically collected by an authorized treatment and storage facility.

- All waste should be stored in a shed that is protected from the elements (wind, rain, storms, etc.) and away from natural drainage channels.

- A logbook should be maintained for quantity and type of hazardous waste generated; and

- In case of accidental/unintended spillage, the contaminated soil should be immediately collected and stored as hazardous waste.

Residual Impact Significance

The significance of impacts due to waste generation during the construction phase after implementation of mitigation measures has been considered as NEGLIGIBLE.

### Impact on Air Quality

The construction activities at the Solar Mini Off-Grid sites can potentially lead to decrease in the ambient air quality due to fugitive dust emissions from site clearance, piling work, handling of construction materials, emissions due to movement of vehicles on unpaved roads and vehicular emissions and exhaust emissions from construction machinery.

Embedded/in-built control

Vehicle engines need to be properly maintained to ensure minimization in vehicular emissions.

Significance of Impact

There are few Receptors (settlements) within 500 m of the project site and the impact magnitude will be MODERATE and sensitivity medium hence the impact significance will be MODERATE.

Sensitive receptors of air and emissions were identified by observation during field visit to project site. They were noted to be mainly residential and commercial in nature. The distances from a source that dust impacts can occur is highly site specific and will depend on the extent and nature of incorporated mitigation measures, prevailing wind conditions, rainfall and the presence of natural screening. Due to the variability of the weather, it is impossible to predict what the weather conditions will be when specific construction activities are being undertaken. Therefore, the assessment of construction dust impacts is typically qualitative.

Additional Mitigation Measures

- Spraying water on soil before excavation and periodic access road wetting to reduce nuisance dust levels.

- Visual inspection of dust pollution from roads and the construction site and appropriate intervention if dust levels are high.

- Speed restriction of construction vehicles to a speed of 30 km/h or less on the site and on the access roads to the site.

- Maintenance and servicing of machines and engines off-site.

- Grievance procedure for dust complaints.

- The use of appropriate Personal Protective Equipment (PPE) such as dust masks for construction workers.

- All construction materials will be transported in designated trucks which will be covered.

Residual Impact Significance

As presented above, it is evident that with the implementation of the proposed mitigation measures, it is expected that the overall significance of dust impacts will reduce further to range from low to NEGLIGIBLE levels.

### Impact on Ambient Noise

The sources of noise in the construction phase include construction activities, operation of generator sets and movement of vehicles. There will also be increased noise levels because of increased anthropogenic movement in the area. QARSE GOFTU residents will most likely be affected by increasing noise levels because of proximity to the project site and construction of the proposed access road. The receptor sensitivity is therefore considered as medium. Impact magnitude is minor to medium considering the construction period of the project to last for approximately 3 months and proximity to QARSE GOFTU village.

Embedded/in-built control

Normal working hours of the contractor will be defined (preferable 8 am to 5pm). If work needs to be undertaken outside these hours, it should be limited to activities which do not generate noise.

Significance of Impact

The impact significance has therefore been assessed as MINOR to MODERATE.

Additional Mitigation Measures

- Only well-maintained equipment should be operated on-site.

- If it is noticed that any equipment is generating too much noise then lubricating moving parts, tightening loose parts and replacing worn out components should be carried out to bring down the noise and placing such machinery far away from the households as possible.

- Machinery and construction equipment that may be in intermittent use should be shut down or throttled down during non-work periods; and

- Minimal use of vehicle horns and heavy engine breaking in the area needs to be encouraged.

Residual Impact Significance

Significance of residual impact is assessed to be NEGLIGIBLE TO MINOR taking into consideration above mentioned mitigation measures.

## Key Social Impacts – Construction Phase

### Reduction of Land-holding income

The proposed project will entail the acquisition of a 1.023 Hectares land parcel for setting up the mini grid. The land acquired may also be used to develop contractor facilities, worker’s camps and other ancillary facilities e.g., storage and sanitary facilities. Loss of land used by the communities for livestock grazing and farming may trigger land disputes. New settlements may arise due to migration of people to the centres near the Solar Mini Off-Grid disrupting the existing community settlement patterns. The project proponents will use existing access roads to set up the low-voltage power distribution lines and will seek access from Project-Affected Persons (PAPs) and clients in whose property they will undertake electricity connection to the power grid.

During the consultation, it was also reported that the community is not dependent on the land for income. After implementing the embedded controls, the impact magnitude is assessed to be MINOR.

Source of Impact and Overview of Baseline Conditions

- The developer is trying to ensure that it will not make the land sellers landless; and

- Additional employment opportunities may also be created for the local youth by the contractor.

Embedded/In-built Controls

The overall impact significance of the land procured during the planning phase is assessed as MINOR.

Mitigation Measures

Considering that the procurement of land will have only a minor implication on the economy of the sellers, the following additional measures may be recommended to minimise this impact:

  - Providing skills-based training interventions, especially for self-employment to the young and unemployed in the families who will be selling land to project. This will enhance their employability and create potential for income generation through self-employment.

  - Providing preference to members of the families who will be selling land to the project for livelihood opportunities in Construction phase.

  - Procuring resources from the local sources to induce more employment in the supply chain.

Residual Impact Significance

After implementation of mitigation measures, the significance of residual impacts will be reduced to NEGLIGIBLE.

### Impact on Occupational Health and Safety

The construction activities include site preparation, infrastructure utilities installation, building structures. As a result, will be potential impacts on workers’ health and safety due to exposure to risks through construction activities that lead to accidents causing injuries and death. The most probable risks cause of accidental death and injury are:

  - Safety risks such as: tripping; falling due to working at heights; potential fire due to hot work, smoking, failure in electrical installations; electric shocks.

  - Health risks: Injuries such as: lifting, lowering, pushing, pulling, and carrying; temporary or hearing loss which usually comes from noise generated from machinery used for excavation or piling work and from compressors and concrete mixers etc.; heat stress and working during high temperatures

  - Occupational hazards due to dust and noise pollution from operating of heavy machinery and vehicular movement in the project sites.

  - Safety risk due to working at heights during installation of power lines

  - Exposure of workers to electro-magnetic field (EMF) during operation and maintenance of the mini grids

  - Risks of road accidents during the transportation of material and equipment to the project sites owing to the poor road network and insecurity in some of the KOSAP counties.

  - The Solar Mini Off-Grid sites are in ecological zones associated with flash flooding events. This poses a risk of washing away the mini Off-grid infrastructure including the power storage units i.e., the batteries making it necessary factor in site design considerations to mitigate against extreme flooding events.

Embedded/in-built control

- All construction activities will be carried out during daytime hours and vigilance should be maintained for any potential accidents.

- Personal Protective Equipment (PPEs) including safety shoes, helmet, goggles, earmuffs and face masks.

- Cranes and other lifting equipment are operated by trained and authorised persons.

- Training of the workers on climbing techniques, and rescue of fall-arrested workers.

- Excavated areas should be temporarily fenced to avoid access to outsiders and wildlife

Significance of Impacts

The impact on occupational health and safety during the construction phase is evaluated to be of MINOR significance, as the installation of Solar Mini Off-Grid and erection of transmission line will be done through experienced and trained workers.

Additional mitigation measures

- All workers (regular and contracted) should be provided with training on Health and Safety management system of the contractor during construction stage and EHS policies and procedures during the operation stage.

- Obtain and check safety method statements from contractors.

- Monitor health and safety performance and have an operating audit system; and

- Permitting system should be implemented to ensure that cranes and lifting equipment is operated by trained and authorized persons only.

- Appropriate safety harnesses and lowering/raising tools should be used for working at heights.

- All equipment should be turned off and checked when not in use; and

- A safety or emergency management plan should be in place to account for natural disasters, accidents, and any emergency situations.

Residual impact significance

Significance of residual impact is assessed to be NEGLIGIBLE considering above mentioned mitigation measures.

### Community Health and Safety

The receptors for impacts on community health and safety include project site workers, settlements in the proximity of the project which will be exposed to health impacts from the project activities. The construction phase activities such as installation of solar panels, construction of transmission lines and movement of material and personnel may result in impacts on the health and safety of the community.

Construction activities will involve the use of heavy machinery and live transmission power lines. Furthermore, the movement of material and personnel via the access roads may result in damage to human life or livestock due to accidents. The major community health and safety risks include structural failure of project infrastructure, life and fire safety, public accessibility, and management of emergency situations. As per WB ESS guidelines, the occupational and community health and safety hazards during the construction, operation, and decommissioning of solar power projects are generally like those of largest infrastructure projects.

Based on the above analysis, the impact magnitude is assessed to be MEDIUM.

Embedded/in-built control

Consultations with the proponent team and policy review indicated that the following embedded/in built control measures will be put in place during the construction phase.

- The excavated areas will be properly fenced for safety and sign boards in local languages will be put up.

- No hazardous waste or any waste be stored within the site for long periods of time and be in contact with the soil to prevent against ground water contamination

- The truck drivers carrying construction machinery and materials will be instructed to drive within speed limits with careful consideration for village traffic.

- Movement of heavy equipment and construction materials will be regulated during peak hours (09:00 AM to 06:00 PM).

Significance of Impact

The impact to community health and safety during the construction phase is evaluated to be of MODERATE significance due to proximity of transmission line to the nearest homesteads. However, the significance of impact decreases because the Project site consists of low density of population and most of the unskilled labour will be engaged from the local habitation.

Additional Mitigation Measures

The following risk mitigation measures are suggested to minimize the risks/ hazards of construction activities onsite.

- Developing an onsite ESMS and EHS Policy by the developer.

- Ensuring that the sub-contractor agreements that the developer enters require all contractors to possess an EHS plan with provisions for monitoring of the EHS performance of contractors and their workers.

- As part of the stakeholder engagement and information disclosure process, providing an understanding to the community concerning the activities proposed to be undertaken and the precautions being adopted for safety; and

- Developing a grievance redress mechanism

Residual Impact Significance

After the implementation of the above mitigation measures, the residual impact significance is NEGLIGIBLE.

### Labour Influx

The nature of the project will require technical skills that may not be all available in the project areas. This will require movement of construction workers into the project community. With an increase in population of the project area, the social set up may be affected resulting to different negative social impacts such as competition for resources, illicit behaviour, and crime (including prostitution, theft, and substance abuse).

Significance of Impact

The significance of labour influx is minor because the receptor sensitivity will be medium, and the impact magnitude is low. However, except for the technically skilled personnel, most of the labour is expected to be sourced locally.

Additional Mitigation measures

- In contract documents for the Contractor, MOE/KPLC should make explicit reference to the need to abide by Kenyan law, international best practice and the ratified ILO conventions and MOE’s policies in relation to health and safety, labour and welfare standards.

- In selection of a Contractor, MOE/KPLC should refer to past performance in similar assignments as an indicator of future performance with respect to worker management, worker rights, health and safety as outlined in Kenyan law and international standards.

- Regular checks by MOE/KPLC should be undertaken to ensure the relevant labour laws and occupational health and safety plans are always adhered to.

- All project workers should, as part of their induction, receive training on health and safety.  The contractor should put in place mechanism to ensure no employee or job applicant is not discriminated against since his or her gender, marital status, nationality, ethnicity, age, religion or sexual orientation.

- All workers will have contracts which clearly state the terms and conditions of their employment and their legal rights. Contracts will be verbally explained to all workers where this is necessary to ensure that workers understand the provisions. Contracts must be in place prior to workers reporting to duty for the first time. The contract document will be enhanced by the Code of Conduct that will be provided by the Proponent.

- The Contractor will put in place a worker grievance redress mechanism accessible to all workers, whether permanent or casual, directly or indirectly employed. The Proponent worker grievance mechanism shall be open to the Contractor workforce if their grievance is not adequately resolved by their direct employer. The Proponent will then have the authority to act to resolve this grievance.

- All project workers should have access to training on communicable diseases and STDs and community interactions in general. This training will be developed in collaboration with local health institutions.

- Carry out surveillance to ensure that no children are employed in the project, and to the extent possible by third parties related to the project and primary suppliers where such risk may exist

### Child labour

Implementation of the QARSE GOFTU project could lead to increased opportunities for the host communities to sell goods and services to the incoming workers. This can lead to child labour to produce and deliver these goods and services, which in turn can lead to increased cases of school truancy and dropout.

Significance of Impact

The impact is rated minor. This is based on LOW sensitivity of the receptor and MEDIUM magnitude of the impact.

Mitigation measures

- The contractor should develop a code of conduct to ensure children are protected from any negative impact from the construction works.

- The contractor should strictly hire people who are above 18yrs and ensure they provide their Identity Cards.

- The contractor shall ensure every worker under their jurisdiction signs a document committing themselves to the protection of the area children.

### Impacts on Cultural Heritage

Cultural and paleontological artifacts and cultural landscapes may be disturbed by the construction of the Solar Mini Off-Grid facilities. These could include community burial sites, sacred shrines. It is expected that several workers will be on-site during project construction of the project including skilled, semi-skilled, and unskilled personnel. During the consultation and field survey, no cultural artefact was established at the proposed project site.

Significance of Impact

Based on the analysis provided above, impacts on cultural heritage during the construction phase will be MINOR considering low sensitivity of the receptor and LOW magnitude of the impact.

Additional Mitigation measures (Execution of a Chance Find Procedure)

To minimize the potential for impact to sub-surface cultural archaeological material, the proponent should establish a Chance Find Programme which includes the following provisions:

  - A chance find can be reported by any member of the Project. Accordingly, if a chance find is encountered, the first course of action is to stop work in the vicinity of the find. Then the following steps will be undertaken:

  - Inform site supervisor/foreman.

  - Install temporary site protection measures (warning tape and keep off signs).

  - Inform all personnel of the Chance Find if access to any part of the work area is restricted.

  - Establish a localized no-go area needed to protect the Chance Find.

  - The National Museum of Kenya will be contacted to perform a preliminary evaluation to determine whether the Chance Find is cultural heritage and if so, whether it is an isolate or part of a larger site or feature.

  - Artefacts will be left in place when possible; if materials are collected, they will be placed in bags and labelled by an archaeologist and handed over to the National Museum of Kenya; no Project personnel are permitted to take or keep artefacts as personal possessions.

  - Document find through photography, notes, GPS coordinates, and maps (collect spatial data) as appropriate.

  - If the Chance Find proves to be an isolated find or not cultural heritage, the specialists brought in from the National Museum of Kenya will authorize the removal of site protection measures and activity in the vicinity of the site can resume.

  - If the archaeological specialists from National Museum of Kenya confirm the Chance Find is a cultural heritage site, they will inform the project team and initiate discussions with the latter about treatment.

  - Prepare and retain archaeological monitoring records including all initial reports whether they are later confirmed or not.

  - Develop and implement treatment plans for confirmed finds using the services of qualified cultural heritage experts.

  - If a Chance Find is a verified cultural heritage site, prepare a final Chance Finds report once treatment has been completed.

  - While investigation is on-going, co-ordinate with on-site personnel keeping them informed as to status and schedule of investigations and informing them when the construction may resume.

  - If mitigation is required, then expedient rescue excavations will be undertaken by the National Museum of Kenya specialist, except in the case that the chance find is of international importance (i.e., Critical Cultural Heritage). If an archaeological site of international importance is encountered special care will be taken and archaeologists with the appropriate expertise in addressing the find will be appointed.

### Gender Based Violence, SEA & SH

Gender Based Violence (GBV), Sexual Exploitation and Abuse (SEA) may be committed against the communities by the construction workers and by staff during the operation and maintenance of the mini grids. Incidences of Sexual Harassment (SH) may occur among the staff during construction, operation, and decommissioning phases of the project. During the FGD with the women, they raised concerns stating that project implementation may lead to sexual harassment. This may be experienced while the women are searching for jobs and those giving the jobs may ask for sexual favours.

Significance of Impact

There are minimal incidences of gender-based violence in QARSE GOFTU as identified during FGD with Men, women, and youths. However, it cannot be ruled out during project implementation. Thus, the significance of this impact is MINOR considering LOW sensitivity of the receptor and low magnitude of the impact.

Mitigation measures

- Prepare an Awareness Raising Strategy, which describes how workers and local communities will be sensitized to GBV risks, and the worker’s responsibilities.

- Identify GBV Services Providers to which GBV survivors will be referred, and the services which will be available.

- Elaborate GBV Allegation Procedures i.e. How the project will provide information to employees and the community on how to report cases of GBV breaches to the GRM.

- An Accountability and Response Framework, to be finalized with input from the contractor, should include at minimum:

    - GBV Allegation Procedures to report GBV issues to service providers, and internally for case accountability procedures which should clearly lay out confidentiality requirements for dealing with cases; and,

    - A Response Framework which has:

      - Mechanisms to hold accountable alleged perpetrators associated to the project.

      - The GRM process for capturing disclosure of GBV.

      - A referral pathway to refer survivors to appropriate support services.

### Exclusion of VMGs, Vulnerable Individuals and Households

A significant risk associated with this project is the potential for the exclusion of Vulnerable and Marginalized Groups (VMGs), vulnerable and marginalized households and individuals including the elderly, PLWDs, widows, widowers, orphan-led households, minority clans/sub-clans from participating and or benefiting from the Mini Off-Grids project. VMGs participation and inclusion could be disadvantaged based on social identity, which may be across dimensions of gender, age, location, occupation, race, ethnicity, disability, sexual orientation, and religion. There is potential risk of lack of intentional actions by the Mini Off-Grids contractor(s) and implementing agencies for the inclusion of VMGs in the project activities and benefits. This potentially leads to the exclusion of VMGS from the benefits and opportunities derived from the proposed mini Off-grid facilities.

The activities of component 1 envisages upon completion of MGs, that the relevant Implementing Agencies will connect customers from community facilities, enterprises, and households to the electricity grid on a commercial basis under a market driven approach. There is a high likelihood that the targeted Project-Affected Persons (PAPs) of the new electricity connections to the Mini Off-Grids network will be dominated by the local elites. This may lead to the exclusion of those without the financial resources to connect to the mini Off-grid electricity distribution network. This could result in a situation where a majority persons or households with adequate financial resources in the project area will be able to take advantage of the provision to connect to the electricity grid. This will negate a key objective of the project of overcoming energy poverty.

Significance of Impact

Considering the HIGH sensitivity of the VMGs identified in the project and HIGH magnitude, the impact significance is MAJOR. However, it important to consider the project site inhabitants are predominantly the Degodia community.

Mitigation measures

- Participation will be through meetings with the different groups of the vulnerable people identified primarily to ensure that.

    - The VMGs are aware of the project and its impacts

    - The VMGs are Aware of any restrictions and negative impacts

    - Provide support to VMG participation arrangements in the project

- Confer with the VMGs at the outset on how they wish to be engaged

- Understand and respect local entry protocols as they relate to permission to enter a community and access traditional lands

- Commit to open and transparent communication and engagement from the beginning and have a considered approach in place

- Ensure that all representatives of the contractor and proponent staff carrying out the specific sub project investment including third party subcontractors and agents are well briefed on local customs, history, and legal status, and understand the need for cultural sensitivity

- Regularly monitor performance in engagement

- Enlist the services of reputable advisers with good local knowledge

- Implement the existing grievance redress mechanism

### Risk of Communicable Diseases; HIV/AIDS

The construction, operation and maintenance of the Mini Off-Grids will lead to increased migration of labour into the mini Off-grid sites. Local communities can be exposed to increased risk of communicable diseases such as HIV/AIDS through risky behaviours involving job seekers and people employed on the project.

Significance of Impact

Since the local community is highly conservative Muslim community, receptor sensitivity will be LOW and the impact magnitude SMALL; the impact significance will be MODERATE pre-mitigation.

Mitigation measures

- The Contractor should develop and implement pre-employment screening measures for workers, which should include applicable diseases. Individuals found to be suffering from these diseases will need to be sensitized on prevention of transmission to others and management of the disease prior to mobilisation to site.

- The Contractor should develop and implement a HIV/AIDS and other STIs policy and an information document for all workers directly related to the Project. The information document should address factual health issues as well as behaviour change issues around the transmission and infection of HIV/AIDS and other STIs.

- The Contractor will make condoms available to employees and communities neighbouring the site office during construction.

- All project personnel should be inducted on a Code of Conduct that gives guidelines on worker-worker interactions, worker-community interactions and development of personal relationships with members of the local communities.

- If workers are found to be in contravention of the Code of Conduct, which they will be required to sign at the commencement of their contract, they will face disciplinary action including dismissal from duty.

### COVID-19 amongst workers and the community

This impact is triggered during Project Construction Phase and operation phase due to the Project attracting various categories of workers drawn from local, and national markets. This therefore pose risk of spread of COVID-19 and measures should be in place to curb this.

COVID – 19 is a highly infectious disease and since consultations are required during the project implementation, it will also pose a potentially high risk of infection to and among communities. It is important that alternative ways of managing consultations and stakeholder engagement are implemented to mitigate the impacts.

Significance of Impact

The receptor sensitivity will be MEDIUM AND LOW magnitude, hence MODERATE significance.

Mitigation Measures

- Encourage the workers and the community to be vaccinated

- Install handwashing facilities with adequate running water and soap or sanitizing facilities at entrance to main site.

- Ensure routine sanitization of shared social facilities and other communal places routinely including wiping of workstations, doorknobs etc.

- All workers and visitors accessing the site every day shall be subjected to rapid Covid-19 screening which may include temperature check and other vital signs.

- The project shall put in place means to support rapid testing of suspected workers for covid-19.

- Sensitize all community segments and project workers on Covid 19 and precautionary measures that need to be observed.

- Avoid concentrating of more than 15 community members at one location. Where two or more people are gathered, maintain social distancing of at least 2 meters.

- Restrict site access to only Authorised persons; and

- Continuously adhere to the MoH, WHO and World Bank guidelines on Covid-19 management.

## Key Environmental Impacts – Operation phase

### Impact on Soil Environment

In the operation phase, soil compaction and erosion may occur due to vehicle movement, which only happens during the occasional maintenance activities. Soil compaction for the operation phase has therefore been infrequent and low.

Since the chances of soil compaction and erosion during the O&M phase are less, the impact magnitude is assessed to be SMALL.

Embedded/in-built control

Vehicles will utilise the existing access road to undertake maintenance activities at the solar plant.

Significance of Impact

The overall impact significance on soil erosion and compaction has been assessed as NEGLIGIBLE.

Additional Mitigation Measures

No further mitigation measures are suggested as embedded/in-built control will be sufficient to reduce the impact on soil environment.

Residual Impact Significance

The significance of residual impacts has been reduced to NEGLIGIBLE considering the recommended mitigation measures.

### Waste Generation and Soil Contamination

During operation phase, the waste generated from project includes domestic solid waste building and hazardous waste like waste oil and lubricants and oil containing jutes and rags will be generated during maintenance activities.

The quantity of hazardous waste generated will be much lesser quantity than during the construction phase. Therefore, receptor sensitivity has been assessed as LOW.

The quantity of community and hazardous waste generated will be much lesser in quantity in operation phase than during the construction phase. Thus, the Impact magnitude has been assessed to be SMALL.

- Embedded/in-built control

The waste generated will be disposed of through approved NEMA waste handlers. The hazardous wastes will be stored onsite at separate designated covered area provided with impervious flooring and disposed through NEMA approved hazardous waste handler.

During operation phase, the quantity of municipal waste and hazardous waste generated is less and probability of the hazardous waste generation is only during plant maintenance and therefore occasional. The waste generated would be routed through proper collection and containment.

Embedded/in-built control

Additionally, the following steps must be undertaken to avoid soil contamination:

- Ensure oil/ lubricants are stored on impervious floor in the storage area having secondary containment.

- Use of spill control kits to contain and clean small spills and leaks during O&M activities; and

- The guidelines and procedures shall be prepared and followed for immediate clean-up actions following any spillages.

Significance of Impact

The overall impact significance on land due to waste disposal during Operation phase has been assessed as MINOR.

Additional Mitigation Measures

- Municipal domestic waste generated at site to be segregated onsite.

- Ensure hazardous waste containers are properly labelled and stored onsite provided with impervious surface, shed and secondary containment system.

- Ensure routinely disposal of hazardous waste through NEMA approved waste Handlers and records are properly documented; and

- The overall impact significance on land due to waste disposal during O&M phase has been assessed as minor.

- Disposal of hazardous wastes shall be done strictly as per the conditions of authorisation granted by NEMA.

- Ensure hazardous waste is properly labelled, stored onsite at a location provided with impervious surface, shed and secondary containment system.

Residual Impact Significance

The significance of residual impacts will be NEGLIGIBLE post implementation of recommended mitigation measures.

### Impact on Water Environment

Water is required during operation phase to meet domestic requirements of O&M staff and for cleaning solar panels. For that purpose, the water requirement will most likely be sourced from existing local water vendors in the nearby area. During operation phase, there will be no wastewater generation from the power generation process. Therefore, the receptor sensitivity is assessed to be LOW.

Discussions with the residents in QARSE GOFTU confirmed that water is a major concern in the area. Since the project is likely to generate very little or negligible amount of wastewater during the O&M phase, the impact magnitude has been assessed to be SMALL.

Embedded/in-built control

Planning of toilets and waste collection areas should be away from natural drainage channels.

Significance of Impact

The overall significance of impacts is assessed to be MINOR.

Additional Mitigation Measures

- Ensure proper cover and stacking of loose construction material to prevent surface runoff and contamination of receiving water point.

- The workforce will be given training towards proactive use of designated areas/bins for waste disposal and encouraged for use of toilets. Open defecation and random disposal of sewage shall be strictly restricted.

- Construction labour deputed onsite to be sensitised about water conservation and encouraged for optimal use of water.

- Regular inspection for identification of water leakages and preventing wastage of water from water supply tankers.

- Recycling/reusing to the extent possible.

- The contractor should provide portable/mobile toilets for use on site

Residual Impact Significance

The residual impact significance is envisaged to be negligible upon application of embedded controls and additional mitigation measures.

### Impact on Noise and Air Quality

The Project is expected to cause significant long term air quality impacts. It is anticipated that there will be gaseous emissions from vehicles using the road. However, the significance of exhaust emission impacts during operation phase of the project was not assessed during this study as it requires conducting air dispersion modelling which could not be undertaken during this study.

Irrespective of the proposed project, urban air quality is the major environmental problem associated with transport-related activities. Therefore, to address air potential impacts during this phase the following measures will need to be adopted by the government:

- Fuel improvement strategy that involves phasing out leaded gasoline, reduce sulphur content in diesel and checking use of alternative fuel

- Compulsory annual testing of vehicle emission levels, certify and control garages to force regular technical inspections (annual emission test) and to control them

- Emission-related taxes on mineral oil i.e.  Taxes or increased taxes for oil for leaded and diesel fuel, no taxes or freezing of taxes on unleaded fuel, Substitute value added taxes by emission related taxes on fuel

### Landscape and Visual Impacts

The solar panels will be spread over a horizontal form with maximum height of 2m above the ground level. In addition, the entire facility will be fenced with a stone wall with height of approximately above 2 meters, hence may not be visible to the passers or moving traffic.

The current use of land surrounding site is mixed commercial and residential. The permanent change of current landscape to area spread with solar panels will have potential visual impact for nearest habitations and passers.

Significance of Impacts

It is important to note that whether the visual impact is seen as positive or negative is highly subjective, and people’s attitude towards and perception of the visual impacts associated with any project including solar power project. The project and its surrounding area are new for such developmental project and will have visual impacts during initial period of Project and the same will disappear over a period.

Based on the above, significance of visual impact on landscape during operation phase of the project has been assessed as MODERATE.

Suggested mitigation measures

Following mitigation measures are proposed to reduce the visual impacts on the surroundings during operational phase:

- Signage related to the Solar Mini Off-Grid must be discrete and confined to entrance gates.

- The footprint of the operations and maintenance facilities, as well as parking and vehicular circulation, should be clearly defined, and not be allowed to spill over into other areas of the site.

- Construction of fencing or compound wall around the project boundary.

- Landscape development around the solar farm site with the participation of the local community.

Residual impact significance

After implementation of mitigation measures, the significance of residual impacts will reduce to MINOR.

## Key Ecological Impact- Operation Phase

### Collision and Electrical hazards from Transmission Infrastructure

The transmission lines and poles can potentially constitute an electrocution and collision hazard to birds within the habitat. Some birds also utilize the transmission towers for nesting.

Embedded/ in-built Control

There are no embedded controls to prevent birds from roosting/nesting on transmission poles and colliding with transmission wires.

Additional Mitigation Measures

The following mitigation measures will further reduce the impact significance on avifaunal species:

- Design of transmission towers should be such to minimize the risks of electrocution of birds.

- The transmission poles should be raised with suspended insulators in order to reduce the electrocution of bird species; and

- Marking overhead cables using bird-flight deterrents and avoiding use in areas of high bird concentrations of species vulnerable to collision.

Residual Impact Significance

After implementation of mitigation measures, the significance of residual impacts will be MINOR.

## Key environmental impacts – Decommissioning Phase

In the event of decommissioning of the Project, it is likely that any potential impacts would be like those in the construction phase, as broadly similar activities would be required and therefore impacts on the physical environment associated with this phase.

## Key Social Impacts – Decommissioning Phase

### Impact on Economy and Employment

The major social impacts associated with the decommissioning phase are linked to the loss of jobs and associated income. This has implications for the households who are directly affected, including their families. However, the impacts are likely to be limited due to relatively small number of permanent employees (mainly security guards) who will be affected. Other associated impacts would be improper disposal of construction waste and debris from deconstruction of storage area, etc. will lead to contamination of soil and discontentment with the immediate villages in the local surrounding communities.

Impact magnitude is SMALL considering the decommissioning period to last for a short duration.

Significance of Impact

The overall impact significance is envisaged to be MINOR.

Additional Mitigation Measures

The decommissioning phase will require removal of machinery, workers and other temporary structures. The mitigation measures for decommissioning shall include the following:

- The proponent should ensure that retrenchment packages are provided for all staff who stand to lose their jobs when the plant is decommissioned.

- The contractor shall inform the workers and local community about the duration of work.

- Reduction of worker will be done phase wise and corresponding to completion of each activity; and

- All waste generated from demobilisation shall be collected and disposed of at the nearest municipal disposal site.

Residual Impact Significance

Significance of residual impact is assessed to be NEGLIGIBLE upon incorporation of the above-mentioned mitigation measures.

## Cumulative Impacts

### Cumulative Impact Assessment

It was observed during the site reconnaissance survey that there are no other similar solar projects within the projects site. Therefore, it is assumed that there will be no cumulative impacts from the above-mentioned projects on the local soil, water, land, air and ambient noise environment.

# ENVIRONMENTAL AND SOCIAL MANAGEMENT AND MONITORING PLAN(ESMMP)

## 7.1 Introduction

Environmental and Social Management and Monitoring Plan (ESMMP) for development projects provides a logical framework within which identified negative environmental and socio–economic impacts can be mitigated and monitored. The ESMMP has been developed to be used as tool to manage the environmental and social impacts that the activities of the proposed project will cause. The contractor before construction will make reference to this ESMMP and develop specific implementation plans. In addition, the ESMMP assigns responsibilities of actions to various actors and provides a timeframe within which mitigation measures and monitoring can be done.

The key objectives of the ESMMP are:

- To monitor the implementation of mitigation measures against potential adverse impacts of construction and operation phases of the project to ensure that they conform and comply with relevant environmental and social policies, guidelines and legislation

- To assess for emerging non-anticipated adverse environmental and social impacts and implement relevant mitigation measures to maintain them within acceptable levels

- To maintain best practice in environmental, social health and safety during project construction and operation

The ESMMP outlined below addresses the identified potential negative impacts and mitigation measures of the proposed Mini-grid during pre-construction, construction, operational and decommissioning phases, based on the chapter of Environmental Impacts and Mitigation Measures of the potential negative impacts.

## Monitoring

Monitoring denotes a systematic process of collecting, analyzing and using information to track the progress of implementation of the ESMMP including coming up with measures to address any emerging issues. Monitoring of the ESMMP will involve recording information to track performance and recommendations to keep implementation of ESMMP on track. Reporting is a key component of the monitoring exercise.

The proposed ESMMP will be subjected to monitoring. Monitoring will have two elements: Routine monitoring against standards or performance criteria; and periodic review or evaluation. Monitoring will often focus on the effectiveness and impact of the ESMMP as a whole.

During construction phase, the Implementing agency shall monitor the contractor’s activities in order to verify that the management measures/procedures/specifications are implemented as contained in the ESMMP. Compliance will mean that the contractor is fulfilling their contractual obligation.

During operation phase, KP will monitor facility’s operations to ensure compliance with management measures in the ESMMP and operation procedures. As part of this monitoring, the KP will undertake or statutory initial environmental audit as required by the ESIA/EA Regulations, 2003 and subsequent annual environmental audits.

## Plan Monitoring

All of the management plans make provision for monitoring and evaluation. Special attention should be given to the monitoring arrangements relating to biophysical impacts, occupational health and safety, social risks, facility operational and emergency response.

During the construction phase of the project, the contractor’s Environmental Health and Safety Officer (EHSO) shall report on the implementation of the ESMMP i.e., all environmental, safety and health impacts as well as accidents and incidents to the implementing agency. The social specialist of the contractor will report on implementation of the social measures as spelt out in the ESMMP.

The reported impacts and incidents will be captured on a database to ascertain trends and track progress in the implementation of preventive and corrective actions, and benchmarking against other, similar operations.

During operation, the implementing agency will monitor the health and safety of personnel and contractors, in compliance with legislative requirements. Emergency incidents should be reported to the relevant authorities. The reported impacts and incidents will be captured on a database to identify weakness in the emergency response plan and track progress in the implementation of preventative and corrective and benchmarking against other similar operations.

The Environmental and Social Management and Monitoring Plan (ESMMP) will provide the basis for monitoring of potential Environmental, social and health Impacts associated with the project. The ESMMP provides effective observation and documentation of monitorable parameters that will help in analyzing the effectiveness of the proposed mitigation measures with the advantages of improving operational efficiency, promoting competitive advantage, improving risk management, reducing liabilities and improving business performance.

## Environmental and Social Monitoring by Contractors

KP will require that contractors monitor, keep records and report on the following environmental, health and social issues of the proposed project.

- Safety: hours worked, recordable incidents and corresponding root cause analysis (lost time incidents, medical treatment cases), first aid cases, high potential near misses, and remedial and preventive activities required (for example, revised job safety analysis, new or different equipment, skills training, and so forth).

- Environmental incidents and near misses: environmental incidents and high potential near misses and how they have been addressed, what is outstanding, and lessons learned.

- Major works: those undertaken and completed, progress against project schedule, and key work fronts (work areas).

- E&S requirements: noncompliance incidents with permits and national law (legal noncompliance), project commitments, or other E&S requirements.

- E&S inspections and audits: to include date, inspector or auditor name, and records reviewed, major findings, and actions recommended and implemented.

- Workers: number of workers, indication of origin (expatriate, local, nonlocal nationals), gender, age and skill level (unskilled, skilled, supervisory, professional, management).

- Training on E&S issues: including dates, number of trainees, and topics.

- Footprint management: details of any work outside boundaries or major off-site impacts caused by ongoing construction—to include date, location, impacts, and actions taken.

- External stakeholder engagement: highlights, including number of formal and informal meetings, and information disclosure and dissemination—to include a breakdown of women and men consulted and themes coming from various stakeholder groups, including vulnerable groups (e.g., disabled, elderly, children, etc.).

- Details of any security risks: details of risks the contractor may be exposed to while performing its work—the threats may come from third parties external to the project.

- Worker grievances: details including occurrence date, grievance, and date submitted; actions taken and dates; resolution (if any) and date; and follow-up yet to be taken—grievances listed should include those received since the preceding report and those that were unresolved at the time of that report.

- PAPSe.g., community grievances: grievance and date submitted, action(s) taken and date(s), resolution (if any) and date, and follow-up yet to be taken—grievances listed should include those received since the preceding report and those that were unresolved at the time of that report. Grievance data should be age and gender-disaggregated.

- Major changes to contractor’s environmental and social practices.

- Deficiency and performance management: actions taken in response to previous notices of deficiency or observations regarding E&S performance and/or plans for actions to be taken. These should continue to be reported until KP determines the issue is resolved satisfactorily.

A detailed Environmental and social management and monitoring plan for pre-construction, construction, operation and decommissioning phase is well illustrated in  the table below :

Table 7-1 ESMMP-ENVIRONMENTAL IMPACTS

| POTENTIAL IMPACT | RECOMMENDED MITIGATION MEASURES | PROJECT PHASE | RESPONSIBILITY | MONITORING FREQUENCY | MONITORING INDICATOR | ESTIMATED COST (Ksh) |
| --- | --- | --- | --- | --- | --- | --- |
| ENVIRONMENTAL IMPACTS |  |  |  |  |  |  |
| Land use changes -Permanent and temporary changes in land use. | - Construction activities should be restricted to designated project area. - The land use in and around permanent project facilities should not be disturbed. - On completion of construction activities, land used for temporary facilities such as store yard should be restored to the extent possible. - The existing earth roads at the project area will be used for access to the project site. | Pre-construction | Contractor | Daily inspection | Construction activities restricted to designated project area. | No additional costs |
| Topography -Change in Local topography and vegetation clearance | - Appropriate number of cross drainage channels should be provided during construction to maintain flow in existing natural channels. - Disruption/alteration of micro-watershed drainage pattern should be minimized to the extent possible. - The contractor to ensure no noticeable changes in topography done. - Clear only the necessary areas - Ensure proper demarcation and delineation of the project area to be affected by construction works. - Specify locations for vehicles and equipment, and areas of the site which should be kept free of traffic, equipment, and storage. - Designate access routes and parking areas - Re-vegetation including planting of trees around the plant/facility | Pre-construction Construction Operation Decommissioning | Construction contractor Operations & maintenance contractor KPLC | Weekly inspection | Monitoring Topography Records of number of trees replanted Parking areas designated | No additional cost |
| Impact on soil -Soil contamination, effect on soil composition and soil erosion | - Vehicles will utilize the existing roads to access the site; - No unauthorized dumping of used oil and other hazardous waste should be undertaken at site; - All waste should be stored in a shed that is protected from the elements (wind, rain, storms, etc.) and away from natural drainage channels; - Solid waste should be Segregated in color coded waste receptacles. - In case of accidental/unintended spillage on small area, the contaminated soil should be immediately collected and stored as hazardous waste; - Compacting of loose soil in excavated areas. - Enclose the construction site and protect the soil to prevent the waste soils and other debris from being washed away by surface runoff and wind. - All dug up soil that is not needed on-site to be removed promptly and disposed of to appropriate areas. - Re-use the dug-up soil in backfilling and landscaping. - Any soil potentially contaminated by chemicals, oils, fuels to be collected and disposed of by a NEMA authorized waste handler. - Maintain all the waste tracking documents on site (waste transportation, waste treatment and disposal). - Re-use construction waste to the maximum extent possible; - Good management of the runoff/storm water to reduce its impact on loose soil; - Control construction activities especially during rainy / wet conditions. - Periodically sample soil for analysis and use the results to monitor the contamination in comparison with the initial monitoring results. - Construction related impacts like erosion and cut slope destabilizing should be addressed through landscaping and grassing, carting away and proper disposal of construction materials | Pre-construction Construction Operation - Decommissioning | Construction contractor Operations & maintenance contractor KPLC | Daily site inspections | Provisions for waste separation; site clear of contamination Assess size of rills or Gulleys forming from accelerated run off from compacted areas Records of any leakages from construction equipment/ vehicles. | 150000 |
| Air Quality -Point source emissions -Dust emissions | - Prevent Idling of vehicles and equipment’s; - The speed of vehicles to the site should be limited to 10-15km/h; - The site should be sprinkled with water regularly to reduce amount of dust generated by the loading trucks; - Carry out regular maintenance to the construction machinery and equipment. This will minimize generation of hazardous gases and other suspended particulate matter. - Properly plan transportation of waste materials to ensure that vehicle fills are increased in order to reduce the number of trips done or the number of vehicles on the road; - Diesel Generator should be enclosed at an adequate stack height. - Visual inspection of dust pollution from roads and the demolition site and appropriate intervention if dust levels are high. - Suppress dust during dry periods by use of water sprays; - Stockpiles of excavated soil should be enclosed/covered/watered during dry or windy conditions to reduce dust emissions. - Maintenance and servicing of machines and engines off-site. - Grievance procedure for dust complaints. - The use of appropriate Personal Protective Equipment (PPE) such as dust masks, in particular, for the site workers. - All demolition wastes will be transported in designated trucks which will be covered. | Construction Operation Decommissioning | Construction contractor Operations & maintenance contractor KPLC | Daily site inspection | -Visual Observation of dust -Provision of PPEs especially masks -Engine maintenance records - inspection of stacks | 150,000 |
| Ambient Noise Levels -Increase in Noise Level | - Only well-maintained equipment should be operated on-site; - If it is noticed that any particular equipment is generating too much noise then lubricating moving parts, tightening loose parts and replacing worn out components should be carried out to bring down the noise and placing such machinery far away from the households as possible; - Machinery and construction equipment that may be in intermittent use should be shut down or throttled down during non-work periods; and - Minimal use of vehicle horns and heavy engine breaking in the area needs to be encouraged. - Construction machineries should be maintained regularly to reduce noise resulting from friction; - Normal working hours of the contractor to be defined (preferable 8 am to 5pm). If work needs to be undertaken outside these hours, it should be limited to activities which do not generate noise; - Sensitize construction truck drivers to switch off vehicle engines while offloading materials. | Construction Operation Decommissioning | Construction contractor Operations & maintenance contractor KPLC | Daily inspections of the vehicles and machinery during construction and decommissioning Quarterly inspections during operation | Noise levels -Records of noise measurements done by contractor within the project area and at distances of 30m from the Solar mini-grid GRM records | 50,000 |
| Visual Intrusions and changes in Landscape | - The extent of the site office and storage area should be limited in area to only that which is essential; - Minimize presence of ancillary structures on the site and minimize roads disturbance; and - Upon completion of construction work, areas utilized for labor camp, storage area to be restored to original form. | Construction | Contractor and proponent. | Weekly site inspection | Inspection report | No additional cost |
| Impact on water - Depletion of Water Resources/water demand - Water Contamination | - Ensure proper cover and stacking of loose construction material to prevent surface runoff and contamination of receiving water point; - The workforce will be given training towards proactive use of designated areas/bins for waste disposal and encouraged to use toilets. Open defecation and random disposal of sewage shall be strictly restricted; - Construction workers to be sensitized about water conservation and encouraged use of water optimally; - Ensure prudent use of water. - Install water-conserving automatic taps. - Any water leaks through damaged pipes and faulty taps should be fixed promptly - Regular inspection for identification of water leakages and preventing wastage of water from water supply tankers. - Recycling/reusing water to the extent possible. - The contractor should provide portable/mobile toilets for use on site | Pre-construction Construction Operation Decommissioning | Construction contractor Operations & maintenance contractor KPLC | Daily site inspection. | Water usage records | 200,000 |
| Increased energy consumption | - Ensure responsible electricity use at the construction site through sensitization of staff to conserve electricity by switching off electrical equipment or appliances when they are not being used. - Proper planning of transportation of materials will ensure that fossil fuels (diesel, petrol) are not consumed in excessive amounts. - Complementary to these measures, they monitor energy use during construction and set targets for reduction of energy use. | - construction | Contractor | quarterly | Energy consumption records | No additional cost |
| Waste generation and management -Liquid waste -Solid waste -Hazardous waste -Sanitary waste | - The Contractor shall develop a Solid Waste Management Plan in accordance with the guidelines. - All Project staff will be trained on this plan and attendance will be recorded. - Preparation and implementation of a Waste Management Plan (WMP) will be done. - Fuel shall be stored on site in temporary above ground storage tanks. - Adhere to Kenyan laws and regulations applicable to waste management and the MSDS. - Proper waste segregation and color coding of the waste receptacles. - Provision of temporary ablution facilities and ensure treatment and/or removal of sewage wastes off site. - Hazardous wastes such as damaged solar panels and batteries that contain heavy metals shall be collected and stored prior to disposal offshore at a licensed facility as per the requirements of the solid waste management plan. This will be done by a Licensed NEMA Waste Handler. - Any Solar Panel or batteries removed from the array for disposal will first be collected and stored in the covered 10ft container before being disposed of. - Hazardous waste shall be shipped offshore to a facility licensed by NEMA to handle hazardous waste. - Maintain all waste tracking documents (Transportation, treatment and disposal) - Solid Waste Management Code of Practice will be integrated into SOP - Any solar panels or batteries removed from the array for disposal will first be collected and stored in the covered 10ft container provided by the Contractor. - For final disposal, the Contractor will ensure hazardous items are shipped offshore to a facility licensed to handle hazardous waste. This waste can also be managed locally by NEMA licensed waste battery handlers - Construct/ install pit latrines for both genders clearly labelled | Construction Operation Decommissioning | Construction contractor Operations & maintenance contractor KPLC | Weekly Records of Audits and Visual Inspection | -Engine maintenance records -Oil spill containment plan -Well-disposed hazardous materials -Presence of separate and clean washrooms for both the gents and ladies | 700,000 |
| Public Health Impacts | - Sensitize workers and the community on prevention and mitigation of HIV/AIDS and other sexually transmitted diseases, through staff training, awareness campaigns and community Barazas. - Awareness creation and consultations with local communities prior and during construction on the dangers of these diseases. - Informing workers on local cultural values and health matters. - Provision of condoms to workers. - Allowing migrant workers time to be with their families - The contractor is impressed upon not to set a construction camp on site. - The contractor will provide public education/information about HIV/AIDS transmission and prevention measures. - Ensure equal treatment of workers. - Provide all appropriate COVID-19 preventive measures including campaign to maintain individual measures at the workplace. | - Construction | Contractor | Quarterly inspections | Number of awareness creation sessions conducted. -Availability of and distribution of condoms | 20,000 |
| Fire Hazards and fire outbreaks | - Create awareness to the construction workers on potential fire hazards - Provision of firefighting equipment on site during construction and operation phase of the project - No smoking shall be done on construction site - ‘No smoking’ signs shall be posted at the construction site and the project area during operation phase. - A fire risk assessment and evacuation plan should be prepared and must be posted in various points of the construction site and facility including procedures to take when a fire is reported. - Detection/alarm systems that can detect fire should be and installed - Workers especially operators of the plant must be trained on fire management. - A fire Assembly point should be identified and marked | Construction Operation | Construction contractor, Operations & maintenance contractor KPLC | Quarterly inspections | -Records of any Fire incidences -Provision of serviced fire equipment, evacuation plan and safety signages -Records of fire safety training | 100,000 |
| Impacts of construction material sourcing (e.g., quarrying) | - Source all building materials such as stone, sand, ballast and hard core from NEMA approved sites. - Ensure accurate budgeting and estimation of actual construction materials to avoid wastage. - Reuse of construction materials where possible. | construction | Contractor | Quarterly inspections | Sources of raw materials (from local community) | Part of contractor’s cost |
| Occupational Health and safety Impacts | - Use skilled personnel for activities which demand skills/technical tasks - Awareness creation/Tool box talks on safety to workers while at construction site - Workers coming to the site should be knowledgeable on safety precautions to take - Appropriate PPE (helmet, safety harness, boots, masks, climbing irons) - Proper general house keeping - Close supervision of workers - Risk assessment by contractor of the construction activities and implement mitigation measures appropriately - Adherence to occupational Safety and Health Act 2007 - Availability of equipped first aid box on site - Provide safe drinking water for workers - Engagement of trained first aider on site - Ensure the WIBA cover is taken for the staff - Establish safety committees | construction | Contractor and proponent | Quarterly inspections | Records of any near misses, incident, and accidents. Records of corrective actions implemented if there was an accident. | 1,200,000 |
| Public/community health | - Sensitize workers and the community on prevention and mitigation of HIV/AIDS and other sexually transmitted diseases, through staff training, awareness campaigns and community Barazas. - Awareness creation and consultations with local communities prior and during construction on the dangers of these diseases. - Informing workers on local cultural values and health matters. - Provision of condoms to workers. - Allowing migrant workers time to be with their families. - The contractor is impressed upon not to set a construction camp on site. - The contractor will provide public education/information about HIV/AIDS transmission and prevention measures. - Ensure equal treatment of workers. - Provide all appropriate COVID-19 preventive measures including campaign to maintain individual measures at the workplace. - Proper barricading. - Hazard communication. - Controlled access to the site by designated personnel. | Construction Operation | Construction contractor Operations & maintenance contractor KPLC | Quarterly inspections | -Number of awareness creation sessions conducted. -Availability of and distribution of condoms -Presence of a controlled access and records of every person accessing the site. | 20,000 |
| Community Safety- Access to site by general public | - Fencing off the facility to keep of community members, children and livestock from entering into the facility - Controlled access to the site only with prior approval - Maintain records of any person who comes to site. | Operation | Operations & maintenance contractor KPLC | Daily inspections | -Presence of a controlled access and records of every person accessing the site | Part of contractor’s cost |
| Flooding and storm water flow | - Ensure drainage channels are free of any obstruction at all times i.e., not blocked - Construct more channels and or expand existing ones - Raise foundations of the solar panels and ensure a proper and from concrete base. - Create flooding diversions and or spill ways to divert water from getting into the solar power facility. - Concrete only the required area and leave the rest of the land with vegetation like grass. - Construct rain water harvesting system on the control buildings/office and harness into storage tanks for use. | Operation | Operations & maintenance contractor KPLC | Quarterly | Provision of drainage system and water harvesting system -Raised foundations for the structures | 100,000 |
| Shocks and electrocutions | - Inspect the wiring of the houses before connecting power - Safety awareness campaigns to the community before connection of power on safety precautions such as: - Require community to engage a certified technician to do wiring in the premises. - Use of quality materials while wiring. - Refraining from individual illegal extensions of power lines to other houses. - Observing safety measures while using electricity such as not touching sockets and switches with wet hands or wiping with wet cloths. - Keeping off all electricity infrastructure e.g., not tying livestock on electric poles, no cutting earth wires that run along some electric poles, not interfering with sockets or switches - Reporting any electric wire/conductors if found fallen on the ground - Report any incident regarding electricity at the local office –staff in charge of operating the Mini-grid | Operation | Operations & maintenance contractor KPLC | Quarterly inspection | -Records of awareness sessions conducted -Incidences report | No additional cost |

Table 7-2 – ESMMP SOCIAL IMPACTS

| POTENTIAL IMPACT | RECOMMENDED MITIGATION MEASURES | PROJECT PHASE | RESPONSIBILITY | MONITORING FREQUENCY | MONITORING INDICATOR | ESTIMATED COST |
| --- | --- | --- | --- | --- | --- | --- |
| SOCIAL IMPACTS |  |  |  |  |  |  |
| POSITIVE IMPACTS |  |  |  |  |  |  |
| Local Employment | - Prioritize hire of locals for all unskilled labour. - Implement a local recruitment plan that is fair and transparent (including recruitment processes that ensure inclusivity of both men and women, vulnerable individuals, minority clans, ethnic groups and VMGs. - -Adhere to labour laws, and labour management practices (timely renumeration, equitable compensation for both genders for equal work etc.) - -Create awareness to workers and the community on worker and project grievance redress mechanisms. | Construction Operation Decommissioning | Construction contractor Operations & maintenance contractor KPLC | quarterly | -Fair and transparent local recruitment plan in place. -Recruitment processes (job adverts, interviews, selection etc.). -Number of locals employed based on gender, vulnerability, ethnic group, clan etc. -Type of employment (skilled, semi-skilled and unskilled). -Grievances raised, those aggrieved, status of resolution. | Contractor’s cost |
| Impact on local trade/local sourcing | - Preference should be provided to the vulnerable population in the Study Area; - The project proponent will establish a mechanism to audit sub-contractors and suppliers with respect to compliance of utilizing local labour and resources. | Construction Operation Decommissioning | Construction contractor Operations & maintenance contractor KPLC | Quarterly | records on Suppliers records | No additional cost |
| Improved Education | - The proponent should consider having the transmission lines are closer to schools for them to benefit from the power supply; - The proponent should consider partnering with the county government in providing street lighting to improve security for children and teachers leaving for school early or leaving late for home. | Operation | Operations & maintenance contractor KPLC | Annually | Electricity connections in institutions | No additional cost |
| Improved health and standards of living | - The proponent should ensure that electricity is always available, reliable and affordable to PAPs. | Operation | Operations & maintenance contractor KPLC | Annually | Reliable electricity in the project area | No additional cost |
| NEGATIVE IMPACTS |  |  |  |  |  |  |
| Land acquisition and compensation for land and assets on land | In line with the RPF provisions; -Prepare and implement an Abbreviated Resettlement Action Plan (A-RAP) to guide land acquisition for the mini-grid, and wayleaves for power distribution. Further, the proponent will fast-track A-RAP preparation to ensure that land acquisition and contractor mobilization to the site is undertaken after the A-RAP is finalized, cleared, and disclosed. -The contractor will implement and adhere to agreements for temporal use of land and restoration of land after use. -Compensate affected communities in-kind (priority project) for the loss of land. -The construction activities will be restricted to within the allocated land and the immediate surroundings only. -After construction work, any land taken for a temporary basis for storage of material will be restored to their original form. -Consultations with the community on the low voltage lines. - -The design of the distribution line will utilize the existing road reserves. However, any damage to structures, crops, trees, community facilities and other assets will be compensated in line with the RPF provisions. | Pre- Construction | Contractor- (contractors’ facilities, workers camps) Proponent- (project land for generation assets) | -Land Acquisition and consultation report (consultation (minutes and lists of participants). -Type and amount of compensation paid to affected persons. - Priority community project implemented and handed over to affected communities. -Signed agreements with communities on the use and restoration of their land. | Quarterly | Value of compensation in kind project will be equivalent to the value of land acquired as per NLC |
| Labour influx and related impacts | - Tap into the local workforce to the extent possible to reduce labour influx. - Recruit local workforce to the extent possible especially for unskilled and semi-skilled jobs. - In contract documents for the Contractor, the proponent should make explicit reference to the need to abide by Kenyan law, international best practice and the ratified ILO conventions and MOE’s policies in relation to health and safety, labor and welfare standards. - In selection of a Contractor, the proponent should refer to past performance in similar assignments as an indicator of future performance with respect to worker management, worker rights, health and safety as outlined in Kenyan law and international standards. - Regular checks by the proponent should be undertaken to ensure the relevant labor laws and occupational health and safety plans are adhered to at all times. - All project workers should, as part of their induction, receive training on health and safety. - The Contractor will put in place a worker grievance redress mechanism accessible to all workers, whether permanent or casual, directly or indirectly employed. The Proponent worker grievance mechanism shall be open to the Contractor workforce in the event that their grievance is not adequately resolved by their direct employer. The Proponent will then have the authority to act to resolve this grievance. - The contractor should include gender considerations in employment opportunities and provide appropriate compensation for work done. - Respect for community values/culture. - The contractor to pay workers as per the contractual agreements/terms. | - Construction - Decommissioning | Proponent and Contractor | Monthly inspection of employment records | -Records of employees/updated employee register. -Number of local community employees and external employees/ updated employee register. | 50,000 |
| Child labour and Forced labour -Underage employment, sexual exploitation | - The contractor should develop a code of conduct to ensure children are protected from any negative impact from the construction works. - The contractor should strictly hire people who are above 18yrs and ensure they provide their Identity Cards. - The contractor shall ensure every worker under their jurisdiction signs a document committing themselves to the protection of the area children. - Implement and monitor the employment register regularly. Compliance with the national labour laws and labour management practices. - Put visible signage on site “No Jobs for children” - -Do not allow children at the project site. | - Construction - Decommissioning | Contractor and Proponent | Quarterly | -Updated employment register indicating locals employed, their ages, national identification numbers etc. -Grievances raised, aggrieved persons and status on resolution etc. Number of reported cases of forced labour. | 70000 |
| GBV and Sexual Exploitation and Abuse (SEA) -Stigma and Rejection from the community. -Self-harm and suicidal behavior. | - The contractor to prepare an Awareness Raising Strategy, which describes how workers and local communities will be sensitized to GBV risks, and the worker’s responsibilities; - Develop and implement a SEA action plan that will follow guidance on the World Bank’s Good Practice Note for Addressing GBV in Investment Project Financing involving Major Civil Works (Sept 2018). - Identify GBV Services Providers to which GBV survivors will be referred, and the services which will be available; - Elaborate GBV Allegation Procedures i.e. How the project will provide information to employees and the community on how to report cases of GBV breaches to the GRM. - An Accountability and Response Framework, to be finalized with input from the contractor, should include at minimum: - GBV Allegation Procedures to report GBV issues to service providers, and internally for case accountability procedures which should clearly lay out confidentiality requirements for dealing with cases; and, - Have a Response Framework which has Mechanisms to hold accountable alleged perpetrators associated to the project; - A referral pathway to refer survivors to appropriate support services. | Construction Operation Decommissioning | Construction contractor Operations & maintenance contractor KPLC Quarterly GBV Expert |  | -Minutes of awareness creation sessions for the community and workers on GBV-SEA/SH. -Code of conduct signed by all those with physical presence on site. GRM that ensures confidentiality of GBV cases in place. Documented referral services for survivors. -Grievances raised, aggrieved persons and status on resolution etc | 250,000 |
| Exclusion of VMGs and vulnerable individuals and households | In line with the provisions of the ESMF, VMGF and Social Assessment ensure the following. - Early identification and inclusion of VMGs and disadvantaged groups. - Meaningful consultation to effectively participate in the project. - Timely and prior disclosure of relevant project information to VMGs and disadvantaged groups. - Adequate and ongoing consultations with VMGs and disadvantaged groups in line with the SEP. - All concerns or grievances raised are fully resolved in a timely manner. - Access to culturally appropriate project benefits and opportunities. | Construction Operation Decommissioning | Construction contractor Operations & maintenance contractor KPLC | Minutes of consultative meetings with all community segments including VMGs and vulnerable individuals and households, grievances raised and status on resolution etc. | Quarterly | No additional cost |
| Risks related to Inadequate stakeholder engagement | - Prepare a stakeholder engagement /consultation plan (SEP) that is proportionate to the subproject and the identified stakeholders. - Timely and prior disclosure of project all project information, including project instruments, the full rights and entitlements of project affected persons, sub-project positive and negative impacts and opportunities, proposed subproject budget. - In line with the SEP, undertake adequate consultations prior to construction and throughout the project cycle with all segments of the community and other relevant stakeholders. - -Prepare and implement a grievance redress mechanism to deal with grievances. - -The grievance redress committee to include representatives from the community. - -Sensitize stakeholders on SEP and GRM. | Construction Operation Decommissioning | Construction contractor Operations & maintenance contractor KPLC | Quarterly | -Availability of and implementation of the Stakeholder Engagement Plan. -Records of stakeholder consultations held -Record of stakeholder consultations held (minutes of meetings and list of participants). -Information disclosed, to whom it was disclosed (men women, PWD, youth, vulnerable individuals and households etc., methods and languages used in the disclosure (culturally appropriate and accessible), grievances raised and status on resolution etc. -Concerns raised andactons raised. | 50,000 |
| Inaccessibility of project benefits to VMGs and other vulnerable individuals due to affordability challenges | - Consult VMGs and Vulnerable individuals and households on charges for sub project services, and put in place specific interventions to ensure the vulnerable equally access project benefits. | Operation | Operations & maintenance contractor KPLC | Quarterly | -Interventions to enable those vulnerable access project benefits. -Number of complaints raised by VMGs/vulnerable individuals regarding access to project services. -GRM that is culturally appropriate and accessible. -Grievances raised and status on resolution etc | No additional cost |
| Inadequacies in the GRM | - Ensure the subproject GRM incorporates existing local dispute resolution mechanisms at the lowest tier and allows access to administrative and judicial processes as well as to other redress mechanisms such as meditation/arbitration and the World Banks grievance redress service (GRS) and the Inspection Panel. - Have a subproject level GRM Focal Point to be responsible for receiving, logging/registering, submitting to the responsible tier for resolution and responding to and updating complainants on resolution status. - Sensitize all stakeholder categories on the GRM and encourage them to make use of it. - Ensure the GRM is functional, culturally appropriate, and accessible to all stakeholders without any cost to them and without fear of retribution or reprisal. - Ensure adequate and proportionate representation of VMGs and vulnerable individuals in the local grievances handling committee. - Prepare a timebound Contractor’s GRM and sensitize community members and subproject workers its processes. - Ensure all reported grievances are logged, dated, processed, resolved and closed out in a timely manner, or escalated to other levels. - Ensure the GRM provides for confidential reporting of particularly sensitive social aspects such as GBV, as well as anonymity for those who wish to report anonymously. - Allocate sufficient resources for training and sensitization of the GRM committee members on their roles and responsibilities. | Preconstruction Construction Operation Decommissioning | Construction contractor Operations & maintenance contractor KPLC | Monthly | -Local Grievances Committee in place, composition of committee, awareness of community and workers on project and worker GRMs, updated GRM logs, types of grievances. -Availability of grievance redress process -Number of grievances reported -Number of grievances resolved in a timely manner -Number of grievances escalated to national courts and the World Bank Grievances Redress Service and Inspection Panel. | 100,000 |
| Change in Culture and heritage | In order to minimize the potential for impact to sub-surface cultural archaeological material, the proponent should establish a Chance Find Programme which includes the following provisions: - A chance find can be reported by any member of the Project. Accordingly, if a chance find is encountered, the first course of action is to stop work in the vicinity of the find. Then the following steps will be undertaken: - Inform site supervisor/foreman. - Install temporary site protection measures (warning tape and keep off signs). - Inform all personnel of the Chance Find if access to any part of the work area is restricted. - Establish a localized no-go area needed to protect the Chance Find. - The National Museum of Kenya will be contacted to perform a preliminary evaluation to determine whether the Chance Find is cultural heritage and if so, whether it is an isolate or part of a larger site or feature. - Artefacts will be left in place when possible; if materials are collected, they will be placed in bags and labelled by an archaeologist and handed over to the National Museum of Kenya; no Project personnel are permitted to take or keep artefacts as personal possessions. - Document find through photography, notes, GPS coordinates, and maps (collect spatial data) as appropriate. - If the Chance Find proves to be an isolated find or not cultural heritage, the specialists brought in from the National Museum of Kenya will authorize the removal of site protection measures and activity in the vicinity of the site can resume. - If the archaeological specialists from National Museum of Kenya confirm the Chance Find is a cultural heritage site, they will inform the project team and initiate discussions with the latter about treatment. - Prepare and retain archaeological monitoring records including all initial reports whether they are later confirmed or not. - Develop and implement treatment plans for confirmed finds using the services of qualified cultural heritage experts. - If a Chance Find is a verified cultural heritage site, prepare a final Chance Finds report once treatment has been completed. - While investigation is on-going, co-ordinate with on-site personnel keeping them informed as to status and schedule of investigations, and informing them when the construction may resume. - If mitigation is required, then expedient rescue excavations will be undertaken by the National Museum of Kenya specialist, except in the case that the chance find is of international importance (i.e., Critical Cultural Heritage). If an archaeological site of international importance is encountered special care will be taken and archaeologists with the appropriate expertise in addressing the find will be appointed. | Pre-construction | Contractor | Assessment of the Chance find programmed | Grievance records Chance finding report | 200000 |
| Inadequate Grievance Management | - Ensure the subproject GRM incorporates existing local dispute resolution mechanisms at the lowest tier and allows access to administrative and judicial processes as well as to other redress mechanisms such as meditation/arbitration and the World Banks grievance redress service (GRS) and the Inspection Panel - Have a subproject level GRM Focal Point to be responsible for receiving, logging/registering, submitting to the responsible tier for resolution and responding to and updating complainants on resolution status - Sensitize all stakeholder categories on the GRM and encourage them to make use of it - Ensure the GRM is functional, culturally appropriate, and accessible to all stakeholders without any cost to them and without fear of retribution or reprisal - Ensure adequate and proportionate representation of VMGs and vulnerable individuals in the local grievances handling committee. - Prepare a timebound Contractor’s GRM and sensitize community members and subproject workers its processes - Ensure all reported grievances are logged, dated, processed, resolved and closed out in a timely manner, or escalated to other levels. - Ensure the GRM provides for confidential reporting of particularly sensitive social aspects such as GBV, as well as anonymity for those who wish to report anonymously. - Allocate sufficient resources for training and sensitization of the GRM committee members on their roles and responsibilities | Construction Operation Decommissioning | Construction contractor Operations & maintenance contractor KPLC | Monthly | - Grievance records | 500,000 |

## Management Plan during Construction Phase

The contractor will prepare targeted management plans to deal with specific environmental and social aspects guided by the ESMMP and any other emerging issues on the ground. The contractor shall prepare these plans and have them approved by both the proponent and the Bank before they mobilize to the site:

- Construction management plan

- Rehabilitation and site closure plan

- Local recruitment plan

- Workplace health and safety plan

- Community safety plan

- Emergency management and response plan

- SEA/SH Prevention and Response plan

- Stakeholderacre Engagement plan

- Grievance Redress mechanism

- Labor influx management plan

### Construction Management Plan

The construction management plan for the proposed project shall include the following:

- Management of Fuels and other Hazardous Materials

- The Contractor shall comply with all applicable laws, regulations, permit and approval conditions and requirements relevant to the storage, use, and proper disposal of hazardous materials.

- Management of the Construction Site

- The contractor shall prevent littering and the random discard of any solid waste on or around the construction site

- The contractor shall manage other solid and liquid waste

- Fire Prevention and Management

- The Contractor shall take all necessary precautions to prevent fires caused either deliberately or accidentally during construction process.

- The Contractor shall prepare a fire prevention and fire emergency plan as a part of the plans to be submitted to KP.

- Management of Air Quality

- The Contractor shall institute appropriate measures to minimize or avoid air quality impacts. This can be achieved through formulation of air quality management plan.

- Neighboring Land Owner and Occupier Relations

- The Contractor shall respect the property and rights of neighboring landowners and occupiers at all times and shall treat all persons with deliberate courtesy.

- The contractor shall respect any special agreements between the KP and the neighbors e.g., the wayleaves agreements signed between Kenya power and landowners will need to be respected by the contractors.

- Complaints Register

The contractor shall establish and maintain a register for periodic review by the KP that logs all the complaints raised by the neighbors or the general public about construction activities. The register shall be regularly updated, and records maintained including the name of the complainant, his/her domicile and contact details, the nature of the complaint and any action taken to rectify the problem.

- Construction Control

The construction control for the proposed project shall cover the following:

Control of Access

The contractor shall ensure that the construction site is accessed by authorized persons only and up-to-date records kept

Control of material supply and burrow areas

- The contractor shall, as far as possible, source all material needed to construct the proposed project from the licensed quarries

- In instances where materials are to be obtained from a new burrow area; the contractor shall comply with relevant legislations.

- The contractor shall prepare a method statement including plans, detailing the expected quantity of excavation, temporary and permanent drainage control, the final contouring of the burrow pit and the proposed method of rehabilitation.

### Rehabilitation and Site Closure Plan

- After completion of construction activities, the contractor shall clear the site of construction materials and dispose wastes in appropriate disposal sites.

- The contractor shall remove all temporary works on the construction site and grow grass on areas that are not covered by the installations to control erosion.

### Local Recruitment Plan

The contractor will prepare a local recruitment plan to guide on recruitment of locals. The plan shall pay attention or adhere to Employment Act.

In designing the local recruitment plan contractor shall:

- Comply with the provisions of Employment Act, 2007

- Wherever possible, give priority to qualified local people when hiring employees.

The mitigation measure is:

- Prepare a local recruitment strategy that is fair and transparent to ensure all community segments - men, women, vulnerable individuals, minority clans,  and VMGs who meet OP 4.10 criteria) - can access subproject benefits during construction and that prioritizes hire of locals for skilled, semi-skilled  and unskilled labour.

### Workplace Health and Safety Plan

The workplace health and safety plan to be implemented by the contractor and KP shall include the following key measures:

- The contractor shall comply with all relevant legislative requirements governing worker health and safety at the work place (e.g., OSHA 2007 and its subsidiary legislations).

- The contractor shall prepare and implement measures to minimize diseases likely to be contracted by the construction workers as a result of the proposed project such as HIV &AIDs and other communicable diseases

- The contractor shall have obligations of managing the safety of its employees by;

  - Provision of appropriate PPEs to employee

  - Training employees on competence

  - Employing competence and qualified staff

  - Provision of First Aid Kits onsite

  - Should have a trained first aider

  - Document and create awareness on safe work procedures and work instruction

- The contractor will manage accidents by having an emergence response plan which will include contacts for emergency service providers e.g., ambulances, fire brigade and nearest hospitals

- Health and safety performance will be continuously monitored, and procedures reviewed with the aim of eliminating risk as far as reasonably practicable.

### Community Health and Safety Plan

The community health and safety plan to be implemented by the contractor shall include:

- Adherence to OSHA 2007 Act and its subsidiary legislations to ensure that health and safety of immediate neighbors and the public is not threatened.

- The contractor to ensure that construction work is undertaken in manner not likely pose risks to community health and safety.

- The contractor shall undertake an independent risk assessment prior to construction. The findings of this assessment will inform the development of a community safety plan and create awareness to the community on the same.

### Emergency Preparedness Plan

The Contractor shall develop an emergency plan that will enable rapid and effective response to all types of environmental emergencies in accordance with recognized national and international standards.

The emergency plan shall include establishment of a network of communication between the Contractor and emergency services including police, ambulance services, and fire brigades among others.

### SEA/SH Prevention and Response Action Plan

The contractor will prepare a SEA/SH Prevention and Response Action Plan that will include a GRM that ensures confidentiality. The plan should have an Accountability and Response Framework. The plan will include the necessary measures for prevention and response of GBV impacts.

The mitigation measures shall include:

- Ensure that local employment opportunities are equitably accessible to all segments of the community,

- Ensure equal pay for equal work

- Prepare and implement GBV (SEA/SH management) plan that includes sensitisation of community members and subproject workers on the potential of the subproject giving rise to, exacerbating and/or mitigating SEA and SH, and the appropriate mitigation measures

- Map all GBV service providers and document referral services for survivors, and, sensitize community members and subproject workers on the referral pathways.

- Prepare and implementing a functional and accessible contractor GBV GRM for use by workers and community members (as appropriate).

- The GBV GRM should allow for anonymous incident reporting and should be GBV survivor-centric

- Sensitize community members and workers on contractor GRMs

- Prepare and sensitise Code of Conduct (CoC) for SEA and SH, and their responsibilities for the same, to demystify the stigma associated with SEA and SH

### Stakeholder Engagement Plan

A Stakeholder Engagement Plan is a formal approach to communicate with project stakeholders to achieve their support for the project. The plan prepared shall specifies the frequency and type of communications, media, contact persons, and locations of communication events. The SEP is a useful tool for managing communications between the contractor and other stakeholder. The plan should meet the following objective of a SEP.

- To help improve project design and implementation

- To inform third parties about changes that affect them

- To take their views into account in the implementation of projects

- To identify adverse impacts and mechanisms to enhance project benefits

- To identify risks from and to a project

- To increase project ownership and sustainability

- To comply with Bank policies that require consultations

The plan shall put this measure in to consideration:

- In consultation with the identified stakeholders, prepare a stakeholder engagement plan (SEP) that is based on their locations (maps) and their information needs at the various subproject phases

### Labor Influx Management Plan

The purpose of this plan is to provide a clear set of actions and responsibilities for the control of impacts linked to in-migration within the Project’s area of influence. This plan will be regularly reviewed and updated to reflect revised Project design, socio-economic changes and learning experienced during its implementation.

The objectives of this plan are as follows:

- Monitor the scale of project induced in-migration into the project area and specific in-migration ‘hotspots’;

- Support local government and communities to manage both internal and external immigration into the project area; and

- Mitigate and manage any negative impacts and enhance and promote any positive impact related to labor influx.

The plan shall consider these measures:

- Prepare and Implement a Labour Management Plan (LMP) with policies and measures for ensuring that:

- Subproject  managers and workers are sensitised on:

  - County/National Labour laws

  - County/National Child Labour laws

  - National/International Forced Labour laws

- Enforce:

  - The Code of conduct

  - County/National Labour laws

  - County/National Child Labour laws

  - National/International Forced Labour laws

### Grievance Redress Mechanism

One of the key roles of the Grievance Redress Committees, will be to address disputes led by the administrative chiefs. All PAPs will be informed how to register grievances or complaints, including specific concerns about land and environment. The PAPs will be informed about the dispute resolution process, specifically about how the disputes will be resolved in an impartial and timely manner.

Grievance mechanisms should receive and facilitate resolution of the affected institutional or communities’ concerns and grievances. Community concerns should be addressed promptly using an understandable and transparent process that is culturally appropriate and readily acceptable to all segments of affected communities, at no cost and without retribution. Mechanisms should be appropriate to the scale of impacts and risks presented by a project. Grievances can be an indication of growing stakeholder concerns (real and perceived) and can escalate if not identified and resolved. The management of grievances is therefore a vital component of stakeholder management and an important aspect of risk management for a project. Projects may have a range of potential adverse impacts to people and the environment in general, identifying grievances and ensuring timely resolution is therefore very necessary. As such the project has developed a grievance management process to serve as a guide during project implementation.

The Land Acquisition Tribunal established under the Land Act 2012 (Part VIIIA 133A) has the jurisdiction to hear and determine appeals from the decision of the NLC on the process of compulsory land acquisition of land. However, if a party is dissatisfied by the decision of the tribunal, they may appeal to the Environment and Land Court. The court will deal with land related disputes. However, the Land Act 2012 and Environment and Land Court Act 2011 advocates for Alternative Dispute Resolution (ADR) methods in tackling land related disputes. ADR approaches will be given preference and based on customary rules, arbitration, or third-party mediation. ADR will be promoted or defended as a resolution to disputes related to land. The affected persons and other stakeholders also have a right to access the World Bank Redress Service (GRS) and the World Bank Inspection Panel at no cost.

#### National Grievances Redress Committee (NGRC)

NGRC has been established at the National level to ensure participatory and transparent implementation of the project. The NGRC will help the project carry out its mandate efficiently- particularly ensuring effective and amicable settling of disputes among the communities/PAP’s.

Members to NGRC include representation from the following agencies and entities

- Representative from the Ministry, chair of the Committee

- Representative from NLC to handle matters that involve land take

- Representative of the Implementing Agencies (IA)-KP and REREC

- Representative from the Ministry’s Legal office to guide on Alternative Dispute Resolution methods

- Representative from the County Grievance Redress Committee-depending on the matter at hand; Land or Environment

- Representative from Gender and Social Development Office who will be responsible for ensuring gender issues are well addressed.

- Representative from NEMA to handle environmental issues

- County Surveyor/Physical planner from the county Lands office

- Project Affected Person’s-to represent the matter before the committee

Functions of the National Grievances Redress Committee

- Ensuring effective flow of information between PAPs, the implementing agency and the County Grievance Redress committee on matters brought before the committee

- Co-ordinate County Grievance Redress Committees (CGRC)

- Co-ordinate activities between the various organizations involved; facilitate grievance and conflict resolution at the highest level

- Resolving disputes that may arise within the project. If it is unable to resolve any such problems, the PAP’s can seek legal redress.

#### County Grievance Redress Committees (CGRC)

CGRC has been established at the county level to ensure participatory and transparent implementation of the project. The CGRC will help the project carry out its mandate efficiently- particularly ensuring effective communication with the communities.

Members to CGRC will include representation from the following agencies and entities

- Representative of NLC, to grant legitimacy to the acquisition process and ensure that legal procedures as outlined in Land Act 2012

- Representative of the implementing agency

- Representative of NEMA to handle environmental issues

- The County Administration representative, which will provide the much-needed community mobilization, and support to the sub-project.

- County Land Survey Officer will survey all affected land and produce maps.

- The County Gender and Social Development Officer who will be responsible for ensuring gender programs are adhered to.

- The County Lands Registrar will verify all affected land and validate the same.

- Two PAP representatives from Location Grievance Resettlement Committee – act as voice for the PAPs

- NGOs and CBOs locally active in relevant fields

The CGRC will have the following specific responsibilities:

- Ensuring effective flow of information between PAPs and the implementing agency

- Coordinate Locational Grievance Redress Committees (LGRC)

- Coordinate activities between the various organizations involved; facilitate grievance and conflict resolution; and provide support and assistance to vulnerable groups.

- Conducting extensive public awareness and consultations with the affected people so that they can air their concerns, interests, and grievances.

- Resolving disputes that may arise within the project. If it is unable to resolve any such problems, channel it to the National Grievance Redress committee before utilizing the appropriate formal grievance procedures.

#### Locational Grievance Redress Committee (LGRC)

Since counties are large, further decentralized Grievance Redress Committee will be formed at the location of the sub-project. Subsequently, Locational Grievance Redress Committees (LGRC’s), based at each location of a sub-projects, will be established. The LGRC’s will be constituted by implementing agencies and representatives of CGRCs through consultation with the PAPs and will act as the voice of the PAPs.

The LGRCs will work under guidance and coordination of CGRC and the implementing agencies. Their membership will comprise of the following:

- The locational Chief, who is the Government administrative representative at the locational unit and who deals with community disputes will represent the Government in LGRC

- Assistant Chiefs, who supports the locational Chief and Government in managing local community disputes in village units will form membership of the team.

- Female PAP, elected by women PAPs, will represent women and children related issues regarding the project

- Youth representative, elected by youths, will represent youth related concerns in the LGRCs

- Male representatives elected by the members of the PAPs

- Vulnerable persons representative will deal and represent vulnerable persons issues in the LGRCs.

- CBO representatives

Membership of LGRCs will be elected by each category of PAPs except the locational Chief and assistant chiefs who will be automatic members of the team by virtue of their positions. Each of LGRCs will elect their own chairperson and a secretary among themselves.

The roles of LRCCs will include among others the following:

- Conducting extensive public awareness and consultations with the affected people.

- Help ensure that local concerns raised by PAPs as regards to the project are promptly addressed by relevant authorities.

- Resolve manageable disputes that may arise relating to the project. If it is unable to resolve/help refer such grievances to the CGRCs instituted.

- Ensure that the concerns of vulnerable persons such as the disabled, widowed women, orphaned children affected by the sub project are addressed.

- Assist the community in recording grievances, including helping those who cannot write or read.

- Help the vulnerable groups access project benefits

- Ensure that all the PAPs in their locality are informed about the project

Figure 7-1: KOSAP Grievance Redress Mechanism

It should be noted that if complainants are not satisfied with the grievance process, even after arbitration they have the right to present their complaint through the court system.

It is expected that most disputes will be resolved at the lowest level-Locational Grievance Redress Committee and since most disputes arise during the Construction and operation period the contractor’s Environmental and Social Safeguard team specifically the Community Liaison Officer will work closely with the community to be able to resolve disputes.

Responsibilities of the Community Liaison Officer include:

- Monitor day to day Implementation of the Project

- Address grievances as they arise on the project

- A member of the Locational and County Grievances Redress Management Committee to respond on issues that may have been brought to the attention of the committee before escalating to the National Grievance Redress Committee

      - Escalate grievances internally to get a lasting solution

Existence of a Local Grievance Redress Mechanism in Qarse Goftu

A Local grievance redress committee was constituted in 2020. The LGRM was not active during the site visit. It is anticipated that the committee shall become active during the construction and operation phase of the project. The LGRM is composed of the following members of the project committee:

- The area chief;

- Youth representatives;

- Female representatives;

- Male representative; and

- Vulnerable persons representative

Contractor will prepare an effective Grievance Redress Mechanisms (GRM) to address and respond to grievances from both the community, the workers and any other stakeholder.

A Grievance Redress Mechanism (GRM) provides access to remedy and identifies procedures to effectively address grievances arising from project implementation. GRM provides an avenue where people can formally lodge their complaints and grievances and have them properly considered and addressed.

The mitigation measures shall include:

- Prepare a project level timebound GRM in consultation with relevant stakeholders

- Ensure the project GRM incorporates existing local dispute resolution mechanisms at the lowest tier and allows access to administrative and judicial processes as well as to other redress mechanisms such as meditation/arbitration and the World Banks grievance redress service (GRS) and the Inspection Panel.

- Have a subproject level GRM Focal Point to be responsible for receiving, logging/registering, submitting to the responsible tier for resolution and responding to and updating complainants on resolution status.

- Sensitize all stakeholder categories on the GRM and encourage them to make use of it

- Ensure the GRM is functional, culturally appropriate, and accessible to all stakeholders without any cost to them and without fear of retribution or reprisal.

- Ensure adequate and proportionate representation of VMGs and vulnerable individuals in the local grievances handling committee.

- Prepare a timebound Contractor’s GRM and sensitize community members and project workers its processes.

- Ensure all reported grievances are logged, dated, processed, resolved and closed out in a timely manner, or escalated to other levels.

- Ensure the GRM provides for confidential reporting of particularly sensitive social aspects such as GBV, as well as anonymity for those who wish to report anonymously.

7.6.9.10 World Bank Grievances Redress Mechanism

The World Bank has established 2 grievance redress mechanisms that provide avenues for individuals and communities to submit complaints directly if there is belief that they have been, or are likely to be, adversely affected by a World Bank-funded project.  In this project PAPs and other stakeholders have the right to know and access at no cost these GRMs as described below.

7.6.9.11 World Bank Grievances Redress Service

The Grievance Redress Service (GRS) is an avenue for individuals and communities to submit complaints directly to the World Bank if they believe that a World Bank-supported project has or is likely to have adverse effects on them, their community, or their environment.  The GRS enhances the World Bank’s responsiveness and accountability to project-affected communities by ensuring that grievances are promptly reviewed and addressed.  Complaints must be in writing and addressed to the GRS and sent through the following methods namely:

Those aggrieved or their representatives can report their complaints through the following mediums;

Online by accessing the online form;

Sending an Email to grievance@worldbank.org; or

Submitting a letter to the World Bank Headquarters in Washington D.C., United States or World Bank Kenya County Office.

7.6.9.12 World Bank Inspection Panel

The Inspection Panel is an independent complaints mechanism for people and communities who believe that they have been, or are likely to be, adversely affected by a World Bank-funded project.  The Panel is an impartial fact-finding body, independent from the World Bank management and staff, reporting directly to the Board.  The Inspection Panel process aims to promote accountability at the World Bank, give affected people a greater voice in activities supported by the World Bank that affect their rights and interests, and foster redress when warranted.  In September 2020, the Board updated the resolution that created the Panel and added to the Panel functions.  At the same time, the Board approved a resolution establishing the World Bank Accountability Mechanism (AM).  The new AM began operations in early 2021 and houses the Panel to carry out compliance reviews and a new Dispute Resolution Service (DRS), which will give complainants another way to have their concerns addressed.  Contacts for registration of complaints to the IPare; (i) Tel: +12024585200: and (ii) Email: ipanel@worldbank.org.

7.6.9.13 Government Management of Land Acquisition Disputes

The Environment and Land Court, established under the Environment and Land Court Act 2011, is a superior court (with offices across the country) that hears and determines disputes relating to land and the environment.  Likewise, the Land Acquisition Tribunal established under the Land Act 2012; (PART VIIIA 133A) has jurisdiction to hear and determine appeals from the decision of the NLC on the process of compulsory acquisition of land. Therefore, in the first instance, such appeals are referred to the Tribunal. However, a party dissatisfied with the decision of the Tribunal may appeal to the Environment and Land Court on a question of law only. The regulations to set the Land Acquisition Tribunal established under the Land Value (Amendment) Act of 2019 are underway. Besides, the Judicial Service Commission will chair the Land Acquisition Tribunal once operational.

### 7.5.11 Labor Influx Management Plan

The purpose of this plan is to provide a clear set of actions and responsibilities for the control of impacts linked to in-migration within the Project’s area of influence. This plan will be regularly reviewed and updated to reflect revised Project design, socio-economic changes and learning experienced during its implementation.

The objectives of this plan are as follows:

- Monitor the scale of project induced in-migration into the project area and specific in-migration ‘hotspots’;

- Support local government and communities to manage both internal and external immigration into the project area; and

- Mitigate and manage any negative impacts and enhance and promote any positive impact related to labor influx.

The plan shall consider these measures:

Prepare and Implement a Labour Management Plan (LMP) with policies and measures for ensuring that:

- Subproject managers and workers are sensitised on:

  - County/National Labour laws

  - County/National Child Labour laws

  - National/International Forced Labour laws

- Enforce:

  - The Code of conduct

  - County/National Labour laws

  - County/National Child Labour laws

  - National/International Forced Labour laws

## Rehabilitation and Decommissioning Management Plan

The rehabilitation and decommissioning management plan include the following:

### Planning for Closure

a) The implementing agency shall investigate practical options for closure of the facility at least one year before decommissioning and submit a report to relevant authorities NEMA included.

b) The KP shall develop rehabilitation and decommissioning plan in conjunction with relevant stakeholders at least one year before the end of facility’s operations.

c) The KP shall explore options of re-use and recycling of the facility’s components/structures.

### Decommissioning

a) The KP shall take into consideration the health and safety of personnel, contractors, neighbors and the public during the planning and implementation of the demolition process.

b) The KP shall undertake a further survey to identify any contaminated areas and remediate them accordingly.

### Post Closure

The KP shall ensure that the facility’s site is free of impacts associated with the closure and demolition

The KP shall develop, rollout and implement a monitoring plan that includes:

a) Monitoring of the rehabilitated site to confirm whether progress is satisfactory.

b) Outline of how land improvement and future land use will be affected by the past operations and decommissioning of the associated infrastructure.

## Institutional Implementation Arrangements for the Proposed Project

This section presents roles and responsibilities of proponent, implementing agency, supervision consultant and contractor. The project is jointly implemented by the Ministry of Energy and Kenya Power. Specific roles are presented below;

### Proponent -Ministry of Energy (MoE)

The MoE will provide overall coordination and oversight of the project. MOE will be responsible for overall responsibility for safeguards due diligence, and compliance monitoring. The MOE will also provide funding for the project planning and implementation.

### KOSAP Project Implementation Unit

The MOE has already put in place a Project Implementation Unit (PIU) to guide implementation of the project. The PIU is already implementing the project. In the PIU Environmental and Social issues are spearheaded by an Environmental and Social Safeguards Expert whose role is to coordinate and oversee implementation of safeguards. The PIU reports to the MOE.

### The Implementing Agency (KP)

KP will be responsible for implementation and operation of the project on behalf of the MOE. Some of the key responsibilities include but not limited to are;

- KP will supervise construction works through a supervision consultant and also directly

- Monitoring the progress of the project in terms of the safeguards and technical aspects.

- Monitoring of the ESMMP implementation

- Ensuring the project is on course in terms of timelines

Note: The Solar Mini-grid will be installed operated and maintained by the contractor for the first Seven (7) years and then handed over to KPLC and operators. So, for the seven years KP will be monitoring the operations of the contractor.

### County Government of Wajir

The County government is a key stakeholder. The roles of the county government include giving relevant approvals needed, assisting is process of allocating land for Mini-grid, solving grievances that cannot be sorted at project level, monitoring progress of the project among others.

### National Environmental Management Authority

This authority is responsible for approval of ESIA report and licensing and is free to check progress of implementation of ESMMP

### Roles and Responsibilities of the Supervising Consultant

- The consultant must appoint an ESHS officer who will be reporting on the ESMMP implementation supervision

- The consultant ESHS officer be required to generate various reports including production of minutes of monthly site visits and quarterly supervision reports detailing environmental, health, social and safety compliance on quarterly basis amongst other technical aspects

- Reporting on the ESMMP implementation progress and recommendations

### Roles and Responsibilities of the Contractor

- Implementation of the contractor related aspects of the ESMMP and regularly (monthly) reporting

- The contractor on his part will have to appoint an EHS officer and a Social Specialist to coordinate and report on the ESMMP implementation respectively.

- The contractor to engage a Community Liaison Officer to act as a link between the community and the contractor and support the Social Specialist.

- The contractor will also have the obligation of managing the  E&S risks related to his/her  operations.

- Maintaining the required level of stakeholder engagement and communication, including providing project schedule information to the public, accepting and resolving public grievances, advertising and hiring local workers.

- Maintain a working grievance redress mechanism.

- The contractor is to comply with all regulations and by-laws at the county level and other relevant regulations and laws

- The contractor shall refer to ESIA recommendations and the ESMMP when preparing the contractors- ESMMP and the specific plans

- The contractor shall provide water required for use in connection with the works including the work of subcontractors and shall provide temporary storage tanks, if required

- The contractor shall make his own arrangements for sanitary conveniences for his workers. Any arrangements so made shall be in conformity with the public health requirements for such facilities and the contractor shall be solely liable for any infringement of the requirements.

- The contractor shall be responsible for all the actions of any subcontractors whom he subcontracts.

- The contractor shall take all possible precautions to prevent nuisance, inconvenience or injury to the neighboring properties and to the public generally, and shall use proper precaution to ensure the safety of the community

- All work operations which may generate noise, dust, vibrations, or any other discomfort to the workers and/or visitors of the client and the local community must be undertaken with care, with all necessary safety precautions taken.

- The contractor shall take all effort to muffle the noises from his tools, equipment and workmen to not more than 70dBA

- The contractor shall upon completion of working, remove and clear away all plant, rubbish and unused materials and shall leave the whole site in a clean and tidy state to the satisfaction of the Proponent. He shall also remove from the site all waste

- No shrubs, trees, bushes or underground thicket shall be removed except with the express approval of the proponent.

- No blasting shall be permitted without the prior approval of the KP and the local authorities.

- Borrow pits will only be allowed to be opened up on receipt of permission from the approving authorities.

- The standard of workmanship shall not be inferior to the Kenya Bureau of Standards where existing. No materials for use in the permanent incorporation into the works shall be used for any temporary works or purpose other than that for which it is provided. Similarly, no material for temporary support may be used for permanent incorporation into the works.

- Disposing of the waste generated during construction activities in accordance to the ESMMP.

- The contractor EHS officer will report on ESMMP implementation during construction period. The aspect to be reported by the contractor will include safety issues i.e. hours worked, recordable incidents and corresponding Root Cause Analysis (lost time incidents, medical treatment cases), first aid cases, incidents and accidents, potential near misses, and remedial and preventive activities required (for example, revised job safety analysis, new or different equipment, skills training etc.); Environmental incidents and near misses; noncompliance incidents with permits and national law; Training on E&S issues (dates, number of trainees, and topics); Details of any security risks; Worker & External stakeholder grievances and E&S inspections by contractor, including any authorities.

Environmental and Social concerns need to be part of the planning and development process and not an afterthought, it is therefore advisable that all the risks and impacts of the project be prevented and mitigated at the earliest opportunity possible to ensure smooth implementation of the project. Finally, a comprehensive Environmental and Social Management and Monitoring Plan (ESMMP) has been prepared and will guide in implementation of mitigation measures.

# CONCLUSION AND RECOMMENDATION

## 7.1  Conclusions

During the preparation of this report for the proposed development, it is observed and established that most of the negative social and environmental impacts can be mitigated and have potentially short term low significant effects. The positive impacts are highly rated and will benefit the community at QARSE GOFTU and the county at large. The project proponent, the implementing agency and the contractor must adhere to prudent implementation of the social and environmental management and monitoring plan. The contractor should commit to obtaining all necessary permits and licenses from the relevant authorities and have qualified and adequate personnel to do the project as proposed. The ESIA has proposed adequate safety and health mitigation measures as part of the relevant statutory requirements.

The analysis of the ESIA has demonstrated that the construction and operation of the proposed Solar Mini Off-grid will have positive impacts to the government and Kenyan society at large. The impacts will include Increase in reliable and sustainable clean energy, employment to local community members, increase in the national/local investment, increase in government revenue, improvement of standards of living for QARSE GOFTU residents.  However, despite the outlined positive impacts, the proposed development will cause some negative impacts such as noise, dust generation, soil erosion, oil spills, fire hazards, electrocution, shocks, solid waste generation, occupational health hazards, social risks such as labor influx, demand for resources, gender-based violence, conflicts, public health impacts (HIV & AIDs, Covid 19) among others that need to be avoided, reduced and mitigated against.

It is the duty of NEMA to consider licensing the project subject to EIA study; in accordance with the Environmental Management and Coordination Act, EMCA of 1999 and its Amendment, 2015 and the Environmental Impact Assessment and Audit Regulations, Legal Notice No. 101 of 2003.

An Environmental and Socio- economic Management Plan (ESMMP) outline has been developed to ensure sustainability of the project area activities from construction through operation to decommissioning. The plan provides a general outlay of the activities, associated impacts, mitigation action plans and appropriate monitorable indicators. Implementation timeframes and responsibilities are defined, and where practicable, the cost estimates for recommended measures are also provided.

A monitoring plan that highlights some of the environmental performance indicators that should be monitored has been developed. Monitoring creates possibilities to call to attention changes and problems in environmental quality. It involves the continuous or periodic review of operational and maintenance activities to determine the effectiveness of recommended mitigation measures. Consequently, trends in environmental degradation or improvement can be established, and previously unforeseen impacts can be identified, or pre-empted and mitigation measures proposed.

From the findings of this study, the following conclusions are made:

- The proposed project will generate socio-economic benefits which would not be realized if the ‘NO development option’’ is considered.

- The beneficiary community has been consulted among other stakeholders and project information shared including the negative impacts and the views of the stakeholders is that the project is long overdue.

- The potential adverse impacts associated with the proposed project are possible to mitigate successfully. The impacts before implementation of mitigation measures are assessed as very low to medium low and the ratings are expected to improve further with the implementation of the proposed mitigation measures

- The impacts that will be adverse will be temporary during the construction phase and can be managed to acceptable levels with the implementation of the recommendation of the mitigation measures for the project.

- The project will be designed, constructed, and operated according to the acceptable industry norms and standards. Successful implementation of the proposed ESMMP will ensure environmental sustainability

The proposed project design has integrated mitigation measures with a view to ensuring compliance with all the applicable laws and procedures. The Solar Mini Off-grid and associated structures will be installed to the required planning/architectural/structural designs and standards. During project implementation, operation and decommissioning stages sustainable environmental management would be ensured, avoiding inadequate use of natural resources, conserving nature sensitively and guaranteeing a respectful and fair treatment of all people working on the project, general public at the vicinity and the expected Project-Affected Persons (PAPs) of the project.

In relation to the proposed mitigation measures that will be incorporated during construction, operational and decommissioning phases; the development’s input to the society and environment; the project is considered beneficial and important.

## Recommendations

It is strongly recommended that a concerted effort is made by the implementing agency, to implement the Environmental Social Management and Monitoring Plan provided herein. Following the commissioning of the project, statutory Environmental and Safety Audits shall be carried out in compliance with the national legal requirements, and the environmental performance of the site operations should be evaluated against the recommended measures and targets laid out in this report.

- The KPLC and the contractor must adhere to relevant legal and regulatory framework to ensure compliance and success of the project

- Adherence to the mitigation measures as spelt out in the ESMMP and monitoring of the same is mandatory to ensure environmental and social sustainability of the project.

- Cultivate and maintain a good working relationship with the community members

- Ensure social inclusion of the vulnerable groups by paying attention to the most vulnerable and provide ready boards as spelt out

- Contractor to plant trees in construction phase to promote environmental sustainability

- Stakeholder engagement to the carried out throughout the construction and operation and decommissioning phases.

- Contractor to ensure grievance redress mechanism is established and operational

- Environmental Audits should be carried annually or as prescribed by the Authority during the operational phase and invitation of Inspectors and Experts from NEMA to ascertain compliance with the provided ESMMP and set NEMA regulations and Standards.

- Diligence on the part of the contractor and proper supervision by the KPLC is crucial for mitigating the potential impacts and ensuring structural strength, safety, and efficient operation of the project.

Authorization Opinion

In terms of NEMA requirement the environmental practitioner is required to provide an opinion as to whether the activity should or should not be authorized. The expert is reticent to venture such an opinion since we are not an elected entity mandated to make decisions on behalf of authority. Nevertheless, in this section a qualified opinion is ventured and in this regard the Lead expert believes that sufficient information is available for NEMA to take a decision. The fundamental decision is whether to allow development which brings socio-economic advantages and is consistent with planning and certain development and social responsibility and upliftment of policies, but which may impact on an area as a result of negative impacts identified. The Lead Expert believes that the ESIA have shown that the applicant’s preferred alternative and technological alternatives are generally acceptable. The ESIA has also assisted in the identification of essential mitigation measures that will mitigate the impacts associated with the project to within acceptable limits.

In conclusion, the expert is of the opinion that on purely ‘environmental’ grounds (i.e., the project’s potential socio-economic and biophysical implications) the application as it is currently articulated in the applicant’s proposal should be approved provided the essential mitigation measures are implemented. It is in the opinion of the Environmental Consultant that the anticipated negative impacts can be readily and effectively mitigated, and the proposed project does not pose any significant threat to the Environment and may be licensed to proceed.

# REFERENCES

The following list of references was referred to in preparing this Project Report:

- Environmental Assessment Source Book, 1999 (World Bank),

- George, C. and Lee, N., 2000 Environmental Assessment in Developing and Transitional Countries, Willey: Chichester, UK

- Government of Kenya (GoK), 1999. The Environmental Management and Co-ordination Act, 1999. Government Printer.

- Government of Kenya (GoK), 2003. The Environmental (Impact Assessment and Audit) Regulations, 2003.

- Government of Kenya (GoK), 2009. The Environmental Management and Co-ordination Act, Regulations 2009, Legal Notice No. 61, 2009. Government Printer

- Government of Kenya (GoK). The Public Health Act Chapter 242 Laws of Kenya.

- Government of Kenya (GoK), 2002. The Water Act 2016. Government Printer, Nairobi, Kenya.

- Government of Kenya (GoK), Building code, Building order 1968 and Grade 11 Building Order 1968

- Government of Kenya: The Physical Planning Act 2019

- Government of Kenya: Occupational Safety and Health Act,2007

- Government of Kenya: Factories and Other Places of Work (Safety and Health Committee) Rules 2004

- Government of Kenya: Water Quality Regulations, 2006

- Government of Kenya: Waste Management Regulations, 2006

- Government of Kenya: The Occupational Safety and Health Act, 2007

- Government of Kenya: Noise Prevention and Control Rules 2005

- Government of Kenya: Hazardous Substances Rules, 2007

- Government of Kenya: Factories and Other Places of Work (Noise Prevention and Control) Rules 2005

- British Standard (BS) 5228 Part 4, 1997: Noise Control on Construction and Open Sites: Code of Practice for Noise and Vibration Control applicable to piling operations

- International Labor Organization 1983: Encyclopaedia of Occupational Health and Safety Vol. II, Geneva.

- Sombroek WG, Braun HMH & Van der Pouw BJA, 1982: Exploratory Soil Map and Agro-climatic Zone Map of Kenya, 1980 (Kenya Soil Survey, Nairobi),

- Community Land Act, 2016

- The Land Registration Act, 2012

- The Land Act, 2012

- The Energy Act, 2019

- The Constitution of Kenya, 2010

- Wajir County Integrated Development Plan 2018

## Appendix 1 Public Participation Minutes-ESIA

## Appendix 2 Attendance List - ESIA

## Appendix 3 Public Participation Minutes -

8.0 COMMUNITY LAND ACQUISITION BARAZA

Minutes of the Land Acquisition (LA) Community Baraza held on 25/02/2020 at Garse Goftu Village, Starting at 3.00pm.

AGENDA

- Welcoming and introduction

- KOSAP and the Garse  Goftu Mini-grid

- Project Land requirements

- Wiring, connection and payment of bills

- Social and Environmental issues

- Grievance redress mechanism

- Meeting with men, women and the elders

In attendance (refer to attendance form attached as an appendix).

MIN 1.0 WELCOMING AND OPENING

The meeting was started at 3.15 pm with the area chief Abdirahman Mohamed welcoming both the community members and the visitors. He said it was a great honour to community for having been targeted for electricity supply. He said that due to language barrier everyone was free to address in the language they were fluent in and pointed out that every speech remark or question would be translated to both Kiswahili and the Somali language.

He then invited the visitors to address the members of the community and give more information on the upcoming electricity power project.

The visiting team introduced themselves as following;

- Irene Maina 		- 	Chief Wayleaves Officer - KPLC

- Lawrence Nduva 	-	Monitoring & Evaluation - Ministry of Energy

- Kioko Maithya 		- 	Social Safeguards Officer - REREC

- Irene Kawira Mate 	- 	Senior Environmental Officer - REREC

- Agnes M. Gachoki   	-	Senior Surveyor – REREC

- Osman Hassan 		-	County Renewable Energy Officer - Mandera

MIN 2:0 KOSAP AND GARSE MINIGRID

The County Renewable Energy Officer Mr Osman Hassan informed the participants that the World Bank in collaboration with the Government of Kenya intends to undertake the construction of mini-grids in 14 counties which are not served by the national grid. The project is called the Kenya Off-grid Solar Access Project (KOSAP). Implementation of these projects will be undertaken by the Ministry of Energy. The mini-grids will entail the installation of solar PV, battery storage and thermal diesel units running with to a capacity of 20-300 kilowatt (KW). Mandera County 30 mini-grid sites had been identified and that one of this project sites was Garse where the total number of expected Project beneficiaries for the proposed mini-grid is 270 households/premises. The main purpose of the baraza was to interact, engage and deliberate on the matter of land donation freely and without cohesion for all attendees comprising women, women, youth, elderly and Persons Living with Disabilities (PLWDs).

MIN 3:0 PROJECT’S LAND REQUIREMENTS

The Surveyor, Ms. Agnes Gachoki told the Baraza that the land required for the construction of the Mini-grid is 2-5acres. She said that the parcel of land the community had identified for the project was 3.0 acres and that the parcel was adequate for the project. The main purpose of the Baraza she said was to seek community consent for land acquisition for the project. She revealed that there are three land ownership categories in Kenya which are Community land, Private land and Public land. Land in Garse falls under the Community land meaning it has no title but is jointly owned by the community. This land is governed under customary law. The Surveyor further informed the meeting of the following community rights to land donation;

- That, they can refuse to donate the land

- That, they can opt to seek compensation for the project land

- That proportion of land that they are donating does not exceed the area required to maintain the community members’ livelihoods or that of his/her household

- That donation of land will not require any household to be relocated, but should this be the case, the community must bear the cost of the migratory measures that are acceptable to the affected person(s)

- That the donated land should have no encumbrances or encroachments or any disputes concerning ownership of the land

She said there were several options on land compensation;

- The first being payment of cash for the land that has been identified for the project. This is however a long and complicated method of compensation. This is because all community members will have to be identified and registered and thereafter the County opens an ESCROW Bank account where the funds are deposited.  These funds can only be withdrawn once the community agrees on what to do with the funds.

- Another option is the compensation of land for land. The community would identify a similar piece of land in value to the project site and request that the same is purchased for the community.

- A further option is compensation kind. This option is for the community to grant the land for the project and meanwhile request for compensation in kind. This could be in the form of a project for the benefit of the community like the construction of classrooms, a borehole.

She however told the meeting that the choice on compensation or free land donation lies with the Garse Goftu community.  Once the community grants land consent the land will be registered in the name of the implementing agency. The surveyor encouraged the community to make an informed decision that collectively involved every one including the elders, men, women, the marginalised and PLWDs. Any land donation would have to be signed by at least five representatives nominated by the community.

MIN 4.0 WIRING, CONNECTION AND PAYMENT OF BILLS

The KPLC Chief Wayleaves Officer, Ms. Irene Maina told the meeting that households will pay Kenya Shillings One Thousand (Kshs. 1,000.00) as connection fees. KPLC will also be involved in metering of the power to the various consumers. Wiring of premises and households was the responsibility of the Premise/Household owner. However owners should ensure that wiring is done by a certified technician who should also provide them with a wiring certificate after completion.

MIN 5.0 SOCIAL AND ENVIRONMENTAL ISSUES

The Environmental specialist Ms Irene Mate Kawira said that there were many benefits that would accrue to residents due to the supply of power to the area. She cited some of them as:

- Improved educational standards as a result of longer study hours for leaners.

- Enhanced heath care as Clinics/dispensaries can operate at night and store perishable drugs and vaccines

- Employment of locals during the construction phase

- Increased information access and entertainment (TV, Radio, Internet phones and computers).

- Storage of food products thereby increasing their shell life like meat and milk and the

- Opportunity for locals to establish entrepreneurship ventures like hairdressers, photocopy and welding.

Potential negative impacts:

- The land that is currently in use for grazing and will now no longer be accessible to the residents as it would be fenced off.

- The risk of electrocution due to lack of proper handling and care. The Contractor shall however educate the community on safety precautions.

- Labour influx leading to sexual exploitation and harassment.

- Environmental contamination may arise due to disposal of used batteries, inverters and other materials.

6.0 GRIEVANCE RESOLUTION MECHANISM (GRM)

The Environmental specialist, Ms Irene Mate Kawira informed the Baraza on the need to constitute a locational Grievance Resolution Committee (GRC) to resolve any grievances that may arise during construction and operation of the project. The local GRC will be the first stop shop for resolution of project related disputes and grievances for the community members. Any disputes which cannot be resolved by this committee shall be escalated to the sub-county GRC, County GRC and the National GRC respectively. Any unresolved matter can then be referred for arbitration or a court of law. The community is expected to nominate representatives to this committee with membership comprising the women, youth, men, elderly and PLWDs.

The following details are supposed to be captured for all grievances;

- Date of compliant

- Name of complainant

- ID of complainant

- Telephone contact of complainant

- Nature of complaint

- Name of the Person handling the complaint

- Contacts of person addressing the complaint

- Action taken

- Date of conclusion of complaint

The community nominated the following as members of the GRC;

| No | Name | DESGN. | 1D No. |
| --- | --- | --- | --- |
| 1 | Asura Ibrahim | woman | 10028102 |
| 2 | Mohamed Abdi Noor | Youth | 32164630 |
| 3 | Bare Buur Warfai | PLWD | - |
| 4 | Ali Ahmed Hassan | Elder | 13003704 |
| 5 | BISHAK HUSSEIN MUMIN | Elder | 20853750 |
| 6 | Abdirahman Mohamed | Chief | 25122754 |

SEPARATE MEETING WITH MEN WOMEN AND THE ELDERS

The social system amongst the residents of Garse Goftu is dominantly patriarchal, in which power, leadership, moral authority and control of property are vested in males. Clan-based culture and religion drives this strict male hierarchy and authority. Women, girls and youth roles in society are thus limited as is their decision-making powers. At the apex of the community is the clan and beneath it the elders, below them lies the Male family heads, then their wives and male children. Female children lie at the bottom of society. Due to this cultural set-up of power in the community, elders, women and youth may not be keen on sharing the same meeting in the belief that the elders shall represent their interests and when share the same forum women and youth they may shun from expressing their views before the elders, husbands and parents.

It is for this reason that, during the course as the Baraza the environmental/social specialist called for separate meetings between the different stakeholders (Women, Youth and elders) in an attempt to allow them to freely express their hopes, fears, aspirations and expectations in relation to the mini-grid.

Whereas all the groups expressed their unreserved support for land donation to the project, the following were noted as the main concerns/issues:

Women

- On their marginalization in terms of  employment during the construction of the

Mini-grid

- On Safety of electricity use on their children and property(houses)

Youth

- Employment opportunities.

Elders

- Harmful effects of electricity to livestock and families.

- Employment opportunities to the community.

After the separate meeting ended the environmental specialist proceeded opened the meeting to all participants and invited them to freely air their views and ask questions.

10.0 PLENARY SESSION

| MOHAMMED DAHIA (ELDER) Will power supply get to Burjohr and Demarer which are located 13 and 4 kilometres respectively from this centre? | IRENE MAINA Supply is confined to facilities within the range of 3 kilometres from the project site. However there are other facilities within KOSAP that could benefit those beyond this range like the Stand-alone Solar Systems. |
| --- | --- |
| ASURA IBRAHIM (WOMAN) How will this project benefit mothers? Men dominate all projects. Women also need to benefit. | AGNES GACHOKI Electricity will bring a lot of benefits to every one including lighting, enhanced security, opportunities for establishment of business enterprises, education in education standards for our children through longer study hours and enhanced healthcare. |
| ASURA IBRAHIM (WOMAN) I am very happy that after this project starts there will be light in my home and I shall be able to see my husband even at night | - |
| ALASOW JILOW ALI (ELDER) How many people shall this project employ? | IRENE KAWIRA Specific labour requirements shall be determined by the contractor but locals shall be employed to undertake unskilled works during the construction phase. |

CONCLUSION AND RECOMMENDATIONS

The land donated by the Garse Goftu community is Community land as defined in the Community Land Act 2016. The Act states:

Community land is “lawfully held, managed or used by specific communities as community forest, grazing areas or shrines,” and “ancestral lands and lands traditionally occupied by hunter-gatherer communities.” Rights are also held through traditional African systems, and rights that derive from the English system introduced and maintained through laws enacted by colonial and then the national parliament. The former is loosely known as customary tenure bound through traditional rules (customary law). The latter body of law is referred to as statutory tenure, secured and expressed through national law, in various Act of parliament e.g. Community Land Act 2016, Land Act 2012, Land Registration Act, 2012, Trust Land Act (cap 288) of the Laws of Kenya.)

REREC Senior Surveyor Agnes Gachoki in the company of community representatives and the land acquisition team visited the proposed mini grid and picked the coordinates of site, the following are the coordinates:

1. N 0721519   E0449142

2. N 0721569  E0449241

3. N 0721483  E0449280

4. N 0721418  E0449141

The community representatives signed the land donation forms, which were further endorsed by the area chief, Ward Administrator, county land registrar, physical planner and county ministry of energy and lands.

The MOE shall now embark on the process of acquisition and registration of the land in its name.

OBSERVATIONS ON THE LAND ISSUES

- The Garse goftu  community members expressed their willingness to donate the land. This is supported by the community consent letter forwarded to MOE.

- The Land team disclosed to the community that they are entitled to compensation. All the options for compensation were also disclosed to them.

- The Land donated by the community will not involve physical (or land based economic) displacement, or any significant adverse impacts, especially on incomes. This is in line with OP 4.12 which defines “minor impacts” as loss of less than ten per cent of an individual’s holdings.

- The land in question is free of squatters, encroachers, or other claims or encumbrances concerning ownership of the land.

- It was disclosed to the community the ownership of the land will transferred to MOE.

- During the Baraza the community was informed that after implementing agency completes the project, KPLC will take over the management of the facility and that the households will be required to pay Kenya Power the amount of Kshs 1,000 for connection. Wiring of premises is the responsibility of the household owner.

The community of Garse has donated land for the project and looks forward to the implementation of the project so that they can start enjoying the benefits of electricity

2- PHOTOGRAPHS

Photograph 2. Community members waive their hands in support of voluntary land donation

Photograph 1. Public Baraza at Garse village

Photograph 3. A community member makes his remarks during the plenary session at Garse goftu village

Photograph 4. Proposed land for the mini-grid

## Appendix 4 Attendance list - Land aquistision meeting

## Appendix 5 Abbreviated Resettlement Action Plan (A-RAP)

- Qarse Goftu Sub-project Site

The Qarse Goftu sub-project site is on unregistered community land and held in trust by the County Government of Wajir on behalf of the community, in line with the Community Land Act 2016. The proposed site is uninhabited, has no structures, community facilities, or encumbrances, small scale subsistence farming and Livestock grazing. Consultations leading to the identification and selection of the sub-project site are captured in the Environmental and Social Screening report for Qarse Goftu. Refer to Chapter 3 of the ESIA for the comprehensive socio-economic profile.

- Actual Census Survey of PAPs and Valuation of Affected Assets

The number of project-affected persons (PAPs) is 4200 (approximately 600 households). The land acquisition-related impacts are loss of land and pasture. Mitigation measures include in-kind compensation for loss of land and pasture, and designing power distribution lines to avoid impacting trees, crops, structures, and community facilities. No physical displacement is anticipated; however, there is minimal loss of pasture occasioned by the acquisition of land utilized by the community for grazing. The 1.023 Hectares identified for the sub-project will be acquired compulsorily by the National Land Commission (NLC). The proposed site will be valued and compensated in line with the provisions of the Resettlement Policy Framework (RPF) prepared under KOSAP. Refer to section 3.5.1 of the ESIA for demographic profile.

- Compensation Measures Agreed with the PAPs and other Resettlement Assistance to be Provided

The proponent requested the community identify three priority projects, whereby one out of the three would be provided as in-kind compensation for loss of land and pasture. The Qarse Goftu community proposed water reticulation for their village from the borehole to the primary school and dispensary, and another pipeline to Orah Village. They prefer metallic pipes to curb vandalism. The value of the priority community project will be proportional to or higher than the value of land under acquisition. In addition, loss or damage to crops, trees, structures, and community facilities will be compensated in line with the provisions of the RPF, and as summarized in the entitlement matrix below.

3.1 Entitlement Matrix

| Types of Impact | Person(s) Affected/Eligible for Compensation | Compensation/Entitlement/Benefits | Responsible organization |
| --- | --- | --- | --- |
| - Loss of Land |  |  |  |
| Loss of unregistered community land. | Community. | Compensation in-kind as prioritized by the community. | KPLC |
| Loss of land in unregistered group ranches. | Group ranch members. | Compensation in-kind as prioritized by the community. |  |
| Loss of land in registered group ranches. | Group ranch members. | Compensation in-kind as prioritized by the community. |  |
| Loss of land owned by the National Police, county governments and the Ministry of Interior | Government agencies. | No compensation for public land allocated to another government body. |  |
| Loss of land owned by the Kenya Forest Service (KFS) and Kenya Wildlife Service (KWS). | Government agencies. | No compensation for public land allocated to another government body. However, payment of conservation fees to KWS and KFS as stipulated under their respective regulations is foreseen. |  |
| - Loss of Use on Land |  |  |  |
| Loss of use on public land (e.g., grazing, farming etc.). | Communities utilizing public land. | Communities do not own public land; however, they utilize public land with consent from the relevant agencies. The project will implement the infrastructure project prioritized by the community as compensation for the loss of public land use. | KPLC |
| Loss of use on unregistered community land, unregistered group ranches and registered group ranches ( e.g., grazing, farming etc.). | Communities utilizing unregistered community land, unregistered group ranches, and registered group ranches. | Compensation in-kind as prioritized by the community. |  |
| - Loss of /Damage to Assets on Land |  |  |  |
| Trees | Community members on unregistered community land; community members utilizing public land; members of registered and unregistered group ranches and government entities. | During detailed design for power distribution lines and construction of the mini grid and community project, any crops, structures, trees, and community facilities shall be avoided to the extent possible. However, loss or damage to the above will be compensated/restored at full replacement cost, in line with the provisions of the RPF. | KPLC |
| Crops |  |  |  |
| Structures |  |  |  |
| Community facilities e.g., water sources (earth pans, boreholes etc.). | Community members on unregistered community land, community members utilizing public land, and members of registered and unregistered group ranches. |  |  |

4. Consultations with PAPs About Acceptable Compensation Options and Alternatives that have been Considered

Detailed consultations with PAPs on land acquisition and compensation, including the modalities of acquiring land and compensation options, were undertaken during the Environmental and Social Screening, Environmental and Social Impact Assessment, and the NLC land valuation process. The following sections provide a summary of the consultations.

4.1 Engagement of Project -Affected Persons (PAPs)

Local administration and County Renewable Energy Officers (CREOs) supported the proponent and implementing agency (IA) to mobilize community members and other stakeholders for public consultations and engagement activities. National and county government entities, community segments (men, women, youth, elders, persons with disability, vulnerable and marginalized groups, etc.), NGOs, and local leaders were engaged through key informant interviews, community meetings, and focus-group discussions. The proponent and IA implemented appropriate measures to ensure PAPs effectively participated in the consultations. Refer to Chapter 5 of the ESIA on public consultation and engagement.

Once the compensation award and Bill of Quantities (BoQs) are known, the Implementing Agency (IA) will engage the community and agree on the community project to be executed as in-kind compensation. During these consultations, the IA and the community will define the roles and responsibilities of the community in monitoring the implementation of in-kind compensation and maintenance once the IA hands it over to the community. Thus, the IA and the community will effect an agreement to be signed by the local leadership; representatives of the Grievance Redress Committees at the locational, county, and national levels; A-RAP Implementation Committee, and Implementing Agencies.

4.2 Identification of Community Representatives

The Qarse Goftu Locational Grievance Redress Committee (LGRC), constituting a chairperson, secretary, and three members, was formed through community consensus. The committee’s membership comprises men, women, youth, persons with disabilities, and ethnic minorities. The LGRC is responsible for engaging PAPs and resolving complaints. Refer to Chapter 7.5.10.3 of the ESIA on the Grievance Redress Committees. Further, the community will constitute the A-RAP Implementation Committee responsible for coordinating community engagements on the A-RAP and monitoring the implementation and closure of the A-RAP. The representation of the committee will consider gender, vulnerability, and intergenerational sensitivities.

4.3 Summary of Consultations on Land Acquisition and Compensation Options

| Date | Objective | Implementing Entities | Land Acquisition and Compensation Aspects Discussed | Key Issues Raised | Responses Given |
| --- | --- | --- | --- | --- | --- |
| February 25th 2020 | Environmental and Social Screening. Voluntary land donation (VLD). Constitution of the Locational Grievance Redress Committee (GRC). | Ministry of Energy (MoE) Kenya Power (KPLC) Rural Electrification and Renewable Energy Corporation (REREC) | Site identification and land allocation for the sub-project. Criteria for VLD. Community entitlements (forms of compensation and implications for each). | None. | None. |
| October 21st 2021 | Environmental and Social Impact Assessment. | Consultants MoE KPLC REREC | Land acquisition through compulsory acquisition (not voluntary land donation). Selection of three priority community projects, whereby one is to be implemented as in-kind compensation for land. | community requested for The community proposed water reticulation for their village from the borehole to the primary school and dispensary, and another pipeline to Orah Village. They prefer metallic pipes to curb vandalism | The proponent has set aside KES 1 million to implement the priority in-kind compensation project. The value of the project will be proportional to or greater than the value of land. NLC will determine the value of land. |
| May 2023 | Compulsory Land Acquisition. | NLC | Site inspection and inquiries. Land valuation. Award of compensation. |  |  |

5.  Institutional Responsibility for Implementation of the ARAP

| Entity | Role |
| --- | --- |
| Ministry of Energy | - Coordinate A-RAP implementation and provide budget for in-kind compensation. |
| National Land Commission | - Implement the statutory process for compulsorily land acquisition, including site gazettement and inspections, inquiries, valuation, and award of compensation. |
| Kenya Power | - Monitor all land acquisition and compensation aspects (including A-RAP closure), complemented by a third-party monitor. - Provide budgets for stakeholder engagement, grievance management, and monitoring, including the facilitation of the Land Acquisition and Compensation Implementation Committee, and the Grievance Redress Committee. |
| Mini-grid Contractor | - Implement in-kind compensation concurrently with the solar mini-grid project. |
| Supervising Consultant | - Monitor and report on implementation of in-kind compensation, and overall project compliance with social safeguards. |
| Grievance Redress Committees | - Formed at the locational, county, and national levels, and responsible for resolving complaints, including A-RAP related grievances. |
| A-RAP Implementation Committee | - Coordinate A-RAP engagements at the community level, monitoring A-RAP implementation and closure. |
| Affected Community | - Responsible for the operation and maintenance (O&M) of in-kind compensation project. An agreement stipulating the O&M roles and responsibilities of the community will be affected. |

6. Procedures for Grievance Redress

The Project procedures for grievance redress were established through a public consultation process and informed by the existing conflict resolution structures in the community. The Grievance Redress Mechanism (GRM) comprises tiers at the project, county, and national levels. Refer to Chapter 5.

7. Implementation Timetable and Budget for the ARAP Implementation

7.1 Timelines

The proponent will commission the community project by May 25th, 2025, before operationalizing the mini-grid. The mini-grid contractor will implement the mini-grid and the community project simultaneously. The Supervision Consultant and IAs will implement a commitment register to ensure the mini-grid contractor can achieve the agreed-upon milestones. The register will be complete with clear and practical timebound indicators, which can be monitored by all parties – the PAPs, IAs, the Ministry, third-party monitor, and the Bank.

7.2 Budget

The proponent has set aside KES 1 million for the community project (budget captured in the ESMP). The compensation award from NLC and the Bill of Quantities will inform the final cost of the community project. The costs for in-kind compensation, stakeholder engagement, grievance management (including the facilitation of the GRCs and the A-RAP Implementation Committee), and monitoring are covered under the project.

## Appendix 6 Environmental and Social Screening Checklists

## Appendix 7 Lead Expert’s License

A cost basis that will yield compensation sufficient to replace assets, plus necessary transaction costs associated with asset replacement).