MINISTRY OF ENERGY

KENYA OFF-GRID SOLAR ACCESS PROJECT (KOSAP) FOR UNDERSERVED COUNTIES

Component 1: Mini-grids for Community Facilities, Enterprises, and Households

ESIA Report for the Proposed Ali Kune off-Grid Solar Project in Garissa County

2023

# CERTIFICATION

This ESIA project report for the proposed Ali Kune Off-Grid Solar Project was prepared in accordance with the Environmental Management and Coordination Act (EMCA), 1999 and the Environmental (Impact Assessment and Audit) regulations, 2003 and their subsequent amendments EMCA (amendments), 2015 and EIA/EA regulations (amendments), 2019, the World Bank operational procedures (OP) and Environmental Safeguards Standards (ESS) for submission to the National Environment Management Authority (NEMA). We hereby certify that to the best of our knowledge and belief, the information and particulars provided in this report are correct and true.

| P. O. Box 9882 - 00100 Nairobi, Kenya Tel. 254 020 2248762 Registration No. of Firm of Experts: 0181 | P.O. Box 102081-00101 Nairobi, Kenya Tel. +254718068517 Registration No. of Firm of Experts: 7112 |
| --- | --- |

Name and Address of Firm of Experts:

Name and Address of Firm of Experts:

Signed: ____________________________ 	Date: _____________________

Isaiah B. Kegora

Lead EIA/EA Expert (NEMA Reg. No 1893)

For: Norken (I) Ltd & Centric Africa Ltd

Name and Address of the Proponent:

Ministry of Energy,

P.O. Box 30582-00100,

Kawi House, Nairobi, Kenya

Signed: ____________________________ 		Date: _____________________

Name:

Designation:

For MoE

Disclaimer:

This ESIA report is strictly confidential to MoE (the Proponent) and any use of the materials thereof should strictly be in accordance with the agreement between the Proponent and the consultants; Norken International Limited and Centric Africa Limited (the Environmental Impact Assessor). It is, however, subject to conditions in the Environmental (Impact Assessment and Audit) Regulations, 2003 under the Kenya Gazette Supplement No. 56 of 13th June 2003.

Table of Contents

CERTIFICATION	1-i

EXECUTIVE SUMMARY	1-i

1	INTRODUCTION	1-1

1.1	Context	1-1

1.2	Project Overview	1-2

1.3	Purpose and Scope of Work	1-3

1.4	ESIA Methodology	1-3

1.4.1	Kick-off Meeting	1-3

1.4.2	Screening and Scoping	1-3

1.4.3	Environmental Impact Assessment	1-3

1.4.4	Impact Assessment (IA) Prediction	1-4

1.4.5	Environmental and Social Management Plan (ESMP)	1-5

1.5	STUDY TEAM	1-7

1.6	Layout of the Report	1-7

2	PROJECT DESCRIPTION and alternatives	2-9

2.1	Introduction	2-9

2.2	Project Location	2-9

2.3	Description of Project Facilities, Components and Activities	2-11

2.3.1	Project Components	2-11

2.3.2	Land Requirement	2-12

2.4	Resource Requirement	2-13

2.4.1	Workforce Requirement	2-13

2.4.2	Water Requirement and Source	2-13

2.4.3	Raw Material Requirement	2-13

2.4.4	Power Requirement	2-14

2.4.5	Fire Safety and Security	2-14

3	POLICY, LEGAL AND REGULATORY FRAMEWORK	3-15

3.1	Introduction	3-15

3.2	Kenya Electricity Supply Industry (ESI)	3-15

3.3	National Legal Framework Review	3-16

3.4	RELEVANT PERMITS AND LICENSES REQUIRED BY THE PROJECT	3-19

3.5	World Bank OP applicability	3-22

3.6	Environmental and Social Management Framework (ESMF) for KOSAP	3-25

3.7	Resettlement Policy Framework (RPF) for KOSAP	3-26

3.8	Vulnerable and marginalized Groups Framework (VMGF) for KOSAP	3-26

3.6	Social Assessment (SA)	3-27

3.7	Comparison between the World Bank and Kenyan Laws to this Project	3-27

4	BASELINE SETTINGS - Physical AND SOCIAL-ECONOMIC  ENVIRONMENT	4-30

4.1	Introduction	4-30

4.2	Area of Influence	4-30

4.2.1	Project Footprint Area	4-31

4.2.2	Study Area	4-31

4.3	PHYSICAL ENVIRONMENT	4-31

4.3.1	Land Use	4-31

4.3.2	Topography	4-31

4.3.3	Ecology	4-32

4.3.4	Water Resources	4-33

4.3.5	Ambient Air Quality	4-33

4.3.6	Ambient Noise Quality	4-33

4.3.7	Soil Type	4-33

4.3.8	Climate and Meteorology	4-34

4.4	Socio-economic Environment	4-34

4.4.1	Socio-economic status of Study Area	4-34

5	STAKEHOLDER ENGAGEMENT	5-38

5.1	Legal Requirement for Stakeholder Engagement	5-38

5.2	Objectives of Public Participation	5-38

5.3	Stakeholder Consultation and Disclosure Requirement for the Project	5-39

5.4	STAKEHOLDER ENGAGEMENT PLAN AND GRIEVANCE MANAGEMENT POST-ESIA	5-40

5.4.1	Principles/Objectives of Stakeholder engagement Plan	5-40

5.4.2	Stakeholder Identification and Mapping	5-41

5.4.3	Approach for Stakeholder Engagement Plan	5-43

5.4.4	Monitoring	5-43

5.4.5	Reporting	5-43

5.5	Stakeholder Analysis	5-44

5.6	Summary of Stakeholder Engagement During the Land Identification Process	5-45

5.7	KEY FEEDBACK RECEIVED DURING eia STAKEHOLDER CONSULTATION PROCESS	5-46

6	Analysis of Alternatives and Project Justification	6-49

6.1	Present Power Supply Position	6-49

6.2	Land identification criteria	6-49

6.3	Alternate Location for Project Site	6-49

6.4	Alternate Method of Power Generation	6-50

6.5	Alternative Sources of Energy	6-51

6.5.1	Thermal Power Generation	6-51

6.5.2	Hydro Electric Power – HEP	6-51

6.5.3	Other Sources of Energy:	6-51

6.6	Zero or No Project Alternative	6-51

6.7	Analysis of Alternative Construction Materials and Technology	6-52

6.8	Solid Waste Management Alternatives	6-53

6.9	Conclusion	6-53

7	IMPACT ASSESSMENT AND MITIGATION MEASURES	7-54

7.1	Introduction	7-54

7.2	Impact Assessment Methodology	7-54

7.3	Defining Impact	7-54

7.4	Assessment of Significance	7-54

7.5	Magnitude of Impact	7-56

7.6	Sensitivity of Resources and Receptors	7-57

7.7	Likelihood	7-57

7.8	Definition of mitigation measures	7-58

7.9	Assessing residual impacts	7-58

7.10	KEY ENVIRONMENTAL AND SOCIAL IMPACTS- PRE-CONSTRUCTION PHASE	7-58

7.10.1	Impacts related to land acquisition	7-58

7.10.2	Impacts related  to wayleaves acquisition	7-59

7.10.3	Impacts related to inadequate Stakeholder identification and consultations	7-59

7.11	CONSTRUCTION PHASE- POSITIVE IMPACTS	7-61

7.11.1	Employment Opportunities	7-61

7.11.2	Impact on Local Trade	7-62

7.12	Construction phase -Negative IMPACTS	7-62

7.12.1	Change in Land Use	7-62

7.12.2	Impact on Topography	7-64

7.12.3	Impact on Soil	7-64

7.12.4	Impact on Air Quality	7-65

7.12.5	Impact on Ambient Noise	7-66

7.12.6	Assessment Criteria for Impact on Ambient Noise	7-67

7.12.7	Visual Intrusions and Changes in Landscape Impact	7-67

7.12.8	Impacts on Water Resources and Water Quality	7-69

7.13	Key Social Impacts – Construction Phase	7-70

7.13.1	Impact on Occupational Health and Safety	7-70

7.13.2	Community Health and Safety	7-72

7.13.3	Impacts related to Labour Influx	7-73

7.13.4	Increase in competition for scarce resources and strain on public utilities	7-74

7.13.5	Child labour	7-74

7.13.6	Impacts on Cultural Heritage	7-75

7.13.7	Gender Based Violence, SEA & SH	7-76

7.13.8	Exclusion of VMGs, Vulnerable Individuals and Households	7-77

7.13.9	Risk of Communicable Diseases; HIV/AIDS	7-78

7.13.10	Increased Water Demand	7-79

7.13.11	Energy Consumption	7-79

7.14	Operation phase - Positive Impacts	7-80

7.14.1	Impact on Local Economy and Employment	7-80

7.14.2	Improvement of Local and National Economy	7-80

7.14.3	Education improvement	7-81

7.14.4	Health Benefits of the Project	7-81

7.14.5	Improved Standard of Living	7-81

7.14.6	Improved Security	7-82

7.14.7	Communications	7-82

7.15	Operation phase – Key negative environmental Impacts	7-82

7.15.1	Impact on Soil	7-82

7.15.2	Impact on Water Environment	7-84

7.15.3	Waste Generation and management	7-85

7.15.4	Fire Outbreaks	7-86

7.15.5	Impact on Water quality and demand	7-86

7.15.6	Increased Oil Consumption	7-87

7.15.7	Increased Storm Water Flow	7-87

7.15.8	Noise, Vibration and EMF	7-88

7.15.9	Landscape and Visual Impacts	7-88

7.15.10	Collision and Electrical hazards from Distribution Infrastructure	7-89

7.15.11	Dust emissions	7-89

7.15.12	Vehicle exhaust emissions	7-89

7.16	Operations Phase - Key Social Impacts	7-90

7.16.1	Impact on Occupational Safety and Health	7-90

7.16.2	Impact on Community Safety and Health	7-91

7.16.3	Gender Based Violence, SEA & SH	7-91

7.16.4	Exclusion of VMGs, Vulnerable Individuals and Households	7-92

7.16.5	Risk of Communicable Diseases	7-93

7.16.6	Risks related to poor or inadequate stakeholder engagement (Conflict)	7-94

7.17	Decommissioning Phase- Positive Impacts	7-94

7.17.1	Employment Opportunities	7-94

7.17.2	Site Rehabilitation	7-94

7.18	Decommissioning Phase -negative impacts	7-94

7.18.1	Impact on Soil	7-95

7.18.2	Impact on Air Quality	7-95

7.18.3	Impact on Ambient Noise	7-96

7.18.4	Impacts on Waste Generation and Soil Contamination	7-97

7.19	Decommissioning Phase - Key Social Impacts	7-97

7.19.1  Impact on Economy and Employment	7-97

7.19.2	Impact on Occupational Health and Safety	7-98

7.19.3	Gender Based Violence, SEA & SH	7-99

7.19.4	Exclusion of VMGs, Vulnerable Individuals and Households	7-100

7.19.5	Risk of Communicable Diseases	7-101

7.19.6	Child labour and forced labour	7-101

7.19.7	Impacts related to labour influx	7-102

7.20	Cumulative Impacts	7-102

7.20.1	Cumulative Impact Assessment	7-102

7.21	Social Protection	7-103

7.22	Social Inclusion	7-103

8	ENVIRONMENTAL AND SOCIAL MANAGEMENT AND MONITORING  PLAN (ESMP)	8-104

8.1	environmetal and social management AND MONITORING plan	8-104

8.2	Monitoring	8-104

8.3	Plan Monitoring	8-105

8.4	Environmental and Social Monitoring by Contractors	8-105

8.5	Approach TO IMPLEMENTATION of ESMMP	8-154

8.5.1	MANAGEMENT Plan during Construction Phase	8-154

8.5.2	Rehabilitation and Decommissioning Management Plan	8-165

8.5.3	Institutional Implementation Arrangements for the Proposed Project	8-166

8.5.4	Management of Impacts during Operation Phase	8-168

8.5.5	Stakeholder Engagement and Grievance Management Post ESIA	8-168

9	IMPACT SUMMARY AND CONCLUSION	9-170

9.1	Introduction	9-170

9.2	Summary of impacts identified and assessed	9-170

9.2.1	Construction Phase Impacts	9-170

9.2.2	Operational Phase Impacts	9-170

9.3	Conclusion AND RECOMMENDATIONS	9-170

10	REFERENCES	9-172

11	APPENDICES	11-173

APPENDIX 1 – MINUTES OF THE MEETING HELD	11-174

APPENDIX 2 – PUBLIC MEETING PARTICIPANTS’ LISTS	11-178

APPENDIX 3 – MINUTES OF LAND IDENTIFICATION MEETING	11-187

APPENDIX 4– LIST OF MEETING-LAND ALLOCATION	11-200

APPENDIX 5  Abbreviated resettlement action plan	11-211

(a-rap)	11-211

APPENDIX 6– NEMA FIRM EXPERT LICENCE	11-215

LIST OF TABLES

Table 0-2: Summary of Pre-construction Impacts	1-v

Table 0-3: Summary of Construction and Decommissioning Phases Impacts	1-vi

Table 0-4: Summary of Operation Phase Impacts	1-vi

Table 1-1: ESIA Study Team	1-7

Table 1-2: Structure of the ESIA Report	1-7

Table 2-1: Summary Information of the proposed Ali Kune Solar Mini-grid	2-9

Table 2-2: Project Components	2-12

Table 3-1: Administrative stakeholders and their roles	3-1

Table 3-1: Policy and Legislative Framework	3-1

Table 3-3: Relevant permits and licenses	3-22

Table 3-4: World Bank OP Applicability	3-23

Table 3-4: Comparison between the WB safeguard policies and the Kenya Legislation	3-28

Table 4-1: Summary of demographic profile	4-36

Table 5-1: Identified stakeholders	5-42

Table 5-2:Stakeholder Significance and Engagement Requirement	5-43

Table 5-3: Summary of Stakeholder Influence	5-46

Table 5-3 Issues raised during Land identification stakeholder engagement.	5-46

Table 5-4: Stakeholder Engagement Photo template.	5-47

Table 5-5: Summary of issues raised during public participation	5-48

Table 7-1: Categories of Significance	7-56

Table 7-2: Overall Significance Criteria for Environmental Impacts	7-57

Table 7-3: Explanation of Terms Used for Likelihood of Occurrence	7-58

Table 8-1: Environmental and Social Management Plan ESMP	8-109

Table 7-1 ESMMP-ENVIRONMENTAL IMPACTS	8-109

Table 7-2 – ESMMP SOCIAL IMPACTS	8-121

LIST OF FIGURES

Figure 1: Summary of Environmental and Social Impact Assessment Methodology	1-6

Figure 2: Project Location	2-9

Figure 3: Photo of project site.	2-9

Figure 4: Ecology of the project area.	4-29

Figure 5: 1.5km buffer area within which distribution lines will be installed	7-50

Figure 6: Receptors within a 1500m radius of project site	7-52

# Abbreviations

ACRONYM	DEFINITION

ADR		Alternative Dispute Resolution

AoI		Area of Influence

ALARP            As Low as Reasonably Possible

BESS               Battery Energy Storage System

CBOs		Community Based Organizations

CoK		Constitution of Kenya

CDI		County Development Index

CGRCs	County Grievance Redress Committees

CRA		Commission on Revenue Allocation

CIDP 		County Integrated Development Plan

DOSHS	Directorate of Occupational Safety and Health Services

EHS		Environment Health and Safety

EIA		Environmental Impact Assessment

EPRA		Energy Petroleum Regulatory Authority

EPT		Energy and Petroleum Tribunal

EPRA		Energy and Petroleum Regulatory Authority

ESI		Electrical Supply Industry

ESIA		Environmental and Social Impact Assessment

ESMF		Environmental and Social Management Framework

ESMP		Environmental and Social Management Plan

ESMMP	Environmental and Social Management and Monitoring Plan

EMCA		Environmental Management and Coordination Act

FGD		Focus Group Discussions

GoK		Government of Kenya

GBV                Gender Based Violence

IAs		Implementing Agencies

IPPs		Independent Power Procedures

IPs		Indigenous Peoples

JV		Joint Venture

KETRACO	Kenya Electricity Transmission Company

KII 		Key Informant Interviews

KOSAP	Kenya Off-Grid Solar Access Project

KPLC		Kenya Power Company

LGRCs	Local Grievance Redress Committee

MGs		Mini Grids

MOE		Ministry of Energy

MSDS		Material Safety Datasheet

NEMA		National Environmental Management Authority

NGOs 		Non-Governmental Organizations

OHS		Occupational Health and Safety

OM		Operation and Maintenance

OP		Operational Policies

OSHA               Occupational Health and Safety Act

PAPs		Project Affected Persons

PPAs		Power Purchase Agreements

PPEs		Personal Protective Equipment

PRSP               Poverty Reduction Strategy Paper

PV		Photo-voltaic

REREC	Rural Electrification and Renewable Energy Corporation

RPF		Resettlement Policy Framework

SA 		Social Assessment

SEA		Strategic Environmental Assessment

SH                   Sexual Harassment

SHS		Solar Home Systems

SIA 		Social Impact Assessment

SOP		Safe Operation Procedure

STDs		Sexually Transmitted Diseases

STI		Science, Technology and Innovation

SMMP		Social Management and Monitoring Plan

ToR		Terms of Reference

VMGF		Vulnerable and Marginalised Groups Framework

VMGs		Vulnerable and Marginalized Groups

VMGP		Vulnerable and Marginalised Group Plan

WB		World Bank

WMP		Waste Management Plan

# EXECUTIVE SUMMARY

E-1- Introduction and Project Brief

The Ministry of Energy (MOE) hereinafter refer to as proponent is implementing the Kenya Off-Grid Solar Access Project (KOSAP) in 14 underserved counties in Kenya. The aim of the project is to provide clean and modern energy services through off-grid solar solutions. The Proponent is coordinating the implementation of the project through the implementing agencies; Kenya Power and lightning Company (KPLC) and the Rural Electrification and Renewable Emergency Corporation (REREC). The World Bank Group with $150 million funds the project and a $5 million grant from the Carbon Initiative for Development. The goal of the project is to bring electricity to around 250,000 households, 476 community facilities, and 380 boreholes in the target counties, benefiting low-income groups. It also includes the sale and installation of 150,000 efficient cook stoves. The project focuses on marginalized areas based on the County Development Index (CDI) and aims to address infrastructure deficits, lack of access to roads, electricity, water, and social services in these underserved counties. To ensure sustainability, the project relies on public funding, local community participation, and the institutional capacity of KPLC, REREC, and the MOE.

The KOSAP consists of four main components. The first component focuses on the implementation of mini-grids to provide electricity to community facilities, enterprises, and households in areas where mini-grids are the most cost-effective option. The second component, aims to electrify households through standalone solar systems in areas without load clusters where standalone systems are the best technical and financial solution. The third component supports the electrification of public institutions and community facilities using standalone solar systems. It also includes the installation of solar PV-powered water pumps for consumptive purposes. Lastly, the fourth component provides funding for implementation support, technical assistance, and capacity-building activities to ensure the sustainability and impact assessment of the interventions carried out under the other components of KOSAP.

In Garissa County, one of the target counties, the Proponent is proposing to develop 16 No. mini grid facilities including Alikune Mini Grid discussed in this report.  In order to adhere to both national and donor requirements, the Proponent engaged the services to the consortium of Norken International Limited and Centric Africa Limited to undertake the ESIA. The ESIA has been conducted following the requirements outlined in the Environmental Management and Coordination Act (EMCA) 1999 and its amendments, as well as international environmental and social policies such as the World Bank's OP 4.01 on environmental assessment.

E-2- Project Categorization and Justification

In the World Bank context, there have been several projects supported by the organization that aim to provide electricity to communities located far from the national grid. These projects utilize off-grid approaches, meaning they are independent of a national or regional grid. The experience gained from these projects provides valuable guidance for designing sustainable off-grid electrification initiatives, particularly those targeting dispersed and economically disadvantaged communities. The Alikune proposed site aligns with this category of projects that the World Bank has been involved in.

In the Kenyan context, the Environmental Management and Coordination Act (EMCA) of 1999, as amended in April 2019 through Legal Notice No. 31, classifies solar power farms and plants as medium risk projects. This categorization provides a framework for assessing and managing the potential environmental and social impacts associated with such projects. By categorizing the Alikune site as a solar power facility, it falls within the medium risk project category as per the Kenyan legislative framework.

E-3 Approach and Methodology

The Environmental and Social Impact Assessment (ESIA) for the proposed project followed a structured process, beginning with kick-off meetings and online discussions involving the Proponent, Implementing agencies, and the World Bank Environmental and Social Safeguard Team. These consultations were instrumental in establishing the project's scope, deliverables, timeline, and methodology. Subsequently, screening and scoping exercises were conducted to evaluate potential social and environmental risks. A thorough desk-based review was also undertaken to assess existing project documentation, legal requirements, and relevant plans.

The study employed a comprehensive approach to gather primary and secondary data for the project. Both qualitative and quantitative methods were utilized, with secondary data obtained through literature reviews. Primary data collection involved various techniques, including physical observations, photography, interviews, and stakeholder consultations. This comprehensive approach enabled a comprehensive examination of the project's environmental and social aspects, ensuring a holistic understanding of its potential impacts.

The study further involved the identification and assessment of potential impacts throughout the project's life cycle. Key areas of evaluation included land use, water resources, biodiversity, air quality, noise levels, community health and safety, and socio-economic conditions. To mitigate adverse effects, the study developed environmental and social management and monitoring plan, aiming to address both positive and negative impacts that may arise from the project. These measures aimed to ensure the project's sustainability and enhance its overall environmental and social performance.

E-4 Legislative Regulatory Framework

The World Bank’s Environmental and Social Framework, the national legislative framework, guide the evaluation, planning, and implementation of the proposed project and the project's safeguard instruments. These measures aim to ensure environmental sustainability, protect the rights and needs of indigenous peoples and marginalized groups, and minimize adverse impacts through effective management and mitigation measures.

The Government of Kenya established the Environmental Management and Coordination Act (EMCA) in 1999, providing a legal framework for environmental management. EMCA takes precedence over other sectoral laws related to the environment. In 2013, the government formulated a national Environmental Policy with the goal of promoting sustainable management and use of the environment.

Collaboration and consultation among government agencies and stakeholders are essential for coordinating environmental management effectively. Key institutions in Kenya responsible for environmental issues include the National Environment Management Authority (NEMA), County Environment Committees, National Environmental Complaints Committee, National Environment Action Plan Committee, Standards and Enforcement Review Committee, National Environment Tribunal, and National Environment Council (NEC).

The project also adheres to the World Bank Safeguard Policies, which aim to improve decision-making processes, promote sustainable project options, and involve affected people in consultations. The applicable operational policies for this project include Environment Assessment, Natural Habitats, Indigenous Peoples, and Involuntary Resettlement. The Environmental and Social Impact Assessment (ESIA) considers these policies and addresses potential environmental and social concerns.

Additionally, the ESIA references other Safeguard Instruments prepared under the Kenya Off-Grid Solar Access Project (KOSAP), including the Environmental and Social Management Framework (ESMF), Resettlement Policy Framework (RPF), and Vulnerable and Marginalized Groups Framework (VMGF). These instruments provide procedures and guidelines for assessing and managing environmental and social aspects specific to the proposed subprojects under KOSAP.

E-5 Environmental Setting

The project area in Alikune Sub-location, Garissa County, exhibits a semi-arid climate with irregular rainfall patterns and scarce natural resources. Water scarcity poses a significant challenge, affecting both the local population and livestock. The vegetation predominantly comprises drought-tolerant shrubs, thorny bushes, and arid-adapted grasses. Overgrazing and deforestation have resulted in land degradation and soil erosion, further exacerbating the environmental issues. Agricultural practices face hurdles due to limited fertile soils and inadequate irrigation infrastructure. The region is also prone to natural hazards like flash floods and sandstorms.

The topography of the project area is generally flat. It is part of a semi-arid landscape with undulating terrain. This offers space for livestock grazing, while the However, the irregular topography poses challenges to agriculture and water management, influencing water runoff and drainage patterns.

The area is characterized by high levels of poverty, unemployment, and limited access to essential services such as education and healthcare. Livestock herding and small-scale enterprises are the primary economic activities, but opportunities for economic growth are constrained. Gender disparities persist, with women having limited decision-making power and economic empowerment. Infrastructure development, including roads, electricity, and water supply, is insufficient to meet the needs of the community.

E-6 Project Description

The Alikune Mini Grid project aims to provide electricity to approximately 283 residential and 4 nonresidential consumers in Alikune Village at Abakaile Ward in Garissa County. The project will utilize solar photovoltaic panels, a Battery Energy Storage System, and a Diesel Generator to generate electricity. A Low Voltage Power Distribution Network will be established to distribute the power to customers. The estimated cost of the project is around USD 449,111, although this amount may change as more detailed plans are developed.

The Alikune Mini Grid project aims to provide electricity to approximately 283 residential and 4 non-residential consumers. The project will utilize 78kWp solar photovoltaic panels, a 253kWh Battery Energy Storage System, and a 50kVa Diesel Generator with a 2000litres capacity tank to generate electricity. A 7km Low Voltage Power Distribution Network will be established to distribute the power to customers. The estimated cost of the project is around USD 449,111 although this amount may change as more detailed plans are developed.

The project consists of two main components: Hybrid Mini-Grids and power line reticulation lines. The Hybrid Mini-Grids will combine solar panels and diesel power generation. These energy sources will be integrated through a centralized photovoltaic plant connected to a 3-phase AC busbar line. The configuration is designed to prioritize direct supply from the solar generator during daylight hours, reducing reliance on battery storage. The battery storage will primarily be used when solar generation is low or demand is high. The construction of power line reticulation lines will ensure the efficient distribution of electricity to residential, commercial, and other consumers, ensuring a reliable and efficient power supply.

To develop the Mini Grid, approximately 1.044 hectares of land will be compulsorily acquired by NLC. This land is part of the community's designated public purposes area. The Proponent engaged with the community during the land acquisition process, and there were no objections to transferring 1.044 hectares of land to Kenya Power and lightning company (KPLC) for the management of the solar mini-grid. In accordance with the World Bank's Operation Procedure 4.12 on Involuntary Resettlement, an abbreviated Resettlement Action Plan (A-RAP) was prepared, outlining the principles and procedures for land acquisition and compensation. This plan is annexed to the project report.

E-7 Project Alternatives

Solar energy is identified as a non-polluting and site-specific option, and the proposed site for Alikune minigrid is chosen as the most suitable location for the mini-grid based on factors such as sunlight availability and the community's lack of grid connectivity. The use of wind power, thermal power, fossil fuels, and power import from neighboring countries are considered as alternative methods of power generation but are found to have limitations or environmental concerns. Solar energy is favored due to its low production costs, versatility, clean nature, and economic savings. The "No Project" alternative is deemed unfavorable as it would maintain the current lack of electricity access and hinder socio-economic development. The project will be constructed using modern materials and technology, with a focus on public health, safety, security, and environmental requirements. The technology will involve a Battery Energy Storage System.

E-8 Stakeholder Engagement

It is important to highlight that two forms of stakeholder engagement were carried out for the project. The first form as noted earlier, focused on the acquisition of land for the project and involved the Proponent and the implementing agency (KPLC). The second form of engagement was conducted specifically for the Environmental and Social Impact Assessment (ESIA) study.

For the ESIA study, various methods were employed to engage stakeholders, taking into consideration their different categories. Face-to-face discussions were held with government officials and key stakeholders, while separate focused group discussions were conducted with men, women, and youth. Additionally, a public baraza or meeting was organized to allow community members to participate.

During the ESIA stakeholder engagement public meeting, which took place on 29th October, 2021, a total of 36 stakeholders attended. The meeting provided an opportunity to discuss project details, including the preliminary design, positive and negative impacts, and mitigation measures. Stakeholders were encouraged to share their views and provide feedback on the project.

Some of the concerns raised by stakeholders include proposing their compensation in kind project of choice. The study team addressed these concerns by telling them that the proponent will list the projects they have chosen in order of priority for further discussions.

E-9 – Impacts and Mitigation Measures

The Environmental and Social Impact Assessment (ESIA) for the proposed Solar Mini-grid project has identified both positive and negative impacts across its different phases: pre-construction, construction, operation, and decommissioning. In the construction phase, positive impacts include local employment opportunities, boosting local businesses, and sourcing materials locally. During the operation phase, positive impacts encompass reliable power supply, economic improvement, education, health benefits, improved living standards, and enhanced security and communication. Similarly, the decommissioning phase offers positive impacts such as local employment and sourcing.

On the negative side, the pre-construction phase involves minor impacts like land acquisition, while the construction phase encompasses various minor to moderate impacts such as vegetation clearance, soil erosion, dust emissions, and occupational health and safety concerns. Challenges related to stakeholder engagement, labor influx, child labor, and exclusion of vulnerable individuals are also anticipated. In the operation phase, negative impacts include waste generation, increased oil consumption, fire outbreaks, occupational health and safety concerns, and inadequate stakeholder engagement. Issues of exclusion, inadequate grievance management, and public health concerns may arise as well.

During the decommissioning phase, negative impacts primarily relate to solid waste generation, noise and vibration, and challenges in stakeholder engagement, labor influx, child labor, gender-based violence, and exclusion of vulnerable individuals and households.

Tables 0-2 to 0-5 below present summaries of anticipated impacts and their corresponding levels of significance, both pre- and post-mitigation.

Table 0-1: Summary of Pre-construction Impacts

| Impact | Significance Of Impact (Pre-Mitigation) | Residual Impacts (Post-Mitigation) |
| --- | --- | --- |
| Land acquisition | Minor | Negligible |
| Way leaves | Minor | Negligible |
| Stakeholder identification and consultations | Major | Minor |

Table 0-2: Summary of Construction and Decommissioning Phases Impacts

| Impact | Pre-construction | Construction phase | Decommissioning phase |
| --- | --- | --- | --- |
| Impacts on Local Economy and Employment | Not Applicable | Positive | Positive |
| Change in land use | Not Applicable | Moderate | Positive |
| Site rehabilitation | Not Applicable | Not Applicable | Positive |
| Topography | Not Applicable | Minor | Not Applicable |
| Soil environment | Not Applicable | Minor | Minor |
| Air Quality | Not Applicable | Moderate | Moderate |
| Ambient noise | Not Applicable | Minor | Minor |
| Visual intrusion and change in landscape | Not Applicable | Minor | Positive |
| Waste generation and soil contamination | Not Applicable | Minor | Minor |
| Impact on water environment | Not Applicable | Minor | Not Applicable |
| Impacts from hazardous materials | Not Applicable | Minor | Not Applicable |
| Fire hazards | Not Applicable | Moderate | Minor |
| Impacts of construction material sourcing | Not Applicable | Moderate | Not Applicable |
| Energy consumption | Not Applicable | Negligible | Not Applicable |
| Occupational safety and health | Not Applicable | Moderate | Moderate |
| Community safety and health | Not Applicable | Moderate | Moderate |
| Labor influx | Not Applicable | Minor | Minor |
| Child labor | Not Applicable | Minor | Negligible |
| Cultural heritage | Not Applicable | Minor | Not Applicable |
| Gender based violence, SEA and SH | Not Applicable | Minor | Minor |
| Exclusion of VMGs, Vulnerable individuals and households | Not Applicable | Major | Major |
| Risk of communicable diseases | Not Applicable | Minor | Minor |
| Increased water demand |  | Negligible | Negligible |
| Forced labor |  | Minor | Negligible |

Table 0-3: Summary of Operation Phase Impacts

| Impact | Significance Of Impact (Pre-Mitigation) | Residual Impacts (Post-Mitigation) |
| --- | --- | --- |
| Impact On Economy and Employment | Positive | Positive |
| Quality, reliable power supply | Positive | Positive |
| Reduction of pollution associated with thermal power generation, kerosene and wood fuel usage | Positive | Positive |
| Education | Positive | Positive |
| Health benefits | Positive | Positive |
| Improved standard of living | Positive | Positive |
| Security | Positive | Positive |
| Communication | Positive | Positive |
| Soil environment | Minor | Negligible |
| Waste generation and management | Minor | Negligible |
| Water environment | Negligible | Negligible |
| Landscape and visual impacts | Minor | Negligible |
| Increased oil consumption | Minor | Negligible |
| Increased storm water flow | Minor | Negligible |
| Fire outbreaks | Moderate | Minor |
| Water demand | Negligible | Negligible |
| Sanitary waste | Negligible | Negligible |
| Flooding | Negligible | Negligible |
| Noise and Vibration | Negligible | Negligible |
| Electric and magnetic fields (EMFs) | Negligible | Negligible |
| Dust Emission | Negligible | Negligible |
| Vehicle Exhaust emission | Minor | Negligible |
| Collision and electrical hazards from distribution infrastructure | Minor | Negligible |
| Occupational safety and health | Moderate | Minor |
| Community safety and health | Moderate | Minor |
| Gender based violence, SEA and SH | Minor | Negligible |
| Exclusion of VMGs, Vulnerable individuals and households | Major | Minor |
| Risk of communicable diseases | Minor | Negligible |
| Shocks and electrocution to the PAPs | Moderate | Minor |
| Risks related to poor and inadequate stakeholder engagement (conflict) | Minor | Negligible |

E-10 Environmental and Social Management and Monitoring Plan

A comprehensive set of mitigation measures in the form of an Environmental and Social Management and Monitoring Plan (ESMMP) have been prepared for the project. The ESMMP serves as a comprehensive framework for the integrated management of all environmental and social impacts throughout the project's lifecycle. It has been prepared to ensure that the social and environmental impacts and risks identified during the Environmental and Social Impact Assessment (ESIA) process are appropriately managed during the construction, operations, and decommissioning phases of the project. It specifies the mitigation and management measures that the project proponent and contractor are committed to implementing and outlines how organizational capacity and resources will be mobilized to achieve these measures. The ESMMP also ensures compliance with the relevant laws, regulations within Kenya, as well as the environmental and social sustainability requirements of the World Bank's Operational Policies (OPs).

These measures emphasize a proactive approach, prioritizing prevention rather than reaction. They encompass various aspects such as proper waste handling and disposal to prevent pollution, engaging stakeholders to address grievances, providing personal protective equipment (PPE) for workers, ensuring adequate supervision, and emphasizing good workmanship from the contractor. Specific plans are also outlined to address specific issues that may arise. The ESMMP also highlights environmental performance indicators that should be regularly monitored. Monitoring serves as a means to detect and draw attention to any changes or problems in environmental quality. It involves continuous or periodic reviews of the ESMMP implementation progress, allowing for adjustments and improvements as necessary.

While accommodating the recommended mitigation measures to the extent practical and economically viable, the project proponent and contractor should ensure that the measures do not compromise the economic viability of the project or have long-lasting adverse impacts on the environment.

For the mitigation measures to be successful, it is imperative that the Kenya Power and lightning company(KPLC) allocates sufficient resources for the implementation of the ESMMP. Adequate resources will enable the proper execution of the proposed measures and ensure their effectiveness in minimizing the identified negative impacts.

Following the project's commissioning, it is mandatory to conduct statutory Environmental and Safety Audits in accordance with national legal requirements. These audits serve to evaluate the environmental performance of the site operations and assess their compliance with the recommended mitigation measures.

E- 11 Conclusion

Based on the assessment findings, the consultant concludes that there are no substantial reasons to hinder the proposed project from progressing to the next stage of planning and development. However, this progression is conditional upon the implementation of the recommended mitigations and the monitoring of potential environmental and socio-economic impacts as outlined in the ESMMP.

It is in the opinion of the Environmental expert that the anticipated negative impacts can readily and effectively be mitigated and overall the proposed project does not pose any significant threat to the Environment and may be licensed to proceed

# INTRODUCTION

The Ministry of Energy (MoE) Kenya is coordinating the implementation of the Kenya Off-Grid Solar Access Project (KOSAP) to provide access to clean and modern energy services through off-grid solar to 14 underserved counties Kilifi, Mandera, Wajir, Garissa, Tana River, Samburu, Isiolo, Marsabit, West Pokot, Turkana, Taita Taveta, Kwale, Lamu and Narok.

K-OSAP directly promotes the achievement of these objectives by supporting the use of solar and clean cooking solutions to drive electrification of households (including host communities), enterprises, community facilities, and water pumps in Garissa County as one of the counties in Kenya that have been defined as “marginalized areas” based on the County Development Index (CDI) by the Commission on Revenue Allocation (CRA). According to the CRA as the communities in the marginalized areas have been excluded from social and economic life of Kenya for different reasons” (CRA, 2013).

Garissa County and other identified underserved counties, collectively represent 72% of the Country’s total land area and 20% of the country’s population, including historically nomadic societies that even today continue to rely on pastoralism. Their population is highly dispersed; at a density four times lower than the national average. They present profound infrastructure deficits, including lack of access to roads, electricity, water, and social services. There is also significant insecurity in certain areas, giving rise to substantial numbers of displaced persons and livelihood adaptations that further undermine economic prosperity.

## Context

This ESIA report has been prepared based on site visit baseline survey, desktop survey, documentation review, consultation with stakeholders and in accordance Environmental Management and Co-ordination Act (EMCA), 1999 and its amendments; the Environmental Management and Coordination (Amendment) Act, 2015 and World Bank’s Environmental and Social Operational policies. The study has also assessed the requirement of the project with respect to the local and national regulations relevant to the project.

Norken International Limited in Joint Venture with Centric Africa Limited were appointed by Ministry of Energy to undertake consultancy services for the Environmental and Social Impact Assessment (ESIA), Social Assessment (SA) and Vulnerable and Marginalized Groups Plan (VMGP) as per the standard TOR and NEMA and WB Operational policies. The two firms are licensed by National Environment Management Authority (NEMA) to undertake environmental impact assessment studies. As reported, land acquisition has not resulted in any economic or physical displacement and no resettlement is envisaged for the proposed project.

Due to the remoteness and sometimes-dispersed nature of the target populations and considering the lifestyles and socio-economic status of those residing in underserved counties, the project is designed to address low affordability of the potential users, and sustainability of service provision. Therefore, sustainability of the proposed approach to energy access expansion beyond the nationally owned power network is predicated on two primary factors - public funding, local community participation; and institutional capacity of Kenya Power and Rural Electrification and Renewable Energy Corporation (REREC) and the Ministry of Energy (MOE) as the implementing agencies.

The project components are:

- Component 1- US$40M: Mini-grids for Community Facilities, Enterprises, and Households -This component will support electrification of areas where electricity supply through mini-grids represents the least cost option from a country perspective.

- Component 2- US$48M: Stand-alone Solar Systems and Clean Cooking Solutions for Households; This component will support electrification of households using standalone solar systems in areas where load clusters do not exist and the best technical and financial solution is standalone solar systems.

- Component 3- US$40M: Stand-alone Solar Systems and Solar Water Pumps for Community Facilities; this component will support electrification of public institutions and community facilities using standalone systems. This component will also support the installation of solar PV-powered water pumps for consumptive purposes.

- Component 4- US$22M: Implementation Support and Capacity Building; This component will finance various technical assistance and capacity building activities to ensure the sustainability and measure the impact of the interventions devised and implemented within the other components of K-OSAP.

The MOE provides overall coordination of the project as well as lead in the implementation of components 2 and 4. Components 1 and 3 (a&b) will be implemented by the Kenya Power and lightning company (KPLC) and the Rural Electrification and Renewable Energy Corporation (REREC).

## Project Overview

The project site is located in Ali Kune village, Ali Kune sub-location, Ali Kune location, Abakaile Ward, Dadaab Sub county in Garissa County at latitude 0°20'43.26"N and longitude 40°1'5.232"E. The proposed solar mini grid will be located on a 1.044 hectares piece of land approxmately 150m from Ali Kune Dispensary. The solar mini grid will comprise Solar panels, batteries, invertors, perimeter fence and 6.5 kilometres distribution line to cover a radius of approximately 1.5km. The project is expected to serve 287 consumers of which 283 are residential and 4 are non residential.

The project will utilize 78kWp solar photovoltaic panels, a 253kWh Battery Energy Storage System, and a 50kVa Diesel Generator with a 2000litres capacity tank to generate electricity. A 7km Low Voltage Power Distribution Network will be established to distribute the power to customers. The estimated cost of the project is around USD 449,111 although this amount may change as more detailed plans are developed.

## Purpose and Scope of Work

This report discusses the environmental and social baseline within which the proposed solar power project is commissioned and assesses the potential adverse and beneficial impacts that the project could have, along with suitable mitigation measures and an Environmental and Social Management Plan (ESMP) for the project. The report also evaluates the potential environmental and social risks associated with the project and recommends mitigation measures to avoid adverse impacts for the remainder of the project’s lifecycle. The project has to comply with international standards (World Bank Environmetal and Social Operational Policies) along with applicable national, and local regulations.

## ESIA Methodology

### Kick-off Meeting

The Consultant had a brief kick-off meeting with the Proponent on 12th July 2021 followed by subsequent online meetings and discussion on various aspects of the project up to 5th August 2021. The meetings addressed varied deliverables and thresholds to be achieved and maintained during this assessment in terms of scope of work, deliverables, timeline and the methodology. All communication and meetings were done online.

### Screening and Scoping

Evaluation of ESIA procedure has been undertaken as a fundamental procedure to implementation of the solar power mini grid development project, which is systematically mainstreamed into the project’s cycle. World Banks Social OPs underpin and demonstrate this commitment. The main aim of this is to enhance positive social opportunities and benefits as well as ensure that adverse social and environmental risks and impacts are avoided, minimized, and mitigated.

### Environmental Impact Assessment

The steps below were followed in the preparation of this ESIA Report.

#### Kick-off Meeting

The consultant had a brief kick-off meeting with the proponent on 12th July 2021 followed by subsequent online meetings and discussion on various aspects of the project up to 5th August, 2021. The meetings addressed varied deliverables and thresholds to be achieved and maintained during this assessment in terms of scope of work, deliverables, timeline and the methodology. All communication and meetings were done online.

#### Desk based review and baseline assessment

A comprehensive description of the KOSAP Component 1: project includes a desktop review of all the existing project documentation provided by the proponent including the Project Appraisal Document and the four main safeguard framework documents prepared under KOSAP- these are Social Assessment, Vulnerable and Marginalized Group Framework, Resettlement Policy Framework and the Environmental and Social Management Framework.

#### Project Description

The consultant has concisely described the project location including its geographical, ecological and the general layout of associated infrastructure including maps at an appropriate scale where necessary. Location of all project related development sites, including proximal offsite investments; general layout; flow diagrams/drawings of facilities/operation design basis, size, capacity, flow-through of unit operations, including pollution control technology included if any; pre-construction activities and construction activities; construction schedule; staffing size and support; facilities and services around; commissioning, operation and maintenance activities and plan.

#### Baseline Condition

This entails description and collection of relevant primary data within the project site’s bio-physical, socio-economic and cultural profile with respect to the biodiversity profile, land use types, cultural heritage and practices, social and economic issues likely to be affected, expected project activities to be involved during the design, construction and operation of the proposed facility. The information also includes description of the community social structure, employment and labour market, sources and distribution of income, cultural/religious sites and properties, vulnerable groups and indigenous populations. This also covers description of the sites’ physical environment including their topography, land cover, geology, climate and meteorology, air quality and hydrology. This entailed use of secondary data sources and for some specific environmental parameters the deployment of specialized equipment to measure and record the environmental readings as primary data for analysis and inclusion in the ESIA report.  The ecological and biophysical environment will be focused on describing the flora and fauna resident in the Garissa County at the mini-grid site level. This was based on observation of flora and fauna, KPLCIs on local indigenous knowledge on historical and current status of rare, endemic and endangered plant and animal species known to occur in the project area. Vegetation assessment was done to gain an understanding of the mini-grid site habitat type. This has provided for an in-depth description of existing land use type and their linked socio-economic activities.

### Impact Assessment (IA) Prediction

The anticipated impacts generated by the project and subsequent evaluation of their significance is provided by this report. A suite of field data collection methods was deployed including public forums discussions, Focus Group Discussions, Key Informant Interviews incorporating questionnaires for social risks assessment. Based on the outcome of the evaluation, the need for emphasis on critical areas was discussed. In order to accomplish this task an initial listing of the range of all issues and concerns identified during the study has been undertaken subsequently followed by analysis of the identified potential environmental and social impacts in terms of type (direct, indirect, cumulative, positive, negative), magnitude (local, widespread, random, severity) and duration (temporary, permanent, long term, short term). Consequently, an evaluation system was used to categorize these impacts and evaluate them. This aided in determining the significance of the identified potential impacts in relation to established criteria or standards, geographic extent of effects, cumulative nature of the impact, community tolerance and preferences, etc. This culminated into generation of a short list of the most critical issues in terms of environmental, ecological and social impacts both positive and negative associated which the different phases of the project activities that are likely to affect the baseline environmental and social conditions presently occurring at the mini-grid site.

Socio-cultural risks linked to Component 1 of KOSAP were identified during the assessment. These include, Labour influx, Gender Based Violence, Sexual Exploitation and Abuse, workplace Sexual Harassment, Spread of HIV/AIDS, STDs & other communicable diseases, Gender biases and inequality exclusion of vulnerable and marginalized groups (VMGs) and vulnerable individuals and households from accessing project decision making and governance structures, engagement processes, opportunities and benefits. The vulnerable individuals and households identified included: elderly persons, PLWDs, the female headed households, child-headed households, households with no livestock. The impacts and risks were identified in relation to free, prior and informed comprehensive stakeholder consultations on land acquisition for construction of mini-grid, contractor’s facilities e.g., yard and workers camp site, way leave acquisition for the power line distribution network; restricted access to grazing lands, water resources, soils resources, economic/livelihoods displacement etc.

### Environmental and Social Management Plan (ESMP)

The ESMP as the implementation instrument of the ESIA has captured all the parameters that need to be monitored on a routine basis. The parameters are indicated in an Environmental and Social Management and Monitoring Plan (ESMMP) matrix, a detailed description of the implementation and monitoring program.

The ESMMP has a detailed arrangement of responsibilities for managing and monitoring the implementation of mitigation measures and the impacts of the project during construction, operation and decommissioning. This include: a description of monitoring methodology, specific operations, and features to be monitored, monitoring reporting relationships and arrangements to ensure that monitoring is effective. Simple and straightforward monitoring processes established for ease of implementation throughout the project cycle. This Plan follows through a description of the impacts and areas affected, key mitigation measures, monitor-able indicators, timeframe, responsibilities, and budget implications.

The ESMMP include an implementation schedule and budget cost estimates for the mitigation measures. It also describes institutional arrangements with regard to the implementation of the ESMMP among the implementing agencies, and the mini-grid contractor(s). This has specific responsibilities, procedures and resources required by each institutional actor engaged in implementing the ESMMP.

The “Chance Find Procedures” has also been included in the ESMP as part of prevention and mitigation measures that will be implemented in the event physical cultural resources are encountered during project implementation.

Additionally, the ESMP has a component on contracting management that will ensure the implementation of the ESMP by all contractors and subcontractors. A contracting mechanism is included in the ESMP to incentivize contractors and their subcontractors to comply with the ESMP or alternatively penalize them for failure to comply with the ESMP. It also includes contractor clauses that will cover worksite health and safety, the environmental and social management of construction sites; labour camps/out of area workers, HIV/AIDS and other Sexually Transmitted Diseases (STDs), stakeholder engagement plans, grievance redress mechanism, child protection, gender equity and sexual harassment, labour rights and the employment of community members. The ESMP also have a budget to guide the contractor on resources required for the implementation and monitoring of the ESMP.

The figure below is a summary of the methodology the consultant adopted in undertaking environmental and social impacts assessment for the proposed Ali Kune ESIA project.

- Preparation and Planning

- Desk Review of available reports and documents

Inception Report

- Stakeholders Consultation and Participation:

  - Key informant interviews

  - Focus Group Discussions (FGDs)

Draft ESIA Reports

Incorporation of Review Comments from Proponent/WB

Deliverable 1

Deliverable 2

Final ESIA Report for the proposed Ali Kune Minigrid

Deliverable 3

- Baseline Environmental and social data gathering

- Identification of Potential Impacts

Summary of mitigation & Management measures

Figure 1: Summary of Environmental and Social Impact Assessment Methodology

## STUDY TEAM

This ESIA process was conducted by a team of experts that comprised of the following professionals:

Team  - 11/02/2022 - progressed the ESIA study.

Table 1-1: ESIA Study Team

| S/No | Names | Position |
| --- | --- | --- |
| 1 | Kennedy Shisoka | Energy engineer, Ministry of Energy |
| 2 | Dr. Aden Dahiye | Chief Officer, Energy department Garissa County. |
| 3 | Patrick Ngari | Norken International Limited /Centric Africa Limited- EIA/EA Expert |
| 4 | Lavina Omondi | Norken International Limited /Centric Africa Limited- EIA/EA Expert |
| 5 | Sharon Watiri | Norken International Limited /Centric Africa Limited- EIA/EA Expert |

## Layout of the Report

Table 1-2: Structure of the ESIA Report

| SECTION | TITLE | DESCRIPTION |
| --- | --- | --- |
| Section 1 | Introduction | Introduction to the project and ESIA scope and methodology adopted. |
| Section 2 | Project Description | Technical description of the project & related infrastructure and activities. |
| Section 3 | Applicable Legal and Regulatory Framework | Discusses the applicable environmental and social regulatory framework and its relevance for the Project. |
| Section 4 | Environmental and Social Baseline | Outlines Environmental and Social Baseline status in the study area of the project |
| Section 5 | Stakeholder Engagement and Grievance Redress | Provides an overview of the stakeholder engagement activities undertaken during the ESIA, stakeholder categorization and profiling Additionally, it details the provision of Grievance Redress Mechanism for the project |
| Section 6 | Analysis of alternatives and project justification | This section includes present power supply position, alternate location for project site, alternate method of power generation and no project alternative |
| Section 7 | Impact Assessment and Mitigation Measures | This section includes details of identified environmental impacts and associated risks due to project activities, assessment of significance of impacts and presents mitigation measures for minimizing and /or offsetting adverse impacts identified. |
| Section 8 | Environmental and Social Management Plan | Outline of the ESMP taking into account identified impacts and planned mitigation measures and monitoring requirements. |
| Section 9 | Impact Summary and Conclusion | Summary of impacts identified for the project and conclusion of the study. |

# PROJECT DESCRIPTION and alternatives

## Introduction

This section provides a description of the project in terms of location, facilities and associated project infrastructure and activities during the project lifecycle. It also presents the potential impacts on resources and receptors that could result from project activities during the pre-construction, construction, operation and decommissioning stages.

The components of the proposed solar mini grid are provided as follows;

Table 2-1: Summary Information of the proposed Ali Kune Solar Mini-grid

| S. NO. | PARTICULARS | DESCRIPTION |
| --- | --- | --- |
| 1. | Project location | The project site is located in Ali Kune village, Ali Kune sub-location, Ali Kune location, Abakaile Ward, Dadaab Sub County in Garissa County at latitude 0°20'43.26"N and longitude 40°1'5.232"E. The solar mini grid will contain solar panels, batteries, invertors, perimeter fence and 6.5km distribution line to cover a radius of approximately 1.5 km. |
| 2 | Land Size/Tenure | The proposed solar mini grid will be located on a 1.044 hectares piece of land. The land is unregistered community land |
| 3. | Minigrid Capacity | - PV Array (DC-kW) of 78kwp; 253kWh Battery |
| 4. | Minigrid Power | LV Circuit of 7km |
| 5. | Target Consumers | 287 (283 Residential and 4 Non-Residential) |
| 6. | Climatic condition | The county receives bimodal rainfall, with short rains from October to December and the long rains from March to May. The average rainfall of the county is 275mm per year. Temperatures are generally high throughout the year and range from 20°C to 39°C. The average temperatures are 36°C. The county receives an average of 9.5hours of sunshine. |
| 7. | Site Conditions | The site is generally in open area with minimal fauna and flora. |
| 8. | Road Accessibility | Dirt Road |
| 9. | River/canal/nallah/ pond present in project footprint | None |

## Project Location

The project site is located in Ali Kune village, Ali Kune sub-location, Ali Kune location, Abakaile Ward,  Dadaab Sub county in Garissa County at latitude 0°20'43.26"N and longitude 40°1'5.232"E. The proposed solar mini grid will be located on a 1.044 hectares piece of land. The project site is approximately 150m from Ali Kune Dispensary.

Figure 3 and Plate 1 below present the location of the proposed project site.

Figure 2: Project Location

Plate 3: Photo of project site.

## Description of Project Facilities, Components and Activities

### Project Components

Table 2-2: Summary of project components

| Residential Users (No.) | Non-Residential Users (No.) | Monthly Energy Demand (kWh) | Daily Energy Demand (kWh) | Peak demand (kW) | PV Capacity (kWp) | Battery Capacity (kWh) | PV Inverter (kW) | Generator Capacity (kVA) | Fuel Tank for diesel generator (Litres) | LV Network (km) | TOTAL BUDGET ESTIMATE ($) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 283 | 4 | 8,595 | 287 | 27 | 78 | 253 | 65 | 50 | 2,000 | 7 | 449111.0629 |

#### Solar PV modules

The project will use 78kWp PV Array (DC-kW) 110-polycrystalline silicon module with three strings connected in series. Each string will have five sets of panels connected in series, with output converged at the six-way combiners. The life expectancy of the PV modules is estimated at 25-30 years.

#### Battery Energy Storage System

The 253kWh Battery Energy Storage System (BESS) will comprise of Lithium-ion Battery pack that conforms to IEC standards with warranty of 10 years, 3,000 cycles minimum. The Lithium-ion Battery Power Packs will be used to cater for required energy capacity, or equivalent as per approved design, minimum 80% DOD for Lithium-Ion. Batteries will be capable of at least C/4 charge and discharge rate. Batteries will be charged by Battery Inverter / Charger.

#### Inverters

The Inverters shall be designed for continuous, reliable power supply as per specification and shall have internal protection arrangement against any sustained fault in the feeder line and against lightning strikes in the feeder line. The inverters shall be capable of complete automatic operation including wake-up, synchronization & shut down independently & automatically.

#### Distribution lines

Ali Kune site will have a distribution line circuit of 7km in total. Supply of concrete poles for the distribution lines will be based on detailed survey and accessories like phase plates, circuit plates, number plates, danger plates, anti-climbing devices as per KPLC requirements/specifications. Erection of the poles, fixing of insulator strings, stringing of conductor and earth wires along with all necessary line accessories and earthing will be as per KPLC requirements/specifications.

#### Project Activities

The main project activities include site clearance and leveling, civil works and construction of utilities and structures for the facilities, installation and connection of the power plant.

#### Construction Procedures

The project will be constructed based on applicable standards of Kenya, environmental guidelines and health and safety measures in line with OSHA Act 2007.

The project inputs will include the following;

-Construction of raw materials will include solar modules, inverter, wires, metals, among others. All these will be obtained from licensed dealers and especially those that have complied with the environmental management guidelines and policies.

-Construction machines will include machinery such as trucks, and other relevant construction equipment. These will be used for the transportation of materials, clearing of resulting construction debris.

- A construction labour force of both skilled and non-skilled workers will be required.

Construction activities will include the following:

-Contractor mobilization;

-Site preparation;

-Procurement of construction material from approved dealers and transport to the site.

-Storage of PV modules delivery and their installation;

- Laying of internal electrical connections;

- Installation of inverters, Battery Energy Storage System.

#### Project Cost

Ali Kune mini grid project cost is estimated at USD. 449,111.

### Land Requirement

The land on which the proposed Ali Kune minigrid will be constructed covers a total of 1.044 hectares in size.

#### Land Tenure

Land ownership in Garissa can be categorized into three main categories namely; community land, public land and private land. AliKune site is on unregistered community land. The land for the project is compulsorily acquired with just, prompt and full payment of compensation (in-kind) to the Ali Kune community.

An A-RAP applies where affected persons are not physically displaced, and less than 10% of their productive assets are lost, or fewer than 200 people are displaced. In the case of KOSAP sub-projects, there is no physical displacement of affected persons, and the foreseen impacts on livelihoods such as grazing occasioned by mini-grid construction, wayleaves acquisition, and implementation of community projects are considered minor. A-RAPs will be implemented for sub-project sites on registered and unregistered community land/group ranches.

#### Compensation Details

Compensation for the land for the proposed project will be in kind for the compulsory acquisition, the proponent will undertake some projects for the community. In Ali Kune, the community requested:

- Repair of the pipes from the borehole to Ali Kune Boarding Primary School and an extra classroom for lower primary.

- Replacement of the broken tank at Ali Kune borehole and fencing of the borehole

Further, A-RAPs has been prepared for the sub project. The A-RAP stipulates procedures and actions for acquiring land and compensating affected communities. An A-RAP applies where affected persons are not physically displaced and less than 10% of their productive assets are lost, or fewer than 200 people are displaced. In the case of this sub project, there is no physical displacement of affected persons, and the foreseen impacts on livelihoods such as grazing occasioned by min-grid construction, way leaves acquisition and implementation of community projects are considered minor. An A-RAP outlining the principles and procedures for land acquisition and compensation is annexed in this report. (See annex 5)

## Resource Requirement

### Workforce Requirement

The solar mini-grid will be installed, operated and maintained by the contractor for the first seven years and then handed over to KPLC engineers and operators. Therefore, for the seven years KPLC will be monitoring the operations of the contractor.

### Water Requirement and Source

#### Construction Phase

Water will be required for workers at project site. However, this quantity of water requirement will vary depending on the mobilisation of construction workers at site. The water for the construction phase will be supplied by local water vendors where applicable.

#### Operation Phase

The water required during operation phase of the project will be mainly for washing the face of the solar modules, minimal water will be used for this purpose. The quantity of water requirement during operational phase of the project is not known at this stage of the project. The water for the construction phase will be purchased from the vendors in the area.

### Raw Material Requirement

#### Construction Phase

The major raw materials required for the construction phase will be solar modules, fencing materials, construction materials like cement, sand and aggregate. The fencing materials and the construction materials will be sourced from the local hardware facilities. Solar modules for the project along with associated structures will be obtained from suppliers in the country or if not available imported from suppliers outside the country.

#### Operation Phase

There will be no major requirement of raw materials during operation phase. Only maintenance spares will be required at this phase.

### Power Requirement

Power requirement during the construction phase will be met through diesel generators sets. The exact number of diesel generator sets to be used, as well as the quantity of fuel, will be ascertained once the project design is finalized.

### Fire Safety and Security

#### Construction Phase

Appropriate firefighting system and equipment shall be provided throughout the construction period. The fire extinguishers will be well distributed according to the fire risks and will be available in areas such as the site office, security area, storage yard etc. A comprehensive emergency response plan with all the emergency numbers will be well displayed at the project site.

#### Operation Phase

Suitable fire protection and fighting systems that will include portable fire extinguishers, automatic fire detection system and means of fire communication will be made available at the entire PV array area, inverter stations, main control room and switchyard.

The systems and equipment’s will align to the Kenyan Fire Reduction Rules of 2007. The Fire protection and fighting systems will be maintained and serviced after every 6 months. The team managing the site will be trained on Fire safety as per the requirement on Fire Risk reduction rules. Further the proponent will be required to undertake Annual OSH Audits, Fire audits and Risk assessment as per the requirement of OSHA 2007 and the relevant subsidiary legislation.

# POLICY, LEGAL AND REGULATORY FRAMEWORK

## Introduction

This chapter outlines the existing national and international environmental and social legislation, policies and institutions applicable to energy generation that guide the development of the project.

As Kenya is a signatory to various international conventions and laws, national projects need to be aligned with their requirements; relevant international conventions and laws are therefore presented in this chapter.

Finally, a summary of the World Bank (WB) Environmental and Social Operational Policies relevant to this project are presented.

## Kenya Electricity Supply Industry (ESI)

The Kenya Electricity Supply Industry (ESI) is one of the sub-sectors in the energy sector that the Ministry of Energy oversees on behalf of the Government of Kenya (GoK).  Relevant stakeholders in the ESI are briefly described below.

- Kenya Power and lightning Company: responsible for distribution and retail supply of electrical energy to end users. Kenya Power purchases power in bulk from the Kenya Electricity Generating Company Limited (KenGen) and the Independent Power Producers (IPPs) through bilateral contracts or Power Purchase Agreements (PPAs) approved by the Energy and Petroleum Regulatory Authority (EPRA).

KPLC will be responsible for implementing the project, construction of the generation systems and distribution network for the Ali Kune site. Supply of power will be through KPLC and same tariffs will be charged for each category.

- The Energy and Petroleum Regulatory Authority (EPRA): established by the Energy Act of 2019.  The EPRA’s mandate extends beyond electricity and includes natural gas (including petroleum), renewable and all other forms of energy.  The generation, transmission, distribution, supply, import and export of electricity can only be carried out by parties in possession of a license or a permit issued by the EPRA.  In the event that the capacity involved is for own use and less than 1 MW, authorization is not required.  Although the generated electricity is expected to be less than 1 MW (0.3 – 1 MW), the fact that the generated electricity is intended for use in a factory and there is a possibility for connection to the national grid and sale of excess power to the government, the project requires a license from the EPRA to generate electricity as stipulated in the Energy Act, 2019.

The Energy and Petroleum Regulatory Authority (Authority) together with industry stakeholders have developed the Draft Energy (Mini-Grid) Regulations, 2021 (the ‘Regulations’). The regulations have been developed within provisions 10, 11 and 208 of the Energy Act, 2019 (the ‘Act’) and shall constitute Regulations to the Act. The Regulations will amongst others, provide guidance to mini-grid developers and other stakeholders on the tariff approval and licensing requirements. This will be directly applicable to the Ali Kune site.

- Ministry of Energy: aims to facilitate provision of clean, sustainable, affordable, reliable, and secure energy services for national development while protecting the environment.

The ministry will be responsible for not only implementing the community projects like water and cooking solutions from the proposed but also the overall coordination of project implementation and oversight.

- The Rural Electrification and Renewable Energy Corporation (REREC): is established under Section 43 of the Energy Act, 2019 as a corporate body.  The Corporation is the successor to the Rural Electrification Authority (REA) established under section 66 of the Energy Act No. 12 of 2006 (now repealed) and subject to this Act, all rights, duties, obligations, assets and liabilities of the Rural Electrification Authority existing at the commencement of this Act is to be automatically and fully transferred to the Corporation and any reference to the Rural Electrification Authority in any contract or document shall, for all purposes, be deemed to be a reference to the Corporation.

## National Legal Framework Review

In 2001, the Government established the administrative structures to implement the Environmental Management and Co-ordination Act of 1999 (EMCA). The main administrative structures are described in the following sections:

Table 3-1: Administrative stakeholders and their roles

| Stakeholders | Role |
| --- | --- |
| NEC | The National Environmental Council is responsible for policy formulation and directions for the purposes of EMCA. The Council also sets national goals and objectives and determines policies and priorities for the protection of the environment. The proponent should ensure that the project abides by the set goals and objectives of the Council. |
| NEMA | The responsibility of NEMA is to exercise general supervision and co-ordination over all matters relating to the environment and to be the principal instrument of Government in the implementation of all policies relating to the environment. This ESIA has been prepared for submission to NEMA for review and approval prior to the commencement of the Project activities, in compliance to the EMCA. |
| PCC | EMCA has also established a Public Complaints Committee, which provides the administrative mechanism for addressing environmental harm. The Committee has the mandate to investigate complaints relating to environmental damage and degradation. The members of the Public Complaints Committee include representatives from the Law Society of Kenya, NGOs, and the business community. The proponent should address all issues arising from the project in accordance with the above requirements, including a clear policy of stakeholder engagement and feedback. |
| WRA | Water Resources Authority is responsible for regulation of water resources issues such as water allocation, source protection and conservation, water quality management and pollution control and international waters. One of its functions among others is to receive water permit applications for water abstraction, water use and recharge and determine issue, vary water permits; and enforce the conditions of those permits as well as formulate and enforce standards, procedures and regulations for the management and use of water resources and flood mitigation. The project area experiences water scarcity during the drought season. The proponent will have to purchase water for use during construction. |

The applicable legal framework is illustrated in the table below.

Table 3-2: Policy and Legislative Framework

| S.No. | Legislation/ Guidelines | Description of the Legislation/Guidelines | Relevance of the legislation/Guidelines |
| --- | --- | --- | --- |
|  | POLICY |  |  |
|  | Vision 2030 | Kenya Vision 2030 is the current national blueprint for development from its inception in 2008 until the milestone year of 2030. This plan is the national long-term development policy that aims to transform Kenya into a newly industrialized, middle-income country by 2030. The Vision is comprised of three key pillars (economic, social, and political), two of which are projected to be positively affected by project implementation. | Under Vision 2030, Energy is identified as one of the key sectors that form the foundation for socio-political and economic growth. Promoting equal opportunities across the entire Kenyan territory and enhancing access to competitively priced, reliable, quality, safe and sustainable energy is essential to the achievement of this vision. |
|  | The Poverty Reduction Strategy Paper (PRSP) of 2001 | The PRSP has the twin objectives of poverty reduction and enhancing economic growth. The paper articulates Kenya‘s commitment and approach to fighting poverty; with the basic rationale that the war against poverty cannot be won without the participation of the poor themselves. | The proposed project aims at provision and access of renewable electricity geared towards improved economic performance and thus will contribute to poverty alleviation in the project area. |
|  | National Environmental Action Plan (NEAP) of 1994 | The NEAP for Kenya was prepared in mid 1990s. It was a deliberate policy whose main effort is to integrate environmental considerations into the country ‘s economic and social development. The integration process was to be achieved through multi-sectoral approach to develop a comprehensive framework to ensure that environmental management and the conservation of natural resources forms an integral part of societal decision-making. | The NEMA does not approve a development project unless the impacts of the proposed project are evaluated and mitigation measures proposed for incorporation in the project ‘s development plan, which is in line with the requirements of the NEAP. The project will be reviewed by NEMA for approval before implementation. |
|  | Environmental and Development Policy (Session Paper No.6 1999) | As a follow-up to the foregoing, the goal of this policy is to harmonize environmental and developmental goals to ensure sustainability. The paper provides comprehensive guidelines and strategies for government action regarding environment and development. | The proponent: - Is undertaking an Environmental Impact Assessment, Social Impact Assessment and Public participation as part of the planning and approval of infrastructural projects. - Will ensure that periodic Environmental Audits are carried out for the project |
|  | The Gender and Development Policy (Sessional paper no.2 2019) | The overall goal of this policy is to achieve gender equality by creating a just society where women, men, boys, and girls have equal access to opportunities in the political, economic, cultural, and social spheres of life. | In the absence of appropriate measures, the project can exacerbate gender inequalities and sexual and gender-based violence. In adherence to this policy, measures will be put in place to: - Ensure gender inclusivity in decision making, employment opportunity and access to the energy generated from the Mini-Grid - Mitigate social risks including sexual and gender-based violence, and any form of discriminations |
|  | The HIV/ AIDS Policy 2009 | In summary, the policy aims at: - Establishing and promoting programmes to ensure non-discrimination and non- stigmatization of the infected. - Contributing to national efforts to minimize the spread and mitigate against the impact of HIV and AIDS. - Ensuring adequate allocation of resources to HIV and AIDS interventions; | The proposed project is to be implemented in the rural setting at Alikune area. The area is not economically empowered hence few HIV/AIDS prevention resources are available. This policy shall provide a framework to both the project proponent and contractor to address issues related to HIV/AIDS during the entire project phase. |
| National Laws |  |  |  |
|  | The Constitution of Kenya, 2010 | The Constitution of Kenya promulgated in 2010 is the supreme law of the republic and binds all persons and all State organs at all levels of government. The Constitution provides the broad framework regulating all existence and development aspects of interest to the people of Kenya, and along which all national and sectoral legislative documents are drawn. | The proposed project complies with the Constitution by proposing a structure in its ESIA on how to deal with Social, Health, safety and environmental issues for sustainable development. |
|  | Environmental Management and Coordination Act, 1999 (And the Amendments Of 2015) | The EMCA is a framework environmental law in Kenya. This Act (assented to on January 14, 2000) provides a structured approach to environmental management in Kenya. With the EMCA coming into effect, the environmental provisions within the sectoral laws were not superseded; instead, the environmental provisions within those laws were reinforced to better manage Kenya’s ailing environment. | The proposed project will be undertaken in accordance with relevant sections of the EMCA, specifically Clauses 58 – 63. These sections of the Act are operationalized by subsidiary legislation promulgated under the Act and specifically Legal Notice (L.N.) 101: Environment (Impact Assessment and Audit) Regulations, 2003. |
|  | L.N. 101: EIA/EA Regulations, 2003 And 2016 Amendments | These regulations provide the framework for undertaking EIAs and EAs in Kenya by NEMA licensed Lead Experts and Firms of Experts. An EIA or EA Study in Kenya is to be undertaken by a firm duly licensed by the NEMA. The EIA/EA Regulations also provide information to project proponents on the requirements of either an EIA or EA as required by the EMCA. | The proposed project is subject to relevant provisions of these regulations and subsequently, the ESIA has been undertaken in accordance with the requirements. |
|  | L.N. 120: Water Quality Regulations, 2006 | This regulation provides for the sustainable management of water used for various purposes in Kenya. The regulation contains discharge limits for various environmental parameters into public sewers and the environment. | The contractor will be required to properly manage the effluent from construction activities in accordance with the above regulations prior to discharge into the environment. |
|  | L.N. 121: Waste Management Regulations, 2006 | Generally, it is a requirement under the regulations that a waste generator segregates waste (hazardous and non-hazardous) by type and then disposes them in an environmentally acceptable manner. | Waste to be disposed in accordance with these regulations. |
|  | L.N. 61: Noise and Excessive Vibration Control Regulations, 2009 | The general prohibition of these regulations states that no person shall make or cause to be made any loud, unreasonable, unnecessary, or unusual noise which annoys, disturbs, injures, or endangers the comfort, repose, health, or safety of others and the environment. | Rules 13 and 14 of the regulations define the permissible noise levels for construction sites. These noise limits will be applicable to the proposed project. |
|  | Environmental Management and Coordination, (Conservation of Biological Diversity) (BD) Regulations 2006 | These regulations are described in Legal Notice No. 160 of the Kenya Gazette Supplement No. 84, December 2006. These regulations apply to conservation of biodiversity which includes conservation of threatened species, inventory and monitoring of BD and protection of environmentally significant areas, access to genetic resources, benefit sharing and offences and penalties. Additionally, this regulation provides for the local enforcement of the International Convention on Biological Diversity (CBD). | The proposed project will impact biodiversity through clearance of vegetation on the proposed site. This will be done in strict adherence to ESMMP and revegetation of degraded site will be done as spelt out in the ESMMP. |
|  | Environmental Management and Coordination, (Fossil Fuel Emission Control) Regulations 2006 | These regulations are described in Legal Notice No. 131 of the Kenya Gazette Supplement No. 74, October 2006. These regulations include internal combustion engine emission standards, emission inspections, the power of emission inspectors, fuel catalysts, licensing to treat fuel, cost of clearing pollution and partnership to control fossil fuel emissions. The proposed project will generate fuel emissions linked to the back-up generator. This will only happen when the sun rays are poor. | This legislation gives caution to proponent on proper handling and management of fuels. KPLC will adhere to the ESMMP while handling and managing the fuels. |
|  | Licenses and Permits Required Under The EMCA | The subsidiary legislations under the EMCA are partially monitored using permits and licenses. Subsequently all licenses and permits required during the construction phase shall be the responsibility of the individual contractors and their agents. During the operational phase, all permits, and licenses required to operate the project will be the responsibility of the proponent. | The following permits to be available for inspection during the construction and operational phases of the project: - EIA License under Environmental Management and Coordination Act, 1999; - Workplace Registration under Occupational Safety and Health Act, 2007; - Construction Permit by the County Government; and - Noise Permit under Legal Notice 61: The Environment Management and Coordination (Noise and Excessive Vibration Control) Regulations, 2009. |
|  | Occupational Health and Safety Act, 2007 | The Occupational Safety and Health Act (OSHA) was enacted to provide for the health, safety and welfare of persons employed in workplaces and for matters incidental thereto and connected therewith. | The contractors will be required to fully comply with Legal Notice 40 titled Building Operations and Works of Engineering Construction Rules, 1984 (BOWEC). Each contractor will develop and implement a formal construction health and safety plan. |
|  | L.N. 31: The Safety and Health Committee Rules, 2004 | These rules came into effect on April 28, 2004, and require that an Occupier formalize a S&H Committee if there is a minimum of 20 persons employed in the workplace. The size of the S&H Committee will depend on the number of workers employed at the place of work | The contractor will be required to constitute Health and Safety Committee to oversee safety and health at the construction site. |
|  | L.N. 24: Medical Examination Rules, 2005 | These rules provide for Occupiers to mandatorily undertake pre-employment, periodic, and termination medical evaluations of workers whose occupations are stipulated in the Eighth Schedule to the OSHA and the First Schedule to this Rules. Workers that fall under the above two schedules are required to undergo medical evaluations by a registered medical health practitioner duly registered by the DOSHS. | The contractor should ensure that the workers exposed to hazards and or accidents undergo requisite medical examinations as required by these rules. |
|  | L.N. 25: Noise Prevention and Control Rules, 2005 | The rules set the permissible level for occupational noise in any worplace (which includes construction sites) The Proponent is to ensure that - any equipment brought to the site for use shall be designed or have built-in noise reduction devices that do not exceed 90 dB(A). - those employees that may be exposed to continuous noise levels of 85 dB(A) are medically examined as indicated in Regulation 16. If found unfit, the occupational hearing loss to the worker will be compensated as an occupational disease. | The contractor to ensure that equipment is serviced properly and/or use equipment that complies with the threshold noise values provided in the act. Alternatively, each contractor will be required to develop and implement a written hearing conservation programme during the construction phase. |
|  | L.N. 59: Fire Risk Reduction Rules, 2007 | Several sections of the rules apply to the proposed project as enumerated below. - Regulation 16 requires Proponents to ensure that electrical equipment is installed in accordance with the respective hazardous area classification system. It is also a requirement that all electrical equipment is inspected every six months by a competent person and the Proponent is required to keep records of such inspections. - Regulation 22 provides a description of the functions of a fire-fighting team. - Regulation 23 requires Proponents to mandatorily undertake fire drills at least once a year. - Regulation 34 requires Proponents to develop and implement a comprehensive written Fire Safety Policy - Regulation 35 requires a Proponent to notify the nearest Occupational S&H area office of a fire incident within 24 hours of its occurrence and a written report sent to the Director of DOSHS within 7 days. | The proponent is expected to comply with the requirements of L.N. 59: Fire Risk Reduction Rules, 2007 by - Carrying out, and record, a fire risk assessment identifying any possible dangers and risks. - Reducing, or where possible remove, the risk of fire and take precautions to deal with the remaining risks. - Developing an emergency plan should a fire occur which includes evacuation procedures etc. |
|  | The Energy Act, 2019 | The Energy Act of 2019 deals with all matters relating to all forms of energy including the generation, transmission, distribution, supply and use of electrical energy as well as the legal basis for establishing the systems associated with these purposes. The Act also established the Energy and Petroleum Regulatory Authority (EPRA). | The proponent is in line with the Energy act regulations in the following ways. - The proponent has identified an available site - Alignment of the Mini-Grid Project to County development plans. - The Mini-Grid proponent has the technical and financial capability to conduct the project - The proponent has conducted the necessary engagement with the community. |
|  | Water Act, 2016 | Part 2 section one of the Act notes that every water resource is vested in and held by the national government in trust for the people of Kenya. Section 143 (1) notes that; A person shall not, without authority conferred under this Act- (a) Wilfully obstruct, interfere with, divert or obstruct water from any watercourse or any water resource, or negligently allow any such obstruction, interference, diversion or abstraction; or (b) Throw, convey, cause or permit to be thrown or conveyed, any rubbish, dirt, refuse, effluent, trade waste or other offensive matter or thing into or near to any water resource in such manner as to cause, or be likely to cause, pollution of the water resource. | All construction, operation and decommissioning phases will take caution to refrain from polluting any water resource and will endeavour to prevent pollution in line with the ESMMP. |
|  | The Energy (Solar Photovoltaic Systems) Regulations, 2012 | These regulations shall apply to a solar PV system manufacturer, importer, vendor, technician, contractor, system owner, a solar PV system installation and consumer devices. The Regulations prohibits any person from designing or installing any solar PV system unless he/she is licensed by EPRA. | - The Regulations regulates the design and installation of PV systems. The persons engaged in the designing and installation of the Mini-Grid shall be licensed by EPRA |
|  | The Public Health Act (Cap. 242) | The Act prohibits the proponents from engaging in activities that cause environmental nuisance or those that cause danger, discomfort or annoyance to inhabitants or is hazardous to human and environmental health and safety. | The proponent will be in line with the regulations of this act and will ensure suppression of infectious diseases and maintain proper sanitation during all the phases of the project. |
|  | The Standards Act Cap 496 | The Act is meant to promote the standardization of the specification of commodities, and code of practice; to establish a Kenya Bureau of Standards, to define its functions and provide for its management and control. KPLC will ensure that commodities and codes of practice utilized in the proposed project adhere to the provisions of this Act. | All materials and spares used to construct the project will comply with the standardized specifications and certification. |
|  | Penal Code Act (Cap.63) | Section 191 of the penal code states that if any person or institution that voluntarily corrupts or foils water for public springs or reservoirs, rendering it less fit for its ordinary use is guilty of an offence. Section 192 of the same Act says a person who makes or vitiates the atmosphere in any place to make it noxious to health of persons /institution, dwelling or business premises in the neighbourhood or those passing along public way, commits an offence. | KPLC shall observe the guidelines as set out in the environmental management and monitoring plan laid out in this report as well as the recommendation provided for mitigation/minimization/avoidance of adverse impacts arising from the project activities. |
|  | The Land Act, 2012 | An Act of Parliament to give effect to Article 68 of the Constitution, to revise, consolidate and rationalize land laws; to provide for the sustainable administration and management of land and land- based resources, and for connected purposes Forms of Tenure. 5. (1) There shall be the following forms of land tenure- (a) freehold; (b) leasehold; (c) such forms of partial interest as may be defined under this Act and other law, including but not limited to easements; and (d) customary land rights, where consistent with the Constitution. Methods of acquisition of title to land. 7. Title to land may be acquired through— (a) allocation; (b) land adjudication process; (c) compulsory acquisition; (d) prescription; (e) settlement programs; (f) transmissions; (g) transfers; (h) long term leases exceeding twenty-one years created out of private land; or (i) any other manner prescribed in an Act of Parliament. Conversion of land. 9. (1) Any land may be converted from one category to another in accordance with the provisions of this Act or any other written law. (d) Community land may be converted to either private or public land in accordance with the law relating to community land enacted pursuant to Article 63(5) of the Constitution. | Land in Alikune is community land whose tenure falls under customary land rights. KPLC will observe all the relevant provisions of the Act including conversion from community land to public land as will be deemed appropriate |
|  | Community Land Act, 2016 | This Act is critical for the proposed project is within community land. Section 6(1) of the Act provides that ‘county governments shall hold in trust all unregistered community land on behalf of the communities for which it is held’. Furthermore, Section 6(2) maintains that ‘the respective county government shall hold in trust for a community any monies payable as compensation for compulsory acquisition of any unregistered community land’. Section 30(1) states that ‘Every member of the community has a right to equal benefit from community land’. Section 26(1) provides that ‘a community may set aside part of the registered community land for public purposes and Sub-section (2) holds that ‘where land is set aside for public purposes under Sub-section (1), the (Land) Commission shall gazette such parcel of land as public land’. These provisions offer a window for the proposed project to acquire land for project works legally for communities as necessary and to convert the same into public land. This is useful for the project as once done powerful groups will not have opportunity to exclude them on account of their socio - economic statuses. In any event, Section 35 holds that, ‘subject to any other law, natural resources found in community land shall be used and managed- (a) Sustainably and productively. (b) For the benefit of the whole community including future generations. (c) With transparency and accountability; and (d) On the basis of equitable sharing of accruing benefits. The concept of community land has been defined broadly enough to include VMGs. Women, children, old people, and future generations have been thought of as PAPs and thus their rights secured in this Act | The proposed project site falls on un-registered community land which is owned by Alikune community.The proponent has therefore acquired land for project use. The establishment of the mini-grid will convert communal land to Generation and distribution of electric energy for long term. Further, based on community need assessment the proponent will undertake in kind development project to support the community education or Health or water needs. |
|  | Land Registration Act, 2012 | Section 27 (2) provides that a transfer without valuable consideration shall have the same effect as a transfer for valuable consideration when registered. | Once the KOSAP PIU finalizes stakeholder engagements in all the identified counties, the transfer process shall be commenced to ensure that the land rights are secured. This gives the project the required land security to allow project implementation, which is in compliance with this legal requirement. |
|  | Land value amendment Act 2019 | It aims at standardizing the value of land in Kenya for the primary purpose of enhancing efficiency and expediting the compulsory land acquisition process for public projects. It introduces Section 107A into the Land Act, which provides the criteria for the valuation of freehold and community land that is the subject of compulsory acquisition. Community Land, like freehold land, shall be valued based on the criteria outlined in Section 107A and the Land Value Index which will be jointly developed by the national government and county government. Section 5 introduces a list of the forms in which compensation can be made. | Land in Alikune is a community land. The 1.044 hectares allocated by the community for the proposed mini-grid will be acquired for the project. The MOE will pay compensation in kind through implementation of projects in water, education and health sectors. The community has chosen a project in education or health sector. |
|  | The Environment and Land Court Act 2011 | This is an Act of Parliament intended to give effect of article 162(2) b of the constitution; to establish a superior Court to hear and determine disputes relating to the environment and the use and occupation of, and title to, land and to make provision for its Jurisdiction functions and powers, and for connected purposes. The principal objective of this Act is to enable the Court to facilitate the just and expeditious, proportionate and accessible resolution of disputes governed by this Act. | The project will have a grievance redress mechanism with a committee. The work of the committee will be to receive and respond to all the grievances raised. As explained in chapter five of this report, an aggrieved party will turn to the legal system after exhausting the GRM levels of resolution set. In the event any disputes on land and environment are not resolved through the project GRM, this court will provide a forum for timely resolution of such grievances. |
|  | The Physical and Land Use Planning Act, 2019 | This Act of Parliament makes provision for the planning, use, regulation, and development of land and for connected purposes. | The proposed site is not in contravention of any Zoning regulations. The project site is within unregistered community land; necessary county approvals will be sought by the proponent e.g., Project design approval and change of use. The Physical planner in the department of Lands, Housing and Urban Development –Garissa County, shall issue the approvals. |
|  | The Employment Act No 11 of 2007 | This Act is important since it provides for employer – employee relationship that is important for the activities that would promote management of the environment within the energy sector. | With the Contractor and the Project Proponent being primary employers during the construction and operational phases of the Project, respectively, they are bound by this law to abide to its stipulations on employee management and relations |
|  | The Work Injury Benefit Act, 2007 | This is an Act of Parliament to provide for compensation to employees for work related injuries and diseases contracted in the course of their employment | The Proponent and Contractor will maintain an insurance policy cover for its employees, record of accident, carryout proper accident investigations; organize for pre-employment and regular medical examinations for staff. |
|  | Air Quality Regulations (2014) | Regulation 3 stipulates that the objective of these Regulations is to provide for the prevention, control, and abatement of air pollution to ensure clean and healthy ambient air. | The Proponent and contractor will implement mitigation during construction to ensure neighbouring properties are not impacted by nuisance dust |
|  | The Traffic Act Chapter 295 Laws of Kenya | This Act consolidates the law relating to traffic on all public roads. Key sections include registration and licensing of vehicles; driving licenses; driving and other offences relating to the use of vehicles on roads; regulation of traffic; accidents; offences by drivers other than motor vehicles and other road users. Many types of equipment and materials shall be transported through the roads to the proposed site. Their registration and licensing will be required to follow the stipulated road regulations. The Act also prohibits encroachment on and damage to roads including land reserved for roads. | The project will observe the provisions of the Act including management of traffic of construction vehicles as guided by the ESMMP |
|  | National Museums and Heritage Act, 2006 | The Act seeks to consolidate the law relating to national museums and heritage; to provide for the establishment, control, management and development of national museums and the identification, protection, conservation and transmission of the cultural and natural heritage of Kenya; to repeal the Antiquities and Monuments Act and the National Museums Act. | During implementation of the project, the Act will be followed in the event of case of chance find of cultural heritage on the proposed site |
|  | The Prevention, Protection and Assistance to Internally Displaced Persons and Affected Communities Act, 2012 | This an Act of Parliament that provides for the prevention, protection and provision of assistance to internally displaced persons and affected communities and give effect to the Great Lakes Protocol on the Protection and Assistance to Internally Displaced Persons, and the United Nations Guiding Principles on Internal Displacement and for connected purposes. | According to this Act, displacement in projects should be avoided to the extent possible and implementation of KOSAP sub-projects will adhere to this requirement. |
|  | County Government Act, 2012 | This Act makes provisions for county governments’ powers, functions and responsibilities to deliver services and for connected purposes. Part VIII of the act on Citizen Participation (87) (b) emphasizes on the right of citizens to participate to any development projects prior to their implementation. This Act gives guideline on planning in the County and especially the partnership in development between the National Government and other investors | In complying with this requirement, the ESIA team held consultations on the project with the County Government of Garissa namely the Governor, County Executive Committee members for Environment, Energy and Public service and Administration. Additionally, the County government through the CEC Public service administration and the Chiefs office mobilized the communities for the consultation forums |
|  | The Sexual Offenses Act 2006 | This is a comprehensive law that criminalizes a wide range of behaviours including rape, sexual assault, defilement, compelled or induced indecent acts with child imbeciles or adults, gang rape, child pornography, child trafficking, child sex tourism, child prostitution, exploitation of prostitution, incest by male and female persons, sexual harassment, deliberate transmission of HIV or other life threatening sexually transmitted disease, stupefying with sexual intent, forced sexual acts for cultural or religious reasons among others. The Act also has orders for medical treatment for victims including free HIV prophylaxis, emergency pregnancy pill and counselling. The Act provides stiff penalties in which most of the crimes attract minimum of ten years imprisonment which can be enhanced to life imprisonment. | Implementation of a project creates changes in a community in which it is implemented and it has potential to cause shifts in power dynamics between community members and within households. For instance, male jealousy is a key driver of Gender Based Violence (GBV) which can be triggered by labour influx on a project when workers are believed to be interacting with community women. Hence, abusive behaviour can occur not only between project-related staff and those living in and around the project site, but also within the homes of those affected by the project. |
|  | The Children Act, 2012 | Part 2 of the Act denotes the rights of the children and their welfare shall be protected from child labour and armed conflict i.e. Every child shall be protected from economic exploitation and any work that is likely to be hazardous or to interfere with the child’s education, or to be harmful to the child’s health or physical, mental, spiritual, moral or social development. The Act also notes that a shall be protected from sexual exploitation and use in prostitution, inducement or coercion to engage in any sexual activity, and exposure to obscene materials. | Sensitization to the community on the need to ensure the protection of children has been done and will continue throughout the project cycle. In addition, the contractor will sensitize workers against abuse and exploitation of children. |
|  | Persons with Disability Act, Chapter 133 | This Act provides for the protection of the rights of people with disabilities ensuring they are not marginalized and that they enjoy all the necessities of life without discrimination. The Act guarantees that (1) No person shall deny a person with a disability access to opportunities for suitable employment. (2) A qualified employee with a disability shall be subject to the same terms and conditions of employment and the same compensation, privileges, benefits, fringe benefits, incentives or allowances as qualified able-bodied employees. (3) An employee with a disability shall be entitled to exemption from tax on all income accruing from his employment. | The Act will be adhered to in order to ensure that persons with disability are included in all decision making that affects their lives. This will be monitored to make sure they are not excluded from project benefits and exposed to negative impact from the project that could adversely affect them. |

## RELEVANT PERMITS AND LICENSES REQUIRED BY THE PROJECT

The table below shows the relevant permits and licenses that the project proponent will require for the proposed project.

Table 3-3: Relevant permits and licenses

|  | Sector | Legislation | Authority | Permit/license | Comments |
| --- | --- | --- | --- | --- | --- |
| Construction Phase | Environment | EMCA | NEMA | EIA License | The EIA license will give the decision criteria for NEMA |
|  |  | EMCA (Waste Management) Regulations,2006 | NEMA | Ensure that the contracted waste handlers (Transport and disposal) are licensed by NEMA | During waste disposal |
|  | Land | Physical Planning Act, 1996 | Physical Planning Act, 1996 | Change of Land Use | Change of land use approval is given at the County level |
|  | Occupational Health and Safety | Occupational Health and Safety, 2007 | Directorate of Occupational Health and Safety (DOSHS) | Registration of workplace | Prior to construction and during operation |
| Operational Phase | Environment | EMCA | NEMA | Initial Environmental Audit Acknowledgement Letter and Self-Audit Acknowledgement thereafter | Annual, throughout the operations phase |
|  |  | EMCA (Waste Management) Regulations,2006 | NEMA | Ensure that the contracted waste handlers (transport and disposal) are licensed by NEMA | When disposing waste |

## World Bank OP applicability

Like in any project financed by, or with financial participation of, the World Bank, the environmental and social safeguards as defined in the Bank's Operational Procedures (OPs) will be adhered to during the project implementation. WB classifies its projects into four Environmental and Social Assessment categories according to the likely impacts on the environment and community they will have. This classification is as summarized below:

Category A: A proposed project is classified as Category A if it is likely to have significant adverse environmental and social impacts.

Category B: A proposed project is classified as Category B if it’s potential adverse environmental and social impacts on human populations or environmentally important areas—including wetlands, forests, grasslands, and other natural habitats—are less adverse than those of Category A projects. These impacts are site specific; few if any of them are irreversible; and in most cases mitigation measures can be designed more readily than for Category A projects.

Category C: A proposed project is classified as Category C if it is likely to have minimal or no adverse environmental and social impacts. Beyond screening, no further environmental assessment action is required for a Category C project.

Category FI: A proposed project is classified as Category FI if it involves investment of Bank funds through a financial intermediary, in subprojects that may result in adverse environmental and social impacts.

The table below shows the applicability of World Bank Operational OPs to the proposed project in Ali Kune site;

Table 3-4: World Bank OP Applicability

| S.No. | Description of World Bank OPs | Applicablicability | Applicability to Project | Trigger for the policy |
| --- | --- | --- | --- | --- |
|  | OP 4.01 (Environmental and Social Impact Assessment) | Applicable | OP 4.01 is applicable to the project since it is proposed for financing by the Bank. An ESIA ensures that the project is environmentally sound and sustainable, and thus improve decision making. | This policy is triggered if a project is likely to have potential (adverse) environmental risks and impacts in its area of influence. Depending on the project, and the nature of impacts a range of instruments can be used: ESIA, environmental audit, hazard or risk assessment and environmental management plan (EMP). Under KOSAP, the consultant has prepared this ESIA report and will comply with national EIA regulations which outline the environmental screening process to be applied to sub-projects implementation. |
|  | OP 4.10 (Indigenous People) | Applicable | OP 4.10 requires that the development process fully respects the dignity, human rights, economies, and cultures of Indigenous Peoples. The policy will guide the free, prior, and informed consultation with an aim of achieving results in broad community support to the project by the affected Indigenous Peoples | The policy is triggered when the project is undertaken in areas where Indigenous Peoples are present (with characteristics described in OP 4.10 para 4) in the project area. |
|  | OP 4.12 (Land Acquisition and Involuntary Settlement) | Applicable | The Ali Kune site does not envisage major physical or economic displacement of people. The land has been compulsorily acquired through the NLC for the MOE, hence the OP 4.12 is applicable for this site. However, residents will not be resettled as there are no inhabitants on the proposed project site. | This policy covers not only physical relocation, but any loss of land or other assets resulting in: - Relocation or loss of shelter; - loss of assets or access to assets; - Loss of income sources or means of livelihood, whether or not the affected people must move to another location. This policy also applies to the involuntary restriction of access to legally designated parks and protected areas resulting in adverse impacts on the livelihoods of the displaced persons. |
|  | Natural Habitats OP/BP 4.04 | Applicable | OP 4.04 recognizes that the conservation of natural habitats is essential to safeguard their unique biodiversity and to maintain environmental services and products for human society and for long-term sustainable development. The policy is applicable for Ali Kune as the project area could be affected by clearing various natural habitats to create room for pole erection and mini-grid construction. However, The project activities in KOSAP areas will not cause conversion or degradation of natural habitats or critical natural habitats as defined by the policy. | This policy is triggered by any project with the potential to cause significant conversion (loss) or degradation of natural habitats, whether directly (through construction) or indirectly (through human activities induced by the project). |

## Environmental and Social Management Framework (ESMF) for KOSAP

An Environmental & Social Management Framework (ESMF) for KOSAP was prepared by the Environment & Social Unit, Safety, Health & Environment (SHE) Department of Kenya Power in liaison with KPLC and MOE. The purpose of the Environmental and Social Management Framework (ESMF) was to provide a procedure for environmental and social assessment of the proposed REREC, KPLC and MOE subprojects.

The ESMF provides guidelines for MOE, KPLC & REREC in determining the appropriate level of environmental and social assessment required for the sub-projects and in preparing the necessary environmental and social mitigation measures for these sub-projects.

This ESIA report for Ali Kune Project Site is guided by this KOSAP ESMF.

## Resettlement Policy Framework (RPF) for KOSAP

A resettlement policy framework report was prepared following the Kenyan laws and World Bank policy (O.P 4.12) on involuntary resettlement. The RPF states that K-OSAP component 1 (Mini-grids for Community Facilities, Enterprises, and Households) which involves installation of mini-grids will require land acquisition.

The Framework seeks to avoid, manage, and/or mitigate potential risks arising out of damage to assets, disruption to work, temporary negative impacts on livelihoods and/or in the unlikely case of displacement. The RPF proposes guidelines to develop a Resettlement Action Plan and propose an implementation framework for RAP to mitigate such effects. The RPF states that involuntary resettlement and land acquisition will be avoided where feasible, or minimized or compensated where it cannot be eliminated. Where involuntary resettlement and land acquisition are unavoidable, resettlement and compensation activities will be conceived and executed as sustainable development programs, providing resources to give PAPs the opportunity to share project benefits.

The Ministry of Energy has partnered with the community who are the owners of the land and the County Government of Garissa in identifying land for the proposed project. The sub-project site will be acquired compulsorily by NLC, and in-kind compensation in form of priority community projects provided to affected communities. The A-RAP also documents the land acquisition consultations undertaken with affected communities. A-RAP document has been appended in this report (annex 5)

## Vulnerable and marginalized Groups Framework (VMGF) for KOSAP

As noted above the KOSAP project trigged O.P 4.10 policy on Indigenous People and therefore a Vulnerable and Marginalized Groups Framework (VMGF) was prepared for use by the Ministry of Energy (MOE) and the implementing agencies KPLC and REREC and other stakeholders. The framework was prepared then because was known that IPs are present in all the 14 target project counties. The VMGF describes the policy requirements and planning procedures that during the preparation and implementation of components especially those identified as occurring in areas where VMGs are present.

The purpose of the VMGF is to guide management of issues related to vulnerable and marginalised groups during the development and operation of proposed sub projects and to ensure effective mitigation of potentially adverse impacts while enhancing sharing of benefits.

The VMGF is applicable because the main inhabitants of Alikune are the somali community who are classified as VMGs in Kenya.

  - Social Assessment (SA)

The KOSAP project has triggered the World Bank Operational Policy (OP 4.10) for Indigenous Peoples, and the relevant laws and regulations of the Government of Kenya concerning Vulnerable and Marginalized Groups (VMGs).

The OP 4.10 contributes to the Bank’s mission of poverty reduction and sustainable development by guaranteeing that the development process fully takes due regard to the dignity, human rights and cultures of indigenous people. The Bank requires that the Borrower engages the IPs/VMGs in a process of Free, Prior and Informed Consultations and this is the basis of the public participation in the Counties with the objective obtaining broad community support for the project by the affected IPs/VMGs. In case of any adverse impacts, these should be avoided or reduced where possible and where not feasible, they should be mitigated or compensated.

The Government of Kenya through REREC and KPLC has undertaken a Social Assessment (SA) in order to ensure that the VMGs are not disadvantaged by the project, excluded from benefiting and participating from the project, and to develop alternative plans to enhance project benefits.

## Comparison between the World Bank and Kenyan Laws to this Project

A comparison between the WB policies and the Kenyan law is presented in this section. The objective is to find out any gaps and propose a recommendation.

Table 3-5: Comparison between the WB safeguard policies and the Kenya Legislation

| World Bank safeguard Policies | Kenyan laws | Comparison | Recommendation |
| --- | --- | --- | --- |
| O.P 4.01 requires screening to determine level of environmental and social assessment to be done. An ESIA is prepared before project implementation. | EMCA requires screening of project to determine level of environmental and social assessment to be done. An ESIA is required once determination is done. | Similar both require screening | Screening has been done and the project is established as medium risk which requires and ESIA. |
| ESIA is needed once determination had been established and should be prepared identifying all environmental and social impacts and mitigation measures proposed to address the impacts. | ESIA is needed once determination had been established and should be prepared identifying all environmental and social impacts and mitigation measures proposed to address the impacts. | Similar- both require ESIA depending on the project impacts. | ESIA is prepared in line with EMCA /EIA regulations and makes reference to WB safeguard policies. |
| O.P 4.04 Natural Habitats- conservation of natural habitats is essential to safeguard their unique biodiversity and to maintain environmental services and products for human society and for long-term sustainable development. | Environmental Management and Coordination, (Conservation of Biological Diversity) (BD) Regulations 2006 – requires conservation of biodiversity which includes conservation of threatened species, inventory and monitoring of BD and protection of environmentally significant areas, access to genetic resources, benefit sharing and offences and penalties. | Similar- both require conservation of natural habitats | This policy and law will not be applicable to the project because the proposed site has minimal vegetation that will be disturbed during project implementation. |
| O.P 4.12 Land Acquisition and Involuntary resettlement should be avoided wherever possible or minimized and exploring all alternatives. | The Government and any other organization, shall prevent internal displacement linked to development projects to the extent possible by exploring other alternatives. | Similar- displacement in projects should be avoided to the extent possible by exploring alternatives. | WB policy is more elaborate than the Kenyan Law. |
| O.P 4.10 on indigenous people seeks to promote the inclusion of these group in development project and especially through consultation to ensure they also share in the project benefits and ensure negative impacts do not disproportionately fall on them. The policy requires these groups to be consulted separately to enhance their participation. | The COK 20.10 article 56 provides for the right of marginalized communities and the importance of their input in decision making that regards them. National Gender and Equality Act and the Children’s Act and Persons with disability Act seeks to promote the inclusion of these persons in all issues as they are often overlooked and left out. Emphasis is also on consulting with them. | Similar- both seek to promote inclusion of these group so that they do can share the projects benefits and ensure that negative impacts of the project do not fall on them disproportionately WB needs a social assessment to be conducted. | WB policy more elaborate and the two are being used to compliment. |
| Project affected persons should be meaningfully consulted and be given opportunities to participate in planning and implementing of projects and especially where there is resettlement. | EMCA requires that the project owner seeks the views of the people who are affected and explain the project information to them and especially the impacts f project and also obtain their opinions or comments. | Both are similar | Consultation has been done and will be progressed in line with the two WB policy and Kenya legislation. |

# BASELINE SETTINGS - Physical AND SOCIAL-ECONOMIC  ENVIRONMENT

## Introduction

This chapter describes the existing bio physical and socio-economic context of the proposed project area which acts as the basis for the identification and assessment of the potential environmental and social impacts of the proposed project. It provides both the project specific information of the project’s area of influence as well as the regional baseline information that puts the project into context.

## Area of Influence

The Area of Influence (AoI) of the project comprises of the project site and the surrounding area, where the influence of the project activities is anticipated. The areas likely to be affected by the project and its associated activities include;

- The areas where project activities and facilities operated and managed by the Ministry of Energy (MoE) and Kenya Power and lightning Company (KPLC) will be established.

- Project site                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                       where project components such as solar modules, control room and transmission line to power grid sub-stations; and any other selected compensation in kind project, such as the construction water abstraction and distribution points will be established.

- Areas where impacts from unplanned but predictable developments caused by the project that shall occur later or at a related location such as increase in traffic on the approach road;

- Areas where there is biodiversity or on ecosystem services upon which affected communities’ livelihood are dependent; and

- Areas where associated facilities e.g. approach road construction and widening of existing road;

Further to this, the AoI with respect to the environmental and social resources was considered based on the following reach of impacts:

Air Quality

- Impact on ambient air quality from vehicle exhaust;

- Impact of air pollutants emission from construction activities and

- Dust fall- typically up to 200 m from construction activities

Noise

- Noise impact area (defined as the area over which an increase in environmental noise levels due to the project can be detected) - typically 500 m from operations and 200 m from the access road

Water

- Surface water body- typically 500 m upstream and downstream of water intake point and downstream of discharge point

- Other surface water bodies within 1 km of the project footprint

- Groundwater in 1-2 km radius of project footprint

Flora and Fauna

- The direct footprint of the project comprising the project site

- The areas immediately adjacent to the project footprint within which a zone of ecological disturbance is created through increased dust, human presence and project related activities (e.g., trampling, water intake/outfall, transportation). This kind of disturbance has been estimated to occur within the project footprint and surrounding areas of about 500 m to 1 km from the activity areas.

Based on the above the AoI for environmental studies was limited to 5 km from the project site.

Socio-economic/Social

The AoI for social receptors was fixed to include 2 km radial zone which has been developed based on the reconnaissance site visits and stakeholder consultations with the local community. The AoI for development of the social baseline is within Ali Kune Village which according to the administrative structure falls within Ali Kune Location. The socio-economic information presented in this report has drawn from primary socio-economic survey and the Population and housing census 2019, Kenya Bureau of Statistics (KBS).

### Project Footprint Area

The project site is located in Ali Kune Village, Ali Kune Sub location, Dadaab Sub County in Garissa County. The site is relatively flat with shrubs as the dominant land cover of the area. The area is largely semi-arid with minimal vegetation. Land is largely communally owned within Ali Kune area.

### Study Area

The project site is located in Ali Kune Village, Ali Kune Sub location, Dadaab Sub County in Garissa County. Based on the secondary information of the region, the sampling locations were identified to obtain the representative baseline information. Soil sampling locations were selected based on the land use and land cover of the study area. Locations of ecological and social surveys were also selected based on receptor locations; in addition, special emphasis is given to areas within 1.5 km radius of the project site and distribution lines.

## PHYSICAL ENVIRONMENT

### Land Use

The land-use and land-cover of the study area (5kms) has been interpreted from visual interpretation, survey maps of the area, and subsequently by ground checking during field surveys. The land use within 5 km radius of project site represents grassland and open shrub land. The area is majorly semi-arid with a sparse population within the project area.

### Topography

Garissa County is flat and low lying without hills, valleys and mountains. It rises from a low altitude of 20m to 400m above sea level. The major physical features are seasonal Laghas and the Tana River Basin on the western side. The river Tana has tremendous effect on the climate, settlement patterns and economic activities within the county. The topography of the project site is flat land with no vegetation.

### Ecology

Garissa County has a large population of game animals and birds, which are an important resource for tourist attraction. The main wildlife types found in the county are: Elephants, Lions, Cheetahs, Leopards, Hippopotamus, Crocodiles, Hunters, Hart Beasts, Grants Gazelles, Thompson Gazelle, Gerenuk, Civil Jackals, Spotted Hyena, Buffalos, hirola (only endemic in Garissa in the world), Grey Zebras, Topi, reticulated Giraffes, white giraffe, wild dogs, Dik-dik and Baboons. The wild animals are not confined to parks, they move freely.

There are two non-gazetted indigenous forests in the county, namely Boni and Woodlands. Most of the forests in the county are woody trees and shrubs which are mainly browsed by camels and goats and to some extent by grazers. Some species provide forage long into the dry season in form of fallen leaves and seed pods. There are 40 Community Forest Associations (CFA) in the county.

Dadaab sub-county is principally a semi-arid area falling within ecological zone V-VI. Ali Kune village and Dadaab Sub- County at large is found in the hinterland of Garissa County. During the dry season, there is general migration of livestock from the hinterland to areas near River Tana where water is readily available. The livestock population in the area is indigenous sheep, goats, cattle and camels.

| Ecology of the project site |  |
| --- | --- |

Plate 4: Ecology of the project area.

### Water Resources

According to Garissa County CIDP, Garissa County has one permanent river (River Tana), 25 shallow wells, 109 boreholes, 195 water pans and one dam. Water from other sources is generally unsafe and as such it is treated at the household level by use of aqua tabs, water guard and other chlorine-based purifiers supplied by the relevant government departments. Other areas of the county rely on shallow wells, boreholes and water pans. The county is generally water scarce with acute water shortages experienced during the dry season. Various interventions have been undertaken to mitigate against these water shortages. These include water tinkering and the activation of the rapid response team charged with the responsibility of repairing boreholes during drought.

Ali Kune has 2 boreholes, only one borehole is operational while the other borehole has collapsed and has very low yield.

### Ambient Air Quality

The proposed project area can be described as generally rural with interfaces of natural vegetation. Most of the areas are bare land and there are no major industrial developments. The air quality at the proposed project site is therefore considered generally good.

### Ambient Noise Quality

In general, the project area is a settlement and trading centre setting where the main source of noise is from motorists along the road and from machines such as the generators used to supply power. The noise quality of the proposed project site is therefore considered to be generally good.

### Soil Type

Dadaab sub-county has sandy soils that support scattered shrubs and grasslands which are ideal for livestock production. The land is highly erodible. The exploitation of the soil resource thus must take into account conservation measures due to their fragile nature. The mineral potential of the soils is not exactly known as no geological mapping has been done.

Ali Kune village has sandy soils with shrubs as the dominant land cover.

### Climate and Meteorology

The county receives bimodal rainfall, with short rains from October to December and the long rains from March to May. The average rainfall of the county is 275mm per year. Rainfall is normally in short torrential downpour making it unreliable for vegetation growth.

Given the arid nature of the county, temperatures are generally high throughout the year and range from 20°C to 39°C. The average temperatures are 36°C. The county receives an average of 9.5hours of sunshine. The rainfall patterns and temperature have changed due to climate change. The county is prone to drought and flood emergencies leading to a threat to livelihood.

## Socio-economic Environment

### Socio-economic status of Study Area

#### Demographic Profile

The demographic profile in terms of total population, number of households, household size and sex ratio of the selected villages surveyed in study area has been discussed in section below and details are presented below.

The project site is located in Dadaab Subcounty, Ali Kune ward, the ward has an area of approximately 412Km2 and Dadaab sub-county covering an area of 6415Km2 with a population estimate of about 185,252 people and population density of about 29 people per square kilometre. The project area has an estimated population of 7089 people and 1200 households with an estimate of 6 persons per household. The village has been in existence for 21 years. The average gender ration for the population within the project area is estimated to be 40% female and 60% male. Table 4-1 below presents a summary of demographic profile of Ali Kune.

Table 4-1: Summary of demographic profile

| Attribute | Magnitude/Number |
| --- | --- |
| Approx. population | 7089 |
| Households | 1200 |
| Gender. | Male – 40% Female – 60% |
| Ave. No. per household | 6 per household |
| Indigenous | Indigenous- 100% Settlers –0% |
| Vulnerable classes | - Female headed households-approximately 70 - Child headed households-approximately 20 - Persons Living with Disabilities-approximately 30 - The elderly (80 years and above)-approximately 10 - Poor people and households without livestock |
| Dominant ethnic group | Somali |
| Primary religion | Islam |
| Other groups | None |
| Employment (formal/Informal) | Formal –1% Informal –5% Unemployed-94% |

#### Educational Infrastructure

As per the observation and information sought from Ali Kune Village, the village has one primary school Ali Kune Boarding Primary School which approximately 400m from the project site. The school has a total enrolment of 339 children, 203 boys and 136 girls. The school offers an equal opportunity for both boys and girls. Ali Kune Secondary School was currently under construction during the time of the site visit.

#### Occupation and Livelihood Profile

The main livelihood activity undertaken by the people of Ali Kune Village is pastoralism and small-scale businesses. The businesses include shops, selling vegetables and hotel. The main animals kept are camel, cattle, sheep and goats, however they have been majorly affected by drought. The women mainly participate in businesses and men participate in livestock rearing. The population on formal employment is 1%, 5% of the population is on informal employment with 94% being unemployed.

#### Land Use

Land area in Ali Kune is mainly used for grazing. Majority of the land is unused or bare land. The village is highly affected by drought therefore does not grow any crops. The main animals kept are camels, goats, cow and sheep. Due to the ongoing drought, most of the animals have been affected.

#### Social and Physical Infrastructure

As per the community chief,Public institutions found in the project area include: school and health facility. The institutions observed in the area during the field visit are Ali Kune Boarding Primary School and Ali Kune Dispensary. Ali Kune Secondary School was currently under construction during the time of the site visit. The dispensary is in a good condition however, it is understaffed. The services offered at the facility are free and open to the public. Religious institution in the area is one mosque.

The village has 2 boreholes, 1 borehole is functional and is used for community consumption while the other borehole has collapsed and is not in use. Water used in the area is bought from the borehole. The price of a 20-litre jerry can is KSHS 10 and kshs 10 per livestock. Road connectivity within the area is poor. The roads within the village are dirt roads which are dusty.

#### Vulnerable groups

According to the World Bank Document-Vulnerability: A View from Different disciplines by Jeffry Alwang and Paul B. Siegel, a vulnerable group is a population that has some specific characteristics that make it at higher risk of falling into poverty than the others.

The categories of vulnerable groups identified at the project area include:

- Female headed households-approximately 70

- Child headed households-approximately 20

- Persons Living with Disabilities-approximately 30

- The elderly (80 years and above)-approximately 10

- Poor people and households without livestock

The vulnerable households can hardly access the basic needs and most of them really on well-wishers within the community. The project should consider such households for free electricity connection. Most of them cannot afford the one thousand shillings’ connection fees.

#### Gender based vulnerability

The society in the project area is characterized by a patriarchal family structure. Women continue to be rooted in traditional norms of social behavior which include early marriages and child marriage, minimal participation in household or economic decision making, lesser economic freedom and limited opportunity to socialize with other females in the village. During the Focus Group Discussion with women, it was reported that men have more control over household resources including the assets bought by the women. The women are involved in community decision making but their opinions are not considered later on. The women reported that they do not have equal opportunities as the men in the community.

#### Gender based vulnerability

The society in the project area is characterized by a patriarchal family structure and men are considered to be superior. The women are not involved in community meetings and help in decision making. The men majorly are in charge of grazing and livestock keeping while the women are in charge of the businesses.

#### Culture and heritage

No cultural site of significance was reported/observed within the project area. Somali community in the project area are a patriarchal society. The community practices polygamy.

#### Religion in the project area

The community members are predominantly Muslims. There is one mosque in the project area.

#### HIV/AIDs prevalence

According National AIDs Control 2018, HIV prevalence in Garissa is (<0.1%) lower than the national prevalence of 5.9% (Kenya HIV Estimates 2015). The health worker at Ali Kune Dispensary stated that there are no cases of HIV/AIDS in the community. Cases of sexual health issues are also not common.

# STAKEHOLDER ENGAGEMENT

This section profiles the key stakeholders of the Ali Kune site solar project and assesses their potential concerns and levels of influence. The process of stakeholder engagement involved;

- stakeholder identification and analysis

- planning for the stakeholder engagement;

- disclosure of information;

- consultation with stakeholders

- addressing and responding to grievances; and

- reporting to stakeholders

## Legal Requirement for Stakeholder Engagement

Timely stakeholder analysis and engagement is key as it provides opportunities for stakeholders to make significant contribution to the project design and implementation which results in enhanced project acceptance among other benefits.

The overall objective and the spirit of the Kenya constitution is to involve citizens in project formulation and implementation at the local level. This is enshrined in our constitution in Article 35 which provides that ‘every citizen has the right of access to information held by the state; and information held by another person and required for the exercise or protection of any right or fundamental freedom’.

Further public participation is an essential and legislative requirement for environmental authorization. The ESIA team undertook the stakeholder consultation (SC) for the proposed project in accordance with the requirements for as stipulated in the EMCA, 1999 and its 2015 amendments and ESIA/EA Regulations 2003. The main purpose of public participation is to provide project information to stakeholders and allow them the opportunity to provide input and comment on the project, including issues and alternatives that are to be investigated, thereby facilitating informed decision-making.

Therefore, public participation was a key component of the ESIA of the proposed solar Mini-grid in Alikune. Project information was shared with different stakeholders mainly government officers and community/project affected persons. The positive and negative views of the stakeholders on the project were sought. The exercise was conducted through a public meeting/baraza, key informant interviews. In addition, gender and intergenerational dimensions of the community members were considered and three separate focus group discussions sessions were held with the men, women and the youth.

## Objectives of Public Participation

- To assess the level of stakeholder interest and support for the project

- To enable stakeholder’s views to be considered in project design and implementation

- To establish and maintain constructive relationships and means for effective and inclusive engagement with project affected parties on issues that could affect them

- To ensure appropriate project information on environmental and social risks and impacts is disclosed to stakeholders in a timely and accessible matter

The purpose of stakeholder engagement/participation is to identify stakeholders and to allow such parties the opportunity to provide input and comment on the project, including issues and alternatives that are to be investigated, thereby facilitating informed decision-making. Stakeholder participation involves both disseminating information about the project as well as gathering primary data from stakeholders regarding the project. Therefore, data collection was a key component of the ESIA of the proposed project. The first source of information was literature review of project documents, site visit coupled with observations and discussion with the project engineers and other project officers. Further information and views on the project were also sought from other government officers at the county and from the target community.

Part of the key project information that was shared with the stakeholders to enable them to understand the project included; positive and negative impacts of the project including potential opportunities. The information specifically focused on; the objective, nature and scale of the project, potential risks and impacts of the project on local communities, mitigation measures to the negative impacts, need for future consultations and means of raising and addressing impacts.

## Stakeholder Consultation and Disclosure Requirement for the Project

The World Bank Environmental Social OPs 10 on Stakeholder Engagement and Information Disclosure emphasizes on engagement in meaningful consultations with all stakeholders. The stakeholders should be provided with timely, relevant, understandable, and accessible information, and consult with them in a culturally appropriate manner, which is free of manipulation, interference, coercion, discrimination and intimidation.

ESIA findings and summaries of safeguard will be done in a culturally appropriate languages and in accessible locations. Information disclosed will be easily accessible in a timeframe that enables meaningful consultations, in a culturally appropriate format, using relevant local languages and culturally acceptable and accessible techniques such as FGDs public meetings, local dailies and radio stations etc. Further, the process of information disclosure must consider any disability, mobility and literacy challenges.

During the ESIA studies the stakeholders reccommeded public meeting as the preffered mode of information disclosure. In addition to this the proponent should also consider placing relevant summarized documents at Ali Kune Chiefs office. This can also be supported by disclosing information through local radio stations. Other preffered modes include

- Visiting VMGs household under the guidance of local leadership for disclosure at household level. Upon doing this, hard copies of the information can be left at the households.

Key stakeholder proposed the following modes.

- Placing the information in KPLC or MOE website.

- Workshops and seminars

## STAKEHOLDER ENGAGEMENT PLAN AND GRIEVANCE MANAGEMENT POST-ESIA

The rationale for this Stakeholder Engagement Plan (SEP) is to ensure that the stakeholders’ involvement, participation and commitment in making decision in the project activities is well implemented.

Stakeholder engagement is an inclusive process conducted throughout the project life cycle. Where properly designed and implemented, it supports the development of strong, constructive and responsive relationships that are important for successful management of a project’s environmental and social risks in the entire life cycle.

Communication is critical to transmission of clear concise and factually correct information, either through inter-personal communication or communication with a group of persons. Some of the key risks to poor communication for this phase of the project include:

  - Reduced community buy-in on critical project needs such as material sources;

  - Misinformation on project activities, impacts and outcomes resulting in disagreement and in heightened cases, demonstrations (non-violent and violent) by aggrieved communities;

  - Growing opposition to the project and its staff;

  - Increased costs and serious delays in project implementation due to stakeholder and community objections to the project.

### Principles/Objectives of Stakeholder engagement Plan

- Principles/Objectives

Stakeholder engagement is usually informed by a set of principles that define core values underpinning interactions with stakeholders. Key principles to guide the Stakeholder Engagement under this project are:

- Creating an atmosphere for a two-way dialogue that gives all parties an opportunity to exchange views, listen and have the issues satisfactorily addressed;

- Promoting inclusivity through broad participation of the project affected persons and interested parties by creating appropriate avenues for stakeholder participation;

- Giving attention to special groups including people with disabilities, the elderly, the youth, women, children and the minority/marginalised groups;

- Encouraging open and meaningful dialogue that respects and upholds community’s belief, values and opinions without intimidation, coercion, manipulation and interference;

- Demonstrating commitment through identification, recognition and engagement with all stakeholder timeously in a format and language that is easily understandable;

- Respecting the rights, cultural beliefs, values, traditions, community decision-making processes and interest of all stakeholders;

- Exercising transparency when responding to community concerns in a timely, open, and effective manner;

- Developing a clear mechanism for receiving, documenting and responding to stakeholders’ concerns and grievances.

### Stakeholder Identification and Mapping

Stakeholders are classified in the following two categories;

- Project Affected Persons (PAPs)-  Stakeholders who have a direct impact on or are directly impacted by the project.

- Interested Parties- Stakeholders who have an indirect impact or are indirectly impacted by the project

“Stakeholder mapping” is a process of examining the relative influence that different individuals and groups have over a project as well as the influence of the project over them. The purpose of stakeholder mapping is to:

- Identify each stakeholder group;

- Study their profile and the nature of the stakes;

- Understand each group’s specific issues, concerns as well as expectations from the project

- Gauge their influence on the project;

In line with the nature of the project and its setting in Ali Kune, the stakeholders have been identified and listed in the table given below;

Table 5-1: Identified stakeholders

| Stakeholder Category | Stakeholder Group | Connection to the KOSAP | Consultation tool |
| --- | --- | --- | --- |
| Project Affected Persons | Local Community | - Local communities to be affected either directly or indirectly by the project - Vulnerable Individuals and Households - Health institutions - Education institutions | Public Meeting - 2 public meetings were held in Alikune Village shopping centre on 29/10/2021 and 21/5/2021. Focus Group Discussions (FGD) - The FGDs were conducted with the men, women, youth. Key Informant Interviews (KII) - The KIIs for Alikune Primary school and Dispensary were conducted through one-on-one interviews. The Assistant chief was also interviewed on the Community Profile of Alikune. |
| Interested Parties | National Government and county government | National Government are of primary importance in terms of establishing policy - County government are also of primary importance in county energy requirements and proposed interventions - They will play an important role in implementation and sustainability of the project | Meeting A meeting was held with the Alikune County Governor and county officials |

The significance of a stakeholder group is categorized considering the magnitude of impact (type, extent, duration, scale and frequency) or degree of influence (power and proximity) of a stakeholder group and urgency/likelihood of the impact/influence associated with the particular stakeholder group in the project context. The magnitude of stakeholder impact/influence is assessed taking the power/responsibility and proximity of the stakeholder group and the group is consequently categorized as negligible, small, medium or large. The urgency or likelihood of the impact on/influence by the stakeholder is assessed in a scale of low, medium and high. The overall significance of the stakeholder group is assessed as per the matrix provided in the Table below.

Table 5-2:Stakeholder Significance and Engagement Requirement

|  |  | Likelihood of Influence on/ by Stakeholder |  |  |
| --- | --- | --- | --- | --- |
|  |  | Low | Medium | High |
| Magnitude of impact | Negligible | Negligible | Negligible | Negligible |
|  | Small | Negligible | Minor | Moderate |
|  | Medium | Minor | Moderate | Major |
|  | Large | Moderate | Major | Major |

### Approach for Stakeholder Engagement Plan

The first approach to an effective stakeholder engagement is to determine who the stakeholders are, who will be adversely affected by potential environmental and social impacts of the project, who are the most vulnerable among the potentially impacted and whether special engagement efforts would be necessary, at which stage of project development stakeholders will be most affected, what are the various interests of project stakeholders, their expectations and what level of influence they might have on the Project, which stakeholders might help to enhance the project design or reduce project costs.

Stakeholders have been, and will continue to be, identified. At this stage, stakeholders identified consists primarily of those who have been engaged during the initial phase of the project, specifically with regard to obtaining the required approvals to commence the feasibility studies and the identification and securing of land for the project.

### Monitoring

Stakeholder engagement monitoring will be a continuous function aimed at providing the project and relevant stakeholders with regular feedback and clear indicators of the progress or lack thereof in the achievement of intended results. The project will engage in continuous monitoring throughout the project lifecycle to track actual performance of the Stakeholder Engagement Plan in compliance with the national requirement and World Bank Standards. Ali Kune community will be consulted and be involved at all times during the monitoring of this plan.

Monitoring will be done internally through inspections and performance audits. Key monitoring activities will include collecting and analysing data on stakeholder’s engagement activities and recommending corrective measures.

Monitoring will be effected through internal inspections and performance audits. Information of stakeholder engagement activities will be recorded to track progress and establish relevant controls. The project shall conclude the procedures for participatory monitoring of the SEP based on the intended targets.

### Reporting

Documentation, reporting and maintenance of good records are important aspects to any engagement process. The effectiveness and efficiency of documentation may lead to perceived transparency in the overall engagement process. All interactions with the Ali Kune community members and interested stakeholders will be recorded through minutes of meetings, field reports and/or photographs among other tools.

Reporting to stakeholders is an important practice to resolving potential project risks and to ensuring that the engagement objectives are achieved. The project will provide periodic reports to the affected communities and interested stakeholders on various aspects of this stakeholder engagement plan. Relevant reports to be communicated to the affected communities and the relevant stakeholders include progress on community development planning and general project progress at planning, construction and operation. The project will also document and report on grievance related matters. The frequency of reports and the necessary documentations will depend on the project environment. However, it is largely expected that reporting will be done daily, weekly, monthly, annually and during community meetings.

## Stakeholder Analysis

The stakeholder influence and priority have both been primarily rated as:

- High Influence: This implies a high degree of influence of the stakeholder on the project in terms of participation and decision making or high priority to engage with the stakeholder;

- Medium Influence: Which implies a moderate level of influence and participation of the stakeholder in the project as well as a priority level to engage the stakeholder which is neither highly critical nor are insignificant in terms of influence; and

- Low Influence: This implies a low degree of influence of the stakeholder on the project in terms of participation and decision making or low priority to engage that stakeholder.

The intermediary categories of low to medium or medium to high primarily imply that their influence and importance could vary in that particular range subject to context specific conditions or also based on the responses of the project towards the community.

The coverage of stakeholders as stated above includes any person, group, institution or organization that is likely to be impacted (directly or indirectly) or may have interest/influence over project. Keeping this wide scope of inclusion in stakeholder category and the long life of project, it is difficult to identify all potential stakeholders and gauge their level of influence over project at the outset of the project. Therefore, the project proponent is advised to consider this stakeholder mapping as a live document which should be revised in a timely manner so as to make it comprehensive for any given period of time.

Table 5-3: Summary of Stakeholder Influence

| Stakeholder Category | Category | Sub Category | Magnitude of Influence | Urgency/Likelihood of Influence | Overall rating of stakeholder rating |
| --- | --- | --- | --- | --- | --- |
| Interested parties | Government | National Government County Government | Large | High | Major |
|  | National regulatory bodies | NEMA | Large | Medium | Major |
| Project affected persons | Individuals and households | VMGs and socially disadvantaged groups | Medium | High | Major |
|  | Institutions | Education and Health institutions | Medium | Low | Minor |

## Summary of Stakeholder Engagement During the Land Identification Process

A Consultative meeting was held with the Alikune community on 29th October, 2021 which was attended by over 30 participants, to discuss the details of the proposed mini-grid project, the project’s land requirements, the impacts of the project and grievance redress. Focus Group Discussions were also carried out separately with men, women and the youth. The FGDs were to allow the groups to freely express themselves and to ensure that they understood the project.

The outcome of the community meeting and the FGDs included the following:

Table 5-4 Issues raised during Land identification stakeholder engagement.

|  | Issue | Question/concern | Response |
| --- | --- | --- | --- |
| 1. | Project information | This is the first time we are seeing Kenya Power in our area. How genuine is the project or will it be an Empty promise. What is the difference between Kenya Power and World Bank | - Engineer Mwakina This is a government project from the Ministry of Energy Funded by World Bank |
| 2 | Employment | -will the project generate jobs for the community. Will our youths be employed for unskilled jobs. Another question I know government projects take time will this one be implemented or it will take years to implement | Job will be open to all groups, Mem, Women and the Youth The project will follow the normal government process but will eventually be implemented |

In conclusion, the community resolved to provide land for the project, the GRC nominees were validated, and officials were elected to lead in the identification of project land and sign the land forms on behalf of the community.

Minutes of the meeting are appendixed at the end of this report(Appendix 3).

## KEY FEEDBACK RECEIVED DURING eia STAKEHOLDER CONSULTATION PROCESS

The general stakeholder consultation was done in a public meeting (Baraza) organized at the Ali Kune Market on 29th Oct 2021. The meeting was chaired by the area chief assisted by the chief officer. The feedback received during the stakeholder consultation process have been summarized below:

Benefits of the Project

- The community was in support of the project. They noted that the project will beneficial to the community as it will:

  - improve their livelihood and enhance their living standards

Community Requests

- The community requested the following from the project:

- The project should be implemented soon to upgrade the lifestyle of the locals.

- The job opportunities should be given to the locals.

Table 5-5: Stakeholder Engagement Photo template.

| Public participation “Baraza” Session |  |
| --- | --- |
| Focused Group Discussion with the Men |  |
| Focused Group Discussion with Women |  |

The table below presents the issues /comments raised by the stakeholders during the public meeting and the responses given by the proponent and the consultant.

Table 5-6: Summary of issues raised during public participation

| no | Issue | concerns | Response by the project team |
| --- | --- | --- | --- |
| 1. | Compensation in kind project | The headteacher requested that the compensatory project should be to repair the pipes of water from the borehole to the school since the school does not have water and it is a boarding school. He also requested for an additional classroom for the lower primary. | In response, the representative from Ministry of Energy stated that the team will visit the institution and assess it. |
| 2 | Compensation in kind project | Ebla requested that the compensatory project be a water project due to the problem of water in the area. He stated that the animals and people compete for water at the same borehole since the other borehole collapsed. | In response, the consultant stated that the project will be considered. |

# Analysis of Alternatives and Project Justification

This section analyses the project alternatives in terms of site and technology. Solar projects are non -polluting energy generation projects which are site specific and dependent on the availability of solar irradiance resource. The current site selected is a high solar power potential site with high irradiation and consistent sunny days throughout the year.

## Present Power Supply Position

In Garissa County, only 1.5 per cent of the population have access to electricity. Ministry of Energy has installed solar systems in health facilities, schools and watering points. Other sources of energy such as biogas and solar are used on a limited scale both at 0.3 per cent. The county government of Garissa needs to invest in solar power which remains a sustainable option for lighting up rural and remote areas of the country and that the sector has the potential to drive economic development in the county. With an arid climate and a vast desert landmass, Garissa is geographically optimal for harnessing the solar power.

## Land identification criteria

Minigrid Sites under KOSAP were selected based on a number of factors.

1.Geophysical Factors-Proximity to Hills-Shade effect, Soil erosion, Drainage of the area, Flooding etc.

2. Land identified is free from any dispute on ownership or any other encumbrances

3.Proximity to public utilities-Schools, Dispensaries, Places of worship and community settlements

4. No squatters, encroachers or other claims to the land

5.The Size of the Minigrid to be constructed and the optimal coverage of a Minigrid in terms of the number of people to be reached.

6. The Land identified should be on spaces set aside for public use within the community centres.

The land was identified by the beneficiary communities and confirmed by technical staff to be suitable for the sub-project and free from any environmental or health risks. The impacts on the Community will be marginal and will not result in displacement of households or cause loss of household’s incomes and livelihood.

The site identified was considered against the criteria highlighted above and was found suitable for Minigrid construction.

## Alternate Location for Project Site

In determining the most appropriate site for the establishment of the minigrid, several options were explored. This site selection process considered the following criteria:

- The availability of primary resources required for the operation of the minigrid, such as Sun

- Availability of land to locate the site and associated infrastructure;

- The availability and accessibility of infrastructure for the provision of services, manpower and social structure for the construction and operation of the power plant;

- General environmental acceptability in terms of social impacts, water utilization, general ecology, etc.

Ali Kune was identified as the most suitable area for the establishment of the proposed minigrid based on the following factors:

Primary Resource: Ali Kune village receives sunlight up to 8 hours a day, the availability of sun makes it suitable for a solar mini grid. The community is further marginalised with no electricity grid connectivity compared to other regions in the country

Grid Connection: A grid connection with enough capacity and material was recommended due to the anticipated increasing demand in solar energy. This eliminates the need to overhaul the grid connection when the population increases in Ali Kune location.

## Alternate Method of Power Generation

The possible alternatives to electrical energy could be solar power, wind power, thermal power, fossil fuel and firewood. Power import from neighbouring countries is another option. Wind power is also a source of clean energy.

The problems in operation of wind power are lack of time series data of wind, trained human resources to intricate design of wind power etc. In addition, providing wind power for Ali Kune residents is technically and financially challenging.

Thermal power plants are associated with serious environmental problems like air pollution, waste pollution, noise pollution, temperature pollution etc. Besides coal and petroleum products, the basic input required for the conventional thermal power plants will have to be imported. Therefore, thermal power option based on coal and petroleum products is not a viable option for Ali Kune.

The use of firewood and solid waste for electricity generation by the use of thermal technology is another option. But the issue of air pollution and forest degradation already are environmental problems of serious concern which will further aggravate the natural environment. For these reasons, the thermal power options evaluated above seem inappropriate for Ali Kune on environmental as well as economic grounds.

Solar energy was a desirable option because:

- It has low energy-production costs

- Versatile installation

- It is a clean source of energy hence minimal impact on the environment air quality

- Economic savings.

## Alternative Sources of Energy

### Thermal Power Generation

Thermal power through installation of Diesel Gen Sets is an option which can be considered to provide power to Alikune. This would need more than 250-300litres of Industrial Diesel Oil (IDO) is burnt daily to generate targeted 200kWp of electricity at Alikune. Thermal generation can also be fueled using alternative fuels such as natural gas, bio diesel, industrial kerosene, heavy vehicle fuel, coal and unleaded petrol. Thermal power generation has serious negative environmental impacts including generation hence the need for the KPLC to install the proposed solar power plant.

### Hydro Electric Power – HEP

This would mean exploring the possibility of extending the existing national grid to Ali Kune since there are no hydro facilities within the region to facilitate HEP generation. The proposed project is quite far from the national grid hence this is a costly venture and may take time before the residents need power for their livelihood.

### Other Sources of Energy:

Wood fuel is the greatest source of Energy contributing to 80% of energy requirements in Africa. Over reliance on wood has led to deforestation, desertification, global warming and climatic change among other socio – economic demerits. The Government of Kenya should look into the possibility of using nuclear energy to generate electricity. This is a long-term consideration and also has several deleterious effects to the environment and human health. Nuclear Waste disposal will also create a huge environmental challenge.

Based on this discussion the proposed solar Mini-grid presents the most appropriate option of electrifying/ bringing power to Alikune in terms of technology, cost and environmental considerations.

## Zero or No Project Alternative

The No Project option in respect to the proposed project implies that the status quo is maintained. This option is the most suitable alternative from an extreme environmental perspective as it ensures non-interference with the existing conditions. This option will however, involve several losses both to Ali Kune village and Dadaab as a whole. The village and the surrounding area will continue to have no electricity and this will not help in maximizing and utilizing the area facilities. The No Project Option is the least preferred from the socio-economic and partly environmental perspective due to the following factors:

- The economic status of the local people would remain unchanged. [

- Employment opportunities will not be created.

From the analysis above, it becomes apparent that the No Project alternative is no alternative to the local people, Kenyan Government and Investors.

The No Project option in respect to the proposed project implies that the status quo is maintained. This option is the most suitable alternative from an extreme environmental perspective as it ensures non-interference with the existing conditions. This option will however, involve several losses both to Alikune village and the community as a whole. The target PAPs will stay without electricity and the government objectives of bring electricity in order to open up the area and provide better public services will not be realized. The No Project Option is the least preferred from the socio-economic and partly environmental perspective due to the following factors:

- The socio-economic status of target communities the local economy would remain unchanged.

- Generation of employment opportunities through expansion of business activities that would have been spurred by availability of electric power will not occur

- Opening up the area for investors will not occur.

- Health benefits that come with electricity will not be realized

- The targeted consumers will forgo the desired electricity supply in the area

- The country won’t meet its energy requirement

- The objectives of the government’s efforts towards achieving Vision 2030 will not be realized.

From the analysis above, it becomes apparent that the no project alternative means no project to the local people and the Government of Kenya and the benefits outlined above and other indirect benefits that would accrue from construction of the proposed project.

It is thereby concluded that the ‘do-nothing’ option is not a good option economically and should therefore be discouraged and rejected. It is therefore imperative for KPLC to establish a new solar mini-grid in the area and supply the community with clean energy.

## Analysis of Alternative Construction Materials and Technology

The proposed solar Mini-grid will be constructed using modern, locally and internationally accepted materials to achieve public health, safety, security and environmental aesthetic requirements. Equipment that guarantees efficient use of locally available materials will be encouraged to ensure reliability in supply with minimum power loss and good design to allow efficient distribution of power in the area.

The support structures in the Solar Mini-grid can be wooden or steel. Because of its durability and strength, steel is the best choice and all support structures will be steel. Perimeter fence can be a reinforced wire mesh fixed to support structures that can be wooden, concrete or steel. Alternatively, a stone perimeter wall can be constructed and this is the option of choice since it is more durable, offer better protection and requires less maintenance.

The design of the solar mini-grid will be easy to install and dismantle with minimum labor requirements and maintenance costs will be minimal. The process material that are input for the proposed project such as generator diesel fuel and oil and water for cooling the generator and for cleaning purposes are critical elements. There is no alternative for generator oil and water for standby generator cooling and for mini-grid facilities cleaning water. So, the task was to assess alternative water and Diesel generator oils and fuel sources for the project.

## Solid Waste Management Alternatives

Solid wastes will be generated from the proposed project. An integrated solid waste management system is recommendable. First, KPLC will give priority to reduction at source of the materials. This option will demand a solid waste management awareness program in the management and the staff. Recycling and reuse options of the waste will be the second alternative in priority. This will call for a source separation program to be put in place. The third priority in the hierarchy of options is combustion of the waste that is not recyclable. Finally, KPLC will need to establish partnership with NEMA approved waste handlers for regular waste removal and disposal in an environmentally-friendly manner. In this regard, a NEMA registered solid waste handler would have to be engaged. This is the most practical and feasible option for solid waste management.

## Conclusion

Based on the above-mentioned suitability criteria and technical requirements, the proponent decides to put up the Solar Mini-grid within Ali Kune. Relocation option to a different site is an option available to the proponent. The project proponent can look for alternative land to accommodate the scale and size of the project. However, this will be a costly venture, may take a long time although there is no guarantee that the land would be available in the targeted area. It is recommendable that the proponent be allowed to install the project in the proposed site.

# IMPACT ASSESSMENT AND MITIGATION MEASURES

## Introduction

This section provides an assessment of potential environmental and social impacts from the proposed project as well as the proposed mitigation measures to avoid, reduce, remediate or compensate for potential negative impacts and to enhance positive impacts. A description of the assessment methodology used to assess the significance of potential impacts, taking into account impact magnitude and sensitivity of receptors and resources affected, is provided below. To facilitate the reading of the ESIA, the same heading structure in terms of environmental indicators, receptors or resources affected by the project activities were considered as the ones used in the baseline and listed in section 6. All the mitigation measures identified in this chapter have been collated into the Environmental and Social Management Plan (‘ESMP’) matrix.

  - Impact Assessment Methodology

An impact is essentially any change to a resource or receptor brought about by the presence of the project component or by the execution of a project related activity. In general, the assessment of impacts will proceed through an iterative process considering four key elements:

- Prediction of potential impacts and their magnitude (i.e., the consequences of the development on the natural and social environment);

- Evaluation of the importance (or significance) of potential impacts taking the sensitivity of the environmental resources or human receptors into account;

- Development of mitigation measures to avoid, reduce or manage the potential impacts or enhancement measures to increase positive impacts; and

- Assessment of residual significant impacts after the application of mitigation and enhancement measures.

Where significant residual impacts remain, further options for mitigation may be considered and impacts re-assessed until they are as low as reasonably practicable for the project and would be deemed to be within acceptable levels:

  - Defining Impact

Impacts will be defined in a number of ways, including:

- Nature of impact: positive or negative;

- Type of impact: direct, indirect, or cumulative;

- Duration of impact: temporary, short-term, national, international

- Scale of impact: onsite, local, regional, national, international.

  - Assessment of Significance

Criteria for assessing the significance of impacts will stem from the following key elements:

- Status of compliance with relevant Kenyan legislation, policies and plans and any relevant Kenyan or industry policies, standards or guidelines, as well as international best practice standards and guidelines;

- The magnitude (including nature, scale and duration) of the change to the natural or socioeconomic environment (e.g. an increase in coastal erosion, or an increase in employment opportunities), expressed, wherever practicable, in quantitative terms. The magnitude of all impacts is viewed from the perspective of those affected by considering the likely perceived importance as understood through stakeholder engagement;

- The nature and sensitivity of the impact receptor (physical, biological, or human). Where the receptor is physical, the assessment considers the quality, sensitivity to change and importance of the receptor. For a human receptor, the sensitivity of the household, community or wider societal group is considered along with their ability to adapt to and manage the effects of the impact; and

- The likelihood (probability) that the identified impact will occur. This is estimated based upon experience or evidence that such an outcome has previously occurred.

It is generally accepted that significance is a function of the magnitude of the impact and the likelihood of the impact occurring.

For this assessment, significance has been defined based on five levels described in table below;

Table 7-1: Categories of Significance

| category | significance |
| --- | --- |
| Positive impacts | Positive impacts provide resources or receptors, most often people, with positive benefits. It is noted that concepts of equity need to be considered in assessing the overall positive nature of some impacts such as economic benefits, or opportunities for employment |
| Negligible impacts (or Insignificant impacts) | Negligible impacts (or Insignificant impacts) are where a resource or receptor (including people) will not be affected in any way by a particular activity or the predicted effect is deemed to be ‘negligible’ or ‘imperceptible’ or is indistinguishable from natural background variations. |
| Minor | An impact of minor significance (‘Minor impact’) is one where an effect will be experienced, but the impact magnitude is sufficiently small (with or without mitigation) and well within accepted standards, and/or the receptor is of low sensitivity/value. |
| Moderate | An impact of moderate significance (‘Moderate impact’) is one within accepted limits and standards. Moderate impacts may cover a broad range, from a threshold below which the impact is minor, up to a level that might be just short of breaching a legal limit. Clearly to design an activity so that its effects only just avoid breaking a law and/or cause a major impact is not best practice. The emphasis for moderate impacts is therefore on demonstrating that the impact has been reduced to a level that is ALARP (as-low-as-reasonably-possible). This does not necessarily mean that ‘Moderate’ impacts have to be reduced to ‘Minor’ impacts, but that moderate impacts are being managed effectively and efficiently. |
| Major | An impact of major significance (‘Major impact’) is one where an accepted limit or standard may be exceeded, or large magnitude impacts occur to highly valued/sensitive resource/receptors. An aim of EIA is to get to a position where the project does not have any major residual impacts, certainly not ones that would endure into the long-term or extend over a large area. However, for some aspects there may be major residual impacts after all practicable mitigation options have been exhausted (i.e., ALARP has been applied). It is then the function of regulators and stakeholders to weigh such negative factors against the positive ones in coming to a decision on the project. |

For environmental impacts the significance criteria used in this ESIA is shown in the table below .

Table 7-2: Overall Significance Criteria for Environmental Impacts

| Receptor sensitivity (or resource value) Low | Impact Magnitude |  |  |
| --- | --- | --- | --- |
|  | Low | Medium | High |
|  | Minor | Minor | Medium |
| Medium | Minor | Medium | Major |
| High | Medium | Major | Major |

For the social impact assessment, the perceptions of stakeholders, expressed as opinions around certain issues, can be as important as actual impacts. Consequently, the concept of perception is explicitly brought into the evaluation of significance after an impact is evaluated. When an impact is of significant stakeholder concern, this may be causing to raise the significance rating. This prompts the formulation of more rigorous and appropriate mitigation measures which focus on the source of the impact and also address stakeholder perceptions. The risk of not addressing stakeholder perceptions is that reputational damage could arise, resulting in the loss of a ‘social licence to operate’.

  - Magnitude of Impact

The impact assessment describes what will happen by predicting the magnitude of impacts and quantifying these to the extent practical. The term ‘magnitude’ covers all the dimensions of the predicted impact to the natural and social environment including:

- the nature of the change (what resource or receptor is affected and how);

- the spatial extent of the area impacted, or proportion of the population or community affected;

- its temporal extent (i.e., duration, frequency, reversibility); and

- where relevant (accidental or unplanned events), the probability of the impact occurring.

For biophysical impacts, the definitions for the spatial and temporal dimension of the magnitude of impacts used in this assessment are provided in Table 15

For social impacts, the magnitude considers the perspective of those affected by taking into account the likely perceived importance of the impact, the ability of people to manage and adapt to change and the extent to which a human receptor gains or loses access to, or control over, socio-economic resources resulting in a positive or negative effect on their well-being (a concept combining an individual's health, prosperity, their quality of life, and their satisfaction).

Table 17 below (under Likelihood) provides an account of the key features (definitions) of each of the impact significance classifications (from Not Significant to High); specifically linking them to the need for mitigation measures.

  - Sensitivity of Resources and Receptors

Sensitivities are defined as aspects of the natural or social environment which support and sustain people and nature. Once affected, their disruption could lead to a disturbance of the stability or the integrity of that environment. For ecological impacts, sensitivity can be assigned as low, medium or high based on the conservation importance of habitats and species. For habitats, these are based on naturalness, extent, rarity, fragility, diversity and importance as a community resource.

For socio-economic impacts, the degree of sensitivity of a receptor is defined as ‘a stakeholder’s (or groups of stakeholders’) resilience or capacity to cope with sudden changes or economic shocks. The sensitivity of a resource is based on its quality and value/importance, for example, by its local, regional, national or international designation, its importance to the local or wider community, or its economic value.

  - Likelihood

Terms used to define likelihood of occurrence of an impact are explained in the table below

Table 7-3: Explanation of Terms Used for Likelihood of Occurrence

| An impact with a |
| --- |
| High probability | Refers to a very likely impact | Refers to very frequent impacts |
| Medium probability | Refers to a likely impact | Refers to occasional impacts |
| Low probability | Refers to rare impacts | Refers to rare impacts |
|  | As far as one-time events (e.g., air emissions) or slowly developing effects are concerned (e.g., impacts on local lifestyle) | As far as possibly recurring impacts are concerned, such as accident or unplanned events (e.g., traffic accident, fire) |

  - Definition of mitigation measures

Mitigation measures are developed to avoid, reduce, remedy or compensate for significant potential negative impacts, and to create or enhance potential positive impacts, such as environmental and social benefits. In this context, the term “mitigation measures” includes operational controls as well as management actions. These measures are often established through industry standards and may include:

- Changes to the design of the project during the design process (e.g., changing the development approach);

- Engineering controls and other physical measures applied (e.g., waste water treatment facilities);

- Operational plans and procedures (e.g., waste management plans); and

- The provision of like-for-like replacement, restoration or compensation.

For potential impacts that are assessed to be of major significance, a change in design is sometimes required to avoid or reduce the significance. For potential impacts assessed to be of moderate significance, specific mitigation measures such as engineering controls are often sufficient to reduce these impacts to ALARP (‘as-low-as-reasonably-possible’) levels. This approach takes into account the technical and financial feasibility of mitigation measures. Potential impacts assessed to be of minor significance are usually sufficiently managed through good industry practice, operational plans and procedures.

In developing mitigation measures, the first focus is on measures that will prevent or minimise potential impacts through the design and management of the project rather than on reinstatement and compensation measures.

  - Assessing residual impacts

Impact prediction takes into account any mitigation, control and operational management measures that are part of the project design and project plan. A residual impact is the impact that is predicted to remain once mitigation measures have been designed into the intended activity. The residual impacts are described in terms of their significance in accordance with the categories identified in Table 15 above

Social, economic and biophysical impacts are inherently and inextricably interconnected. Change in any of these domains will lead to changes in the other domains.

## KEY ENVIRONMENTAL AND SOCIAL IMPACTS- PRE-CONSTRUCTION PHASE

### Impacts related to land acquisition

The ministry of Energy through the NLC shall acquire land for the mini-grid development and wayleaves while the contractor shall acquire land for contractor facilities such as yard and workers camp in the pre-construction phase before project begins. The proposed project will entail the acquisition of 1.044 hectares land parcel. In addition to the land for the generation assets, way-leave consent for the distribution power-lines and other facilities like storage will also be progressed before construction.

Mitigation measures

- Kenya Power & Lighting Company shall ensure that all land acquisition procedures align to the Resettlement Policy Framework prepared under this project.

- The project proponent will adequately compensate the community in kind for the land that will be acquired for the project.

- Community engagement to educate the public on the need to keep off the site because of the electrical installations and for public safety.

### Impacts related  to wayleaves acquisition

Supply of electricity will involve passing of low voltage (LV) lines to connect the customers to power. It is estimated that a total of 4.72 km of LV circuit will be constructed mainly along the road reserve and along the boundaries to supply power. A way-leave trace of 10 meters will be required along the entire power line network. The design of the distribution line will utilize the existing road reserves, however, any damage to structures, crops, community facilities and other assets will be compensated in line with the RPF provisions. If the affected persons voluntarily forego such compensation, the proponent will document such consents as voluntarily donated.

Mitigation measures

- Consultations with the community during construction of the low voltage lines

- Maintain the wayleaves along the road reserve and along the boundaries

- Community engagement to educate the public on the need to keep off the site and not to encroach way-leaves because of the electrical installations and to ensure public safety.

### Impacts related to inadequate Stakeholder identification and consultations

Several risks and social impacts may be bound to occur in various stages of the project in relation to Project information disclosure and in stakeholder consultations process. These risks influence the way the project affected persons and interested parties understand the project, their roles and responsibilities and the overall sustainability of the project. The social risks include but not limited to:

- Inexhaustive stakeholder identification, stakeholder mapping and stakeholder information needs basis.

Mitigation measures

- Prior to construction works, identify and map all primary and secondary stakeholders (the various segments of the subproject area community – men, women, PWDs, elders, religious leaders, etc., community level CSOs, sub-county level CSOs with interest in the subproject, county level CSOs with interest in the subproject etc.).

- Assess the interest of each stakeholder category in the subproject

- Assess each stakeholder category’s subproject information needs at the various subproject phases

- Risks related to disclosure of appropriate information in line with the subproject phase

Mitigation Measures

- In consultation with the identified stakeholders, prepare a stakeholder engagement plan (SEP) that is based on their locations (maps) and their information needs at the various subproject phases

- Undertake timely and prior disclosure of relevant project information to the various stakeholder categories in line with their information needs and the project phase

- Carry out robust consultations with all  identified community level (primary) stakeholders in a gender, intergenerational and culturally sensitive manner, using appropriate participatory consultative techniques

- Consult with other relevant (secondary) stakeholders (as appropriate) based on their information needs, project phase and the SEP

- Document the information disclosure and stakeholder consultation processes (including venues, dates, minutes of discussions detailing consultation agenda, issues/concerns raised for each agenda item, and responses by the implementing agency)

- Risks related to inadequate consultations with all segments of the community and exclusion of VMGs and vulnerable individuals and households in subproject activities and implementation structures

Mitigation measures

- Ensure adequate consultations prior to construction, and throughout the project cycle with all segments of the community and other relevant stakeholders. This should be based on the SEP, using appropriate consultation techniques

- Ensure all concerns or grievances raised are responded to in a timely manner.

- Risks related to establishment of subproject governance structures, e.g., selecting individuals into management or GRM committees who have not been elected by all segments of the community, or imposing people who are not trustworthy into community level leadership positions

Mitigation measures

- Consult with all segments of the community and agree on the criteria to be used to elect leaders into the subproject governance structures

- Facilitate each segment of the community to elect their representatives to the various governance structures based on the agreed criteria

- Train members of the various governance structures on their roles and responsibilities.

- Risks related to exclusion of some stakeholder categories (VMGs, minority clans, disadvantaged individuals, women, youth, PWDs) from the consultation processes and the established subproject implementation structures

Mitigation measures

- Facilitate the various stakeholder groups to establish  representative and proportionate subproject implementation structures (implementation committee, GRM Committee etc.) composed of people of integrity who have the interest of their stakeholder category at heart, while ensuring that there is no conflict of interest, e.g., one person should not represent the stakeholder category in more than one structure)

- Train the members of the implementation structures in their respective roles and responsibilities

Sensitise the various stakeholder categories on the existence, roles and responsibilities of the various implementation structures.

## CONSTRUCTION PHASE- POSITIVE IMPACTS

### Employment Opportunities

The construction, operation and maintenance of the mini-grids will provide employment opportunities for skilled and unskilled labour. Receptors in the Social area of Interest that may be able to make the most of the direct and indirect employment opportunities in the project are those who have some level of experience in formal employment, as well as those who have gained a basic education. This will be a source of income for the labourers.

Thus, anticipated benefits of the Project include Direct employment opportunities mainly during construction of the mini-grids The local community is likely to benefit from the opportunities to be created from the following:

- Civil works during construction phase including, construction of solar PV module mounting area, inverter room, internal roads, laydown areas, labour camp, distribution line; and

- Skill transfer from the contractors to the locals that will be given opportunities during the implementation of the project.

The area is characterised by major unemployment. This has affected the community members including the youths, men and woman as reported during Focused group discussion sessions. Thus, the contractor should develop and implement an employment management plan to promote local content. This will ultimately resolve conflict which can be arise if the community feels left out in employment opportunities

6.11.1.1 Impact Significance

The impact significance will be moderate due to the high impact magnitude and the low receptor sensitivity. Due to expected limited job opportunities, a few locals will get jobs at the site that will impact their lives substantially.

6.11.1.2 Enhancement Measures

- A significant segment of labour requirement during the construction phase will be sourced locally. While, the significance of the impact on employment opportunities during the construction phase is understood to be positive, the following measures should be put in place to ensure that the local community receives maximum benefit from the presence of the project;

- Preference should be provided to local labour; and

- Preference should be provided to the vulnerable population in the Study Area.

### Impact on Local Trade

Where possible, construction materials will be sourced locally in order to promote local businesses.

Thus, anticipated benefits of the Project include indirect employment generated by the procurement of goods and services for the Project; induced employment related to jobs ensuing from the expenditure of incomes. The local community is likely to benefit from the economic opportunities to be created from the following:

- Self- employment options for individuals possessing vocational or technical training skills like electricians, welders, fitters etc;

- Contracting opportunities for local’s residents including men, women and youths. During the public meeting the community insisted that all the unskilled labour force must be given to the locals.

- Creation of indirect employment for local community through establishing small shops like tea stalls, supply of intermediate raw materials, repair outlets, hardware stores etc. However, these are likely to be temporary.

6.11.2.1 Impact Significance

The impact significance will be moderate due to the high impact magnitude and the low receptor sensitivity. Due to expected limited job opportunities, a few locals will get jobs at the site that will impact their lives substantially.

6.11.2.2 Enhancement Measures

- Preference should be provided to local sub-contractors or suppliers to pass on maximum economic benefit locally;

- The project proponent will establish a mechanism to audit sub-contractors and suppliers with respect to compliance of utilizing local labour and resources.

## Construction phase -Negative IMPACTS

### Change in Land Use

The study area consists of communal land with patches of open scrubland. The internal distributions lines will be laid by Kenya Power. Considering the land use of Ali Kune area, the distribution line will be located on unregistered community land. The land procured for the project site was uncultivated, and undeveloped. The community has since offered to the land in kind for project use. The establishment of the minigrid will convert communal land to Generation and distribution of electric energy for long term.

For the purpose of assessment of impacts on land use of the area, the following project activities leading to an alteration in land use of the area during construction phase have been considered:

- Installation of PV modules;

- Establishment and operation of temporary structures such as temporary site office and store yard.

The land use receptor sensitivity criteria will be medium. This is due to the fact that there will be visual change upon installation of the minigrid. There is no major dependency for grazing or agriculture on the land offered for the project. The magnitude criteria of this impact will be medium because there will be noticeable of change over the restricted site area. The change may be medium to long term and is reversible.

Figure 5: 1.5km buffer area within which distribution lines will be installed

#### Embedded/In-built Control

- The construction activities will be restricted to within the allocated land and the immediate surroundings only.

- After construction work, any land taken for a temporary basis for storage of material will be restored to their original form.

- The existing access roads at Ali Kune will be used for access to the project site.

#### Significance of Impact

The overall impact significance on land use will be moderate. This is the case due to the fact that the receptor sensitivity is medium and the impact magnitude is medium.

#### Additional Mitigation Measures

- On completion of construction activities, land used for temporary facilities such as store yard should be restored to the extent possible;

- The land use in and around permanent project facilities should not be disturbed.

- Construction activities should be restricted to the designated area.

### Impact on Topography

The topography of the project site is an open area. There are no water bodies that pass directly through the proposed project site. Typically, solar power projects do not undertake levelling of topography and since the proposed project, along with the access road, is mostly on a flat terrain the receptor sensitivity has been assessed to be low.

Due to the flat topography, the impact magnitude has therefore been assessed as low.

#### Embedded/In built Control

The contractor will be instructed to avoid any unnecessary changes in the topography.

#### Significance of Impact

The overall impact significance will be minor. This because the impact magnitude is low and there will be no major changes to the topography and the receptor sensitivity is low.

#### Additional Mitigation Measures

- Disruption/alteration of micro-watershed drainage pattern should be minimized to the extent possible.

### Impact on Soil

#### Project Phases and Associated Activities

For impact assessment, the following phases of the project cycles were considered for potential impacts on the soil environment. The phase wise project activities that may impact the environment are described below.

Construction Phase

- Vegetation clearance and top soil removal;

- Storage of oil and lubricants onsite;

- Storage of construction materials; and

- Disposal of different type of waste generated from the temporary project site.

Operation and Maintenance Phase

- Storage of oil and lubricants onsite;

- Disposal of municipal solid waste and waste water from site office; and

- Storage of waste materials onsite.

Decommissioning Phase

- Removal of PV modules;

- Removal of associated infrastructure including battery and generators.

#### Significance of Impacts

The significance of the impact to the soil will be minor due to the nature of the works and the fact that construction and operational activities will be confined in the small project area.

#### Additional Mitigations

- Vehicles will utilize the existing roads to access the site;

- No unauthorized dumping of used oil and other hazardous waste should be undertaken at site;

- All waste should be stored in a shed that is protected from the elements (wind, rain, storms, etc.) and away from natural drainage channels;

- Solid waste should be segregated in color coded waste receptacles.

- In case of accidental/unintended spillage on small area, the contaminated soil should be immediately collected and stored as hazardous waste;

- Compacting of loose soil in excavated areas.

- Enclose the construction site and protect the soil to prevent the waste soils and other debris from being washed away by surface runoff and wind.

- All dug up soil that is not needed on-site to be removed promptly and disposed of to appropriate areas.

- Re-use the dug-up soil in backfilling and landscaping.

- Any soil potentially contaminated by chemicals, oils, fuels to be collected and disposed of by a NEMA authorized waste

### Impact on Air Quality

The assessment with respect to air quality of the study area has been done for the following project activities:

- Fugitive emissions from site clearing, excavation work, material handling etc.;

- Fugitive emission from traffic movement;

- Exhaust emission from operation of machineries like pile drivers, vehicles; and

- Point source emission from diesel generator.

#### Embedded/in-built control

Vehicle engines should be properly maintained to ensure minimization of vehicular emissions.

#### Significance of Impact

There are few receptors (Ali Kune Dispensary, Ali Kune Boarding Primary School, settlements) within 1500 m of the project site and the impact magnitude will be moderate and sensitivity medium hence the impact significance will be moderate.

Sensitive receptors of air and emissions were identified by observation during field visit to project site. They were noted to be mainly residential and commercial in nature. The distances from a source that dust impacts can occur is highly site specific and will depend on the extent and nature of incorporated mitigation measures, prevailing wind conditions, rainfall and the presence of natural screening. Therefore, the assessment of construction dust impacts is typically qualitative.

The Figure below shows a 1500m buffer within which air quality impacts are likely to be felt.

Figure 6: Receptors within a 1500m radius of project site

#### Additional Mitigation Measures

- Spraying water on soil before excavation and periodic access road wetting to reduce nuisance dust levels.

- Visual inspection of dust pollution from roads and the construction site and appropriate intervention if dust levels are high.

- Speed restriction of construction vehicles to a speed of 10-15km/h or less on the site and on the access roads to the site.

- Maintenance and servicing of machines and engines off-site.

- Grievance procedure for dust complaints.

- The use of appropriate Personal Protective Equipment (PPE) such as dust masks, in particular, for construction workers.

- All construction materials will be transported in designated trucks which will be covered.

### Impact on Ambient Noise

Most of the noise generating activities will be performed within the project site area. The construction activities will be likely to have a small to insignificant incremental impact on the existing noise levels. The sources of noise in the construction phase include construction activities, operation of generator sets and movement of vehicles. There will also be increased noise levels because of increased anthropogenic movement in the area.

Ali Kune Dispensary is within 150m from the site and will most likely be affected by increasing noise levels. The receptor sensitivity is therefore considered as medium. Impact magnitude is considered to be medium considering the construction period of the project that will last for not more than 12 months.

### Assessment Criteria for Impact on Ambient Noise

The assessment with respect to ambient noise quality of the study area has been done for the following project activities:

- Construction activities including site preparation, piling work, construction of ancillary facilities;

- Transportation of construction materials, machinery and personnel;

- Operation of generator sets; and

- Demolition activities during decommissioning phase.

The ambient noise levels have been assessed with respect to Noise Pollution (Regulation and Control) Rules, 2000 and WHO Guidelines.

#### Embedded/in-built control

Normal working hours of the contractor to be defined (preferable 0800hrs to 1700hrs). If work needs to be undertaken outside these hours, it should be limited to activities which do not generate noise.

#### Significance of Impact

The overall impact significance has therefore been assessed moderate. This due to the fact that the impact magnitude is low and the receptor sensitivity is medium.

#### Additional Mitigation Measures

- Only well-maintained equipment should be operated on-site;

- If it is noticed that any particular equipment is generating too much noise then lubricating moving parts, tightening loose parts and replacing worn out components should be carried out to bring down the noise and placing such machinery far away from the households as possible;

- Machinery and construction equipment that may be in intermittent use should be shut down or throttled down during non-work periods; and

- Minimal use of vehicle horns and heavy engine breaking in the area needs to be encouraged.

- Construction machineries should be maintained regularly to reduce noise resulting from friction;

- Normal working hours of the contractor to be defined (preferable 8am to 5pm). If work needs to be undertaken outside these hours, it should be limited to activities which do not generate noise;

- Sensitize construction truck drivers to switch off vehicle engines while offloading materials.

### Visual Intrusions and Changes in Landscape Impact

The project site is located on a flat terrain. There will be no significant change to visual quality of the area resulting from development or change in land use that will alter the landscape. Changes in the visual landscape will range from construction phase to commissioning of the minigrid and associated structures and further during operations. This project is the first major solar power project in the vicinity of project area and the new development will have impact on the surrounding area.

The project area is primarily a rural area with pastoralism as a primary activity. Although the solar panels, inverter and associated components would be manufactured off site and the construction phase would be relatively short-term in duration (less than one year), it would still require large number of equipment or infrastructure when being erected such as dumpers and transportation vehicles on site. Additionally, the presence of bare soil along the access roads would increase the potential visual impact. The significance of the visual impacts will reduce at increasing distance from the development.

The construction of the mini-grid site may involve the site clearance of vegetation (minimal vegetation at the site) and other natural attributes. The erection of the solar PV panels and the resulting glare from the sun will make it a standout feature from the natural surroundings and this would the lower the visual appeal of the area.

Even though the mini grid facilities will be small, solar panels may have minimal visual impact. However, being visible is not necessarily the same as being intrusive. Aesthetic issues are by their nature highly subjective.

#### Embedded/In-built Control

Proper siting decisions can help to avoid aesthetic impacts to the landscape. The project site is located in open area with minimal settlement around it.

#### Significance of Impact

Construction activities will mainly be inside the site footprint and will have moderate impact on the present visual environment. The sensitive receptors are the residents near the project site. The impact magnitude will however be low hence the visual change during construction phase will be assessed as minor.

#### Additional Mitigation Measures

The following mitigation measures will have to be implemented to minimise potential visual impacts during the construction phase:

- The extent of the labour camp and storage area should be limited in an area to only that which is essential;

- Minimize presence of ancillary structures on the site and minimize roads disturbance;

- Upon completion of construction work, areas utilized for labour camp, storage area to be restored to original form.

#### Impacts on Waste Generation and Soil Contamination

General construction waste generated onsite will comprise of concrete, steel cuttings/filings, packaging paper or plastic etc. solid wastes consisting of food waste, plastic, glass and waste paper will also be generated by the construction workforce. A small proportion of the waste generated during construction phase will be hazardous and will include waste fuel, grease and waste oil containing rags. Used oil which is also categorized as hazardous waste will be generated from the plant. If improperly managed, solid waste could create impacts on soil quality. Therefore, the receptor sensitivity has been assessed as medium.

The impact magnitude has been assessed as low since the proponent has managed other solar power projects as well and has effective management systems for waste and hazardous substances being generated or utilized during the project life cycle as part of their Environmental and Social Management Framework.

##### Embedded/in-built control

Hazardous material and waste should be properly labelled, stored onsite at a location provided with impervious surface and in a secondary containment system.

##### Significance of Impact

The impact significance for waste generation and soil contamination has been assessed as minor. Given the low sensitivity of the surrounding areas and the medium magnitude of the potential consequences of soil contamination, the potential impact significance is rated as minor.

##### Additional Mitigation Measures

- Contractor should ensure that no unauthorized dumping of used oil and other hazardous waste is undertaken at the site;

- Designated areas should be provided for solid waste and daily collection and period disposal should be ensured;

- Construction and demolition waste should be stored separately and be periodically collected by an authorized treatment and storage facility;

- All waste should be stored in a shed that is protected from the elements (wind, rain, storms, etc.) and away from natural drainage channels;

- A log book should be maintained for quantity and type of hazardous waste generated; and

- In case of accidental/unintended spillage, the contaminated soil should be immediately collected and stored as hazardous waste.

### Impacts on Water Resources and Water Quality

During construction, excavation activities will involve soil exposure which results in soil erosion due to wind and surface runoff due to rains. Seepage from spilled fuels and oils and leaking machinery can also negatively impact groundwater water which could lead to potential contamination. The people in Ali Kune area use water from boreholes as the main source of water and care must be exercised to avoid any pollution to the water source.

#### Embedded/In-build Control

- Appropriate remedial measures shall be implemented by the contractor in the event of erosion;

- Infrastructure shall be designed to ensure that contaminated run-off does not reach watercourses;

- In the event of an oil spill the procedures contained in the emergency response plan of the contractor will come into effect.

#### Significance of Impact

Generally, due to the localized area of impact, the overall significance of the related impacts on water quality is considered to be minor, provided the necessary mitigation/ management measures are implemented.

6.12.8.3 Additional Mitigation Measures

Measures shall be put in place to minimize erosion and sediment mobility, especially during construction. These measures include:

- Clear the necessary areas only;

- Appropriate remedial measures shall be implemented by the contractor in the event of erosion;

- Infrastructure shall be designed to ensure that contaminated run-off does not reach watercourses;

- In the event of an oil spill the procedures contained in the emergency response plan of the contractor will come into effect;

- No vehicle maintenance and service shall be done at project site but in approved garages or service stations to avoid any possible oil and fuel spills that could contaminate soils and possibly ground water quality;

- Ensure that potential sources of Petro-chemical pollution are handled in such a way to reduce chances of spills and leaks;

- Construction activities to avoid any unchanneled flow of water at the site;

- Storage areas that contain hazardous substances should be bundled with an approved impermeable liner and provision for a pit to be made in case of oil spill;

- The excavation and use of rubbish pits during construction should be strictly prohibited;

- A waste disposal area should be designated within the active construction area and this should be equipped with suitable containers i.e., skips or bins of sufficient capacity and designed to contain and prevent refuse from being blown by wind;

- Areas contaminated by spilled concrete and/or fuels and oils leaking from vehicles and machinery should be cleaned immediately;

- The contractor to source for alternative source of water for construction purposes to avoid potential conflict with the community.

## Key Social Impacts – Construction Phase

### Impact on Occupational Health and Safety

The construction activities include site preparation, infrastructure utilities installation, building structures. As a result, there will be potential impacts on workers’ health and safety due to exposure to risks through construction activities that lead to accidents causing injuries and death. The most probable risks cause of accidental death and injury are:

  - Safety risks such as: tripping; falling due to working at heights; potential fire due to hot work, smoking, failure in electrical installations; electric shocks.

  - Health risks: Injuries; temporary or hearing loss which usually comes from noise generated from machinery used for excavation or piling work and from compressors and concrete mixers etc.; heat stress and working under high temperatures.

  - Occupational hazards due to dust and noise pollution from operating of heavy machinery and vehicular movement in the project site.

  - Safety risk due to working at heights during installation of power lines

  - The minigrid site is located in ecological zones associated with flash flooding events. This poses a risk of washing away the mini-grid infrastructure including the power storage units i.e., the batteries making it necessary factor in site design considerations to mitigate against extreme flooding events.

#### Embedded/in-built control

- All construction activities will be carried out during daytime hours and vigilance should be maintained for any potential accidents;

- Personal Protective Equipment (PPEs) including safety shoes, helmet, goggles, ear muffs and face masks;

- Lifting equipment should be operated by trained and authorised persons;

- Training of the workers on climbing techniques, and rescue of fall-arrested workers;

- Excavated areas should be temporarily fenced to avoid access to outsiders.

#### Significance of Impacts

The impact on occupational health and safety during the construction phase is evaluated to be of moderate significance. All the construction activities will be confined at the project site hence high sensitivity and low magnitude.

#### Additional mitigation measures

- All workers (regular and contracted) should be provided with training on Health and Safety management system of the contractor during construction stage and EHS policies and procedures during the operation stage;

- Obtain and check safety method statements from contractors;

- Monitor health and safety performance and have an operating audit system;

- Permitting system should be implemented to ensure that lifting equipment is operated by trained and authorized persons only;

- Appropriate safety harnesses and lowering/raising tools should be used for working at heights;

- All equipment should be turned off and checked when not in use; and

- A safety or emergency management plan should be in place to account for natural disasters, accidents and any emergency situations.

### Community Health and Safety

The receptors for impacts on community health and safety include project site workers, settlements in the close proximity of the project which will be exposed to health impacts from the project activities. The construction phase activities such as installation of solar panels, construction of distribution lines and substations and movement of material and personnel may result in impacts on the health and safety of the community.

Construction activities will involve the use of machinery and installation of distribution power

lines. Furthermore, the movement of material and personnel via the access roads may result in damage to human life or livestock due to accidents. The major community health and safety risks include structural failure of project infrastructure e.g., power line, fire safety and management of emergency situations.

#### Embedded/in-built control

Consultations with the proponent team and policy review indicated that the following embedded/in built control measures will be put in place during the construction phase;

- The excavated areas will be properly fenced for safety and sign boards in local languages will be put up;

- No hazardous waste or any waste will be stored within the site for long periods of time and be in contact with the soil in order to prevent against ground water contamination

- The truck drivers carrying construction machinery and materials will be instructed to drive within speed limits with careful consideration for village traffic;

- Movement of heavy equipment and construction materials will be regulated during peak hours (0900hrs to 0500hrs).

#### Significance of Impact

Impact significance is rated as moderate considering the high impact magnitude and low receptor sensitivity.

#### Additional Mitigation Measures

The following risk mitigation measures are suggested to minimize the risks/ hazards of construction activities onsite;

- Developing an onsite ESMS and EHS Policy by the developer;

- Ensuring that the sub-contractor agreements that the developer enters into require all contractors to possess an EHS plan with provisions for monitoring of the EHS performance of contractors and their workers;

- As part of the stakeholder engagement and information disclosure process, providing an understanding to the community concerning the activities proposed to be undertaken and the precautions being adopted for safety; and

- Implementing the existing grievance redress mechanism.

### Impacts related to Labour Influx

The nature of the project will require technical skills that may not be all available in the project area. This will require movement of construction workers into the project community. With an increase in population of the project area, the social set up may be affected resulting to different negative social impacts such as competition for resources, illicit behaviour and crime (including theft and substance abuse).

#### Significance of Impact

The significance of labour influx is considered to be minor because the receptor sensitivity will be medium and the impact magnitude is low. However, except for the technically skilled personnel, most of the labour is expected to be sourced locally.

#### Additional Mitigation measures

- In contract documents for the Contractor, MOE/KPLC should make explicit reference to the need to abide by Kenyan law, international best practice and the ratified ILO conventions and MOE’s policies in relation to health and safety, labour and welfare standards.

- In selection of a Contractor, MOE/KPLC should refer to past performance in similar assignments as an indicator of future performance with respect to worker management, worker rights, health and safety as outlined in Kenyan law and international standards.

•	Regular checks by MOE/KPLC should be undertaken to ensure the relevant labour laws and occupational health and safety plans are adhered to at all times.

•	All project workers should, as part of their induction, receive training on health and safety.

•	The contractor should put in place mechanism to ensure no employee or job applicant is not discriminated against based on his or her gender, marital status, nationality, ethnicity, age, religion or sexual orientation.

•	All workers will have contracts which clearly state the terms and conditions of their employment and their legal rights. Contracts will be verbally explained to all workers where this is necessary to ensure that workers understand the provisions. Contracts must be in place prior to workers reporting to duty for the first time. The contract document will be enhanced by the Code of Conduct that will be provided by the Proponent.

•	The Contractor will put in place a worker grievance redress mechanism accessible to all workers, whether permanent or casual, directly or indirectly employed. The Proponent worker grievance mechanism shall be open to the Contractor workforce in the event that their grievance is not adequately resolved by their direct employer. The Proponent will then have the authority to act to resolve this grievance.

•	All project workers should have access to training on communicable diseases and STDs and community interactions in general. This training will be developed in collaboration with local health institutions.

•	Carry out surveillance to ensure that no children are employed in the project, and to the extent possible by third parties related to the project and primary suppliers where such risk may exist.

### Increase in competition for scarce resources and strain on public utilities

The influx of workers in the area is expected to lead to increase in demand for public amenities such as hospitals, transport, schools water resources etc. This could lead to a loss of access to these services by locals especially those who could be among the vulnerable categories. Due an increase in demand, cost of housing near the sites will disadvantage the locals.

The nature of the project will require technical skills that might not be available in the community. This might require movement of construction workers into the community. It is expected that technically skilled personnel might be sourced from outside the community while the unskilled labour is expected to be sourced locally. It is therefore a possibility that the neighboring communities might go out looking for opportunities in project area thus creating competition.

#### Embedded/In-build Control

The contractor to ensure reduction of labor influx by tapping into the local workforce to the extent possible and recruitment of local workforce to the extent possible especially unskilled and semi-skilled jobs

#### Significance of Impact

#### The significance of this impact is considered to be minor because the receptor sensitivity will be medium, and the impact magnitude is low.

#### Additional Mitigation Measures

- Consultations with and involvement of local community in project planning and other phases of the project;

- Awareness-raising among local community and workers on the need to have a good /cordial working relation;

- Sensitization/awareness to workers regarding engagement with local community;

- Contactor shall make provision to provide resources needed by the workers if the need for such resources may result to competition e.g., water;

- Establishment and operationalization of an effective Grievance Redress Mechanism accessible to community members;

- The contractor and the project/community grievance redress committee to work closely address complains raised on time;

- Gender considerations in employment opportunities;

- Appropriate compensation for work done;

- Respect for community values/culture;

- Prompt payments as per the contractual agreements/terms.

### Child labour

Implementation of the Ali Kune project could lead to increased opportunities for the host communities to sell goods and services to the incoming workers. This can lead to child labour to produce and deliver these goods and services, which in turn can lead to increased cases of school truancy and dropout.

#### Significance of Impact

The impact is rated minor. This is based on low sensitivity of the receptor and medium magnitude of the impact.

#### Mitigation measures

- The contractor should develop a code of conduct to ensure children are protected from any negative impact from the construction works.

- The contractor should strictly hire people who are above 18yrs and ensure they provide their identity cards.

- The contractor shall ensure every worker under their jurisdiction signs a document committing themselves to the protection of the children in the area.

### Impacts on Cultural Heritage

Cultural and paleontological artefacts and cultural landscapes may be disturbed by the construction of the mini grid facilities. These could include community burial sites, sacred shrines. It is expected that a number of workers will be on-site during project construction of the project including skilled, semi-skilled, and unskilled personnel. During the consultation and field survey, no cultural artefact was established at the proposed project site.

#### Significance of Impact

Based on the analysis provided above, impacts on cultural heritage during the construction phase will be minor considering low sensitivity of the receptor and low magnitude of the impact.

#### Additional Mitigation measures (Execution of a Chance Find Procedure)

In order to minimize the potential for impact to sub-surface cultural archaeological material, the proponent should establish a Chance Find Programme which includes the following provisions:

  - A chance find can be reported by any member of the project. Accordingly, if a chance find is encountered, the first course of action is to stop work in the vicinity of the find. Then the following steps will be undertaken:

  - Inform site supervisor/foreman.

  - Install temporary site protection measures (warning tape and keep off signs).

  - Inform all personnel of the Chance Find if access to any part of the work area is restricted.

  - Establish a localized no-go area needed to protect the Chance Find.

  - The National Museum of Kenya will be contacted to perform a preliminary evaluation to determine whether the Chance Find is cultural heritage and if so, whether it is an isolate or part of a larger site or feature.

  - Artefacts will be left in place when possible; if materials are collected, they will be placed in bags and labelled by an archaeologist and handed over to the National Museum of Kenya; no project personnel are permitted to take or keep artefacts as personal possessions.

  - Document find through photography, notes, GPS coordinates, and maps (collect spatial data) as appropriate.

  - If the Chance Find proves to be an isolated find or not cultural heritage, the specialists brought in from the National Museum of Kenya will authorize the removal of site protection measures and activity in the vicinity of the site can resume.

  - If the archaeological specialists from National Museum of Kenya confirm the Chance Find is a cultural heritage site, they will inform the project team and initiate discussions with the latter about treatment.

  - Prepare and retain archaeological monitoring records including all initial reports whether they are later confirmed or not.

  - Develop and implement treatment plans for confirmed finds using the services of qualified cultural heritage experts.

  - If a Chance Find is a verified cultural heritage site, prepare a final Chance Finds report once treatment has been completed.

  - While investigation is on-going, co-ordinate with on-site personnel keeping them informed as to status and schedule of investigations, and informing them when the construction may resume.

  - If mitigation is required, then expedient rescue excavations will be undertaken by the National Museum of Kenya specialist, except in the case that the chance find is of international importance (i.e., Critical Cultural Heritage). If an archaeological site of international importance is encountered special care will be taken and archaeologists with the appropriate expertise in addressing the find will be appointed.

### Gender Based Violence, SEA & SH

Gender Based Violence (GBV), Sexual Exploitation and Abuse (SEA) may be committed against the communities by the construction workers and by staff during the operation and maintenance of the mini-grid. Incidences of Sexual Harassment (SH) may occur among the staff during construction, operation and decommissioning phases of the project.

#### Significance of Impact

There are no incidences of gender-based violence in Ali Kune as identified during FGD with women. However, it cannot be ruled out during project implementation. Thus, the significance of this impact is considered to be minor considering low sensitivity of the receptor and low magnitude of the impact.

#### Mitigation measures

- Prepare an Awareness Raising Strategy, which describes how workers and local communities will be sensitized to GBV risks, and the worker’s responsibilities;

- Identify GBV Services Providers to which GBV survivors will be referred, and the services which will be available;

- Elaborate GBV Allegation Procedures i.e. How the project will provide information to employees and the community on how to report cases of GBV breaches to the GRC.

- An Accountability and Response Framework, to be finalized with input from the contractor, should include at minimum:

    - GBV Allegation Procedures to report GBV issues to service providers, and internally for case accountability procedures which should clearly lay out confidentiality requirements for dealing with cases; and,

    - A Response Framework which has:

      - Mechanisms to hold accountable alleged perpetrators associated to the project;

      - The GRM process for capturing disclosure of GBV;

      - A referral pathway to refer survivors to appropriate support services.

### Exclusion of VMGs, Vulnerable Individuals and Households

A significant risk associated with this project is the potential for the exclusion of Vulnerable and Marginalized Groups (VMGs), vulnerable and marginalized households and individuals including the elderly, PLWDs, widows, widowers, orphan-led households, minority clans/sub-clans from participating and or benefiting from the mini-grid project. VMGs participation and inclusion could be disadvantaged based on social identity, which may be across dimensions of gender, age, location, occupation, race, ethnicity, disability, sexual orientation and religion. There is potential risk of lack of intentional actions by the mini-grid contractor(s) and implementing agencies for the inclusion of VMGs in the project activities and benefits. This potentially leads to the exclusion of VMGs from the benefits and opportunities derived from the proposed mini-grid facilities.

The activities of component 1 envisages upon completion of the MG, that the relevant Implementing Agencies will connect customers from community facilities, enterprises and households to the electricity grid on a commercial basis under a market driven approach. There is a high likelihood that the targeted PAPs of the new electricity connections to the mini-grids network will be dominated by the local elites. This may lead to the exclusion of those without the financial resources to connect to the mini-grid electricity distribution network. This could result in a situation where a majority persons or households with adequate financial resources in the project area will be able to take advantage of the provision to connect to the electricity grid. This will negate a key objective of the project of overcoming energy poverty.

During the ESIA study the community identified those considered vulnerable in the community include;

- Female headed households-approximately 70

- Child headed households-approximately 20

- Persons Living with Disabilities-approximately 30

- The elderly (80 years and above)-approximately 10

- Poor people and households without livestock

#### Significance of Impact

Considering the high sensitivity of the VMGs identified in the project and high magnitude, the impact significance is considered to be major. However, it important to into account the project site inhabitants are predominantly the Somali community.

#### Mitigation measures

- Participation will be through meetings with the different groups of the vulnerable people identified primarily to ensure that;

      - The VMGs are aware of the project and its impacts

      - The VMGs are aware of any restrictions and negative impacts

      - Provide support to VMG participation arrangements in the project

- Confer with the VMGs at the outset on how they wish to be engaged

- Understand and respect local entry protocols as they relate to permission to enter a community and access traditional lands

- Commit to open and transparent communication and engagement from the beginning and have a considered approach in place

- Ensure that all representatives of the contractor and proponent staff carrying out the specific sub project investment including third party sub-contractors and agents are well briefed on local customs, history and legal status, and understand the need for cultural sensitivity

- Regularly monitor performance in engagement

- Enlist the services of reputable advisers with good local knowledge

- Implement the existing grievance redress mechanism

### Risk of Communicable Diseases; HIV/AIDS

The construction, operation and maintenance of the mini-grid will lead to increased migration of labour into the project area. Local communities can be exposed to increased risk of communicable diseases such as HIV/AIDS through risky behaviours involving job seekers and people employed on the project.

#### Significance of Impact

Based on the fact that the receptor sensitivity will be medium and the impact magnitude low, the impact significance will be moderate pre-mitigation.

#### Mitigation measures

- The Contractor should develop and implement pre-employment screening measures for workers, which should include applicable diseases. Individuals found to be suffering from these diseases will need to be sensitized on prevention of transmission to others and management of the disease prior to mobilisation to site.

- The Contractor should develop and implement a HIV/AIDS and other STIs policy and an information document for all workers directly related to the Project. The information document should address factual health issues as well as behaviour change issues around the transmission and infection of HIV/AIDS and other STIs.

- The Contractor will make condoms available to employees and communities neighbouring the site office during construction.

- All project personnel should be inducted on a Code of Conduct that gives guidelines on worker-worker interactions, worker-community interactions and development of personal relationships with members of the local communities.

- If workers are found to be in contravention of the Code of Conduct, which they will be required to sign at the commencement of their contract, they will face disciplinary action including dismissal from duty.

### Increased Water Demand

During the construction of the project there will be increased demand for water by the construction workers and the construction works. Water will be mostly used in the construction works and for wetting surfaces or cleaning completed structures. It will also be used by the construction workers for domestic purposes.

#### Significance of Impact

Although the sensitivity of the receptor (surface water) in the project area is high owing to unavailability of feasible alternative source of water for the local community, the overall significance of impacts is assessed to be negligible due to negligible magnitude of the impact.

#### Mitigation Measures

- Prudent use of available water;

- Consultations with the project local committee on use of water in the community to avoid conflicts with the community;

Contractor to make own arrangements to provide water for construction works different from the community dam to avoid any conflicts with community

### Energy Consumption

The construction works will consume fossil fuels (mainly diesel) to run transport vehicles and construction machinery. Fossil energy is non-renewable and its excessive use may have serious environmental implications on its availability, price and sustainability.

#### Significance of Impact

This impact will be negligible owing to the size of the project that will require very few trucks during the construction phase.

Mitigation Measures

Proper planning of transportation of materials will ensure that fossil fuels (diesel, petrol) are not consumed in excessive amounts. Complementary to these measures, the contractor shall monitor energy use during construction and set targets for reduction of energy use.

- Regular maintenance of vehicles to ensure efficient consumption of fuels.

## Operation phase - Positive Impacts

### Impact on Local Economy and Employment

Community consultations and observations made during the site visit suggest that the existing scenario of the agriculture in the study area is not capable enough to meet requirements of the people who are solely dependent upon it; especially due to limited water availability and growing population.

During the operations phase, the requirement for unskilled and semi-skilled labour is expected to reduce to 5 and 15 respectively. The locally procured services will include maintenance work of the facility, 24-hour security, bush and undergrowth cleaning and housekeeping activities. In addition to this, the community will improve their livelihood and businesses by using the electricity from the project.

#### Significance of Impact

The overall impact significance of the impact on economy and employment during the operations phase is Major, the receptor sensitivity will be medium and the impact magnitude will be high.

#### Enhancement Measures

While, the significance of the impact on economy and employment opportunities during the operations phase is understood to be positive, the following measures should be put in place to ensure that the local community receives maximum benefit from the presence of the project:

- Priority should be provided to local labour or suppliers to pass on maximum economic benefit locally;

- Opportunities should be provided to the vulnerable population in the Study Area.

### Improvement of Local and National Economy

The mini-grid project will ensure supply of a stable power that will reduce damage to the electronics and this will result in promotion of businesses both in the formal and informal sectors. Availability of power will enable businessmen to scale up their businesses while making it is possible to set up businesses such as salons, barber shops, photocopying machines, cyber cafes, welding, refrigeration of drinks among others. This will result in income improvements at the individual level and for the national economy. More customers will be connected and retail of reliable electricity by the power utility firm will attract increased tax revenues to the government.

#### Impact Significance

The impact significance is low as it will buy few materials over a long period of time

#### Enhancement Measures

- KPLC should ensure that their contractors/suppliers remit taxes and have a tax compliance certificate;

- Priorities local purchases over imports;

- Remit taxes on behalf of employees.

### Education improvement

Access to electricity at the household level and schools will create opportunities for children be able to study even for longer hours. Additionally, children in households can also access education programs being aired through different radio and T.V. channels. Schools will be able to take advantage of information technology and communication that are becoming a way of life in education sector and learning in general.’

#### Significance of impact

The impact significance is high as it will provide power to schools over a long period for additional study time in the night and morning

#### Enhancement Measures

- KPLC should consider having the transmission lines are closer to schools for them to benefit from the power supply;

- KPLC should consider partnering with the county government in providing street lighting to improve security for children and teachers leaving for school early or leaving late for home.

### Health Benefits of the Project

Solar energy for lighting is better than kerosene lamps that are in use currently. This is because kerosene lamps emit particles that cause air pollution. The health risks posed by this indoor air pollution mainly include acute lower respiratory infections. Additionally, insufficient illumination (low light) conditions can cause some degree of eye strain and reading in these conditions over long periods of time may have the potential to increase the development of nearsightedness in children and adults.

#### Significance of impact

The project will result in many families replacing kerosene lamps for lighting with electricity there-by reducing chances of the afore mentioned disease incidences hence the impact significance will be high.

#### Enhancement Measures

- KPLC should ensure that electricity is always available, reliable and affordable to Alikune residence.

### Improved Standard of Living

Availability of power will result in lifestyle changes through improved night lighting, pumping of water instead of manual pumping and refrigeration to maintain food safety and quality.

#### Significance of impact

Impact significance will be high due to improved living standards.

#### Enhancement Measures

- KPLC should consider providing reliable of solar energy in Alikune area.

### Improved Security

The area will benefit from improved security since houses, businesses and public institutions will be well lit using electricity. This is as a result of more security flood lights bulbs which helps keep off opportunistic crimes including gender-based violence.

#### Significance of impact

The impact significance is high as the project will improve security situation of Alikune area.

#### Enhancement Measures

- KPLC should consider partnering with the county government in providing street lighting to improve security of the area.

### Communications

Access to electricity will lead to improved communication. This will be enabled by the fact that charging of mobile phones will be easier and cheaper. Access to mass media like radio and T.V will provide opportunity for the households to access a wide range of information, which is useful for decision-making.

#### Significance of impact

The impact significance is high since Alikune community will have access to information cheaply.

#### Enhancement Measures

- KPLC should partner with other network service provider to improve the network situation of Alikune area.

## Operation phase – Key negative environmental Impacts

### Impact on Soil

#### Soil compaction and Erosion

In the operation phase, soil compaction and erosion may occur due to vehicle movement, which only happens during the occasional maintenance activities. Soil compaction for the operation phase has therefore been considered to be infrequent and low. Since the chances of soil compaction and erosion during the O&M phase are less, the impact magnitude is assessed to be small.

##### Embedded/in-built control

Vehicles will utilise the existing access road to undertake maintenance activities at the solar plant.

##### Significance of Impact

The overall impact significance on soil erosion and compaction has been assessed as negligible. Both the receptor sensitivity and the impact magnitude will be low.

##### Additional Mitigation Measures

No further mitigation measures are suggested as embedded/in-built control will be sufficient to reduce the impact on soil environment.

#### Waste Generation and management

During operation phase, the waste generated from project includes domestic solid waste building and substation and hazardous waste like waste oil and lubricants and oil containing jutes and rags will be generated during maintenance activities.

The quantity of hazardous and non-hazardous waste generated will be much lesser quantity than during the construction phase. Thus, the receptor sensitivity Impact magnitude has been assessed to be small.

#### Embedded/in-built control

The waste generated will be disposed of through approved NEMA waste handlers.

The hazardous wastes will be stored onsite at separate designated covered area provided with impervious flooring and disposed through NEMA approved hazardous waste handler.

During operation phase, the quantity of municipal waste and hazardous waste generated is less and probability of the hazardous waste generation is only during plant maintenance and therefore occasional. The waste generated would be routed through proper collection and containment.

##### Additional Mitigation measures

- The contractor shall develop a Solid Waste Management Plan in accordance with the guidelines.

- All project staff will be trained on this plan and attendance will be recorded.

- Preparation and implementation of a Waste Management Plan (WMP) will be done.

- Fuel shall be stored on site in temporary above ground storage tanks.

- Adhere to Kenyan laws and regulations applicable to waste management and the MSDS.

- Proper waste segregation and colour coding of the waste receptacles.

- Provision of temporary ablution facilities and ensure treatment and/or removal of sewage wastes off site.

- Hazardous wastes such as damaged solar panels and batteries that contain heavy metals shall be collected and stored prior to disposal offshore at a licensed facility as per the requirements of the solid waste management plan. This will be done by a Licenced NEMA Waste Handler.

- Any Solar Panel or batteries removed from the array for disposal will first be collected and stored in the covered 10ft container before being disposed off.

- Hazardous waste shall be shipped offshore to a facility licensed by NEMA to handle hazardous waste.

- Maintain all waste tracking documents (transportation, treatment and disposal)

- Solid Waste Management Code of Practice will be integrated into SOP

#### Significance of Impact

The overall impact significance on land due to waste disposal during O&M phase has been assessed as minor due to medium sensitivity and low magnitude.

#### Additional Mitigation Measures

- Municipal domestic waste generated at site to be segregated onsite;

- Ensure hazardous waste containers are properly labelled and stored onsite provided with impervious surface, shed and secondary containment system;

- Ensure routinely disposal of hazardous waste through NEMA approved waste handlers and records are properly documented; and

- Maintain all the waste tracking documents (transport, treatment and disposal)

- The overall impact significance on land due to waste disposal during O&M phase has been assessed as minor.

- Disposal of hazardous wastes shall be done strictly as per the conditions of authorisation granted by NEMA.

- Ensure hazardous waste is properly labelled, stored onsite at a location provided with impervious surface, shed and secondary containment system.

### Impact on Water Environment

Water is required during operation phase to meet domestic requirements of O&M staff and for cleaning solar panels. For that purpose, the water requirement will most likely be sourced from existing local water vendors in the nearby area. During operation phase, there will be no wastewater generation from the power generation process.

Discussions with the residents in Ali Kune confirmed that water is a major concern in the area with the village relying on one borehole.

Since the project is likely to generate very little or negligible amount of wastewater during the O&M phase, the impact on water resources will be negligible as there will be no perceptible or readily measurable change from baseline conditions.

#### Embedded/in-built control

Planning of toilets and waste collection areas should be away from natural drainage channels;

#### Significance of Impact

Although the sensitivity of the receptor in the project area is high owing to unavailability of feasible source of water for the local community, the overall significance of impacts is assessed to be negligible due to negligible magnitude of the impact.

#### Additional Mitigation Measures

- Ensure proper cover and stacking of loose construction material to prevent surface runoff and contamination of receiving water point;

- The workforce will be given training towards proactive use of designated areas/bins for waste disposal and encouraged to use toilets. Open defecation and random disposal of sewage shall be strictly restricted;

- Construction workers to be sensitised about water conservation and encouraged use of water optimally;

- Regular inspection for identification of water leakages and preventing wastage of water from water supply tankers.

- Recycling/reusing water to the extent possible.

- The contractor should provide portable/mobile toilets for use on site.

### Waste Generation and management

During operation phase, the waste generated from project includes domestic solid waste, sanitary waste and hazardous waste like waste oil and lubricants and oil containing jutes and rags will be generated during maintenance activities. Hazardous waste will also be generated from maintenance works e.g., Batteries, damaged panes etc.

The quantity of hazardous and non-hazardous waste generated will be much lesser quantity than during the construction phase. Thus, the receptor sensitivity Impact magnitude has been assessed too small.

#### Significance of Impact

The overall impact significance on land due to waste disposal during O&M phase has been assessed as minor due to medium sensitivity and low magnitude.

#### Embedded/in-built control

The waste generated will be disposed of through approved NEMA waste handlers.

The hazardous wastes will be stored onsite at separate designated covered area provided with impervious flooring and disposed through NEMA approved hazardous waste handler.

During operation phase, the quantity of municipal waste and hazardous waste generated is less and probability of the hazardous waste generation is only during plant maintenance and therefore occasional. The waste generated would be routed through proper collection and containment.

#### Additional Mitigation measures

- The Contractor shall develop a Solid Waste Management Plan in accordance with the guidelines;

- All Project staff will be trained on this plan and attendance will be recorded;

- Preparation and implementation of a Waste Management Plan (WMP) will be done;

- Fuel shall be stored on site in temporary above ground storage tanks;

- Adhere to Kenyan laws and regulations applicable to waste management and the MSDS;

- Proper waste segregation and colour coding of the waste receptacles;

- Provision of temporary ablution facilities and ensure treatment and/or removal of sewage wastes off site;

- Hazardous wastes such as damaged solar panels and batteries that contain heavy metals shall be collected and stored prior to disposal offshore at a licensed facility as per the requirements of the solid waste management plan. This will be done by a Licenced NEMA Waste Handler;

- Any Solar Panel or batteries removed from the array for disposal will first be collected and stored in the covered 10ft container before being disposed off;

- Hazardous waste shall be shipped to a facility licensed by NEMA to handle hazardous waste;

- Maintain all waste tracking documents (Transportation, treatment and disposal);

- Solid Waste Management Code of Practice will be integrated into SOP.

### Fire Outbreaks

Carelessness and negligence both at the solar mini-grid and by the PAPs of electricity may cause fires.

#### Significance of Impact

With the mitigation measures in place the impact is evaluated to be of moderate significance due to high sensitivity and low magnitude.

#### Mitigation Measures

- The power plant must contain firefighting equipment (Portable fire extinguishers) of recommended standards and in key strategic points;

- Detection/alarm systems that can detect fire should be considered and installed;

- A fire risk assessment and evacuation plan should be prepared and posted at strategic points and should include procedures to take when a fire is reported;

- Workers especially operators of the plant must be trained on firefighting and management;

- ‘No smoking’ signs shall be posted within the Mini-grid area;

- A fire Assembly point should be identified and marked.

### Impact on Water quality and demand

Water is required during operation phase to meet domestic requirements of O&M staff and for cleaning solar panels. For that purpose, the water requirement will most likely be sourced from existing local water vendors in Alikune area. During operation phase, there will be no wastewater generation from the power generation process.

The demand for water during operation phase will be lesser than that used in construction. However, some amounts of water will be needed in wiping of the panels and use at the solar plant facility. Therefore, caution need to be exercised to ensure prudent use of water.

Discussions with the residents in Alikune confirmed that water is a major concern in the area. As noted earlier, the local community rely on underground water/boreholes that are seasonal. Therefore, the receptor (water resource) sensitive is assessed as high.

Since the project is likely to generate very little or negligible amount of wastewater during the O&M phase, the impact on water resources will be negligible as there will be no perceptible or readily measurable change from baseline conditions.

#### Embedded/in-built control

Planning of toilets and waste collection areas should be away from natural drainage channels;

#### Significance of Impact

Although the sensitivity of the receptor (surface water) in the project area is high owing to unavailability of feasible alternative source of water for the local community, the overall significance of impacts is assessed to be negligible due to negligible magnitude of the impact.

#### Additional Mitigation Measures

- Ensure proper cover and stacking of loose construction material to prevent surface runoff and contamination of receiving water point;

- The workforce will be given training towards proactive use of designated areas/bins for waste disposal and encouraged to use toilets. Open defecation and random disposal of sewage shall be strictly restricted;

- Construction workers to be sensitised about water conservation and encouraged use of water optimally;

- Regular inspection for identification of water leakages and preventing wastage of water from water supply tankers;

- Recycling/reusing water to the extent possible;

- The contractor should provide portable/mobile toilets for use on site.

### Increased Oil Consumption

The proposed Mini-grid shall consume fuel/oil in the process of backing up the solar energy required. The fuel is produced mainly through non-renewable resources, implying this will have adverse impacts on these non-renewable resources base and their sustainability.

#### Significance of Impact

The impact will be of minor significance.

#### Mitigation Measures

To ensure efficient energy consumption during the operation phase of the project, the contractor to install an energy-efficient lighting system at the project site facilities. This will contribute immensely to energy saving during the operational phase of the project. In addition, the plant operators will be sensitized to ensure energy efficiently in their daily operations.

### Increased Storm Water Flow

The panels, building roofs and pavements of the proposed Mini-grid will lead to increased volume and velocity of storm water or run-off flowing across the area covered by the solar panels during operation phase. This will lead to increased amounts of storm water entering the drainage systems.

#### Significance of the impact

The impact will be of minor significance.

#### Mitigation Measures

- Construct the drainage system in a way to follow natural drain of the water;

- Concrete only the required area and leave the rest of the land with vegetation like grass;

- Construct rain harvesting system on the control buildings/office and harness into storage tanks for use.

### Noise, Vibration and EMF

Negligible noise and vibration will be produced during operation phase of the project and would be from the backup generator. Electric magnetic fields are only anticipated during operation period, but these are negligible.

#### Significance of Impacts

Impact significance of noise and vibration will be negligible if the generator will be serviced regularly.

The exposure to would be little EMFs is highly negligible because the EMFs produced by the electrical installation are low. Consequently, the study does not anticipate impacts of EMFs.

#### Mitigation Measures

The generator room should be made sound proof to ensure no noise of a nuisance level will be produced. The contractor should also monitor noise levels by taking tests and putting in appropriate measures.

### Landscape and Visual Impacts

The solar panels will be spread over a horizontal form with a maximum height of 2m above the ground level. The current use of land surrounding site is animal grazing. The permanent change of current landscape to area spread with solar panels will have potential visual impact for nearest habitations and passers.

#### Significance of Impacts

It is important to note that whether the visual impact is seen as positive or negative is highly subjective, and people’s attitude towards and perception of the visual impacts associated with the any project including solar power project. The project and its surrounding area are new for such developmental project and will have visual impacts during initial period of Project and the same will disappear over a period of time. Based on the above, significance of visual impact on landscape during operation phase of the project has been assessed as minor due to low receptor sensitivity and impact magnitude being medium.

#### Suggested mitigation measures

The following mitigation measures are proposed to reduce the visual impacts on the surroundings during operational phase:

- Signage related to the mini-grid must be discrete and confined to entrance gates;

- The footprint of the operations and maintenance facilities, as well as parking and vehicular circulation, should be clearly defined, and not be allowed to spill over into other areas of the site;

- Construction of fencing or compound wall around the project boundary;

- Landscaping area around the site with the participation of the local community.

### Collision and Electrical hazards from Distribution Infrastructure

A number of birds’ species were identified during the impact assessment. These include Hunter's Sunbird, common ostrich (stuthio Camelus), African Cuckoo (Cucus Gularis), lappet-faced vulture, isabelline wheatear among others.

The distribution lines and poles can potentially constitute an electrocution and collision hazard to birds. Some birds may also utilize the distribution towers for nesting.

#### Embedded/ in-built Control

There are no embedded controls to prevent birds from roosting/nesting on distribution poles and colliding with distribution wires.

#### Significance of Impacts

The receptor sensitivity is low and the impact magnitude will be medium hence the minor impact significance.

#### Additional Mitigation Measures

The following mitigation measures will further reduce the impact significance on avifaunal species:

- Design of distribution towers should be such so as to minimize the risks of electrocution of birds;

- The distribution poles should be raised with suspended insulators in order to reduce the electrocution of bird species; and

- Marking overhead cables using bird-flight deterrents and avoiding use in areas of high bird concentrations of species.

### Dust emissions

During operation phase not much dust will be generated from the facility but wind and dust storms are potential impacts.

#### Significance of Impacts

This impact will be negligible because there will be no activities on site that will have the potential to generate dust.

#### Mitigation Measures

- Trees can be planted around the plant/facility provided they do not cast shadows to the solar panels to act as wind breakers and hence decrease dust pollution;

- Ensure planting of grass around and within the facility compound.

### Vehicle exhaust emissions

Exhaust emissions are likely to be generated by the vehicles coming to the facility though on a low risk.

#### Impact significance

Due to the low magnitude of the impact and the low sensitivity, the significance will be minor.

#### Mitigation Measures

- Drivers of the vehicles must be sensitized so that they do not leave vehicles idling so that exhaust emissions are lowered;

- Company vehicles should be well maintained.

## Operations Phase - Key Social Impacts

### Impact on Occupational Safety and Health

During the operation phase, maintenance and repair will be done on the site. Therefore, there will be potential impacts on workers’ health and safety due to exposure to risks through such activities that lead to accidents causing injuries and death. The most probable risks cause of accidental death and injury are:

- Safety risks such as: tripping; falling due to working at heights; potential fire due to hot work, smoking, failure in electrical installations; electric shocks.

- Health risks: Injuries such as: lifting, lowering, pushing, pulling and carrying; heat stress and working during high temperatures;

- Safety risk due to working at heights during installation of power lines;

- Exposure of workers to electro-magnetic field (EMF) during operation and maintenance of the mini-grids.

#### Embedded/in-built control

- All maintenance activities will be carried out during daytime hours and vigilance should be maintained for any potential accidents;

- Personal Protective Equipment (PPEs) including safety shoes, helmet, goggles, ear muffs and face masks;

- Lifting equipment should be operated by trained and authorized persons;

- Training of the workers on climbing techniques, and rescue of fall-arrested workers.

#### Significance of Impacts

Because the maintenance activities will be conducted less frequently, the impact magnitude on occupational Safety and Health will be low. Considering that the accidents may result in injuries and death, the sensitivity is considered to be High. Therefore, the significance is Moderate.

#### Additional mitigation measures

- All workers (regular and contracted) should be provided with training on Health and Safety management system of the contractor during construction stage and EHS policies and procedures during the operation stage;

- Obtain and check safety method statements from contractors;

- Monitor health and safety performance and have an operating audit system; and

- Permitting system should be implemented to ensure that the lifting equipment is operated by trained and authorized persons only;

- Appropriate safety harnesses and lowering/raising tools should be used for working at heights;

- All equipment should be turned off and checked when not in use; and

- A safety or emergency management plan should be in place to account for natural disasters, accidents and any emergency situations.

### Impact on Community Safety and Health

The receptors for impacts on community health and safety include settlements in the close proximity of the project which will be exposed to health impacts from the project activities. The operation phase activities that involve maintenance of the mini-grid components may result in impacts on the health and safety of the community.

The major community health and safety risks include electrocution, structural failure of project infrastructure e.g., power line, fire safety and management of emergency situations.

#### Embedded/in-built control

Consultations with the proponent team and policy review indicated that the following embedded/in built control measures will be put in place during the construction phase;

- The mini-grid site will be properly fenced for safety and sign boards in local languages will be put up.

#### Significance of Impact

Impact significate is rated as moderate considering the high impact magnitude and low receptor sensitivity.

#### Additional Mitigation Measures

The following risk mitigation measures are suggested to minimize the risks/ hazards of operation activities;

- Implementing the existing grievance redress mechanism;

- The local community recommended that a technical operator should be stationed within or near the site in order to handle emergencies in the event that they occur.

### Gender Based Violence, SEA & SH

Gender Based Violence (GBV), Sexual Exploitation and Abuse (SEA) may be committed against the communities by the staff during the operation and maintenance of the mini-grids. Incidences of Sexual Harassment (SH) may occur among the staff during operation and phase of the project. During the FGD with the women, it was noted that the most common form of GBV in Alikune area is intimate partner violence that mainly affects married people, Early marriages and psychological violence among women.

#### Significance of Impact

Thus, the significance of this impact is considered to be Major but if the mitigation measures will be put in place, the magnitude of the impact will be moderate to low.

#### Mitigation measures

- Prepare an Awareness Raising Strategy, which describes how the staff and local communities will be sensitized to GBV risks, and the staff’s responsibilities;

- Identify GBV Services Providers to which GBV survivors will be referred, and the services which will be available;

- Elaborate GBV Allegation Procedures i.e. How the project will provide information to employees and the community on how to report cases of GBV breaches to the GRM.

- An Accountability and Response Framework, to be finalized with input from the contractor, should include at minimum:

    - GBV Allegation Procedures to report GBV issues to service providers, and internally for case accountability procedures which should clearly lay out confidentiality requirements for dealing with cases; and,

    - A Response Framework which has:

      - Mechanisms to hold accountable alleged perpetrators associated to the project;

      - The GRM process for capturing disclosure of GBV;

      - A referral pathway to refer survivors to appropriate support services.

### Exclusion of VMGs, Vulnerable Individuals and Households

A significant risk associated with this project is the potential for the exclusion of Vulnerable and Marginalized Groups (VMGs), vulnerable individuals and households including the elderly, PLWDs, widows, widowers, orphan-led households, minority clans/sub-clans from participating and or benefiting from the mini-grids project. VMGs participation and inclusion could be disadvantaged based on social identity, which may be across dimensions of gender, age, location, occupation, race, ethnicity, disability, sexual orientation and religion. There is potential risk of lack of intentional actions by the mini-grids contractor(s) and implementing agencies for the inclusion of VMGs in the project activities and benefits. This potentially leads to the exclusion of VMGS from the benefits and opportunities derived from the proposed mini-grid facilities.

There is a high likelihood that the targeted PAPs of the new electricity connections to the mini-grids network will be dominated by the local elites. This may lead to the exclusion of those without the financial resources to connect to the mini-grid electricity distribution network. This could result in a situation where a majority persons or households with adequate financial resources in the project area will be able to take advantage of the provision to connect to the electricity grid. This will negate a key objective of the project of overcoming energy poverty.

#### Significance of Impact

Considering the high sensitivity of the VMGs identified in the project and high magnitude, the impact significance is considered to be major. However, it is important to put into account the project site inhabitants are predominantly the Somali community.

#### Mitigation measures

In line with the provisions of the ESMF, VMGF and Social Assessment ensure the following.

- Early identification and inclusion of VMGs and disadvantaged groups.

- Meaningful consultation to effectively participate in the project.

- Timely and prior disclosure of relevant project information to VMGs and disadvantaged groups.

- Adequate and ongoing consultations with VMGs and disadvantaged groups in line with the SEP.

- All concerns or grievances raised are fully resolved in a timely manner.

- Access to culturally appropriate project benefits and opportunities

- Participation will be through meetings with the different groups of the vulnerable people identified primarily to ensure that;

    - The VMGs are aware of the project and its impacts

    - The VMGs are Aware of any restrictions and negative impacts

    - Provide support to VMG participation arrangements in the project

- Commit to open and transparent communication and engagement from the beginning and have a considered approach in place

- Ensure that all representatives of the contractor and Proponent staff carrying out the specific sub project investment including third party subcontractors and agents are well briefed on local customs, history and legal status, and understand the need for cultural sensitivity

- Regularly monitor performance in engagement

- Enlist the services of reputable advisers with good local knowledge

- Implement the existing grievance redress mechanism

### Risk of Communicable Diseases

The operation and maintenance phase of the mini-grids will lead to increased migration of labour into the mini-grid sites. Local communities can be exposed to increased risk of communicable diseases such as HIV/AIDS, STIs and COVID-19 through risky behaviours involving job seekers and people employed on the project.

#### Significance of Impact

Based on the fact that the receptor sensitivity will be medium and the impact magnitude low, the impact significance will be Moderate pre-mitigation.

#### Mitigation measures

- The Contractor should develop and implement pre-employment screening measures for workers, which should include communicable diseases. Individuals found to be suffering from these diseases will need to be sensitized on prevention of transmission to others and management of the disease prior to mobilisation to site;

- The Contractor should develop and implement a Communicable Diseases Policy and an information document for all workers directly related to the Project. The document should address factual health issues as well as behaviour change issues around the transmission and infection of diseases;

- The Contractor will make condoms available to employees;

- All project personnel should be inducted on a Code of Conduct that gives guidelines on worker-worker interactions, worker-community interactions and development of personal relationships with members of the local communities;

- If workers are found to be in contravention of the Code of Conduct, which they will be required to sign at the commencement of their contract, they will face disciplinary action including dismissal from duty;

- Sensitize all community segments and project workers on Covid 19 and precautionary measures that need to be observed;

- Restrict site access to only Authorised persons; and

- Continuously adhere to the MoH, WHO and World Bank guidelines on Covid-19 management.

### Risks related to poor or inadequate stakeholder engagement (Conflict)

During operation of the project there are grievances that may arise from community and other stakeholders related to poor or inadequate engagement of stakeholders and other need for information or challenges in using power by the community. Therefore, the contractor will design and implement a grievance redress mechanism to deal with grievances. The grievance redress mechanism committee should also include representatives from the community.

#### Significance of Impact

With the implementation of the mitigation measures the impact significance is minor to negligible.

#### Mitigation measures

- Employ from the community to the extent possible;

- Engage the community members and other stakeholders in a timely manner;

- Work closely with the GRM committee members in solving the conflicts;

- Solve all conflicts/grievances at the earliest time possible;

- Ensure all grievances are logged and closed;

- Monitoring the pattern of grievances to come up will long term measures.

## Decommissioning Phase- Positive Impacts

### Employment Opportunities

Once the project has served its purpose it will then be decommissioned. This will involve demolition and removal of the facility. During demolition, unskilled, semi-skilled and skilled employment opportunities will be available to the public.

### Site Rehabilitation

After demolition of the proposed project, rehabilitation of the project site will be carried out to restore it to its original status or to a better state than it was. This will include replacement of topsoil and re-vegetation which will lead to restoration of the visual, vegetative and aesthetic state of the site.

## Decommissioning Phase -negative impacts

Preparation for decommissioning

The solar power plant may be decommissioned due to various reasons and there are impacts that will need to be mitigated. Once the KPLC makes the decision for decommissioning the following will be required;

- Prepare a Decommissioning Plan and submit to NEMA and the County Governments of Garissa to obtain approval for implementation.

- Implement the decommissioning plan including backfilling, revegetation, disposal of waste material, recycling of recyclable material among others

Some of the negative impacts associated with the proposed project during its decommissioning phase include;

### Impact on Soil

The project activities that may impact the environment during the decommissioning phase are described include: removal of PV modules, and removal of associated infrastructure including battery and generators.

#### Significance of Impacts

The significance of the impact to the soil will be minor due to the nature of the works and the fact that the decommissioning activities will be confined in the small project area.

#### Additional Mitigations

- Vehicles will utilize the existing roads to access the site;

- No unauthorized dumping of used oil and other hazardous waste should be undertaken at site;

- All waste should be stored in a shed that is protected from the elements (wind, rain, storms, etc.) and away from natural drainage channels;

- Solid waste should be Segregated in color coded waste receptacles;

- In case of accidental/unintended spillage on small area, the contaminated soil should be immediately collected and stored as hazardous waste;

- Compacting of loose soil in excavated areas;

- Enclose the demolition site and protect the soil to prevent the waste soils and other debris from being washed away by surface runoff and wind;

- Any soil potentially contaminated by chemicals, oils, fuels to be collected and disposed of by a NEMA authorized waste handler.

### Impact on Air Quality

The assessment with respect to air quality of the study area has been done for the following project activities:

- Fugitive emissions from site demolitions and demolition waste handling etc.;

- Fugitive emission from traffic movement;

- Exhaust emission from operation of machineries like pile drivers, vehicles; and

- Point source emission from diesel generator.

#### Embedded/in-built control

Vehicle engines need to be properly maintained to ensure minimization in vehicular

emissions.

#### Significance of Impact

There are few Receptors (settlements) within 500 m of the project site and the impact magnitude will be medium and sensitivity medium hence the impact significance will be moderate.

#### Additional Mitigation Measures

- Periodic access road wetting to reduce nuisance dust levels.

- Visual inspection of dust pollution from roads and the demolition site and appropriate intervention if dust levels are high.

- Speed restriction of the vehicles to a speed of 10-15km/h or less on the site and on the access roads to the site.

- Maintenance and servicing of machines and engines off-site.

- Grievance procedure for dust complaints.

- The use of appropriate Personal Protective Equipment (PPE) such as dust masks, in particular, for the site workers.

- All demolition wastes will be transported in designated trucks which will be covered.

### Impact on Ambient Noise

The sources of noise in the decommissioning phase include demolition activities, operation of generator sets and movement of vehicles. There will also be increased noise levels because of increased anthropogenic movement in the area.

#### Assessment Criteria for Impact on Ambient Noise

The assessment with respect to ambient noise quality of the study area has been done for the following project activities:

- Demolition activities;

- Transportation of demolition wastes materials, machinery and personnel;

- Operation of generator sets; and

#### Embedded/in-built control

Normal working hours of the contractor to be defined (preferable 0800hrs to 1700hrs). If work needs to be undertaken outside these hours, it should be limited to activities which do not generate noise.

#### Significance of Impact

The impact significance has therefore been assessed minor. This due to the fact that the impact magnitude is low and the receptor sensitivity is medium.

#### Additional Mitigation Measures

- Only well-maintained equipment should be operated on-site;

- If it is noticed that any particular equipment is generating too much noise then lubricating moving parts, tightening loose parts and replacing worn out components should be carried out to bring down the noise and placing such machinery far away from the households as possible;

- Machinery and equipment that may be in intermittent use should be shut down or throttled down during non-work periods; and

- Minimal use of vehicle horns and heavy engine breaking in the area needs to be encouraged.

- The machineries should be maintained regularly to reduce noise resulting from friction;

- Normal working hours of the contractor to be defined (preferable 8 am to 5pm). If work needs to be undertaken outside these hours, it should be limited to activities which do not generate noise;

- Sensitize the truck drivers to switch off vehicle engines while loading materials.

### Impacts on Waste Generation and Soil Contamination

General demolition waste generated onsite will comprise of concrete, steel cuttings/filings, packaging paper or plastic etc. solid wastes consisting of food waste, plastic, glass and waste paper will also be generated by the workforce. A small proportion of the waste generated during construction phase will be hazardous and will include waste fuel, grease and waste oil containing rags. Therefore, the receptor sensitivity has been assessed as medium.

##### Embedded/in-built control

Hazardous material and waste should be properly labelled, stored onsite at a location provided with impervious surface and in a secondary containment system.

##### Significance of Impact

The impact significance for waste generation and soil contamination has been assessed as minor. Given the low sensitivity of the surrounding areas and the medium magnitude of the potential consequences of soil contamination, the potential impact significance is rated as minor.

##### Additional Mitigation Measures

- Contractor should ensure that no unauthorized dumping of used oil and other hazardous waste is undertaken at the site;

- Demolition Waste should be stored separately and be periodically collected by an authorized treatment and storage facility;

- All waste should be stored in a shed that is protected from the elements (wind, rain, storms, etc.) and away from natural drainage channels;

- A log book should be maintained for quantity and type of hazardous waste generated; and

- In case of accidental/unintended spillage, the contaminated soil should be immediately collected and stored as hazardous waste.

## Decommissioning Phase - Key Social Impacts

### 7.19.1  Impact on Economy and Employment

The major social impacts associated with the decommissioning phase are linked to the loss of jobs and associated income. This has implications for the households who are directly affected, including their families. However, the impacts are likely to be limited due to relatively small number of permanent employees who will be affected.

Impact magnitude is considered to be small considering the decommissioning period to last for a short duration.

#### Significance of Impact

The overall impact significance is envisaged to be Minor due to low sensitivity and medium magnitude.

#### Additional Mitigation Measures

The decommissioning phase will require removal of machinery, workers and other temporary structures. The mitigation measures for decommissioning shall include the following:

- Notify the GRC, Local leadership, the County Government reps of the specific jobs and the skills required for the Project;

- Prioritize the employment of unskilled labour from the local communities;

- Prioritize the procurement of goods and services from within Garissa County;

- Develop and implement a fair and transparent employment and procurement policy;

- Advertise all jobs and tenders. (The jobs can be advised through local administrative offices, GRC meetings);

- Ensure gender mainstreaming during employment;

- The contractor shall inform the workers and local community about the duration of work; and

- Reduction of worker will be done phase wise and corresponding to completion of each activity.

### Impact on Occupational Health and Safety

There will be potential impacts on workers’ health and safety due to exposure to risks through demolition activities that lead to accidents causing injuries and death. The most probable risks cause of accidental death and injury are:

  - Safety risks such as: tripping; falling due to working at heights; potential fire due to hot work, smoking, failure in electrical installations; electric shocks.

  - Health risks: Injuries such as: lifting, lowering, pushing, pulling and carrying; temporary or hearing loss which usually comes from noise generated from machinery used for demolition; heat stress and working during high temperatures

  - Occupational hazards due to dust and noise pollution from operating of heavy machinery and vehicular movement in the project sites;

  - Risks of road accidents during the transportation of material and equipment to and from the project sites.

#### Embedded/in-built control

- All demolition activities will be carried out during daytime hours and vigilance should be maintained for any potential accidents;

- Personal Protective Equipment (PPEs) including safety shoes, helmet, goggles, ear muffs and face masks;

#### Significance of Impacts

The impact on occupational health and safety during the decommissioning phase is evaluated to be of moderate significance. All the construction activities will be confined at the project site hence high sensitivity and low magnitude.

#### Additional mitigation measures

- All workers (regular and contracted) should be provided with training on Health and Safety management system of the contractor during decommissioning stage and EHS policies and procedures during the operation stage;

- Obtain and check safety method statements from contractors;

- Monitor health and safety performance and have an operating audit system; and

- Permitting system should be implemented to ensure that lifting equipment are operated by trained and authorized persons only;

- Appropriate safety harnesses and lowering/raising tools should be used for working at heights;

- All equipment should be turned off and checked when not in use; and

- A safety or emergency management plan should be in place to account for natural disasters, accidents and any emergency situations.

### Gender Based Violence, SEA & SH

Gender Based Violence (GBV), Sexual Exploitation and Abuse (SEA) may be committed against the communities by the workers. Incidences of Sexual Harassment (SH) may occur among the staff during decommissioning phases of the project. During the FGD with the women, they made it clear that they do experience GBV within their community, the most common form of GBV being Intimate partner GBV. This may exacerbate during project decommissioning while the women are searching for jobs and those giving the jobs may ask for sexual favours.

#### Significance of Impact

The significance of this impact is considered to be Major but if the mitigation measures will be put in place, the magnitude of the impact will be moderate to low.

#### Mitigation measures

- Prepare an Awareness Raising Strategy, which describes how workers and local communities will be sensitized to GBV risks, and the worker’s responsibilities;

- Identify GBV Services Providers to which GBV survivors will be referred, and the services which will be available;

- Elaborate GBV Allegation Procedures i.e. How the project will provide information to employees and the community on how to report cases of GBV breaches to the GRM.

- An Accountability and Response Framework, to be finalized with input from the contractor, should include at minimum:

- GBV Allegation Procedures to report GBV issues to service providers, and internally for case accountability procedures which should clearly lay out confidentiality requirements for dealing with cases; and,

- A Response Framework which has:

- Mechanisms to hold accountable alleged perpetrators associated to the project;

- The GRM process for capturing disclosure of GBV;

- A referral pathway to refer survivors to appropriate support services.

### Exclusion of VMGs, Vulnerable Individuals and Households

A significant risk associated with this project is the potential for the exclusion of Vulnerable and Marginalized Groups (VMGs), vulnerable individuals and households including the elderly, PLWDs, widows, widowers, orphan-led households, minority clans/sub-clans from participating and or benefiting from the mini-grids project. VMGs participation and inclusion could be disadvantaged based on social identity, which may be across dimensions of gender, age, location, occupation, race, ethnicity, disability, sexual orientation and religion. There is potential risk of lack of intentional actions by the mini-grids contractor(s) and implementing agencies for the inclusion of VMGs in the project activities and benefits. This potentially leads to the exclusion of VMGS from the benefits and opportunities during the decommissioning phase.

#### Significance of Impact

Considering the high sensitivity of the VMGs identified in the project and high magnitude, the impact significance is considered to be major. However, it is important to put into account the project site inhabitants are predominantly the Somali community.

#### Mitigation measures

In line with the provisions of the ESMF, VMGF and Social Assessment ensure the following.

- Early identification and inclusion of VMGs and disadvantaged groups.

- Meaningful consultation to effectively participate in the project.

- Timely and prior disclosure of relevant project information to VMGs and disadvantaged groups.

- Adequate and ongoing consultations with VMGs and disadvantaged groups in line with the SEP.

- All concerns or grievances raised are fully resolved in a timely manner.

- Access to culturally appropriate project benefits and opportunities

- Participation will be through meetings with the different groups of the vulnerable people identified primarily to ensure that;

    - The VMGs are aware of the project and its impacts

    - The VMGs are Aware of any restrictions and negative impacts

    - Provide support to VMG participation arrangements in the project

- Commit to open and transparent communication and engagement from the beginning and have a considered approach in place

- Ensure that all representatives of the contractor and Proponent staff carrying out the specific sub project investment including third party subcontractors and agents are well briefed on local customs, history and legal status, and understand the need for cultural sensitivity

- Regularly monitor performance in engagement

- Enlist the services of reputable advisers with good local knowledge

- Implement the existing grievance redress mechanism

### Risk of Communicable Diseases

The decommissioning of the mini-grid may lead to increased migration of labour into the mini-grid site. Local communities can be exposed to increased risk of communicable diseases such as HIV/AIDS, STIs and COVID-19 through risky behaviours involving job seekers and people employed on the decommissioning of the project.

#### Significance of Impact

Based on the fact that the receptor sensitivity will be medium and the impact magnitude low, the impact significance will be Moderate pre-mitigation.

#### Mitigation measures

- The Contractor should develop and implement pre-employment screening measures for workers, which should include communicable diseases. Individuals found to be suffering from these diseases will need to be sensitized on prevention of transmission to others and management of the disease prior to mobilisation to site;

- The Contractor should develop and implement a Communicable Diseases Policy and an information document for all workers directly related to the Project. The document should address factual health issues as well as behaviour change issues around the transmission and infection of diseases;

- The Contractor will make condoms available to employees and communities neighbouring the site during decommissioning;

- All project personnel should be inducted on a Code of Conduct that gives guidelines on worker-worker interactions, worker-community interactions and development of personal relationships with members of the local communities;

- If workers are found to be in contravention of the Code of Conduct, which they will be required to sign at the commencement of their contract, they will face disciplinary action including dismissal from duty;

- Sensitize all community segments and project workers on Covid 19 and precautionary measures that need to be observed;

- Restrict site access to only Authorised persons; and

- Continuously adhere to the MoH, WHO and World Bank guidelines on Covid-19 management.

    - Child labour and forced labour

During decommissioning phase of the mini-grid the risk of forced labor and child labour is likely to occur and precaution is needed to safe guard the community from being subjected to forced labor.

      - Significance of Impact

The impact significance is rated minor, based on low sensitivity of the receptor and medium magnitude of the impact.

      - Mitigation measures

- Contractor must adhere to the employment Act which outlaws any form of forced labor

- Community to report any form of forced labor at the site

- Contractor to ensure that all workers have a national ID card or documentation to show they are adults (above 18 years).

    - Impacts related to labour influx

During project decommissioning phase, technical skills that may not be all available in the project areas. This will require movement of construction workers into the project community. With an increase in population of the project area, the social set up may be affected resulting to different negative social impacts such as illicit behaviour and crime (including prostitution, theft and substance abuse).

      - Significance of Impact

The significance of this impact is considered to be minor because the receptor sensitivity will be medium and the impact magnitude is low. However, except for the technically skilled personnel, most of the labour is expected to be sourced locally.

      - Additional Mitigation measures

- In contract documents for the Contractor, MOE/KPLC should make explicit reference to the need to abide by Kenyan law, international best practice and the ratified ILO conventions and MOE’s policies in relation to health and safety, labour and welfare standards;

- All project personnel should be inducted on a Code of Conduct that gives guidelines on worker-worker interactions, worker-community interactions and development of personal relationships with members of the local communities;

- If workers are found to be in contravention of the Code of Conduct, which they will be required to sign at the commencement of their contract, they will face disciplinary action including dismissal from duty;

- In selection of a Contractor, MOE/KPLC should refer to past performance in similar assignments as an indicator of future performance with respect to worker management, worker rights, health and safety as outlined in Kenyan law and international standards;

- Regular checks by MOE/KPLC should be undertaken to ensure the relevant labour laws and occupational health and safety plans are adhered to at all times;

## Cumulative Impacts

### Cumulative Impact Assessment

It was observed during the site survey that there are no other similar solar projects within the projects site. Therefore, it is assumed that there will be no cumulative impacts from the above mentioned projects on the local soil, water, land, air and ambient noise environment.

## Social Protection

There will adequate mechanisms in place to protect local vulnerable population especially women and minors from risks associated with influx of workers (harassment, underage sex). This system will ensure having security on site provided by the contractor as well as sensitization and enforcement by the contractor. There will also be a code of conduct established for contractor employees and contract workers acknowledging a zero-tolerance policy towards child labor and child sexual exploitation. Additionally, the contractor will employ their skilled staff and apply unskilled construction labor from the local population as far as possible to minimize on influx of foreigners into the community.

## Social Inclusion

Gender Mainstreaming

Projects usually affect women and men differently, and their roles are highly delineated. The project shall ensure that both men and women are equally consulted about the project and benefit from employment and other opportunities the project will present.

In addition, among communities, some groups are faced with barriers that prevent them from fully participating in political, economic, and social life. Disadvantage is often based on social identity, which may be derived from gender, age, economic status, ethnicity, disability, among other factors. These factors make some groups of people more vulnerable to project impacts than others alongside posing barriers to accessing project benefits. Thus, development projects affect people differently but vulnerable groups are more severely affected than those that are better off.  In this project, some groups of the society that can be categorized as the vulnerable. These include the very poor, poor female-headed households, poor children headed households, the poor elderly and the special needs persons (disabled). To ensure social inclusion and social sustainability, deliberate effort must be made to ensure the vulnerable take advantage of the project benefits as well as shielding them adverse impacts of the project.

# ENVIRONMENTAL AND SOCIAL MANAGEMENT AND MONITORING  PLAN (ESMP)

## environmetal and social management AND MONITORING plan

Environmental and Social Management and Monitoring Plan (ESMMP) for development projects provides a logical framework within which identified negative environmental and socio–economic impacts can be mitigated and monitored. The ESMMP has been developed to be used as tool to manage the environmental and social impacts that the activities of the proposed project will cause. The contractor before construction will make reference to this ESMMP and develop specific implementation plans. In addition, the ESMMP assigns responsibilities of actions to various actors and provides a timeframe within which mitigation measures and monitoring can be done.

The key objectives of the ESMMP are:

- To monitor the implementation of mitigation measures against potential adverse impacts of construction and operation phases of the project to ensure that they conform and comply with relevant environmental and social policies, guidelines and legislation

- To assess for emerging non-anticipated adverse environmental and social impacts and implement relevant mitigation measures to maintain them within acceptable levels

- To maintain best practice in environmental, social health and safety during project construction and operation

The ESMMP outlined below addresses the identified potential negative impacts and mitigation measures of the proposed Mini-grid during pre-construction, construction, operational and decommissioning phases, based on the chapter of Environmental Impacts and Mitigation Measures of the potential negative impacts.

## Monitoring

Monitoring denotes a systematic process of collecting, analyzing and using information to track the progress of implementation of the ESMMP including coming up with measures to address any emerging issues. Monitoring of the ESMMP will involve recording information to track performance and recommendations to keep implementation of ESMMP on track. Reporting is a key component of the monitoring exercise.

The proposed ESMMP will be subjected to monitoring. Monitoring will have two elements: Routine monitoring against standards or performance criteria; and periodic review or evaluation. Monitoring will often focus on the effectiveness and impact of the ESMMP as a whole.

During construction phase, the Implementing agency shall monitor the contractor’s activities in order to verify that the management measures/procedures/specifications are implemented as contained in the ESMMP. Compliance will mean that the contractor is fulfilling their contractual obligation.

During operation phase, KPLC will monitor facility’s operations to ensure compliance with management measures in the ESMMP and operation procedures. As part of this monitoring, the KPLC will undertake or statutory initial environmental audit as required by the ESIA/EA Regulations, 2003 and subsequent annual environmental audits.

## Plan Monitoring

All of the management plans make provision for monitoring and evaluation. Special attention should be given to the monitoring arrangements relating to biophysical impacts, occupational health and safety, social risks, facility operational and emergency response.

During the construction phase of the project, the contractor’s Environmental Health and Safety Officer (EHSO) shall report on the implementation of the ESMMP i.e., all environmental, safety and health impacts as well as accidents and incidents to the implementing agency. The social specialist of the contractor will report on implementation of the social measures as spelt out in the ESMMP.

The reported impacts and incidents will be captured on a database to ascertain trends and track progress in the implementation of preventive and corrective actions, and benchmarking against other, similar operations.

During operation, the implementing agency will monitor the health and safety of personnel and contractors, in compliance with legislative requirements. Emergency incidents should be reported to the relevant authorities. The reported impacts and incidents will be captured on a database to identify weakness in the emergency response plan and track progress in the implementation of preventative and corrective and benchmarking against other similar operations.

The Environmental and Social Management and Monitoring Plan (ESMMP) will provide the basis for monitoring of potential Environmental, social and health Impacts associated with the project. The ESMMP provides effective observation and documentation of monitorable parameters that will help in analyzing the effectiveness of the proposed mitigation measures with the advantages of improving operational efficiency, promoting competitive advantage, improving risk management, reducing liabilities and improving business performance.  The ESMMP has been provide in Table 7-1 below.

## Environmental and Social Monitoring by Contractors

KPLC will require that contractors monitor, keep records and report on the following environmental, health and social issues of the proposed project.

- Safety: hours worked, recordable incidents and corresponding root cause analysis (lost time incidents, medical treatment cases), first aid cases, high potential near misses, and remedial and preventive activities required (for example, revised job safety analysis, new or different equipment, skills training, and so forth).

- Environmental incidents and near misses: environmental incidents and high potential near misses and how they have been addressed, what is outstanding, and lessons learned.

- Major works: those undertaken and completed, progress against project schedule, and key work fronts (work areas).

- E&S requirements: noncompliance incidents with permits and national law (legal noncompliance), project commitments, or other E&S requirements.

- E&S inspections and audits: to include date, inspector or auditor name, and records reviewed, major findings, and actions recommended and implemented.

- Workers: number of workers, indication of origin (expatriate, local, nonlocal nationals), gender, age and skill level (unskilled, skilled, supervisory, professional, management).

- Training on E&S issues: including dates, number of trainees, and topics.

- Footprint management: details of any work outside boundaries or major off-site impacts caused by ongoing construction—to include date, location, impacts, and actions taken.

- External stakeholder engagement: highlights, including number of formal and informal meetings, and information disclosure and dissemination—to include a breakdown of women and men consulted and themes coming from various stakeholder groups, including vulnerable groups (e.g., disabled, elderly, children, etc.).

- Details of any security risks: details of risks the contractor may be exposed to while performing its work—the threats may come from third parties external to the project.

- Worker grievances: details including occurrence date, grievance, and date submitted; actions taken and dates; resolution (if any) and date; and follow-up yet to be taken—grievances listed should include those received since the preceding report and those that were unresolved at the time of that report.

- PAPSe.g., community grievances: grievance and date submitted, action(s) taken and date(s), resolution (if any) and date, and follow-up yet to be taken—grievances listed should include those received since the preceding report and those that were unresolved at the time of that report. Grievance data should be age and gender-disaggregated.

- Major changes to contractor’s environmental and social practices.

- Deficiency and performance management: actions taken in response to previous notices of deficiency or observations regarding E&S performance and/or plans for actions to be taken. These should continue to be reported until KPLC determines the issue is resolved satisfactorily.

Table 8-1: Environmental and Social Management Plan ESMP

| Potential Impacts | Recommended Mitigation Measures | Project phase | Responsibility | Monitoring Indicator | Frequency | Estimated Cost (Ksh) |
| --- | --- | --- | --- | --- | --- | --- |
| Local employment | -Prioritize hire of locals for all unskilled labour. -Implement a local recruitment plan that is fair and transparent (including recruitment processes that ensure inclusivity of both men and women, vulnerable individuals, minority clans, ethnic groups and VMGs. -Adhere to labour laws, and labour management practices (timely renumeration, equitable compensation for both genders for equal work etc.) -Create awareness to workers and the community on worker and project grievance redress mechanisms. | Construction Operations Decommissioning | Contractor Proponent | -Fair and transparent local recruitment plan in place. -Recruitment processes (job adverts, interviews, selection etc.). -Number of locals employed based on gender, vulnerability, ethnic group, clan etc. -Type of employment (skilled, semi-skilled and unskilled). -Grievances raised, those aggrieved, status of resolution. | Quarterly | Contractor’s cost |
| Local Sourcing | -Source materials from local businesses/communities, and where necessary give opportunities to businesses owned or operated by vulnerable individuals. | Construction Decommissioning |  | -Number and types of businesses sourced from, businesses owned and operated by vulnerable individuals, types and quantities of materials etc. | Quarterly | No additional cost |
| Land acquisition and compensation for land and assets on land | In line with the RPF provisions; -Prepare and implement an Abbreviated Resettlement Action Plan (A-RAP) to guide land acquisition for the mini-grid, and wayleaves for power distribution. Further, the proponent will fast-track A-RAP preparation to ensure that land acquisition and contractor mobilization to the site is undertaken after the A-RAP is finalized, cleared, and disclosed. -The contractor will implement and adhere to agreements for temporal use of land and restoration of land after use. -Compensate affected communities in-kind (priority project) for the loss of land. -The construction activities will be restricted to within the allocated land and the immediate surroundings only. -After construction work, any land taken for a temporary basis for storage of material will be restored to their original form. -Consultations with the community on the low voltage lines. -The design of the distribution line will utilize the existing road reserves. However, any damage to structures, crops, trees, community facilities and other assets will be compensated in line with the RPF provisions. | Pre- Construction | Contractor- (contractors’ facilities, workers camps) Proponent- (project land for generation assets) | -Land Acquisition and consultation report (consultation (minutes and lists of participants). -Type and amount of compensation paid to affected persons. - Priority community project implemented and handed over to affected communities. -Signed agreements with communities on the use and restoration of their land. | Quarterly | Value of compensation in kind project will be equivalent to the value of land acquired as per NLC |
| Labor Influx and related impacts (SEA/SH, HIV/AIDs and other STIs) | -Tap into the local workforce to the extent possible to reduce labor influx. -Recruit local workforce to the extent possible especially for unskilled and semi-skilled jobs. -Consult with and involve local community in project planning and other phases of the project. -Raise awareness among local community and workers on the need to have a good /cordial working relation -Sensitize workers regarding engagement with local community. -Make provision to provide resources needed by the workers if the need for such resources may result to competition e.g., water. -Establish and operationalize an effective Grievance Redress Mechanism accessible to community members. -The contractor and the project/community grievance redress committee to work closely address complains raised on time. -Include gender considerations in employment opportunities. -Provide appropriate compensation for work done. -Respect for community values/culture. -Prompt payment of workers as per the contractual agreements/terms. | Construction Decommissioning | Proponent, Contractor | -Records of employees/updated employee register. -Number of local community employees and external employees/ updated employee register. | Quarterly | 50,000.00 |
| Child labour | -Employ workers who are 18 years and above, and with a valid national ID at the time of hire. -Implement and monitor the employment register regularly. Compliance with the national labor laws and labour management practices. -Put visible signage on site “No Jobs for children” -Do not allow children at the project site. | Construction Decomissioning | Contractor, Proponent | -Updated employment register indicating locals employed, their ages, national identification numbers etc. -Grievances raised, aggrieved persons and status on resolution etc. | Quarterly | 20,000.00 |
| GBV- SEA and SH | -Prepare an SEA/SH Prevention and Response Action Plan, to manage the SEA/SH risks. -The Action Plan to be proportionate to potential SEA/SH risks, and to include measures such as awareness creation for communities and workers; identification of referral services for survivors and a GRM that ensures confidential reporting of GBV cases. -Implement a code of conduct signed by all those with physical presence on site. | Construction Operations Decommissioning | Contractor Proponent | -Minutes of awareness creation sessions for the community and workers on GBV-SEA/SH. -Code of conduct signed by all those with physical presence on site. -GRM that ensures confidentiality of GBV cases in place. Documented referral services for survivors. -Grievances raised, aggrieved persons and status on resolution etc | Quarterly | 50,000.00 |
| Forced Labor | -Adhere to the Employment Act which outlaws any form of forced labor. -Report any form of forced labour at the site. -Ensure that all workers have a national ID card or documentation to show they are adults (above 18 years). | Construction Operations Decommissioning | Contractor Proponent | -Number of reported cases of forced labour. | Quarterly | 20,000.00 |
| Risks related to Inadequate stakeholder engagement | -Prepare a stakeholder engagement/consultation plan (SEP) that is proportionate to the subproject and the identified stakeholders. -Timely and prior disclosure of project all project information, including project instruments, the full rights and entitlements of project affected persons, sub-project positive and negative impacts and opportunities, proposed subproject budget. -In line with the SEP, undertake adequate consultations prior to construction and throughout the project cycle with all segments of the community and other relevant stakeholders. -Prepare and implement a grievance redress mechanism to deal with grievances. -The grievance redress committee to include representatives from the community. -Sensitize stakeholders on SEP and GRM. | Construction Operations Decommissioning | Contractor | -Availability of and implementation of the Stakeholder Engagement Plan. -# of stakeholder consultations held -Record of stakeholder consultations held (minutes of meetings and list of participants). -Information disclosed, to whom it was disclosed (men women, PWD, youth, vulnerable individuals and households etc., methods and languages used in the disclosure (culturally appropriate and accessible), grievances raised and status on resolution etc. -Concerns raised andactons raised. | Quarterly | 30,000.00 |
| Exclusion of VMGs and vulnerable individuals and households | In line with the provisions of the ESMF, VMGF and Social Assessment ensure the following. - Early identification and inclusion of VMGs and disadvantaged groups. - Meaningful consultation to effectively participate in the project. - Timely and prior disclosure of relevant project information to VMGs and disadvantaged groups. - Adequate and ongoing consultations with VMGs and disadvantaged groups in line with the SEP. - All concerns or grievances raised are fully resolved in a timely manner. - Access to culturally appropriate project benefits and opportunities. | Pre-construction Construction Operations Decommissioning | Contractor Proponent | Minutes of consultative meetings with all community segments including VMGs and vulnerable individuals and households, grievances raised and status on resolution etc. | Quarterly | No additional cost |
| Inaccessibility of project benefits to VMGs and other vulnerable individuals due to affordability challenges | -Consult VMGs and Vulnerable individuals and households on charges for sub project services, and put in place specific interventions to ensure the vulnerable equally access project benefits. | Pre-construction Construction Operations Decommissioning | O&M Contractor; KPLC | -Interventions to enable those vulnerable access project benefits. -Number of complaints raised by VMGs/vulnerable individuals regarding access to project services. -GRM that is culturally appropriate and accessible. Grievances raised and status on resolution etc | Quarterly | No additional cost |
| Inadequate grievances management | -Constitute a Local Grievances Committee is in consultation with all community segments, and incorporates the existing local dispute resolution mechanism. -Implement a workers grievances mechanism. -Awareness on the culturally appropriate and accessible GRM to all community segments including VMGs, vulnerable individuals and households and CSOs -All reported grievances are logged, dated, processed, resolved and closed out in a timely manner. -Proportionate representation of VMGs and vulnerable individuals in the local grievances committee. -GRM provides for confidential reporting of particularly sensitive social aspects such as GBV, as well as anonymity. | Construction Operations Decomissioning | Contractor Proponent | -Local Grievances Committee in place, composition of committee, awareness of community and workers on project and worker GRMs, updated GRM logs, types of grievances -Availability of grievance redress process -Number of grievances reported -Number of grievances resolved in a timely manner -Number of grievances escalated to national courts and the World Bank Grievances Redress Service and Inspection Panel. | Quarterly | No additional cost |
| Environmental Impacts |  |  |  |  |  |  |
| Vegetation clearance | - Clear only the necessary areas - Ensure proper demarcation and delineation of the project area to be affected by construction works. - Specify locations for vehicles and equipment, and areas of the site which should be kept free of traffic, equipment, and storage. - Designate access routes and parking areas - Re-vegetation including planting of trees around the plant/facility | Construction | Contractor KPLC | -Number of trees cleared -Planted trees | Once off | 50,000.00 |
| Soil erosion | - Avoid ground-breaking during the seasons of high rainfall to avoid erosion. - Monitoring of areas of exposed soil during rainy seasons to ensure that any incidents of erosion are quickly controlled. - Construction related impacts like erosion and cut slope destabilizing should be addressed through landscaping and grassing, carting away and proper disposal of construction materials - Use silt traps where necessary - Cover soil stock piles - Landscaping with grass on areas without electrical installation (lower areas) - Monitoring of areas of exposed soil during rainy seasons to ensure that any incidents of erosion are quickly controlled. | Construction | Contractor KPLC | Assess size of rills or Gulleys forming from accelerated run off from compacted areas | Quarterly | Part of contractor’s fee |
| Contamination of soil from fossil fuels | - Ensure waste water generated is discharged or drained into approved drainage facilities - Construction vehicles must be maintained in good state and proper servicing to ensure no oils are likely to leak - Care must be exercised not to spill any fossil fuels - Any contaminated soil shall be scooped and disposed-off appropriately. - No servicing vehicles on site | Construction | Contractor KPLC | Records of any leakages from construction equipment/ vehicles. | Quarterly | 50,000.00 |
| Dust emissions | - The construction area should be fenced off to reduce dust to the public - Suppress dust during dry periods by use of water sprays; - Stockpiles of excavated soil should be enclosed/covered/watered during dry or windy conditions to reduce dust emissions. - Burning of woody debris & construction waste to be prohibited - Use of personnel protective equipment (PPE) -masks should be provided to all personnel in areas prone to dust emissions - Restrict speed on loose surface roads during dry or dusty conditions - Keep stockpiles and exposed soils compacted and re-vegetate as soon as possible. - Construction trucks moving materials to site, delivering sand and cement to the site should be covered to prevent material dust emissions into the surrounding areas - Plant short trees to break speed of wind | Construction | Contractor KPLC | -Visual Observation of dust -Provision of PPEs especially masks | Daily | 100,000.00 |
| Vehicle exhaust and emissions from Generator | - Drivers of construction vehicles must be sensitized so that they do not leave vehicles idling so that exhaust emissions are lowered. - Maintain all machinery and equipment in good working order to ensure minimum emissions of carbon monoxide, NOX, SOX and suspended particulate matter - Maintain equipment in good running condition – no vehicles to be used that generate excessive black smoke - Use of diesel which is Sulphur- free to run the power producing generators to be encouraged - The stack chimney of the generators will be increased from its normal height of 3 meters to 6 meters | Construction | Contractor KPLC | -Engine maintenance records - inspection of stacks | Quarterly | 100,000.00 |
| Solid waste generation | - Ensure spoil from excavations is arranged according to the various soil layers. This soil can then be returned during landscaping and then rehabilitation, in the correct order which they were removed that is top soil last; - Segregate waste - Provide litter collection facilities such as bins - Contractor to put in place and comply with a site waste management plan - The contractor should comply with the requirement of OSHA ACT 2007 and Building rules on storage of construction materials - Use of durable, long-lasting materials that will not need to be replaced as often, thereby reducing the amount of waste generated over time - Recovery of materials remains and return to stores - Re-use of materials where possible - Proper budgeting to avoid waste generation - Proper disposal of waste in line with solid waste regulation - Construction wastes to be managed in accordance with construction standards in Kenya | Construction | Contractor KPLC | Presence of well-maintained receptacles and centralized collection points | Quarterly | 100,000.00 |
| Impacts on Water Resources and Water Quality | - Clear the necessary areas only. - The contractor in the event of erosion shall implement appropriate remedial measures. - Infrastructure shall be designed to ensure that contaminated run-off does not reach water source i.e., earth dam. - Contractor to develop an oil-spill containment plan as part of the emergency response plan. In the event of an oil spill the procedures contained in the emergency response plan of the contractor will come into effect. - No vehicle maintenance and service shall be done at project site - Ensure that potential sources of petro-chemical pollution are handled in such a way to reduce chances of spills and leaks. | Construction | Contractor KPLC | -Oil spill containment plan. -Provision of fuel/oil drip and spill trays | Quarterly | 150,000 |
| Noise & vibration | - Construction activities to avoid any unchanneled flow of water at the site - Storage areas that contain hazardous substances should be bunded with an approved impermeable liner and provision for a pit to be made in case of oil spill. - The excavation and use of rubbish pits during construction should be strictly prohibited. - A waste disposal area should be designated within the active construction area and this should be equipped with suitable containers i.e., skips or bins of sufficient capacity and designed to contain and prevent refuse from being blown by wind, - Areas contaminated by spilled concrete and/or fuels and oils leaking from vehicles and machinery should be cleaned immediately | Construction | Contractor KPLC | Noise levels-Records of noise measurements done by contractor within the project area and at distances of 30m from the Solar mini-grid | Quarterly | 150,000.00 |
| Impacts from Hazardous materials - | - Maintenance of construction vehicles will not be done on site - All hazardous products and waste should be labelled and handled properly to avoid contact with the ground - Dispose hazardous waste through a NEMA approved waste handler | Construction | Contractor KPLC | Presence of well-maintained receptacles and centralized collection points | Quarterly | 100,000.00 |
| Accidental Oil Spills or Leaks | - In the event of accidental leaks, contaminated top soil should be scooped and disposed of appropriately. - Refuelling and maintenance of vehicles will not take place at the construction site. - Create awareness for the employees on site on procedures of dealing with spills and leaks - Vehicles and equipment must be serviced regularly and kept in good state to avoid leaks. - In case of spillage the contractor should isolate the source of oil spill and contain the spillage using sandbags, sawdust, absorbent materials and/or other materials approved by materials. - All chemicals should be stored within the bunded areas and clearly labelled detailing the nature and quantity of chemicals within individual containers. | Construction | Contractor KPLC | Records of all accidental spills and number of litres | Quarterly | 150,000.00 |
| Fire Hazards | - Create awareness to the construction workers on potential fire hazards - Provision of firefighting equipment on site during construction. - No smoking shall be done on construction site - ‘No smoking’ signs shall be posted at the construction site - A fire risk assessment and evacuation plan should be prepared and must be posted in various points of the construction site including procedures to take when a fire is reported. - Designate an assembly point | Construction | Contractor KPLC | -Records of any Fire incidences -Fire equipment and evacuation plan | Quarterly | 100,000.00 |
| Impacts of construction material sourcing (e.g., quarrying) | - Source all building materials such as stone, sand, ballast and hard core from NEMA approved sites. - Ensure accurate budgeting and estimation of actual construction materials to avoid wastage. - Reuse of construction materials where possible. | Construction | Contractor KPLC | Sources of raw materials (from local community) | Quarterly | Part of contractor’s cost |
| Increased water demand | - Prudent use of available water - Consultations with the project local committee on use of water in the community to avoid conflicts with the community - Source and utilize a sustainable and reliable water supply for both construction and operation phase. | Construction | Contractor KPLC | Water usage records | Quarterly | Part of contractor’s cost |
| Energy Consumption | - Ensure responsible electricity use at the construction site through sensitization of staff to conserve electricity by switching off electrical equipment or appliances when they are not being used. - Proper planning of transportation of materials will ensure that fossil fuels (diesel, petrol) are not consumed in excessive amounts. - Complementary to these measures, they monitor energy use during construction and set targets for reduction of energy use. | Construction | Contractor KPLC | Energy consumption records | Quarterly | No additional cost |
| Occupational Health and safety Impacts | - Use skilled personnel for activities which demand skills/technical tasks - Awareness creation/Tool box talks on safety to workers while at construction site - Workers coming to the site should be knowledgeable on safety precautions to take - Appropriate PPE (helmet, safety harness, boots, masks, climbing irons) - Proper general house keeping - Close supervision of workers - Risk assessment by contractor of the construction activities and implement mitigation measures appropriately - Adherence to occupational Safety and Health Act 2007 - Availability of equipped first aid box on site - Provide safe drinking water for workers - Engagement of trained first aider on site - Ensure the WIBA cover is taken for the staff - Establish safety committees | Construction | Contractor KPLC | Records of any near misses, incident, and accidents. Records of corrective actions implemented if there was an accident. | Quarterly | 1,000,000.00 |
| Community safety –access | - Proper barricading - Hazard communication. - Controlled access to the site by designated personnel - Maintain records of any person who comes to site | Construction | Contractor KPLC | Presence of a controlled access and records of every person accessing the site | Daily | 20,000.00 |
| Public Health Impacts | - Sensitize workers and the community on prevention and mitigation of HIV/AIDS and other sexually transmitted diseases, through staff training, awareness campaigns and community Barazas. - Awareness creation and consultations with local communities prior and during construction on the dangers of these diseases - Informing workers on local cultural values and health matters. - Provision of condoms to workers - Allowing migrant workers time to be with their families - The contractor is impressed upon not to set a construction camp on site. - The contractor will provide public education/information about HIV/AIDS transmission and prevention measures. - Ensure equal treatment of workers - Provide all appropriate COVID-19 preventive measures including campaign to maintain individual measures at the workplace. | Construction | Contractor KPLC | Number of awareness creation sessions conducted. -Availability of and distribution of condoms | Quarterly | 20,000.00 |
| Sanitary waste | - Construct/ install pit latrines for both genders clearly labelled | Construction | Contractor KPLC | Presence of separate and clean washrooms for both the gents and ladies | Quarterly | 300,000.00 |
| Solid Waste Generation | - Provide waste handling facilities such as labelled waste bins - Emphasis on prudent waste generation and give priority to reduction at source - Solid waste management awareness to operators - Operator to contract a NEMA licensed waste handler to collect and dispose solid waste | Operation | O&M Contractor; KPLC | Presence of well-maintained receptacles and centralized collection points | Quarterly | 50,000.00 |
| Liquid Waste/Oils Generation | - Proper storage of the oil is required to ensure no leakages - Frequent inspection and maintenance of the generator to minimize leakages. - No vehicles should be serviced or maintained at the Mini-grid area. - The waste oil or used oil must be disposed-off appropriately. - Proper training for the handling and use of fuels for the operators of the Mini-grid. - In the event of accidental leaks, contaminated top soil should be scooped and disposed of appropriately. | Operation | O&M Contractor; KPLC | -Engine maintenance records -Oil spill containment plan | Quarterly | 200,000.00 |
| Increased oil Consumption | - Efficient energy consumption - Install an energy-efficient lighting system | Operation | O&M Contractor ;KPLC | Energy consumption records | Quarterly | No additional cost |
| Increased storm water flow | - Construct the drainage system in a way to follow natural drain of the water - Concrete only the required area and leave the rest of the land with vegetation like grass - Construct rain water harvesting system on the control buildings/office and harness into storage tanks for use | Operation | O&M Contractor; KPLC | Provision of a drainage system and a rain water harvesting system | Quarterly inspections | 200,000.00 |
| Fire Outbreaks | - The power plant must contain firefighting equipment (Portable fire extinguishers) of recommended standards and in key strategic points - Detection/alarm systems that can detect fire should be and installed - A fire evacuation plan should be prepared and posted at strategic points and should include procedures to take when a fire is reported. - Workers especially operators of the plant must be trained on fire management - ‘No smoking’ signs shall be posted within the Mini-grid area - A fire Assembly point should be identified and marked | Operation | O&M Contractor; KPLC | -Provision of serviced fire equipment, evacuation plan and safety signages -Records of fire safety training | Quarterly | 50,000.00 |
| Visual Impacts | - Fence round the solar Mini-grid to keep off/screen the solar panels. | Operation | O&M Contractor; KPLC | Presence of a perimeter fence | Quarterly inspections | No additional cost |
| Water demand | - Ensure prudent use of water. - Install water-conserving automatic taps. - Any water leaks through damaged pipes and faulty taps should be fixed promptly. | Operation | O&M Contractor KPLC | Water usage records | Quarterly | 20,000.00 |
| Sanitary waste | - Provide sanitary waste facilities for both genders clearly marked - Disposal of waste through septic tanks | Operation | O&M Contractor KPLC | Presence of separate and clean washrooms for both the gents and ladies | Quarterly | No additional cost |
| Flooding | - Ensure drainage channels are free of any obstruction at all times i.e., not blocked - Construct more channels and or expand existing ones - Raise foundations of the solar panels and ensure a proper and from concrete base - Create flooding diversions and or spill ways to divert water from getting into the solar power facility | Operation | O&M Contractor; KPLC | -Provision of drainage system -Raised foundations for the structures | Quarterly | 100,000.00 |
| Occupation health and Safety | - Ensure only qualified staff are employed to work in the facility - All workers operating the Mini-grid must be equipped with appropriate and adequate person protective equipment (PPE) such as; safety footwear, helmet among others. - Operators must be skilled on firefighting management - Annual environmental audits should be done - WIBA cover for staff is mandatory | Operation | O&M Contractor; KPLC | -Provision of PPEs and WIBA cover -Environmental audit reports | Quarterly | 100,000.00 |
| Hazardous waste-damaged panels | - Segregation from other waste streams - Proper disposal through a NEMA approved/licensed handler | Operation | O&M Contractor; KPLC | Presence of well-maintained receptacles and centralized collection | Quarterly | 200,000.00 |
| Noise and Vibration | - Generator room should be sound proof to ensure no noise of a nuisance level will be produced. - Monitor noise levels | Operation | O&M Contractor; KPLC | Noise levels-Records of noise measurements done by contractor within the project area and at distances of 30m from the Solar mini-grid | Quarterly | Part of contractor’s cost |
| Shocks and electrocutions | - Inspect the wiring of the houses before connecting power - Safety awareness campaigns to the community before connection of power on safety precautions such as: - Require community to engage a certified technician to do wiring in the premises - Use of quality materials while wiring - Refraining from individual illegal extensions of power lines to other houses - Observing safety measures while using electricity such as not touching sockets and switches with wet hands or wiping with wet cloths - Keeping off all electricity infrastructure e.g., not tying livestock on electric poles, no cutting earth wires that run along some electric poles, not interfering with sockets or switches - Reporting any electric wire/conductors if found fallen on the ground - Report any incident regarding electricity at the local office –staff in charge of operating the Mini-grid | Operation | O&M Contractor; KPLC | -Records of awareness sessions conducted -Incidences report | Quarterly | No additional cost |
| Community Safety- Access to site by general public | - Fencing off the facility to keep of community members, children and livestock from entering into the facility - Controlled access to the site only with prior approval - Maintain records of any person who comes to site | Operation | O&M Contractor; KPLC | Presence of a controlled access and records of every person accessing the site | Daily | Part of contractor’s cost |
| Risks related to poor or inadequate stakeholder engagement (Conflict) | - Employ from the community to the extent possible - Engage the community members and other stakeholders in a timely manner - Work closely with the GRM committee members in solving the conflicts - Solve all conflicts/grievances at the earliest time possible - Ensure all grievances are logged and closed - Monitoring the pattern of grievances to come up will long term measures | Operation | O&M Contractor; KPLC | Grievance records | Quarterly | 20,000.00 |
| Gender Based Violence –SEA and SH | To manage GBV risks, the contractor will prepare a SEA/SH Prevention and Response Action Plan that will include a GRM that ensures confidentiality. The plan will include the necessary measures for prevention and response and must ensure survivor-based approach | Operation | O&M Contractor; KPLC | -SEA/SH Prevention and Response Action Plan -Grievance records | Quarterly | 20,000.00 |
| Public Health Impacts –HIV/AIDs | - Sensitize workers and the community on prevention and mitigation of HIV/AIDS and other sexually transmitted diseases, through staff awareness and awareness campaigns for the community - Provision of condoms to workers - Allowing migrant workers time to be with their families | Operation | O&M Contractor; KPLC | Number of awareness creation sessions conducted. -Availability of and distribution of condoms |  | 20,000.00 |
| Public health Impacts -Covid 19 disease | - Social distance must be observed - Provision of hand wash facilities before access - Temperature check and monitoring of the temperature of workers and any other person coming to site - Enforce wearing of masks - Make provision for testing and treating especially of workers - Provision of contact numbers for the nearest health facility for testing and treatment - Adhering to any other measures from the ministry of health which may be issued from time to time | Operation | O&M Contractor; KPLC | Availability of hand washing facilities Utilization of hand washing facilities Number of Covid-19 cases reported | Quarterly | 30,000.00 |
| Dust Emission | - Trees can be planted around the plant/facility provided they do not cast shadows to the solar panels to act as wind breakers and hence decrease dust pollution - Ensure planting of grass around and within the facility compound | Operation | O&M Contractor; KPLC | Visual inspection | Quarterly | 50,000.00 |
| Vehicle Exhaust Emissions | - Drivers of the vehicles must be sensitized so that they do not leave vehicles idling so that exhaust emissions are lowered. - Company vehicles should be well maintained | Operation | O&M Contractor; KPLC | Engine maintenance records | Quarterly | No additional cost |
| Noise and Vibration | - Install portable barriers to shield compressors and other small stationary equipment where necessary. - Use quiet equipment (i.e., equipment designed with noise control elements). - Co-ordinate with relevant agencies in case the noise produced will require a license. - Limit pickup trucks and other small equipment to a minimum idling time and observe a common-sense approach to vehicle use and encourage workers to shut off vehicle engines whenever possible. - Demolish mainly during the day when most of the neighbours are out working. | Decommissioning | Contractor | Noise levels-Records of noise measurements done by contractor within the project area and at distances of 30m from the Solar mini-grid | Once off | 20,000.00 |
| Solid Waste Generation | - Demolition contractor to adhere to the various manufacturer’s guidelines and requirements regarding demolition and disposal - Segregation of waste in order to separate hazardous waste from non-hazardous waste and other streams of waste - Provision of facilities for proper handling and storage of demolition materials to reduce the amount of waste caused by damage or exposure to the elements - Adequate collection and storage of waste on site - Safe transportation to the disposal sites / designated area - Hazardous waste must be disposed by NEMA approved waste handler | Decommissioning | Contractor | Presence of well-maintained receptacles and centralized collection points | Daily | 700,000.00 |
| Dust Emissions | - Cover all trucks hauling soil, sand and other loose materials or require all trucks to maintain at least two feet of freeboard | Decommissioning | Contractor | Visual inspection | Daily | 20,000.00 |
| Public Health- HIV/AIDS | The project will sensitize workers and the surrounding communities on prevention and mitigation of HIV/AIDS and other sexually transmitted diseases, through staff training and awareness campaigns/ to the community. | Decommissioning | Contractor | Records of awareness creation sessions conducted. -Availability of and distribution of condoms | Once off | 20,000.00 |
|  | Total |  |  |  |  | 4,380,000.00 |

## Approach TO IMPLEMENTATION of ESMMP

### MANAGEMENT Plan during Construction Phase

The contractor will prepare targeted management plans to deal with specific environmental and social aspects guided by the ESMMP and any other emerging issues on the ground. The contractor shall prepare these plans and have them approved by both the proponent and the Bank before they mobilize to the site:

- Construction management plan

- Rehabilitation and site closure plan

- Local recruitment plan

- Worplace health and safety plan

- Community safety plan

- Emergency management and response plan

- SEA/SH Prevention and Response plan

- Stakeholder Engagement plan

- Grievance Redress mechanism

- Labour influx management plan

- Sexual Exploitation and abuse and sexual harassment prevention and response action plan

#### Construction Management Plan

The construction management plan for the proposed project shall include the following:

- Management of Fuels and other Hazardous Materials

- The Contractor shall comply with all applicable laws, regulations, permit and approval conditions and requirements relevant to the storage, use, and proper disposal of hazardous materials.

- Management of the Construction Site

- The contractor shall prevent littering and the random discard of any solid waste on or around the construction site

- The contractor shall manage other solid and liquid waste

- Fire Prevention and Management

- The Contractor shall take all necessary precautions to prevent fires caused either deliberately or accidentally during construction process.

- The Contractor shall prepare a fire prevention and fire emergency plan as a part of the plans to be submitted to KPLC.

- Management of Air Quality

- The Contractor shall institute appropriate measures to minimize or avoid air quality impacts. This can be achieved through formulation of air quality management plan.

- Neighbouring Land Owner and Occupier Relations

- The Contractor shall respect the property and rights of neighbouring landowners and occupiers at all times and shall treat all persons with deliberate courtesy.

- The contractor shall respect any special agreements between KPLC and the neighbours e.g., the wayleaves agreements signed between KPLC and landowners will need to be respected by the contractors.

- Complaints Register

The contractor shall establish and maintain a register for periodic review by KPLC that logs all the complaints raised by the neighbours or the general public about construction activities. The register shall be regularly updated, and records maintained including the name of the complainant, his/her domicile and contact details, the nature of the complaint and any action taken to rectify the problem.

- Construction Control

The construction control for the proposed project shall cover the following:

H) Control of Access

The contractor shall ensure that the construction site is accessed by authorized persons only and up-to-date records kept

Control of material supply and burrow areas

- The contractor shall, as far as possible, source all material needed to construct the proposed project from the licensed quarries

- In instances where materials are to be obtained from a new burrow area; the contractor shall comply with relevant legislations.

- The contractor shall prepare a method statement including plans, detailing the expected quantity of excavation, temporary and permanent drainage control, the final contouring of the burrow pit and the proposed method of rehabilitation.

#### Rehabilitation and Site Closure Plan

- After completion of construction activities, the contractor shall clear the site of construction materials and dispose wastes in appropriate disposal sites.

- The contractor shall remove all temporary works on the construction site and grow grass on areas that are not covered by the installations to control erosion.

#### Local Recruitment Plan

The contractor will prepare a local recruitment plan to guide on recruitment of locals. The plan shall pay attention or adhere to Employment Act.

In designing the local recruitment plan contractor shall:

- Comply with the provisions of Employment Act, 2007

- Wherever possible, give priority to qualified local people when hiring employees.

The mitigation measure is:

- Prepare a local recruitment strategy that is fair and transparent to ensure all community segments - men, women, vulnerable individuals, minority clans, and VMGs who meet OP 4.10 criteria) - can access subproject benefits during construction and that prioritizes hire of locals for skilled, semi-skilled and unskilled labour.

#### Workplace Health and Safety Plan

The workplace health and safety plan to be implemented by the contractor and KPLC shall include the following key measures:

- The contractor shall comply with all relevant legislative requirements governing worker health and safety at the work place (e.g., OSHA 2007 and its subsidiary legislations).

- The contractor shall prepare and implement measures to minimize diseases likely to be contracted by the construction workers as a result of the proposed project such as HIV &AIDs and other communicable diseases

- The contractor shall have obligations of managing the safety of its employees by;

  - Provision of appropriate PPEs to employee

  - Training employees on competence

  - Employing competence and qualified staff

  - Provision of First Aid Kits onsite

  - Should have a trained first aider

  - Document and create awareness on safe work procedures and work instruction

- The contractor will manage accidents by having an emergence response plan which will include contacts for emergency service providers e.g., ambulances, fire brigade and nearest hospitals

- Health and safety performance will be continuously monitored, and procedures reviewed with the aim of eliminating risk as far as reasonably practicable.

#### Community Health and Safety Plan

The community health and safety plan to be implemented by the contractor shall include:

- Adherence to OSHA 2007 Act and its subsidiary legislations to ensure that health and safety of immediate neighbours and the public is not threatened.

- The contractor to ensure that construction work is undertaken in manner not likely pose risks to community health and safety.

- The contractor shall undertake an independent risk assessment prior to construction. The findings of this assessment will inform the development of a community safety plan and create awareness to the community on the same.

#### Emergency Preparedness Plan

The Contractor shall develop an emergency plan that will enable rapid and effective response to all types of environmental emergencies in accordance with recognized national and international standards.

The emergency plan shall include establishment of a network of communication between the Contractor and emergency services including police, ambulance services, and fire brigades among others.

#### SEA/SH Prevention and Response Action Plan

The contractor will prepare a SEA/SH Prevention and Response Action Plan that will include a grievance management that ensures confidentiality. The plan should have an Accountability and Response Framework. The plan will include the necessary measures for prevention and response of GBV impacts.

The mitigation measures shall include:

- Ensure that local employment opportunities are equitably accessible to all segments of the community,

- Ensure equal pay for equal work

- Prepare and implement GBV (SEA/SH management) plan that includes sensitisation of community members and subproject workers on the potential of the subproject giving rise to, exacerbating and/or mitigating SEA and SH, and the appropriate mitigation measures

- Map all GBV service providers and document referral services for survivors, and, sensitize community members and subproject workers on the referral pathways.

- Prepare and implementing a functional and accessible contractor GBV GM for use by workers and community members (as appropriate).

- The GBV GM should allow for anonymous incident reporting and should be GBV survivor-centric

- Sensitize community members and workers on contractor GMs

- Prepare and sensitise Code of Conduct (CoC) for SEA and SH, and their responsibilities for the same, to demystify the stigma associated with SEA and SH

#### Stakeholder Engagement Plan

A Stakeholder Engagement Plan is a formal approach to communicate with project stakeholders to achieve their support for the project. The plan prepared shall specifies the frequency and type of communications, media, contact persons, and locations of communication events. The SEP is a useful tool for managing communications between the contractor and other stakeholder. The plan should meet the following objective of a SEP.

- To help improve project design and implementation

- To inform third parties about changes that affect them

- To take their views into account in the implementation of projects

- To identify adverse impacts and mechanisms to enhance project benefits

- To identify risks from and to a project

- To increase project ownership and sustainability

- To comply with Bank policies that require consultations

The plan shall put this measure in to consideration:

- In consultation with the identified stakeholders, prepare a stakeholder engagement plan (SEP) that is based on their locations (maps) and their information needs at the various subproject phases

#### Grievance Redress Mechanism

One of the key roles of the Grievance Redress Committees, will be to address disputes led by the administrative chiefs. All PAPs will be informed how to register grievances or complaints, including specific concerns about land and environment. The PAPs will be informed about the dispute resolution process, specifically about how the disputes will be resolved in an impartial and timely manner.

Grievance mechanisms should receive and facilitate resolution of the affected institutional or communities’ concerns and grievances. Community concerns should be addressed promptly using an understandable and transparent process that is culturally appropriate and readily acceptable to all segments of affected communities, at no cost and without retribution. Mechanisms should be appropriate to the scale of impacts and risks presented by a project. Grievances can be an indication of growing stakeholder concerns (real and perceived) and can escalate if not identified and resolved. The management of grievances is therefore a vital component of stakeholder management and an important aspect of risk management for a project. Projects may have a range of potential adverse impacts to people and the environment in general, identifying grievances and ensuring timely resolution is therefore very necessary. As such the project has developed a grievance management process to serve as a guide during project implementation.

The Land Acquisition Tribunal established under the Land Act 2012 (Part VIIIA 133A) has the jurisdiction to hear and determine appeals from the decision of the NLC on the process of compulsory land acquisition of land. However, if a party is dissatisfied by the decision of the tribunal, they may appeal to the Environment and Land Court. The court will deal with land related disputes. However, the Land Act 2012 and Environment and Land Court Act 2011 advocates for Alternative Dispute Resolution (ADR) methods in tackling land related disputes. ADR approaches will be given preference and based on customary rules, arbitration, or third-party mediation. ADR will be promoted or defended as a resolution to disputes related to land. The affected persons and other stakeholders also have a right to access the World Bank Redress Service (GRS) and the World Bank Inspection Panel at no cost.

##### Grievance Redress Principles

The principles of grievance mechanism management that need to be observed include;

- All complaints and grievances are resolved as quickly as possible.

- That the resolution of complaints and grievances should be at the lowest possible level for resolution.

- All complaints that can be resolved, should be resolved immediately on the site. The focus of the GRM is to resolve issues in a customarily appropriate fashion at community level and record details of the complaint, the complainant and the resolution.

##### Grievance Redress Committee Capacity Building

A grievance redress mechanism and a committee were established in a culturally appropriate manner in consultation with the community during the consultations for ESIA and will be utilized post ESIA. The GRM committee will have the following roles; log the grievances, maintain records of the GRC meetings and grievances, resolve the grievances to the extent possible.

##### Grievance Procedures

a) Registration - Community members can inform the contractor about concerns directly and if necessary, through third parties. Once a complaint has been received, it will be recorded in a complaints log or data system. The log will be kept in hardcopy or electronic form. All reported grievances will be categorized, assigned priority, and routed as appropriate.

##### Grievance Log

The grievance logbook will ensure that each complaint has an individual reference number, and is appropriately tracked and recorded actions are completed. The information to be recorded will include:

- Name, age, gender of complainant;

- Date the complaint was reported;

- Date the grievance logged;

- Action taken;

- Date information on proposed corrective action sent to complainant (if appropriate);

- The date the complaint was closed; and

- Date response was sent to complainant.

b) Sorting and Processing - This step determines whether a complaint is eligible for the grievance mechanism and its seriousness and complexity. The complaint will be screened however this will not involve judging the substantive merit of the complaint.

The following guide will be used to determine whether a complaint is eligible or not:

Eligible complaints may include those where:

- The complaint pertains to the mini-grid project.

- The issues raised in the complaint fall within the scope of issues the grievance mechanism is authorized to address.

Ineligible complaints may include those where:

- The complaint is clearly not mini-grid project -related.

- The nature of the issue is outside the mandate of the grievance mechanism.

- The complainant has no standing to file.

- Other project or organizational procedures are more appropriate to address the issue.

- Closing Out and Escalation: Project-related grievances will be addressed and closed out as appropriate. The GRM will provide a channel for escalation e.g., through legal redress.

The proponent KPLC will monitor the activities of the stakeholder engagement and grievance management activities.

The three tiers if the GRM are as described below:

##### National Grievances Redress Committee (NGRC)

NGRC has been established at the National level to ensure participatory and transparent implementation of the project. The NGRC will help the project carry out its mandate efficiently- particularly ensuring effective and amicable settling of disputes among the communities/PAP’s.

Members to NGRC include representation from the following agencies and entities

- Representative from the Ministry, chair of the Committee

- Representative from NLC to handle matters that involve land take

- Representative of the Implementing Agencies (IA)-KPLC and REREC

- Representative from the Ministry’s Legal office to guide on Alternative Dispute Resolution methods

- Representative from the County Grievance Redress Committee-depending on the matter at hand; Land or Environment

- Representative from Gender and Social Development Office who will be responsible for ensuring gender issues are well addressed.

- Representative from NEMA to handle environmental issues

- County Surveyor/Physical planner from the county Lands office

- Project Affected Person’s-to represent the matter before the committee

Functions of the National Grievances Redress Committee

- Ensuring effective flow of information between PAPs, the implementing agency and the County Grievance Redress committee on matters brought before the committee

- Co-ordinate County Grievance Redress Committees (CGRC)

- Co-ordinate activities between the various organizations involved; facilitate grievance and conflict resolution at the highest level

- Resolving disputes that may arise within the project. If it is unable to resolve any such problems, the PAP’s can seek legal redress.

##### County Grievance Redress Committees (CGRC)

CGRC has been established at the county level to ensure participatory and transparent implementation of the project. The CGRC will help the project carry out its mandate efficiently- particularly ensuring effective communication with the communities.

Members to CGRC will include representation from the following agencies and entities

Representative of NLC, to grant legitimacy to the acquisition process and ensure that legal procedures as outlined in Land Act 2012

- Representative of the implementing agency

- Representative of NEMA to handle environmental issues

- The County Administration representative, which will provide the much-needed community mobilization, and support to the sub-project.

- County Land Survey Officer will survey all affected land and produce maps.

- The County Gender and Social Development Officer who will be responsible for ensuring gender programs are adhered to.

- The County Lands Registrar will verify all affected land and validate the same.

- Two PAP representatives from Location Grievance Resettlement Committee – act as voice for the PAPs

- NGOs and CBOs locally active in relevant fields

The CGRC will have the following specific responsibilities:

- Ensuring effective flow of information between PAPs and the implementing agency

- Coordinate Locational Grievance Redress Committees (LGRC)

- Coordinate activities between the various organizations involved; facilitate grievance and conflict resolution; and provide support and assistance to vulnerable groups.

- Conducting extensive public awareness and consultations with the affected people so that they can air their concerns, interests, and grievances.

- Resolving disputes that may arise within the project. If it is unable to resolve any such problems, channel it to the National Grievance Redress committee before utilizing the appropriate formal grievance procedures.

##### Locational Grievance Redress Committee (LGRC)

Since counties are large, further decentralized Grievance Redress Committee will be formed at the location of the sub-project. Subsequently, Locational Grievance Redress Committees (LGRC’s), based at each location of a sub-projects, will be established. The LGRC’s will be constituted by implementing agencies and representatives of CGRCs through consultation with the PAPs and will act as the voice of the PAPs.

The LGRCs will work under guidance and coordination of CGRC and the implementing agencies. Their membership will comprise of the following:

- The locational Chief, who is the Government administrative representative at the locational unit and who deals with community disputes will represent the Government in LGRC

- Assistant Chiefs, who supports the locational Chief and Government in managing local community disputes in village units will form membership of the team.

- Female PAP, elected by women PAPs, will represent women and children related issues regarding the project

- Youth representative, elected by youths, will represent youth related concerns in the LGRCs

- Male representatives elected by the members of the PAPs

- Vulnerable persons representative will deal and represent vulnerable persons issues in the LGRCs.

- CBO representatives

Membership of LGRCs will be elected by each category of PAPs except the locational Chief and assistant chiefs who will be automatic members of the team by virtue of their positions. Each of LGRCs will elect their own chairperson and a secretary among themselves.

The roles of LRCCs will include among others the following:

- Conducting extensive public awareness and consultations with the affected people.

- Help ensure that local concerns raised by PAPs as regards to the project are promptly addressed by relevant authorities.

- Resolve manageable disputes that may arise relating to the project. If it is unable to resolve/help refer such grievances to the CGRCs instituted.

- Ensure that the concerns of vulnerable persons such as the disabled, widowed women, orphaned children affected by the sub project are addressed.

- Assist the community in recording grievances, including helping those who cannot write or read.

- Help the vulnerable groups access project benefits

- Ensure that all the PAPs in their locality are informed about the project

Figure 7-1: KOSAP Grievance Redress Mechanism

It should be noted that if complainants are not satisfied with the grievance process, even after arbitration they have the right to present their complaint through the court system.

It is expected that most disputes will be resolved at the lowest level-Locational Grievance Redress Committee and since most disputes arise during the Construction and operation period the contractor’s Environmental and Social Safeguard team specifically the Community Liaison Officer will work closely with the community to be able to resolve disputes.

Responsibilities of the Community Liaison Officer include:

- Monitor day to day Implementation of the Project

- Address grievances as they arise on the project

- A member of the Locational and County Grievances Redress Management Committee to respond on issues that may have been brought to the attention of the committee before escalating to the National Grievance Redress Committee

      - Escalate grievances internally to get a lasting solution

Existence of a Local Grievance Redress Mechanism in Alikune.

A Local grievance redress committee was constituted in 2020. The LGRM was not active during the site visit. It is anticipated that the committee shall become active during the construction and operation phase of the project. The LGRM is composed of the following members of the project committee:

      - The area chief;

      - Youth representatives;

      - Female representatives;

      - Male representative; and

      - Vulnerable persons representative

Contractor will prepare an effective Grievance Redress Mechanisms (GRM) to address and respond to grievances from both the community, the workers and any other stakeholder.

A Grievance Redress Mechanism (GRM) provides access to remedy and identifies procedures to effectively address grievances arising from project implementation. GRM provides an avenue where people can formally lodge their complaints and grievances and have them properly considered and addressed.

The mitigation measures shall include:

- Prepare a project level timebound GRM in consultation with relevant stakeholders

- Ensure the project GRM incorporates existing local dispute resolution mechanisms at the lowest tier and allows access to administrative and judicial processes as well as to other redress mechanisms such as meditation/arbitration and the World Banks grievance redress service (GRS) and the Inspection Panel

- Have a subproject level GRM Focal Point to be responsible for receiving, logging/registering, submitting to the responsible tier for resolution and responding to and updating complainants on resolution status

- Sensitize all stakeholder categories on the GRM and encourage them to make use of it

- Ensure the GRM is functional, culturally appropriate, and accessible to all stakeholders without any cost to them and without fear of retribution or reprisal

- Ensure adequate and proportionate representation of VMGs and vulnerable individuals in the local grievances handling committee.

- Prepare a timebound Contractor’s GRM and sensitize community members and project workers its processes

- Ensure all reported grievances are logged, dated, processed, resolved and closed out in a timely manner, or escalated to other levels.

- Ensure the GRM provides for confidential reporting of particularly sensitive social aspects such as GBV, as well as anonymity for those who wish to report anonymously.

##### World Bank Grievances Redress Mechanism

The World Bank has established 2 grievance redress mechanisms that provide avenues for individuals and communities to submit complaints directly if there is belief that they have been, or are likely to be, adversely affected by a World Bank-funded project.  In this project PAPs and other stakeholders have the right to know and access at no cost these GRMs as described below.

World Bank Grievances Redress Service

The Grievance Redress Service (GRS) is an avenue for individuals and communities to submit complaints directly to the World Bank if they believe that a World Bank-supported project has or is likely to have adverse effects on them, their community, or their environment.  The GRS enhances the World Bank’s responsiveness and accountability to project-affected communities by ensuring that grievances are promptly reviewed and addressed.  Complaints must be in writing and addressed to the GRS and sent through the following methods namely:

Those aggrieved or their representatives can report their complaints through the following mediums;

Online by accessing the online form;

Sending an Email to grievance@worldbank.org; or

Submitting a letter to the World Bank Headquarters in Washington D.C., United States or World Bank Kenya County Office.

World Bank Inspection Panel

The Inspection Panel is an independent complaints mechanism for people and communities who believe that they have been, or are likely to be, adversely affected by a World Bank-funded project.  The Panel is an impartial fact-finding body, independent from the World Bank management and staff, reporting directly to the Board.  The Inspection Panel process aims to promote accountability at the World Bank, give affected people a greater voice in activities supported by the World Bank that affect their rights and interests, and foster redress when warranted.  In September 2020, the Board updated the resolution that created the Panel and added to the Panel functions.  At the same time, the Board approved a resolution establishing the World Bank Accountability Mechanism (AM).  The new AM began operations in early 2021 and houses the Panel to carry out compliance reviews and a new Dispute Resolution Service (DRS), which will give complainants another way to have their concerns addressed.  Contacts for registration of complaints to the IPare ; (i) Tel:+12024585200: and (ii) Email: ipanel@worldbank.org.

Government Management of Land Acquisition Disputes

The Environment and Land Court, established under the Environment and Land Court Act 2011, is a superior court (with offices across the country) that hears and determines disputes relating to land and the environment.  Likewise, the Land Acquisition Tribunal established under the Land Act 2012; (PART VIIIA 133A) has jurisdiction to hear and determine appeals from the decision of the NLC on the process of compulsory acquisition of land. Therefore, in the first instance, such appeals are referred to the Tribunal. However, a party dissatisfied with the decision of the Tribunal may appeal to the Environment and Land Court on a question of law only. The regulations to set the Land Acquisition Tribunal established under the Land Value (Amendment) Act of 2019 are underway. Besides, the Judicial Service Commission will chair the Land Acquisition Tribunal once operational.

#### Labor Influx Management Plan

The purpose of this plan is to provide a clear set of actions and responsibilities for the control of impacts linked to in-migration within the Project’s area of influence. This plan will be regularly reviewed and updated to reflect revised Project design, socio-economic changes and learning experienced during its implementation.

The objectives of this plan are as follows:

- Monitor the scale of project induced in-migration into the project area and specific in-migration ‘hotspots’;

- Support local government and communities to manage both internal and external immigration into the project area; and

- Mitigate and manage any negative impacts and enhance and promote any positive impact related to labor influx.

The plan shall consider these measures:

Prepare and Implement a Labour Management Plan (LMP) with policies and measures for ensuring that:

- Subproject managers and workers are sensitised on:

  - County/National Labour laws

  - County/National Child Labour laws

  - National/International Forced Labour laws

- Enforce:

  - The Code of conduct

  - County/National Labour laws

  - County/National Child Labour laws

  - National/International Forced Labour laws

### Rehabilitation and Decommissioning Management Plan

The rehabilitation and decommissioning management plan include the following:

#### Planning for Closure

a) The implementing agency shall investigate practical options for closure of the facility at least one year before decommissioning and submit a report to relevant authorities NEMA included.

b) The KPLC shall develop rehabilitation and decommissioning plan in conjunction with relevant stakeholders at least one year before the end of facility’s operations.

c) The KPLC shall explore options of re-use and recycling of the facility’s components/structures.

#### Decommissioning

a) The KPLC shall take into consideration the health and safety of personnel, contractors, neighbours and the public during the planning and implementation of the demolition process.

b) The KPLC shall undertake a further survey to identify any contaminated areas and remediate them accordingly.

#### Post Closure

The KPLC shall ensure that the facility’s site is free of impacts associated with the closure and demolition

The KPLC shall develop, rollout and implement a monitoring plan that includes:

a) Monitoring of the rehabilitated site to confirm whether progress is satisfactory.

b) Outline of how land improvement and future land use will be affected by the past operations and decommissioning of the associated infrastructure.

### Institutional Implementation Arrangements for the Proposed Project

This section presents roles and responsibilities of proponent, implementing agency, supervision consultant and contractor. The project is jointly implemented by the Ministry of Energy and Kenya Power. Specific roles are presented below;

#### Proponent -Ministry of Energy (MOE)

The MOE will provide overall coordination and oversight of the project. MOE will be responsible for overall responsibility for safeguards due diligence, and compliance monitoring. The MOE will also provide funding for the project planning and implementation.

#### KOSAP Project Implementation Unit

The MOE has already put in place a Project Implementation Unit (PIU) to guide implementation of the project. The PIU is already implementing the project. In the PIU Environmental and Social issues are spearheaded by an Environmental and Social Safeguards Expert whose role is to coordinate and oversee implementation of safeguards. The PIU reports to the MOE.

#### The Implementing Agency (KPLC)

KPLC will be responsible for implementation and operation of the project on behalf of the MOE. Some of the key responsibilities include but not limited to are;

- KPLC will supervise construction works through a supervision consultant and also directly

- Monitoring the progress of the project in terms of the safeguards and technical aspects.

- Monitoring of the ESMMP implementation

- Ensuring the project is on course in terms of timelines

#### County Government of Garissa

The County government is a key stakeholder. The roles of the county government include giving relevant approvals needed, assisting is process of allocating land for Mini-grid, solving grievances that cannot be sorted at project level, monitoring progress of the project among others.

#### National Environmental Management Authority

This authority is responsible for approval of ESIA report and licensing and is free to check progress of implementation of ESMMP

#### Roles and Responsibilities of the Supervising Consultant

- The consultant must appoint an ESHS officer who will be reporting on the ESMMP implementation supervision

- The consultant ESHS officer be required to generate various reports including production of minutes of monthly site visits and quarterly supervision reports detailing environmental, health, social and safety compliance on quarterly basis amongst other technical aspects

- Reporting on the ESMMP implementation progress and recommendations

#### Roles and Responsibilities of the Contractor

- Implementation of the contractor related aspects of the ESMMP and regularly (monthly) reporting

- The contractor on his part will have to appoint an EHS officer and a Social Specialist to coordinate and report on the ESMMP implementation respectively.

- The contractor to engage a Community Liaison Officer to act as a link between the community and the contractor and support the Social Specialist.

- The contractor will also have the obligation of managing the  E&S risks related to his/her  operations.

- Maintaining the required level of stakeholder engagement and communication, including providing project schedule information to the public, accepting and resolving public grievances, advertising and hiring local workers.

- Maintain a working grievance redress mechanism.

- The contractor is to comply with all regulations and by-laws at the county level and other relevant regulations and laws

- The contractor shall refer to ESIA recommendations and the ESMMP when preparing the contractors- ESMMP and the specific plans

- The contractor shall provide water required for use in connection with the works including the work of subcontractors and shall provide temporary storage tanks, if required

- The contractor shall make his own arrangements for sanitary conveniences for his workers. Any arrangements so made shall be in conformity with the public health requirements for such facilities and the contractor shall be solely liable for any infringement of the requirements.

- The contractor shall be responsible for all the actions of any subcontractors whom he subcontracts.

- The contractor shall take all possible precautions to prevent nuisance, inconvenience or injury to the neighbouring properties and to the public generally, and shall use proper precaution to ensure the safety of the community

- All work operations which may generate noise, dust, vibrations, or any other discomfort to the workers and/or visitors of the client and the local community must be undertaken with care, with all necessary safety precautions taken.

- The contractor shall take all effort to muffle the noises from his tools, equipment and workmen to not more than 70dBA

- The contractor shall upon completion of working, remove and clear away all plant, rubbish and unused materials and shall leave the whole site in a clean and tidy state to the satisfaction of the Proponent. He shall also remove from the site all waste

- No shrubs, trees, bushes or underground thicket shall be removed except with the express approval of the proponent.

- No blasting shall be permitted without the prior approval of the KPLC and the local authorities.

- Borrow pits will only be allowed to be opened up on receipt of permission from the approving authorities.

- The standard of workmanship shall not be inferior to the Kenya Bureau of Standards where existing. No materials for use in the permanent incorporation into the works shall be used for any temporary works or purpose other than that for which it is provided. Similarly, no material for temporary support may be used for permanent incorporation into the works.

- Disposing of the waste generated during construction activities in accordance to the ESMMP.

- The contractor ESS officer will report on ESMMP implementation during construction period. The aspect to be reported by the contractor will include safety issues i.e. hours worked, recordable incidents and corresponding Root Cause Analysis (lost time incidents, medical treatment cases), first aid cases, incidents and accidents, potential near misses, and remedial and preventive activities required (for example, revised job safety analysis, new or different equipment, skills training etc.); Environmental incidents and near misses; noncompliance incidents with permits and national law; Training on E&S issues (dates, number of trainees, and topics); Details of any security risks; Worker & External stakeholder grievances and E&S inspections by contractor, including any authorities.

Environmental and Social concerns need to be part of the planning and development process and not an afterthought, it is therefore advisable that all the risks and impacts of the project be prevented and mitigated at the earliest opportunity possible to ensure smooth implementation of the project. Finally, a comprehensive Environmental and Social Management and Monitoring Plan (ESMMP) has been prepared and will guide in implementation of mitigation measures.

### Management of Impacts during Operation Phase

The operation phase of the proposed project will be mainly power supply, line maintenance and clearing of wayleaves. A contractor (contracted to run the plant for a number of years before handing over to KPLC) will be responsible for all the mitigation measures for negative impacts during the operation phase for the first seven years after which responsibility will be KPLC. This will be done by implementation of the following steps:

- Inspections

- Corrective action

- Reporting

### Stakeholder Engagement and Grievance Management Post ESIA

During implementation of the project or construction phase, stakeholder engagement will be progressed to ensure the community and other stakeholders are kept abreast of the progress of the project. For the target community this will take the form of meetings and focus group discussions between local community and the contractor which will also act as forums for the community to ask questions or provide feedback. Therefore, the contractor will prepare a stakeholder engagement plan to guide on the engagements with various stakeholders guided by the Stakeholder Engagement Plan prepared during ESIA

#### Objectives and Principles of Stakeholder Engagement post ESIA

Stakeholder engagement is the basis for building strong, constructive, and responsive relationships that are essential for the successful management of a project's environmental and social impacts.

In order to ensure effective engagement and consultation of all stakeholders, the contractor and the proponent will apply the following principles.

- Ensure the affected persons are provided opportunities to express their views on project risks, impacts and mitigation measures, and response provided.

- Begin consultations early even before construction begins because there is a lapse of time between ESIA consultations and implementation time. Identification of environmental and social risks and impacts should continue an ongoing basis as risks and impacts arise.

- Consultations should continue in a manner that is transparent, objective, meaningful and allow for ease in accessing information in a culturally appropriate local language(s) and format that is understandable to affected and interested persons.

- Consultations with affected persons and interested parties should avoid manipulation, interference, coercion, or intimidation.

- Consultations should also pay attention to the needs of VMGs, vulnerable individuals and households.

The contractor shall identify the stakeholders early and consider appropriate methods for engaging them. The stakeholder engagements will be reported to KPLC on monthly basis alongside the construction progress reports.

# IMPACT SUMMARY AND CONCLUSION

## Introduction

This chapter gives a summary of impacts conclusion and recommendations

## Summary of impacts identified and assessed

### Construction Phase Impacts

A number of impacts have been identified as a result of the construction of the proposed Ali Kune project. Of these, impacts on employment, procurement and the economy have been determined to be positive.

The significance of the identified negative impacts associated with the construction phase is moderate prior to the application of appropriate mitigation measures. The significance of two of the identified negative impacts associated with the construction phase, specifically: impacts related to labour and working conditions and visual impacts are minor prior to the application of appropriate mitigation measures. With the application of appropriate mitigation measures, the significance of all the identified negative impacts associated with the construction phase will be reduced to minor or negligible.

All negative impacts associated with the project have been mitigated to a level which is deemed appropriate for the construction phase to proceed.

### Operational Phase Impacts

A number of impacts have also been identified to be associated with the operational phase of the proposed Ali Kune solar project. Of these impacts, four (collectively referred to as Impacts on Employment, Procurement and the Economy) will be positive impacts.  Prior to the application of appropriate mitigation measures, none of the identified negative impacts will be of major significance during the operational phase. With the application of appropriate mitigation measures, the significance of all the identified negative impacts associated with the operational phase will be reduced to MINOR or NEGLIGIBLE.

All negative impacts associated with the project have been mitigated to a level which is deemed appropriate for the operational phase of the PV power facility to be sustainable.

## Conclusion AND RECOMMENDATIONS

With all the identified impacts, mitigation will reduce the significance of such impacts to a minor or negligible level. The mitigation measures provided and the management of residual impacts are described in a suite of Management Plans in the ESMMP has been described as a vehicle for the continued integrated management of all such impacts.

An Environmental and Social Management and Monitoring Plan (ESMMP) has been prepared to ensure that social and environmental impacts and risks identified during the ESIA process are effectively managed during the construction and operations of the project. The ESMMP specifies the mitigation and management measures to which the project proponent and the contractor will be committed and shows how the project will mobilize organizational capacity and resources to implement these measures. The ESMMP also shows how mitigation and management measures will be scheduled and will ensure that the project complies with the applicable laws and regulations within Kenya, as well as the requirements of WB OPs on environmental and social sustainability.

The consultant is confident that every effort will be made by the project proponent and contractor to accommodate the mitigation measures recommended during the ESIA process to the extent that is practically possible, without compromising the economic viability of the project or having a lasting impact on the environment.

In summary, based on the assessment findings, the consultant concludes that there are no substantial reasons to hinder the proposed project from progressing to the next stage of planning and development. However, this progression is conditional upon the implementation of the recommended mitigations and the monitoring of potential environmental and socio-economic impacts as outlined in the ESMMP.

It is in the opinion of the Environmental expert that the anticipated negative impacts can readily and effectively be mitigated and on the whole the proposed project does not pose any significant threat to the Environment and may be licensed to proceed.

# REFERENCES

The following list of references was referred to in preparing this Project Report:

- Environmental Assessment Source Book, 1999 (World Bank),

- George, C. and Lee, N., 2000 Environmental Assessment in Developing and Transitional Countries, Willey: Chichester, UK

- Government of Kenya (GoK), 1999. The Environmental Management and Co-ordination Act, 1999. Government Printer.

- Government of Kenya (GoK), 2003. The Environmental (Impact Assessment and Audit) Regulations, 2003.

- Government of Kenya (GoK), 2009. The Environmental Management and Co-ordination Act, Regulations 2009, Legal Notice No. 61, 2009. Government Printer

- Government of Kenya (GoK). The Public Health Act Chapter 242 Laws of Kenya.

- Government of Kenya (GoK), 2002. The Water Act 2016. Government Printer, Nairobi, Kenya.

- Government of Kenya (GoK), Building code, Building order 1968 and Grade 11 Building Order 1968

- Government of Kenya: The Physical Planning Act 2019

- Government of Kenya: Occupational Safety and Health Act,2007

- Government of Kenya: Factories and Other Places of Work (Safety and Health Committee) Rules 2004

- Government of Kenya: Water Quality Regulations, 2006

- Government of Kenya: Waste Management Regulations, 2006

- Government of Kenya: The Occupational Safety and Health Act, 2007

- Government of Kenya: Noise Prevention and Control Rules 2005

- Government of Kenya: Hazardous Substances Rules, 2007

- Government of Kenya: Factories and Other Places of Work (Noise Prevention and Control) Rules 2005

- British Standard (BS) 5228 Part 4, 1997: Noise Control on Construction and Open Sites: Code of Practice for Noise and Vibration Control applicable to piling operations

- International Labor Organization 1983: Encyclopedia of Occupational Health and Safety Vol. II, Geneva.

- Sombroek WG, Braun HMH & Van der Pouw BJA, 1982: Exploratory Soil Map and Agro-climatic Zone Map of Kenya, 1980 (Kenya Soil Survey, Nairobi),

- Community Land Act, 2016

- The Land Registration Act, 2012

- The Land Act, 2012

- The Energy Act, 2019

- The Constitution of Kenya, 2010

- The Garissa County Integrated Development Plan 2018-2022

# APPENDICES

| No | Appendix | Item |
| --- | --- | --- |
| 1 | Appendix 1 | Minutes of EIA consultation meeting |
| 2 | Appendix 2 | List of attendance-EIA consultation meeting |
| 3 | Appendix 3 | Minutes of Land identification meeting |
| 4 | Appendix 4 | List of attendance |
| 5 | Appendix 5 | A-RAP Document |
| 6 | Appendix 6 | Firm and Lead expert EIA practising licences |

## APPENDIX 1 – MINUTES OF THE MEETING HELD ON EIA

## APPENDIX 2 – LIST OF ATTENDANCE-eia consultation meeting

## APPENDIX 3 – MINUTES OF LAND IDENTIFICATION MEETING

MINUTES OF COMMUNITY CONSULTATION MEETING LEADING TO LAND IDENTIFICATION AND GRIEVANCE REDRESS COMMITTEE CONSTITUTION FOR PROPOSED ALI KUNE SOLAR MINI-GRID PROJECT

Project: Proposed Ali Kune Solar Mini-grid

Venue of meeting; Ali Kune Shopping Centre

Date: 21/06/2021

AGENDAS

Preliminaries

Project description

Positive Impacts of the project –Solar Mini-grid

Negative Impacts of the project and mitigations measures

Need for land for the project

Grievance Redress Mechanism for the project

Focus Group discussions

Environmental and social screening of the site

Minute 1/KOSAP/2021: Preliminaries

The Chief; Ali Kune location called the meeting to order at 04:30 p.m. The meeting began with a word of prayer from one community member. The language used to communicate was Kiswahili with a translator explaining to the community in the local Somali dialect. The area Member of County Assembly (MCA) welcomed all to the meeting and said the community is ready for the stakeholder engagement and asked them to participate actively so that the meeting would be fruitful.

The Chief welcomed the chief officer Environment, Garissa County Dr. Adan Mohamed to make his remarks and welcome the KOSAP project team to the ward.  The Ward Administrator welcomed and thanked all for attending the meeting and asked the community to listen and participate in the consultation. He noted that the County government is in support of the projects that come to make the lives of the people better. He then invited Mr. Amin KPLC County business manager Garissa County to welcome the project team to talk to the community. Mr. Amin asked the community to feel free and participate in the engagement forums because they are part of the key stakeholders of the project.

Mr Amin invited the project’s team leader Engineer Benson Mwakina from the Ministry of Energy (national government) to introduce the project team and proceed with the consultations. Engineer Mwakina asked the team to make brief introductions before they engage the community in different issues of the proposed project. Below is a list of KOSAP team members and Garissa County officials present.

KOSAP team

| S/No | Names | Position |
| --- | --- | --- |
| 1 | Engineer Benson Mwakina | Ministry of Energy -MOE |
| 2 | Dorothy Kagweria | Environmental Social safeguards Expert-MOE |
| 3 | Muriuki Marangu | Property Officer KPLC |
| 4 | George Nyambane | Surveyor Garisaa County |
| 5 | Amin Ibrahim | County Business manager Garissa |
| 6 | Dr.Adan Mohamed | Chief Officer Garissa County |
| 7 | Urbanus Muthoki | Surveyor-KPLC |
| 8 | Simon Mwangangi | Environmental and Social specialist-KPLC |
| 9 | Onesmus Maina | Engineer-KPLC |
| 10 | Samuel Mbugua | Environmental and Social specialist-KPLC |

Minute 2/KOSAP/2021: Project Description

Engineer Mwakina explained that the national government is implementing KOSAP in partnership with County Government in 14 counties in areas are far away from the national grid. He said the proposed project is called KOSAP-Kenya Off-grid Solar Access Project is being implemented jointly by the Ministry of Energy, the Kenya Power company (KPLC) and the Rural Electrification and Renewable Energy Corporation (REREC) in partnership with the World Bank as a development partner, County Government as a partner and the communities in Off-grid areas being the PAPs. Off-grid areas are those places where the national electricity grid has not reached, and whose electricity access has been very low. The reason for choosing solar energy was because this area is far away from the national grid and the fact that the area is well endowed with natural sunlight with high temperatures. He explained that the National Government strategy is to have all households connected to electricity by 2023 using various sources and solar energy is one of the identified sources with the added advantage of being clean energy. He further expounded that the proposed Solar Mini-grid being implemented under KOSAP is part of the government’s effort towards universal access to power. He said the proposed Ali Kune solar Mini-grid is one of the seventeen Solar Mini-grids to be funded by the KOSAP project in Garissa County. He told the community that the project was in the preliminary implementation stages which requires public participation of various stakeholders.

He further noted that the agenda of the visit was to undertake an environmental and social screening of the proposed sites to check suitability in terms of environmental, technical, social and health requirements.  He said the second objective was to undertake community engagement to sensitize the community on the project. The other objective was to explain the land requirements for the project and the need for a project grievance redress mechanism.

He sensitize the community on the technical aspects of the project.

He called on the environmentalist (Mr. Mwangangi) to explain the benefits and negative impacts of the project.

Minute 3/KOSAP/2021: Positive Impacts/Benefits of the Project

Mr. Mwangangi explained that, every project has both positive impacts and negative impacts. Our assignment is to explain to you the impacts of the project so that you understand how the project will benefit you and the community at large. The project benefit both direct and indirect are as follows:

Better source of lighting- replacement of Kerosene lamp and small de-lite lamps with electricity  lighting which is clean and has better lighting

Benefits to education- provide source of lighting which enables pupils and students to take advantage of longer hours of preps/study in homes. Electricity will be useful in availing power needed to enable use of radio and television sets. Once parents are able to buy these gadgets pupils can access electronic educational materials

Business opportunities-Power provides energy needed to power some gadgets that are difficult and expensive to power with generators. Access to electricity will therefore allow the community to take advantage of new business opportunities and enhance the existing ones e.g.   Barber shops,  salons, posho/maize mills, welding,  photo copying, printing, fuel stations, milk coolers and fridges to preserve meat among others

Employment and wealth creation- community members will get opportunities to provide non-skilled and skilled labor during construction and operation phases

Local Material Supplies and other requirements- the proposed project provides opportunities to supply some materials available locally

Up Scaling Electricity Access to the off-grid areas- this area is far away from the grid and so the proposed project helps to reach such areas faster and in a cost effective manner as opposed to grid connections.

Impact on HIV/AIDS-due to availability of power, communities  can purchase communication equipment like radios and televisions which in turn provides access to information on various issues such as health topics on HIV/AIDs, nutrition and the current Covid-19 pandemic among other information

Health benefits of the project- health benefits of the project include replacement/elimination of use of kerosene lamps and candles, reduced or no use of fuel generators in the trading centers which emits smoke causing respiratory diseases, the health Centre under construction will also benefit from power that can be used to preserve drugs and vaccines alongside powering other medical equipment.

Improved standard of living- Living standards of the community is bound to improve as they take advantage of small house hold appliances like e.g., TV, Fridges, radios, blenders, iron boxes etc.

Security- Enhanced security due to improvement in lighting up of the area through the street lights. Improved security also means more hours of business

Communications- improve communication due to availability of electricity to charge phones, opportunities to set up information communication and technology related business-like cyber cafes, access to e-government services among others.

Presence of electricity will also attract other business investors to invest in the area

Minute 4/KOSAP/2021: Negative impacts of the project

Having discussed the benefits of the project, Mwangangi explained that projects also have negative impacts. He noted that the most important thing is to be able to mitigate the negative impacts so that they do not affect the community. He said ‘’the proposed solar Mini-grid will have the following negative impacts and also briefed the members on possible mitigation measures.

|  | Negative impact | Mitigation measures by contractor |
| --- | --- | --- |
| 1 | Vegetation clearance of the site identified. | Clear only the areas that are needed to put up the mini-grid After construction, do landscaping with grass to areas that have no electrical installation as opposed to living areas bare Planting of trees |
| 2 | Air pollution dust from construction activities | Fence off construction site to reduce dust going to the public Use of masks for workers |
| 3 | Air pollution dust from construction vehicles | Limit vehicle speed to minimum possible when passing residential areas |
| 4 | Air pollution from vehicle emissions | Maintain vehicles/service vehicles No idling of vehicles |
| 5 | Solid waste | Clear all solid waste and dispose appropriately |
| 6 | Land acquisition/take As you had been briefed before the site identified should; -must not result in displacement of community members - We must avoid land that is currently settled or which has squatters. -There will be an impact of forgoing the current land uses if any or future land uses for the sake of the project. | The community should be willing and ready to live with this impact |
| 7 | Occupation safety and health hazards e.g. accidents, fall from heights, pricks by sharp objects | Use of proper personal protective equipment like gloves, overalls, helmet, safety shoes Allocating work according to skills Toolbox talks to workers to identify hazards and risky activities |
| 8 | Labor influx. The nature of the project will require technical skills that may not be available in this community. This will require movement of construction workers (labor influx) into this community. Some risks that are involved with labor influx include social ills, cultural conflict, and insecurity among others. | All workers will be sensitized to respect the local’s culture, and conduct themselves according to the contractor’s code of ethics. The project shall have an established and operational Grievance Redress Mechanism accessible to community members Reduction of labor influx by tapping into the local workforce |
| 9 | Risk of social conflict due to competition for resources and opportunities | Awareness-raising among local community and workers on the need to have a good /cordial working relation Consultations with and involvement of local communities in project planning Provision of cultural sensitization awareness for workers regarding engagement with local community. Recruitment of local workforce to the extent possible especially unskilled and semi-skilled jobs Contactor shall make provision to provide resources needed by the workers if the need for such resources may result to competition e.g. water Working closely between contractor and the project grievance redress committee to address complains on time. |
| 10 | Increased or illicit behaviour and crime (including prostitution, theft and substance abuse) | Sensitization campaigns both for workers and local communities against such social evils Enforcement of sanctions (e.g., dismissal) for workers involved in criminal activities |
| 11 | Communicable diseases (including STDs and HIV/AIDS) | Education/awareness about transmission of diseases Information campaigns on STDs among the workers and local community on ethics, morals, general good behaviour and the need for the project to co-exist with the neighbours during the community and worker engagement forums. Provide condoms to employees |
| 12 | Gender-based violence including sexual harassment and exploitation | Information and awareness raising campaigns to you community members and specifically women and girls. Mandatory awareness creation for workers on required lawful conduct in the community and legal consequences for failure to comply with laws Report all complaints on gender-based violence or harassment through the GRM and also directly through CREO Working closely and Instruction of local law enforcement to act on community complaints on time Inclusion of GBV specific mitigation measures in the environmental and social management plan of contractor Requirement of contractor to have code of conduct for the workers and to implement them |
| 13 | Child labour | Ensuring that children and minors are not employed directly or indirectly on the project. Enforcement of Employment Act that requires contractor to adhere to minimum age Allowing your children to be employed is illegal and punishable by law because it interferes with the children’s right to education Report any case to the chief’s office |
| 14 | Demand for Material/resources e.g. water | Contractor to consult with elders before using the water resources in the community to avoid conflicts. |
| 15 | Oil Spill Hazards | Contractor not to repair vehicles or equipment on site Maintain vehicles and equipment in good state |
| 16 | Storm water and erosion | Contractor to put measures to harvest rainwater and control erosion during construction |
| 17 | Wastewater/ effluent | Contractor will provide sanitation facilities for workers |
| 18 | Noise resulting from excavation machinery, vehicles and workers | Contractor to comply with NEMA Noise and Excessive vibrations rules and regulations 2009. Contractor to use machinery and equipment with noise attenuation systems. Contractor to work only during the day In case of blasting contractor to give notice to community through the village elders and chiefs office |
| 19 | Visual and Aesthetic Landscape Impacts | The visual negative impacts can be mitigated through putting up a wall round the facility to keep off/screen the project stacks, poles, cables and panels by the contractor. Proper siting decisions can help to avoid aesthetic impacts to the landscape. |
| 20 | Hazardous materials from damaged Panels- Photovoltaic panels may contain hazardous materials, and although they are sealed under normal operating conditions, there is the potential for environmental contamination if they were damaged or improperly disposed upon decommissioning. | Proper planning and good maintenance practices can be used to minimize impacts from hazardous materials. Proper disposal of used or Damage solar batteries and panels using NEMA registered disposers for such wastes |
| 21 | Fuel storage on site | Contractor will undertake proper installation of the fuel storage tanks and dispensing system like having a budded wall 1.5 times the fuel storage tank. During operation implementing agency will ensure proper maintenance of the solar plank |
| 22 | Public safety –potential risk of shocks and electrocution | Proper wiring at houses and premises by a qualified technician |

Public safety in regards to electricity

Mwangangi educated the community by highlighting the importance of using electricity safely. He said electricity is good but failure to take the precautions while interacting with it can result in electric shocks, fires and even electrocution/death. He emphasized the following precaution/preventive measures to observe in order to prevent risk of electric shocks, fires and electrocutions.

Engage a certified technician to do wiring in your premises

Use quality materials while wiring

Do not engage in individual illegal extensions of power lines to other houses

Don’t touch sockets and switches with wet hands or wipe with wet cloths

Do not tie your livestock on electric poles

Do not cut earth wires that run along some electric poles

Do not touch any electric wire if you find it fallen on the ground

Report any incident regarding electricity at the local office –staff in charge of operating the Mini-grid

Vet all new people coming to the village by checking whether they registered their presence with the office of the chief.

In case of a black out do not open sockets or switches

Minute 5/KOSAP/2021: Land requirements for the project

Mr. Mwangangi told the community that one of the agendas of the project team’s visit was to progress land identification process for the proposed Mini-grid. He explained to the public forum that the proposed project will require about 2-3 acres of land. He explained that the piece of land identified will be screened for its Suitability for the purposes of the Community Mini-grid.

Minute 6/KOSAP/2021: Grievance Redress Mechanism

Mr Mwangangi explained that in a project, grievances may arise and it important to have a grievance redress mechanism that is known to all the community members and accessible with no costs to the community members.

Mr Mwangangi explained to the community that it is important to put in place a project grievance redress mechanism (GRM). He noted that the GRM to be set should borrow heavily from the existing conflict resolution structures in the community. He explained that the need for a GRM is to provide the community and other stakeholder’s opportunity to share project information and raise questions and grievances about the project. He told the community that they are free to raise any complain or request information about the project. He explained further that members of the project/ grievance redress committee will be chosen by the community members themselves. The committee chosen will be in charge of giving project information to the community and be a focal point for reporting project related issues of concern or grievances. He added that the composition of the committee should have representatives from all groups in the community including men, women, youth and persons with disability.

GRM team Selected

| No. | Names | Represents | Id. No | Phone No. |
| --- | --- | --- | --- | --- |
|  | Kaha Abdi Hussein | Women | 1267173 | - |
|  | Ibrahim Dagane Ibrahim | Men | 0187576 | - |
|  | Abdi Hassan Ali | men | 9489333. | - |
|  | Mohamoud Ahmed Arte | Youth | 34792896 | - |
|  | Moulid Abdi Sheikh | Men | 23106079 | - |
|  | Abdi Sheikh Hussein | Men | 8502535 |  |

Minute 7/KOSAP/2021: Plenary session

Mr Mwangangi made a brief summary of what had been discussed and invited the community members to ask questions or seek clarifications on the information shared. The questions raised and responses provided are presented in the table below.

|  | Name | Questions/suggestions | Response | Response by agency on how feedback will be used or acted upon |
| --- | --- | --- | --- | --- |
| 1. | Ibrahim (community Chairman) | -Greetings -This is the first time we are seeing Kenya Power in our area. How genuine is the project or will it be an Empty promise. What is the difference between Kenya Power and World Bank | - Engineer Mwakina This is a government project from the Ministry of Energy Funded by World Bank | - |
| 2 | Chief Osman | Greeting -will the project generate jobs for the community. Will our youths be employed for unskilled jobs. Another question I know government projects take time will this one be implemented or it will take years to implement | Job will be open to all groups, Mem, Women and the Youth The project will follow the normal government process but will eventually be implemented | - |

Mwangangi then concluded by thanking the community for their attention He also told the meeting that Dorothy a member of the team would meanwhile hold a separate meeting with the girls and women to allow them to also speak their minds and ask questions freely away from the men. Youths were also asked to have a meeting separately from the Men

FOCUS GROUP DISCUSSION FOR YOUTHS

This FGDs were led Samuel Mbugua

He welcomed the youths present for the focus group discussion. He further explained to them the proposed project the government wants to implement in their neighbourhood will be supplying electricity to the community. This electricity will be generated through solar panels and standby generator. This project is being funded by the World Bank and being implemented by Ministry of Energy through Kenya Power company and County Government of Garissa.

The youths noted were engaged on how the proposed project will be implement in the area and they identified the following positive impact the project will come along with as follows;

Creation of direct and indirect employment for the community people

Reduction of travel expenses since health services will be near them

Clean source of energy (electricity) in their neighborhood

Improvement of education standards

Increase of the land value

Improvement of the economy of the area

Access to information and news since the community members will invest in the purchasing of the radios, Tvs, and internet services

Further the youths identified the negative impacts that the proposed Mini-grid will come up with in their neighbourhood;

Introduction of visual impacts due to the proposed mini grid and low voltage lines

Clearing of vegetation on the proposed project site to create room for the construction of the Mini-grid

Increase of population in the neighbourhood especially during the construction phase

Increase of crimes and other evil vices i.e. unwanted children, early pregnancies, spread of sexual transmitted diseases, petty theft.

Mixing of various cultures of different people who will be working during the construction and operational phases of the proposed Mini-grid project.

More intake of water during the construction and operational phases of the proposed Mini-grid

Instance of air pollution will be witnessed during the operation phase of the proposed mini-grid.

Q/A Session

Comment 1: Aden Nuno-We request that the youth be given job opportunities

Response-Employment is available for all, the contractor is required to ensure men, women and youth are considered for employment

Q1; Shukri Abdulahi-Are there opportunities for training especially for the youth on electrical courses?

Response-The project has no provision for training

Q2: What is the connection fee of the project especially for the youth who have small businesses?

Response-The Connection fee for the project is Ksh 1000

When youths were asked if they support the proposed project? All of the youths present were in full support of the proposed mini grid project and agreed that they will lobby other youths to support the project

The Youth selected their GRM representatives for Ali Kune Mini-grid as follows:

| Serial No. | Name | ID NO. | Cell No. |
| --- | --- | --- | --- |
| 1 | Mohamoud Ahmed Arte | 34792896 | - |

Focus Group Discussion in Ali Kune

Discussion on Women Focus Group

The group was led by Dorothy who was able to explain why a separate discussion was put up in order for them to have the opportunity to freely express themselves.

She explained the agenda of the visit by the officers from National government and county government was to undertake an environmental and social screening of the proposed site to check suitability in terms of environmental, technical, social and health requirements.

The second objective was to undertake community engagement to sensitize the community on the project and the third objective was about land acquisition for the project and the need for a project grievance redress mechanism.

She gave a summary of the project in terms of its positive and negative impacts and their mitigation measures, the safety precautions and the land acquisition process. She also explained the need for the women to select a representative to the project committee who would represent their views/issues to the committee for redress.

She ensured all the women had understood their rights, roles and benefits concerning the project. Further the women were educated on how they can take up economic opportunities that will raise during project implementation. They were also given opportunity to air their issues/ questions and or /give suggestions to make the project implementation process better.

The discussions went further to bring out issues on how the women can take advantage of the project benefits rather than taking a back seat. She explained to them that they would benefit more from the electricity because they will be able to use clean energy to cook and also benefit from access to information through use of radios and TV that are powered by electricity enabling them to make informed choices on different issues such as nutrition, health, farming among others. They were also set to benefit if they could set up small businesses like salons, cold drink kiosks, cooling milk because it spoils easily, children will have time to study and enhanced security due to the fact that the area will be well lit among other benefits.    Gender based violence issues were also discussed including; forms of GBV, rationale for addressing GBV, ways in which a project can worsen existing GBV risks or create new risks, the need to report and document any complaints against workers, report incidences of GBV while ensuring survivor centered approach (respect for the choices, wishes, rights and dignity of the survivor). The women were told to be more vigilant to ensure young girls do not fall prey to GBV incidences. The women were requested to keep talking to the girls on GBV risks and the need to raise alarm in case of risks factors early enough.

All the women were in agreement for the project to be brought to Ali Kune

The Youth selected their GRM representatives for Ali Kune Mini-grid as follows:

-No Questions

| Serial No. | Name | ID NO. | Cell No. |
| --- | --- | --- | --- |
| 1 | Kaha Abdi Hussein | 1267173 |  |

FOCUS GROUP DISCUSSION FOR MEN

Simon Mwangangi called the Focus group discussion for Men into order and thanked the Men present for turning up for the meeting in good numbers and for their contribution in the Public Baraza.

A focus group discussion was held with men above 35 years of age. This categorization was based on the assumption that these men; as the heads of families and with a deeper understanding of the community set up, roles, entitlements and were also a foundation of knowledge helpful to the project team in understanding the community better. The main objective of this discussion was to assess whether men had understood the proposed project and its requirements and to provide an opportunity for them to air their issues/give their opinions on the project.

Simon Mwangangi from KPLC explained the importance of holding a separate discussion with them so that they would have an opportunity to freely express themselves and inform the Project team how they would wish to be involved in the project. Simon reminded the men that as the heads of families, they played a crucial role in ensuring the project was a success. He explained to the men that the essence of the environmental and social screening of the project site was to assess its suitability in terms of environmental, technical, social and health requirements.  The second objective was to undertake community engagement to sensitize the community on the project. The third objective was to explain the land requirements for the project and the need for a project Grievance Redress Mechanism (GRM) for the project. This would be achieved through the formation of a Grievance Redress Committee (GRC) in which men required to select their representative. Simon went further and summarized the project by explaining its positive and negative impacts and their mitigation measures and the requirements for identifying land for the project. He also explained the need for the men to elect a representative to the GRC which also doubled as the project committee. The representative would present their views/issues to the committee for redress and further action to ensure that the interests and needs of men were factored through-out all the phases of the project.

The men were further explained of their role and responsibility in terms of protecting and ensuring security for the project and the need for community ownership of the project. Simon further told men in the meeting that the identified site would be fenced and would hence forth be referred to as land put aside by the community for energy development project.

Simon went ahead and asked the Men to give their views on how they wished to be involved in the project, to ask questions, give suggestions and or seek clarifications. Their responses and concerns were as follows.

The men confirmed they all agreed to have the project brought to the community. In unison the men said they would like to be involved in the following:

Having an active representative for men in the Project committee

Men to be considered for employment especially security and construction

Men to be in the forefront of land identification

Men to be involved in dispute resolution for the project

The following were elected to be representatives for men in the GRM/ Project committee.

| Serial No. | Name | ID NO. | Cell No. |
| --- | --- | --- | --- |
| 1 | Ibrahim Dagane Ibrahim | No. 0187576 | - |
| 1 | Abdi Hassan Ali | 9489333. | - |

Focus group discussion for Men in Ali Kune

MINUTE 8/KOSAP/2021: A.O.B

Five community members were identified to sign Land Identification Form on behalf of the community.

Minute 9/KOSAP/2021: Closure of Meeting

There being no other business, the Chief thanked all the attendants for turning up and their contributions.  Members agreed to keep in touch and clarify on any necessary information as regards the intended projects. The meeting ended with a closing prayer at 6:30 PM

## APPENDIX 4– LIST OF MEETING-LAND ALLOCATION

## APPENDIX 5  Abbreviated resettlement action plan

## (a-rap)

- Alikune Sub-project Site

The Alikune sub-project site is on unregistered community land and held in trust by the County Government of Garissa on behalf of the community, in line with the Community Land Act 2016. The proposed site is uninhabited, has no structures, community facilities, or encumbrances. Land in Alikune area is grassland and open shrub land used for grazing. Consultations leading to the identification and selection of the sub-project site are captured in the Environmental and Social Screening report for Alikune. Refer to Chapter 4 of the ESIA for the comprehensive socio-economic profile.

- Actual Census Survey of PAPs and Valuation of Affected Assets

The number of project-affected persons (PAPs) is 7089 (approximately 1200 households).  The land acquisition-related impacts are loss of land and pasture. Mitigation measures include in-kind compensation for loss of land and pasture, and designing power distribution lines to avoid impacting trees, crops, structures, and community facilities. No physical displacement is anticipated; however, there is minimal loss of pasture occasioned by the acquisition of land utilized by the community for grazing. The National Land Commission (NLC) will acquire the 1.044 Hectares identified for the sub-project compulsorily. The proposed site will be valued and compensated in line with the provisions of the Resettlement Policy Framework (RPF) prepared under KOSAP. Refer to section 4.4 of the ESIA for socio-economic Environment.

- Compensation Measures Agreed with the PAPs and other Resettlement Assistance to be Provided

The proponent requested the community identify three priority projects, whereby one out of the three would be provided as in-kind compensation for loss of land and pasture. The Alikune community proposed areas of compensation namely: Repair of the pipes from the borehole to Ali Kune Boarding Primary School and an extra classroom for lower primary and replacement of the broken tank at Ali Kune borehole and fencing of the borehole

The value of the priority community project will be proportional to or higher than the value of land under acquisition. In addition, loss or damage to crops, trees, structures, and community facilities will be compensated in line with the provisions of the RPF, and as summarized in the entitlement matrix below.

3.1 Entitlement Matrix

| Types of Impact | Person(s) Affected/Eligible for Compensation | Compensation/Entitlement/Benefits | Responsible organization |
| --- | --- | --- | --- |
| - Loss of Land |  |  |  |
| Loss of unregistered community land. | Community. | Compensation in-kind as prioritized by the community. | KPLC |
| Loss of land in unregistered group ranches. | Group ranch members. | Compensation in-kind as prioritized by the community. |  |
| Loss of land in registered group ranches. | Group ranch members. | Compensation in-kind as prioritized by the community. |  |
| Loss of land owned by the National Police, county governments and the Ministry of Interior | Government agencies. | No compensation for public land allocated to another government body. |  |
| Loss of land owned by the Kenya Forest Service (KFS) and Kenya Wildlife Service (KWS). | Government agencies. | No compensation for public land allocated to another government body. However, payment of conservation fees to KWS and KFS as stipulated under their respective regulations is foreseen. |  |
| - Loss of Use on Land |  |  |  |
| Loss of use on public land (e.g., grazing, farming etc.). | Communities utilizing public land. | Communities do not own public land; however, they utilize public land with consent from the relevant agencies. The project will implement the infrastructure project prioritized by the community as compensation for the loss of public land use. | KPLC |
| Loss of use on unregistered community land, unregistered group ranches and registered group ranches ( e.g., grazing, farming etc.). | Communities utilizing unregistered community land, unregistered group ranches, and registered group ranches. | Compensation in-kind as prioritized by the community. |  |
| - Loss of /Damage to Assets on Land |  |  |  |
| Trees | Community members on unregistered community land; community members utilizing public land; members of registered and unregistered group ranches and government entities. | During detailed design for power distribution lines and construction of the mini grid and community project, any crops, structures, trees, and community facilities shall be avoided to the extent possible. However, loss or damage to the above will be compensated/restored at full replacement cost, in line with the provisions of the RPF. | KPLC |
| Crops |  |  |  |
| Structures |  |  |  |
| Community facilities e.g., water sources (earth pans, boreholes etc.). | Community members on unregistered community land, community members utilizing public land, and members of registered and unregistered group ranches. |  |  |

4. Consultations with PAPs About Acceptable Compensation Options and Alternatives that have been Considered

Detailed consultations with PAPs on land acquisition and compensation, including the modalities of acquiring land and compensation options, were undertaken during the Environmental and Social Screening, Environmental and Social Impact Assessment, and the NLC land valuation process. The following sections provide a summary of the consultations.

4.1 Engagement of Project -Affected Persons (PAPs)

Local administration and County Renewable Energy Officers (CREOs) supported the proponent and implementing agency (IA) to mobilize community members and other stakeholders for public consultations and engagement activities. National and county government entities, community segments (men, women, youth, elders, persons with disability, vulnerable and marginalized groups, etc.), NGOs, and local leaders were engaged through key informant interviews, community meetings, and focus-group discussions. The proponent and IA implemented appropriate measures to ensure PAPs effectively participated in the consultations. Refer to Chapter 5 of the ESIA on public consultation and engagement.

Once the compensation award and Bill of Quantities (BoQs) are known, the Implementing Agency (IA) will engage the community and agree on the community project to be executed as in-kind compensation. During these consultations, the IA and the community will define the roles and responsibilities of the community in monitoring the implementation of in-kind compensation and maintenance once the IA hands it over to the community. Thus, the IA and the community will effect an agreement to be signed by the local leadership; representatives of the Grievance Redress Committees at the locational, county, and national levels; A-RAP Implementation Committee, and Implementing Agencies.

4.2 Identification of Community Representatives

The Alikune Locational Grievance Redress Committee (LGRC), constituting a chairperson, secretary, and three members, was formed through community consensus. The committee’s membership comprises men, women, youth, persons with disabilities, and ethnic minorities. The LGRC is responsible for engaging PAPs and resolving complaints. Refer to sub-section 8.5.1.9.7 of the ESIA on the Grievance Redress Committees. Further, the community will constitute the A-RAP Implementation Committee responsible for coordinating community engagements on the A-RAP and monitoring the implementation and closure of the A-RAP. The representation of the committee will consider gender, vulnerability, and intergenerational sensitivities.

4.3 Summary of Consultations on Land Acquisition and Compensation Options

| Date | Objective | Implementing Entities | Land Acquisition and Compensation Aspects Discussed | Key Issues Raised | Responses Given |
| --- | --- | --- | --- | --- | --- |
| June 21st 2021 | Environmental and Social Screening. Voluntary land donation (VLD). Constitution of the Locational Grievance Redress Committee (GRC). | Ministry of Energy (MoE) Kenya Power and lightning company (KPLC) Rural Electrification and Renewable Energy Corporation (REREC) | Site identification and land allocation for the sub-project. Criteria for VLD. Community entitlements (forms of compensation and implications for each). | None | None |
| October 23rd 2021 | Environmental and Social Impact Assessment. | Consultants MoE KPLC REREC | Land acquisition through compulsory acquisition (not voluntary land donation). Selection of three priority community projects, whereby one is to be implemented as in-kind compensation for land. | Community requested for repair of the pipes from the borehole to Ali Kune Boarding Primary School and an extra classroom for lower primary and replacement of the broken tank at Ali Kune borehole and fencing of the borehole. | The proponent has set aside KES 1 million to implement the priority in-kind compensation project. The value of the project will be proportional to or greater than the value of land. NLC will determine the value of land. |
| May 2023 | Compulsory Land Acquisition. | NLC | Site inspection and inquiries. Land valuation. Award of compensation. |  |  |

5.  Institutional Responsibility for Implementation of the ARAP

| Entity | Role |
| --- | --- |
| Ministry of Energy | - Coordinate A-RAP implementation and provide budget for in-kind compensation. |
| National Land Commission | - Implement the statutory process for compulsorily land acquisition, including site gazettement and inspections, inquiries, valuation, and award of compensation. |
| KPLC | - Monitor all land acquisition and compensation aspects (including A-RAP closure), complemented by a third-party monitor. - Provide budgets for stakeholder engagement, grievance management, and monitoring, including the facilitation of the Land Acquisition and Compensation Implementation Committee, and the Grievance Redress Committee. |
| Mini-grid Contractor | - Implement in-kind compensation concurrently with the solar mini-grid project. |
| Supervising Consultant | - Monitor and report on implementation of in-kind compensation, and overall project compliance with social safeguards. |
| Grievance Redress Committees | - Formed at the locational, county, and national levels, and responsible for resolving complaints, including A-RAP related grievances. |
| A-RAP Implementation Committee | - Coordinate A-RAP engagements at the community level, monitoring A-RAP implementation and closure. |
| Affected Community | - Responsible for the operation and maintenance (O&M) of in-kind compensation project. An agreement stipulating the O&M roles and responsibilities of the community will be effected. |

6. Procedures for Grievance Redress

The Project procedures for grievance redress were established through a public consultation process and informed by the existing conflict resolution structures in the community. The Grievance Redress Mechanism (GRM) comprises tiers at the project, county, and national levels. Refer to sub-section 8.5.1.9 of the ESIA for a detailed GRM.

7. Implementation Timetable and Budget for the ARAP Implementation

7.1 Timelines

The proponent will commission the community project by May 25th, 2025, before operationalizing the mini-grid. The mini-grid contractor will implement the mini-grid and the community project simultaneously. The Supervision Consultant and IAs will implement a commitment register to ensure the mini-grid contractor can achieve the agreed-upon milestones. The register will be complete with clear and practical timebound indicators, which can be monitored by all parties – the PAPs, IAs, the Ministry, third-party monitor, and the Bank.

7.2 Budget

The proponent has set aside KES 1 million for the community project (budget captured in the ESMP). The compensation award from NLC and the Bill of Quantities will inform the final cost of the community project. The costs for in-kind compensation, stakeholder engagement, grievance management (including the facilitation of the GRCs and the A-RAP Implementation Committee), and monitoring are covered under the project.

## APPENDIX 6– NEMA FIRM EXPERT LICENCE

A cost basis that will yield compensation sufficient to replace assets, plus necessary transaction costs associated with asset replacement).